## Attachment 5
Attachment 5. Cost Estimates for Individual Sources
Source Estimate ID Number | System Type | Approx. Service Connections in PWS | Approx. Population of PWS | Water Type | Annual Monitoring Costs | Cost Estimate BAT | Source Design Flow (MG) | Highest Running Annual Average (ug/L) | Total Capital Costs (June 2022 $) | Annualized Capital Costs (June 2022 $) | Annual O&M Costs (June 2022 $) | Total Annual Costs (June 2022 $)
1 | CWS | 34000 | 205000 | GW | 1258.08 | RCF | 1203.6619 | 50 | 6261433.9858 | 591079.3683 | 795367.3026 | 1387704.7509
2 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 50 | 4170779.2448 | 393721.5607 | 402490.8754 | 797470.5161
3 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 50 | 4170779.2448 | 393721.5607 | 402490.8754 | 797470.5161
4 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 50 | 4170779.2448 | 393721.5607 | 402490.8754 | 797470.5161
5 | CWS | 620 | 3400 | GW | 1258.08 | RCF | 138.9835 | 50 | 2226120.1389 | 210145.7411 | 218667.9323 | 430071.7534
6 | CWS | 120 | 350 | GW | 1258.08 | RCF | 7.181 | 50 | 242078.1464 | 22852.177 | 28104.0598 | 52214.3168
7 | CWS | 29000 | 113000 | GU | 1258.08 | RCF | 776.0835 | 50 | 5062463.2884 | 477896.5344 | 573088.3355 | 1052242.95
8 | CWS | 170 | 400 | GW | 1258.08 | RCF | 32.8275 | 50 | 637393.0527 | 60169.9042 | 74381.2994 | 135809.2836
9 | CWS | 17000 | 71000 | GW | 1258.08 | RCF | 2.628 | 50 | 225000 | 21240 | 25211.335 | 47709.415
10 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 49 | 3536118.8031 | 333809.615 | 304666.3072 | 639734.0022
11 | CWS | 34000 | 205000 | GW | 1258.08 | RCF | 1203.6619 | 46.2154 | 6261433.9858 | 591079.3683 | 787467.9265 | 1379805.3747
12 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 44.75 | 3536118.8031 | 333809.615 | 302610.0289 | 637677.724
13 | NTNCWS | 1 | 100 | GW | 1258.08 | RCF | 8.371 | 44.5 | 244908.2392 | 23119.3378 | 29243.1924 | 53620.6102
14 | CWS | 4900 | 9700 | GW | 1258.08 | RCF | 158.639 | 44 | 2433048.5488 | 229679.783 | 230496.3953 | 461434.2583
15 | CWS | 153000 | 599000 | GW | 1258.08 | RCF | 1754.9912 | 43 | 8150569.5753 | 769413.7679 | 1066721.2616 | 1837393.1095
16 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 42.75 | 3536118.8031 | 333809.615 | 301498.1999 | 636565.8949
17 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 42.3333 | 3536118.8031 | 333809.615 | 301253.0911 | 636320.7861
18 | CWS | 20 | 40 | GW | 1258.08 | RCF | 2.8724 | 41.2667 | 226162.5171 | 21349.7416 | 25211.335 | 47819.1566
19 | NTNCWS | 2 | 80 | GW | 1258.08 | RCF | 6.7296 | 40.375 | 241004.6629 | 22750.8402 | 27278.0176 | 51286.9378
20 | NTNCWS | 1 | 100 | GW | 1258.08 | RCF | 2.628 | 40 | 225000 | 21240 | 25211.335 | 47709.415
21 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 40 | 2343035.2796 | 221182.5304 | 223316.4903 | 445757.1007
22 | NTNCWS | 1 | 360 | GW | 1258.08 | RCF | 29.5448 | 40 | 621778.7474 | 58695.9138 | 63694.785 | 123648.7787
23 | CWS | 14000 | 41000 | GW | 1258.08 | RCF | 208.4752 | 39 | 2957713.5883 | 279208.1627 | 261894.1081 | 542360.3508
24 | CWS | 90 | 300 | GW | 1258.08 | RCF | 8.3163 | 38 | 244778.12 | 23107.0545 | 28866.2717 | 53231.4063
25 | CWS | 6600 | 24000 | GW | 1258.08 | RCF | 325.0471 | 36.5333 | 3746798.3807 | 353697.7671 | 327786.2478 | 682742.095
26 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 36.25 | 3536118.8031 | 333809.615 | 297018.3442 | 632086.0392
27 | CWS | 70 | 200 | GW | 1258.08 | RCF | 4.0624 | 36 | 231822.7028 | 21884.0631 | 25211.335 | 48353.4781
28 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 35.5 | 3536118.8031 | 333809.615 | 296393.4386 | 631461.1336
29 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 35.25 | 3536118.8031 | 333809.615 | 296179.0902 | 631246.7852
30 | NTNCWS | 7 | 650 | GW | 1258.08 | RCF | 13.3362 | 35 | 313807.297 | 29623.4088 | 33918.7879 | 64800.2768
31 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 34.25 | 3536118.8031 | 333809.615 | 295289.6566 | 630357.3516
32 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 34.25 | 3536118.8031 | 333809.615 | 295289.6566 | 630357.3516
33 | CWS | 100 | 310 | GW | 1258.08 | RCF | 12.8848 | 34 | 303609.2039 | 28660.7088 | 33339.6769 | 63258.4658
34 | NTNCWS | 1 | 30 | GW | 1258.08 | RCF | 2.628 | 32 | 225000 | 21240 | 25211.335 | 47709.415
35 | CWS | 2500 | 6700 | GW | 1258.08 | RCF | 29.0999 | 32 | 619662.5982 | 58496.1493 | 58950.783 | 118705.0123
36 | CWS | 17000 | 71000 | GW | 1258.08 | RCF | 2.628 | 32 | 225000 | 21240 | 25211.335 | 47709.415
37 | CWS | 20 | 50 | GW | 1258.08 | RCF | 4.2676 | 31.6667 | 232798.5969 | 21976.1875 | 25211.335 | 48445.6025
38 | CWS | 230 | 600 | GW | 1258.08 | RCF | 2.628 | 31.6 | 225000 | 21240 | 25211.335 | 47709.415
39 | CWS | 90 | 300 | GW | 1258.08 | RCF | 8.3163 | 31.5 | 244778.12 | 23107.0545 | 28415.7381 | 52780.8726
40 | NTNCWS | 2 | 50 | GW | 1258.08 | RCF | 3.8572 | 31.4667 | 230846.8087 | 21791.9387 | 25211.335 | 48261.3537
41 | CWS | 3800 | 14000 | GW | 1258.08 | RCF | 196.2675 | 31.3333 | 2829193.3337 | 267075.8507 | 248749.1633 | 517083.094
42 | CWS | 17000 | 61000 | GW | 1258.08 | RCF | 2.628 | 31 | 225000 | 21240 | 25211.335 | 47709.415
43 | NTNCWS | 7 | 650 | GW | 1258.08 | RCF | 13.3362 | 29.75 | 313807.297 | 29623.4088 | 33245.6859 | 64127.1748
44 | CWS | 3800 | 14000 | GW | 1258.08 | RCF | 196.2675 | 29.6667 | 2829193.3337 | 267075.8507 | 247311.4152 | 515645.3459
45 | CWS | 3800 | 14000 | GW | 1258.08 | RCF | 196.2675 | 29.5 | 2829193.3337 | 267075.8507 | 247158.4562 | 515492.3869
46 | CWS | 230 | 600 | GW | 1258.08 | RCF | 2.628 | 29.5 | 225000 | 21240 | 25211.335 | 47709.415
47 | CWS | 2800 | 9000 | GW | 1258.08 | RCF | 185.4139 | 29 | 2714929.1073 | 256289.3077 | 239835.5695 | 497382.9572
48 | NTNCWS | 1 | 70 | GW | 1258.08 | RCF | 5.3345 | 29 | 237686.623 | 22437.6172 | 25251.6278 | 48947.325
49 | CWS | 620 | 3400 | GW | 1258.08 | RCF | 138.9835 | 28.5 | 2226120.1389 | 210145.7411 | 210173.9117 | 421577.7328
50 | NTNCWS | 7 | 650 | GW | 1258.08 | RCF | 13.3362 | 28.25 | 313807.297 | 29623.4088 | 33006.0805 | 63887.5694
51 | CWS | 90 | 180 | GW | 1258.08 | RCF | 7.3862 | 28 | 242566.0934 | 22898.2392 | 27179.8273 | 51336.1465
52 | CWS | 7400 | 19000 | GW | 1258.08 | RCF | 220.3547 | 28 | 3082777.8361 | 291014.2277 | 260784.9147 | 553057.2224
53 | CWS | 3300 | 12000 | GW | 1258.08 | RCF | 202.1683 | 28 | 2891315.0567 | 272940.1414 | 249393.5103 | 523591.7317
54 | NTNCWS | 4 | 250 | GW | 1258.08 | RCF | 20.5172 | 28 | 476049.6877 | 44939.0905 | 39943.9646 | 86141.1351
55 | CWS | 20 | 50 | GW | 1258.08 | RCF | 3.9393 | 27.5 | 231237.1663 | 21828.7885 | 25211.335 | 48298.2035
56 | NTNCWS | 4 | 50 | GW | 1258.08 | RCF | 4.1034 | 27.5 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
57 | CWS | 40 | 110 | GW | 1258.08 | RCF | 9.1917 | 27 | 246860.0274 | 23303.5866 | 28812.1266 | 53373.7932
58 | CWS | 4900 | 9700 | GW | 1258.08 | RCF | 158.639 | 27 | 2433048.5488 | 229679.783 | 221265.7884 | 452203.6514
59 | NTNCWS | 1 | 300 | GW | 1258.08 | RCF | 12.3103 | 27 | 290629.8126 | 27435.4543 | 31801.9552 | 60495.4895
60 | CWS | 2100 | 7400 | GW | 1258.08 | RCF | 121.7408 | 26.25 | 2052958.2826 | 193799.2619 | 198000.5514 | 393057.8933
61 | CWS | 3300 | 12000 | GW | 1258.08 | RCF | 202.1683 | 26 | 2891315.0567 | 272940.1414 | 247108.2798 | 521306.5012
62 | CWS | 2800 | 9000 | GW | 1258.08 | RCF | 185.4139 | 26 | 2714929.1073 | 256289.3077 | 236803.2817 | 494350.6694
63 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 25.8333 | 3536118.8031 | 333809.615 | 284986.0598 | 620053.7548
64 | NTNCWS | 1 | 70 | GW | 1258.08 | RCF | 5.5807 | 25.625 | 238272.1595 | 22492.8919 | 25237.9238 | 48988.8956
65 | CWS | 30 | 80 | GW | 1258.08 | RCF | 6.1552 | 25.3333 | 239638.4112 | 22621.866 | 25749.0646 | 49629.0106
66 | CWS | 40 | 160 | GW | 1258.08 | RCF | 12.8027 | 25.25 | 301755.0051 | 28485.6725 | 31941.1246 | 61684.877
67 | NTNCWS | 1 | 230 | GW | 1258.08 | RCF | 18.4655 | 25 | 429694.7189 | 40563.1815 | 37148.513 | 78969.7745
68 | NTNCWS | 80 | 340 | GW | 1258.08 | RCF | 13.8696 | 25 | 325859.5889 | 30761.1452 | 32880.4387 | 64899.6639
69 | TNCWS | 3 | 500 | GW | 1258.08 | RCF | 41.0344 | 25 | 676428.8159 | 63854.8802 | 76576.7852 | 141689.7455
70 | CWS | 3800 | 14000 | GW | 1258.08 | RCF | 196.2675 | 25 | 2829193.3337 | 267075.8507 | 242232.1641 | 510566.0948
71 | CWS | 3000 | 10000 | GW | 1258.08 | RCF | 206.2799 | 25 | 2934601.5425 | 277026.3856 | 248326.8259 | 526611.2915
72 | CWS | 20 | 60 | GW | 1258.08 | RCF | 4.5138 | 24.5 | 233969.6697 | 22086.7368 | 25211.335 | 48556.1518
73 | CWS | 230 | 600 | GW | 1258.08 | RCF | 2.628 | 24.5 | 225000 | 21240 | 25211.335 | 47709.415
74 | CWS | 171000 | 884000 | GW | 1258.08 | RCF | 54.7122 | 24.5 | 1405342.846 | 132664.3647 | 157280.7579 | 291203.2025
75 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 24 | 4170779.2448 | 393721.5607 | 363097.2531 | 758076.8939
76 | CWS | 1600 | 4300 | GW | 1258.08 | RCF | 88.2239 | 24 | 1729125.8613 | 163229.4813 | 176644.2554 | 341131.8167
77 | CWS | 29000 | 97000 | GW | 1258.08 | RCF | 496.1828 | 24 | 4343851.5624 | 410059.5875 | 385280.1156 | 796597.783
78 | CWS | 2800 | 9000 | GW | 1258.08 | RCF | 185.4139 | 24 | 2714929.1073 | 256289.3077 | 234346.083 | 491893.4707
79 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 23.5 | 3536118.8031 | 333809.615 | 280776.1211 | 615843.8161
80 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 23.3333 | 2115797.9481 | 199731.3263 | 199365.1097 | 400354.516
81 | CWS | 2500 | 8200 | GW | 1258.08 | RCF | 225.06 | 23.25 | 3132313.9342 | 295690.4354 | 256950.0659 | 553898.5813
82 | CWS | 8400 | 45000 | GW | 1258.08 | RCF | 621.0829 | 23.25 | 4681290.3671 | 441913.8107 | 435435.5025 | 878607.3932
83 | CWS | 8400 | 45000 | GW | 1258.08 | RCF | 621.0829 | 23.25 | 4681290.3671 | 441913.8107 | 435435.5025 | 878607.3932
84 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 23 | 3536118.8031 | 333809.615 | 279758.8547 | 614826.5498
85 | NTNCWS | 1 | 690 | GW | 1258.08 | RCF | 56.9557 | 23 | 1427019.7092 | 134710.6606 | 157968.8457 | 293937.5862
86 | NTNCWS | 1 | 30 | GW | 1258.08 | RCF | 2.628 | 23 | 225000 | 21240 | 25211.335 | 47709.415
87 | NTNCWS | 3 | 40 | GW | 1258.08 | RCF | 2.8724 | 23 | 226162.5171 | 21349.7416 | 25211.335 | 47819.1566
88 | CWS | 2100 | 7400 | GW | 1258.08 | RCF | 121.7408 | 23 | 2052958.2826 | 193799.2619 | 195287.6414 | 390344.9833
89 | NTNCWS | 1 | 30 | GW | 1258.08 | RCF | 2.628 | 22.95 | 225000 | 21240 | 25211.335 | 47709.415
90 | CWS | 3300 | 12000 | GW | 1258.08 | RCF | 202.1683 | 22.375 | 2891315.0567 | 272940.1414 | 241886.409 | 516084.6304
91 | CWS | 6600 | 24000 | GW | 1258.08 | RCF | 325.0471 | 22.3167 | 3746798.3807 | 353697.7671 | 304510.2974 | 659466.1445
92 | CWS | 30 | 60 | GW | 1258.08 | RCF | 4.9241 | 22.25 | 235921.4579 | 22270.9856 | 25211.335 | 48740.4006
93 | CWS | 13000 | 42000 | GW | 1258.08 | RCF | 264.6592 | 22 | 3536118.8031 | 333809.615 | 277580.3692 | 612648.0642
94 | CWS | 30 | 80 | GW | 1258.08 | RCF | 6.4014 | 22 | 240223.9476 | 22677.1407 | 25588.5247 | 49523.7453
95 | CWS | 20 | 60 | GW | 1258.08 | RCF | 2.628 | 22 | 225000 | 21240 | 25211.335 | 47709.415
96 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 22 | 3457132.1261 | 326353.2727 | 272742.124 | 600353.4767
97 | CWS | 29000 | 97000 | GW | 1258.08 | RCF | 496.1828 | 22 | 4343851.5624 | 410059.5875 | 377466.3626 | 788784.0301
98 | CWS | 70 | 120 | GW | 1258.08 | RCF | 9.8483 | 22 | 248421.4579 | 23450.9856 | 28597.7302 | 53306.7959
99 | CWS | 36000 | 125000 | GW | 1258.08 | RCF | 292.2892 | 22 | 3632513.3702 | 342909.2621 | 289503.5233 | 633670.8655
100 | CWS | 171000 | 884000 | GW | 1258.08 | RCF | 54.7122 | 21.825 | 1405342.846 | 132664.3647 | 156142.8594 | 290065.3041
101 | CWS | 80 | 400 | GW | 1258.08 | RCF | 16.4138 | 21.75 | 383339.7502 | 36187.2724 | 34241.6091 | 71686.9615
102 | CWS | 6600 | 24000 | GW | 1258.08 | RCF | 325.0471 | 21.6 | 3746798.3807 | 353697.7671 | 302494.5456 | 657450.3928
103 | CWS | 3800 | 14000 | GW | 1258.08 | RCF | 196.2675 | 21.5 | 2829193.3337 | 267075.8507 | 236919.8073 | 505253.738
104 | NTNCWS | 6 | 40 | GW | 1258.08 | RCF | 3.2007 | 21.5 | 227723.9476 | 21497.1407 | 25211.335 | 47966.5557
105 | CWS | 17000 | 71000 | GW | 1258.08 | RCF | 2.628 | 21.5 | 225000 | 21240 | 25211.335 | 47709.415
106 | CWS | 3300 | 12000 | GW | 1258.08 | RCF | 202.1683 | 21.25 | 2891315.0567 | 272940.1414 | 239889.41 | 514087.6313
107 | CWS | 110 | 320 | GW | 1258.08 | RCF | 25.9337 | 21 | 598426.8053 | 56491.4904 | 43368.3828 | 101117.9532
108 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 21 | 3457132.1261 | 326353.2727 | 270427.0636 | 598038.4163
109 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 21 | 3457132.1261 | 326353.2727 | 270427.0636 | 598038.4163
110 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 21 | 3457132.1261 | 326353.2727 | 270427.0636 | 598038.4163
111 | CWS | 8400 | 45000 | GW | 1258.08 | RCF | 621.0829 | 21 | 4681290.3671 | 441913.8107 | 423497.1211 | 866669.0118
112 | CWS | 1600 | 4300 | GW | 1258.08 | RCF | 88.2239 | 21 | 1729125.8613 | 163229.4813 | 174456.2492 | 338943.8106
113 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 21 | 2200323.5163 | 207710.5399 | 201543.149 | 410511.769
114 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 21 | 2200323.5163 | 207710.5399 | 201543.149 | 410511.769
115 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 21 | 2343035.2796 | 221182.5304 | 209364.9803 | 431805.5907
116 | CWS | 2500 | 6700 | GW | 1258.08 | RCF | 29.0999 | 21 | 619662.5982 | 58496.1493 | 48944.0967 | 108698.3259
117 | NTNCWS | 2 | 250 | GW | 1258.08 | RCF | 20.5172 | 21 | 476049.6877 | 44939.0905 | 37455.9056 | 83653.0762
118 | CWS | 10 | 40 | GW | 1258.08 | RCF | 3.2828 | 21 | 228114.3053 | 21533.9904 | 25211.335 | 48003.4054
119 | CWS | 17000 | 61000 | GW | 1258.08 | RCF | 2.628 | 21 | 225000 | 21240 | 25211.335 | 47709.415
120 | NTNCWS | 1 | 280 | GW | 1258.08 | RCF | 22.9793 | 20.8 | 531675.6502 | 50190.1814 | 39442.334 | 90890.5954
121 | CWS | 6600 | 24000 | GW | 1258.08 | RCF | 325.0471 | 20.675 | 3746798.3807 | 353697.7671 | 299677.918 | 654633.7652
122 | CWS | 90 | 180 | GW | 1258.08 | RCF | 7.3862 | 20.5 | 242566.0934 | 22898.2392 | 26195.79 | 50352.1092
123 | NTNCWS | 2 | 460 | GW | 1258.08 | RCF | 37.7516 | 20.25 | 660814.5106 | 62380.8898 | 62760.4865 | 126399.4563
124 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 20.25 | 4170779.2448 | 393721.5607 | 348724.8519 | 743704.4926
125 | CWS | 4900 | 9700 | GW | 1258.08 | RCF | 158.639 | 20.25 | 2433048.5488 | 229679.783 | 213125.3227 | 444063.1858
126 | TNCWS | 50 | 160 | GW | 1258.08 | RCF | 13.2131 | 20 | 311025.9989 | 29360.8543 | 30917.3262 | 61536.2605
127 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 20 | 3457132.1261 | 326353.2727 | 267870.851 | 595482.2037
128 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 20 | 3735512.6302 | 352632.3923 | 296117.2501 | 650007.7224
129 | NTNCWS | 160 | 100 | GW | 1258.08 | RCF | 4.1034 | 20 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
130 | CWS | 220 | 500 | GU | 1258.08 | RCF | 20.5172 | 20 | 476049.6877 | 44939.0905 | 36952.3699 | 83149.5404
131 | CWS | 220 | 500 | GU | 1258.08 | RCF | 20.5172 | 20 | 476049.6877 | 44939.0905 | 36952.3699 | 83149.5404
132 | NTNCWS | 1 | 150 | GW | 1258.08 | RCF | 12.0641 | 20 | 285067.2164 | 26910.3452 | 29967.9935 | 58136.4187
133 | CWS | 280 | 870 | GW | 1258.08 | RCF | 35.741 | 20 | 651250.7486 | 61478.0707 | 58823.7786 | 121559.9293
134 | NTNCWS | 10 | 300 | GW | 1258.08 | RCF | 24.6206 | 20 | 568759.6253 | 53690.9086 | 40342.8439 | 95291.8325
135 | CWS | 2400 | 7200 | GW | 1258.08 | RCF | 146.7595 | 19.75 | 2307984.301 | 217873.718 | 205587.3118 | 424719.1098
136 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 19.5 | 2200323.5163 | 207710.5399 | 199442.7931 | 408411.413
137 | CWS | 171000 | 884000 | GW | 1258.08 | RCF | 54.7122 | 19.5 | 1405342.846 | 132664.3647 | 154889.4024 | 288811.8471
138 | CWS | 30 | 110 | GW | 1258.08 | RCF | 4.3086 | 19.5 | 232993.7757 | 21994.6124 | 25211.335 | 48464.0274
139 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 19.125 | 4170779.2448 | 393721.5607 | 343266.0845 | 738245.7252
140 | CWS | 40 | 100 | GW | 1258.08 | RCF | 8.371 | 19.1 | 244908.2392 | 23119.3378 | 26712.4715 | 51089.8893
141 | CWS | 171000 | 884000 | GW | 1258.08 | RCF | 54.7122 | 19.05 | 1405342.846 | 132664.3647 | 154609.9087 | 288532.3533
142 | CWS | 3800 | 14000 | GW | 1258.08 | RCF | 196.2675 | 19 | 2829193.3337 | 267075.8507 | 231874.3193 | 500208.25
143 | NTNCWS | 1 | 140 | GW | 1258.08 | RCF | 11.4896 | 19 | 272087.8251 | 25685.0907 | 29180.3603 | 56123.531
144 | CWS | 20 | 60 | GW | 1258.08 | RCF | 2.628 | 19 | 225000 | 21240 | 25211.335 | 47709.415
145 | CWS | 13000 | 37000 | GW | 1258.08 | RCF | 335.3331 | 19 | 3782683.7267 | 357085.3438 | 297976.6742 | 656320.098
146 | CWS | 4900 | 9700 | GW | 1258.08 | RCF | 158.639 | 19 | 2433048.5488 | 229679.783 | 210955.1945 | 441893.0575
147 | CWS | 14000 | 65000 | GW | 1258.08 | RCF | 335.3741 | 19 | 3782826.8863 | 357098.8581 | 297993.1414 | 656350.0794
148 | CWS | 100 | 310 | GW | 1258.08 | RCF | 12.8848 | 19 | 303609.2039 | 28660.7088 | 30295.1184 | 60213.9072
149 | NTNCWS | 2 | 30 | GW | 1258.08 | RCF | 2.628 | 19 | 225000 | 21240 | 25211.335 | 47709.415
150 | CWS | 2100 | 7400 | GW | 1258.08 | RCF | 121.7408 | 19 | 2052958.2826 | 193799.2619 | 190618.4383 | 385675.7802
151 | CWS | 2800 | 9000 | GW | 1258.08 | RCF | 185.4139 | 19 | 2714929.1073 | 256289.3077 | 225840.3951 | 483387.7828
152 | CWS | 3000 | 10000 | GW | 1258.08 | RCF | 206.2799 | 18.8333 | 2934601.5425 | 277026.3856 | 237034.7833 | 515319.2489
153 | CWS | 20 | 60 | GW | 1258.08 | RCF | 4.5959 | 18.75 | 234360.0274 | 22123.5866 | 25211.335 | 48593.0016
154 | CWS | 140 | 350 | GW | 1258.08 | RCF | 9.5747 | 18.75 | 247770.8619 | 23389.5694 | 27580.5584 | 52228.2077
155 | CWS | 6600 | 24000 | GW | 1258.08 | RCF | 325.0471 | 18.7 | 3746798.3807 | 353697.7671 | 292689.2204 | 647645.0675
156 | CWS | 20 | 50 | GW | 1258.08 | RCF | 4.1034 | 18.5 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
157 | CWS | 40 | 50 | GW | 1258.08 | RCF | 4.1034 | 18.5 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
158 | NTNCWS | 8 | 50 | GW | 1258.08 | RCF | 2.628 | 18.5 | 225000 | 21240 | 25211.335 | 47709.415
159 | CWS | 14000 | 65000 | GW | 1258.08 | RCF | 335.3741 | 18.5 | 3782826.8863 | 357098.8581 | 295977.2519 | 654334.1899
160 | CWS | 280 | 870 | GW | 1258.08 | RCF | 35.741 | 18.3333 | 651250.7486 | 61478.0707 | 55337.5023 | 118073.6529
161 | CWS | 230 | 600 | GW | 1258.08 | RCF | 2.628 | 18.3 | 225000 | 21240 | 25211.335 | 47709.415
162 | CWS | 10000 | 35000 | GW | 1258.08 | RCF | 167.6134 | 18.25 | 2527529.6772 | 238598.8015 | 214411.0221 | 454267.9037
163 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 18 | 4170779.2448 | 393721.5607 | 337093.2342 | 732072.8749
164 | NTNCWS | 4 | 820 | GW | 1258.08 | RCF | 67.5426 | 18 | 1529307.619 | 144366.6392 | 160640.8551 | 306265.5743
165 | NTNCWS | 7 | 90 | GW | 1258.08 | RCF | 7.2221 | 18 | 242175.7358 | 22861.3895 | 25550.9155 | 49670.385
166 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 18 | 3457132.1261 | 326353.2727 | 261866.7237 | 589478.0764
167 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 18 | 3457132.1261 | 326353.2727 | 261866.7237 | 589478.0764
168 | CWS | 8400 | 45000 | GW | 1258.08 | RCF | 621.0829 | 18 | 4681290.3671 | 441913.8107 | 402727.5749 | 845899.4656
169 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 18 | 3735512.6302 | 352632.3923 | 288567.7567 | 642458.229
170 | CWS | 90 | 1000 | GW | 1258.08 | RCF | 41.0344 | 18 | 676428.8159 | 63854.8802 | 62980.6696 | 128093.6298
171 | CWS | 90 | 1000 | GW | 1258.08 | RCF | 41.0344 | 18 | 676428.8159 | 63854.8802 | 62980.6696 | 128093.6298
172 | NTNCWS | 4 | 150 | GW | 1258.08 | RCF | 12.3103 | 18 | 290629.8126 | 27435.4543 | 29461.7879 | 58155.3222
173 | CWS | 40 | 130 | GW | 1258.08 | RCF | 3.529 | 18 | 229285.3782 | 21644.5397 | 25211.335 | 48113.9547
174 | CWS | 14000 | 41000 | GW | 1258.08 | RCF | 208.4752 | 18 | 2957713.5883 | 279208.1627 | 236081.1091 | 516547.3518
175 | CWS | 3000 | 10000 | GW | 1258.08 | RCF | 206.2799 | 18 | 2934601.5425 | 277026.3856 | 234887.8048 | 513172.2704
176 | CWS | 29000 | 97000 | GW | 1258.08 | RCF | 496.1828 | 18 | 4343851.5624 | 410059.5875 | 356387.4012 | 767705.0686
177 | NTNCWS | 5 | 50 | GW | 1258.08 | RCF | 2.628 | 18 | 225000 | 21240 | 25211.335 | 47709.415
178 | NTNCWS | 3 | 30 | GW | 1258.08 | RCF | 2.628 | 18 | 225000 | 21240 | 25211.335 | 47709.415
179 | CWS | 2100 | 7400 | GW | 1258.08 | RCF | 121.7408 | 18 | 2052958.2826 | 193799.2619 | 189111.7736 | 384169.1155
180 | CWS | 3300 | 12000 | GW | 1258.08 | RCF | 202.1683 | 17.75 | 2891315.0567 | 272940.1414 | 231981.2675 | 506179.4888
181 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 17.6667 | 3457132.1261 | 326353.2727 | 260727.6007 | 588338.9534
182 | CWS | 3500 | 12000 | GW | 1258.08 | RCF | 191.3516 | 17.6 | 2777439.6311 | 262190.3012 | 225747.1854 | 489195.5665
183 | CWS | 2400 | 7200 | GW | 1258.08 | RCF | 146.7595 | 17.5 | 2307984.301 | 217873.718 | 201545.0951 | 420676.8931
184 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 17.5 | 3735512.6302 | 352632.3923 | 286397.6348 | 640288.1071
185 | CWS | 30 | 110 | GW | 1258.08 | RCF | 4.3086 | 17.5 | 232993.7757 | 21994.6124 | 25211.335 | 48464.0274
186 | CWS | 140 | 350 | GW | 1258.08 | RCF | 9.5747 | 17.5 | 247770.8619 | 23389.5694 | 27200.5276 | 51848.1769
187 | CWS | 80 | 400 | GW | 1258.08 | RCF | 16.4138 | 17.5 | 383339.7502 | 36187.2724 | 32343.7616 | 69789.114
188 | CWS | 17000 | 61000 | GW | 1258.08 | RCF | 2.628 | 17.5 | 225000 | 21240 | 25211.335 | 47709.415
189 | CWS | 26000 | 106000 | GW | 1258.08 | RCF | 1086.919 | 17.3333 | 5861413.409 | 553317.4258 | 563939.4187 | 1118514.9245
190 | CWS | 15000 | 49000 | GW | 1258.08 | RCF | 2.628 | 17.25 | 225000 | 21240 | 25211.335 | 47709.415
191 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 17.0333 | 3735512.6302 | 352632.3923 | 284251.5758 | 638142.0481
192 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 17.026 | 4124622.5365 | 389364.3674 | 326090.8186 | 716713.266
193 | CWS | 9900 | 54000 | GW | 1258.08 | RCF | 316.1759 | 17 | 3715848.6332 | 350776.111 | 281979.181 | 634013.3719
194 | CWS | 5100 | 17000 | GW | 1258.08 | RCF | 693.6864 | 17 | 4859834.8311 | 458768.4081 | 419622.9032 | 879649.3913
195 | CWS | 30 | 160 | GW | 1258.08 | RCF | 6.7296 | 17 | 241004.6629 | 22750.8402 | 25211.335 | 49220.2552
196 | CWS | 260 | 880 | GW | 1258.08 | RCF | 36.1103 | 17 | 653007.358 | 61643.8946 | 52593.4291 | 115495.4037
197 | NTNCWS | 2 | 80 | GW | 1258.08 | RCF | 6.1552 | 17 | 239638.4112 | 22621.866 | 25211.335 | 49091.281
198 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 17 | 3457132.1261 | 326353.2727 | 258308.7223 | 585920.0751
199 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 17 | 3457132.1261 | 326353.2727 | 258308.7223 | 585920.0751
200 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 17 | 2115797.9481 | 199731.3263 | 190745.267 | 391734.6733
201 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 17 | 3735512.6302 | 352632.3923 | 284093.5547 | 637984.027
202 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 17 | 1826986.5812 | 172467.5333 | 175458.1935 | 349183.8067
203 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 17 | 2200323.5163 | 207710.5399 | 195077.7682 | 404046.3882
204 | CWS | 23000 | 106000 | GW | 1258.08 | RCF | 1744.4542 | 17 | 8114464.2784 | 766005.4279 | 804171.3079 | 1571434.8158
205 | CWS | 23000 | 106000 | GW | 1258.08 | RCF | 1744.4542 | 17 | 8114464.2784 | 766005.4279 | 804171.3079 | 1571434.8158
206 | CWS | 90 | 300 | GW | 1258.08 | RCF | 12.3103 | 17 | 290629.8126 | 27435.4543 | 29041.264 | 57734.7983
207 | CWS | 2500 | 6700 | GW | 1258.08 | RCF | 29.0999 | 17 | 619662.5982 | 58496.1493 | 41936.047 | 101690.2763
208 | CWS | 6600 | 24000 | GW | 1258.08 | RCF | 325.0471 | 17 | 3746798.3807 | 353697.7671 | 285307.0564 | 640262.9035
209 | CWS | 17000 | 61000 | GW | 1258.08 | RCF | 2.628 | 17 | 225000 | 21240 | 25211.335 | 47709.415
210 | NTNCWS | 4 | 300 | GW | 1258.08 | RCF | 24.9489 | 16.875 | 576176.4203 | 54391.0541 | 38209.6399 | 93858.774
211 | CWS | 20 | 40 | GW | 1258.08 | RCF | 3.4469 | 16.75 | 228895.0205 | 21607.6899 | 25211.335 | 48077.1049
212 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 16.75 | 3735512.6302 | 352632.3923 | 282887.3435 | 636777.8158
213 | CWS | 2400 | 7200 | GW | 1258.08 | RCF | 146.7595 | 16.5 | 2307984.301 | 217873.718 | 199376.659 | 418508.457
214 | CWS | 5100 | 17000 | GW | 1258.08 | RCF | 693.6864 | 16.5 | 4859834.8311 | 458768.4081 | 414341.7303 | 874368.2183
215 | CWS | 390 | 600 | GW | 1258.08 | RCF | 24.6206 | 16.5 | 568759.6253 | 53690.9086 | 37621.8266 | 92570.8152
216 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 16.5 | 3457132.1261 | 326353.2727 | 256359.7535 | 583971.1062
217 | CWS | 14000 | 41000 | GW | 1258.08 | RCF | 208.4752 | 16.4167 | 2957713.5883 | 279208.1627 | 231320.4559 | 511786.6986
218 | CWS | 40 | 120 | GW | 1258.08 | RCF | 9.8483 | 16.3333 | 248421.4579 | 23450.9856 | 26984.6674 | 51693.7331
219 | NTNCWS | 10 | 1100 | GW | 1258.08 | RCF | 92.4915 | 16.25 | 1770358.197 | 167121.8138 | 171387.0548 | 339766.9486
220 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 16.25 | 3457132.1261 | 326353.2727 | 255337.9639 | 582949.3167
221 | CWS | 40 | 130 | GW | 1258.08 | RCF | 3.529 | 16.25 | 229285.3782 | 21644.5397 | 25211.335 | 48113.9547
222 | CWS | 50 | 130 | GW | 1258.08 | RCF | 5.1703 | 16.25 | 237092.5308 | 22381.5349 | 25211.335 | 48850.9499
223 | CWS | 90 | 250 | GW | 1258.08 | RCF | 10.2586 | 16 | 249397.352 | 23543.11 | 27137.84 | 51939.03
224 | CWS | 80 | 120 | GW | 1258.08 | RCF | 4.9241 | 16 | 235921.4579 | 22270.9856 | 25211.335 | 48740.4006
225 | CWS | 50 | 100 | GW | 1258.08 | RCF | 8.2069 | 16 | 244517.8816 | 23082.488 | 25710.272 | 50050.84
226 | CWS | 2500 | 8200 | GW | 1258.08 | RCF | 225.06 | 16 | 3132313.9342 | 295690.4354 | 238426.1485 | 535374.6639
227 | CWS | 1700 | 5600 | GW | 1258.08 | RCF | 152.2102 | 16 | 2365368.4147 | 223290.7784 | 200986.7245 | 425535.5828
228 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 16 | 4170779.2448 | 393721.5607 | 323863.1192 | 718842.76
229 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 16 | 3457132.1261 | 326353.2727 | 254282.5629 | 581893.9156
230 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 16 | 3457132.1261 | 326353.2727 | 254282.5629 | 581893.9156
231 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 16 | 3457132.1261 | 326353.2727 | 254282.5629 | 581893.9156
232 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 16 | 2115797.9481 | 199731.3263 | 188727.5452 | 389716.9515
233 | CWS | 1600 | 4300 | GW | 1258.08 | RCF | 88.2239 | 16 | 1729125.8613 | 163229.4813 | 168890.2686 | 333377.8299
234 | CWS | 2500 | 8900 | GW | 1258.08 | RCF | 146.8703 | 16 | 2309150.7034 | 217983.8264 | 198242.34 | 417484.2464
235 | NTNCWS | 2 | 260 | GW | 1258.08 | RCF | 20.9275 | 16 | 485320.6815 | 45814.2723 | 34561.1935 | 81633.5459
236 | CWS | 36000 | 125000 | GW | 1258.08 | RCF | 292.2892 | 16 | 3632513.3702 | 342909.2621 | 268420.1057 | 612587.4478
237 | CWS | 2500 | 6700 | GW | 1258.08 | RCF | 29.0999 | 16 | 619662.5982 | 58496.1493 | 40247.4222 | 100001.6515
238 | CWS | 3000 | 10000 | GW | 1258.08 | RCF | 206.2799 | 16 | 2934601.5425 | 277026.3856 | 228774.5658 | 507059.0315
239 | CWS | 29000 | 97000 | GW | 1258.08 | RCF | 496.1828 | 16 | 4343851.5624 | 410059.5875 | 341687.5991 | 753005.2666
240 | CWS | 17000 | 71000 | GW | 1258.08 | RCF | 2.628 | 16 | 225000 | 21240 | 25211.335 | 47709.415
241 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 16 | 2200323.5163 | 207710.5399 | 192929.6426 | 401898.2625
242 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 15.75 | 2115797.9481 | 199731.3263 | 188180.9383 | 389170.3446
243 | CWS | 90 | 300 | GW | 1258.08 | RCF | 12.3103 | 15.75 | 290629.8126 | 27435.4543 | 28436.4971 | 57130.0314
244 | CWS | 140 | 500 | GW | 1258.08 | RCF | 20.5172 | 15.75 | 476049.6877 | 44939.0905 | 34060.8286 | 80257.9991
245 | NTNCWS | 7 | 650 | GW | 1258.08 | RCF | 13.3362 | 15.6667 | 313807.297 | 29623.4088 | 29091.9437 | 59973.4325
246 | CWS | 2400 | 7200 | GW | 1258.08 | RCF | 146.7595 | 15.6 | 2307984.301 | 217873.718 | 197174.4223 | 416306.2203
247 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 15.5347 | 4124622.5365 | 389364.3674 | 315622.7181 | 706245.1655
248 | CWS | 2500 | 8900 | GW | 1258.08 | RCF | 146.8703 | 15.5 | 2309150.7034 | 217983.8264 | 196969.0621 | 416210.9685
249 | CWS | 6400 | 21000 | GW | 1258.08 | RCF | 348.8252 | 15.3333 | 3829754.6115 | 361528.8353 | 284660.8814 | 647447.7967
250 | NTNCWS | 1 | 50 | SW | 1258.08 | RCF | 2.628 | 15.3 | 225000 | 21240 | 25211.335 | 47709.415
251 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 15.25 | 3457132.1261 | 326353.2727 | 250897.2455 | 578508.5982
252 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 15.25 | 3457132.1261 | 326353.2727 | 250897.2455 | 578508.5982
253 | CWS | 8400 | 45000 | GW | 1258.08 | RCF | 621.0829 | 15.25 | 4681290.3671 | 441913.8107 | 376114.33 | 819286.2206
254 | CWS | 14000 | 65000 | GW | 1258.08 | RCF | 335.3741 | 15.25 | 3782826.8863 | 357098.8581 | 279468.2983 | 637825.2363
255 | CWS | 20 | 60 | GW | 1258.08 | RCF | 4.9241 | 15.2 | 235921.4579 | 22270.9856 | 25211.335 | 48740.4006
256 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 15.1705 | 4124622.5365 | 389364.3674 | 312736.4747 | 703358.9222
257 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 15.125 | 2200323.5163 | 207710.5399 | 190804.0104 | 399772.6304
258 | NTNCWS | 3 | 200 | GW | 1258.08 | RCF | 16.0855 | 15.05 | 375922.9552 | 35487.127 | 30520.6051 | 67265.812
259 | CWS | 20 | 70 | GW | 1258.08 | RCF | 5.4986 | 15 | 238076.9807 | 22474.467 | 25211.335 | 48943.882
260 | CWS | 20 | 70 | GW | 1258.08 | RCF | 5.4165 | 15 | 237881.8018 | 22456.0421 | 25211.335 | 48925.4571
261 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 15 | 3457132.1261 | 326353.2727 | 249689.3388 | 577300.6915
262 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 15 | 3457132.1261 | 326353.2727 | 249689.3388 | 577300.6915
263 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 15 | 3457132.1261 | 326353.2727 | 249689.3388 | 577300.6915
264 | CWS | 13000 | 37000 | GW | 1258.08 | RCF | 335.3331 | 15 | 3782683.7267 | 357085.3438 | 277871.3274 | 636214.7512
265 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 15 | 3735512.6302 | 352632.3923 | 273254.6427 | 627145.115
266 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 15 | 3735512.6302 | 352632.3923 | 273254.6427 | 627145.115
267 | CWS | 7000 | 19000 | GW | 1258.08 | RCF | 316.4737 | 15 | 3716887.563 | 350874.1859 | 271431.7879 | 623564.0538
268 | CWS | 7000 | 19000 | GW | 1258.08 | RCF | 316.4737 | 15 | 3716887.563 | 350874.1859 | 271431.7879 | 623564.0538
269 | NTNCWS | 1 | 40 | GW | 1258.08 | RCF | 3.2828 | 15 | 228114.3053 | 21533.9904 | 25211.335 | 48003.4054
270 | CWS | 120 | 350 | GW | 1258.08 | RCF | 7.181 | 15 | 242078.1464 | 22852.177 | 25211.335 | 49321.592
271 | NTNCWS | 7 | 150 | GW | 1258.08 | RCF | 12.3103 | 15 | 290629.8126 | 27435.4543 | 28022.53 | 56716.0643
272 | CWS | 20 | 60 | GW | 1258.08 | RCF | 4.9241 | 15 | 235921.4579 | 22270.9856 | 25211.335 | 48740.4006
273 | NTNCWS | 1 | 30 | GW | 1258.08 | RCF | 2.628 | 15 | 225000 | 21240 | 25211.335 | 47709.415
274 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 15 | 1826986.5812 | 172467.5333 | 172145.413 | 345871.0263
275 | CWS | 6400 | 21000 | GW | 1258.08 | RCF | 348.8252 | 15 | 3829754.6115 | 361528.8353 | 282478.2043 | 645265.1196
276 | NTNCWS | 80 | 340 | GW | 1258.08 | RCF | 13.8696 | 15 | 325859.5889 | 30761.1452 | 29038.7171 | 61057.9423
277 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 14.999 | 4124622.5365 | 389364.3674 | 311325.9542 | 701948.4016
278 | NTNCWS | 2 | 200 | GW | 1258.08 | RCF | 8.2069 | 14.8333 | 244517.8816 | 23082.488 | 25283.0188 | 49623.5869
279 | CWS | 26000 | 106000 | GW | 1258.08 | RCF | 1086.919 | 14.825 | 5861413.409 | 553317.4258 | 518388.1772 | 1072963.683
280 | CWS | 230 | 600 | GW | 1258.08 | RCF | 2.628 | 14.8 | 225000 | 21240 | 25211.335 | 47709.415
281 | CWS | 5800 | 20000 | GW | 1258.08 | RCF | 167.0264 | 14.75 | 2521349.5238 | 238015.395 | 204786.6746 | 444060.1496
282 | NTNCWS | 1 | 300 | GW | 1258.08 | RCF | 8.2069 | 14.75 | 244517.8816 | 23082.488 | 25249.7662 | 49590.3342
283 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 14.705 | 4124622.5365 | 389364.3674 | 308826.9699 | 699449.4173
284 | NTNCWS | 1 | 450 | GW | 1258.08 | RCF | 36.931 | 14.6667 | 656910.9343 | 62012.3922 | 46283.3032 | 109553.7754
285 | CWS | 20 | 60 | GW | 1258.08 | RCF | 4.9241 | 14.5 | 235921.4579 | 22270.9856 | 25211.335 | 48740.4006
286 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 14.5 | 3457132.1261 | 326353.2727 | 247141.2729 | 574752.6256
287 | CWS | 7000 | 19000 | GW | 1258.08 | RCF | 316.4737 | 14.5 | 3716887.563 | 350874.1859 | 268280.7388 | 620413.0048
288 | CWS | 171000 | 884000 | GW | 1258.08 | RCF | 54.7122 | 14.5 | 1405342.846 | 132664.3647 | 150752.5321 | 284674.9768
289 | CWS | 120 | 350 | GW | 1258.08 | RCF | 7.181 | 14.5 | 242078.1464 | 22852.177 | 25211.335 | 49321.592
290 | CWS | 50 | 350 | GW | 1258.08 | RCF | 14.362 | 14.5 | 336984.7814 | 31811.3634 | 29008.2666 | 62077.71
291 | CWS | 170 | 750 | GW | 1258.08 | RCF | 61.7157 | 14.4 | 1473009.6221 | 139052.1083 | 153900.2402 | 294210.4285
292 | CWS | 90 | 240 | GW | 1258.08 | RCF | 6.5655 | 14.4 | 240614.3053 | 22713.9904 | 25211.335 | 49183.4054
293 | NTNCWS | 1 | 290 | GW | 1258.08 | RCF | 7.7965 | 14 | 243541.9875 | 22990.3636 | 25211.335 | 49459.7786
294 | CWS | 7 | 660 | GW | 1258.08 | RCF | 6.7296 | 14 | 241004.6629 | 22750.8402 | 25211.335 | 49220.2552
295 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 14 | 3457132.1261 | 326353.2727 | 244400.1716 | 572011.5244
296 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 14 | 3457132.1261 | 326353.2727 | 244400.1716 | 572011.5244
297 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 14 | 3457132.1261 | 326353.2727 | 244400.1716 | 572011.5244
298 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 14 | 3457132.1261 | 326353.2727 | 244400.1716 | 572011.5244
299 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 14 | 2115797.9481 | 199731.3263 | 183774.9553 | 384764.3616
300 | CWS | 13000 | 37000 | GW | 1258.08 | RCF | 335.3331 | 14 | 3782683.7267 | 357085.3438 | 270940.7311 | 629284.1549
301 | CWS | 1600 | 4300 | GW | 1258.08 | RCF | 88.2239 | 14 | 1729125.8613 | 163229.4813 | 165483.2138 | 329970.7752
302 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 14 | 1826986.5812 | 172467.5333 | 170112.5705 | 343838.1837
303 | CWS | 21000 | 78000 | GW | 1258.08 | RCF | 916.427 | 14 | 5407591.9093 | 510476.6762 | 448153.3638 | 959888.12
304 | CWS | 23000 | 106000 | GW | 1258.08 | RCF | 1744.4542 | 14 | 8114464.2784 | 766005.4279 | 709345.5097 | 1476609.0176
305 | TNCWS | 240 | 110 | GW | 1258.08 | RCF | 9.0276 | 14 | 246469.6697 | 23266.7368 | 25424.7584 | 49949.5752
306 | NTNCWS | 1 | 40 | GW | 1258.08 | RCF | 3.2828 | 14 | 228114.3053 | 21533.9904 | 25211.335 | 48003.4054
307 | NTNCWS | 3 | 150 | GW | 1258.08 | RCF | 12.3103 | 14 | 290629.8126 | 27435.4543 | 27397.3978 | 56090.9321
308 | CWS | 80 | 340 | GW | 1258.08 | RCF | 13.9517 | 14 | 327713.7876 | 30936.1816 | 28383.7175 | 60577.979
309 | CWS | 70 | 120 | GW | 1258.08 | RCF | 9.8483 | 14 | 248421.4579 | 23450.9856 | 25917.9182 | 50626.9838
310 | CWS | 110 | 430 | GW | 1258.08 | RCF | 17.7269 | 14 | 413006.9302 | 38987.8542 | 30652.2528 | 70898.187
311 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 14 | 4170779.2448 | 393721.5607 | 306623.8786 | 701603.5193
312 | CWS | 20 | 30 | GW | 1258.08 | RCF | 2.628 | 13.95 | 225000 | 21240 | 25211.335 | 47709.415
313 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 13.9167 | 3735512.6302 | 352632.3923 | 266003.452 | 619893.9242
314 | NTNCWS | 3 | 30 | GW | 1258.08 | RCF | 2.628 | 13.9 | 225000 | 21240 | 25211.335 | 47709.415
315 | CWS | 8400 | 45000 | GW | 1258.08 | RCF | 621.0829 | 13.75 | 4681290.3671 | 441913.8107 | 356833.9728 | 800005.8634
316 | CWS | 10000 | 35000 | GW | 1258.08 | RCF | 167.6134 | 13.75 | 2527529.6772 | 238598.8015 | 201480.4728 | 441337.3543
317 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 13.709 | 4124622.5365 | 389364.3674 | 299514.0416 | 690136.489
318 | NTNCWS | 7 | 320 | GW | 1258.08 | RCF | 26.262 | 13.625 | 605843.6003 | 57191.6359 | 35227.3919 | 93677.1078
319 | CWS | 3600 | 14000 | GW | 1258.08 | RCF | 567.5057 | 13.5849 | 4549534.7783 | 429476.0831 | 339019.1233 | 769753.2864
320 | CWS | 290 | 960 | GW | 1258.08 | RCF | 19.7786 | 13.5 | 459361.899 | 43363.7633 | 31323.6492 | 75945.4924
321 | CWS | 5800 | 20000 | GW | 1258.08 | RCF | 167.0264 | 13.5 | 2521349.5238 | 238015.395 | 200221.1379 | 439494.6129
322 | CWS | 140 | 460 | GW | 1258.08 | RCF | 37.3413 | 13.5 | 658862.7225 | 62196.641 | 41949.2833 | 105404.0043
323 | CWS | 220 | 800 | GW | 1258.08 | RCF | 65.4909 | 13.4491 | 1509484.3807 | 142495.3255 | 154255.7789 | 298009.1845
324 | CWS | 10000 | 35000 | GW | 1258.08 | RCF | 167.6134 | 13.425 | 2527529.6772 | 238598.8015 | 200189.6364 | 440046.518
325 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 13.3 | 4124622.5365 | 389364.3674 | 295258.9365 | 685881.384
326 | CWS | 15000 | 49000 | GW | 1258.08 | RCF | 2.628 | 13.3 | 225000 | 21240 | 25211.335 | 47709.415
327 | CWS | 10 | 40 | GW | 1258.08 | RCF | 4.8559 | 13.25 | 235596.7513 | 22240.3333 | 25211.335 | 48709.7483
328 | CWS | 20 | 40 | GW | 1258.08 | RCF | 3.0365 | 13.25 | 226943.2324 | 21423.4411 | 25211.335 | 47892.8561
329 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 13.133 | 4124622.5365 | 389364.3674 | 293440.3778 | 684062.8253
330 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 13.0769 | 3735512.6302 | 352632.3923 | 259502.2639 | 613392.7361
331 | CWS | 10 | 40 | GW | 1258.08 | RCF | 3.2007 | 13 | 227723.9476 | 21497.1407 | 25211.335 | 47966.5557
332 | CWS | 80 | 140 | GW | 1258.08 | RCF | 11.4896 | 13 | 272087.8251 | 25685.0907 | 26225.1326 | 53168.3032
333 | CWS | 3000 | 9900 | GW | 1258.08 | RCF | 405.7071 | 13 | 4028202.4839 | 380262.3145 | 283755.7604 | 665276.1549
334 | CWS | 290 | 960 | GW | 1258.08 | RCF | 19.7786 | 13 | 459361.899 | 43363.7633 | 30716.121 | 75337.9643
335 | CWS | 27000 | 116000 | GW | 1258.08 | RCF | 395.0415 | 13 | 3990992.9113 | 376749.7308 | 280591.0228 | 658598.8336
336 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 13 | 4170779.2448 | 393721.5607 | 295882.1571 | 690861.7978
337 | CWS | 30 | 100 | GW | 1258.08 | RCF | 4.1034 | 13 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
338 | CWS | 30 | 100 | GW | 1258.08 | RCF | 4.1034 | 13 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
339 | CWS | 260 | 880 | GW | 1258.08 | RCF | 36.1103 | 13 | 653007.358 | 61643.8946 | 39564.7023 | 102466.6769
340 | CWS | 890 | 4000 | GW | 1258.08 | RCF | 163.5631 | 13 | 2484888.6515 | 234573.4887 | 196570.0666 | 432401.6353
341 | CWS | 190 | 300 | GW | 1258.08 | RCF | 24.6206 | 13 | 568759.6253 | 53690.9086 | 33339.5698 | 88288.5584
342 | NTNCWS | 7 | 50 | GW | 1258.08 | RCF | 4.1855 | 13 | 232408.2392 | 21939.3378 | 25211.335 | 48408.7528
343 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 13 | 3457132.1261 | 326353.2727 | 238243.9279 | 565855.2806
344 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 13 | 3457132.1261 | 326353.2727 | 238243.9279 | 565855.2806
345 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 13 | 3735512.6302 | 352632.3923 | 258861.9892 | 612752.4615
346 | CWS | 2500 | 8900 | GW | 1258.08 | RCF | 146.8703 | 13 | 2309150.7034 | 217983.8264 | 189037.1664 | 408279.0728
347 | CWS | 2500 | 8900 | GW | 1258.08 | RCF | 146.8703 | 13 | 2309150.7034 | 217983.8264 | 189037.1664 | 408279.0728
348 | CWS | 50 | 140 | GW | 1258.08 | RCF | 11.0793 | 13 | 262816.8314 | 24809.9089 | 26002.8064 | 52070.7953
349 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 13 | 2200323.5163 | 207710.5399 | 184372.3553 | 393340.9752
350 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 13 | 2343035.2796 | 221182.5304 | 190489.6081 | 412930.2185
351 | CWS | 390 | 600 | GW | 1258.08 | RCF | 24.6206 | 13 | 568759.6253 | 53690.9086 | 33339.5698 | 88288.5584
352 | CWS | 2500 | 6700 | GW | 1258.08 | RCF | 29.0999 | 13 | 619662.5982 | 58496.1493 | 35766.4354 | 95520.6646
353 | CWS | 2500 | 6700 | GW | 1258.08 | RCF | 29.0999 | 13 | 619662.5982 | 58496.1493 | 35766.4354 | 95520.6646
354 | CWS | 14000 | 65000 | GW | 1258.08 | RCF | 335.3741 | 13 | 3782826.8863 | 357098.8581 | 262886.1473 | 621243.0854
355 | CWS | 14000 | 65000 | GW | 1258.08 | RCF | 335.3741 | 13 | 3782826.8863 | 357098.8581 | 262886.1473 | 621243.0854
356 | CWS | 14000 | 41000 | GW | 1258.08 | RCF | 208.4752 | 13 | 2957713.5883 | 279208.1627 | 216837.2262 | 497303.4689
357 | CWS | 4900 | 12000 | GU | 1258.08 | RCF | 65.6609 | 13 | 1511126.8776 | 142650.3772 | 153591.0268 | 297499.484
358 | CWS | 50 | 350 | GW | 1258.08 | RCF | 14.362 | 13 | 336984.7814 | 31811.3634 | 27781.4157 | 60850.8591
359 | CWS | 1000 | 3100 | GW | 1258.08 | RCF | 63.7674 | 13 | 1492832.8605 | 140923.422 | 152771.1691 | 294952.6711
360 | CWS | 690 | 49000 | GW | 1258.08 | RCF | 2.628 | 13 | 225000 | 21240 | 25211.335 | 47709.415
361 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 13 | 4170779.2448 | 393721.5607 | 295882.1571 | 690861.7978
362 | CWS | 6400 | 21000 | GW | 1258.08 | RCF | 348.8252 | 13 | 3829754.6115 | 361528.8353 | 266877.4304 | 629664.3457
363 | CWS | 26000 | 106000 | GW | 1258.08 | RCF | 1086.919 | 12.9917 | 5861413.409 | 553317.4258 | 473238.5941 | 1027814.0999
364 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 12.965 | 4124622.5365 | 389364.3674 | 291560.5502 | 682182.9976
365 | NTNCWS | 1 | 300 | GW | 1258.08 | RCF | 8.2069 | 12.75 | 244517.8816 | 23082.488 | 25211.335 | 49551.903
366 | CWS | 4800 | 16000 | GW | 1258.08 | RCF | 84.1752 | 12.75 | 1690008.0043 | 159536.7556 | 161048.483 | 321843.3186
367 | CWS | 4900 | 9700 | GW | 1258.08 | RCF | 158.639 | 12.75 | 2433048.5488 | 229679.783 | 193294.0651 | 424231.9281
368 | NTNCWS | 90 | 1300 | GW | 1258.08 | RCF | 35.5631 | 12.65 | 650404.9738 | 61398.2295 | 38448.7563 | 101105.0658
369 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 12.5833 | 4124622.5365 | 389364.3674 | 287090.694 | 677713.1415
370 | CWS | 20 | 80 | GW | 1258.08 | RCF | 3.2828 | 12.525 | 228114.3053 | 21533.9904 | 25211.335 | 48003.4054
371 | NTNCWS | 2 | 110 | GW | 1258.08 | RCF | 9.1917 | 12.5 | 246860.0274 | 23303.5866 | 25211.335 | 49773.0016
372 | CWS | 80 | 170 | GW | 1258.08 | RCF | 13.6234 | 12.5 | 320296.9926 | 30236.0361 | 26926.9991 | 58421.1153
373 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 12.5 | 2115797.9481 | 199731.3263 | 178949.3548 | 379938.7611
374 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 12.5 | 2343035.2796 | 221182.5304 | 188452.7864 | 410893.3968
375 | CWS | 140 | 350 | GW | 1258.08 | RCF | 9.5747 | 12.5 | 247770.8619 | 23389.5694 | 25211.335 | 49858.9844
376 | CWS | 15000 | 49000 | GW | 1258.08 | RCF | 2.628 | 12.4233 | 225000 | 21240 | 25211.335 | 47709.415
377 | CWS | 40 | 90 | GW | 1258.08 | RCF | 3.6931 | 12.4 | 230066.0934 | 21718.2392 | 25211.335 | 48187.6542
378 | CWS | 50 | 130 | GW | 1258.08 | RCF | 10.751 | 12.3333 | 255400.0364 | 24109.7634 | 25340.0945 | 50707.9379
379 | CWS | 230 | 600 | GW | 1258.08 | RCF | 2.628 | 12.3 | 225000 | 21240 | 25211.335 | 47709.415
380 | CWS | 20 | 60 | GW | 1258.08 | RCF | 4.9241 | 12.25 | 235921.4579 | 22270.9856 | 25211.335 | 48740.4006
381 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12.25 | 3457132.1261 | 326353.2727 | 232921.0621 | 560532.4148
382 | CWS | 4800 | 16000 | GW | 1258.08 | RCF | 84.1752 | 12.25 | 1690008.0043 | 159536.7556 | 159856.7992 | 320651.6348
383 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 12.2 | 4124622.5365 | 389364.3674 | 282300.0581 | 672922.5056
384 | CWS | 50 | 200 | GW | 1258.08 | RCF | 8.1248 | 12.2 | 244322.7028 | 23064.0631 | 25211.335 | 49533.4781
385 | CWS | 7100 | 23000 | GW | 1258.08 | RCF | 136.5332 | 12.15 | 2200323.5163 | 207710.5399 | 181125.3611 | 390093.9811
386 | CWS | 2700 | 8300 | GW | 1258.08 | RCF | 113.8431 | 12 | 1976652.0305 | 186595.9517 | 171226.0074 | 359080.039
387 | CWS | 220 | 940 | GW | 1258.08 | RCF | 38.7365 | 12 | 665498.8022 | 62823.0869 | 38289.1854 | 102370.3523
388 | CWS | 150 | 450 | GW | 1258.08 | RCF | 12.1735 | 12 | 287539.4814 | 27143.727 | 25747.6607 | 54149.4677
389 | CWS | 6300 | 31000 | GW | 1258.08 | RCF | 503.9024 | 12 | 4370783.4668 | 412601.9593 | 298606.3839 | 712466.4232
390 | CWS | 30 | 70 | GW | 1258.08 | RCF | 5.991 | 12 | 239248.0536 | 22585.0163 | 25211.335 | 49054.4313
391 | CWS | 150 | 440 | GW | 1258.08 | RCF | 17.9731 | 12 | 418569.5264 | 39512.9633 | 28485.872 | 69256.9153
392 | CWS | 210 | 280 | GW | 1258.08 | RCF | 11.2845 | 12 | 267452.3282 | 25247.4998 | 25327.8877 | 51833.4675
393 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12 | 3457132.1261 | 326353.2727 | 230988.3549 | 558599.7076
394 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12 | 3457132.1261 | 326353.2727 | 230988.3549 | 558599.7076
395 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12 | 3457132.1261 | 326353.2727 | 230988.3549 | 558599.7076
396 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12 | 3457132.1261 | 326353.2727 | 230988.3549 | 558599.7076
397 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12 | 3457132.1261 | 326353.2727 | 230988.3549 | 558599.7076
398 | CWS | 106000 | 290000 | GW | 1258.08 | RCF | 255.9134 | 12 | 3457132.1261 | 326353.2727 | 230988.3549 | 558599.7076
399 | CWS | 19000 | 49000 | GW | 1258.08 | RCF | 212.6921 | 12 | 3002107.3605 | 283398.9348 | 212709.828 | 497366.8428
400 | CWS | 11000 | 31000 | GW | 1258.08 | RCF | 128.2448 | 12 | 2115797.9481 | 199731.3263 | 177053.5832 | 378042.9895
401 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 12 | 3735512.6302 | 352632.3923 | 249738.0748 | 603628.5471
402 | CWS | 47000 | 184000 | GW | 1258.08 | RCF | 230.724 | 12 | 3191943.1433 | 301319.4327 | 220335.6565 | 522913.1692
403 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 12 | 1826986.5812 | 172467.5333 | 164957.8626 | 338683.4758
404 | CWS | 36000 | 125000 | GW | 1258.08 | RCF | 292.2892 | 12 | 3632513.3702 | 342909.2621 | 241814.8406 | 585982.1827
405 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 12 | 2343035.2796 | 221182.5304 | 186234.1056 | 408674.716
406 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 12 | 2343035.2796 | 221182.5304 | 186234.1056 | 408674.716
407 | NTNCWS | 1 | 30 | GW | 1258.08 | RCF | 2.628 | 12 | 225000 | 21240 | 25211.335 | 47709.415
408 | CWS | 16000 | 62000 | GW | 1258.08 | RCF | 1018.2931 | 12 | 5658098.115 | 534124.4621 | 425081.8881 | 960464.4302
409 | CWS | 690 | 2900 | GW | 1258.08 | RCF | 47.5999 | 12 | 707657.4264 | 66802.8611 | 44216.4885 | 112277.4295
410 | CWS | 14000 | 65000 | GW | 1258.08 | RCF | 335.3741 | 12 | 3782826.8863 | 357098.8581 | 253377.7314 | 611734.6695
411 | CWS | 820 | 2700 | GW | 1258.08 | RCF | 74.2723 | 12 | 1594327.8407 | 150504.5482 | 155213.8724 | 306976.5005
412 | CWS | 820 | 2700 | GW | 1258.08 | RCF | 74.2723 | 12 | 1594327.8407 | 150504.5482 | 155213.8724 | 306976.5005
413 | CWS | 29000 | 97000 | GW | 1258.08 | RCF | 496.1828 | 12 | 4343851.5624 | 410059.5875 | 296534.6429 | 707852.3104
414 | CWS | 20 | 50 | GW | 1258.08 | RCF | 4.1034 | 12 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
415 | NTNCWS | 2 | 100 | GW | 1258.08 | RCF | 7.7965 | 12 | 243541.9875 | 22990.3636 | 25211.335 | 49459.7786
416 | NTNCWS | 1 | 40 | GW | 1258.08 | RCF | 3.2828 | 12 | 228114.3053 | 21533.9904 | 25211.335 | 48003.4054
417 | NTNCWS | 10 | 300 | GW | 1258.08 | RCF | 24.6206 | 12 | 568759.6253 | 53690.9086 | 31624.4822 | 86573.4708
418 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 12 | 1826986.5812 | 172467.5333 | 164957.8626 | 338683.4758
419 | CWS | 36000 | 125000 | GW | 1258.08 | RCF | 292.2892 | 12 | 3632513.3702 | 342909.2621 | 241814.8406 | 585982.1827
420 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 11.9 | 3735512.6302 | 352632.3923 | 248735.2662 | 602625.7385
421 | NTNCWS | 2 | 200 | GW | 1258.08 | RCF | 8.2069 | 11.9 | 244517.8816 | 23082.488 | 25211.335 | 49551.903
422 | CWS | 10000 | 35000 | GW | 1258.08 | RCF | 167.6134 | 11.775 | 2527529.6772 | 238598.8015 | 192456.8325 | 432313.714
423 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 11.7613 | 4124622.5365 | 389364.3674 | 276405.6285 | 667028.076
424 | CWS | 1200 | 3600 | GW | 1258.08 | RCF | 42.4765 | 11.7 | 683287.9571 | 64502.3832 | 39061.4491 | 104821.9123
425 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 11.675 | 4124622.5365 | 389364.3674 | 275190.9556 | 665813.403
426 | CWS | 310 | 1000 | GW | 1258.08 | RCF | 41.0344 | 11.6667 | 676428.8159 | 63854.8802 | 38304.3994 | 103417.3596
427 | CWS | 90 | 190 | GW | 1258.08 | RCF | 15.5931 | 11.6 | 364797.7627 | 34436.9088 | 26871.3606 | 62566.3494
428 | CWS | 2100 | 7400 | GW | 1258.08 | RCF | 121.7408 | 11.6 | 2052958.2826 | 193799.2619 | 172862.1156 | 367919.4575
429 | CWS | 36000 | 125000 | GW | 1258.08 | RCF | 292.2892 | 11.5333 | 3632513.3702 | 342909.2621 | 237419.1881 | 581586.5302
430 | CWS | 20 | 80 | GW | 1258.08 | RCF | 3.2828 | 11.5 | 228114.3053 | 21533.9904 | 25211.335 | 48003.4054
431 | TNCWS | 2 | 30 | GW | 1258.08 | RCF | 2.628 | 11.5 | 225000 | 21240 | 25211.335 | 47709.415
432 | CWS | 2500 | 8900 | GW | 1258.08 | RCF | 146.8703 | 11.5 | 2309150.7034 | 217983.8264 | 182498.9122 | 401740.8186
433 | CWS | 130 | 370 | GW | 1258.08 | RCF | 30.5296 | 11.35 | 626463.039 | 59138.1109 | 32815.7988 | 93211.9897
434 | CWS | 36000 | 125000 | GW | 1258.08 | RCF | 292.2892 | 11.3333 | 3632513.3702 | 342909.2621 | 235416.1059 | 579583.4481
435 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 11.3169 | 4124622.5365 | 389364.3674 | 269934.3154 | 660556.7628
436 | CWS | 8800 | 30000 | GW | 1258.08 | WBA | 273.5626 | 11.3 | 2150733.8299 | 203029.2735 | 358034.8051 | 562322.1586
437 | CWS | 30 | 70 | GW | 1258.08 | RCF | 5.5807 | 11.25 | 238272.1595 | 22492.8919 | 25211.335 | 48962.3069
438 | CWS | 17000 | 61000 | GW | 1258.08 | RCF | 2.628 | 11.25 | 225000 | 21240 | 25211.335 | 47709.415
439 | CWS | 70 | 200 | GW | 1258.08 | RCF | 4.0624 | 11.1 | 231822.7028 | 21884.0631 | 25211.335 | 48353.4781
440 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 11.1 | 2343035.2796 | 221182.5304 | 181697.6572 | 404138.2676
441 | CWS | 10 | 40 | GW | 1258.08 | RCF | 4.8559 | 11 | 235596.7513 | 22240.3333 | 25211.335 | 48709.7483
442 | CWS | 130 | 230 | GW | 1258.08 | RCF | 18.8758 | 11 | 438965.7127 | 41438.3633 | 27339.379 | 70035.8223
443 | CWS | 136000 | 542000 | GW | 1258.08 | WBA | 204.0388 | 11 | 1846039.3347 | 174266.1132 | 290755.0146 | 466279.2078
444 | NTNCWS | 20 | 190 | GW | 1258.08 | RCF | 7.7965 | 11 | 243541.9875 | 22990.3636 | 25211.335 | 49459.7786
445 | CWS | 10 | 40 | GW | 1258.08 | RCF | 2.8724 | 11 | 226162.5171 | 21349.7416 | 25211.335 | 47819.1566
446 | CWS | 9900 | 54000 | GW | 1258.08 | RCF | 316.1759 | 11 | 3715848.6332 | 350776.111 | 237503.6355 | 589537.8265
447 | CWS | 1200 | 4200 | GW | 1258.08 | RCF | 49.2413 | 11 | 715464.5791 | 67539.8563 | 39146.206 | 107944.1423
448 | CWS | 190 | 540 | GW | 1258.08 | RCF | 22.1586 | 11 | 513133.6627 | 48439.8178 | 28615.7927 | 78313.6905
449 | CWS | 8800 | 32000 | GW | 1258.08 | RCF | 330.3884 | 11 | 3765432.9919 | 355456.8744 | 240835.9607 | 597550.9151
450 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 11 | 4170779.2448 | 393721.5607 | 268077.3238 | 663056.9645
451 | NTNCWS | 3 | 30 | GW | 1258.08 | RCF | 5.0062 | 11 | 236311.8155 | 22307.8354 | 25211.335 | 48777.2504
452 | NTNCWS | 3 | 250 | GW | 1258.08 | RCF | 10.2586 | 11 | 249397.352 | 23543.11 | 25211.335 | 50012.525
453 | CWS | 106000 | 290000 | GW | 1258.08 | WBA | 255.9134 | 11 | 2054375.4936 | 193933.0466 | 329843.8275 | 525034.9541
454 | CWS | 106000 | 290000 | GW | 1258.08 | WBA | 255.9134 | 11 | 2054375.4936 | 193933.0466 | 329843.8275 | 525034.9541
455 | CWS | 106000 | 290000 | GW | 1258.08 | WBA | 255.9134 | 11 | 2054375.4936 | 193933.0466 | 329843.8275 | 525034.9541
456 | CWS | 106000 | 290000 | GW | 1258.08 | WBA | 255.9134 | 11 | 2054375.4936 | 193933.0466 | 329843.8275 | 525034.9541
457 | CWS | 19000 | 49000 | GW | 1258.08 | WBA | 212.6921 | 11 | 1880792.0545 | 177546.7699 | 297275.4505 | 476080.3004
458 | CWS | 13000 | 37000 | GW | 1258.08 | RCF | 335.3331 | 11 | 3782683.7267 | 357085.3438 | 241995.2992 | 600338.723
459 | CWS | 13000 | 37000 | GW | 1258.08 | RCF | 335.3331 | 11 | 3782683.7267 | 357085.3438 | 241995.2992 | 600338.723
460 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 321.8122 | 11 | 3735512.6302 | 352632.3923 | 238825.1577 | 592715.63
461 | NTNCWS | 90 | 2900 | GW | 1258.08 | RCF | 40.0222 | 11 | 671614.4051 | 63400.3998 | 35561.6108 | 100220.0906
462 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 11 | 1826986.5812 | 172467.5333 | 161622.4633 | 335348.0766
463 | CWS | 4600 | 14000 | GW | 1258.08 | RCF | 98.3526 | 11 | 1826986.5812 | 172467.5333 | 161622.4633 | 335348.0766
464 | CWS | 4800 | 16000 | GW | 1258.08 | RCF | 84.1752 | 11 | 1690008.0043 | 159536.7556 | 156366.4509 | 317161.2865
465 | CWS | 47000 | 169000 | GW | 1258.08 | RCF | 2.628 | 11 | 225000 | 21240 | 25211.335 | 47709.415
466 | NTNCWS | 160 | 100 | GW | 1258.08 | RCF | 4.1034 | 11 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
467 | CWS | 21000 | 78000 | GW | 1258.08 | RCF | 916.427 | 11 | 5407591.9093 | 510476.6762 | 369070.4596 | 880805.2158
468 | CWS | 27000 | 98000 | GW | 1258.08 | RCF | 535.3402 | 11 | 4470434.3334 | 422009.0011 | 288661.4466 | 711928.5277
469 | CWS | 2500 | 20000 | GW | 1258.08 | RCF | 150.0889 | 11 | 2343035.2796 | 221182.5304 | 181144.1908 | 403584.8012
470 | NTNCWS | 1 | 50 | GW | 1258.08 | RCF | 4.1034 | 11 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
471 | CWS | 2800 | 7100 | GW | 1258.08 | RCF | 96.9232 | 11 | 1813176.3918 | 171163.8514 | 161092.5518 | 333514.4832
472 | CWS | 29000 | 97000 | GW | 1258.08 | RCF | 496.1828 | 11 | 4343851.5624 | 410059.5875 | 279708.678 | 691026.3455
473 | CWS | 140 | 500 | GW | 1258.08 | RCF | 20.5172 | 11 | 476049.6877 | 44939.0905 | 27977.5858 | 74174.7564
474 | TNCWS | 3 | 200 | GW | 1258.08 | RCF | 16.4138 | 11 | 383339.7502 | 36187.2724 | 26382.0687 | 63827.4211
475 | CWS | 2400 | 8900 | GW | 1258.08 | RCF | 146.2794 | 11 | 2302929.891 | 217396.5817 | 179662.2986 | 398316.9603
476 | CWS | 2400 | 8900 | GW | 1258.08 | RCF | 146.2794 | 11 | 2302929.891 | 217396.5817 | 179662.2986 | 398316.9603
477 | CWS | 1500 | 8800 | GW | 1258.08 | RCF | 144.4411 | 11 | 2283576.2527 | 215569.5983 | 178947.1826 | 395774.8608
478 | CWS | 10 | 800 | GW | 1258.08 | WBA | 65.655 | 11 | 1153190.8026 | 108861.2118 | 182367.0131 | 292486.3048
479 | CWS | 690 | 49000 | GW | 1258.08 | RCF | 2.628 | 11 | 225000 | 21240 | 25211.335 | 47709.415
480 | CWS | 890 | 4000 | GW | 1258.08 | WBA | 163.5631 | 11 | 1683482.789 | 158920.7753 | 260255.5448 | 420434.4001
481 | CWS | 24000 | 78000 | GW | 1258.08 | RCF | 122.8238 | 11 | 2063421.9027 | 194787.0276 | 170694.736 | 366739.8436
482 | CWS | 16000 | 62000 | GW | 1258.08 | RCF | 1018.2931 | 11 | 5658098.115 | 534124.4621 | 390562.2318 | 925944.7739
483 | CWS | 23000 | 106000 | GW | 1258.08 | RCF | 1744.4542 | 10.9417 | 8114464.2784 | 766005.4279 | 554947.0261 | 1322210.534
484 | CWS | 60 | 60 | GW | 1258.08 | RCF | 4.6779 | 10.9 | 234750.385 | 22160.4363 | 25211.335 | 48629.8513
485 | CWS | 3600 | 14000 | GW | 1258.08 | RCF | 567.5057 | 10.9 | 4549534.7783 | 429476.0831 | 293315.3829 | 724049.5459
486 | CWS | 90 | 260 | GW | 1258.08 | RCF | 10.4638 | 10.9 | 249885.299 | 23589.1722 | 25211.335 | 50058.5872
487 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 10.8343 | 4124622.5365 | 389364.3674 | 262256.6748 | 652879.1222
488 | NTNCWS | 1 | 30 | GW | 1258.08 | RCF | 2.628 | 10.8 | 225000 | 21240 | 25211.335 | 47709.415
489 | CWS | 30000 | 152000 | GW | 1258.08 | RCF | 446.5744 | 10.75 | 4170779.2448 | 393721.5607 | 263815.779 | 658795.4197
490 | CWS | 17000 | 61000 | GW | 1258.08 | RCF | 2.628 | 10.65 | 225000 | 21240 | 25211.335 | 47709.415
491 | TNCWS | 1 | 50 | GW | 1258.08 | RCF | 3.6931 | 10.5 | 230066.0934 | 21718.2392 | 25211.335 | 48187.6542
492 | CWS | 4400 | 14000 | GW | 1258.08 | WBA | 194.2021 | 10.5 | 1806533.6409 | 170536.7757 | 265846.7297 | 437641.5854
493 | CWS | 330 | 1100 | GW | 1258.08 | RCF | 22.5689 | 10.5 | 522404.6565 | 49314.9996 | 27689.7348 | 78262.8144
494 | CWS | 11000 | 50000 | GW | 1258.08 | RCF | 683.2774 | 10.5 | 4834237.1791 | 456351.9897 | 306504.3342 | 764114.4039
495 | NTNCWS | 7 | 200 | GW | 1258.08 | RCF | 8.2069 | 10.5 | 244517.8816 | 23082.488 | 25211.335 | 49551.903
496 | NTNCWS | 1 | 300 | GW | 1258.08 | RCF | 12.3103 | 10.5 | 290629.8126 | 27435.4543 | 25211.335 | 53904.8693
497 | TNCWS | 1 | 50 | GW | 1258.08 | RCF | 4.1034 | 10.3 | 232017.8816 | 21902.488 | 25211.335 | 48371.903
498 | CWS | 14000 | 46000 | GW | 1258.08 | RCF | 423.6938 | 10.2308 | 4090954.1195 | 386186.0689 | 249588.2822 | 637032.4311
499 | CWS | 14000 | 46000 | GW | 1258.08 | RCF | 423.6938 | 10.14 | 4090954.1195 | 386186.0689 | 247895.6721 | 635339.821
500 | CWS | 51000 | 185000 | GW | 1258.08 | RCF | 433.3443 | 10.124 | 4124622.5365 | 389364.3674 | 249512.4433 | 640134.8907
501 | CWS | 3500 | 12000 | GW | 1258.08 | WBA | 191.3516 | 10.085 | 1795085.517 | 169456.0728 | 248952.1816 | 419666.3344
See ISOR Attachment 2, section I (Cost Estimating Methodology) for cost estimate details.