# TECHNICAL GUIDANCE DOCUMENT APPENDICES

TABLE OF CONTENTS

Appendix I.	SUMMARY OF BMP SIZING REQUIREMENTS FOR NORTH ORANGE COUNTY	I-1

I.1.	Introduction to Integrated Structural BMP Sizing Approach in North Orange County	I-1

I.2.	Overview of Approach for LID BMP Sizing in North Orange County	I-3

I.3.	Overview of Approach for Treatment Control BMP Sizing in North Orange County	I-5

I.4.	Overview of Approach for Addressing HCOCs in North Orange County	I-5

I.5.	Role of HSCs in BMP Sizing	I-7

Appendix II.	SUMMARY OF BMP SIZING REQUIREMENTS FOR SOUTH ORANGE COUNTY	II-1

II.1.	Introduction to Integrated Structural BMP Sizing Approach in South Orange County	II-1

II.2.	Overview of Approach for LID BMP Sizing in South Orange County	II-2

II.3.	Overview of Approach for Treatment Control BMP Sizing in South Orange County	II-4

II.4.	Overview of Approach for Addressing HCOCs in South Orange County	II-5

II.5.	Role of HSCs in BMP Sizing	II-5

II.6.	Alternative Performance Criteria for Watershed-based Projects in South Orange County	II-6

Appendix III.	HYDROLOGIC CALCULATIONS AND SIZING METHODS FOR LID BMPS	III-1

III.1.	Hydrologic Methods for Design Capture Storm	III-1

III.2.	Exhibits and Nomographs Used for LID and WQDV/WQDF Design Volume Calculations	III-9

III.3.	Approved Methods for Calculating the LID Design Capture Volume	III-15

III.4.	Nomograph Methods for BMP Performance Estimation	III-27

III.5.	Sizing Approaches for Treatment Trains and Hybrid Systems	III-36

III.6.	Technical Basis for Capture Efficiency-based Performance Criterion	III-37

Appendix IV.	APPROVED METHODS FOR QUANTIFYING HYDROLOGIC CONDITIONS OF CONCERN (NORTH ORANGE COUNTY)	IV-1

IV.1.	Hydrologic Method for 2-year Runoff Volume and Peak	IV-2

IV.2.	Hydrologic Method for Time of Concentration	IV-3

IV.3.	Hydrologic Calculation Examples with WinTR-55	IV-4

Appendix V.	APPROVED METHODS FOR QUANTIFYING HYDROLOGIC CONDITIONS OF CONCERN (SOUTH ORANGE COUNTY)	V-1

V.1.	Hydromodification Control Flow Duration Control Analysis	V-1

V.2.	South Orange County Interim Hydromodification Sizing Tool	V-2

V.3.	Guidelines for Project-Specific Flow Duration Analysis	V-3

Appendix VI.	APPROVED METHODS FOR CALCULATING ALTERNATIVE COMPLIANCE VOLUME FOR LID	VI-1

VI.1.	Calculating Alternative Compliance Volume without Water Quality Credits	VI-1

VI.2.	Applying Water Quality Credits to Adjust Alternative Compliance Volume	VI-2

VI.3.	Stormwater Quality Design Volume/Flow Calculations for Sizing Treatment Control BMPs for Alternative Compliance	VI-5

Appendix VII.	INFILTRATION RATE EVALUATION PROTOCOL AND FACTOR OF SAFETY RECOMMENDATIONS	VII-1

VII.1.	Introduction	VII-1

VII.2.	Methods for Identifying Areas Potentially Feasible for Infiltration	VII-4

VII.3.	Methods for Establishing Design Infiltration Rate	VII-7

VII.4.	Considerations for Infiltration Rate Factor of Safety	VII-30

VII.5.	References	VII-36

Appendix VIII.	GROUNDWATER-RELATED INFILTRATION FEASIBILITY CRITERIA	VIII-1

VIII.1.	Intended Use	VIII-1

VIII.2.	Depth to Groundwater and Mounding Potential	VIII-1

VIII.3.	Groundwater Plumes	VIII-5

VIII.4.	Requirements for BMP Selection by Tributary Land Use Activities	VIII-7

VIII.5.	Well Head Protection and Septic Systems	VIII-10

VIII.6.	Stormwater Runoff Pollutants	VIII-10

VIII.7.	Consultation with Applicable Groundwater Management Agencies	VIII-10

VIII.8.	Technical Requirements for Site Specific Study of Infiltration Impacts on Groundwater Quality	VIII-11

Appendix IX.	TECHNICAL BASIS FOR GREEN ROOF DESIGN CRITERIA	IX-1

IX.1.	Functional Definition of “Self-Retaining” for Green roofs	IX-1

IX.2.	Analysis Inputs	IX-2

IX.3.	Analysis Methods	IX-3

IX.4.	Results	IX-3

Appendix X.	HARVEST AND USE DEMAND CALCULATIONS AND FEASIBILITY SCREENING	X-1

X.1.	Introduction	X-1

X.2.	Harvested Water Demand Calculation	X-1

X.3.	Planning Level Harvest and Use Feasibility Thresholds	X-10

Appendix XI.	CRITERIA FOR DESIGNING BMPS TO ACHIEVE MAXIMUM FEASIBLE RETENTION AND BIOTREATMENT	XI-1

XI.1.	Purpose and Intended Use	XI-1

XI.2.	Criteria for Designing Biotreatment BMPs to Achieve Maximum Feasible Infiltration and ET	XI-1

XI.3.	Criteria for Designing BMPs to Achieve Maximum Feasible Retention of the Stormwater Design Volume	XI-3

XI.4.	Criteria for Designing BMPs to Result in Maximum Feasible Retention plus Biotreatment of the Stormwater Design Volume	XI-4

XI.5.	Supporting Criteria for Designing BMPs to Achieve Maximum Feasible Retention and Biotreatment	XI-5

Appendix XII.	CONCEPTUAL BIOTREATMENT SELECTION, DESIGN, AND MAINTENANCE CRITERIA	XII-1

XII.1.	Definition of Biotreatment BMPs	XII-1

XII.2.	Biotreatment Selection to Address Pollutants of Concern	XII-2

XII.3.	Conceptual Biotreatment Design Requirements	XII-2

XII.4.	Conceptual Biotreatment Operation Requirements	XII-5

XII.5.	Conceptual Biotreatment Maintenance Requirements	XII-5

Appendix XIII.	THRESHOLD INCREMENTAL BENEFIT CRITERION	XIII-1

XIII.1.	Intended Application	XIII-1

XIII.2.	Regulatory Basis	XIII-2

XIII.3.	Comparison to Anticipated Performance of Alternative Scenario	XIII-3

Appendix XIV.	BMP FACT SHEETS	XIV-1

XIV.1.	Hydrologic Source Control Fact Sheets (HSC)	XIV-3

XIV.2.	Miscellaneous BMP Design Element Fact Sheets (MISC)	XIV-16

XIV.3.	Infiltration BMP Fact Sheets (INF)	XIV-21

XIV.4.	Harvest and Use BMP Fact Sheets (HU)	XIV-46

XIV.5.	Biotreatment BMP Fact Sheets (BIO)	XIV-51

XIV.6.	Treatment Control BMP Fact Sheets (TRT)	XIV-71

XIV.7.	Pretreatment/Gross Solids Removal BMP Fact Sheets (PRE)	XIV-76

Appendix XV.	WORKSHEETS	XV-1

Appendix XVI.	EXHIBITS	XVI-1

XVI.1.	Rainfall Zones Map	XVI-2

XVI.2.	Infiltration Feasibility Constraints Maps	XVI-3

XVI.3.	North Orange County Hydromodification Susceptibility Maps	XVI-4

Appendix XVII.	SUPPORTING INFORMATION RELATIVE TO SANITARY SEWER INFLOW AND INFILTRATION	XVII-1

TABLES

Table III.1: Fraction of Average Long Term Runoff Reduced (Capture Efficiency) by HSCs	III-6

Table III.2: SWMM Simulation Input Parameters	III-39

Table VI.1: Table of Multipliers for Computing Remaining Design Storm Intensity	VI-6

Table VII.1: Recommended Infiltration Investigation Methods	VII-2

Table VII.2: Definition of Project Size Categories	VII-6

Table VII.3: Suitability Assessment Related Considerations for Infiltration Facility Safety Factors	VII-31

Table VII.4: Design Related Considerations for Infiltration Facility Safety Factors	VII-33

Table VIII.1: Recommendations/Requirements for BMP Selection to Minimize Groundwater Quality Impacts	VIII-9

Table VIII.2: Definition of Project Size Categories	VIII-12

Table IX.1: Green Roof Moisture Retention Depth Required for 40 Percent Volume Reduction, Los Angeles/Orange County	IX-4

Table X.1: Toilet and Urinal Water Usage per Resident or Employee	X-3

Table X.2: Monthly Reference ET Rates for Orange County (Inches)	X-5

Table X.3: Species, Density, and Microclimate Factors from WUCOLs for High, Moderate, Low and Very Low Water Use Plant Palettes	X-6

Table X.4: Planning Level Recommendations for Landscape Coefficient (KL)	X-7

Table X.5: Modified EWUA Daily Average Irrigation Demand by Location and Landscape Coefficient	X-7

Table X.6: Harvested Water Demand Thresholds for Minimum Partial Capture	X-11

Table X.7: Minimum TUTIA for Minimum Partial Capture	X-12

Table X.8: Minimum Irrigated Area for Potential Partial Capture Feasibility	X-13

Table XI.1: Recommended Minimum Criteria for Site Design	XI-6

Table XIII.1: Volume Reduction Summary of Biotreatment BMP Categories in the International Stormwater BMP Database	XIII-4

Table XIV.1: Proprietary Hydrodynamic Device Manufacturer Websites	XIV-77

Table XIV.2: Proprietary Catch Basin Insert Manufacturer Websites	XIV-78

FIGURES

Figure III.1. Design Capture Rainfall Zones in Orange County	III-11

Figure III.2. Capture Efficiency Nomograph for Constant Drawdown Systems in Orange County	III-12

Figure III.3. Capture Efficiency Nomograph for Harvest and Use Systems with Irrigation Demand in Orange County	III-13

Figure III.4. Capture Efficiency Nomograph for Off-line Flow-based Systems in Orange County	III-14

Figure III.5 Graphical Operations Supporting Example III.6	III-20

Figure III.6 Graphical Operations Supporting Example III.7	III-24

Figure III.7 Graphical Operations Supporting Example III.8	III-29

Figure IV.1: WinTR-55 home screen	IV-5

Figure IV.2: WinTR-55 Storm Data screen	IV-6

Figure IV.3: WinTR-55 Land Use Details screen	IV-7

Figure IV.4: WinTR-55 Time of Concentration Details screen	IV-8

Figure IV.5: WinTR-55 Run Model screen	IV-9

Figure IV.6: WinTR-55 Hydrograph Peak/Peak Timetable screen	IV-10

Figure IV.7: WinTR-20 Printed Page File screen	IV-11

Figure IV.8: WinTR-55 Proposed Condition Land Use Details screen	IV-12

Figure IV.9: Existing and proposed hydrographs	IV-14

Figure V.1. Example Flow Duration Chart	V-2

Figure VI.1: Lookup Graph for Fraction of Design Capture Storm Depth Remaining	VI-2

Figure VII.1. Photo of Single Ring Infiltrometer	VII-11

Figure VII.2.  Single Ring Infiltrometer Construction	VII-12

Figure VII.3.  Single Ring Infiltrometer Setup with Mariotte Tube	VII-13

Figure VII.4. Sample Test Data Form for Single Ring Infiltrometer Test	VII-14

Figure VII.5. Photo of Simple Double Ring Infiltrometer	VII-16

Figure VII.6.  Photo of Pre-fabricated Double Ring Infiltrometer	VII-16

Figure VII.7. Mariotte Tube	VII-17

Figure VII.8. Double Ring Infiltrometer Construction	VII-18

Figure VII.9.  Double Ring Setup with Mariotte Tubes	VII-19

Figure VII.10. Double Ring Infiltrometer Set-up with Mariotte Tubes	VII-19

Figure VII.11.  Double Ring Infiltrometer Set-up for Test at Basin Surface Elevation	VII-20

Figure VII.12.  Sample Test Data Form for Double Ring Infiltrometer Test	VII-21

Figure VII.13.  Typical Well Permeameter Test Installation	VII-22

Figure VII.14.  Well Permeameter Test Equipment	VII-23

Figure VII.15.  Test Pit for Shallow Percolation Test	VII-25

Figure VII.16.  Test Pit for Deep Percolation Test	VII-26

Figure VII.17. Photo of Percolation Test Pit.	VII-27

Figure VII.18.  Sample Test Data Form for Percolation Test	VII-28

Figure VIII.1: Example Calculations of Maximum Mounding Height by Facility Configuration from USGS Calculator (Carlton, 2010)	VIII-5

Figure VIII.2: North Orange County Groundwater Basin Protection Boundary and Plume Protection Boundaries (See Figure XVI.2f for high resolution exhibit)	VIII-8

Figure IX.1: Green Roof Performance Relationships for Los Angeles and Orange County, Landscape Coefficient (KL ) = 0.5 (Low water use plant palette)	IX-5

Figure IX.2: Green Roof Performance Relationships for Los Angeles and Orange County, Landscape Coefficient (KL ) = 0.75 (Moderate water use plant palette)	IX-6

Figure X.1: Harvest and Use Sizing Nomograph	X-8

Figure XIV.1: Schematic Diagram of Permeable Pavement without Underdrains	XIV-40

Figure XVI.1: Orange County Rainfall Zones Map	XVI-2

Figure XVI.2: Infiltration Feasibility Constraints Maps	XVI-3

Figure XVI.3: North Orange County Hydromodification Susceptibility Maps	XVI-4

EXAMPLES

Example III.1: Design Runoff Volume Calculation using Simple Runoff Coefficient Method	III-2

Example III.2: Back-computing Storm Depth from Runoff Volume	III-3

Example III.3: Hydrologic Source Control Calculation Form (Worksheet A)	III-5

Example III.4: Accounting for HSCs in Hydrologic Calculations	III-6

Example III.5: Computing DCV using Simple Method	III-15

Example III.6: Computing Design Criteria to Achieve Target Capture Efficiency, Bioretention BMP	III-19

Example III.7: Sizing to Achieve Target Average Annual Capture Efficiency, Flow-based BMPs	III-23

Example III.8: Determining the Capture Efficiency of a Volume-based, Constant Drawdown BMP Based on Description of System	III-28

Example IV.1: Computing Volume and Peak Flowrate Using WinTR-55	IV-4

Example IV.2: Computing Time of Concentration using TR-55 Methods	IV-12

Example VI.1: Calculating Remaining LID Volume for Alternative Compliance	VI-1

Example VI.2: Calculating Water Quality Credits for Projects Reducing Imperviousness	VI-3

Example VI.3: Applying Water Quality Credits to Reduce Alternative Compliance Volume	VI-4

Example VI.4: Computing the Required Design Flowrate to Mitigate Remaining Alternative Compliance Volume	VI-6

Example VII.1: Percolation Rate Conversion Example	VII-29

Example VIII.1: Application of USGS Groundwater Mounding Tool Using a Hypothetical Range of Infiltration Scenarios	VIII-4

WORKSHEETS

Worksheet A: Hydrologic Source Control Calculation Form	III-8

Worksheet B: Simple Design Capture Volume Sizing Method	III-17

Worksheet C: Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs	III-21

Worksheet D: Capture Efficiency Method for Flow-Based BMPs	III-25

Worksheet E: Determining Capture Efficiency of Volume Based, Constant Drawdown BMP based on Design Volume	III-30

Worksheet F: Determining Capture Efficiency of a Flow-based BMP based on Treatment Capacity	III-34

Worksheet G: Alternative Compliance Volume Worksheet	VI-8

Worksheet H: Factor of Safety and Design Infiltration Rate and Worksheet	VII-35

Worksheet I: Summary of Groundwater-related Feasibility Criteria	VIII-13

Worksheet J: Summary of Harvested Water Demand and Feasibility	X-13

# Key to Text Colors

# Blue = active internal hyperlink

Green = reference to other document.

# SUMMARY OF BMP SIZING REQUIREMENTS FOR NORTH ORANGE COUNTY

The purpose of this appendix is to provide a concise overview of the BMP sizing requirements for Priority Projects in the North Orange County Permit Area. This summary is not intended to supersede the regulatory requirements contained in Section 2.4 of the Model WQMP or establish new/additional performance criteria. Rather, this summary is intended to provide functional descriptions of how these requirements are anticipated to be applied in the majority of projects. This summary is organized as follows:

Introduction to Integrated Structural BMP Sizing Approach in North Orange County

Overview of Approach for LID BMP Sizing in North Orange County

Overview of Approach for Treatment Control BMP Sizing in North Orange County

Overview of Approach for Addressing HCOCs in North Orange County

Role of HSCs in BMP Sizing

## Introduction to Integrated Structural BMP Sizing Approach in North Orange County

Priority Projects in the North Orange County Permit Area are required to implement LID, treatment control, and hydromodification control BMPs to achieve numeric performance criteria described in Section 2.4 of the Model WQMP. While Priority Projects must demonstrate compliance with LID, treatment control, and hydromodification control requirements separately, these provisions overlap significantly and some BMPs may fulfill or partially fulfill a portion of one or more of these requirements.

The relative role that the LID, treatment control, and hydromodification performance standards have on BMP sizing requirements depends on the existing condition of the site, the receiving water hydromodification susceptibility, and whether the project claims water quality credits. Depending on how these factors combine, different sizing standards will control the sizing of BMPs for the project. The term stormwater design volume is used to refer to the controlling sizing standard. This is not a precise term, as it varies from project to project depending on the controlling sizing standard.

Three distinct conditions relative to BMP sizing are anticipated to exist most commonly:

- HCOC-controlled. This condition applies to projects that discharge to receiving waters susceptible to hydromodification and increase imperviousness such that the difference in runoff volume from the 2-year, 24-hour storm from pre- to post-project is greater than the runoff volume from the 85th percentile storm depth (i.e., the LID Design Capture Volume, DCV) by at least 5 percent.  In this case, the controlling stormwater design volume is the difference in the 2-year runoff volume (delta 2-year volume).

# Delta 2-yr volume > DCV = WQDV

Design approach: design BMPs to retain the delta 2-yr volume.  This will generally address all other applicable sizing criteria.

Alternate path: If full retention of the delta 2-yr volume is not feasible and a treated discharge is required, then select a biotreatment BMP to address pollutants of concern, and design it to treat the remaining DCV to the MEP. Design the biotreatment BMP with sufficient storage volume and hydraulic controls to match the peak flow from the 2-year storm to within 10 percent of the pre-project peak.

- DCV-controlled. This condition applies to projects that do not have susceptible receiving waters, do not increase imperviousness, or increase imperviousness slightly such that the DCV is more than 95 percent of the delta 2-yr volume. In this case, the controlling stormwater design volume is the DCV.

DCV = WQDV > Delta 2-yr volume

Design approach:  design BMPs to retain the DCV. This will generally address all other applicable sizing criteria.

Contingencies: If full retention is not possible, retain to the MEP, select a biotreatment BMP to address pollutants of concern, and design biotreatment for the remaining DCV to the MEP. Design the biotreatment BMP with sufficient volume and hydraulic controls to match the 2-year peak flow within 10 percent.

- Alternative Compliance. This condition applies to projects that cannot feasibly retain or biotreat the entire DCV and choose to participate in an in-lieu/off-site program for LID. In this case, the water quality design volume or flowrate (WQDV or WQDF) would control the ultimate sizing of BMPs provided upstream of the receiving water.

WQDV > DCV achieved on-site > Delta 2-yr volume achieved on-site

Design approach: After demonstrating the infeasibility of retaining or biotreating the DCV, claim water quality credits as applicable to project. Size treatment control BMPs, as necessary, to treat the remaining WQDV or WQDF not already addressed with retention and biotreatment BMPs or offset by water quality credits. Claim LID credit for volume that is treated in treatment control BMPs with medium or high effectiveness for all primary pollutants of concern. If treatment control BMPs do not provide M or H effectiveness for all primary pollutants and/or the cost of treatment control BMPs greatly outweighs pollution control benefit; participate in alternative compliance program for remaining LID and treatment control obligation. Provide off-site or in-stream controls to address HCOCs, if present.

Note: this list of conditions is not exhaustive of all potential conditions that could be encountered.  It is provided to illustrate the integration of different sizing criteria, and is anticipated to cover a large percentage of projects.  Conformance with each sizing standard shall always be evaluated on a standard-by-standard basis.

## Overview of Approach for LID BMP Sizing in North Orange County

This section describes three equivalent pathways a typical Priority Project would potentially follow to size LID BMPs for the DCV in the North Orange County permit area.

- Design LID BMPs to retain on-site (infiltrate, harvest and use, or evapotranspire) 80 percent of the average annual stormwater runoff (i.e., 80 percent capture).  The physical storage capacity of the BMP may be less than the DCV if, after considering routing effects (i.e., how quickly storage in the BMP becomes available; see Appendix III.6), the average annual capture percentage exceeds 80 percent. Appendix III.3 and III.4 provide simplified nomograph tools for calculating long term average annual capture efficiency.

# OR

- Participate in a regional facility that provides average annual volume reduction and pollutant load reduction equivalent or better to that which would be achieved by retaining 80 percent of the average annual stormwater from the Project on-site. Regional facilities must be approved by the Regional Board Executive Officer as part of a watershed or sub-watershed scale plan (as described in the Section 2.4.2.2 of the Model WQMP) and equivalency shall be demonstrated by hydrologic and pollutant removal benefits estimated by water quality modeling.

# OR

- Design LID BMPs to:

  - Retain (infiltrate, harvest and use, or evapotranspire) stormwater runoff on-site, as feasible up to the DCV,

# AND

  - Recover (i.e., draw down) the storage volume in less than or equal to 48 hours, if feasible. If not feasible, demonstrate based on feasibility criteria that storage cannot be recovered more quickly or provide additional storage volume beyond the DCV to offset longer drawdown time. Note: Providing the DCV and drawing down this volume down in 48 hours achieves equivalent performance to 80 percent retention of average annual stormwater runoff.  Other combinations of retention volume and drawdown can also be used to achieve 80 percent retention of average annual stormwater runoff if desired and feasible (See Appendix III.3 and III.4).

AND (if necessary)

  - Biotreat the remaining DCV on-site to the MEP, if any (cumulative, retention plus biotreatment),

AND (if necessary)

  - Retain or biotreat, the remaining DCV (cumulative, retention plus biotreatment) in a regional facility designed per LID principals,

AND (if necessary)

  - Claim water quality credits, if applicable, and fulfill alternative compliance obligations for runoff volume not retained or biotreated up to the target average annual capture efficiency of 80 percent (cumulative) or offset by water quality credits.

Infeasibility criteria for BMP selection are described in TGD Section 2.4, and criteria for design BMPs to retain and biotreat stormwater to the MEP are contained in Appendix XI. Conceptually, these criteria are intended to:

Prevent significant risks to human health and environmental degradation as a result of compliance activities; and

Describe circumstances under which regional and watershed-based strategies may be selected when they are consistent with the MEP standard considering such factors as technical feasibility, fiscal feasibility, societal concerns, and social benefits; and

Define performance criteria to ensure that compliance does not result in undue fiscal or societal burdens, including such considerations as:

Cost-effectiveness of on-site stormwater management versus off-site stormwater management, including capital costs and maintenance cost and considerations, and

Incremental cost-benefit of additional BMPs in stormwater management systems, including capital costs and maintenance costs and considerations.

Functionally, these criteria provide the basis for moving from higher to lower levels of the LID BMP hierarchy outlined in Pathway 3, above.

## Overview of Approach for Treatment Control BMP Sizing in North Orange County

Where LID BMPs can be used to retain or biotreat the DCV, no additional volume of storm water is required to be treated. Therefore the use of LID BMPs to treat the DCV inherently fulfills treatment control requirements.  In addition, if water quality credits are claimed by the project to offset remaining unmet portion of the DCV, these credits also serve to reduce the remaining WQDV for treatment control (See Model WQMP Section 7.II-3.1).

Treatment control BMPs must be provided for the remaining “unmet” volume for a project if the following conditions are met:

- Water quality credits do not fully off-set the remaining DCV/WQDV, and

- The pollution control benefits of treatment control BMPs is not outweighed by their cost.

In these cases, sizing of treatment control BMP(s) shall be provided based on the unmet volume/flow as calculated in Section VI.1, minus the contribution of water quality credits as calculated in Section VI.2.

## Overview of Approach for Addressing HCOCs in North Orange County

Hydrologic Conditions of Concerns (HCOCs) are considered to exist if any streams located downstream from the project are determined to be potentially susceptible to hydromodification impacts and either of the following conditions exists:

- Post-development runoff volume for the 2-yr, 24-hr storm exceeds that of the pre-development condition by more than 5 percent

# OR

- Time of concentration of post-development runoff for the 2-yr, 24-hr storm event is greater  than the time of concentration of the pre-development condition by more than 5 percent.

If these conditions to not exist or streams are not potentially susceptible to hydromodification impacts, an HCOC does not exist and hydromodification does not need to be considered further.

Streams susceptibility should be determined as described in TGD Section 2.3, which describes methods of determining susceptibility based on either mapping or site specific engineering analysis.

Priority Projects where there is an HCOC shall, as the first priority, implement on-site or regional hydromodification controls such that:

- Post-development runoff volume for the 2-yr, 24-hr storm event is no greater than 105 percent of that for the pre-development condition.

# AND

- Time of concentration of post-development runoff for the 2-yr, 24-hr storm event is no greater than 105 percent of that for the pre-development condition (see Footnote 5).

A project may implement a combination of additional site design practices, LID controls, structural treatment controls, sub-regional/regional controls, and/or in-stream controls to meet the hydromodification performance criteria stated above. In this case, the Project WQMP should include a project-specific evaluation with the pre- and post-development runoff volume and time of concentration for the 2-yr, 24-hr storm event. The Project WQMP must consider site design practices and on-site controls prior to proposing in-stream controls. If in-stream controls are selected, the Project WQMP should include a project-specific evaluation to demonstrate that the project will not adversely impact beneficial uses or result in sustained degradation of water quality of the receiving waters.

Where the Project WQMP documents that the excess runoff volume from the 2-yr, 24-hr runoff event cannot feasibly be retained (infiltrated, harvested and used, or evapotranspired), the project shall:

- Retain the excess volume from the 2-yr, 24-hr runoff event in on-site or regional controls to the MEP,

# AND

- Implement on-site or regional hydromodification controls such that the post-development runoff 2-yr, 24-hr peak flow rate is no greater than 110 percent of the pre-development runoff 2-yr, 24-hr peak flow rate.

The process of demonstrating that volume has been controlled to the MEP is the same as the process used to demonstrate that LID BMPs have been designed to retain and biotreat the maximum feasible amount of stormwater runoff (See Appendix XI).

Alternative performance criteria found within an RWQCB Executive Officer-approved Watershed Infiltration and Hydromodification Management Plan (WIHMP) may supersede these criteria for the area that the plan covers.

## Role of HSCs in BMP Sizing

Hydrologic source controls (HSCs) can play an integral role in the sizing of LID and treatment control BMPs and addressing HCOCs. In the context of the TGD, HSCs are integrated and distributed micro-scale stormwater infiltration and evapotranspiration (ET) systems that are an integral part of LID site design. These systems are distinguished from LID BMPs because they are highly integrated with site designs, they are generally applied opportunistically, they are not governed by fixed sizing criteria, and they are less stringently engineered than the LID BMPs.

HSCs can impact BMP sizing in the following general ways:

HSCs that retain the entire DCV can render portions of a project “self-retaining,” meaning that no further LID BMPs or treatment control BMPs are needed for their respective drainage areas.

Green roofs are considered to be self-retaining HSCs when designed to meet the criteria contained in Appendix IX.

HSCs can also provide partial retention of the DCV, reducing the sizing requirements of downstream BMPs.

For projects seeking to demonstrate that BMPs have been designed to retain the maximum feasible amount of the DCV, all feasible HSCs must be considered.

Appendix III provides calculation methods that allow projects to account for the benefits of HSCs when determining the amount of remaining requirements that must be met in downstream BMPs. BMP Fact Sheets contained in TGD Section 4 provide design criteria for HSCs.

# SUMMARY OF BMP SIZING REQUIREMENTS FOR SOUTH ORANGE COUNTY

The purpose of this appendix is to provide a concise overview of the BMP sizing requirements for Priority Projects in the South Orange County Permit Area. This summary is not intended to supersede the regulatory requirements contained in Section 2.4 of the Model WQMP or establish new/additional performance criteria. Rather, this summary is intended to provide functional descriptions of how these requirements are anticipated to be applied in the majority of projects. This summary is organized as follows:

Introduction to Integrated Structural BMP Sizing Approach in South Orange County

Overview of Approach for LID BMP Sizing in South Orange County

Overview of Approach for Treatment Control BMP Sizing in South Orange County

Overview of Approach for Addressing HCOCs in South Orange County

Role of HSCs in BMP Sizing

Alternative Performance Criteria for Watershed-based Projects in South Orange County

## Introduction to Integrated Structural BMP Sizing Approach in South Orange County

Priority Projects in the South Orange County Permit Area are required to implement LID, treatment control, and hydromodification control BMPs to achieve numeric performance criteria described in Section 2.4 of the Model WQMP. While Priority Projects must demonstrate compliance with LID, treatment control, and hydromodification control requirements separately, these provisions overlap significantly and some BMPs may fulfill or partially fulfill a portion of one or more of these requirements.

The relative role that the LID, treatment control, and hydromodification performance standards have on BMP sizing requirements depends principally on the susceptibility of receiving channels to hydromodification.

Three distinct conditions relative to BMP sizing are anticipated to exist most commonly:

- HCOC-controlled. This condition applies to any priority project that discharges to receiving waters susceptible to hydromodification. In this case, the interim hydromodification criteria would control the stormwater design.

Interim HM Standard > DCV = WQDV

Design approach: design BMPs to comply with the interim hydromodification standard.  This will generally address all other applicable sizing criteria.

Alternate path: There is no alternative compliance option for inability to meet the interim hydromodification standard.  However, flow control could potentially be provided off-site.

- DCV-controlled. This condition applies to projects that do not have susceptible receiving waters. In this case, the controlling stormwater design volume is the DCV.

DCV = WQDV; HCOCs do not exist

Design approach:  design BMPs to retain the DCV. This will generally address treatment control sizing criteria.

Contingencies: If full retention is not possible, retain to the MEP, select a biotreatment BMP to address pollutants of concern, and design biotreatment for the remaining DCV to the MEP.

- Alternative Compliance. This condition applies to projects that cannot feasibly retain or biotreat the entire DCV and choose to participate in an in-lieu/off-site program for remaining LID requirements. In this case, the water quality design volume or flowrate (WQDV or WQDF) would control the ultimate sizing of on-site BMPs.

WQDV > DCV achieved on-site

Design approach: After demonstrating the infeasibility of retaining or biotreating the DCV, size treatment control BMPs, as necessary, to treat the remaining WQDV or WQDF not already addressed with retention and biotreatment BMPs. Claim full or partial pollutant offset credit based on pollutant load reduction achieved in treatment control BMPs. Participate in alternative compliance program for remaining LID obligation. Alternative compliance requirements are contained in Section 3.0 of the Model WQMP.

Note: this list of conditions is not exhaustive of all potential conditions that could be encountered.  It is provided to illustrate the integration of different sizing criteria, and is anticipated to cover a large percentage of projects.  Conformance with each sizing standard shall always be evaluated on a standard-by-standard basis.

## Overview of Approach for LID BMP Sizing in South Orange County

This section describes three equivalent pathways a typical Priority Project would potentially follow to size LID BMPs for the DCV in the South Orange County permit area.

- Design LID BMPs to retain on-site (infiltrate, harvest and use, or evapotranspire) 80 percent of the average annual stormwater runoff (i.e., 80 percent capture).  The physical storage capacity of the BMP may be less than the DCV if, after considering routing effects (i.e., the rate at which water is treated and storage volume is recovered), the average annual capture percentage exceeds 80 percent.  Appendix III.3 and III.4 provide simplified nomograph tools for calculating long term average annual capture efficiency.  In the South Orange County permit area, the pre-filter storage volume of the BMP may not be less than 75 percent of the DCV.

# OR

- Design LID BMPs to:

  - Retain (infiltrate, harvest and use, or evapotranspire) stormwater runoff on-site, as feasible up to the DCV,

# AND

  - Recover (i.e., draw down) the storage volume in less than or equal to 48 hours, if feasible. If not feasible, demonstrate based on feasibility criteria that storage cannot be recovered more quickly or provide additional storage volume beyond the DCV to offset longer drawdown time. Note: Providing the DCV and drawing down this volume down in 48 hours achieves equivalent performance to 80 percent retention of average annual stormwater runoff.  Other combinations of retention volume and drawdown can also be used to achieve 80 percent retention of average annual stormwater runoff if desired and feasible (See Appendix III.3 and III.4).

AND (if necessary)

  - Biotreat the remaining DCV on-site to the MEP, if any (cumulative, retention plus biotreatment),

  - Provided treatment controls for the remaining DCV, and fulfill alternative compliance obligations for runoff volume not retained or biotreated up to the target average annual capture efficiency of 80 percent (cumulative) or offset pollutant load reduction in treatment control BMPs.

Infeasibility criteria for BMP selection are described in TGD Section 2.4, and criteria for design BMPs to retain and biotreat stormwater to the MEP are contained in Appendix XI. Conceptually, these criteria are intended to:

Prevent significant risks to human health and environmental degradation as a result of compliance activities; and

Describe circumstances under which regional and watershed-based strategies may be selected when they are consistent with the MEP standard considering such factors as technical feasibility, fiscal feasibility, societal concerns, and social benefits; and

Define performance criteria to ensure that compliance does not result in undue fiscal or societal burdens, including such considerations as:

Cost-effectiveness of on-site stormwater management versus off-site stormwater management, including capital costs and maintenance cost and considerations, and

Incremental cost-benefit of additional BMPs in stormwater management systems, including capital costs and maintenance costs and considerations.

Functionally, these criteria provide the basis for moving from higher to lower levels of the LID BMP hierarchy outlined in Pathway 3, above.

## Overview of Approach for Treatment Control BMP Sizing in South Orange County

Where LID BMPs can be used to retain or biotreat the DCV, no additional volume of storm water is required to be treated. Therefore the use of LID BMPs to treat the DCV inherently fulfills treatment control requirements.

If LID performance criteria have not been met through retention and biotreatment, then treatment control BMPs should be provided to address the remaining treatment control performance criteria. Two potential cases could arise with respect to performance criteria of treatment control BMPs:

- LID performance criteria can be partially, but not fully met with LID BMPs.

  - Sizing of treatment control BMP(s) would be based on the unmet volume to achieve cumulative 80 percent average annual capture efficiency as calculated in Section VI.1.

- The project or a drainage area cannot feasibly incorporate any LID BMPs.

  - Sizing of treatment control BMP(s) would be based one of the following criteria:

- Capture and infiltrate or treat 80 percent of average annual runoff volume,

# OR

- Capture and infiltrate or treat the runoff from the 24-hour, 85th percentile storm event, as determined from the County of Orange’s 85th Percentile Precipitation Isopluvial Map and draw down the stored volume in no more than 48 hours following the end of precipitation,

# OR

- Treat the maximum flow rate of runoff produced by the 85th percentile hourly rainfall intensity, as determined from the local historical rainfall record, multiplied by a factor of two, or

# OR

- The maximum flow rate of runoff produced from a rainfall intensity of 0.2 inch of rainfall per hour, for each hour of a storm event.

## Overview of Approach for Addressing HCOCs in South Orange County

### Interim Criteria

HCOCs are not considered to exist if the downstream conveyance network is not susceptible to hydromodification impacts.  Streams susceptibility should be determined as described in TGD Section 2.3, which requires methods of determining susceptibility based on either mapping or site specific engineering analysis.

For projects discharging to a downstream conveyance network that is susceptible to hydromodification impacts, an HCOC is assumed to exist, and projects shall as required by the Model WQMP mitigate this HCOC. An HCOC is considered to be mitigated when on-site or regional hydromodification controls are provided such that such that:

- For flow rates from 10 percent of the 2-year storm event to the 5-year storm event, the post-project flows do not exceed pre-development (naturally occurring) peak flows.

- For flow rates from the 5-year storm event to the 10-year storm event the post-project peak flows may exceed pre-development (naturally occurring) flows by up to 10 percent for a 1-year frequency interval.

### Final Criteria

If a Hydromodification Management Plan (HMP) has been approved by the Regional Board and the project is located within a copermittee’s jurisdiction that has incorporated the HMP into the LIP, then the project shall implement the criteria that have been incorporated into the HMP.

## Role of HSCs in BMP Sizing

Hydrologic source controls (HSCs) can play an integral role in the sizing of LID and treatment control BMPs and addressing HCOCs. In the context of the TGD, HSCs are integrated and distributed micro-scale stormwater infiltration and ET systems that are an integral part of LID site design. These systems are distinguished from LID BMPs because they are highly integrated with site designs, they are generally applied opportunistically, they are not governed by fixed sizing criteria, and they are less stringently engineered than the LID BMPs.

HSCs can impact BMP sizing in the following general ways:

HSCs that retain the entire DCV can render portions of a project “self-retaining,” meaning that no further LID BMPs or treatment control BMPs are needed for these areas.

Green roofs are considered to be self-retaining HSCs when designed to meet the criteria contained in Appendix IX.

HSCs can also provide partial retention of the DCV, reducing the sizing requirements of downstream BMPs.

For projects seeking to demonstrate that BMPs have been designed to retain the maximum feasible amount of the DCV, all feasible HSCs must be considered.

Appendix III provides calculation methods that allow projects to account for the benefits of HSCs when determining the amount of remaining requirements that must be met in downstream BMPs. BMP Fact Sheets contained in TGD Section 4 provide design criteria for HSCs.

## Alternative Performance Criteria for Watershed-based Projects in South Orange County

In the South Orange County permit area, development projects greater than 100 acres in total project size, or smaller than 100 acres in size yet part of a larger common plan of development that is over 100 acres, that have been prepared using watershed and/or sub-watershed-based water quality, hydrologic, and fluvial geomorphologic planning principles that implement regional LID BMPs in accordance with the sizing and location criteria of the South Orange County Permit and acceptable to the Regional Board, are deemed to satisfy the South County Permit’s requirements for new development and do not have to conduct an on-site feasibility analysis. Regional BMPs in such plans should clearly exhibit that they will not result in a net impact from pollutant loadings over and above the impact caused by capture and retention of the design storm with on-site LID BMPs.

# HYDROLOGIC CALCULATIONS AND SIZING METHODS FOR LID BMPS

## Hydrologic Methods for Design Capture Storm

This section describes the hydrologic methods that shall be used to compute the design runoff volume or flowrate resulting from a given precipitation depth or intensity and a given imperviousness fraction. These methods are applicable to the Design Capture Storm (85th percentile, 24-hour) as well as the water quality design storm and water quality design intensity. These methods are not applicable for hydrologic analysis of the 2-year design storm.

### Simple Method Runoff Coefficient for Volume-Based BMP Sizing

This hydrologic method shall be used to calculate the runoff volume associated with LID and water quality design storms.  The runoff volume shall be calculated as:

V = C × d × A × 43560 sf/ac × 1/12 in/ft					Equation III.1

Where:

V = runoff volume during the design storm event, cu-ft

C = runoff coefficient = (0.75 × imp + 0.15)

imp = impervious fraction of drainage area (ranges from 0 to 1)

d = storm depth (inches)

A = tributary area (acres)

Note: the tributary area includes the portions of the drainage area within the project and any run-on from off-site areas that comingles with project runoff.

An example of this calculation is provided in Example III.1. This method shall not be used for calculating the runoff volume from the 2-year design storm.

Example III.1: Design Runoff Volume Calculation using Simple Runoff Coefficient Method

# Given:

A drainage area consists of a 1 acre building roof surrounded by 0.25 acres of landscaping (80 percent composite imperviousness)

The design capture storm depth is 0.75 inches .

# Required:

Find the DCV

# Result:

From Equation I.1:   V = C × d × A × 43560 sf/ac × 1/12 in/ft

C = (0.8×0.75 + 0.15) = 0.75

A = 1.25 ac

d =  0.75 inches

V = 0.75 × 0.75 in × 1.25 ac × 43560 sf/ac × 1/12 in/ft = 2,550 cu-ft

In some BMP sizing calculations, it is necessary to “back-calculate” the design storm depth based on the runoff volume and a description of the watershed. The design storm depth can be calculated by rearranging Equation 2.1 above:

d = V × 12 in/ft/[C × A × 43560 sf/ac]						Equation III.2

Any subtraction from the designs storm depth claimed in Section III.1.3 to account for HSCs should be added to the back-computed design storm depth after this calculation.  Example III.2 illustrates how a given volume of stormwater would be translated to an equivalent storm depth.

Example III.2: Back-computing Storm Depth from Runoff Volume

# Given:

A drainage area consists of a 1 acre building roof surrounded by 0.25 acres of landscaping (80 percent composite imperviousness)

An LID BMP with 1,200 cu-ft of storage is provided.

# Required:

What is the equivalent design storm corresponding to this BMP volume?

# Result:

- From Equation 2.2:   d = V × 12 in/ft/[C × A × 43560 sf/ac]

V = 1,200 cu-ft (given)

- C = (0.8×0.75 + 0.15) = 0.75

- A = 1.25 ac

- d = 1,200 cu-ft × 12 in/ft / [ 0.75 × 1.25 ac × 43560 sf/ac ] =  0.35 inches

### Simple Method Runoff Coefficient for Flow-based BMP Sizing

This hydrologic method shall be used to calculate the runoff flowrate associated with a water quality design storm intensity. Design flow calculations for flow-based BMPs should be calculated as:

Q = C × i × A 								Equation III.3

Where:

Q = design flowrate, cfs

C = runoff coefficient = (0.75 × imp + 0.15)

imp = impervious fraction of drainage area (ranges from 0 to 1)

i = design intensity (inches)

A = tributary area (acres)

Note: the tributary area includes the portions of the drainage area within the project and any run-on from off-site areas that comingles with project runoff.

### Sizing and Accounting for Hydrologic Source Controls (HSCs)

The effects of HSCs are accounted for in hydrologic calculations as an adjustment to the storm depth used in the calculations described above. Adjustments to design storm depth are based on the type and magnitude of HSCs employed for the drainage area.  This section provides guidance for both elements of this calculation.

#### Calculating the Effective Storage Depth of HSCs

BMP Fact Sheets for HSCs include HSC-specific criteria for quantifying storm depth retained. There may be more than one HSC in a single drainage area, and the effect of the suite of HSCs over a drainage area should be combined and area weighted as follows.

dHSC total = ∑dHSCi X IAi / IAtotal						Equation III.4

Where:

dHSC total = combined effect of HSCs in drainage area, inches

dHSCi = effect of individual HSCi per criteria in BMP Fact Sheets (Section XIV.1), inches

IAi = impervious area tributary to individual HSCi (for street trees this is the impervious area beneath a fully established perennial canopy); areas cannot be counted twice if more than one HSC captures runoff from the same impervious area (e.g., street trees covering a roof top that is disconnected).

IAtotal = total impervious area in drainage area

Example III.1 provides a template for calculation of the combined effective of HSCs in the drainage area (expressed in inches reduction of the design capture storm depth).

| Example III.3: Hydrologic Source Control Calculation Form (Worksheet A) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Drainage area ID | A |  |  |
|  | Total drainage area | 2.1 | acres |  |
| Total drainage area Impervious Area (IAtotal) |  | 1.3 | acres |  |
| HSC ID | HSC Type/ Description/ Reference Section | Effect of individual HSCi per criteria in HSC BMP Fact Sheets (TGD Section 4.2) (dHSCi) | Impervious Area Tributary to HSCi (IAi) | di × IAi |
| A-1 | Downspout Dispersion, 1:2 ratio (0.5) of rooftop to pervious area for 0.38 acres | 0.25” | 0.38 | 0.095 |
| A-2 | Street Trees, perennial canopy over 0.25 acres of impervious area | 0.05” | 0.25 | 0.0125 |
| A-3 | Downspout Infiltration, 10-15 cu-ft storage per 1000 sf of roof for 0.21 acres | 0.15” | 0.21 | 0.032 |
| A-4 | Residential Rain Barrels, four 55 gallon barrels per 1000 sf of roof (4*55*50%=110 gal/1000 sf) for 0.2 acres | 0.18” | 0.2 | 0.036 |
|  | Box 1: | ∑ di × IAi = |  | 0.175 |
|  | Box 2: | IAtotal = |  | 1.3 |
|  | [Box 1]/[Box 2]: | dHSC total = |  | 0.135 |
|  |  | Percent Capture Provided by HSCs (Table III.1 lowlands, interpolated) |  | 26% |

#### Computing Remaining Runoff Volume after HSCs

To compute the remaining runoff volume after HSCs, runoff volume calculations are performed exactly as described in Section III.1.1, with the exception that the storm depth used in the calculation is adjusted prior to the calculation.  Example III.4 illustrates the approach for accounting for HSCs in hydrologic calculations and the effect that HSCs can have on reducing the required volume of downstream BMPs.

Example III.4: Accounting for HSCs in Hydrologic Calculations

# Given:

A drainage area consists of a 2.1 acres with 1.3 acres of impervious surface (62% imperviousness)

The mix of HSCs shown in Example III.3 are used in the drainage area, resulting in an area-weighted average HSC effective retention depth of 0.14 inches

The unadjusted design storm depth at the project site is 0.85 inches.

# Result:

- The designer uses 0.85 inches – 0.14 inches = 0.71 inches in the calculation of runoff from the design storm depth

- DCV (with HSCs) = 
2.1 ac × 0.71 inches × (0.62×0.75 + 0.15) × 43560 sf/ac × 1/12 in/ft = 3,330 cu-ft

- DCV (without HSCs) =  
2.1 ac × 0.85 inches × (0.62×0.75 + 0.15) × 43560 sf/ac × 1/12 in/ft = 3,990 cu-ft

#### Computing the Fraction of Average Long Term Runoff Reduced by HSCs

Table III.1 provides fraction of average annual runoff volume reduced by HSCs based on the effective storage volume of HSCs computed per Section III.1.3.1.

| Table III.1: Fraction of Average Long Term Runoff Reduced (Capture Efficiency) by HSCs |  |  |
| --- | --- | --- |
| Cumulative HSC Adjustment to Design Capture Storm Depth (dhsc) | Capture Efficiency Achieved Lowland Regions (<1,000 ft) | Capture Efficiency Achieved Mountainous Regions (>1,000 ft) |
| <0.05 | 0 | 0% |
| 0.05” | 8% | 7% |
| 0.1” | 20% | 16% |
| 0.2” | 37% | 31% |
| 0.3” | 48% | 42% |
| 0.4” | 57% | 50% |
| 0.5” | 64% | 57% |
| 0.6” | 70% | 63% |
| 0.7” | 75% | 68% |
| 0.8” | 80% | 72% |
| 0.9” | 80% | 76% |
| 1.0” | 80% | 80% |

| Worksheet A: Hydrologic Source Control Calculation Form |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Drainage area ID |  |  |  |
|  | Total drainage area |  | acres |  |
| Total drainage area Impervious Area (IAtotal) |  |  | acres |  |
| HSC ID | HSC Type/ Description/ Reference BMP Fact Sheet | Effect of individual HSCi per criteria in BMP Fact Sheets (TGD Section 4.2) (dHSCi)1 | Impervious Area Tributary to HSCi (IAi) | di × IAi |
|  | Box 1: | ∑ di × IAi = |  |  |
|  | Box 2: | IAtotal = |  |  |
|  | [Box 1]/[Box 2]: | dHSC total = |  |  |
|  |  | Percent Capture Provided by HSCs (Table III.1) |  |  |

1 - For HSCs meeting criteria to be considered self-retaining, enter the DCV for the project.

### General Guidelines for Use of Continuous Simulation Modeling

For projects with complex hydrologic conditions or for evaluation of complex BMP designs, an appropriate public domain continuous flow model [such as Storm Water Management Model (SWMM) or Hydrologic Engineering Center – Hydrologic Simulation Program – Fortran (HEC-HSPF)], may be used to develop and evaluate BMP designs. The model should be run using a local precipitation record and project-specific information about soils, slopes, and BMP designs.  Inputs should be thoroughly documented and conform to standards of engineering practice.

The acceptability of models is at the discretion of the reviewing agency, therefore the applicant should inquire with the reviewing agency regarding model preference and input assumptions.

## Exhibits and Nomographs Used for LID and WQDV/WQDF Design Volume Calculations

Figure III.1 depicts the Design Capture Storm Depth for Orange County.  A higher resolution version of this figure is provided in Appendix XVI.

Figure III.2 presents a relationship between unit storage volume, drawdown time, and capture efficiency that is applicable across Orange County. The relationships are developed based on continuous simulation of hourly precipitation data per methods described in Appendix III.6 and can be used in a variety of ways for design calculations as described in the following sections.

Figure III.3 presents a relationship between unit storage volume, unit demand (assuming drawdown rate varies with ET rate), and capture efficiency that is applicable across Orange County for systems with irrigation as their only demand. The relationships are developed based on continuous simulation of hourly precipitation data and daily ET data per methods described in Appendix III.6 and can be used in a variety of ways for design calculations of harvest and use systems as described in the following sections. The effective irrigation area to tributary area ratio of the system (EIATA) is calculated as follows:

The EIATA ratio is calculated as follows:

EIATA = LA × KL/[IE × Tributary Impervious Area]

Where:

EIATA = Effective Irrigated Area to Tributary Area ratio (ac/ac)

LA = landscape area irrigated with harvested water, sq-ft

KL = Area-weighted landscape coefficient (see guidance and references in Appendix X.2.5.2)

IE = irrigation efficiency (assume 0.90)

Figure III.4 presents a relationship between design intensity, catchment time of concentration, and capture efficiency for off-line, flow-based BMPs. The relationships are developed based on analysis of hourly and 5-minute precipitation data as described in per methods described in Appendix III.6 and can be used in a variety of ways for design calculations as described in the following sections. It is applicable across Orange County.

.

Figure III.1. Design Capture Rainfall Zones in Orange County

See Exhibit XVI.1

Figure III.2. Capture Efficiency Nomograph for Constant Drawdown Systems in Orange County

Figure III.3. Capture Efficiency Nomograph for Harvest and Use Systems with Irrigation Demand in Orange County

Figure III.4. Capture Efficiency Nomograph for Off-line Flow-based Systems in Orange County

## Approved Methods for Calculating the LID Design Capture Volume

This section describes approved methods for calculating LID DCV.

### Simple Design Capture Volume Sizing Method

This section describes the simplest method of sizing volume-based BMPs to manage the DCV. It may result in BMPs that achieve greater than 80 percent capture, therefore may be somewhat oversized to meet minimum performance criteria. This would result where the DCV can draw down in less than 48 hours. If the size of the BMP that results from this method is impracticable because it is oversized, the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (Appendix III.3.2) is recommended.

# Stepwise Instructions:

- Look up the design capture storm depth from Figure III.1.

- Compute the DCV using the approved hydrologic methods described in Sections III.1 accounting for HSCs implemented upstream.

- Design BMP(s) to ensure that the DCV is fully retained (i.e., no surface discharge during the design event) and the stored volume draws down in no longer than 48 hours.

Treatment control performance criteria are fully met where this method is used.

Example III.5: Computing DCV using Simple Method

# Given:

Redevelopment project, 85th percentile, 24-hr storm depth = 0.85 inches

Drainage Area = 1.5 acres

Imperviousness = 80%

Effective retention depth of HSCs (dHSC) = 0.2 inches

Design infiltration rate = 0.5 in/hr

# Required:

Determine LID DCV by Simple Method and check that this volume can be drawn down in less than or equal to 48 hours

# Solution:

- Design capture storm depth = 0.85 inches from Figure III.1.

- Design capture storm depth, less HSCs = 0.85 inches – 0.2 inches = 0.65 inches

- DCV  = 1.5 ac × (0.8*0.75 + 0.15) × (0.65 inches) * 43,560 sf/ac × 1/12 in/ft = 2,650 cu-ft

- Design BMP to provide remaining DCV and ensure ≤ 48 hour drawdown.  

Minimum area required = [DCV] / [maximum retention depth that can draw down in 48 hours] 

Max retention depth that can be drawn down in 48 hrs = 48 hrs × 0.5 in/hr = 24 inches = 2 ft

Minimum area required = 2,650 cu-ft / 2-ft = 1,325 sq-ft = 2.0 percent of project site.  At least this effective area should be provided for infiltration to ensure that water is completely drawn down in no greater than 48 hours.

- Retention depth may be provided through surface storage plus pore storage depending on BMP type.  See BMP Fact Sheets for BMP-specific guidance on computing drawdown based on system geometry.

| Worksheet B: Simple Design Capture Volume Sizing Method |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # Step 1: Determine the design capture storm depth used for calculating volume |  |  |  |  |  |
| 1 | Enter design capture storm depth from Figure III.1, d (inches) | d= |  | inches |
| 2 | Enter the effect of provided HSCs, dHSC (inches) (Worksheet A) | dHSC= |  | inches |
| 3 | Calculate the remainder of the design capture storm depth, dremainder (inches) (Line 1 – Line 2) | dremainder= |  | inches |
| # Step 2: Calculate the DCV |  |  |  |  |  |
| 1 | Enter Project area tributary to BMP (s), A (acres) | A= |  | acres |
| 2 | Enter Project Imperviousness, imp (unitless) | imp= |  |  |
| 3 | Calculate runoff coefficient, C= (0.75 x imp) + 0.15 | C= |  |  |
| 4 | Calculate runoff volume, Vdesign= (C x dremainder x A x 43560 x (1/12)) | Vdesign= |  | cu-ft |
| # Step 3: Design BMPs to ensure full retention of the DCV |  |  |  |  |
| # Step 3a: Determine design infiltration rate |  |  |  |  |
| 1 | Enter measured infiltration rate, Kmeasured (in/hr) (Appendix VII) | Kmeasured= |  | In/hr |
| 2 | Enter combined safety factor from Worksheet H, Sfinal (unitless) | Sfinal= |  |  |
| 3 | Calculate design infiltration rate, Kdesign = Kmeasured×Sfinal | Kdesign= |  | In/hr |
| # Step 3b: Determine minimum BMP footprint |  |  |  |  |
| 4 | Enter drawdown time, T (max 48 hours) | T= |  | Hours |
| 5 | Calculate max retention depth that can be drawn down within the drawdown time (feet), Dmax = Kdesign x T x (1/12) | Dmax= |  | feet |
| 6 | Calculate minimum area required for BMP (sq-ft), Amin = Vdesign/ dmax | Amin= |  | sq-ft |

### Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs

This section describes the recommended method of sizing volume-based BMPs to achieve the 80 percent capture performance criterion. This method has a number of potential applications in the Project WQMP preparation process, including:

Use this method where a BMP can draw down in less than 48 hours and it is desired to demonstrate that 80 percent capture can be achieved using a BMP volume smaller than the DCV.

Use this method to determine how much volume (greater than the DCV) must be provided to achieve 80 percent capture when the drawdown time of the BMP exceeds 48 hours.

Use this method to determine how much volume should be provided to achieve 80 percent capture where upstream BMP(s) have achieved some capture, but have not achieved 80 percent capture.

By nature, this is an iterative process that requires some initial assumptions about BMP design parameters and subsequent confirmation that these assumptions are valid. For example sizing calculations depend on the assumed drawdown time, which depends on BMP depth, which may in turn need to be adjusted to provide the required volume within the allowable footprint. In general, the selection of reasonable BMP design parameters in the first iteration will result in minimal required additional iterations.

This method is only suitable for volumetric BMPs that have a drawdown rate can be approximated as constant throughout the year or over the wet season.  For these BMPs, Figure III.2 should be used with the instructions below.  For flow-based BMPs, Section III.4.3 should be used.

# Stepwise Instructions:

- Look up the 85th percentile, 24-hour storm depth for the project site from Figure III.1.

- Estimate the drawdown time of the proposed BMP.  See the applicable BMP Fact Sheet for specific guidance on how to convert BMP geometry to estimated drawdown time. On Figure III.2, locate where the line corresponding to the estimated drawdown time intersects with 80 percent capture. Pivot to the X axis and read the fraction of the DCV that needs to be provided in the BMP. This is referred to as X1.

- Determine the capture efficiency achieved upstream of the BMP and trace a horizontal line on Figure III.2 corresponding to this value. Upstream capture would result from HSCs or upstream LID BMPs.

- Find where the line traced in (3) intersects with the drawdown time estimated in (2).  Pivot and read down to the horizontal axis to yield the fraction of the DCV already provided by upstream HSCs and BMPs.  This is referred to as X2.

- Subtract X2 from X1 to determine the fraction of the design volume that must be provided to achieve 80 percent capture.

- Multiply the result of (5) by the 85th percentile, 24-hour storm depth (1).

- Compute runoff from the storm depth computed in (6) per guidance contained in Section III.1.1.  This is the required BMP design volume.

- Design the BMP to retain the required volume, and confirm that the drawdown time is no more than 25 percent greater than estimated in (2). If the computed drawdown time is greater than 125 percent of the estimated drawdown, then return to (2) and revise the initial drawdown time assumption.

See the respective BMP facts sheets for BMP-specific instructions for the calculation of volume and drawdown time.

Example III.6: Computing Design Criteria to Achieve Target Capture Efficiency, Bioretention BMP

# Given:

85th percentile, 24-hr storm depth = 0.85 inches

Drainage Area = 1.5 acres

Imperviousness = 80%

Effect of provided HSCs (dHSC) = 0.2 inches

Assume to priority BMP to be considered is bioretention without underdrains, 24-inch total retention depth (surface ponding + pore space)

Design infiltration rate = 0.25 in/hr

# Required:

Determine volume required to achieve 80 percent capture

# Solution:

- 85th percentile, 24-hr storm depth = 0.85 inches (Figure III.1)

- BMP has total retention depth of 24 inches with 0.25 in/hr. 
24 in / 0.25 in/hr = 96 hour total drawdown  
From Figure III.5:  X1 = 1.38

- Capture efficiency achieved by 0.2 inches of HSCs = 31% (From Table III.1).

- From Figure III.5: X2 = 0.26

- Fraction of 85th percentile, 24-hour storm depth required (X1 – X2 ) = (1.38 – 0.26) = 1.12

- Required design storm depth = 0.85 inches * (1.12) = 0.95 inches

- Required storage volume = 1.5 ac × 0.95 inches × (0.8×0.75 + 0.15) × 43560 sf/ac × 1/12 in/ft = 3,880 cu-ft

- Check that 96 hour drawdown can be achieved for this volume. If recomputed drawdown time is more than 25% higher than original assumption, repeat steps starting with Step 2.

# Graphical operations supporting solution:

Figure III.5
Graphical Operations Supporting Example III.6

| Worksheet C: Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs |  |  |  |  |
| --- | --- | --- | --- | --- |
| # Step 1: Determine the design capture storm depth used for calculating volume |  |  |  |  |  |
| 1 | Enter design capture storm depth from Figure III.1, d (inches) | d= |  | inches |
| 2 | Enter calculated drawdown time of the proposed BMP based on equation provided in applicable BMP Fact Sheet, T (hours) | T= |  | hours |
| 3 | Using Figure III.2, determine the "fraction of design capture storm depth" at which the BMP drawdown time (T) line achieves 80% capture efficiency, X1 | X1= |  |  |
| 4 | Enter the effect depth of provided HSCs upstream, dHSC (inches) (Worksheet A) | dHSC= |  | inches |
| 5 | Enter capture efficiency corresponding to dHSC, Y2 (Worksheet A) | Y2= |  | % |
| 6 | Using Figure III.2, determine the fraction of "design capture storm depth" at which the drawdown time (T) achieves the equivalent of the upstream capture efficiency(Y2), X2 | X2= |  |  |
| 7 | Calculate the fraction of design volume that must be provided by BMP, fraction = X1 - X2 | fraction= |  |  |
| 8 | Calculate the resultant design capture storm depth (inches), dfraction= fraction × d | dfraction= |  | inches |
| # Step 2: Calculate the DCV |  |  |  |  |  |
| 1 | Enter Project area tributary to BMP (s), A (acres) | A= |  | acres |
| 2 | Enter Project Imperviousness, imp (unitless) | imp= |  |  |
| 3 | Calculate runoff coefficient, C= (0.75 x imp) + 0.15 | C= |  |  |
| 4 | Calculate runoff volume, Vdesign= (C x drfraction x A x 43560 x (1/12)) | Vdesign= |  | cu-ft |
| # Supporting Calculations |  |  |  |  |  |
| Describe system: |  |  |  |  |
| Provide drawdown time calculations per applicable BMP Fact Sheet: |  |  |  |  |
| # Graphical Operations |  |  |  |  |  |
| Provide supporting graphical operations. See Example III.6. |  |  |  |  |

### Capture Efficiency Method for Flow-based BMPs

This section describes the recommended method to compute the design flowrate for flow-based BMPs to achieve 80 percent average annual capture efficiency.  This method allows accounting for the effects of HSCs and other BMPs upstream of the flow-based BMP. This method has a number of potential applications in the Project WQMP preparation process:

Use this method to compute the design flowrate to achieve 80 percent capture when HSCs or other BMPs have been provided upstream that already manage a portion of the DCV.

Use this method to add a flow-based component to a BMP that already has a retention component.  This method results in the design flowrate for the flow-based component so that the BMP achieves a total of 80 percent capture between the volume-based and the flow-through component.

# Stepwise Instructions:

- Estimate the time of concentration (Tc) of the tributary area per Section IV.2.

- Locate where the Tc line intersects with 80 percent capture on Figure III.4. Pivot and read to the horizontal axis to yield I1.

- Determine the capture efficiency achieved upstream of the BMP and trace a horizontal line on Figure III.4 corresponding to this value. This will generally be the capture efficiency achieved by upstream HSCs (Section III.1.3.3), but may account for the effect of an upstream LID BMP as well if a treatment train is used.

- Locate where the Tc line intersects with the line traced in (3).  Pivot and read down to the horizontal axis to yield I2.

- Subtract I2 from I1 to yield the design intensity required to yield 80 percent capture.

- Compute runoff flowrate from the design intensity as specified in Section III.1.2. This is the required design flowrate for the BMP.

- Design the BMP to treat the required design flowrate.

Example III.7: Sizing to Achieve Target Average Annual Capture Efficiency, Flow-based BMPs

# Given:

85th percentile, 24-hr storm depth = 0.95 inches

Drainage Area = 3.5 acres

Imperviousness = 95%

Retention BMP provided upstream achieves 45 percent capture; does not fully meet requirements

Assume swale is added as a biotreatment BMP downstream of retention

# Required:

Determine swale design flowrate required to achieve 80 percent capture cumulatively

# Solution:

- Tc = 10 minutes (calculation would be per Appendix IV.2)

- From Figure III.6  I1 = 0.23 in/hr

- Capture efficiency achieved in upstream BMPs = 45 percent (given)

- From Figure III.6  I2 = 0.07 in/hr

- I1 – I2 = design intensity = 0.16 in/hr

- QLID = [(0.95×0.75+0.15) × 0.16 in/hr × 3.5 ac ]= 0.48 cfs

# Graphical operations supporting solution:

Figure III.6
Graphical Operations Supporting Example III.7

| Worksheet D: Capture Efficiency Method for Flow-Based BMPs |  |  |  |  |
| --- | --- | --- | --- | --- |
| # Step 1: Determine the design capture storm depth used for calculating volume |  |  |  |  |  |
| 1 | Enter the time of concentration, Tc (min) (See Appendix IV.2) | Tc= |  |  |
| 2 | Using Figure III.4, determine the design intensity at which the estimated time of concentration (Tc) achieves 80% capture efficiency, I1 | I1= |  | in/hr |
| 3 | Enter the effect depth of provided HSCs upstream, dHSC (inches) (Worksheet A) | dHSC= |  | inches |
| 4 | Enter capture efficiency corresponding to dHSC, Y2 (Worksheet A) | Y2= |  | % |
| 5 | Using Figure III.4, determine the design intensity at which the time of concentration (Tc) achieves the upstream capture efficiency(Y2), I2 | I2= |  |  |
| 6 | Determine the design intensity that must be provided by BMP, Idesign= I1-I2 | Idesign= |  |  |
| # Step 2: Calculate the design flowrate |  |  |  |  |  |
| 1 | Enter Project area tributary to BMP (s), A (acres) | A= |  | acres |
| 2 | Enter Project Imperviousness, imp (unitless) | imp= |  |  |
| 3 | Calculate runoff coefficient, C= (0.75 x imp) + 0.15 | C= |  |  |
| 4 | Calculate design flowrate, Qdesign= (C x idesign x A) | Qdesign= |  | cfs |
| # Supporting Calculations |  |  |  |  |  |
| Describe system: |  |  |  |  |
| Provide time of concentration assumptions: |  |  |  |  |
| # Graphical Operations |  |  |  |  |  |
| Provide supporting graphical operations. See Example III.7. |  |  |  |  |

## Nomograph Methods for BMP Performance Estimation

This section contains instructions for computing the performance of LID and treatment control BMPs based on the sizing and design of the system.  These calculation methods are applicable where less than the full design volume is provided and it is necessary to quantify the level of control has been achieved (partial compliance) so that remaining design volume or flowrate can be calculated. The user enters these methods with a description of the system and the capture efficiency that has already been achieved by upstream BMPs. If it is desired to compute the the capture efficiency of a series of BMPs, the user starts with the upstream BMP and then repeats the steps for each sequential BMP provided.

### Computing Capture Efficiency of Volume-based, Constant Drawdown BMP from Description of System Configuration

This section describes instructions for computing the capture efficiency for a given volume-based BMP configuration, considering the cumulative effects of upstream controls. This is applicable for BMPs that can be approximated to have a constant drawdown rate throughout the wet season and is applicable across Orange County.

Stepwise Instructions for Volume-based BMPs (without seasonally-varying use rate):

- Determine the storage volume provided in the BMP, and use the equation presented in Section III.1.1 to back-compute the effective design storm depth provided.  Divide the provided storm depth by the design capture storm depth so that it is expressed as a fraction of the DCV.  For example, if 0.6 inches of storage is provided and the design capture storm depth is 0.9 inches, then the provided volume would be expressed as (0.6/0.9) = 0.67 of the DCV.

- Compute the drawdown time of the provided storage volume per guidance provided for respective BMPs in BMP Fact Sheets (TGD Section 4).

- Determine the capture efficiency that has already been provided upstream. This will have already been computed in a previous iteration of this method if upstream BMPs are provided.  Trace a horizontal line corresponding to this capture efficiency on Figure III.2.  Locate where this line intersects with the drawdown line (2).  Pivot and read down to the horizontal axis. This is X1.

- Add the result of (1) to the result of (3).  This is X2.

- Draw a vertical line at X2 to intersect with the drawdown line.

- Pivot and read to the vertical axis.  This is the cumulative capture efficiency achieved by the BMP plus the upstream BMPs.

Example III.8: Determining the Capture Efficiency of a Volume-based, Constant Drawdown BMP Based on Description of System

# Given:

High Density Project in Rainfall Zone 4:  85th percentile, 24-hr storm depth = 0.95 inches

Drainage Area = 3.5 acres

Imperviousness = 95%

HSCs: 0.2 inches total = 31 percent capture

BMP Storage Volume Provided = 5,400 cu-ft with 72 hour drawdown

# Required:

Compute cumulative capture efficiency of the system described above

# Solution:

- Storage Volume Provided = 5,400 cu-ft (given).  
Effective design storm depth, d  = 5,400 cu-ft × 12 in/ft/[(0.95*0.75+0.15) × 3.5 ac × 43560 sf/ac] = 0.49 inches  (See Appendix III.1.1)
Fraction of DCV = 0.49 inches/0.95 inches = 0.52

- 72-hr constant drawdown (given)

- 31 percent (0.2” of HSCs from Table III.1). From Figure III.7:  X1 = 0.22

- X2 = 0.22 + 0.52 = 0.74

- X2 = 0.74 (draw line up to 72 hour drawdown line)

- From Figure III.7, the cumulative capture efficiency achieved by the combination of HSCs and the volumetric BMP is 65%.

# Graphical operations supporting solution:

Figure III.7
Graphical Operations Supporting Example III.8

| Worksheet E: Determining Capture Efficiency of Volume Based, Constant Drawdown BMP based on Design Volume |  |  |  |  |
| --- | --- | --- | --- | --- |
| # Step 1: Determine the design capture storm depth used for calculating volume |  |  |  |  |  |
| 1 | Enter design capture storm depth from Figure III.1, d (inches) | d= |  | inches |
| 2 | Enter the storage volume provided in the BMP, V (cu-ft) | V= |  | cu-ft |
| 3 | Enter Project area tributary to BMP (s), A (acres) | A= |  | acres |
| 4 | Enter Project Imperviousness, imp (unitless) | imp= |  |  |
| 5 | Calculate runoff coefficient, C= (0.75 x imp) + 0.15 | C= |  |  |
| 6 | Calculate the effective design storm depth provided (inches), dprovided=(V × 12)/(C × A × 43560) | dprovided= |  | inches |
| 7 | Calculate the design storm depth as a fraction of the design capture depth, Xfraction = dprovided/d | Xfraction= |  |  |
| # Step 2: Calculate the capture efficiency of the BMP system |  |  |  |  |
| 1 | Determine the drawdown time of the proposed BMP based on equations provided in the applicable BMP Fact Sheet, T (hours) | T= |  | hours |
| 2 | Enter the effect of provided HSCs upstream, dHSC (inches) Worksheet A | dHSC= |  | inches |
| 3 | Enter capture efficiency corresponding to dHSC from Table 6.7 (regionally based), Y1 Worksheet A | Y1= |  | % |
| 4 | Using Figure III.2, determine the fraction of "design capture storm depth" at which the drawdown time (T) achieves the upstream capture efficiency(Y1), X1 | X1= |  |  |
| 5 | Determine the fraction of design capture storm depth corresponding to the cumulative capture efficiency, X2=X1+Xfraction | X2= |  |  |
| 6 | Using Figure III.2, determine the capture efficiency corresponding to total fraction of design storm depth (X2) for drawdown time (T), Y2 | Y2= |  | % |
| # Supporting Calculations |  |  |  |  |  |
| Describe system: |  |  |  |  |
| Provide drawdown calculations per equations in applicable BMP Fact Sheet: |  |  |  |  |
| # Graphical Operations |  |  |  |  |  |
| Use this graph to provide the supporting graphical operations. See Example III.8. |  |  |  |  |

### Computing Average Annual Capture Efficiency of Harvest and Use BMPs with Seasonally-Varying Use Rate (Irrigation Demand) based on System Description

This section describes instructions for computing the capture efficiency for a given harvest and use BMP configuration with seasonally varying use rate (irrigation demand), considering the cumulative effects of upstream controls and is applicable across Orange County.

Stepwise Instructions for Harvest and Use BMP (with seasonally-varying irrigation demand):

- Determine the storage volume provided in the BMP, and use the equation presented in Appendix III.1.1 to back-compute the effective design storm depth provided.  Divide the provided storm depth by the design capture storm depth so that it is expressed as a fraction of the DCV.  For example, if 0.6 inches of storage is provided and the design capture storm depth is 0.9 inches, then the provided volume would be expressed as (0.6/0.9) = 0.67 of the DCV.

- Estimate the effective irrigation area ratio of the system (EIATA):

EIATA = LA × KL/[IE × Tributary Impervious Area]

Where:

EIATA = Effective Irrigated Area to Tributary Area ratio (ac/ac)

LA = landscape area irrigated with harvested water, sq-ft

KL = Area-weighted landscape coefficient (see guidance and references in Appendix X.2.5.2)

IE = irrigation efficiency (assume 0.90)

- Determine the capture efficiency that has already been provided upstream. This will have already been computed in a previous iteration of this method if upstream BMPs are provided.  Trace a horizontal line corresponding to this capture efficiency on Figure III.3.  Locate where this line intersects with the EIATA line (2).  Pivot and read down to the horizontal axis. This is X1.

- Add the result of (1) to the result of (3).  This is X2.

- Draw a vertical line at X2 to intersect with the drawdown line.

- Pivot and read to the vertical axis.  This is the cumulative capture efficiency achieved by the BMP plus the upstream BMPs.

### Computing Average Annual Capture Efficiency of Flow-based BMP Based on System Description

This section describes instructions for computing the capture efficiency for a given flow-based BMP configuration, considering the cumulative effects of upstream controls and is applicable across Orange County.

Stepwise Instructions for Flow-based BMPs:

- Determine the design flowrate of the BMP, and use the equation presented in Section III.1.1 to back-compute the effective design storm intensity provided.

- Estimate the time of concentration (Tc) of the tributary area per Section IV.2.

- Determine the capture efficiency that has already been provided upstream. This will have already been computed in a previous iteration of this method if upstream BMPs are provided. Trace a horizontal line corresponding to this capture efficiency on Figure III.4.  Locate where this line intersects with the Tc line (2).  Pivot and read down to the horizontal axis. This is I1.

- Add the result of (1) to the result of (3).  This is I2.

- Draw a vertical line at I2 to intersect with the Tc line.

- Pivot and read to the vertical axis.  This is the cumulative capture efficiency achieved by the BMP plus the upstream BMPs.

| Worksheet F: Determining Capture Efficiency of a Flow-based BMP based on Treatment Capacity |  |  |  |  |
| --- | --- | --- | --- | --- |
| # Step 1: Determine the design intensity used for calculating design flowrate |  |  |  |  |  |
| 1 | Determine the design flowrate of the BMP, Q (cfs) | Q= |  | cfs |
| 2 | Enter Project Imperviousness, imp (unitless) | imp= |  |  |
| 3 | Calculate runoff coefficient, C= (0.75 x imp) + 0.15 | C= |  |  |
| 4 | Back calculate the equivalent intensity of rainfall treated in the BMP (cfs), iprovided=Q/C | iprovided= |  | in/hr |
| # Step 2: Calculate the capture efficiency of theflow-based BMP |  |  |  |  |
| 1 | Enter the time of concentration, Tc (min) (Section IV.2) | Tc= |  |  |
| 2 | Enter the effect of provided HSCs upstream, dHSC (inches) Worksheet A | dHSC= |  | inches |
| 3 | Enter the upstream capture efficiency corresponding to dHSC from Table III.1 (regionally based), Y1 Worksheet A | Y1= |  | % |
| 4 | Using Figure III.4, determine the design intensity at which the time of concentration (Tc) achieves the upstream capture efficiency(Y1), I1 | I1= |  | in/hr |
| 5 | Determine the cumulative design intensity that is provided by upstream and project BMPs, I2 = Iprovided + I1 | I2= |  | in/hr |
| 6 | Using Figure III.4, determine the capture efficiency corresponding to the total intensity captured (I2) for time of concentration (Tc) for upstream and Project BMPs, Y2 | Y2= |  | % |
| # Supporting Calculations |  |  |  |  |  |
| Describe system: |  |  |  |  |
| Provide time of concentration assumptions: |  |  |  |  |
| # Graphical Operations |  |  |  |  |  |
| Provide supporting graphical operations. |  |  |  |  |

## Sizing Approaches for Treatment Trains and Hybrid Systems

BMP design to achieve maximum feasible retention and biotreatment for a given set of site constraints may consist of multiple parts (i.e., retention and biotreatment; volume-based and flow-based). For example, retention storage may be provided within the pores of amended soil in a bioretention area without underdrains, and the surface may function as a vegetated swale providing flow-based biotreatment.  Or retention storage may be provided in a cistern which overflows to a planter box with underdrains to provide the remaining biotreatment volume.

The methods described in this Appendix can be used in combination to determine the incremental benefit of each component of the system.  In most cases, the performance of the retention component would be estimated first using Section III.4 (depending on the BMP type), and then the biotreatment component would be sized using Section III.3.2 or III.3.3to achieve the remaining capture up to 80 percent capture. This process would be used for the following examples:

Retention volume provided in bioretention below underdrains, and biotreatment volume added above the underdrains.

Retention storage provided within the pores of amended soil in a bioretention area without underdrains, and biotreatment provide in vegetated swale on surface of bioretention area.

Retention storage provided in a cistern which overflows to a planter box with underdrains to provide the remaining biotreatment.

Retention volume provided in an infiltration trench which overflows to a planter box with underdrains or vegetated swale to provide remaining biotreatment.

Other similar configurations.

The exception to this process is when biotreatment is provided upstream of a retention BMP as pretreatment.  In this case, there is not another opportunity to bio-treat water should it overflow from the retention BMP.  Therefore the upstream BMP must treat the entire DCV (i.e., 80 percent capture of average annual runoff) before discharging to the retention BMP. Anything that overflows from the retention BMP would already be biotreated. This process would apply in the following example and similar examples:

- Pretreatment is provided in planter boxes with underdrains that discharge pre-treated water to an infiltration gallery. The planter boxes would be sized to capture 80 percent of average annual runoff and would not bypass untreated flow to the infiltration gallery.  Overflow from the infiltration gallery would be considered biotreated provide that it is treated in the planter boxes before overflowing from the infiltration gallery.  If overflow occurred prior to being treated in the planter box, the overflow would not be considered biotreated

## Technical Basis for Capture Efficiency-based Performance Criterion

The purpose of this section is to provide the technical basis for the capture efficiency-based expression of the DCV used in throughout the Technical Guidance Document (TGD) and the calculation methods described in the sections above.

### Introduction

Every stormwater BMP can be conceptualized as having a storage volume and a treatment rate, in various proportions. Both are important in the long-term performance of the BMP under a range of actual storm patterns, depths, and inter-event times.  Long-term performance is measured by the operation of a BMP over the course of multiple years, and provides a more complete metric than the performance of a BMP during a single event, which does not take into account antecedent conditions, including multiple storms arriving in short timeframes. A BMP that draws down more quickly would be expected to capture a greater fraction of overall runoff (i.e. long-term runoff) than an identically sized BMP that draws down more slowly.  This is because storage is made available more quickly, so subsequent storms are more likely to be captured by the BMP. In contrast a BMP with a long drawdown time would stay mostly full, after initial filling, during throughout periods of sequential storms. The volume in the BMP that draws down more quickly is more “valuable” in terms of long term performance than the volume in the one that draws down more slowly.  In the case of flow-based BMPs, the storage volume is typically not substantial, however it is recognized that flow-based BMPs can achieve high long term capture efficiencies by treating stormwater essentially as it arrives. A method is needed to relate the long-term performance of BMPs to their design attributes so that a common grounds for comparison and “addition” of the benefit of different BMPs is possible.

The permit definition of the LID DCV does not specify a drawdown time, therefore the definition is not a complete indicator of a BMP's level of performance.  An accompanying performance-based expression of the LID sizing standard is essential to ensure uniformity of performance across a broad range of BMPs and helps prevents LID BMP designs from being used that would not be effective.

### Development of Capture Efficiency-based Performance Criterion

An evaluation of the relationships between BMP design parameters and expected long term capture efficiency has been conducted to address the needs identified above. Relationships have been developed through a simplified continuous simulation analysis of precipitation, runoff, and routing, that relate BMP design volume and storage recovery rate (i.e., drawdown time) to an estimated long term level of performance.

Based on these relationships, it has been demonstrated that a BMP sized for the runoff volume from the 85th percentile, 24-hour storm event (i.e., the DCV), which draws down in 48 hours is capable of managing approximately 80 percent of the average annual. There is long precedent for the assumption that BMPs should draw down in approximately 48 hours, and there is also long precedent for 80 percent capture of average annual runoff as approximately the point at which larger BMPs provide decreasing capture efficiency benefit (also known as the “knee of the curve”) for BMP sizing.  The characteristic shape of the plot of capture efficiency versus storage volume (Figure III.2) illustrates this concept.

As such, this equivalency (between the DCV drawing down in 48 hours and 80 percent capture) has been utilized to fill three needed roles in this TGD: 1) provide a common currency between volume-based BMPs with a wide range of drawdown rates, 2) provide a means of unifying the sizing of volume-based and flow-based BMPs to allow different types of BMPs to be added as part of a treatment train, and 3) allow flexibility in the design of BMPs while ensuring consistent performance.

### Modeling Methodology

The USEPA Stormwater Management Model Version 5.0 (SWMM5.0) was used to simulate the long term average capture efficiency for a range of general BMP design configurations over 22 years of historic hourly precipitation records at the CIMIS Irvine weather station (#75).  SWMM was selected for this analysis as it is a relatively simple, open source, continuous simulation model that has well-demonstrated capability for simulation of rainfall-runoff processes in urban environments and simulating transient storage mechanisms in BMPs.  A relatively simple representation of BMPs was used to develop the general relationships that conceptualized all BMPs with a simple storage volume and treatment rate. While this representation does not account for the nuances of BMP designs, it is appropriate to develop programmatic sizing factors.  Assumed SWMM input parameters are provided in Table III.2.  Sensitivity analyses demonstrated that the only inputs with significant sensitivity within typical input ranges were the precipitation and ET inputs and the BMP configurations. These were selected to be representative of Orange County, and results are interpreted to allow scaling across the rainfall zones of the County.

| Table III.2: SWMM Simulation Input Parameters |  |  |
| --- | --- | --- |
| SWMM Parameters | Units | Values |
| Period of Simulation | years | 22 yrs (10/01/1987 to 10/01/2009) |
| Wet time step | seconds | 600 |
| Wet/dry time step | seconds | 600 |
| Dry time step | seconds | 14,400 |
| Precipitation | inches | Hourly precipitation data from CIMIS Irvine Gage (#75) 279 inches total in period of record |
| Impervious Manning’s n |  | 0.012 |
| Hypothetical drainage area | acres | 1 |
| Shape |  | Rectangular, 250 ft flow path length |
| Impervious fraction modeled |  | 100% |
| Slope | ft/ft | 0.05 |
| Evaporation | inches | Daily ET data from CIMIS Irvine Gage (#75) 1092 inches reference ETo total in period of record |
| Depression storage, impervious | inches | 0.02, based on Table 5-14 in SWMM manual (James and James, 2000) |
| Runoff coefficient used to convert precipitation depth to design volume | unitless | 0.90 |
| Design capture storm depth (85th percentile, 24-hour depth) calculated from Irvine Gage | inches | 0.95 |
| BMP Storage Volume | cu-ft | Varied over continuous range as discrete multipliers on design capture storm depth. Volume at 1.0 × DCV = 0.95 inches × 0.9 × 43,560 sq-ft × (1 ft/12 inches) = 3,100 cu-ft |
| Drawdown Rate | cfs | Varied over continuous range to represent discrete drawdown times. Q (cfs) = V(cu-ft) / Drawdown time (s) Drawdown rate @ 1.0 × DCV @ 48 hour drawdown time = 3,100 cu-ft / (48 hr × 3600 s/hr) = 0.018 cfs |

### Detailed Results and Findings

The resulting average annual capture efficiency (i.e., the fraction of average annual runoff that is captured and not immediately bypassed by the BMP) was extracted from model results for each model. The assumed impervious fraction of 100 percent is not important for this analysis because both runoff volume and modeled BMP volume have approximately linear dependency on impervious fraction.

Because this analysis was done at one location in the County, a method is needed to scale these results to different precipitation zones.  Areas with larger design capture storm depths (85th percentile, 24-hour depth) should theoretically require larger BMPs for an identical configuration of tributary area and drawdown time. An analysis of several gages in Southern California has shown that normalizing input scenarios as a fraction of the design capture storm depth allows reliable extrapolation of results throughout the region. These relationships are represented by the nomograph shown as Figure III.2.  Functionally, what these relationships show is that for drawdown times larger than 48 hours, a design volume greater than the DCV is needed to achieve 80 percent capture, while for drawdown times less than 48 hours, a design volume less than the DCV can be used to achieve 80 percent capture.

An analogous analysis was conducted for systems with irrigation demand by normalizing input scenarios to fractions of the design capture storm depth and the effective irrigation area to tributary area ratio (EIATA). This analysis considered irrigation demand to be controlled by the area irrigated, landscape demand of this area (i.e., fraction of ETo required for plant use) and the daily ETo timeseries.  It was assumed that irrigation would not occur following rainfall until the ET had either summed to a depth equivalent to the rainfall depth or had exceeded 0.25 inches (smaller of these two). Performance relationships are shown in Figure III.3.

### Development of Flow-based BMP Capture Efficiency Nomographs

Flow-based BMPs do not have substantial storage volume; therefore function by treating runoff at the rate which it occurs. The concept of a uniform design intensity is commonly used for sizing criteria of flow-based BMPs. This design intensity is appropriately tied to the time of concentration (Tc) of the tributary area, where larger tributary areas should have a lower design intensity because greater attenuation of event peaks is provided in the watershed and the BMP sees lower peaks. While simplified, it can be conceptualized that the Tc of a watershed is the averaging period within which peaks should be averaged.

Because most urban watersheds have Tc much less than 1 hour, hourly precipitation data are not adequate to develop relationships between Tc and the required design intensity to manage a certain percentage of average annual runoff volume. Therefore, 10 years of 5-minute, 0.01” resolution precipitation data were obtained from the Automated Surface Observation System (ASOS) gage at Los Angeles International Airport and used for this analysis.

To represent different increments of Tc, different averaging periods were applied. The resulting intensities were then compared to a range of design intensities to determine the fraction of average annual runoff that intensity would be capable of addressing.  It was assumed that if the measured intensity was less than the design intensity, that volume would be fully treated, and if the measured intensity was greater than the design intensity, the volume up to the design intensity would be treated.  This implicitly assumes that BMPs are designed to be off-line and maintain their treatment processes even during peak flows.

Figure III.4 presents average annual capture efficiency results for a variety of design storm intensities and drainage area times of concentration.

### Note on Using Nomographs to Combine BMPs in Series

The nomographs presented in Figure III.2, Figure III.3, Figure III.4 each show declining response of capture efficiency with design volume and intensity.  For example, from Figure III.2, approximately 25% of the DCV is required to achieve the first 40 percent capture of average annual runoff volume, while the remaining 75 percent of the DCV is required to achieve the remaining 40 percent.  As such, when combining BMPs in series, capture efficiencies are not directly additive. In order to add the combined effects of BMPs in series, the nomographs should be used by starting at the point on the chart corresponding to the capture efficiency already achieved in upstream BMPs, and moving to the right on the chart along the line corresponding to the drawdown time of the current BMP of interest.  This ensures that the appropriate portion of the volume-capture response curve is used.

# APPROVED METHODS FOR QUANTIFYING HYDROLOGIC CONDITIONS OF CONCERN (NORTH ORANGE COUNTY)

Hydromodification design criteria for the North Orange County permit area are based on the 2-yr, 24-hr storm event runoff volume, time of concentration, and peak flowrate. Hydrologic analysis of the 2-year, 24-hour storm shall be conducted using the methods described in this section. These include:

The methods described in the Orange County Hydrology Manual (OCEMA 1986).

The methods described in Technical Release 55 (TR-55): Urban Hydrology for Small Watersheds (NRCS 1986). TR-55 has the capacity to model watersheds with drainage areas ranging from 0.01 acre (although results from catchments less than 1 acre should be carefully examined) to 25 square miles and time of concentrations ranging from 6 minutes to 10 hours (NRCS 2009).

Priority Projects have the option to either perform the hydrologic calculations using computer simulations or hand calculations.  If the Orange County Hydrology Manual method is used, the Watershed Modeling System (WMS) software with the Orange County Rational Method interface or hand calculations should be used, consistent with the Orange County Hydrology Manual.  If the TR-55 method is used, then either the WinTR-55 or HEC-HMS programs are appropriate or hand calculations should be consistent with the TR-55 manual (NRCS, 1986).

Advantages of using computer simulations is that the runoff hydrograph can be produced with relative ease, which is ideal when simulating post-project drainage conditions which route runoff through detention BMPs. Routing a hydrograph through a BMP is more arduous and time consuming if calculated by hand.

An advantage of WMS with the Orange County Rational Method interface is that it is often used for generating design flows of less frequent design storm events (i.e., 10-year, 25-year, or 100-year) required of flood control analyses, so the same WMS model could be used for both the flood and hydromodification control analyses.  It is important to note that WMS is not a continuous simulation hydrologic model, and thus cannot be used to meet the South Orange County permit area hydromodification control criteria.

## Hydrologic Method for 2-year Runoff Volume and Peak

### Storm Depth and Distribution

The 2-yr, 24-hour precipitation depths specified in the Orange County Hydrology Manual shall be used for hydrologic analysis of the 2-year, 24-hour storm.

For drainage areas below 2,000 feet in elevation a 2.05 storm depth shall be used.

For drainage areas above 2,000 feet in elevation a 3.81 storm depth shall be used.

If the Orange County Hydrology Manual is updated over the life of this TGD, the updated 2-year, 24-hour storm depths contained in the updated Manual shall supersede these depths.

When using the TR-55 method to produce a hydrograph, the user shall select the Type I rainfall distribution. When using the Orange County Hydrology Manual method, rainfall distribution is imbedded in the WMS-Orange County interface and is provided in the Orange County Hydrology Manual in Section B.

### Runoff Volume

If calculations are performed by hand, the runoff volumes in the existing and proposed conditions shall be calculated using Section C of the Orange County Hydrology Manual or Chapter 2 of the TR-55 manual, which have the same basic methodology.  Where inconsistencies (e.g., selection of curve numbers) exist between the two documents, the Orange County Hydrology Manual shall take precedence. For projects less than 5 acres, the difference between runoff volumes in existing and proposed conditions may optionally be calculated using the simple runoff coefficient method (Appendix III.1.1).  This method tends to under-predict runoff that would occur from pervious areas during a relatively large design storm (pervious runoff coefficient = 0.15) and is likely fairly accurate for runoff from impervious areas (impervious runoff coefficient = 0.90).  Therefore, this method tends to result in a larger difference between existing and post-developed runoff coefficient than would be calculated using a more detailed hydrologic analysis and is therefore acceptable where the project proponent elects not to conduct a more detailed hydrologic analysis.

If runoff calculations are performed with modeling software, the runoff volume shall be taken as an output of the WMS-Orange County, WinTR-55, or HEC-HMS models.  Input selection for these models shall be consistent with the recommendations found Section C of the Orange County Hydrology Manual or the WinTR-55 Users Guide. Where inconsistencies (e.g., selection of curve numbers) exist between the two documents, the Orange County Hydrology Manual shall take precedence.

When evaluating the effect of retention BMPs on proposed condition runoff volume, volume reduction shall be calculated as the volume that is infiltrated, evapotranspired, or used (i.e., drawn down) over a period of 48 hours, starting at the BMP brim full capacity. Volume treated and discharged to surface water shall not be considered in this calculation.  The volume reduction shall not be greater than the total retention volume in the BMP.

### Peak Runoff Flowrate

Peak runoff flowrate shall be calculated using one of the following methods depending on watershed size:

The Rational Method described in Section D of the Orange County Hydrology Manual shall be used for drainage areas less than 1 square mile (640 acres). For redevelopment projects less than 5 acres, the simplified runoff coefficient method described in Appendix III.1.2 can be used to compute the runoff coefficient for rational method calculations.

The Unit Hydrograph Method described in Section E of the Orange County Hydrology Manual shall be used for drainage areas greater than or equal to 1 square mile.

Alternatively, peak flowrate shall be calculated using the Graphical Peak Discharge Method described in Chapter 4 of the TR-55 manual or the Tabular Hydrograph Method described in Chapter 5 of the same document.  When evaluating the effect of BMPs on the proposed condition peak runoff flowrate, the effect of the BMP should be estimated using one of the aforementioned modeling programs because hand calculations are not ideal for the routing analyses required.

Example IV.1 provides an example runoff volume and peak flow calculation for a simple project using WinTR-55. This example is not intended to be exhaustive of the methods that could be used to calculate runoff volume and peak flow.

## Hydrologic Method for Time of Concentration

Time of concentration (Tc ) shall be calculated using one of the following approved methods:

If computing by hand, the methods described in Section D of the Orange County Hydrology Manual or the TR-55 manual shall be used.  The Orange County method entails summing the initial time of concentration, based on a nomograph, with the subsequent time it takes to pass flow through downstream conveyances.  The TR-55 method sums the travel times for sheet flow, shallow concentrated flow, and channel flow for a given flow path.

If using a modeling tool, the WinTR-55 model is the only tool that provides an acceptable model-calculated method of calculating Tc through its Time of Concentration Details window.  The inputs provided to this window shall be per guidance contained in the Orange County Hydrology Manual or the TR-55 manual and shall be submitted with the Project WQMP documentation.

WMS-Orange County will help the user estimate the Tc of a subarea when using the GIS interface or it can be entered manually.  HEC-HMS does not assist the user in estimating Tc and its transform input parameter is actually lag time, which is 0.6 times the Tc, according to an empirical relationship developed by the Natural Resource Conservation Service (NRCS).  The use of these models must be supported by hand calculations of Tc per criteria above.

When evaluating the effect of storage and treatment BMPs on the proposed condition time of concentration, the BMP lag component of Tc shall be estimated as the time required for the BMP to being discharging to the downstream receiving water during the design storm simulation.  This can be calculated by (1) determining the volume the BMP can receive before it begins to discharge, (2) plotting the post-developed runoff hydrograph  for the 2-year, 24-hour storm event, and (3) by determining the time on the hydrograph at which the cumulate volume exceeds the volume calculated in step 1.

Example IV.1 provides an example time of concentration calculation for a simple project using the Tc window in WinTR-55. This example is not intended to be exhaustive of the methods that could be used to calculate Tc.

## Hydrologic Calculation Examples with WinTR-55

Example IV.1: Computing Volume and Peak Flowrate Using WinTR-55

# Given:

- Project Elevation: 1,200 ft

- Drainage Area = 2.0 acres

- Hydrologic Soil Group = B

- Existing Condition: 1.8 acres of herbaceous grassland in fair condition, with 0.2 acres of miscellaneous roads and structures; imperviousness = 11 percent

- Existing flow path: 100 ft overland sheet flow @ 3% slope, 50 ft shallow concentrated flow @ 3% slope (unpaved), 300 ft ditch @ 0.5% slope

- Proposed Condition: multi-family residential; imperviousness = 80 percent

- Proposed flow path: 100 ft overland sheet flow @ 10% slope (roofs and driveways); 400 ft of stormdrain @ 0.5% slope

# Required:

- Calculate runoff volume and peak flowrate in existing and proposed conditions

- Compute BMP volume needed to reduce post-developed runoff volume to within 5% of existing condition runoff volume for the 2-year storm event.

# Results:

- Existing Condition: Peak Flow Rate (cfs) = 0.28, Runoff Volume (cubic feet ) = 1,249,

- Proposed Condition: Peak Flow Rate (cfs) = 2.01, Proposed Runoff Volume (cubic feet) = 9,039

- Required BMP Volume (cubic feet) = (9,039 – (1,249 × 1.05) ) = 7,730 cu-ft

# Solution Steps:

- Open WinTR-55 and complete the “Project Identification” fields (Figure IV.1).

Figure IV.1: WinTR-55 home screen

- Under the “GlobalData” heading select “Storm Data" and select “Type 1” as the rainfall distribution type and enter 2.05” as the 2-year storm event (the project is below an elevation of 2,000 feet.  The design storm would be 3.81” if the project was located above 2,000 feet.) (Figure IV.2).  Accept these changes and save the project.

Figure IV.2: WinTR-55 Storm Data screen

- From the home screen, select “Land Use Details” from the “ProjectData” heading, name the sub-area, and select the radio button for “Arid Rangeland” to begin setting up the existing condition.  Enter 1.8 acres for “Herbaceous - Fair Condition” under Hydrologic Soil Group B before selecting the “Urban Area” radio button and entering 0.2 acres under “Paved parking lots, roofs, and driveways,” again for Hydrologic Soil Group B (Figure IV.3).  The program will calculate an area weighted curve number.  Accept changes and return to the home screen.

Figure IV.3: WinTR-55 Land Use Details screen

- Select “Outlet” under the “Sub-area Flows to Reach/Outlet” pull-down menu.

- Under the “ProjectData” heading select “Time of Concentration Details" and enter lengths, slopes, and Manning’s roughness coefficients (if necessary) for relevant flow types (Figure IV.4).  Save the project.

Figure IV.4: WinTR-55 Time of Concentration Details screen

- Select the “Run” heading and ensure that the 2 year storm box is checked.  No other recurrence interval storm depths were entered and are therefore not an option (Figure IV.5).

Figure IV.5: WinTR-55 Run Model screen

- Peak discharge is provided in the “Hydrograph Peak/Peak Time Table” that appears following the completion of the model run.  Record the “Peak Discharge (cfs)” (Figure IV.6).

Figure IV.6: WinTR-55 Hydrograph Peak/Peak Timetable screen

- Within the “Hydrograph Peak/Peak Time Table” select the WinTR-20 pull-down menu and select “Printed Page File” to access the “WinTR-20 Printed Page File.”

- Scroll down to the page titled TR20.out and record the “Runoff Amount (in).”  Convert the rainfall runoff depth into acre feet (dividing by 12 inches/foot and multiplying by the total acreage).  Record the total volume of runoff from the modeled area (Figure IV.7).

- Existing 2-yr Runoff volume = 0.172 inches × 2 acres × 43,560 sq-ft/ac × 1ft/12inches = 1,249 cu-ft

Figure IV.7: WinTR-20 Printed Page File screen

- From the same “WinTR-20 Printed Page File” select the time and rate of runoff values for the duration reported and transfer these values into a plotting program (i.e. Microsoft Excel®) (Figure IV.7).  Save Project, WinTR-20, and WinTR-55 outputs as records.

- Initiate a second WinTR-55 Project and complete steps 1 through 11 for the proposed scenario.  Selection of land uses for the proposed condition shall be limited to options under the headings of “Fully Developed Urban Areas (Veg Estab.)” and “Impervious Area” (Figure IV.8).  Selected land uses should reflect the proposed percent impervious (i.e. 80% impervious would be represented by selecting 80% “Paved parking lots, roads, driveways” and 20% for the appropriate pervious condition by area).

Figure IV.8: WinTR-55 Proposed Condition Land Use Details screen

Example IV.2: Computing Time of Concentration using TR-55 Methods

# Given:

- Project Elevation: 1,200 ft

- Drainage Area = 2.0 acres

- Hydrologic Soil Group = B

- Existing Condition: 1.8 acres of herbaceous grassland in fair condition, with 0.2 acres of miscellaneous roads and structures; imperviousness = 11 percent

- Existing flow path: 100 ft overland sheet flow @ 3% slope, 50 ft shallow concentrated flow @ 3% slope (unpaved), 300 ft ditch @ 0.5% slope

- Proposed Condition: multi-family residential; imperviousness = 80 percent

- Proposed flow path: 100 ft overland sheet flow @ 10% slope (roofs and driveways); 400 ft of stormdrain @ 0.5% slope

- Infiltration basin proposed for project with retention storage capacity of 7,730 cu-ft (See Example IV.1)

# Required:

- Calculate Tc of existing condition

- Calculate Tc of proposed condition without BMPs

- Calculate effective Tc of proposed condition with BMPs

# Solution:

- 0.178 hr

- 0.013 hr (0.1 used by TR-55 as a minimum value)

- 9.94 hr

# Solution Steps:

- See Example IV.1 Steps 1 through 12 for direction in setting up existing and proposed WinTR-55 models, recording relevant information, and obtaining data to plot hydrographs.

- Times of Concentration for existing conditions and proposed conditions without BMPs can be taken directly from the WinTR-55 Tc model screen.

- The time of concentration of the proposed condition with BMPs can be estimated as difference between the point of the storm event where runoff begins and the point in the storm event at which the runoff volume exceeds the BMP volume and discharge would be expected to occur.  The timeseries output from the TR-20 window can be plotted in a spreadsheet program.  Based on this example, runoff begins 7.6 hours and the runoff volume exceeds the BMP volume (7,730 cu-ft) at 18.6 hours. Therefore the effective time of concentration with the BMP included is approximately 11 acres. This is clearly not a concern and more detailed assessment of Tc is not required.

Figure IV.9: Existing and proposed hydrographs

# APPROVED METHODS FOR QUANTIFYING HYDROLOGIC CONDITIONS OF CONCERN (SOUTH ORANGE COUNTY)

If a HCOC exists, projects in the South Orange County permit area shall use an approved continuous simulation model such as EPA Stormwater Management Model (SWMM) or EPA Hydrologic Simulation Program – FORTRAN (HSPF), to evaluate compliance with the flow-duration-based performance criteria of the interim hydromodification standard. The following sections describe design references that have been prepared to streamline and guide these calculations.

The final hydromodification standard requires the preparation of a hydromodification management plan (HMP), which will prescribe the hydrologic analysis methods and performance criteria that will apply. When the SOC HMP is adopted, it will supersede the requirements of this section to the extent that it is applicable.

## Hydromodification Control Flow Duration Control Analysis

The interim hydromodification standard in the South Orange County permit area focuses on controlling hydromodification by mimicking pre-development (naturally occurring) flow magnitudes and durations over a long period of record rather than for the discrete 2-year storm event.  A flow duration curve is the primary means of demonstrating changes in flow magnitudes and durations over a continuous period of record. A flow-duration curve is a plot of discharge versus the duration of time the discharge is exceeded.  It is developed through continuous simulation of project under the following conditions: pre-developed (natural), post-developed, and post-developed with controls.  An example flow duration curve is show in Figure V.1.

Figure V.1. Example Flow Duration Chart

In order to mitigate HCOCs in the South Orange County permit area, flow rates and durations must be controlled between 10 percent of the 2-year storm event and the 10-year storm event, as indicated by purple dashed lines on Figure V.1.  This means that the post-development flow duration curve (red line in Figure V.1) needs to be lowered such that it is at or below the pre-development flow duration curve (green line) within the bounds of the purple dashed lines.  In order to accomplish this, site design, volume reduction, and flow duration control BMPs can be used.  This process must be based on continuous simulation of stormwater controls or through use of design charts developed from continuous simulation of stormwater controls.

## South Orange County Interim Hydromodification Sizing Tool

Orange County Public Works has prepared the South Orange County Interim Hydromodification Sizing Tool to assist preparers with sizing of BMPs to comply with the SOC interim hydromodification sizing standard. This tool is based on nomographs for a range of BMPs developed through continuous simulation in EPA SWMM5.0. The sizing tool (Excel spreadsheet) and accompanying memorandum are available for download at: http://www.ocplanning.net/WaterQuality.aspx.

## Guidelines for Project-Specific Flow Duration Analysis

This section describes the methods that shall be used by applicants wishing to perform a project-specific analysis for compliance with the SOC interim hydromodification standard instead of using the tool described in Section V.2. This section also provides documentation of the assumptions that were used to develop the interim sizing tool to provide a reference point for Project WQMP preparers and reviewers.

(Placeholder for work in progress)

# APPROVED METHODS FOR CALCULATING ALTERNATIVE COMPLIANCE VOLUME FOR LID

This appendix contains technical guidance for calculating the alternative compliance volume for projects that do not fully address LID performance standard through one of the primary pathways. This section is intended to be used as referenced from Section 2.4 of the Model WQMP. For the purposes of developing an alternative compliance program, the remaining (“unmet”) portion of the DCV is also termed the alternative compliance volume.  This volume is determined based on the difference between the target 80 capture efficiency and the capture efficiency achieved by the LID BMPs that are provided for the project before entering the alternative program. The alternative compliance volume is first calculated before the application of water quality credits, and then water quality credits are used to reduce this volume to the alternative compliance volume.

## Calculating Alternative Compliance Volume without Water Quality Credits

This section describes the method for calculating the alternative compliance volume prior to application of water quality credits.

Calculate the capture efficiency achieved upstream of the alternative compliance program.  In the North Orange County permit area, this may include the effects of on-site LID BMPs and/or sub-regional/regional LID BMPs. In the South Orange County permit area, this will only include the effects of on-site LID BMPs.  Methods of calculating capture efficiency are provided in Section III.4.

Using Figure VI.1, find the already-achieved capture efficiency on the horizontal axis and read upward to the line on the chart.  Pivot 90 degrees and read to the vertical axis.  This is the fraction of the design capture storm depth remaining to be met.  Multiply this value by the design capture storm depth for the project (as determined from Figure III.1) to determine the remaining storm depth to be managed in the alternative compliance plan.

Compute the volume of runoff from the project for the storm depth calculated in (2), by using the hydrologic methods described in Section III.1.1. This is the remaining volume to be managed (i.e., the alternative compliance volume), expressed in cubic feet.

Example VI.1: Calculating Remaining LID Volume for Alternative Compliance

# Given:

- 85th percentile, 24-hr storm depth = 0.85 inches (Figure III.1)

- Drainage Area = 1.5 acres

- Imperviousness = 80%

- Upstream LID BMPs achieve 60 percent average annual capture efficiency

# Required:

Compute remaining LID volume transferred to alternative program

# Solution:

- Capture efficiency achieved = 60 percent (given)

- From Figure VI.1, the unmet fraction of the design capture storm depth is 0.47.  The unmet design storm depth = 0.47 × 0.85 inches (given) = 0.40 inches

- VREMAIN = 1.5 ac × 0.40 inches × (0.8×0.75 + 0.15) × 43,560 sf/ac × 1/12 in/ft = 1,630 cu-ft

- This is the volume that must be addressed through alternative compliance programs.

Figure VI.1: Lookup Graph for Fraction of Design Capture Storm Depth Remaining

## Applying Water Quality Credits to Adjust Alternative Compliance Volume

Water quality credits may be applied to reduce the  alternative compliance volume.  Alternative compliance volume obligations are computed as described in Section VI.1 and expressed in terms of a simple volume. Water quality credits are then computed based on the original DCV for the project and may fully or partially off-set the remaining alternative compliance volume.  The volume of alternative compliance obligations offset by Water Quality Credits shall be calculated in one of two ways, as described below. Eligibility of projects to claim water quality credits is described in Section 3.1 of the Model WQMP.

### Method 1: Applying Water Quality Credits to Redevelopment Projects Reducing Overall Impervious Footprint

For redevelopment projects that reduce the overall impervious footprint of the project site compared to current use, the volumetric offset provided by water quality credits shall be calculated as follows:

Calculate an equivalent “existing” DCV for the site using the pre-project imperviousness, the design capture storm depth (Figure III.1)  and the method described in Section III.1.1)

Calculate the DCV for the site under the proposed development plan using the proposed project imperviousness, the design capture storm depth (Figure III.1)  and the method described in Section III.1.1)

The difference between the volumes calculated in (1) and (2) is equal to the Credit Volume, which may be applied to off-set the alternative compliance volume.

An example of this calculation is provided in Example VI.2.

Example VI.2: Calculating Water Quality Credits for Projects Reducing Imperviousness

# Given:

85th percentile, 24-hr storm depth = 0.85 inches (Figure III.1)

Drainage Area = 1.5 acres

Pre-project Imperviousness = 100%

Post-project Imperviousness = 70%

# Required:

Compute the  water quality credit that could be claimed for reducing project imperviousness

# Solution:

- DCV (pre-project) = 1.5 ac × 0.85 inches × (1.0×0.75 + 0.15) × 43,560 sf/ac × 1/12 in/ft =  4,170 cu-ft

- DCV (pre-project) = 1.5 ac × 0.85 inches × (0.7×0.75 + 0.15) × 43,560 sf/ac × 1/12 in/ft = 3,120 cu-ft

- Credit volume = DCV(pre) – DCV(post) = 4,170 cu-ft - 3,120 cu-ft  = 1,050 cu-ft

- This is the credit volume that can be applied to reduce “unmet” volume.

### Method 2: Applying Water Quality Credits to Projects Based on Project Type and Density

Water Quality Credits are expressed in terms of percentages of the original DCV (i.e., the runoff from the design capture storm depth in the proposed condition before applying any BMPs). This section is intended to be applicable for calculating the volume (cu-ft) corresponding to these credits. The applicability of credits is described in Section 3.1 of the Model WQMP.  The user is expected to enter this section with the total WQ credit percentage.

The volume credit would be calculated as the DCV of the proposed condition multiplied by WQ Credit percentage:

Credit Volume = Original DCV * ∑Credit Percentages Claimed

An example of this calculation is provided in Example VI.3.

Example VI.3: Applying Water Quality Credits to Reduce Alternative Compliance Volume

# Given:

85th percentile, 24-hr storm depth = 0.85 inches (Figure III.1)

Drainage Area = 1.5 acres

Imperviousness = 80%

Alternative compliance volume before claiming water quality credits = 1,630 cu-ft

Total credit based on applicability described in Section 3.1 of the Model WQMP: 30 percent

# Required:

Compute remaining unmet volume after applying water quality credits

# Solution:

- Add all applicable credits = 20% + 10% = 30% (per applicability described in Section 3.1of the Model WQMP)

- DCV (unmitigated) = 1.5 ac × 0.85 inches × (0.8×0.75 + 0.15) × 43,560 sf/ac × 1/12 in/ft =  3,470 cu-ft

- Credit volume = total credit × original DCV = 30% × 3,470 cu-ft = 1,040 cu-ft

- Remaining volume after credits = 1,630 cu-ft – 1,040 cu-ft = 590 cu-ft

- This is the remaining volume that must be addressed through other forms of alternative compliance.

## Stormwater Quality Design Volume/Flow Calculations for Sizing Treatment Control BMPs for Alternative Compliance

The following sections describe how a specified alternative compliance volume (after adjusting for water quality credits) shall be translated to volume-based or flow-based sizing criteria for treatment control BMPs.

#### Volume-based Treatment Control BMPs

Volume-based treatment control BMPs shall be sized such that they capture and treat the remaining alternative compliance volume.

For example, if as part of an alternative compliance plan, 10,000 cu-ft of remaining volume was designated to be treated by a treatment control BMP, the BMP would be sized with a design volume of 10,000 cu-ft..

#### Flow-based Treatment Control BMPs

Because unmet volume is expressed in units of volume, this unmet volume must be translated to a flowrate for sizing of flow-based treatment control BMPs.  This section describes the method by which an unmet runoff volume would be addressed by a flow-based treatment control BMP.  The method requires that the drainage area to the proposed flow-based treatment control BMP be known.

- For the catchment to which the flow-based BMP will be applied, convert the unmet volume to an unmet storm depth using the method of back-computing storm depth described in Section III.1.1 and Example III.2.

- Divide the back-computed storm depth by the design capture storm depth to yield the unmet fraction of the design storm depth over the tributary area to the BMP. If this value is greater than 1.0, increase the area tributary to the flow-based BMP.

- Estimate the time of concentration (Tc) of the catchment.

- Use Table VI.1 to look up the multiplier based on the calculated Tc.  Multiply the looked up value by the remaining fraction of the design capture storm depth (Step 2) to yield the design intensity.

- Use the hydrologic method described in Section III.1.2 to compute the design flow.

- This method can also be used in reverse if necessary.

Table VI.1: Table of Multipliers for Computing Remaining Design Storm Intensity

| Time of Concentration, minutes | Multiplier to Convert Remaining Fraction of Design Capture Storm Depth to Design Intensity, in/hr |
| --- | --- |
| 60 | 0.15 |
| 30 | 0.18 |
| 20 | 0.19 |
| 15 | 0.21 |
| 10 | 0.23 |
| 5 | 0.26 |

Example VI.4: Computing the Required Design Flowrate to Mitigate Remaining Alternative Compliance Volume

# Given:

85th percentile, 24-hr storm depth = 0.85 inches (Figure III.1)

Drainage area to proposed flow-based BMP = 1.5 acres

Imperviousness of drainage area = 80%

Time of concentration (Tc) of the drainage area = 15 minutes

Remaining volume (designated to be managed with the proposed BMP)  = 1,200 cu-ft

# Required:

Compute required design flowrate to mitigate the alternative compliance volume

# Solution:

- Equivalent storm depth = 1,200 cu-ft × 12 in/ft/[(0.75×0.8+0.15) ×1.5 ac ×43560 sf/ac] = 0.29 inches

- Fraction of design capture storm depth = 0.29 inches/0.85 inches = 0.35 = 35% of DCV

- From, Table VI.1 the multiplier for Tc of 15 minutes is 0.21 in/hr

- Design intensity equivalent to the remaining unmet volume = 0.21 in/hr × 0.35 = 0.074 in/hr

- Design flow equivalent to the remaining alternative compliance volume = (0.75×0.8+0.15) × 0.074 in/hr ×1.5 ac = 0.083 cfs

- This is the design flowrate that must be provided for the 1.5 acre tributary area to address 1,200 cu-ft of remaining volume.

| Worksheet G: Alternative Compliance Volume Worksheet |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| # Step 1: Determine the alternative compliance volume without water quality credits |  |  |  |  |  |  |  |
| 1 | Determine the capture efficiency achieved in upstream BMPs using Appendix III, X1 (%) |  | X1= |  |  | % |
| 2 | Enter design capture storm depth from Figure III.1, d (inches) |  | d= |  |  | inches |
| 3 | Using Figure VI.1, pivot from where X1 intersects the curve to determine the fraction of design capture storm depth remaining to be met, Y1 |  | Y1= |  |  |  |
| 4 | Calculate the design depth that must be managed in alternative compliance BMPs, dalternative = Y1 × d |  | dalternative= |  |  | inches |
| 5 | Compute the alternative compliance volume corresponding to dalternative using the hydrologic methods described in Section III.1.1, ACV (cu-ft) |  | ACV= |  |  | cu-ft |
| # Step 2: Determine Credit Volume |  |  |  |  |  |  |  |
| # Method 1: Determine Credit Volume based on Reducing Impervious Footprint |  |  |  |  |  |  |  |
| 1 | Enter design capture storm depth from Figure III.1, d (inches) | d= |  |  |  | inches |
| 2 | Using d, calculate the DCV using the pre-project imperviousness and the methods described in Appendix III, DCVpre (cu-ft). | DCVpre= |  |  |  | cu-ft |
| 3 | Using d, calculate the DCV using the proposed imperviousness and the methods described in Appendix III, DCVpost (cu-ft). | DCVpost= |  |  |  | cu-ft |
| 4 | Calculate the Credit Volume = DCVpre - DCVpost (cu-ft). | Credit Volume= |  |  |  | cu-ft |
| # Method 2: Determine Credit Volume based on Project Type and Density |  |  |  |  |  |  |  |
| 1 | Determine the sum of the Credit Percentages applicable to the Project, ∑Credit Percentages (%). (See Section 2.4 of the WQMP) | ∑Credit Percentages = |  |  |  | % |
| 2 | Enter design capture storm depth from Figure III.1, d (inches) | d= |  |  |  | inches |
| 3 | Using d, calculate the DCV using the proposed imperviousness without BMPs and the methods described in Appendix III, DCVpost no BMP (cu-ft). | DCVpost no BMP= |  |  |  | cu-ft |
| 4 | Calculate the Credit Volume = DCVpost no BMP × ∑Credit Percentages | Credit Volume= |  |  |  | cu-ft |
| # Step 3: Determine the Alternative Compliance Volume after WQ Credits |  |  |  |  |  |  |
| 1 | Enter design capture storm depth from Figure III.1, d (inches) |  | d= |  |  | inches |
| 2 | Using d, calculate the DCV using the proposed imperviousness and the methods described in Appendix III, DCVpost (cu-ft). |  | DCVpost= |  |  | cu-ft |
| 3 | Calculate the alternative compliance volume, ACV = DCVpost - Credit Volume |  | ACV= |  |  | cu-ft |

# INFILTRATION RATE EVALUATION PROTOCOL AND FACTOR OF SAFETY RECOMMENDATIONS

## Introduction

Soil characterization and infiltration testing is required in order to properly size and locate stormwater management facilities. The purpose of this appendix is to provide guidance for investigating infiltration at both the project planning and design phases, as well as provide requirements for applying a factor of safety to testing results.

### Two phases of assessment

The role of soil characterization and infiltration testing differs with the phase of project development as described below.

Site Assessment / Project Planning Phase: Soil characterization or infiltration testing may be conducted to determine if infiltration is a potentially feasible BMP and/or where on the site infiltration is potentially infeasible. The intent of this investigation is to identify if the project site, or a portion of the site, has soils that are clearly unsuitable for infiltration. For those sites or portions of the site where soils are unsuitable, infiltration BMPs can be eliminated from consideration. The intent of this testing is not to prove definitively that infiltration is feasible. Simpler methods may be used to determine infiltration potential at this phase.  The observed infiltration rate is adjusted to account for the type of test and the uncertainty of the testing method and reported as the measured infiltration rate for the purpose of evaluating feasibility. These methods are not appropriate to determine the design infiltration rate.

Site Planning / Design Phase: Where infiltration BMPs are selected, infiltration testing must be conducted to determine the design infiltration rate of proposed facilities, except in limited cases where infiltration rate is presumed to be sufficient as identified in Section VII.1.2. The required size of the proposed facilities strongly depends on the design infiltration rate; therefore, testing may be required at the preliminary site design phase to facilitate site planning. However, infiltration testing must be conducted as close to the proposed facility as possible, therefore, conducting testing after preliminary site design also has merits. Use of more sophisticated methods at this phase allows better confidence in testing and therefore a lower factor of safety on observed infiltration rates (and therefore smaller facility designs). Factors of safety are discussed in VII.4.

Soil characterization and infiltration testing can be considered to fulfill two functions:

- Determine where infiltration is potentially feasible and must be considered (if other limitations, such as depth to groundwater or contamination, do not restrict infiltration). This role is satisfied through simple infiltration tests, or use of maps and available data.

- Determine the design infiltration rate for proposed facilities. This function is satisfied through more sophisticated investigation methods, conducted by a qualified professional.

Table VII.1 provides required methods of assessing infiltration rate for each purpose.

| Table VII.1: Recommended Infiltration Investigation Methods |  |
| --- | --- |
| Methods for Identifying Areas Potentially Feasible for Infiltration | - Use of Regional Maps and “Available Data”1 OR - Simple Open Pit Infiltration Test OR - Any of the testing methods used to establish design infiltration rate (below) |
| Methods for Establishing Design Infiltration Rate | - Open Pit Falling Head Procedure - Single Ring Infiltrometer Test - Double Ring Infiltrometer Test - Well Permeameter Method (USBR Procedure 7300-89) - Percolation Test Procedure (Riverside County Department of Environmental Health) - Other analysis methods at the discretion of the project engineer and approval of the reviewing agency |

1Available data is defined in Section VII.2 below and does not require additional investigation.

### Waiver of Infiltration Testing Requirements

The infiltration testing requirements described in this appendix are not applicable for certain combinations of BMP type and general soil condition.  In cases where available soils information indicates that the soils are clearly sufficient to support the level of infiltration required for proper function of the BMP and uncertainty in infiltration rate would not significantly influence the performance of the practice, it is not mandatory to conduct infiltration testing. Conditions under which infiltration testing requirements are waived include:

Impervious area dispersion (See HSC-2: Impervious Area Dispersion): Testing requirements are waived for this BMP for all soil types.  Soil amendments are required to use this practice where site soils are hydrologic soil group C or D.

Localized on-lot infiltration (See HSC-1: Localized On-Lot Infiltration): Testing requirements are waived for this BMP for A, B, and C soil types if soil type and general drainage conditions are confirmed with site-specific information. This BMP is not suitable for D soils unless infiltration testing demonstrates that the ponded depth would drain within 24 hours.

Porous pavement designed to be self-retaining (See INF-6: Permeable Pavement (concrete, asphalt, and pavers)): Testing requirements for this BMP are waived for A, B, and C soil types if soil type and general drainage conditions are confirmed with site-specific information. This waiver does not apply to porous pavement that accepts run-on from a tributary area larger than 50 percent of its area.

Bioinfiltration (See INF-4: Bioinfiltration Fact Sheet). Based on the LID BMP hierarchy, this type of BMP may only be used if infiltration of the full DCV is not feasible; therefore exploratory infiltration rate assessment (Section VII.2) is required.  However, testing to determine design infiltration rate (Section VII.3) is not required. See Appendix XI for instructions for sizing the infiltration component of a bioinfiltration BMP to achieve maximum feasible infiltration.

### A Note on “Infiltration Rate” vs. “Percolation Rate”

A common misunderstanding is that the “percolation rate” obtained from a percolation test is equivalent to the “infiltration rate” obtained from a single or double ring infiltrometer test. While the percolation rate is related to the infiltration rate, percolation rates tend to overestimate infiltration rates and can be off by a factor of ten or more because they incorporate both downward and horizontal fluxes of water, whereas infiltration only refers to a downward flux of water. When using borehole-type methods, the percolation rate obtained shall be converted to a reasonable estimate of the infiltration rate using the Porchet Method (aka Inverse Borehole Method) (See Example VII.1).

### Grading Plans

Many projects require a significant amount of grading prior to their construction. It is important to determine if the BMP will be placed in cut or fill since this may affect the performance of the BMP or even the soil. As such, preliminary site grading plans showing the proposed BMP locations are required along with section views through each BMP clearly identifying the extents of cut or fill. In addition, since it is imperative that any testing be performed at the proper elevations and locations, it is highly recommended that the preliminary site grading plans be provided to the engineer/geologist prior to any tests being performed.

### Cut Condition

Where the proposed infiltration BMP is to be located in a cut condition, the infiltration surface level at the bottom of the BMP might be far below the existing grade. For example, if the infiltration surface of a proposed BMP is to be located at an elevation that is currently beneath 15 feet of cut, how can the proposed infiltration surface be tested?

In order to determine an infiltration rate where the proposed infiltration surface is in a cut condition, the following procedures may be used:

1) USBR 7300-89, “Procedure for Performing field Permeability Testing by the Well Permeameter Method” (Section VII.3.7 below). Note that this result must be converted to an infiltration rate.

2) The percolation test (Section VII.3.8 below). Note that this result must be converted to an infiltration rate.

### Fill Condition

If the bottom of a BMP (infiltration surface) is in a fill location, the infiltration surface may not exist prior to grading. How then can the infiltration rate be determined? For example, if a proposed infiltration BMP is to be located in 12 feet of fill, how could one reasonably establish an infiltration rate prior to the fill being placed?

Unfortunately, no reliable assumptions can be made about the in-situ properties of fill soil. As such, the bottom, or rather the infiltration surface of the BMP, must extend into natural soil. The natural soil shall be tested at the design elevation prior to the fill being placed.

For shallow fill depths, fill material can be selectively graded to provide reliable infiltration properties.  However, in some cases, due to considerable fill depth, the extension of the BMP down to natural soil and selective grading of fill material may prove infeasible. In that case, because of the uncertainty of fill parameters as described above, an infiltration BMP may not be feasible.

## Methods for Identifying Areas Potentially Feasible for Infiltration

This section describes methods that shall be used, as applicable, to determine whether soils are potentially feasible for infiltration, and where potentially feasible soils exist.  Soils would be considered potentially feasible for infiltration if the measured infiltration rate obtained from field-testing or obtained by applying professional judgment to available data taken within the Project vicinity is greater than 0.3 inches per hour. Measured rates shall account for uncertainty and bias in measurement methods by applying a factor of safety of 2.0 to testing results.

The measured infiltration rate calculated for the purpose of infiltration infeasibility screening (TGD Section 2.4) shall be based on a factor of safety of 2.0 applied to the rates obtained from the infiltration test results.  No adjustments from this value are permitted. The factor of safety used to compute the design infiltration rate shall not be less than 2.0, but may be higher at the discretion of the design engineer and acceptance of the plan reviewer, per the considerations described in Section VII.4.

### Use of Regional Maps and “Available Data”

This section describes a method that satisfies the requirements for infiltration screening of small  projects as defined by the TGD Infeasibility Screening Criteria (TGD Section 2.4). This method uses regionally mapped data coupled with all applicable data available through other site investigations to identify locations not potentially feasible for infiltration as a result of low infiltration rate or high groundwater table.

Via this method, areas of a project identified as having D soils or identified as having depth to first groundwater less than 5 feet are considered infeasible for infiltration if available data confirm these determinations.

Infiltration constraint maps are available in Appendix XVI and will be refined as part of the development of Watershed Hydromodification and Infiltration Management Plans.  These maps identify constraints, including hydrologic soil group (A,B,C,D), and depth to first groundwater, which should be confirmed through review of available data.

“Available data” is defined as data collected by the project or otherwise available that provides information about infiltration rates and/or groundwater depths. Applicable data is expected to be available as part of nearly all projects subject to New Development and Significant Redevelopment stormwater management requirements in Orange County. Data sources may include:

Geotechnical investigations

Due diligence site investigations

Other CEQA investigations

Investigations performed on adjacent sites with applicability to the project site

For projects permitted to utilize this method, additional infiltration testing data is not required to be obtained, however, infiltration testing data which is already available from previous studies must be used.

For the purpose of this method, large projects and small projects are defined in Table VII.2.  The distinction between large and small projects based the lower spatial variability expected on smaller projects and the lower project value.  In these cases, the expense associated with infiltration testing of HSG D soils to attempt to identify localized exceptions to this mapped and supported determination is considered to be an unreasonable economic burden.

| Table VII.2: Definition of Project Size Categories |  |  |  |
| --- | --- | --- | --- |
|  | Residential | Commercial, Institutional | Industrial |
| Small Projects | Less than 10 acres and less than 30 DU | Less than 5 acres and less than 50,000 SF | Less than 2 acre and less than 20,000 SF |
| Large Projects | Greater than 10 acres or greater than 30 DU | Greater than 5 acres or greater than 50,000 SF | Greater than 2 acre or greater than 20,000 SF |

### Simple Open Pit Infiltration Test

The Simple Open Pit Infiltration Test is a site-specific method which can be used to provide a preliminary screening value. This approach cannot be used to find a design infiltration rate. The intent of the Simple Open Pit Infiltration Test is to determine whether or not the local infiltration rate is potentially adequate for LID infiltration BMPs. This approach does not need to be conducted by a licensed professional.

- The test should be at the proposed facility location or within the immediate vicinity.

- Excavate a test hole to an elevation 2 feet deeper than the bottom of the infiltration system to account for soil amendment. If the depth of the proposed facility is not known at the time of testing, the excavation should be 6 feet deep. The test hole can be excavated with small excavation equipment or by hand using a shovel, auger, or post hole digger. The hole should be a minimum of 2 feet in diameter and should be sufficient to allow for observation of the water surface level in the bottom of the hole. Remove loose material, as much as possible from the bottom of the hole but avoid compaction of the bottom surface. If a layer hard enough to prevent further excavation is encountered during excavation, or if noticeable moisture/water is encountered in the soil, stop and measure this depth. Proceed with the test at this depth.

- Fill the hole with water to a height of about 6 inches from the bottom of the hole, and record the exact time. Check the water level at regular intervals (every minute for fast-draining soils to every 10 minutes for slower-draining soils) for a minimum of 1 hour or until all of the water has infiltrated. Record the distance the water has dropped from a fixed reference point such as the top edge of the hole.

- The infiltration rate is calculated by dividing the change in water elevation time (inches) by the duration of the test (hours).

- Repeat this process two more times, for a total of three rounds of testing. These tests should be performed as close together as possible to accurately portray the soil’s ability to infiltrate at different levels of saturation. The third test provides the best measure of the saturated infiltration rate.

- For each test pit required, record all three testing results with the date, duration, drop in water height, and conversion into inches per hour.

## Methods for Establishing Design Infiltration Rate

Allowable methods of establishing design infiltration rate include:

- Open Pit Falling Head Procedure (Section VII.3.4)

- Single Ring Infiltrometer Test (Section VII.3.5)

- Double Ring Infiltrometer Test  (Section VII.3.6)

- Well Permeameter Method (USBR Procedure 7300-89) (Section VII.3.7)

- Percolation Test Procedure (Riverside County Department of Environmental Health ) (Section VII.3.8)

- Other analysis methods at the discretion of the project engineer and approval of the reviewing agency

A qualified professional must exercise judgment in the selection of the infiltration test method. Where satisfactory data from adjacent areas is available that demonstrates infiltration testing is not necessary, the infiltration testing requirement may be waived. Waiver of site specific testing is subject to approval by the local approval authority. Recommendation for foregoing infiltration testing must be submitted in a report which includes supporting data and is stamped and signed by the project geotechnical engineer or project geologist.

### Testing Criteria

- Testing must be conducted or overseen by a qualified professional, either a Professional Engineer (PE) or Registered Geologist (RG) licensed in the State of California.

- The elevation of the test must correspond to the facility elevation, plus 2 feet to account for soil amendments under the infiltration system. If a confining layer, or soil with a greater percentage of fines, is observed during the subsurface investigation to be within 4 feet of the bottom of the planned infiltration system, the testing should be conducted within that confining layer. The boring log must be continued to a depth adequate to show separation between the bottom of the infiltration facility and the seasonal high groundwater level.

- Tests must be performed in the immediate vicinity of the proposed facility. Exceptions can be made to the test location provided the qualified professional can support that the strata are consistent from the proposed facility to the test location.

- Infiltration testing should not be conducted in engineered or undocumented fill.

### Minimum Number of Required Tests

A total of two infiltration tests for every 10,000 square feet of lot area available for new or redevelopment (minimum 2 tests per priority project).

An additional test for every 10,000 square feet of lot area available for new or redevelopment.

At least one test for any potential street facility.

One test for every 100 lineal feet of infiltration facility.

In general no more than five valid tests are required per development, unless more tests would be valuable or necessary (at the discretion of the qualified professional assessing the site, as well as the reviewing agency).

Where multiple types of facilities are used, it is likely that multiple tests will be necessary, since different facility types may infiltrate at different depths and an infiltration test can test only a single soil stratum. It is highly recommended to conduct an infiltration test at each stratum used. Additional testing may be required at the discretion of the local approval authority.

### Factors of Safety

Long term monitoring has shown that the performance of working full-scale infiltration facilities may be far lower than the rate measured by small-scale testing. There are several reasons for this:

- Over time, the surface of infiltration facilities can become plugged as sedimentary particles accumulate at the infiltration surface.

- Post-grading compaction of the site can destroy soil structure and seriously impact the facility’s performance.

- Testing procedures in general are subject to errors which can skew the results.

The method for determination of the factor of safety described in Section VII.4 includes, among other factors, a consideration of the testing methods used to measure infiltration rate.  The open pit falling head test (see Section VII.3.4) is considered the most reliable infiltration testing method if constructed to the recommended dimensions.

### Open Pit Falling Head Procedure

The open pit falling head procedure is performed in an open excavation and therefore is a test of the combination of vertical and lateral infiltration. The tester and excavator should conduct all testing in accordance with OSHA regulations regarding open pit excavations.

- Excavate a hole with bottom dimensions of at least 2 feet by 4 feet into the native soil to the elevation 2 feet below the proposed facility bottom to account for amendment of soils under infiltration areas. If a smooth excavation bucket is used, scratch the sides and bottom of the hole with a sharp pointed instrument, and remove the loose material from the bottom of the test hole. The bottom of the hole should not be compacted and should be as level as possible.

- Fill the hole with clean water a minimum of 1 foot above the soil to be tested, and maintain this depth of water for at least 4 hours (or overnight if clay soils are present) to presoak the native material. In sandy soils with little or no clay or silt, soaking is not necessary. If after filling the hole twice with 12 inches of water, the water seeps completely away in less than 10 minutes, the test can proceed immediately.

- Determine how the water level will be accurately measured. The measurements should be made with reference to a fixed point. A lath placed in the test pit prior to filling or a sturdy beam across the top of the pit are convenient reference points.

- After the pre-saturation period, refill the hole with water to 12 inches above the soil and record the time. For deep holes, it may be necessary to use remote sensing equipment to accurately measure changes in water level. Alternative water head heights may be used for testing provided the presaturation height is adjusted accordingly and the water head height used in infiltration testing is 50 percent or less than the water head height in the proposed stormwater system during the design storm event. Measure the water level to the nearest 0.01 foot (⅛ inch) at 10-minute intervals for a total period of 1 hour (or 20-minute intervals for 2 hours in slower soils) or until all of the water has drained. In faster draining soils (sands and gravels), it may be necessary to shorten the measurement interval in order to obtain a well-defined infiltration rate curve. Constant head tests may be substituted for falling head tests at the discretion of the professional overseeing the infiltration testing.

- Repeat the test. Successive trials should be run until the percent change in measured infiltration rate between two successive trials is minimal (<10 percent). The trial should be discounted if the infiltration rate between successive trials increases. At least three trials must be conducted. After each trial, the water level is readjusted to the 12 inch level. Record results.

- The average infiltration rate over the last trial should be used to calculate the unadjusted (pre-factor of safety) infiltration rate. The final rate must be reported in inches per hour.

- Upon completion of the testing, the excavation must be backfilled.

- For very rapidly draining soils, it may not be possible to maintain a water head above the bottom of the test pit. If the infiltration rate meets or exceeds the flow of water into the test pit, conduct the test in the following manner:

- Approximate the area over which the water is infiltrating.

- Using a water meter, bucket, or other device, measure the rate of water discharging into the test pit.

- Calculate the infiltration rate by dividing the rate of discharge (cubic inches per hour) by the area over which it is infiltrating (square inches) and correcting to units of inches per hour.

### Single Ring Infiltrometer Test

Single ring infiltrometer tests using a large ring in diameter (40 inches or larger is optimal) have been shown to closely match full-scale facility performance (Figure VII.1 to Figure VII.3). The cylindrical ring is driven approximately 12 inches into the soil. Water is ponded within the ring above the soil surface. The upper surface of the ring is often covered to prevent evaporation. Using the constant head method, the volumetric rate of water added to the ring sufficient to maintain a constant head within the ring is measured. The test is complete and the tested infiltration rate, It, is determined after the flow rate has stabilized (ASTM D5126).

To help maintain a constant head, a variety of devices may be used. A hook gage, steel tape or rule, length of steel, or plastic rod pointed on one end can be used for measuring and controlling the depth of liquid (head) in the infiltrometer ring. If available, a graduated Mariotte tube or automatic flow control system may also be used. Care should be taken when driving the ring into the ground as there can be a poor connection between the ring wall and the soil. This poor connection can cause a leakage of water along the ring wall and an overestimation of the infiltration rate.

The volume of liquid used during each measured time interval may be converted into an incremental infiltration velocity (infiltration rate) using the following equation:

# It = V/(A*t)

where:

It = tested infiltration rate, in/hr

V = volume of liquid used during time interval to maintain constant head in the ring, in3

A = internal area of ring, in2

t = time interval, hr.

Figure VII.1. Photo of Single Ring Infiltrometer

Figure VII.2.  Single Ring Infiltrometer Construction

Figure VII.3.  Single Ring Infiltrometer Setup with Mariotte Tube

Figure VII.4. Sample Test Data Form for Single Ring Infiltrometer Test

### Double Ring Infiltrometer Test

The double ring infiltrometer test (ASTM D3385) is a well-recognized and documented technique for directly measuring the soil infiltration rate of a site (see Figure VII.5 to Figure VII.12). Double ring infiltrometers were developed in response to the fact that smaller (less than 40 inch diameter) single ring infiltrometers tend to overestimate vertical infiltration rates. This has been attributed to the fact that the flow of water beneath the cylinder is not purely vertical and diverges laterally. Double ring infiltrometers minimize the error associated with the single-ring method because the water level in the outer ring forces vertical infiltration of water in the inner ring. Care should be taken when driving the rings into the ground as there can be a poor connection between the ring wall and the soil. This poor connection can cause a leakage of water along the ring wall and an overestimation of the infiltration rate. The double-ring infiltrometer test should be performed at an elevation 2 feet below the proposed elevation of the infiltration surface to account for the use of soil amendments below the infiltration system.

A typical double ring infiltrometer would consist of a 12 inch inner ring and a 24 inch outer ring. While there are two operational techniques used with the double-ring infiltrometer, the constant head method and the falling head method, ASTM D3385 mandates the use of the constant head method. With the constant head method, water is consistently added to both the outer and inner rings to maintain a constant level throughout the testing. The volume of water needed to maintain the fixed level of the inner ring is measured. To help maintain a constant head, a variety of devices may be used. A hook gage, steel tape or rule, or length of steel or plastic rod pointed on one end, can be used for measuring and controlling the depth of liquid (head) in the infiltrometer ring. If available, a graduated Mariotte tube or automatic flow control system may also be used.

The volume of liquid used during each measured time interval may be converted into an incremental infiltration velocity (infiltration rate) using the following equation:

# It = V/(A*t)

where:

It = tested infiltration rate, in/hr

V = volume of liquid used during time interval to maintain constant head in the inner ring, in3

A = area of inner ring, in2

t = time interval, hr.

Figure VII.5. Photo of Simple Double Ring Infiltrometer

Figure VII.6.  Photo of Pre-fabricated Double Ring Infiltrometer

(Photo courtesy of Turf-Tec International)

Figure VII.7. Mariotte Tube

Figure VII.8. Double Ring Infiltrometer Construction

Figure VII.9.  Double Ring Setup with Mariotte Tubes

Figure VII.10. Double Ring Infiltrometer Set-up with Mariotte Tubes

(Photo courtesy of Turf-Tec International)

Figure VII.11.  Double Ring Infiltrometer Set-up for Test at Basin Surface Elevation

(Photo courtesy of Turf-Tec International)

Figure VII.12.  Sample Test Data Form for Double Ring Infiltrometer Test

### Well Permeameter Method (USBR Procedure 7300-89)

Similar to a constant-head version of the percolation test used for seepage pit design is the Well Permeameter Method of the United States Bureau of Reclamation (see Figure VII.13 and Figure VII.14). USBR 7300-89 is an in-hole hydraulic conductivity test performed by drilling test wells with a 6-8 inch diameter auger to the desired depth. This test measures the rate at which water flows into the soil under constant-head flow conditions and is used to determine field-saturated hydraulic conductivity. As with the percolation test, the rate determined with this test is a “percolation rate” and not an infiltration rate, but this procedure uses special equation(s) to establish an infiltration rate from the data produced. See USBR procedure 7300-89 for more details.

Figure VII.13.  Typical Well Permeameter Test Installation

Figure VII.14.  Well Permeameter Test Equipment

### Percolation Test Procedure

The percolation test procedure below (per Riverside County Department of Environmental Health) should only be performed by those individuals trained and educated to perform, understand and evaluate the field conditions and tests. This would include those who hold one of the following State of California credentials and registrations: Professional Civil and Geotechnical Engineers, Certified Engineering Geologist and Certified Hydrogeologist.

The procedure for this test varies, depending on the depth of the hole to be used.  Procedures for both scenarios (less than 10 feet or 10 - 40 feet deep) and diagrams (Figure VII.15 to Figure VII.17) are included below. When the percolation testing has been completed, a 3 foot long surveyor’s stake (lath) shall be flagged with highly visible banner tape and placed in the location of the test indicating date, test hole number as shown on the field data sheet, and firm performing the test.

#### Shallow Percolation Test (less than 10 feet)

# Test Preparation

- The test hole opening shall be between 8 and 12 inches in diameter or between 7 and 11 inches on each side if square.

- The bottom elevation of the test hole shall correspond to the bottom elevation of the proposed basin (infiltration surface). Keep in mind that this procedure will require the test hole to be filled with water to a depth of at least 5 times the hole’s radius.

- The bottom of the test hole shall be covered with 2 inches of gravel.

- The sides of the hole shall remain undisturbed (not smeared) after drilling and any cobbles encountered left in place.

- Pre-soaking shall be used with this procedure. Invert a full 5 gallon bottle (more if necessary) of clear water supported over the hole so that the water flow into the hole holds constant at a level at least 5 times the hole’s radius above the gravel at the bottom of the hole. Testing may commence after all of the water has percolated through the test hole or after 15 hours has elapsed since initiating the pre-soak. However, to assure saturated conditions, testing must commence no later than 26 hours after all pre-soak water has percolated through the test hole. The use of the “continuous pre-soak procedure” is no longer accepted. When sandy soils (as described below) are present, the test shall be run immediately.

# Test Procedure

Test hole shall be carefully filled with water to a depth equal to at least 5 times the hole’s radius (H/r>5) above the gravel at the bottom of the test hole prior to each test interval.

- In sandy soils, when 2 consecutive measurements show that 6 inches of water seeps away in less than 25 minutes, the test shall be run for an additional hour with measurements taken every 10 minutes. Measurements shall be taken with a precision of 0.25 inches or better. The drop that occurs during the final 10 minutes is used to calculate the percolation rate. Field data must show the two 25 minute readings and the six 10 minute readings.

- In non-sandy soils, obtain at least twelve measurements per hole over at least six hours with a precision of 0.25 inches or better. From a fixed reference point, measure the drop in water level over a 30 minute period for at least 6 hours, refilling after every 30 minute reading. The total depth of the hole must be measured at every reading to verify that collapse of the borehole has not occurred. The drop that occurs during the final reading is used to calculate the percolation rate.

Figure VII.15.  Test Pit for Shallow Percolation Test

#### Deep Percolation Test (10 - 40 feet)

# Test Preparation

- Borehole diameter shall be either 6 inch or 8 inch only. No other diameter test holes will be accepted.

- The bottom elevation of the test hole shall correspond to the bottom elevation of the proposed basin (infiltration surface). Keep in mind that this procedure will require the test hole to be filled with water to a depth of at least 5 times the hole’s radius.

- The bottom of the test hole shall be covered with 2 inches of gravel.

- The sides of the hole shall remain undisturbed (not smeared) after drilling and any cobbles encountered left in place. Special care should be taken to avoid cave-in.

- Pre-soaking shall be used with this procedure. Invert a full 5 gallon bottle of clear water supported over the hole so that the water flow into the hole holds constant at a maximum depth of 4 feet below the surface of the ground or if grading cuts are anticipated, to the approximate elevation of the top of the basin but at least 5 times the hole’s radius (H/r > 5). Pre-soaking shall be performed for 24 hours unless the site consists of sandy soils containing little or no clay. If sandy soils exist as described below, the tests may then be run after a 2 hour pre-soak. However, to assure saturated conditions, testing must commence no later than 26 hours after all pre-soak water has percolated through the test hole. The “continuous pre-soak procedure” is not accepted. When sandy soils (as described below) are present, the test shall be run immediately.

Figure VII.16.  Test Pit for Deep Percolation Test

# Test Procedure

Carefully fill the hole with clear water to a maximum depth of 4 feet below the surface of the ground or, if grading cuts are anticipated, to the approximate elevation of the top of the basin. However, at a minimum, the bore hole shall be filled with water to a depth equal to 5 times the hole’s radius (H/r>5).

In sandy soils, when 2 consecutive measurements show that 6 inches of water seeps away in less than 25 minutes, the test shall be run for an additional hour with measurements taken every 10 minutes. Measurements shall be taken with a precision of 0.25 inches or better. The drop that occurs during the final 10 minutes is used to calculate the percolation rate. Field data must show the two 25 minute readings and the six 10 minute readings.

In non-sandy soils, the percolation rate measurement shall be made on the day following initiation of the pre-soak as described in Item #5 above. From a fixed reference point, measure the drop in water level over a 30 minute period for at least 6 hours, refilling after every 30 minute reading. Measurements shall be taken with a precision of 0.25 inches or better. The total depth of hole must be measured at every reading to verify that collapse of the borehole has not occurred. The drop that occurs during the final reading is used to calculate the percolation rate.

Figure VII.17. Photo of Percolation Test Pit.

(Use of perforated PVC pipe is a variation.)

Figure VII.18.  Sample Test Data Form for Percolation Test

Example VII.1: Percolation Rate Conversion Example

(Porchet Method, aka Inverse Borehole Method):

The bottom of a proposed infiltration basin would be at 5.0 feet below natural grade. Percolation tests are performed within the boundaries of the proposed basin location with the depth of the test hole set at the infiltration surface level (bottom of the basin). The Percolation Test Data Sheet (Table 5) is prepared as the test is being performed. After the minimum required number of testing intervals, the test is complete. The data collected at the final interval is as follows:

Time interval, Δt = 10 minutes	 Initial Depth to Water, D0 = 12.25 inches Final Depth to Water, Df = 13.75 inches 	Total Depth of Test Hole, DT = 60 inches Test Hole Radius, r = 4 inches

The conversion equation is used:

It=∆H(60r)∆t(r+2Havg)

“Ho” is the initial height of water at the selected time interval.

Ho = DT - D0 = 60 – 12.25 = 47.75 inches

“Hf” is the final height of water at the selected time interval.

# Hf = DT - D0 = 60 - 13.75 = 46.25 inches

“ΔH” is the change in height over the time interval.

# ΔH = ΔD = Ho - Hf = 47.75 – 46.25 = 1.5 inches

“Havg” is the average head height over the time interval.

# Havg = (Ho - Hf)/2 = (47.75 – 46.25)/2 = 47.0 inches

“It” is the tested infiltration rate.

It=∆H(60r)∆t(r+2Havg)= (1.5 in)(60 minhr)(4 in)(10 min⁡)(4 in+247 in)=0.37 in/hr

## Considerations for Infiltration Rate Factor of Safety

Given the known potential for infiltration BMPs to fail over time, an appropriate factor of safety applied to infiltration testing results must be mandatory. The infiltration rate will decline between maintenance cycles as the BMP surface becomes occluded and particulates accumulate in the infiltrative layer. Monitoring of actual facility performance has shown that the full-scale infiltration rate is far lower than the rate measured by small-scale testing. It is important that adequate conservatism is incorporated in the selection of design infiltration rates. The design infiltration rate discussed here is the infiltration rate of the underlying soil, below the elevation to which soil amendments would not be provided.

The factor of safety that should be applied to measured infiltration rates is a function of:

Suitability of underlying soils for infiltration

The infiltration system design.

These factors are discussed in the following sections.

The measured infiltration rate calculated for the purpose of infiltration infeasibility screening (TGD Section 2.4) shall be based on a factor of safety of 2.0 applied to the rates obtained from the infiltration test results.  No adjustments from this value are permitted. The factor of safety used to compute the design infiltration rate shall not be less than 2.0, but may be higher at the discretion of the design engineer and acceptance of the plan reviewer, per the considerations described in the following sections.

It is recognized that there are competing objectives in the selection of a factor of safety. There is an initial economic incentive to select a lower factor of safety to yield smaller BMP designs. A low factor of safety also allows a broader range of systems to be considered “feasible” in marginal conditions. However, there are both economic and environmental incentives for the use of an appropriate factor of safety to prevent premature failure and substandard performance. The use of an artificially low factor of safety to demonstrate feasibility in the design process is shortsighted in that it does not consider the long term feasibility of the system.

The best way to balance these competing factors is through a commitment to thorough site investigation, use of effective pretreatment controls, good construction practices, the commitment to restore the infiltration rates of soils that are damaged by prior uses or construction practices, and the commitment to effective maintenance practices. However, these commitments do not mitigate the need to apply a factor of safety to account for uncertainty and long term deterioration that cannot be technically mitigated. Therefore, a factor of safety of no less than 2.0 shall be used to compute the design infiltration rate.

### Site Suitability Considerations

Suitability assessment related considerations include (Table VII.3):

Soil assessment methods – the site assessment extent (e.g., number of borings, test pits, etc.) and the measurement method used to estimate the short-term infiltration rate.

Predominant soil texture/percent fines – soil texture and the percent of fines can greatly influence the potential for clogging.

Site soil variability – site with spatially heterogeneous soils (vertically or horizontally) as determined from site investigations are more difficult to estimate average properties for resulting in a higher level of uncertainty associated with initial estimates.

Depth to seasonal high groundwater/impervious layer – groundwater mounding may become an issue during excessively wet conditions where shallow aquifers or shallow clay lenses are present.

| Table VII.3: Suitability Assessment Related Considerations for Infiltration Facility Safety Factors |  |  |  |
| --- | --- | --- | --- |
| Consideration | High Concern | Medium Concern | Low Concern |
| Assessment methods (see explanation below) | Use of soil survey maps or simple texture analysis to estimate short-term infiltration rates | Direct measurement of ≥ 20 percent of infiltration area with localized infiltration measurement methods (e.g., infiltrometer) | Direct measurement of ≥ 50 percent of infiltration area with localized infiltration measurement methods or Use of extensive test pit infiltration measurement methods |
| Texture Class | Silty and clayey soils with significant fines | Loamy soils | Granular to slightly loamy soils |
| Site soil variability | Highly variable soils indicated from site assessment or limited soil borings collected during site assessment | Soil borings/test pits indicate moderately homogeneous soils | Multiple soil borings/test pits indicate relatively homogeneous soils |
| Depth to groundwater/ impervious layer | <5 ft below facility bottom | 5-10 ft below facility bottom | >10 below facility bottom |

Localized infiltration testing refers to methods such as the double ring infiltrometer test (ASTM D3385-88) which measure infiltration rates over an area less than 10 sq-ft, may include lateral flow, and do not attempt to account for heterogeneity of soil. The amount of area each test represents should be estimated depending on the observed heterogeneity of the soil.

Extensive infiltration testing refers to methods that include excavating a significant portion of the proposed infiltration area, filling the excavation with water, and monitoring drawdown. The excavation should be to the depth of the proposed infiltration surface and ideally be at least 50 to 100 square feet.

In all cases, testing should be conducted in the area of the proposed BMP where, based on review of available geotechnical data, soils appear least likely to support infiltration.

### Design Related Considerations

Design related considerations include (Table VII.4):

Size of area tributary to facility – all things being equal, risk factors related to infiltration facilities increase with an increase in the tributary area served. Therefore facilities serving larger tributary areas should use more restrictive adjustment factors.

Level of pretreatment/expected influent sediment loads – credit should be given for good pretreatment by allowing less restrictive factors to account for the reduced probability of clogging from high sediment loading. Also, facilities designed to capture runoff from relatively clean surfaces such as rooftops are likely to see low sediment loads and therefore should be allowed to apply less restrictive safety factors.

Redundancy – facilities that consist of multiple subsystems operating in parallel such that parts of the system remains functional when other parts fail and/or bypass should be rewarded for the built-in redundancy with less restrictive correction and safety factors. For example, if bypass flows would be at least partially treated in another BMP, the risk of discharging untreated runoff in the event of clogging the primary facility is reduced. A bioretention facility that overflows to a landscaped area is another example.

Compaction during construction – proper construction oversight is needed during construction to ensure that the bottoms of infiltration facility are not overly compacted. Facilities that do not commit to proper construction practices and oversight should have to use more restrictive correction and safety factors.

| Table VII.4: Design Related Considerations for Infiltration Facility Safety Factors |  |  |  |
| --- | --- | --- | --- |
| Consideration | High Concern | Medium Concern | Low Concern |
| Tributary area size | Greater than 10 acres. | Greater than 2 acres but less than 10 acres. | 2 acres or less. |
| Level of pretreatment/ expected influent sediment loads | Pretreatment from gross solids removal devices only, such as hydrodynamic separators, racks and screens AND tributary area includes landscaped areas, steep slopes, high traffic areas, or any other areas expected to produce high sediment, trash, or debris loads. | Good pretreatment with BMPs that mitigate coarse sediments such as vegetated swales AND influent sediment loads from the tributary area are expected to be relatively low (e.g., low traffic, mild slopes, disconnected impervious areas, etc.). | Excellent pretreatment with BMPs that mitigate fine sediments such as bioretention or media filtration OR sedimentation or facility only treats runoff from relatively clean surfaces, such as rooftops. |
| Redundancy of treatment | No redundancy in BMP treatment train. | Medium redundancy, other BMPs available in treatment train to maintain at least 50% of function of facility in event of failure. | High redundancy, multiple components capable of operating independently and in parallel, maintaining at least 90% of facility functionality in event of failure. |
| Compaction during construction | Construction of facility on a compacted site or elevated probability of unintended/ indirect compaction. | Medium probability of unintended/ indirect compaction. | Heavy equipment actively prohibited from infiltration areas during construction and low probability of unintended/ indirect compaction. |

### Determining Factor of Safety

A factor of safety shall be used. To assist in selecting the appropriate design infiltration rate, the measured short term infiltration rate should be adjusted using a weighted average of several safety factors using the worksheet shown in Worksheet H below. The design infiltration rate would be determined as follows:

- For each consideration shown in Table VII.3 and Table VII.4 above, determine whether the consideration is a high, medium, or low concern.

For all high concerns, assign a factor value of 3, for medium concerns, assign a factor value of 2, and for low concerns assign a factor value of 1.

Multiply each of the factors by the corresponding weight to get a product.

Sum the products within each factor category to obtain a safety factor for each.

Multiply the two safety factors together to get the final combined safety factor. If the combined safety factor is less than 2, then 2 shall be used as the safety factor.

Divide the measured short term infiltration rate by the combined safety factor to obtain the adjusted design infiltration rate for use in sizing the infiltration facility.

The design infiltration rate shall be used to size BMPs and to evaluate their expected long term performance. This rate shall not be less than 2, but may be higher at the discretion of the design engineer.

| Worksheet H: Factor of Safety and Design Infiltration Rate and Worksheet |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Factor Category |  | Factor Description | Assigned Weight (w) | Factor Value (v) |  | Product (p) p = w x v |
| A | Suitability Assessment | Soil assessment methods | 0.25 |  |  |  |
|  |  | Predominant soil texture | 0.25 |  |  |  |
|  |  | Site soil variability | 0.25 |  |  |  |
|  |  | Depth to groundwater / impervious layer | 0.25 |  |  |  |
|  |  | Suitability Assessment Safety Factor, SA = p |  |  |  |  |
| B | Design | Tributary area size | 0.25 |  |  |  |
|  |  | Level of pretreatment/ expected sediment loads | 0.25 |  |  |  |
|  |  | Redundancy | 0.25 |  |  |  |
|  |  | Compaction during construction | 0.25 |  |  |  |
|  |  | Design Safety Factor, SB = p |  |  |  |  |
| Combined Safety Factor, STOT= SA x SB |  |  |  |  |  |  |
| Measured Infiltration Rate, inch/hr, KM (corrected for test-specific bias) |  |  |  |  |  |  |
| Design Infiltration Rate, in/hr, KDESIGN = STOT × KM |  |  |  |  |  |  |
| Supporting Data |  |  |  |  |  |  |
| Briefly describe infiltration test and provide reference to test forms: |  |  |  |  |  |  |

Note: The minimum combined adjustment factor shall not be less than 2.0 and the maximum combined adjustment factor shall not exceed 9.0.

## References

ASTM D 3385-94, 2003. “Standard Test Method for Infiltration Rate of Soils Field Using Double-Ring Infiltrometer.” American Society for Testing Materials, Conshohocken, PA. 10 Jun, 2003.

Caltrans, 2003. “Infiltration Basin Site Selection”. Study Volume I. California Department of Transportation. Report No. CTSW-RT-03-025.

City of Portland, 2010. Appendix F.2: Infiltration Testing. Portland Stormwater Management Manual, Revised February 1, 2010.

United States Department of the Interior, Bureau of Reclamation (USBR), 1990a, "Procedure for Performing Field Permeability Testing by the Well Permeameter Method (USBR 7300-89)," in Earth Manual, Part 2, A Water Resources Technical Publication, 3rd ed., Bureau of Reclamation, Denver, Colo.

# GROUNDWATER-RELATED INFILTRATION FEASIBILITY CRITERIA

Infiltration BMPs shall not be used where they would adversely affect groundwater quality or where depth to groundwater would limit infiltration. The purpose of this section is to provide guidelines for allowable use of infiltration BMPs to protect groundwater quality and ensure physical feasibility relative to groundwater and groundwater-related geotechnical considerations.  This section considers:

- Depth to groundwater and mounding potential,

- Presence of groundwater plumes,

- Wellhead protection and septic systems,

- Contamination risks from land use activities in the area tributary to the BMP,

- Consultation with applicable groundwater agencies, and

- Technical requirements for conducting site specific studies,

## Intended Use

The criteria contained in this section are intended to be used as part of the overall feasibility screening process. If other feasibility criteria (e.g., low soil infiltration rate) render infiltration infeasible, it is not necessary to also consider the criteria contained in this section. However, before infiltration BMPs are approved for use on a project, these groundwater quality-related criteria must be evaluated.

## Depth to Groundwater and Mounding Potential

Minimum separation between the infiltrating surface (bottom of infiltration facility) and seasonally high mounded groundwater shall be observed in the design of infiltration BMPs, depending on BMP type.

- If the depth to unmounded seasonally high groundwater is greater than 15 feet, the depth to groundwater does not constrain infiltration

- If separation to unmounded seasonally high groundwater is greater than 10-feet and the infiltration area is less than 2,000 sq-ft, the depth to groundwater does not constrain infiltration.

- The separation between the infiltrating surface and the seasonally high mounded groundwater table shall not be less than 5 feet for all BMP types. BMPs for which 5-foot minimum separation applies include:

  - Rain gardens and dispersion trenches (small, residential applications)

  - Bioretention and planters

  - Permeable Pavement

  - Similar BMPs infiltrating over an extensive surface area and providing robust pretreatment or embedded treatment processes.

- Separation to mounded seasonally high groundwater shall be at least 10 feet for infiltration devices that inject water below the subsurface and surface infiltration BMPs with tributary area and land use activities that are considered to pose a more significant risk to groundwater quality. BMPs for which the 10-foot separation applies include:

  - Dry wells

  - Subsurface infiltration galleries or vaults

  - Surface Infiltration Basins

  - Infiltration Trenches

  - Other functionally similar devices or BMPs.

### Approved Methods for Determining the Depth to Seasonally High Groundwater

The seasonally high groundwater table is defined as the depth to the highest level of the saturated groundwater zone.  It is quantified as the average of measured annual minima (i.e., the shallowest recorded measurements in each water year, defined as October 1 through September 30 are averaged) for all years on record.

The depth to seasonally high groundwater is ideally determined from long-term groundwater level data.  If groundwater level data are not available or are inadequate, the seasonal high groundwater depth can be estimated by redoximorphic analytical methods combined with temporary groundwater monitoring for November 1 through April 1 at the proposed Project site.  In this approach, a professional geologist assesses soil-mottling characteristics of soil cores to determine the depth at which soil features display reductive conditions which indicate the seasonal height of groundwater.

### Methods for Evaluation of Groundwater Mounding Potential

Stormwater infiltration and recharge to the underlying groundwater table will in most cases create a groundwater mound beneath the infiltration facility.  The height and shape of the mound depends on the infiltration system design, the recharge rate, and the hydrogeologic conditions at the site, especially the horizontal hydraulic conductivity and the saturated thickness.  Groundwater mounding beneath infiltration facilities also depends on the precipitation patterns, which affects the applied recharge rates and underlying soil moisture conditions.  Maximum mounding potential is likely to occur in response to cumulative precipitation over relatively short periods, for example, a series of intense winter storms over a one to two week period.

Methods for quantifying groundwater mounding potential range from detailed modeling studies to simple conservative estimation techniques. The methods employed by the project proponent will be subject to the acceptance of the reviewing agency.

Mounding Evaluation with Modeling Studies:  A rigorous evaluation of mounding potential requires detailed site characterization and detailed modeling that accounts for the transient nature of stormwater infiltration and the site-specific hydrogeological conditions.  For example, Carlton (2010) used MODFLOW, an industry standard groundwater flow model, to evaluate groundwater mounding potential from infiltration facilities in hypothetical 1-acre and 10-acre developments.  Modeling studies to evaluate groundwater mounding potential are applicable for design studies of large regional facilities. Detailed modeling analyses are typically not feasible for evaluation of on-site facilities in small development projects or dispersed small-scale facilities in larger projects.

Mounding Estimates Based on Simplified Groundwater Equations:  Estimates of maximum mounding potential can be developed from analytical solutions to groundwater equations, called the Hantush equations.  These equations incorporate a number of simplifying assumptions about the hydrogeology of the site including assumptions of uniform horizontal hydraulic conductivity and vertical infiltration rates.  Solution of the Hantush equations can be accomplished with a simple Excel spreadsheet tool developed by the USGS (Carlton, 2010) available at online at http://pubs.usgs.gov/sir/2010/5102/.

This tool is simple to use but requires inputs about the saturated zone hydraulic conductivity, the thickness of the saturated zone, and estimates of the specific yield, which is related to the effective porosity.  The tool also requires inputs about the infiltration conditions, including the dimensions of the infiltration facility, the uniform infiltration rate and the period application that will result in the maximum mounding height.  Use of the USGS groundwater mounding tool is applicable and recommended for planning or design level analysis where there is the sufficient information of the surface conditions of the site and use of detailed modeling is not warranted.

Where information is not available, the following assumptions are recommended for using this tool to evaluating the potential for mounding under small-scale localized BMPs.  Site-specific data and professional judgment should always be used in conducting groundwater mounding analyses.

- Recharge rate should be set to the design infiltration rate of the stormwater BMP, assuming that the BMP operates at its design infiltration rate throughout the critical period for groundwater mounding.

- The horizontal hydraulic conductivity should be set to 10 times the measured infiltration rate of the soil to account for typical anisotropy of natural soils (ratio of horizontal to vertical hydraulic conductivity).  Note the measured infiltration rate will generally be greater than or equal to 2 times the design infiltration rate.

- The period of simulation should be set to 10 days. Applying the design infiltration rate continuously over 10 days generally results in 3-5 times the DCV infiltrated over this period considering typical BMP drawdown times.

- The specific yield should be set to 0.2.

- The saturated zone thickness should be set to 20 feet.

An example using the USGS tool is included in Example VIII.1 below.

Example VIII.1: Application of USGS Groundwater Mounding Tool Using a Hypothetical Range of Infiltration Scenarios

# Given:

Measured soil infiltration rate: 0.2 to 4 inches per hour

Design infiltration rate: 0.1 to 2 inches per hour (Factor of Safety = 2.0)

Horizontal Hydraulic Conductivity: 2 to 40 inches per hour (Anisotropy: 10:1 (H:V) applied to measured infiltration rate)

Facility footprint: 500 to 4,000 sq-ft

System aspect ratio: 1:1 (square) and 5:1

Period of simulation: 10 days (total infiltrated depth =24 to 480 inches)

Saturated zone thickness: 20 feet

Specific yield: 0.2

# Required:

Compute maximum mounding heights using USGS tool

# Solution:

- Maximum mounding heights calculated with the USGS tool are given in Figure VIII.1. While these results reflect a relatively conservative case, they indicate that system size and design infiltration rate both influence the potential for mounding.  In addition, a linear geometry reduces the magnitude of mounding somewhat compared to a square geometry with the same footprint.

Figure VIII.1: Example Calculations of Maximum Mounding Height by Facility Configuration from USGS Calculator (Carlton, 2010)

- (For illustration purposes only based on input assumptions above; inputs shall be based on professional judgment)

## Groundwater Plumes

Infiltration shall not be allowed in the vicinity of mapped or potential groundwater plumes, except where infiltration would not adversely impact groundwater conditions as determined via a site-specific or watershed study applicable to the site. In the absence of a site specific study, the following criteria apply:

Infiltration is prohibited within plume protection boundaries identified by Orange County Water District (OCWD) (See Figure VIII.2), or equivalent boundaries identified by applicable groundwater agencies, unless a site specific study demonstrates that infiltration would not adversely impact groundwater conditions.

Infiltration is prohibited in identified natural pollutant source areas (e.g., selenium) (See Figure VIII.2), unless a site specific study demonstrates that infiltration would not adversely impact groundwater conditions,

Infiltration is prohibited within 250 feet of contaminated sites, such as sites found in the Geotracker or EviroStor databases (http://geotracker.swrcb.ca.gov/, http://www.envirostor.dtsc.ca.gov/public/), unless a site specific study demonstrates that infiltration would not adversely impact groundwater conditions.  The study must include a review of the magnitude and type of the original contaminants and byproducts shall be used to assess the level of risk posed by infiltration in the vicinity of closed sites. This criterion applies to active contaminated sites or closed sites that have significant remaining potential for pollutant mobilization as a result of stormwater infiltration.

A site-specific investigation shall always be performed to assess the feasibility of stormwater infiltration when the project proposes to redevelop a previously-contaminated site (e.g., Brownfields or otherwise contaminated).

As locations, boundaries, and number of contamination sites is subject to change, it is the responsibility of applicants to use the most up-to-date maps available from the permittees and applicable groundwater management agencies. Requirements for conducting site-specific studies vary with project size and are identified in Section VIII.8.

Basis for 250-foot Setback

The 250-foot separation distance from contaminated sites is based on the following considerations:

In general terms, the degree of subsurface contamination typically decreases in the horizontal direction away from a contaminated site (although there can be site-specific conditions where this is not the case);

As the distance between a contaminated site and a potential engineered infiltration system increases, the risk decreases that the engineered infiltration system will infiltrate water into subsurface contamination or otherwise negatively affect contamination originating from the contaminated site;

By precluding engineered infiltration systems within 250 feet of a contaminated site, the risk decreases that infiltration would be increased through an area of the subsurface containing non-aqueous phase liquid contamination or areas with groundwater containing very high levels of contamination;

A survey of sites contaminated with petroleum-related products estimated horizontal benzene plume lengths (California Leaking Underground Fuel Tank (LUFT) Historical Case Analysis, UCRL-AR-122207, prepared by Lawrence Livermore National Laboratory, 1995).  Based on a 10 part per billion concentration threshold, the survey estimated that 90 percent of the sites had benzene plume lengths of 261 feet or less.  Some contaminants may have longer or shorter plume lengths than benzene and the amount of data on plume lengths is increasing as additional data are collected.  Additional data and analysis may warrant reconsideration of this issue in the future.

## Requirements for BMP Selection by Tributary Land Use Activities

Table VIII.1 provides criteria for selection of BMPs to address the potential for contamination of groundwater from tributary land use activities. Infiltration BMPs shall be selected and applied as recommended by Table VIII.1.

To prevent contamination from materials used in the construction of the infiltration BMP itself, soil media, construction materials, and construction practices should be appropriately selected to ensure that hazardous chemicals or groundwater pollutants of concern are not inadvertently leached to the underlying groundwater.

Figure VIII.2: North Orange County Groundwater Basin Protection Boundary and Plume Protection Boundaries (See Figure XVI.2f for high resolution exhibit)

| Table VIII.1: Recommendations/Requirements for BMP Selection to Minimize Groundwater Quality Impacts |  |  |  |
| --- | --- | --- | --- |
| Tributary Area Risk Category | Narrative Description of Category | Example Land Use Activities | BMP Selection Requirements |
| Low Runoff Contamination Potential | BMP receives runoff from a mix of land covers that are expected to have relatively clean runoff; significant spills in tributary area are unlikely. | - Rooftops with roofing material and downspouts free of copper and zinc - Patios, sidewalks, and other pedestrian areas - Mixed residential land uses with applicable source controls - Institutional land uses with applicable source controls - Driveways and minor streets | - Any infiltration BMP type may be used - Pretreatment for sediment is strongly recommended, as applicable, to mitigate clogging |
| Moderate Runoff Contamination Potential | BMP receives runoff from a mix of land covers, more than 10 percent of which have the potential to generate stormwater pollutants at levels that could potentially contaminate groundwater; there is potential for minor spills in the tributary area. | - Roadways greater than 5,000 ADT but less than 25,000 ADT - Commercial and institutional parking lots - Commercial land uses - Light industrial that does not include usage of chemicals that are mobile in stormwater and groundwater - Trash storage areas | - Any infiltration BMP type may be used - Pretreatment shall be used - The type of pretreatment shall be selected to address potential groundwater contaminants potentially found in stormwater runoff. |
| High Runoff Contamination Potential | BMP receives runoff from a mix of land covers, more than 10 percent of which have significant unavoidable potential to generate stormwater pollutants in quantities that could be detrimental to groundwater quality; and/or there is significant potential for major spills that could drain to BMPs. | - Roads greater than 25,000 ADT - Heavy and light industrial pollutant source areas, including areas with exposed industrial activity and high use industrial truck traffic, and any areas that cannot be isolated these areas. Does not include lower risk source sources areas within industrial zones (e.g., roofs, offices, and parking areas) that are hydrologically isolated from industrial pollutant source areas - Automotive repair shops - Car washes - Fleet storage areas - Nurseries, agriculture, and heavily managed landscape areas with extensive use of fertilizer - Fueling stations (infiltration prohibited under all conditions) | - Infiltration is prohibited unless advanced pretreatment and spill isolation can be feasibly used and enhanced monitoring and inspection are implemented. - Large projects must evaluate feasibility of advanced pretreatment and spill isolation. - Small projects15 may consider infiltration to be infeasible with narrative discussion. |

## Well Head Protection and Septic Systems

To ensure protection of groundwater quality, the following criteria shall be met:

Stormwater shall not be infiltrated within 100 feet horizontally of a water supply well, non-potable well, or spring.

Stormwater shall not be infiltrated within 100 feet horizontally of a septic tank drain field.

Because data regarding the location of supply wells, springs, and septic systems is not generally available to the public, the project proponent is strongly encouraged to consult with the local review agency early in the WQMP preparation process to determine whether these conditions apply to all or part of the project site.

## Stormwater Runoff Pollutants

Stormwater BMPs shall be selected to minimize the introduction of contaminants into groundwater via infiltration of stormwater runoff.  The potential for groundwater contamination from pollutants found in stormwater runoff is a function of the land use activities that are present in the tributary area to the BMP.  Table VIII.2 provides requirements for selection of BMPs and pretreatment devices based on the level of risk posed by land use activities.

## Consultation with Applicable Groundwater Management Agencies

Projects that propose to infiltrate stormwater are required to consult with the applicable groundwater management agency to the extent necessary to ensure that groundwater quality is protected.

The process for consultation with applicable groundwater management agencies was under development at the time of publication and is not included in this TGD. It is anticipated that guidelines will be published in the future that include:

Description of the consultation process

Description of the conditions under which consultation is necessary

Discussion of the point in the project process at which consultation should be initiated for qualifying projects

Discussion of the review schedule and fees (if applicable)

Materials that should be submitted as part of this process

Discussion of potential outcomes and actions from this process

Until guidelines are published, all infiltration activities should be coordinated with the applicable groundwater management agency, such as OCWD, to ensure groundwater quality is protected.  It is recommended that coordination be initiated as early as possible during the Preliminary/Conceptual WQMP development process.

Applicable groundwater management agencies

| North Orange County Groundwater Basin: | Orange County Water District Attn: Director of Planning 18700 Ward Street Fountain Valley, CA 92708 |
| --- | --- |
| San Juan Groundwater Basin: | San Juan Basin Authority Contact info to be provided |

In addition, LID infiltration facilities may potentially be categorized as “Class V Injection Wells" under the federal Underground Injection Control (UIC) Program, which is regulated in California by U.S. EPA Region 9.  The EPA defines a Class V well as any bored, drilled, or driven shaft, or dug hole that is deeper than its widest surface dimension, or an improved sinkhole, or a subsurface fluid distribution system (an infiltration system with piping to enhance infiltration capabilities).  A UIC permit may be required for such a facility (for details see http://www.epa.gov/region9/water/groundwater/uic-classv.html).

## Technical Requirements for Site Specific Study of Infiltration Impacts on Groundwater Quality

### Project Size Applicability

Regardless of project size, any project proposing to use infiltration BMPs within a plume protection boundary (see Exhibit IX-3) or within 250 ft of a contaminated site shall conduct a site-specific study prior to using these BMPs to demonstrate that infiltration will not have adverse impacts on groundwater quality.

For small projects, a site-specific study is not required unless the project proponent chooses to use infiltration, in which case a site-specific study shall be prepared. If the proponent does not choose to use infiltration, the presence of one of the above-referenced conditions (including: shallow groundwater depth or mounding potential, presence of groundwater plumes, proximity to wellheads or septic systems, risks from land use activities, or other site-specific feasibility concerns) is sufficient to demonstrate infeasibility of infiltration BMPs.

For large projects, a site-specific study is required to determine if infiltration is feasible and would not adversely impact groundwater quality in the vicinity of plume(s) and/or contaminated sites, or adversely affect groundwater drinking supplies.

Large projects and small projects are defined in Table VIII.2.

| Table VIII.2: Definition of Project Size Categories |  |  |  |
| --- | --- | --- | --- |
|  | Residential | Commercial, Institutional | Industrial |
| Small Projects | Less than 10 acres and less than 30 DU | Less than 5 acres and less than 50,000 SF | Less than 2 acre and less than 20,000 SF |
| Large Projects | Greater than 10 acres or greater than 30 DU | Greater than 5 acres or greater than 50,000 SF | Greater than 2 acre or greater than 20,000 SF |

### Information and Documentation Required in Site-Specific Study

If a project proponent proposes to use infiltration BMPs within a plume protection boundary (see Exhibit IX-3) or within 250 ft of a contaminated site, the project proponent shall provide a written report to demonstrate that infiltration does not pose an adverse risk to groundwater. The written report should be prepared by a state-certified professional and provided to OCWD for review and comment. The report shall document that the following conditions are met:

- Lateral and vertical extent of soil or groundwater contamination is defined at the site and is defined for off-site areas if contamination has migrated to the boundary of the site.

- Groundwater conditions are defined based on site specific data (e.g., subsurface sediment characteristics, depth to groundwater, groundwater flow direction, rate of groundwater movement).

- Ongoing monitoring of soil or groundwater contamination is occurring and will continue to occur, as necessary.

- A state-certified professional evaluates soil and groundwater data and evaluates whether proposed stormwater infiltration could cause adverse impacts to groundwater quality; an adverse impact to groundwater quality could include changing the movement of groundwater contamination, causing additional amounts of contamination in the unsaturated zone to migrate into the saturated zone, or negatively impacting an existing remediation system.

- The applicable regulatory agency is identified and has continuing authority to require additional investigation or cleanup work if stormwater infiltration causes an adverse impact on groundwater quality.

In summary, infiltration shall not be allowed for sites where there is substantial evidence of an adverse risk to groundwater quality.

| Worksheet I: Summary of Groundwater-related Feasibility Criteria |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Is project large or small? (as defined by Table VIII.2) circle one | Large Small |  |  |
| 2 | What is the tributary area to the BMP? | A |  | acres |
| 3 | What type of BMP is proposed? |  |  |  |
| 4 | What is the infiltrating surface area of the proposed BMP? | ABMP |  | sq-ft |
| 5 | What land use activities are present in the tributary area (list all) |  |  |  |
| 6 | What land use-based risk category is applicable? | L | M | H |
| 7 | If M or H, what pretreatment and source isolation BMPs have been considered and are proposed (describe all): |  |  |  |
| 8 | What minimum separation to mounded seasonally high groundwater applies to the proposed BMP? See Section VIII.2 (circle one) | 5 ft 10 ft |  |  |
| 9 | Provide rationale for selection of applicable minimum separation to seasonally high mounded groundwater: |  |  |  |
| 10 | What is separation from the infiltrating surface to seasonally high groundwater? | SHGWT |  | ft |
| 11 | What is separation from the infiltrating surface to mounded seasonally high groundwater? | Mounded SHGWT |  | ft |
| 12 | Describe assumptions and methods used for mounding analysis: |  |  |  |
| 13 | Is the site within a plume protection boundary (See Figure VIII.2)? | Y N N/A |  |  |
| 14 | Is the site within a selenium source area or other natural plume area (See Figure VIII.2)? | Y N N/A |  |  |
| 15 | Is the site within 250 feet of a contaminated site? | Y N N/A |  |  |
| 16 | If site-specific study has been prepared, provide citation and briefly summarize relevant findings: |  |  |  |
| 17 | Is the site within 100 feet of a water supply well, spring, septic system? | Y N N/A |  |  |
| 18 | Is infiltration feasible on the site relative to groundwater-related criteria? | Y N |  |  |
| Provide rationale for feasibility determination: |  |  |  |  |

Note: if a single criterion or group of criteria would render infiltration infeasible, it is not necessary to evaluate every question in this worksheet.

# TECHNICAL BASIS FOR GREEN ROOF DESIGN CRITERIA

The purpose of this appendix is to present minimum criteria for green roofs (roofs with growing media and vegetation) to be considered “self-retaining” for new development and significant redevelopment projects in Orange County.  Self-retaining areas are designed to retain the DCV and no further management of these areas is required to meet LID and treatment control performance criteria.  This category also includes brown roofs, which are designed with vegetation intended to go seasonally dormant during dry periods. This document describes the functional definition of “self-retaining” that has been applied to green roofs, presents an overview of the analytical methods used to evaluate performance of a range of design criteria, and presents the results of this analysis in terms of the minimum design criteria for green roofs to be considered self-retaining.

## Functional Definition of “Self-Retaining” for Green roofs

HSCs are group of low-tech stormwater management measures that reduce stormwater runoff volume through landscape dispersion and interception of stormwater.  As described above, if an HSC is to be considered “self-retaining,” it should fully retain the volume from the LID design storm event.

Green roofs are a form of HSC. These systems reduce stormwater runoff volume by retaining a portion of rainfall in soil pores and surface and plant depression storage during storm events and making it available for subsequent ET. Green roofs also provide biotreatment/ biofiltration of water draining through and over roofs, removing pollutants deposited from the atmosphere or from adjacent transportation land uses. Finally, green roofs can have additional benefits beyond stormwater management, including reductions in building heating and cooling costs and reductions in urban heat island effects. As such, green roofs should be encouraged where they can provide appreciable benefit for stormwater management. They do require irrigation, so their effects on water demand should be considered. In addition, green roofs may use reclaimed water for irrigation and measures may be required to mitigate the risk of discharges leaving the site.  Green roofs are considered to be self-retaining on the basis that they provide the maximum feasible area for ET and provide biotreatment for the remaining portion of the DCV.  Ground-level LID BMPs must still be provided for ground level drainage areas, where feasible, and optionally can be sized to provide additional volume reduction and biotreatment of runoff from green roofs.

The volume reduction potential of green roofs is relatively limited in the southern California climate because of typical patterns of precipitation and ET: during winter months when the majority of rainfall occurs, and particularly during the typical short periods of back-to-back rainfall events, ET rates are relatively low, and pore space is recovered relatively slowly. As such, it is not generally possible for green roofs to provide reliable reduction of the entire DCV within the timeframe criteria applied to other HSCs. To recognize this limitation and still encourage the use of these system, a green roof would be considered to be “self-retaining” (i.e., requiring no other stormwater mitigation measures for the DCV) if the roof retains at least 40 percent of average long term precipitation volume and biotreats the remaining volume.

## Analysis Inputs

To determine the minimum design criteria for a green roof to be considered self-retaining, a simple modeling analysis of precipitation, ET patterns, and green roof design parameters was conducted. This analysis included the following inputs:

- 60 year of hourly precipitation data from the NCDC Los Angeles International Airport (LAX) climate station (COOP ID: 045114). The average annual precipitation at LAX is 12 inches, which is approximately the same as observed over much of Orange County, therefore this analysis is applicable to Orange County.

- Monthly normal reference ET data from the NCDC Cooperative Summary of the Day at LAX (COOP ID: 045114) (See note 16).

- Ranges of green roof extensiveness. Extensiveness is defined as the ratio of the area covered by green roof to the area tributary to the roof (including the roof itself). Extensiveness has a maximum of 1.0. For the study, extensiveness varied from 0.5 (half the roof occupied by green roof with the remaining area draining to the green roof) to 1.0 (the full roof covered by the green roof, or the green roof portion not receiving any “run-on” from other areas).

- Ranges of landscape coefficients. The landscape coefficient (KL) is a multiplier on the ET rate that accounts for the plant species, micro climate (exposure, etc.), and the density of vegetative cover. For the study, landscape coefficients of 0.5 and 0.75 were evaluated, representing low water use species and moderate water use species, respectively. Landscape coefficients are generally believed to be higher on roof tops than for ground-level landscaping because of high exposure to sun and wind. It is not recommended that high water use species be used in green roofs because of the high irrigation demand exerted during summer months and winter dry periods.

- Ranges of soil moisture retention depth. Green roof moisture retention depth is the equivalent depth of water that a green roof can hold long enough for ET to have an appreciable effect. For engineered extensive or intensive roofs, this is defined as the field capacity (FC, the volumetric water content retained in soil after a prolonged period of draining) minus the wilting point (WP, the lowest volumetric water content that can be achieved via plant transpiration processes). This is generally 15 to 20 percent of the actual thickness of the green roof, depending on the characteristics of the growing media.  Some proprietary green roof systems utilized specialized light weight media with enhanced soil moisture retention properties or synthetic materials such as plastic cup layers and wicking materials.  These systems are generally specified in terms of the effective depth of water they retain (i.e., the soil moisture retention depth). Soil moisture retention depth was varied from 0 up to 4 inches for this study, representing simple green roofs up to approximately 30 inches deep.

## Analysis Methods

For the purpose of this analysis, Geosyntec developed a model written in VBA (Excel) that incorporates the inputs described above on an hourly basis and tracks the transient storage contained in soil moisture storage. The model can best be thought of as physically representing a bucket of water, where the water level in the bucket corresponds to the amount of moisture held in the green roof soil. Precipitation is applied over the roof and other areas tributary to the roof at hourly time steps corresponding to historical records. When the capacity of the soil moisture layer is exceed, runoff occurs. During and between events, the monthly normal ET rate is applied to the stored water to recover the storage in the soil moisture layer (i.e., empty the bucket). The precipitation and runoff is tracked and totaled for the model run, yielding the average fraction volume removed.

## Results

Results are presented in terms of the soil moisture retention depth required to achieve at least 40 percent reduction in volume. Results are presented in Table IX.1. Graphical output of model results are shown in Figure IX.1 and Figure IX.2, and are expressed in terms of landscape coefficient.  The landscape coefficient describes the fraction of reference ET that can be assumed to be evapotranspired for a given plant palette.  The higher the landscape coefficient, the shallower the depth of the green roof needs to be to achieve 40 percent retention.  This would be expected, since water lost to ET is retained (does not run off) and higher landscape coefficient increases the rate of ET. Likewise increasing the extensiveness of a roof has the same effect, since larger green roof surface area per unit of stored volume yields faster moisture recovery rates.

It should be noted that when designing a green roof, consideration should be given to summer irrigation demands as well as wet season performance. While a higher landscape coefficient and more extensive area would theoretically increase wet season performance, this would also tend to increase irrigation demand during the dry season and during dry periods of the wet season.

| Table IX.1: Green Roof Moisture Retention Depth Required for 40 Percent Volume Reduction, Los Angeles/Orange County |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Landscape Coefficient (KL) = 0.5 |  |  |  |  |  |  |
| Extensiveness | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1.0 |
| Minimum Required Moisture Retention Depth, inches | 1.3 | 1.05 | 0.9 | 0.8 | 0.7 | 0.6 |
| Typical Soil Depth Required to Provide Minimum Moisture Retention Depth(FC - WP = 0.15) | 8.7 | 7.0 | 6.0 | 5.3 | 4.7 | 4.0 |
| Landscape Coefficient (KL) = 0.75 |  |  |  |  |  |  |
| Extensiveness | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1.0 |
| Minimum Required Moisture Retention Depth, inches | 0.9 | 0.75 | 0.65 | 0.55 | 0.5 | 0.45 |
| Typical Soil Depth Required to Provide Minimum Moisture Retention Depth(FC - WP = 0.15) | 6.0 | 5.0 | 4.3 | 3.7 | 3.3 | 3.0 |

KL = Landscape Coefficient; WP = soil wilting point; FC = soil field capacity

Figure IX.1: Green Roof Performance Relationships for Los Angeles and Orange County, Landscape Coefficient (KL ) = 0.5 (Low water use plant palette)

Figure IX.2: Green Roof Performance Relationships for Los Angeles and Orange County, Landscape Coefficient (KL ) = 0.75 (Moderate water use plant palette)

# HARVEST AND USE DEMAND CALCULATIONS AND FEASIBILITY SCREENING

## Introduction

The purpose of this appendix is to provide guidance for calculating harvested water demand and provide the technical basis for the harvest and use feasibility screening thresholds. This appendix contains the following:

- References for harvested water demand and guidance for preparing project-specific harvested water demand calculations

- Evaluation of required harvested water demand for minimum partial feasibility of harvest and use systems

Harvested water demand should be evaluated at the scale of the project, and not limited to single drainage areas. It is assumed that harvested water collected from one drainage area could be used within another.

## Harvested Water Demand Calculation

The following sections provide technical references and guidance for estimating the harvested water demand of a project. These references are intended to be used for the planning phase of a project and for feasibility screening purposes.

### Key Differences in Demand Calculations for Harvest and Use Feasibility versus Water Supply Planning

It is very important to note that harvested water demand calculations differ in purpose and methods from water demand calculations done for water supply planning. When designing harvest and use systems for stormwater management, a reliable method of relatively quickly regenerating storage capacity (i.e., using water) must exist to provide storage capacity for subsequent storms. Therefore, demand calculations for harvest and use BMPs should attempt to estimate the actual demand that is reliably present to drain stormwater cisterns during the wet season and especially within short-term (week to a couple of weeks) series of storms that are typical. This objective is fundamentally different from the objectives of water demand forecasting calculations done for water supply planning, which may err toward higher estimates of demand to provide conservatism to account for uncertainty. Harvested water demand calculations used to determine the feasibility of harvest and use BMPs must be based on estimates of actual expected demand that are reliably present to drain the cistern during the wet season.

### Types of Harvested Water Demand

Types of non-potable water demand anticipated to be applicable in the foreseeable future include:

- Toilet and urinal flushing

- Irrigation

- Vehicle washing

- Evaporative cooling

- Dilution water for recycled water systems

- Industrial processes

- Other non-potable uses

The following sections are divided between toilet flushing, outdoor irrigation demand, and other non-potable demands. The primary distinction between toilet/urinal flushing and irrigation demand is the level of treatment and disinfection that is required to use the water and the seasonal pattern of the demand. Other non-potable demands (e.g. industrial processes for example) are anticipated to be highly project specific and should be calculated using project-specific information.

### Toilet and Urinal Flushing Demand Calculations

The following guidelines should be followed for computing harvested water demand from toilet and urinal flushing:

- If reclaimed water is planned for use for toilet and urinal flushing, then the demand for harvested stormwater is equivalent to the total demand minus the reclaimed water supplied, and should be reduced by the amount of reclaimed water that is available during the wet season. The basis for this priority is provided in Section X.2.8.

- Demand calculations for toilet and urinal flushing should be based on the average rate during the wet season for a typical year.

- Demand calculations should include changes in occupancy over weekends and around holidays and changes in attendance/enrollment over school vacation periods.

- For facilities with generally high demand but periodic shut downs (e.g., for vacations, maintenance, or other reasons), a project specific analysis should be conducted to determine whether performance stormwater management can be maintained despite shut downs.

- Such an analysis should consider the statistical distributions of precipitation and demand, foremost the relationship of demand to the wet seasons of the year.

Table X.1 provides planning level estimated toilet and urinal flushing demand per resident or employee for a variety of project types.  The per capita use per day is based on daily employee or resident usage.  For non-residential types of development, the “visitor factor” and “student factor” (for schools) should be multiplied by the employee use to account for toilet and urinal usage for non-employees using facilities.

| Table X.1: Toilet and Urinal Water Usage per Resident or Employee |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Land Use Type | Toilet User Unit of Normalization | Per Capita Use per Day |  | Visitor Factor4 | Water Efficiency Factor | Total Use |
|  |  | Toilet Flushing1,2 | Urinals3 |  |  |  |
| Residential | Resident | 18.5 | NA | NA | 0.5 | 9.3 |
| Office | Employee (non-visitor) | 9.0 | 2.27 | 1.1 | 0.5 | 7 (avg) |
| Retail | Employee (non-visitor) | 9.0 | 2.11 | 1.4 | 0.5 |  |
| Schools | Employee (non-student) | 6.7 | 3.5 | 6.4 | 0.5 | 33 |
| Various Industrial Uses (excludes process water) | Employee (non-visitor) | 9.0 | 2 | 1 | 0.5 | 5.5 |

1- Based on American Waterworks Association Research Foundation,1999.  Residential End Uses of Water.  Denver, CO: AWWARF

2 - Based on use of 3.45 gallons per flush and average number of per employee flushes per subsector, Table D-1 for MWD (Pacific Institute, 2003)

3 - Based on use of 1.6 gallons per flush, Table D-4 and average number of per employee flushes per subsector, Appendix D (Pacific Institute, 2003)

4 - Multiplied by the demand for toilet and urinal flushing for the project to account for visitors. Based on proportion of annual use allocated to visitors and others (includes students for schools; about 5 students per employee) for each subsector in Table D-1 and D-4 (Pacific Institute, 2003)

5 – Accounts for requirements to use ultra low flush toilets in new development projects; assumed that requirements will reduce toilet and urinal flushing demand by half on average compared to literature estimates. Ultra low flush (ULF) toilets are required in all new construction in California as of January 1, 1992. ULF toilets must use no more than 1.6 gallons per flush (gpf) and ULF urinals must use no more than 1 gpf. (http://www.fypower.org/com/tools/products_results.html?id=100139)  Note:  If zero flush urinals are being used, adjust accordingly.

### General Requirements for Irrigation Demand Calculations

The following guidelines should be followed for computing harvested water demand from landscape:

- If reclaimed water is planned for use for landscape irrigation, then the demand for harvested stormwater should be reduced by the amount of reclaimed water that is available during the wet season. The basis for this priority is provided in Section X.2.8.

- Irrigation rates should be based on the irrigation demand exerted by the types of landscaping that are proposed for the project, with consideration for water conservation requirements.

- Irrigation rates should be estimated to reflect the average wet season rates (defined as November through April) accounting for the effect of storm events in offsetting harvested water demand.  In the absence of a detailed demand study, it should be assumed that irrigation demand is not present during days with greater than 0.1 inches of rain and the subsequent 3 day period. This irrigation shutdown period is consistent with standard practice in land application of wastewater and is applicable to stormwater to prevent irrigation from resulting in dry weather runoff. Based on a statistical analysis of Orange County rainfall patterns, approximately 30 percent of wet season days would not have a demand for irrigation.

- If land application of stormwater is proposed (irrigation in excess of agronomic demand), then this BMP must be considered to be an infiltration BMP and feasibility screening for infiltration must be conducted.  In addition, it must be demonstrated that land application would not result in greater quantities of runoff as a result of saturated soils at the beginning of storm events.  Agronomic demand refers to the rate at which plants use water.

The following sections describe methods that should be used to calculate harvested water irrigation demand. While these methods are simplified, they provide a reasonable estimate of potential harvested water demand that is appropriate for feasibility analysis and project planning.  These methods may be replaced by a more rigorous project-specific analysis that meets the intent of the criteria above.

### OC Irrigation Code Demand Calculation Method

This method is based on the County of Orange Landscape and Irrigation Code and Implementation Guidelines Ordinance No. 09-010 (OC Irrigation Code).  The OC Irrigation Code includes a formula for estimating a project’s annual Estimated Applied Water Use (EAWU) based on the reference evaporation, landscape coefficient, and irrigation efficiency.

For the purpose of calculating harvested water irrigation demand applicable to the sizing of harvest and use systems, the EAWU has been modified to reflect typical wet-season irrigation demand. This method assumes that the wet season is defined as November through April.  This method further assumes that no irrigation water will be applied during days with precipitation totals greater than 0.1 inches or within the 3 days following such an event. Based on these assumptions and an analysis of Irvine precipitation patterns, irrigation would not be applied during approximately 30 percent of days from November through April.

The following equation is used to calculate the Modified EAWU:

Modified EAWU = (EToWet × KL × LA× 0.015) / IE

Where:

Modified EAWU = estimated daily average water usage during wet season

EToWet = Average Reference ET from November through April (inches per month, See Section X.2.5.1)

KL = Landscape Coefficient, KL  = Ks × Kd × Kmc  (See Section X.2.5.2)

Ks = species factor

Kd = density factor

Kmc = microclimate factor

LA = Landscape Area (sq-ft)

IE = Irrigation Efficiency (assume 90 percent for demand calculations)

In this equation, the coefficient (0.015) accounts for unit conversions and shut down of irrigation during and for the three days following a significant precipitation event:

0.015 = (1 mo/30 days)×(1 ft/12 in)×(7.48 gal/cu-ft)×(approximately 7 out of 10 days with irrigation demand from November through April)

When using this method, the worksheets contained within the OC Irrigation Code may be useful to determine the irrigation use for a project site, with the appropriate modifications to reflect the Modified EAWU calculations.  These worksheets allow the user to area-weight the inputs for irrigation.

#### Reference ET Data

Table X.2contains data derived from CIMIS for the cities of Irvine, Santa Ana, and Laguna Beach.

| Table X.2: Monthly Reference ET Rates for Orange County (Inches) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Station | J | F | M | A | M | J | J | A | S | O | N | D | Annual | Wet Season Average (in/mo) (Nov to Apr) |
| Irvine | 2.2 | 2.5 | 3.7 | 4.7 | 5.2 | 5.9 | 6.3 | 6.2 | 4.6 | 3.7 | 2.6 | 2.3 | 49.9 | 3.00 |
| Laguna Beach | 2.2 | 2.7 | 3.4 | 3.8 | 4.6 | 4.6 | 4.9 | 4.9 | 4.4 | 3.4 | 2.4 | 2.0 | 43.3 | 2.75 |
| Santa Ana | 2.2 | 2.7 | 3.7 | 4.5 | 4.6 | 5.4 | 6.2 | 6.1 | 4.7 | 3.7 | 2.5 | 2.0 | 48.3 | 2.93 |

Source: County of Orange Landscape and Irrigation Code and Implementation Guidelines

#### Landscape Coefficient (KL)

The Water Use Classifications of Landscape Species (WUCOLS, University of California and Department of Water Resources, 2000) should be used to determine the landscape coefficient that is applicable to each landscape irrigation zone.  The landscape coefficient, KL, is based on the product of the species factor (Ks), the density (Kd), and the microclimate (Kmc).

- The species factor is based on plant water needs derived from available data.  At the time of the 2000 WUCOLs, 1,800 plant species had been evaluated for relative water needs.  Specific species factors for these plant species are available in WUCOLs.

- The density factor is related to the vegetative or leaf cover for different plantings. Thinner or thicker than average density conditions are assigned density coefficients less than or greater than 1.0, respectively.

- The microclimate factor is related to features present in the urban landscape that influence temperature, wind, shading, and other climatic factors.  An ‘average’ microclimate is equivalent to reference ET conditions (1.0), which is relatively uninfluenced by nearby buildings, structures, etc.

Table X.3 provides a general overview of these factors, ranging from low to high water use plant palettes.

Table X.3: Species, Density, and Microclimate Factors from WUCOLs for High, Moderate, Low and Very Low Water Use Plant Palettes

Source:  Water Use Classifications of Landscape Species (WUCOLS, University of California and Department of Water Resources, 2000)

Table X.4 provides recommended composite landscape coefficients that are appropriate for planning purposes and feasibility screening.

| Table X.4: Planning Level Recommendations for Landscape Coefficient (KL) |  |
| --- | --- |
| General Landscape Type | Recommended Planning Level Landscape Coefficient (KL) |
| Conservation Landscape Design (non-active turf) | KL = 0.35 |
| Active Turf Areas | KL = 0.7 |

#### Planning Level Irrigation Demands

Using the inputs above, daily average wet season demands were developed for an acre of irrigated area based on location and landscape type (Table X.5). These demand estimates can be used to calculate the drawdown of harvest and use systems for the purpose of LID BMP sizing calculations (Appendix I).

| Table X.5: Modified EWUA Daily Average Irrigation Demand by Location and Landscape Coefficient |  |  |  |
| --- | --- | --- | --- |
| General Landscape Type | Daily Average Modified EWUA (gpd per irrigated acre) |  |  |
|  | Irvine | Santa Ana | Laguna |
| Conservation Landscape Design (non-active turf): KL = 0.35 | 740 | 720 | 680 |
| Active Turf Areas: KL = 0.7 | 1,480 | 1,450 | 1,360 |

### EIATA Demand Calculation and Sizing Method

The TGD also supports an alternative approach for quantifying harvested water demand that relies on the Effective Irrigated Area to Tributary Area (EIATA) ratio as a tool for sizing stormwater harvest and use systems.  This ratio was developed to be a primary indicator of the ability of a harvest and use system to effectively capture and manage stormwater.

The EIATA ratio is calculated as follows:

EIATA = LA × KL/[IE × Tributary Impervious Area]

Where:

EIATA = effective irrigated area to tributary area ratio (ac/ac)

LA = landscape area irrigated with harvested water, sq-ft

KL = Area-weighted landscape coefficient (per guidance above)

IE = irrigation efficiency (assume 0.90)

The calculated EIATA ratio can be used in

Figure X.1 to relate DCV to system performance.

Figure X.1 was developed in USEPA SWMM5.0 with 22 years of hourly precipitation and reference ET data from the Irvine CIMIS gage. The model accounts for short term suspension of irrigation demand following storm events by applying irrigation only after 0.25 inches of reference ET had occurred since the end of rainfall. This nomograph is applicable across Orange County.

Instructions for using this nomograph are contained in (Appendix I).

Figure X.1: Harvest and Use Sizing Nomograph

### Calculating Other Harvested Water Demands

Calculations of other harvested water demands should be based on the knowledge of land uses, industrial processes, and other factors that are project-specific.  Demand should be calculated based on the following guidelines:

- Demand calculations should represent actual demand that is anticipated during the wet season (November through April).

- Sources of demand should only be included if they are reliably and consistently present during the wet season.

- Where demands are substantial but irregular, a more detailed analysis should be conducted based on a statistical analysis of anticipated demand and precipitation patterns.

### Reclaimed Water Priority in Demand Calculations

If reclaimed water is available to meet or partially meet project non-potable water demands, the decision to use reclaimed water or harvested runoff water rests with the project proponent.  If the project proponent elects to use reclaimed water or is required to use reclaimed water based on conditions placed on the project, then the demand for harvested water should be reduced by the amount of reclaimed water available. This criterion effectively allows the project proponent to consider harvest and use to be infeasible if sufficient reclaimed water supply is available to meet the project demand for harvested water.

This criterion intentionally prioritizes the use of reclaimed water over harvested water in cases where demand overlaps. The use of reclaimed water is being prioritized based upon the following considerations:

- In Order 2009-06, the State Water Board finds that “…recycled water is safe for approved uses, and strongly supports recycled water as a safe alternative to potable water for such approved uses. “ There are several other state mandates for reduction of potable water demand.

- A substantial investment has been made in the production and distribution of reclaimed water by local agencies to reduce potable water demand to meet state mandates.

- Utilizing reclaimed water where available inherently reduces the amount of treated municipal effluent discharged to the ocean.  For those entities that rely primarily on use of reclaimed water for disposal of treated wastewaters, such as the Irvine Ranch Water District, prioritizing use of runoff over reclaimed water could increase wastewater discharges significantly during wet weather periods.

- Utilizing the capacity of the reclaimed water system, where available, has a significantly larger benefit for offsetting potable water supply than stormwater harvest and use systems.  Reclaimed water is available year round therefore can effectively fulfill all project non-potable water demands. In contrast, a harvested water system designed for stormwater management would tend to make water available for a relatively minor fraction of the year (during storm events and for a relatively short period after), thereby meeting a substantially lower fraction of the project non-potable water demand.

- It is possible to engineer and deploy a combined reclaimed water/harvested stormwater non-potable use system.  However, the costs of including both options would be much higher than employing one or the other.  In addition, the most difficult time for reclaimed water disposal is during extended wet periods (irrigation reduced and more wastewater from inflow and infiltration).

- The use of reclaimed water to supplant the use of harvested water for irrigation could contribute to groundwater quality impacts. This depends on the quality of harvested runoff that might alternatively be used compared to the quality of the reclaimed water.  However, the maximum potential fraction of the total inflow to the groundwater basin influenced by the priority for reclaimed water versus harvested water is believed to be very minor based on the applicability of the New Development and Significant Redevelopment LID requirements in the foreseeable future and will therefore not have a significant impact on groundwater quality.

- In addition, potential impacts to groundwater quality related to use of reclaimed water, particularly salt and nutrient accumulation, must be evaluated and managed by providers of reclaimed water. The priority for use of reclaimed water expressed in this TGD does not conflict or interfere with the obligation of reclaimed water providers to manage the application of reclaimed water. If, as a groundwater quality management action, a reclaimed water provider must limit the application of reclaimed water, it would be the responsibility of the reclaimed water provider to limit the amount of reclaimed water that is made available to a proposed project and/or limit its allowable uses on a project. This would limit the amount of project demand that can be offset by reclaimed water and would thereby require harvested water to be considered in applicable scenarios.

- Finally, it is noted that the State Board has evaluated, in general, the potential negative environmental consequences of reclaimed water on groundwater quality as part of developing its policy on reclaimed water, and the State Board supports the use of reclaimed water for landscape irrigation.

## Planning Level Harvest and Use Feasibility Thresholds

This section describes the technical analysis and assumptions that were used to develop planning level feasibility thresholds for harvest and use systems. The intent of these thresholds is to identify projects with low potential for successful harvest and use and provide a means for applicants to readily demonstrate infeasibility of harvest and use, where clearly infeasible, without the need for a detailed project specific analysis.

### Minimum Partial Capture Threshold

If a harvest and use system is designed with storage volume equal to the DCV from the tributary area but still achieves less than 40 percent capture, the system does not meet the minimum incremental benefit required to mandate its use (See discussion of threshold incremental benefit in Appendix XIII).  This level of performance is termed the “minimum partial capture.” A harvest and use system would be considered to achieve less than “minimum partial capture” if:

- Based on a system sized for the full DCV from the tributary area, and

- Based on the combined project demand for harvested water,

- The system draws down in greater than 30 days (720 hours), therefore captures less than 40 percent of average annual runoff (See Figure III.2).

Harvest and use systems with demand lower than required to achieve minimum partial capture are not required to be considered to demonstrate retention of stormwater to the MEP.  If this is the case, other LID BMPs must be evaluated for retention and/or biotreatment of the Project DCV.

### Demand Thresholds for Minimum Partial Capture

Table X.6 provides the minimum combined project demand to meet the minimum partial capture for the range of precipitation zones found in Orange County.  Projects with a total demand below this value not required to prepare a project specific evaluation of harvest and use feasibility.

| Table X.6: Harvested Water Demand Thresholds for Minimum Partial Capture |  |
| --- | --- |
| Design Capture Storm Depth1, inches | Wet Season Demand Required for Minimum Partial Capture2, gpd per impervious acre |
| 0.60 | 490 |
| 0.65 | 530 |
| 0.70 | 570 |
| 0.75 | 610 |
| 0.80 | 650 |
| 0.85 | 690 |
| 0.90 | 730 |
| 0.95 | 770 |
| 1.00 | 810 |

1 - Based on isopluvial map (See XVI.1)

2 –Minimum Partial Capture is a performance standard whereby system performance exceeds 40 percent capture (See Appendix XIII) , such that the system must be considered for use even if it cannot achieve the full DCV.

### TUTIA Ratio Thresholds for Minimum Partial Capture

Table X.7 provides thresholds for TUTIA (Toilet Users to Impervious Area) ratio required to achieve minimum partial capture of the stormwater DCV (i.e. at least 40 percent average annual capture efficiency with a system sized for the DCV). Projects with TUTIA ratios below this value and without other significant demands for harvested water are not required to prepare a project specific evaluation of harvest and use feasibility.  The values in Table X.7 reflect the minimum TUTIA ratio required to achieve at least 40 percent average annual capture efficiency with a system sized for the DCV.

| Table X.7: Minimum TUTIA for Minimum Partial Capture |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project Type | Residential | Retail and Office Commercial | Industrial | Schools1 |
| Basis of Toilet User Calculation | Resident | Employee (non-visitor) | Employee (non-visitor) | Employee (non-student) |
| Design Capture Storm Depth, inches | Minimum TUTIA Ratio Required for Minimum Partial Capture (toilet users/impervious acre) |  |  |  |
| 0.6 | 74 | 98 | 125 | 21 |
| 0.65 | 80 | 106 | 135 | 23 |
| 0.7 | 86 | 114 | 145 | 24 |
| 0.75 | 92 | 122 | 155 | 26 |
| 0.8 | 98 | 130 | 165 | 28 |
| 0.85 | 104 | 138 | 176 | 30 |
| 0.9 | 110 | 146 | 186 | 31 |
| 0.95 | 117 | 154 | 196 | 33 |
| 1 | 123 | 162 | 206 | 35 |

1 – based on employees only; assumes approximately 5 students per employee.

### Irrigated Area Thresholds for Minimum Partial Capture

Table X.8 provides thresholds for irrigated area per impervious acre for minimum partial capture of the stormwater DCV.  Projects with irrigation area below this value and without other sources of significant demand will generally not be required to prepare a project specific evaluation of harvest and use feasibility. The values in Table X.8 reflect the minimum irrigated area per impervious area required to achieve at least 40 percent average annual capture efficiency with a system sized for the DCV.

| Table X.8: Minimum Irrigated Area for Potential Partial Capture Feasibility |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| General Landscape Type | Conservation Design: KL = 0.35 |  |  | Active Turf Areas: KL = 0.7 |  |  |
| Closest ET Station | Irvine | Santa Ana | Laguna | Irvine | Santa Ana | Laguna |
| Design Capture Storm Depth, inches | Minimum Required Irrigated Area per Tributary Impervious Acre for Potential Partial Capture, ac/ac |  |  |  |  |  |
| 0.60 | 0.66 | 0.68 | 0.72 | 0.33 | 0.34 | 0.36 |
| 0.65 | 0.72 | 0.73 | 0.78 | 0.36 | 0.37 | 0.39 |
| 0.70 | 0.77 | 0.79 | 0.84 | 0.39 | 0.39 | 0.42 |
| 0.75 | 0.83 | 0.84 | 0.90 | 0.41 | 0.42 | 0.45 |
| 0.80 | 0.88 | 0.90 | 0.96 | 0.44 | 0.45 | 0.48 |
| 0.85 | 0.93 | 0.95 | 1.02 | 0.47 | 0.48 | 0.51 |
| 0.90 | 0.99 | 1.01 | 1.08 | 0.49 | 0.51 | 0.54 |
| 0.95 | 1.04 | 1.07 | 1.14 | 0.52 | 0.53 | 0.57 |
| 1.00 | 1.10 | 1.12 | 1.20 | 0.55 | 0.56 | 0.60 |

| Worksheet J: Summary of Harvested Water Demand and Feasibility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | What demands for harvested water exist in the tributary area (check all that apply): |  |  |  |  |
| 2 | Toilet and urinal flushing |  |  | □ |  |
| 3 | Landscape irrigation |  |  | □ |  |
| 4 | Other:_______________________________________________________ |  |  | □ |  |
| 5 | What is the design capture storm depth? (Figure III.1) | d |  |  | inches |
| 6 | What is the project size? | A |  |  | ac |
| 7 | What is the acreage of impervious area? | IA |  |  | ac |
|  | For projects with both toilet flushing and indoor demand |  |  |  |  |
| 8 | What is the minimum use required for partial capture? (Table X.6) |  |  |  | gpd |
| 9 | What is the project estimated minimum wet season total daily use? |  |  |  | gpd |
| 10 | Is partial capture potentially feasible? (Line 9 > Line 8?) |  |  |  |  |
|  | For projects with only toilet flushing demand |  |  |  |  |
| 11 | What is the minimum TUTIA for partial capture? (Table X.7) |  |  |  |  |
| 12 | What is the project estimated TUTIA? |  |  |  |  |
| 13 | Is partial capture potentially feasible? (Line 12 > Line 11?) |  |  |  |  |
|  | For projects with only irrigation demand |  |  |  |  |
| 14 | What is the minimum irrigation area required based on conservation landscape design? ( Table X.8) |  |  |  | ac |
| 15 | What is the proposed project irrigated area? (multiply conservation landscaping by 1; multiply active turf by 2) |  |  |  | ac |
| 16 | Is partial capture potentially feasible? (Line 15 > Line 14?) |  |  |  |  |
| Provide supporting assumptions and citations for controlling demand calculation: |  |  |  |  |  |

# CRITERIA FOR DESIGNING BMPS TO ACHIEVE MAXIMUM FEASIBLE RETENTION AND BIOTREATMENT

## Purpose and Intended Use

The purposes of this appendix are two-fold:

- To provide guidance for designing biotreatment BMPs to achieve the maximum feasible Infiltration and ET.  Where biotreatment BMPs are used, they must be designed to achieve this objective.

- To provide guidance for designing BMPs to retain and biotreat stormwater to the maximum extent practicable (MEP) for sites that cannot fully retain or biotreat the DCV. Retention must be used to the MEP before biotreatment is used.

This section includes:

Criteria for designing biotreatment BMPs to achieve maximum feasible infiltration and ET

Criteria for designing BMPs to achieve maximum feasible retention of the stormwater design volume

Criteria for designing BMPs to achieve maximum feasible retention plus biotreatment of the stormwater design volume

Supporting criteria for designing BMPs to achieved maximum feasible retention plus biotreatment of the stormwater design volume

This Appendix is intended to be applied as referenced from the BMP selection and design process described in TGD Section 2.4.

## Criteria for Designing Biotreatment BMPs to Achieve Maximum Feasible Infiltration and ET

Infiltration and ET are volume reduction processes that occur in biotreatment BMPs, but they are not the principal treatment mechanism.  However, these incidental processes must be promoted whenever biotreatment BMPs are designed for a project.  This section is intended to be used design biotreatment to BMPs to result in maximum feasible infiltration and ET in cases where neither infiltration nor harvest and use are feasible based on infiltration feasibility criteria contained in TGD Section 2.4, or where infiltration BMPs and/or harvest and use BMPs are partially feasible and biotreatment BMPs must be used for the remaining design volume.

Evapotranspiration. To design biotreatment BMPs to achieve maximum feasible ET, BMPs shall be designed with amended soils consistent with Biotreatment Selection, Design, and Maintenance Requirements contained in Appendix XII.

Infiltration. To design biotreatment BMPs to achieve the maximum feasible infiltration, retention volume shall be provided below the lowest surface discharge point. The amount of retention volume that shall be provided depends on the infiltration rate of the soil. This practice shall not be used where there is substantial evidence that infiltration would pose an unmitigated risk per the infiltration feasibility criteria contained in TGD Section 2.4.

In cases where incidental infiltration passes the feasibility criteria in TGD Section 2.4, the criteria for designing biotreatment BMPs to achieve the maximum feasible infiltration are as follows.

### BMPs with Underdrains

Retention volume shall be provided below the underdrains of the BMP per the following criteria:

A gravel storage layer shall be installed below the invert elevation of the underdrains, as applicable.

Rock should be assumed to have a porosity of 0.4 unless otherwise supported, and

The depth of rock should be selected so that the underdrain layer empties in 48 hours.

Where the infiltration rate of the underlying soil is not known, a rate of 0.1 in/hr shall be assumed, resulting in a gravel depth of 12 inches.

Example:

Soil has a measured infiltration rate of 0.15 inches per hour and risk-based factors do not apply.

Depth that can be infiltrated in 48 hours = 0.15 in/hr × 48 hours = 7.2 inches

Depth of gravel to provide this depth of water = 7.2 inches / 0.4 = 18 inches.

### Swales and Filter Strips without Underdrains

Retention volume shall be provided below the lowest surface discharge of the BMP per the following criteria:

Check dams and outlet controls shall be installed, as applicable, to retain water on the surface and amended soil.

The storage depth shall be selected to drain in 24 hours.

Where the infiltration rate of the underlying soil is not known, a surface ponding depth of 2 inches shall be used.

Soils shall be amended to promote infiltration consistent with Biotreatment Selection, Design, and Maintenance Requirements contained in Appendix XII.

Example:

Underlying has an estimated infiltration rate of 0.1 inches per hour (with soil amendments considered) and risk-based factors do not apply.

Depth that can be infiltrated in 24 hours = 0.1 in/hr × 24 hours = 2.4 inches.

### Dry Extended Detention Basins

Soils shall be amended to promote subsurface storage and infiltration consistent with Biotreatment Selection, Design, and Maintenance Requirements contained in Appendix XII.

### Wet Ponds and Constructed Wetlands

Wet ponds and constructed wetlands achieve high pollutant removal efficiency, in part, by maintaining a permanent pool.  These BMPs should not be designed to achieve volume reduction as a primary goal; however some incidental volume reduction is expected to occur.

## Criteria for Designing BMPs to Achieve Maximum Feasible Retention of the Stormwater Design Volume

The requirements of this section are intended to apply when the entire DCV cannot be feasibly retained, but retention of the stormwater design volume is potentially feasible per the infeasibility criteria contained in TGD Section 2.4.  BMPs shall be designed to retain the stormwater design volume to the MEP by demonstrating that the applicable criteria in the following subsections are met.

### General Criteria

If at any time in this process, the stormwater design volume can be retained and drawn down in less than or equal to 48 hours, or the BMP is demonstrated to retain 80 percent of average annual stormwater runoff (per methods contained in Appendix III.3.2) and HCOCs are addressed (per methods contained in Appendix IV (North Orange County permit area) or Appendix V (South Orange County permit area)), the system does not need to be sized to manage any additional stormwater volume.

If after meeting the criteria contained in the following subsections, it is demonstrated that the resulting design would retain less 40 percent of average annual runoff volume on a drainage area basis, the BMP is not required to be used to demonstrate that BMPs have been designed to retain the design volume to the MEP. Instead, a biotreatment BMP must be used to the MEP and must be designed to provide maximum feasible infiltration and ET.  See Appendix XIII for the technical basis of the 40 percent capture threshold criterion.

### Infiltration BMPs

This section provides criteria that shall be met to demonstrate that infiltration BMPs have been designed to retain stormwater design volume to the MEP.

All applicable HSCs shall be provided except where they are mutually exclusive with each other or with LID BMPs. Mutual exclusivity may result from overlapping BMP footprints such that either would be potentially feasible by itself, but both could not be implemented; and

Site design allowances for infiltration BMPs shall meet or exceed minimum site design criteria (See Section XI.5.1 for criteria) , and

Using the infiltration area that meets the minimum site design criteria (Section XI.5.1), and using a design infiltration that meets the minimum criteria for feasibility evaluation (See Section XI.5.2), BMP retention depth has been selected such that:

The combined storage volume provided by HSCs and retention BMPs equals or exceeds the stormwater design volume, or

Retention depth provided in BMPs (volume contained below lowest design discharge elevation) equals or exceeds the depth that would draw down in 48 hours based on the design infiltration rate.  (For example: if the design infiltration rate is 0.25 inches per hour, this criterion would be met by providing at least 12 inches of retention storage [0.5 in/hr × 48 hr]). Intent: The depth corresponding to 48-hr drawdown represents the point of diminishing returns with respect to additional volume for additional capture efficiency, or

Deeper depth may be provided, however additional volume would be required to compensate for longer drawdown time (Appendix III.3.2). Surface drawdown shall not exceed 96 hours because of vector issues. Drawdown time of subsurface storage may exceed 96 hours, however consideration should be given to maintenance activities and plant survival, as applicable, in selecting a maximum subsurface drawdown time.

### Harvest and Use BMPs

This section provides criteria that shall be met to demonstrate that harvest and use BMPs have been designed to retain stormwater design volume to the MEP.

All applicable HSCs (Appendix XIV.1) shall be provided except where they are mutually exclusive. Mutual exclusivity may result from overlapping BMP footprints such that either would be potentially feasible by itself, but both could not be implemented, and

The combined storage volume provided in HSCs and harvest and use BMP(s) equals or exceeds the DCV, and

All applicable demand for harvested water has been considered per criteria contained in Appendix X).

## Criteria for Designing BMPs to Result in Maximum Feasible Retention plus Biotreatment of the Stormwater Design Volume

The requirements of this section are intended to apply when the entire stormwater design volume cannot be feasibly retained, and therefore biotreatment BMPs must be added to the system to manage the remaining stormwater design volume to the MEP. Adding biotreatment BMPs to a system that has already been designed for the maximum feasible retention may necessarily require some retention volume to be converted to biotreatment volume to result in a design that achieves the highest combined pollutant load reduction. This section is intended to be used after the maximum feasible retention volume has been calculated.

The following criteria that shall be met to demonstrate that biotreatment BMPs have been designed to retain stormwater design volume to the MEP

- Biotreatment components shall be added to treat runoff from a project's drainage area without reducing retention such that combined, biotreatment and retention BMPs capture and manage 80 percent of average annual runoff (See approaches for sizing of treatment trains and multi-part systems in Appendix III.5),

# OR

- A combination BMP or multi-part BMP incorporating both retention and biotreatment volume shall be provided that capture and manages (retains plus biotreats) at least 80 percent of average annual runoff, and no more than half of the maximum feasible retention volume computed in Section XI.3 has been shifted to biotreatment.

Any stormwater design volume that remains after meeting these criteria shall be considered infeasible to retain or biotreat on-site and alternative compliance obligations shall be computed as described in Appendix VI.

## Supporting Criteria for Designing BMPs to Achieve Maximum Feasible Retention and Biotreatment

This section provides criteria to support the design of BMPs to retain and biotreat the stormwater design volume to the MEP. The requirements of this section are intended to apply only to projects demonstrating that BMPs have been designed to achieve the maximum retention and biotreatment per Sections XI.3 and XI.4, respectively, as referenced from these sections.

### Criteria for Site Design to Allow BMPs

Project site designs shall be developed to allow BMPs to the MEP per the criteria contained in this section. This section is applicable as referenced from Sections XI.3 and XI.4.

At least the recommended portion of the site specified Table XI.1 (or a more stringent  table developed by local jurisdictions) shall be provided in the site plans for surface plus subsurface BMPs. Local jurisdictions may develop a more stringent table (i.e., greater area required to be provided) at their discretion. In the absence of such a table, Table XI.1 shall be the default; and

The site shall be configured such that runoff can be routed to BMPs located in the available area(s) of the site; and

The site shall be laid out such that BMPs are located over infiltrative soils as practicable given the constraints of the site, unless infiltration is infeasible for risk-based reasons identified in TGD Section 2.4, and

Satisfaction of these criteria shall be documented in exhibits or narrative descriptions.

# OR

A site specific study shall be prepared as part of the Project WQMP that documents that the site cannot be designed to allow more area for BMPs. The study may consider:

Site conditions/constraints (e.g., depth to groundwater, topography, existing utilities)

Zoning/code requirements (e.g., target density, accessibility, traffic circulation, health and safety, setbacks, etc.)

Economic feasibility

Table XI.1 provides the recommended percentage of a project site that is required to be made available for LID BMPs in order to meet minimum criteria for site design to allow BMPs.

| Table XI.1: Recommended Minimum Criteria for Site Design |  |  |
| --- | --- | --- |
| Project Type |  | Recommended effective area1 required to be made available for LID BMPs (surface + subsurface facilities) to meet site design criteria2 (percent of site) |
| New Development | SF/MF Residential < 7 du/ac | 10 |
|  | SF/MF Residential 7 – 18 du/ac | 7 |
|  | SF/MF Residential > 18 du/ac | 5 |
|  | Mixed Use, Commercial, Institutional/Industrial w/ FAR < 1.0 | 10 |
|  | Mixed Use, Commercial, Institutional/Industrial w/ FAR 1.0 – 2.0 | 7 |
|  | Mixed Use, Commercial, Institutional/Industrial w/ FAR > 2.0 | 5 |
|  | Podium (parking under > 75% of project) | 3 |
|  | Projects with zoning allowing development to lot lines | 2 |
|  | Transit Oriented Development3 | 5 |
|  | Parking | 5 |
| Redevelopment | SF/MF Residential < 7 du/ac | 5 |
|  | SF/MF Residential 7 – 18 du/ac | 4 |
|  | SF/MF Residential > 18 du/ac | 3 |
|  | Mixed Use, Commercial, Institutional/Industrial w/ FAR < 1.0 | 5 |
|  | Mixed Use, Commercial, Institutional/Industrial w/ FAR 1.0 – 2.0 | 4 |
|  | Mixed Use, Commercial, Institutional/Industrial w/ FAR > 2.0 | 3 |
|  | Podium (parking under > 75% of project) | 2 |
|  | Projects with zoning allowing development to lot lines | 1 |
|  | Transit Oriented Development3 | 3 |
|  | Projects in Historic Districts | 3 |

1 “Effective area” is defined as area which 1) is suitable for a BMP (for example, if infiltration is potentially feasible for the site based on infeasibility criteria, infiltration must be allowed over this area) and 2) receives runoff from impervious areas.

2Criteria for site design are only required to be met if the Project WQMP seeks to demonstrate that the full stormwater design volume cannot be feasibly managed on-site.

3 Transit oriented development is defined as a development with development center within one half mile of a mass transit center.

# Key:  du/ac = dwelling units per acre, FAR = Floor Area Ratio = ratio of gross floor area of building to gross lot area

MF = Multi Family, SF = Single Family

The table is intended to be used in the feasibility process as follows:

If a project seeks to demonstrate that it is not feasible to manage the entire design stormwater volume on-site, it is necessary to demonstrate that minimum criteria for site design have been met as part of making this determination by comparing the effective area provided for LID BMPs within the drainage are to the values in Table XI.1.

If the percentage of the site recommended in Table XI.1 is provided and LID BMPs still does not achieve the stormwater design volume, then this allows for remaining volume to be met through alternative compliance. If the percentage of the site Table XI.1 is not provided for LID BMPs and the stormwater design volume is not managed, this provides grounds for a reviewer to request that additional area be made available for BMPs in the site design until either the percentage of the site in Table XI.1 is provided or the entire stormwater design volume is managed.

The project may provide more area for LID BMPs if desired.

Local jurisdictions may choose to develop analogous tables more stringent (i.e., higher areas required to be provided) than Table XI.1.  Projects that employ LID BMPs to retain the full stormwater design volume (as documented by the Project WQMP) are not required to demonstrate that they meet criteria for site design.

### Criteria for Selecting Design Infiltration Rate for Feasibility Evaluation

Infiltration factor of safety shall be selected based on criteria contained in Appendix VII.4, and shall not be less than 2.0 under any condition. The designer may provide a higher factor of safety in the design of BMPs as warranted by project-specific factors described in Appendix VII.4.  For the purpose of designing BMPs to achieve the maximum feasible retention plus biotreatment, the acceptable factor of safety should be minimized through a commitment to thorough site investigation, use of effective pretreatment controls, good construction practices, the commitment to restore the infiltration rates of soils that are damaged by prior uses or construction practices, and the commitment to effective maintenance practices. In most case, it is believed that a factor of safety of 2.0 is attainable with these commitments; however this does not remove the responsibility of the designer to apply a prudent factor of safety based on project-specific considerations.

### Criteria for Identifying All Possible Harvested Water Demands

The intent of this section is to provide criteria for identifying all possible demands for harvested water.  The following criteria shall be met to demonstrate that all potential demands for harvested water have been considered:

Potential demands for harvested water shall include all consistent and reliable demands for non-potable water, as defined below, that do not conflict with codes or ordinances in place at the time of Project WQMP submittal and do not conflict with prior water rights claims,

Consistent and reliable demands for non-potable water shall include those demands identified in Appendix IX and any other non-potable demands meeting the general criteria of Appendix IX:

Irrigation water demand, as estimated via methods described in Appendix IX or an equivalent method as approved by the local jurisdiction.

Indoor toilet flushing demand, as estimated via methods described in Appendix IX or an equivalent method as approved by the local jurisdiction. Occupancy estimates shall be based on the lowest forecasted average annual occupancy beyond 2 years of completion.

Industrial process water demand, vehicle wash water, evaporative cooling water, and other non-potable uses based on the criteria for calculating harvested water demand contained in Appendix IX, for processes not anticipated to change in the foreseeable future. For building uses anticipated to change, a good faith estimate of the minimum typical wet season harvested water demand shall be used to evaluate the feasibility of harvest and use systems.

Reclaimed water supply shall be evaluated on a project-specific basis and subtracted from harvested water demands; in the absence of project-specific conditions of approval, reclaimed water available to the project shall take priority over use of harvested stormwater and should reduce the demand for harvested water by the amount of reclaimed water available.  The basis for this priority is provided in Appendix X.2.8.

# CONCEPTUAL BIOTREATMENT SELECTION, DESIGN, AND MAINTENANCE CRITERIA

The purpose of this Appendix is to provide conceptual-level guidance for selection, design, and maintenance of biotreatment BMPs. This Appendix is intended to be used as a concise reference for the biotreatment BMP design philosophy.

This Appendix is not intended to provide BMP-specific guidance or design-level specifications. BMP-specific guidance for the recognized suite of available biotreatment BMPs is provided in BMP Fact Sheets in TGD Section 4.

This Appendix is not intended to be use for specific criteria. Detailed and prescriptive guidance for sizing and designing biotreatment to achieve the maximum feasible infiltration and ET is provided in Appendix XI.

## Definition of Biotreatment BMPs

Biotreatment BMPs are a broad class of structural LID BMPs that treat stormwater using a suite of treatment mechanisms characteristic of biologically active systems. The design of biotreatment BMPs should strive to achieve the following goals, as applicable:

- Foremost, the BMP should be designed to provide the highest possible pollutant removal, with emphasis on removal of pollutants of concern.

- The BMP should be aesthetically pleasing.

- The BMP should provide multiple benefits such as aesthetic enjoyment, wildlife habitat, open space, and/or support recreational use (i.e. be an element of a trail system);

- The BMP should include educational signage for visitors if appropriate; that

- Ancillary elements (fencing, gates, and access roads) should serve to mitigate risks (i.e. drowning, vandalism) and minimize costs of maintenance.

Biotreatment BMPs provide a variety of treatment mechanisms to remove both suspended and dissolved pollutants in urban storm water runoff. All biotreatment BMPs include treatment mechanisms that employ soil microbes and plants. Biotreatment BMPs may be either flow-based (limited storage) or volume-based (storage a key design component) and are designed to treat and discharge urban stormwater runoff to a downstream conveyance system. Biotreatment BMPs can be designed to promote infiltration and ET even though they are treat-and-release BMPs. Systems not designed primarily to infiltrate or evapotranspire stormwater may still reduce the volume of stormwater via infiltration and ET. If necessary to mitigate risks to structures, human health, or other concerns, a biotreatment BMP may also be lined to prevent infiltration of urban storm water runoff into the underlying soils.

Operations and maintenance of biotreatment BMPs should emphasize preservation of hydraulic function and the promotion of robust biological processes. Biotreatment BMPs typically utilize “soft” infrastructure (e.g., vegetative slope stabilization as opposed to rip rap slope stabilization) and therefore require an adaptive approach to maintenance and performance enhancement, more typical of landscape maintenance than maintenance of hard infrastructure.

# Note that while biotreatment BMPs may provide habitat value, plant growth may damage infrastructure elements in the facility such as fencing, curbs, etc. This hazard can be mitigated by incorporating root barriers or through regular maintenance.

The following sections provide principles that should govern the design, operation, and maintenance of biotreatment BMPs installed to meet permit requirements in Orange County.

## Biotreatment Selection to Address Pollutants of Concern

Biotreatment BMPs shall be selected that provide unit operations and processes (UOPs) that address the project pollutants of concern. The process of biotreatment BMP selection shall consist of the following steps described in TGD Section 2.4.

## Conceptual Biotreatment Design Requirements

Biotreatment design requirements shall be consistent with the following principles:

- Biotreatment BMPs shall be sized according to permit requirements described in the Section 2.4 of the Model WQMP.

- Biotreatment BMPs shall incorporate unit processes to address pollutants of concern. See TGD Section 2.4 for guidance.

- Biotreatment BMPs shall be designed to achieve the maximum feasible infiltration and ET by adhering to the criteria described in Appendix XI.

- Biotreatment BMPs shall be designed per the published design standards contained in the BMP Fact Sheets (Appendix XIV.5) and the design manuals referenced by these Fact Sheets.

- Biotreatment BMPs shall support a robust vegetative and microbial community appropriate to the local climate:

  - For bioretention systems, select vegetation that is drought tolerant and can also survive extended periods of saturated soils.

  - For constructed stormwater wetlands and wet detention basins (wet ponds), select native species that include significant rhizomes and provide habitat benefits.

  - For constructed stormwater wetlands and wet detention basins (wet ponds) provide appropriate mix of open water to vegetated area.  The appropriate mix depends on the primary target constituents.  For example, where nitrate is the dominant nutrient, the appropriate mix would include a higher proportion of vegetated area such as 80% vegetated, 20% open water.

  - For dry extended vegetated detention basins, vegetated swales, and filter strips, select a variety of plant species that are drought tolerant, but can also survive periodic inundation.

  - Provide an irrigation system, if necessary, for plant establishment and maintenance.

- Biotreatment BMPs shall incorporate amended media and soils designed for the intended function of the BMP.

  - Select amended media for use in bioretention systems that is effective at removing pollutants of concern, can absorb and evapotranspirate runoff, and where appropriate, can facilitate infiltration.

  - Select media and soils that will not potentially leach pollutants, specifically dissolved nutrients and metals in some cases.

  - Amend soils in dry extended detention basins, swales, and filter strips to provide suitable soils for supporting plants, which can absorb and evapotranspire runoff and where appropriate facilitate infiltration.

  - Design wet detention basins (wet ponds) and constructed stormwater wetlands using soils that support growth of attached plants.

- BMPs hydraulics shall be designed to maximize pollutant removal functions.

  - For all biotreatment BMPs, design inlets or overland flow entry to BMPs to prevent scour or re-entrainment of pollutants.

  - Provide maximum flow path distance between outlet and inlet and with sufficient length to width ratio to limit short circuiting.

  - For constructed stormwater wetlands and wet detention basins, provide the storage capacity for the DCV in the wet pool at a minimum.

  - Seasonal constructed stormwater wetlands and seasonal wet detention basins should not be used unless there is a reasonable expectation that tributary land uses will provide dry weather flows during seasonally wet period to maintain vegetation and prevent stagnant water.

  - For constructed stormwater wetlands and wet detention basins designed to be continually wet (opportunities may be limited in Orange County), ensure that a low-flow source of water is present to maintain vegetation and prevent stagnant conditions.

  - Design features shall allow for monitoring of drawdown such as depth markers and monitoring ports.

  - For bioretention systems, provide media contact time sufficient for pollutant removal, with upper limitations on contact time to avoid leaching of retained pollutants. Traditional media should generally be designed in the range of 2 to 12 inches per hour, while specialized media can be effective for many pollutants of concern at much higher flowrates (residence times on the order of several minutes).  For bioretention systems, design media mix and layer separation systems (i.e. between media and gravel layers) to reduce potential for clogging.

  - For bioretention systems that include infiltration as a component, design a gravel pool below the underdrains (where used; ensure that the soils below this area can infiltrate (i.e., do not compact, or if compacted, restore soil infiltration capacity)). The minimum depth of gravel pool should be determined based on the underlying infiltration based on the amount of water that will infiltrate in 48 hours (see Appendix XI.2)

  - For bioretention systems that will include infiltration as a component, the soil below the gravel pool must be able to allow infiltration.  The soil may not be compacted.  If the soil is compacted, the soil infiltration capacity must be restored.

  - Consider using hydraulic control on the outlet of bioretention systems whenever practical rather than using media with lower infiltration rates for hydraulic control.  This practice aids in avoiding clogging and can improve uniformity of performance over the life of the facility.

  - For bioretention systems, do not use geotextile fabrics between layers of media due to clogging issues; use progressively-graded aggregate layers to prevent migration of fines if necessary.

  - For bioretention systems limit ponding depths to 12 inches, unless system is isolated from public access via fencing or equivalent, then ponding depths should be limited to 18 inches.

  - Bioretention systems and dry extended detention basins shall be designed to limit surface ponding to less than 96 hours for vector control per California Department of Health Guidelines.  To provide a margin of safety, bioretention systems and extended detention basins should be designed to limit surface ponding to 72 hours.  Subsurface ponding (in stone or gravel trenches) can create a vector hazard if the media has pore spaces that vectors can breed in.

  - For biotreatment BMPs that employ extended detention, design outlet structures to ensure appropriate drawdown times and patterns and prevent floatables from leaving the facility; ensure that small storms receive appropriate extended detention times. A common rule of thumb is that the bottom half of the facility volume should draw down in two thirds of the total drawdown time.

  - Outlet structures should be located and designed so that they are accessible for inspection and maintenance.

  - For vegetated swales and filter strips, provide level spreaders and check dams where appropriate to promote even distribution of flow across the system.

  - Design systems such that flows above the BMP design intensity are provided a flow route that bypasses the BMP or can be passed through the BMP without entraining soils, media, or captured pollutants.

- Biotreatment BMPs shall be subject to rigorous construction oversight, acceptance, and documentation process.

  - Provide construction oversight by trained professionals to ensure that the BMP is installed as designed.

  - Consider conducting a flow test for bioretention systems to ensure they function at the design level.

  - Require the preparation of as-built drawings that clearly indicated design features of the BMP and inlet and outlet systems.

  - Inspect BMPs after initial commissioning to ensure that they are functioning as intended.  More frequent inspection during initial operation periods (i.e., first rainy season) can help to mitigate early problems and ensure design level performance.

## Conceptual Biotreatment Operation Requirements

An operation and maintenance plan shall be developed for biotreatment BMPs that includes the following elements:

- Frequency and type of inspections,

- Observations during wet weather to visually observe whether the BMP is functioning as intended,

- List of parameters/checklists for identifying maintenance needs and triggering maintenance activities,

- Vegetation management plan, including routine maintenance, and irrigation, if necessary,

- Sediment, trash and debris removal, and

- Routine and major (infrequent) maintenance activities.

Reclaimed water considerations for operation of biotreatment BMPs:

If the project utilizes reclaimed water for irrigation, the project is required to comply with all waste discharge requirements and water provider use requirements applicable to the project.  It is the responsibility of the project owner to ensure that operation of the project complies with these requirements. It is the responsibility of the water provider to ensure that requirements associated with the use of reclaimed water result in BMP operations that are protective of receiving water quality.

## Conceptual Biotreatment Maintenance Requirements

Biotreatment maintenance requirements contained in the Project O&M Plan shall be consistent with the following principles:

- Routine maintenance shall be provided to ensure consistently high performance and extend facility life.

  - Maintain vegetation and media to perpetuate a robust vegetative and microbial community (thin/trim vegetation, replace spent media and mulch).

  - Periodically remove dead vegetative biomass to prevent export of nutrients or clogging of the system.

  - Remove accumulated sediment before it significantly interferes with system function.

  - Where filtration/infiltration is employed, conduct maintenance to prevent surface clogging (surface scarring, raking, mulch replacement, etc.).

  - Add energy dissipation and scour-protection as required based on facility inspection.

  - Routinely remove accumulated sediment at the inlet and outlet and trash and debris from the entire BMP.

- Major maintenance shall be provided when the performance of the facility declines significantly and cannot be restored through routine maintenance.

  - Replace media / planting soils as triggered by reduction in filtration/infiltration rates or decline in health of biological processes.

  - Provide major sediment removal to restore volumetric capacity of basin-type BMPs.

  - Repair or modify inlets/outlets to restore original function or enhance function based on observations of performance.

Detailed descriptions of BMP maintenance activities are provided in:

- Los Angeles County Stormwater BMP Operations and Maintenance Manual, Chapter 5: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

# THRESHOLD INCREMENTAL BENEFIT CRITERION

## Intended Application

The purpose of this Criterion is to help ensure that the most effective retention and biotreatment BMPs are selected for use.  The Permits require that a design volume be included for retaining stormwater on site (if feasible).  As the permit makes no mention of recovering this storage to be able to manage subsequent runoff events, it is possible that one could select a LID retain on site BMP that would be relatively ineffective due to low drawdown rates (for example, insufficient demand for irrigation use of harvested water) and resulting excessive overflows or bypasses of LID systems.  This criterion is intended to ensure that harvest and use systems would result in equal or better performance than a biotreatment system which has been designed to maximize infiltration and evapotranspiration as required by this Model WQMP and TGD.  This criterion in no way restricts one from including LID features that do not meet this criteria, but in that case the project proponent would need to include additional LID features to meet the overall requirement to retain on site, and if infeasible, biotreat on-site, 80 percent of average annual stormwater runoff volume.

The following criterion is intended to be applied as part of determining the maximum feasible retention volume as part of the BMP selection and design process:

If a hypothetical BMP is designed to achieve the maximum feasible retention per the criteria contained Appendix XI.3, and, meeting these criteria, the BMP would achieve less than 40 percent capture of average annual runoff, then it is not mandatory to use the given BMP in order to demonstrate that the system has been designed to achieve the maximum feasible retention of the DCV.

This criterion does not suspend the requirements to (1) consider all applicable HSCs that are designed to provide retention, (2) conduct a rigorous feasibility analysis of all other retention BMPs before moving to biotreatment, and (3) to design biotreatment BMPs, if used, to achieve the maximum feasible infiltration and ET. As a result, the application of this criterion does not result in an “all or nothing” scenario for retention; rather it is intended to provide an objective basis for identifying BMPs for which costs (due to resulting multiple BMPs being required would) greatly outweigh pollution control benefits. In this case, the criterion allows the project to distribute the DCV to more cost-effective BMPs and still achieve retention with HSCs and biotreatment BMPs.

Based on the analysis described in Appendix III.6, a BMP designed for the full DCV will exceed 40 percent capture (and therefore be a mandatory consideration) if the storage can be recovered in 720 hours (30 days) or faster. Therefore this criterion would only apply in extremely limited cases where the DCV cannot be drained in less than 30 days.  Generally, it will only apply to harvest and use systems where demand is extremely limited to manage the DCV.

This criterion does not apply to HSC (e.g., downspout disconnection, rain barrels), which are relatively inexpensive compared to engineered harvest and use systems and are commonly designed with the intent of providing relatively small incremental benefit to contribute to an overall effective system. HSCs must be considered wherever there are opportunities for their use.

## Regulatory Basis

The Santa Ana Regional Water Quality Control Board MS4 Permit (Order R8-2009-0030) (“North County Permit”) and the San Diego Regional Water Quality Control Board MS4 Permit (Order R9-2009-0002) (“South County Permit) have been adopted with specific requirements for new development and significant redevelopment stormwater control. Both permits are based on the MEP standard included in the 1987 amendments of the Clean Water Act.

The permits require “retention” (meaning no surface or piped discharges) of stormwater on site as the first alternative, LID BMPs, and allow biotreatment BMPs to be considered only after infiltration, harvest and use, and ET cannot be feasibly implemented to address the entire DCV. The South County Permit requires a “technical feasibility analysis including cost benefit analysis” (F.1.d(7)(b)). The North County Permit, by way of its description of the MEP standard (see Footnote 19), requires the consideration of multiple interrelated factors in assessing feasibility. The North Orange County Permit also allows waivers of BMP requirements to be granted “...if the cost of BMP implementation greatly outweighs the pollution control benefits...” (XII.E.1). Therefore, there is sound regulatory basis for the consideration of cost-effectiveness, societal factors, and effects on other media, in addition to physical/technical factors, in the evaluation of feasibility of retention on-site.

For example, it would nearly always be physically feasible to install a tank to store the DCV for a project for subsequent use of captured water.  However, unless sufficient demand for the captured water exists to empty the tank relatively quickly between storm events, the tank would be relatively ineffective for stormwater management.  If the tank was on-line, then it would in effect behave primarily as a wet-vault, whose performance is typically much less than biotreatment.  If it was off-line (tank is bypassed when full), then there would be significant untreated flows.

While a system with a low demand would technically fulfill the volumetric LID performance criteria contained in the permits (South County Permit at F.1.d(4)(d)(i), and North County Permit at XII.C.2), this system would be inconsistent with the intent of the permits, and would not meet the MEP requirement and therefore should not be encouraged or mandated.  The cost and potential effects on other media associated with such a system would greatly outweigh the pollution control benefits it provides.  The direct costs and other environmental and societal effects associated with such a system would include:

- Cost to provide the tank and distribution system,

- Cost to provide and additional BMP(s) to retain or biotreat the overflow from the tank up to 80 percent capture,

- Energy and resources used to manufacture of plastic, metal, or concrete tanks,

- Energy and resources used manufacture of pumps, treatment systems, and piping,

- Energy and air quality impacts associated with shipping and installing the system

- Energy and air quality impacts associated with transportation for specialized maintenance activities

- Disposal of system elements at the end of usable life.

This analysis seeks to identify a minimum level of performance of retention BMPs at which the ‘alternative scenario’ (i.e., biotreatment), after all retention options have been exhausted, would achieve approximately equivalent volume reduction and a higher level of treatment.  This analysis assumes that the designer is faced with a mutually exclusive choice between using an infiltration, evapotranspiration, or harvest and use retention BMP versus using a biotreatment BMP or, in the case of a tandem system (e.g., a green roof is the principal retention BMP, with the balance of the drainage area’s DCV, or more, treated in a biotreatment system), a combination of both classes of BMPs.

## Comparison to Anticipated Performance of Alternative Scenario

The numeric threshold should reflect conditions where the cost of BMP implementation greatly outweighs the pollution control benefits and where the “alternative scenario” allowed by the criterion provides similar effectiveness and much lower cost. For both infiltration BMPs and harvest and use BMPs, this can be referenced to the volume reduction and treatment performance that would be achieved by biotreatment BMPs designed for the maximum feasible partial retention (i.e., the alternative scenario).

In the case that infiltration and harvest and use are not feasible, the alternative scenario is biotreatment BMPs designed for the maximum partial retention. Biotreatment BMPs must be designed to achieve the maximum feasible retention and ET of stormwater per the specific criteria contained in Appendix XI, and must be designed to biotreat runoff as feasible up to 80 percent average annual capture efficiency.

When designed to these criteria, biotreatment BMPs are expected to achieve retention of a substantial volume of stormwater. A recent analysis of the monitored inflow and outflow data contained in the International Stormwater BMP Database showed average long term volume reductions on the order of 40 percent for biofilters, 30 percent for extended detention basins, and 60 percent for bioretention areas.  These values represent the average of observed total volume reductions through infiltration and transpiration during entire monitoring studies. Total volume reductions during a study were calculated based on comparison of the total inflow volume and outflow volumes measured over the duration of each study (including multiple – up to 65 - storm events). As these analyses utilized long-term observed volume reductions over a series of storm events, they provide a valid comparison to the capture efficiency and volume reduction criteria contained in this TGD that were developed upon long-term hydrologic simulations and summaries.

Table XIII.1: Volume Reduction Summary of Biotreatment BMP Categories in the International Stormwater BMP Database

Source: International Stormwater Best Management Practices (BMP) Database, Technical Summary: Volume Reduction.  January 2011. http://www.bmpdatabase.org/Docs/Volume%20Reduction%20Technical%20Summary%20Jan%202011.pdf

These values provide a benchmark for comparing the performance of LID BMPs (infiltration, harvest and use, and evapotranspiration) against the performance of LID biotreatment BMPs, which under some circumstances, may provide a similar level of retention plus offer other pollutant treatment mechanisms.  This analysis shows that while LID biotreatment BMPs are not designed to fully retain the DCV, they are capable of providing substantial volume reductions, on the order of half of the water that is captured and managed. This analysis further shows that a well designed LID biotreatment BMP that has been designed to capture 80 percent of average annual storm water runoff and has been designed to achieve maximum feasible volume reduction would be expected to achieve total long term volume reduction on the order of 40 percent of long term runoff volume.  This means that a designer, faced with a LID retention BMP with a performance of 40 percent or less could substitute the LID retention BMP with a LID biotreatment BMP that is capable of carrying 100 percent of the DCV without impairing the overall performance of the site’s system of BMPs.  This is because roughly 40 percent of the DCV will be incidentally infiltrated or evapotranspirated by the LID biotreatment BMP – roughly equal or better than the low-performing LID retention BMP.  Therefore, it is appropriate to designate 40 percent retention as a threshold for eliminating the mandatory selection and use of a specific LID retention measure in favor of using LID bioretention BMPs that achieve a comparable or greater level of retention for the system as a whole.  This threshold must not be used to reduce the site’s overall level of retention.

# BMP FACT SHEETS

This appendix contains BMP fact sheets for the following BMP categories:

Hydrologic Source Control Fact Sheets (HSC)

HSC-1: Localized On-Lot Infiltration

HSC-2: Impervious Area Dispersion

HSC-3: Street Trees

HSC-4: Residential Rain Barrels

HSC-5: Green Roof / Brown Roof

HSC-6: Blue Roof

Infiltration BMP Fact Sheets (INF)

INF-1: Infiltration Basin Fact Sheet

INF-2: Infiltration Trench Fact Sheet

INF-3: Bioretention with no Underdrain

INF-4: Bioinfiltration Fact Sheet

INF-5: Drywell

INF-6: Permeable Pavement (concrete, asphalt, and pavers)

INF-7: Underground Infiltration

Harvest and Use BMP Fact Sheets (HU)

HU-1: Above-Ground Cisterns

HU-2: Underground Detention

Biotreatment BMP Fact Sheets (BIO)

BIO-1: Bioretention with Underdrains

BIO-2: Vegetated Swale

BIO-3: Vegetated Filter Strip

BIO-4: Wet Detention Basin

BIO-5: Constructed Wetland

BIO-6: Dry Extended Detention Basin

BIO-7: Proprietary Biotreatment

Treatment Control BMP Fact Sheets (TRT)

TRT-1: Sand Filters

TRT-2: Cartridge Media Filter

Pretreatment/Gross Solids Removal BMP Fact Sheets (PRE)

PRE-1: Hydrodynamic Separation Device

PRE-2: Catch Basin Insert Fact Sheet

Note: ET plays an important role in the performance of HSC, INF, HU, and BIO BMPs. However, specific fact sheets for ET are not included. Criteria for designing BMPs to achieve the maximum feasible infiltration and ET are contained in Appendix XI.

The BMP designs described in these fact sheets and in the referenced design manuals shall constitute what are intended as LID and Treatment Control BMPs for the purpose of meeting stormwater management requirements.  Other BMP types and variations on these designs may be approved at the discretion of the reviewing agency if documentation is provided demonstrating similar functions and equivalent or better expected performance.

## Hydrologic Source Control Fact Sheets (HSC)

On-lot rain garden

Source: lowimpactdevelopment.org

Also known as:

- Downspout infiltration

- Retention grading

- French drains

- On-lot rain gardens

HSC-1: Localized On-Lot Infiltration

‘Localized on-lot infiltration’ refers to the practice of collecting on-site runoff from small distributed areas within a catchment and  diverting it to a dedicated on-site infiltration area.  This technique can include disconnecting downspouts and draining sidewalks and patios into french drains, trenches, small rain gardens, or other surface depressions.  For downspout disconnections and other impervious area disconnection involving dispersion over pervious surfaces, but without intentional ponding, see HSC-2: Impervious Area Dispersion.

# Feasibility Screening Considerations

- ‘Localized on-lot infiltration’ shall meet infiltration infeasibility screening criteria to be considered for use.

# Opportunity Criteria

- Runoff can be directed to and temporarily pond in pervious area depressions, rock trenches, or similar.

- Soils are adequate for infiltration or can be amended to provide an adequate infiltration rate.

- Shallow utilities are not present below infiltration areas.

# OC-Specific Design Criteria and Considerations

|  | A single on-lot infiltration area should not be sized to retain runoff from impervious areas greater than 4,000 sq. ft.; if the drainage area exceeds this criteria, sizing should be based on calculations for bioretention areas or infiltration trenches. |
| --- | --- |
|  | Soils should be sufficiently permeable to eliminate ponded water within 24 hours following a 85th percentile, 24-hour storm event. |
|  | Maximum ponding depth should be should be less than 3 inches and trench depth should be less than 1.5 feet. |
|  | - Infiltration should not be used when the depth to the mounded seasonally high table is within 5 feet of the bottom of infiltrating surface. |
|  | Infiltration via depression storage, french drains, or rain gardens should be located greater than 8 feet from building foundations. |
|  | Site slope should be less than 10%. |
|  | Infiltration unit should not be located within 50 feet of slopes greater than 15 percent. |
|  | Side slopes of rain garden or depression storage should not exceed 3H:1V. |
|  | Effective energy dissipation and uniform flow spreading methods should be employed to prevent erosion resulting fromwater entering infiltration areas. |
|  | Overflow should be located such that it does not cause erosion orand is conveyed away from structures toward the downstream conveyance and treatment system. . |

# Calculating HSC Retention Volume

- The retention volume provided by localized on-lot infiltration can be computed as the storage volume provided by surface ponding and the pore space within an amended soil layer or gravel trench.

- Estimate the average retention volume per 1000 square feet impervious tributary area provided by on-lot infiltration.

- Look up the storm retention depth, dHSC from the chart to the right.

- The max dHSC is equal to the design capture storm depth for the project site.

Configuration for Use in a Treatment Train

- Localized on-lot infiltration would typically serve as the first in a treatment train and should only be used where tributary areas do not generate significant sediment that would require pretreatment to mitigate clogging.

- The use of impervious area disconnection reduces the sizing requirement for downstream LID and/or conventional treatment control BMPs.

# Additional References for Design Guidance

- LID Center – Rain Garden Design Template. http://www.lowimpactdevelopment.org/raingarden_design/

- University of Wisconsin Extension. Rain Gardens: A How-To Manual for Homeowners. http://learningstore.uwex.edu/assets/pdfs/GWQ037.pdf

### HSC-2: Impervious Area Dispersion

Simple Downspout Dispersion Source: toronto.ca/environment/water.htm

Also known as:

- Downspout disconnection

- Impervious area disconnection

- Sheet flow dispersion

Impervious area dispersion refers to the practice of routing runoff from impervious areas, such as rooftops, walkways, and patios onto the surface of adjacent pervious areas.  Runoff is dispersed uniformly via splash block or dispersion trench and soaks into the ground as it move slowly across the surface of pervious areas.  Minor ponding may occur, but it is not the intent of this practice to actively promote localized on-lot storage (See HSC-1: Localized On-Lot Infiltration).

# Feasibility Screening Considerations

- Impervious area dispersion can be used where infiltration would otherwise be infeasible, however dispersion depth over landscaped areas should be limited by site-specific conditions to prevent standing water or geotechnical issues.

# Opportunity Criteria

- Rooftops and other low traffic impervious surface present in drainage area.

- Soils are adequate for infiltration.  If not, soils can be amended to improve capacity to absorb dispersed water (see MISC-2: Amended Soils).

- Significant pervious area present in drainage area with shallow slope

- Overflow from pervious area can be safely managed.

# OC-Specific Design Criteria and Considerations

|  | Soils should be preserved from their natural condition or restored via soil amendments to meet minimum criteria described in Section . |
| --- | --- |
|  | A minimum of 1 part pervious area capable of receiving flow should be provided for every 2 parts of impervious area disconnected. |
|  | - The pervious area receiving flow should have a slope ≤ 2 percent and path lengths of ≥ 20 feet per 1000 sf of impervious area. |
|  | Dispersion areas should be maintained to remove trash and debris, loose vegetation, and protect any areas of bare soil from erosion. |
|  | Velocity of dispersed flow should not be greater than 0.5 ft per second to avoid scour. |

Calculating HSC Retention Volume

- The retention volume provided by downspout dispersion is a function of the ratio of impervious to pervious area and the condition of soils in the pervious area.

- Determine flow patterns in pervious area and estimate footprint of pervious area receiving dispersed flow.  Calculate the ratio of pervious to impervious area.

- Check soil conditions using the soil condition design criteria below; amend if necessary.

- Look up the storm retention depth, dHSC from the chart below.

- The max dHSC is equal to the design storm depth for the project site.

# Soil Condition Design Criteria

Maximum slope of 2 percent

Well-established lawn or landscaping

Minimum soil amendments per criteria in MISC-2: Amended Soils.

# Configuration for Use in a Treatment Train

- 1 Pervious area used in calculation should only include the pervious area receiving flow, not pervious area receiving only direct rainfall or upslope pervious drainage.

Impervious area disconnection is an HSC that may be used as the first element in any treatment train

- The use of impervious area disconnection reduces the sizing requirement for downstream LID and/or treatment control BMPs

# Additional References for Design Guidance

- SMC LID Manual (pp 131) http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- City of Portland Bureau of Environmental Services. 2010. How to manage stormwater – Disconnect Downspouts. http://www.portlandonline.com/bes/index.cfm?c=43081&a=177702

- Seattle Public Utility: http://www.cityofseattle.org/util/stellent/groups/public/@spu/@usm/documents/webcontent/spu01_006395.pdf

- Thurston County, Washington State (pp 10):  http://www.co.thurston.wa.us/stormwater/manual/docs-faqs/DG-5-Roof-Runoff-Control_Rev11Jan24.pdf

Also known as:

- Canopy interception

HSC-3: Street Trees

Street trees

Source: Geosyntec Consultants

By intercepting rainfall, trees can provide several aesthetic and stormwater benefits including peak flow control, increased infiltration and ET, and runoff temperature reduction.  The volume of precipitation intercepted by the canopy reduces the treatment volume required for downstream treatment BMPs.  Shading reduces the heat island effect as well as the temperature of adjacent impervious surfaces, over which stormwater flows, and thus reduces the heat transferred to downstream receiving waters.  Tree roots also strengthen the soil structure and provide infiltrative pathways, simultaneously reducing erosion potential and enhancing infiltration.

# Feasibility Screening Considerations

- Not applicable

# Opportunity Criteria

- Street trees can be incorporated in green streets designs along sidewalks, streets, parking lots, or driveways.

- Street trees can be used in combination with bioretention systems along medians or in traffic calming bays.

- There must be sufficient space available to accommodate both the tree canopy and root system.

# OC-Specific Design Criteria and Considerations

|  | Mature tree canopy, height, and root system should not interfere with subsurface utilities, suspended powerlines, buildings and foundations, or other existing or planned structures. Required setbacks should be adhered to. |
| --- | --- |
|  | Depending on space constarints, a 20 to 30 foot diameter canopy (at maturity) is recommended for stormwater mitigation. |
|  | Native, drought-tolerant species should be selected in order to minimize irrigation requirements and improve the long-term viability of trees. |
|  | Trees should not impede pedstrian or vehicle sight lines. |
|  | Planting locations should receive adequate sunlight and wind protection; other environmental factors should be considered prior to planting. |
|  | Frequency and degree of vegetation management and maintenance should be considered with respect to owner capabilities (e.g., staffing, funding, etc.). |
|  | Soils should be preserved in their natural condition (if appropriate for planting) or restored via soil amendments to meet minimum criteria described in MISC-2: Amended Soils. If necessary, a landscape architect or plant biologist should be consulted. |
|  | A street tree selection guide, such as that specific to the City of Los Angeles, may need to be consulted to select species appropriate for the site design constraints (e.g., parkway size, tree height, canopy spread, etc.) |
|  | Infiltration should not cause geotechnical hazards related to adjacent structures (buildings, roadways, sidewalks, utilities, etc.) |

Calculating HSC Retention Volume

- The retention volume provided by streets trees via canopy interception is dependent on the tree species, time of the year, and maturity.

- To compute the retention depth, the expected impervious area covered by the full tree canopy after 4 years of growth must be computed (IAHSC). The maximum retention depth credit for canopy interception (dHSC) is 0.05 inches over the area covered by the canopy at 4 years of growth.

# Configuration for Use in a Treatment Train

- As a HSC, street trees would serve as the first step in a treatment train by reducing the treatment volume and flow rate of a downstream treatment BMP.

# Additional References for Design Guidance

- California Stormwater BMP Handbook. http://www.cabmphandbooks.com/Documents/Development/Section_3.pdf

- City of Los Angeles, Street Tree Division - Street Tree Selection Guide. http://bss.lacity.org/UrbanForestryDivision/StreetTreeSelectionGuide.htm

- Portland Stormwater Management Manual. http://www.portlandonline.com/bes/index.cfm?c=35122&a=55791

- San Diego County – Low Impact Development Fact Sheets. http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

### HSC-4: Residential Rain Barrels

Rain Barrel

Source: http://www.auburn.edu/projects/sustainability/website/newsletter/0910.php

Also known as:

- Small cistern

Rain barrels are above ground storage vessels that capture runoff from roof downspouts during rain events and detain that runoff for later reuse for irrigating landscaped areas. The temporary storage of roof runoff reduces the runoff volume from a property and may reduce the peak runoff velocity for small, frequently occurring storms. In addition, by reducing the amount of storm water runoff that flows overland into a storm water conveyance system (storm drain inlets and drain pipes), less pollutants are transported through the conveyance system into local creeks and ocean. The reuse of the detained water for irrigation purposes leads to the conservation of potable water and the recharge of groundwater.

# Feasibility Screening Considerations

- Rain barrels not actively managed that overflow to infiltration areas shall be screened as Infiltration BMPs for feasibility screening.

# Opportunity Criteria

- Rooftops with downspouts or other suitable conveyances (e.g. rain chains) present in the drainage area.

- If detained water will be used for irrigation, sufficient vegetated areas and other impervious surfaces must be present in drainage area.

- Storage capacity and sufficient area for overflow dispersion must be accounted for.

# OC-Specific Design Criteria and Considerations

|  | Screens on gutters and downspouts should be used to remove sediment and particles as the water enters the barrel or cistern. Removable child-resistant covers and mosquito screening should be used to prevent unwanted access. |
| --- | --- |
|  | Above-ground barrels should be secured in place. |
|  | Above-ground barrels should not be located on uneven or sloped surfaces; if installed on a sloped surface, the base where the cistern will be installed should be leveled prior to installation. |
|  | Overflow dispersion should occur greater than 8 feet from building foundations. |
|  | Dispersion should not cause geotechnical hazards related to slope stability. |
|  | Dispersion should be only allowed to stable vegetated areas where erosion or suspension of sediment is minimized. |
|  | Effective energy dissipation and uniform flow spreading methods should be employed to prevent erosion and facilitate dispersion. |
|  | Aesthetics should be considered for placement of barrels and incorporation into surroundings. Placement should allow easy access for regular maintenance. |
|  | To draw down a 55 gallon rain barrel within 2 days with plant watering, at least 1,600 square feet of conservation landscape or 800 square feet of active turf area is needed. |

# Calculating HSC Retention Volume

- At least 1,600 sq-ft of conservation landscape or 800 sq-ft of active turf landscape shall be provided for each rain barrel to claim an HSC credit volume

- The effective volume provided by rain barrels that are not actively managed can be computed as 50% of the total storage volume (e.g., 27.5 gallons for each 55 gallon barrel.

- If the rain barrel is actively managed then it should be treated as a cistern as described in Appendix XIV.4.

- Estimate the average retention volume per 1000 square feet impervious tributary area provided by rain barrels.  Example:

  - 500 square feet of roof draining to a 55 gallon rain barrel

  - Retention volume = (55/2) = 27.5 gallons

  - Retention volume per 1000 sq feet = 27.5 gallons/ 0.5 = 55 gallons per 1000 sq-ft

  - Based on the retention storage estimated, look up the storm retention depth, dHSC from the chart to the right = 0.07 inches

  - The max dHSC is equal to the design storm depth for the project site.

# Configuration for Use in a Treatment Train

- Rain barrels can be combined into a treatment train to provide enhanced water quality treatment and reductions in the runoff volume and rate.  For example, if a green roof is placed upgradient of a rain barrel, the rate and volume of water flowing to the barrel can be reduced and the water quality enhanced.

- Rain barrels can be incorporated into the landscape design of a site and can be aesthetically pleasing as well as functional for irrigation purposes.

# Additional References for Design Guidance

- Santa Barbara BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- County of Los Angeles Low Impact Development Standards Manual: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

- SMC LID Manual (pp 114): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 26):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

Also known as:

- Ecoroofs

- Roof Gardens

- Vegetated Roof Covers

- Brown Roofs

HSC-5: Green Roof / Brown Roof

Green Roof

Source: Milwaukee Department of Environmental Sustainability

Green roofs are also known as ecoroofs, roof gardens, or vegetated roof covers.  Green roofs are roofing systems that layer a soil/vegetative cover over a waterproofing membrane. There are two types of green roofing systems; extensive, which is a light weight system and intensive, which is a heavier system that allows for larger plants but requires additional maintenance.  A green roof mimics pre-development conditions by limiting the impervious area created by development.  Green roofs filter, absorb, and evapotranspire precipitation to help mitigate the effects of urbanization on water quality and delivery of excess runoff to the local storm water conveyance systems.

Brown roofs are essentially a type of green roof designed to maximize biodiversity.  Brown roofs typically utilize natural soil and locally available substrates to create a protected biodiverse habitat for specific species of local flora and fauna.  Rather than landscaping the roof during construction, plants are left to germinate and grow on their own in the native soils, thus the “brown” (i.e., initially unvegetated) designation.  Hand-seeding may be implemented where self-colonization via airborne seeds is unlikley.

# Feasibility Screening Considerations

- Green roofs should be selected with consideration for their impacts on irrigation during the dry season and during dry periods of the wet season.

# Opportunity Criteria

- Green roofs can be applied to multi-family residential, commercial, or institutional land uses including rooftops and decks above building structures (e.g., parking structures, outdoor eating area roofs, or storage facilities.

- Roofs are ideally multi-story with significant structural over-design to support the additional weight of the soil, retained water, and plants, as confirmed by a licensed structural engineer.

- Roofs are ideally relatively flat.

# OC-Specific Design Criteria and Considerations

|  | Saturated soil will weigh approximately 10 – 25 lbs/square foot. If the building and roof are not designed to hold this weight (such as in a retrofit situation), a licensed structural engineer should be consulted. |
| --- | --- |
|  | Soil depth should be consistent with minimum depths provided in Appendix IX. |
|  | A drain pipe (gutter) is required to convey runoff safely from the roof. |
|  | Depending on the design of the roof, a drainage layer may be required to move the excess runoff off of the roof. |
|  | A waterproof membrane, preventing the roof runoff from penetrating and damaging the roofing material, should be used. There are many materials available for this purpose; they come in various forms (i.e., rolls, sheets, liquid) and exhibit different characteristics (e.g., flexibility, strength, etc.). Depending on the type of membrane chosen a root barrier may be required to prevent roots from compromising the integrity of the membrane. |
|  | Green roofs should be about 90% vegetated with a mix of erosion resistant plant species that effectively bind the soil and can withstand the extreme environment of rooftops (i.e., heat, cold, and high winds). |
|  | A diverse selection of low growing plants that thrive under the specific site, climatic, and watering conditions should be specified. A mixture of drought tolerant, self-sustaining (perennial or self-sowing without need for fertilizers, herbicides, and or pesticides) is most effective. Native or adapted sedum/succulent plants are preferred because they generally require less fertilizer, limited maintenance, and are more drought resistant than exotic plants. When appropriate, green roofs may be planted with larger plants; however, this depends on structural support, soil depth, and irrigation requirements. |
|  | Irrigation is required if the seed is planted in spring or summer. Use of a permanent smart (self-regulating) irrigation system, or other watering system, may help provide maximal water quality performance. Drought-tolerant plants should be specified to minimize irrigation requirements. For projects seeking “High Performance Building” recognition, ASHRAE Standard 189.1 states that potable water cannot be used for irrigating green roofs after they are established. |
|  | Locate the green roof in an area without excessive shade to avoid poor vegetative growth. For moderately shaded areas, shade tolerant plants should be used. |
|  | Project-specific planting recommendations should be provided by a landscape professional including recommendations on appropriate plants, fertilizer, mulching applications, and irrigation requirements (if any) to ensure healthy vegetation growth. |

# Sizing

Appendix IX provides minimum criteria for green roofs to be considered self-retaining and shall be the governing sizing basis for green roofs.

# Configuration for Use in a Treatment Train

- If implemented in a treatment train, green roofs are typically at the most upstream end.  A green roof placed upgradient of a cistern can improve the quality and reduce the rate and volume of water flowing to the cistern.  Alternatively, a planter box could be placed downstream of a downspout that drains the green roof.

# Additional References for Design Guidance

- Los Angeles Unified School District Stormwater Technical Manual, 2009. http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- City of Santa Barbara, Technical Guidance Manual for Post-Construction Storm Water Management, 2008. http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- Portland Stormwater Management Manual. http://www.portlandonline.com/bes/index.cfm?c=35122&a=55791

- San Diego County – Low Impact Development Fact Sheets. http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- Brown Roofs. http://www.brownroofs.co.uk/brown-roof-maintenance.php

Also known as:

- Rooftop Detention Systems

HSC-6: Blue Roof

Blue Roof

Source: New York Department of Environmental Protection

Blue roofs, also known as rooftop detention systems, serve as a rooftop storage designed to reduce runoff peaks and volumes. Captured stormwater, up to the design depth, is held on the rooftop until the water either evaporates or is slowly metered out via flow restriction valves.  With sufficent waterproofing blue roofs can be implemented on exisiting structures, given that the roof and building are of sufficient structural integrity to support the weight for the ponded water.  As blue roofs lack vegetation, they require significantly less maintenance than green or brown roofs.  Note: Blue roofs should not be designed to hold standing water longer than 96 hours in order to mitigate vector hazards.

# Feasibility Screening Considerations

- Potential feasibility concerns for blue roofs relate to standing water (vectors) and structural requirements, however these constaints can generally be overcome with careful design.

# Opportunity Criteria

- Blue roofs can be applied to multi-family residential, commercial, or institutional land uses including rooftops and decks above building structures (e.g., parking structures, outdoor eating area roofs, or storage facilities).

- Building structure must be adequate to support the additional weight of the retained water.

- Roof slope must be flat.

# OC-Specific Design Criteria and Considerations

|  | A licensed structural engineer should be consulted regarding the weight bearing capacity of the structure prior to design. Retrofit may be required. |
| --- | --- |
|  | Blue roof discharges must be treated by an acceptable biotreatment BMP. |
|  | A drain pipe (gutter) is required to convey runoff safely from the roof. |
|  | A waterproof membrane, preventing the retained water from penetrating and damaging the roofing material, should be used. There are many materials available for this purpose; they come in various forms (i.e., rolls, sheets, liquid) and exhibit different characteristics (e.g., flexibility, strength, etc.). |
|  | Unless covered, the maximum detention time should comply with all local, state, and federal regulations. Maximum hold time is typically 72-hours to prevent the breeding of mosquitoes. |
|  | Over time rooftop vegetation may sprout by means of windblown sediment and seeds, especially in a dusty, windy environment. Roof drains should be inspected for clogging, as this may adversely affect downstream BMPs. |

# Sizing

- Blue roofs will not generally be able to achieve full retention of the DCV and are most applicable as HSCs as the first part of a treatment train.  In this role, the retention depth of the blue roof would be removed from the remaining sizing criteria for downstream BMPs.

# Configuration for Use in a Treatment Train

- A blue roof would serve as the first unit within a treatment train, with captured flows metered to a planter box, rain garden, infiltration gallery, or, if the site is not conducive for infiltration, potentially to a cistern or underground detention area for on-site rainwater use.

# Additional References for Design Guidance

- City of New York – Sustainable Stormwater Management Plan, 2008.  http://www.nyc.gov/html/planyc2030/downloads/pdf/sustainable_stormwater_plan.pdf

- Enviornmental Protection – Blue Roofs the Stormwater-Sustainability Link. http://eponline.com/blogs/planetshed/2010/04/blue-roofs-the-stormwatersustainability-link.aspx

## Miscellaneous BMP Design Element Fact Sheets (MISC)

Also known as:

- Bioretention soil media (BSM)

Street-end biofiltration with planting/storage media

Source: City of Portland

MISC-1: Planting/Storage Media

Planting and storage media is a critical design element for several common BMP types, including bioretention, bioinfiltration, swales, filter strips, and greenroofs. This fact sheet is intended to be used as referenced from these fact sheets.

General Design Criteria

Planting/storage media should be designed to achieve the long term hydraulic design requirements associated with the design of the facility (i.e., design Ksat).

The planting media shall be designed to address pollutants of concern at the design hydraulic capacity.

Bioretention soil shall also support vigorous plant growth.

Planting media should consist of 60 to 80% fine sand and 20 to 40% compost.

Planting media for projects draining to nutrient sensitive receiving water should adhere to recommendations for nutrient sensitive planting media provided below.

Sand

Sand should be free of wood, waste, coating such as clay, stone dust, carbonate, etc., or any other deleterious material.  All aggregate passing the No. 200 sieve size should be non-plastic. Sand for bioretention should be analyzed by an accredited lab using #200, #100, #40, #30, #16, #8, #4, and 3/8 sieves (ASTM D 422 or as approved by the local permitting authority) and meet the following gradation (Note: all sands complying with ASTM C33 for fine aggregate comply with the gradation requirements below):

| Sieve Size (ASTM D422) | % Passing (by weight) |  |
| --- | --- | --- |
|  | Minimum | Maximum |
| 3/8 inch | 100 | 100 |
| #4 | 90 | 100 |
| #8 | 70 | 100 |
| #16 | 40 | 95 |
| #30 | 15 | 70 |
| #40 | 5 | 55 |
| #100 | 0 | 15 |
| #200 | 0 | 5 |

Note: the gradation of the sand component of the media is believed to be a major factor in the hydraulic conductivity of the media mix.  If the desired hydraulic conductivity of the media cannot be achieved within the specified proportions of sand and compost (#2), then it may be necessary to utilize sand at the coarser end of the range specified in the table above (“minimum” column).

Compost

- Compost should be a well decomposed, stable, weed free organic matter source derived from waste materials including yard debris, wood wastes, or other organic materials not including manure or biosolids meeting standards developed by the US Composting Council (USCC).  The product shall be certified through the USCC Seal of Testing Assurance (STA) Program (a compost testing and information disclosure program).  Compost quality should be verified via a lab analysis to be:

Feedstock materials shall be specified and include one or more of the following: landscape/yard trimmings, grass clippings, food scraps, and agricultural crop residues.

Organic matter: 35-75% dry weight basis.

Carbon and Nitrogen Ratio: 15:1 < C:N < 25:1

Maturity/Stability: shall have dark brown color and a soil-like odor. Compost exhibiting a sour or putrid smell, containing recognizable grass or leaves, or is hot (120 F) upon delivery or rewetting is not acceptable.

Toxicity: any one of the following measures is sufficient to indicate non-toxicity:

  - NH4:NH3 < 3

  - Ammonium < 500 ppm, dry weight basis

  - Seed Germination > 80% of control

  - Plant trials > 80% of control

Solvita® > 5 index value

Nutrient content:

  - Total Nitrogen content 0.9% or above preferred

  - Total Boron should be <80 ppm, soluble boron < 2.5 ppm

Salinity: < 6.0 mmhos/cm

pH between 6.5 and 8 (may vary with plant palette)

Compost for bioretention should be analyzed by an accredited lab using #200, ¼ inch, ½ inch, and 1 inch sieves (ASTM D 422 or as approved by the local permitting authority) and meet the following gradation:

| Sieve Size (ASTM D422) | % Passing (by weight) |  |
| --- | --- | --- |
|  | Minimum | Maximum |
| 1 inch | 99 | 100 |
| ½ inch | 90 | 100 |
| ¼ inch | 40 | 90 |
| #200 | 2 | 10 |

Tests should be sufficiently recent to represent the actual material that is anticipated to be delivered to the site.  If processes or sources used by the supplier have changed significantly since the most recent testing, new tests should be requested.

Note: the gradation of compost used in bioretention media is believed to play an important role in the saturated hydraulic conductivity of the media. To achieve a higher saturated hydraulic conductivity, it may be necessary to utilize compost at the coarser end of this range (“minimum” column). The percent passing the #200 sieve (fines) is believed to be the most important factor in hydraulic conductivity. In addition, a coarser compost mix provides more heterogeneity of the bioretention media, which is believed to be advantageous for more rapid development of soil structure needed to support health biological processes. This may be an advantage for plant establishment with lower nutrient and water input.

Mulch

Planting area should generally be covered with 2 to 4 inches (average 3 inches) of mulch at the start and an additional placement of 1 to 2 inches of mulch should be added annually. The intention is that to help sustain the nutrient levels, suppress weeds, retain moisture, and maintain infiltration capacity.

For nutrient-sensitive planting/storage media design, inorganic mulch such as gravel, may be used.

Planting/Storage Media Design for Nutrient Sensitive Receiving Waters

- Where the BMP discharges to receiving waters with nutrient impairments or nutrient TMDLs, the planting media placed should be designed with the specific goal of minimizing the potential for initial and long term leaching of nutrients from the media.

In general, the potential for leaching of nutrients can be minimized by:

  - Utilizing stable, aged compost (as required of media mixes under all conditions).

  - Utilizing other sources of organic matter, as appropriate, that are safe, non-toxic, and have lower potential for nutrient leaching than compost.

  - Reducing the content of compost or other organic material in the media mix to the minimum amount necessary to support vigorous plant growth and healthy biological processes.

A landscape architect should be consulted to assist in the design of planting/storage media to balance the interests of plant establishment, water retention capacity (irrigation demand), and the potential for nutrient leaching. The following practices should be considered in developing the media mix design:

  - The actual nutrient content and organic content of the selected compost source should be considered when specifying the proportions of compost and sand. The compost specification allows a range of organic content over approximately a factor of 2 and nutrient content may vary more widely. Therefore determining the actual organic content and nutrient content of the compost expected to be supplied is important in determining the proportion to be used for amendment.

  - A commitment to periodic soil testing for nutrient content and a commitment to adaptive management of nutrient levels can help reduce the amount of organic amendment that must be provided initially. Generally, nutrients can be added planting areas through the addition of organic mulch, but cannot be removed.

  - Plant palettes and the associated planting mix should be designed with native plants where possible. Native plants generally have a broader tolerance for nutrient content, and can be longer lived in leaner/lower nutrient soils. An additional benefit of lower nutrient levels is that native plants will generally have less competition from weeds.

  - Nutrients are better retained in soils with higher cation exchange capacity (CEC).  CEC can be increased through selection of organic material with naturally high CEC, such as peat, and/or selection of inorganic material with high CEC such as some sands or engineered minerals (e.g., low P-index sands, zeolites, rhyolites, etc). Including higher CEC materials would tend to reduce the net leaching of nutrients.

  - Soil structure can be more important than nutrient content in plant survival and biologic health of the system. If a good soil structure can be created with very low amounts of compost, plants survivability should still be provided. Soil structure is loosely defined as the ability of the soil to conduct and store water and nutrients as well as the degree of aeration of the soil. While soil structure generally develops with time, planting/storage media can be designed to promote earlier development of soil structure. Soil structure is enhanced by the use of amendments with high hummus content (as found in well-aged organic material). In addition, soil structure can be enhanced through the use of compost/organic material with a distribution of particle sizes (i.e., a more heterogeneous mix). Finally, inorganic amendments such as polymer beads may be useful for promoting aeration and moisture retention associated with a good soil structure.  An example of engineered soil to promote soil structure can be found here:

- http://www.hort.cornell.edu/uhi/outreach/pdfs/custructuralsoilwebpdf.pdf

  - Younger plants are generally more tolerant of lower nutrient levels and tend to help develop soil structure as they grow. Starting plants from smaller transplants can help reduce the need for organic amendments and improve soil structure. The project should be able to accept a plant mortality rate that is somewhat higher than starting from larger plants and providing high organic content.

With these considerations, it is anticipated that less than 10 percent compost amendment could be used, while still balancing plant survivability and water retention.

- We wish to express our gratitude to following individuals for their feedback on the design of planting/storage media for nutrient sensitive receiving waters in Southern California.

- Deborah Deets, City of Los Angeles Bureau of Sanitation

- Drew Ready, LA and San Gabriel Rivers Watershed Council

- Rick Fisher, ASLA, City of Los Angeles Bureau of Engineering

- Dr. Garn Wallace, Wallace Laboratories

- Glen Dake, GDML

- Jason Schmidt, Tree People

- The guidance provided herein does not reflect the individual opinions of any individual listed above and should not be cited or otherwise attributed to those listed.

Selecting Plants for Planting/Storage Media

Plant materials should be tolerant of summer drought, ponding fluctuations, and saturated soil conditions for 48 to 96 hours.

It is recommended that a minimum of three types of tree, shrubs, and/or herbaceous groundcover species be incorporated to protect against facility failure due to disease and insect infestations of a single species.

Native plant species and/or hardy cultivars that are not invasive and do not require chemical inputs should be used to the maximum extent feasible.

Soil amended area at U.S. EPA Ariel Rios building.

Source: http://www.epa.gov/oaintrnt/stormwater/hq_projects.htm

MISC-2: Amended Soils

Soil amendments alter the soil characteristics to allow it to absorb, infiltrate, and retain more water to help reduce runoff volume and velocity, filter pollutants, increase the quality and quantity of vegetation, and reduce erosion potential more effectively than soils without soil amendments. Mulch is an amendment that is added on the top of the soil, rather than mixed into the soil, which reduces evaporation and adds to the aesthetics of a site. Compost and fertilizers are common soil amendments that must be completely mixed into the soil to function properly.

# General Criteria

- Compost, soil conditioners, and fertilizers should be roto-tilled into the native soil to a minimum depth of 6” (12 inches preferred). Mulch at grade should be spread over all planting areas to a depth of 3”.

- Sand can be used as an amendment to improve the drainage rates of amended soils. Sand should be free of stones, stumps, roots or other similar objects larger than 5 mm

- Incorporating compost and other organics into the root zone results in enhanced biological activity, attenuation of envrionemntal contaminants, increased moisture holding capacity, and improved soil structure. Compost shall meet the specifications below.

- All soil amendments should be free of stones, stumps, roots or other similar objects larger than 2 inches.

- All soil amendments should be free of glass, plastic, metal, and other deleterious materials.

Accounting for Soil Amendments in Sizing Calculations

- No retention credit is given for amended soils alone. Amended soils should be used as part of HSC-2 Impervious Area Dispersion, and to increase the retention volume of Infiltration and Biotreatment BMPs.

# Additional References

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 3: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- Santa Barbara BMP Guidance Manual, Chapter 5: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 30):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

## Infiltration BMP Fact Sheets (INF)

### INF-1: Infiltration Basin Fact Sheet

Infiltration Basin

Source: Pennsylvania Stormwater BMP Manual

Also known as:

- Recharge basins

- Infiltration pond

An infiltration basin consists of an earthen basin constructed in naturally pervious soils (Type A or B soils) with a flat bottom. An energy dissipating inlet must be provided, along with an emergency spillway to control excess flows.  An optional relief underdrain may be provided to drain the basin if standing water conditions occur.  A forebay settling basin or separate treatment control measure must be provided as pretreatment.  An infiltration basin retains the stormwater quality design volume in the basin and allows the retained runoff to percolate into the underlying soils in 72 hours or less.  The bottom of an infiltration basin is typically vegetated with dryland grasses or irrigated turf grass; however other types of vegetation are permissible if they can survive periodic inundation and long inter-event dry periods.

# Feasibility Screening Considerations

- Infiltration bains shall pass infeasibility screening criteria to be considered for use

- Infiltration basins pose a potential risk of groundwater contamination if underlying soils have very high permeability and low pollutant assimilation capacity; pretreatment should always be provided.

- Evaporation tends to be minor, therefore increases in infiltration compared to natural conditions may result.

- The potential for groundwater mounding should be evaluated if depth to seasonally high groundwater (unmounded) is less than 15 feet.

# Opportunity Criteria

- Soils are adequate for infiltration or can be amended to provide an adequate infiltration rate.

- Typically need 2-5 percent of drainage area available for infiltration.

- Space available for pretreatment (biotreatment or treatment control BMP as described below).

- Potential for groundwater contamination can be mitigated through isolation of pollutant sources, pretreatment of inflow, and/or demonstration of adequate treatment capacity of underlying soils.

- Infiltration is into native soil, or

- The depth of engineered fill is ≤ 5 feet from the bottom of the facility to native material and infiltration into fill is approved by a geotechnical professional.

- Tributary area land uses include mixed-use and commercial, sngle-family and multi-family, roads and parking lots, and parks and open spaces.  Basins can be integrated into parks and open spaces.  High pollutant land uses should not be tributary to infiltration BMPs.

# OC-Specific Design Criteria and Considerations

|  | Placement of BMPs shall observe geotechnical recommendations with respect to geological hazards (e.g. landslides, liquefaction zones, erosion, etc.) and set-backs (e.g., foundations, utilities, roadways, etc.) |
| --- | --- |
|  | For facilities with tributary area less than 5 acres, minimum separation to mounded seasonally high groundwater of 5 feet shall be observed. |
|  | For facilities with tributary area greater than 5 acres, minimum separation to mounded seasonally high groundwater of 10 feet shall be observed. |
|  | Minimum pretreatment (settling forebay or separate BMP) should be provided upstream of the infiltration basin, and water bypassing pretreatment should not be directed to the infiltration basin. |
|  | If a settling forebay is used, forebay should have a volume equal to 25% of facility volume and have a minimum length to width ratio of 2:1 |
|  | Infiltration basins should not be used for drainage areas with high sediment production potential unless preceded by full treatment control with a BMP effective for sediment removal. |
|  | Side-slopes should be no steeper than 3H:1V. |
|  | Design infiltration rate should be determined consistent with guidance contained in Appendix VII. |
|  | Energy dissipators should be provided at inlet and outlet to prevent erosion. |
|  | An overflow device must be provided if basin is on-line. |
|  | A minimum freeboard of one foot should be provided above the overflow device (for an on-line basin) or the outlet (for an off-line basin). |
|  | Infiltration basin bottom must be as flat as possible. |
|  | Basin length to width ratio should be a minimum of 2:1 L:W. |

Simple Sizing Method for Infiltration Basins

If the Simple DCV Sizing Method is used to size an infiltration basin, the user calculates the DCV and designs the BMP geometry required to draw down the DCV in 48 hours. The sizing steps are as follows:

Step 1: Determine Infiltration Basin DCV

Calculate the DCV using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1.

Step 2: Determine the 48-hour Depth

The depth of water that can be drawn down in 48 hours can be calculated using the following equation:

d48 = KDESIGN × 4

- Where:

d48 = basin 48-hour drawdown depth, ft

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

This is the maximum depth of the basin below the overflow device to achieve drawdown in 48 hours.

Step 3: Calculate the Required Infiltrating Area

The required infiltrating area (i.e. basin area at mid ponding depth) can be calculated using the following equation:

- A = DCV / (dP)

Where:

- A = required basin infiltrating area, sq-ft (assumed to be the basin area at mid-ponding depth)

- DCV = design capture volume, cu-ft (see Step 1)

- dP = ponding depth, ft (should be equal to or less than d48)

# Capture Efficiency Method for Infiltration Basins

If BMP geometry has already been defined and deviates from the 48 hour drawdown time, the designer can use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to determine the fraction of the DCV that must be provided to manage 80 percent of average annual runoff volume. This method accounts for drawdown time different than 48 hours.

Step 1: Determine the drawdown time associated with the selected basin geometry

DD = (dP / KDESIGN) × 12

Where:

DD = time to completely drain infiltration basin ponding depth, hours

dP = ponding depth below overflow device, ft

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

Step 2: Determine the Required Adjusted DCV for this Drawdown Time

Use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (Appendix III.3.2) to calculate the fraction of the DCV the basin must hold to achieve 80 percent capture of average annual stormwater runoff volume based on the basin drawdown time calculated above.

Step 3: Determine the Basin Infiltrating Area Needed

The required infiltrating area (i.e. basin bottom) can be calculated using the following equation:

- A = DCV/ ((dP)

Where:

- A = required basin infiltrating area, sq-ft (assumed to be the basin area at mid-ponding depth)

- DCV = design capture volume, adjusted for drawdown time, cu-ft (see Step 1)

- dP = ponding depth, ft

If the area required is greater than the selected basin area, adjust surface area or adjust ponding depth and recalculate required area until the required area is achieved.

# Configuration for Use in a Treatment Train

- Infiltration basins may be preceeded in a treatment train by HSCs in the drainage area, which would reduce the required design volume of the basins.

- Infiltration basins must be preceeded by some form of pretreatment, which may be biotreatment or a treatment control BMP; if an approved biotreatment BMP is used as pretreatment, the overflow from the infiltration basin may be considered “biotreated” for the purposes of meeting the LID requirements.

- The overflow or bypass from an infiltration basin can be routed to a downstream biotreatment BMP and/or a treatment control BMP if additional control is required to achieve LID or treatment control requirements.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-11.pdf

- SMC LID Manual (pp 139): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 6: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- City of Portland Stormwater Management Manual (Basin, page 2-57) http://www.portlandonline.com/bes/index.cfm?c=47954&a=202883

- San Diego County LID Handbook Appendix 4 (Factsheet 2):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

Also known as:

- French Drains

- Rock Trenches

- Exfiltration Trenches

- Soak-aways

- Soakage Trenches

INF-2: Infiltration Trench Fact Sheet

Infiltration Trench

Source: www.dot.ca.gov

An infiltration trench is a long, narrow, rock-filled trench with no outlet other than an overflow outlet.  Runoff is stored in the void space between stones and infiltrates through the bottom and sides of the trench. Infiltration trenches provide the majority of their pollutant removal benefits through volume reduction. Pretreatment is important for limiting amounts of coarse sediment entering the trench which can clog and render the trench ineffective.  Note: if an infiltration trench is “deeper than its widest surface dimension,” or includes an assemblage of perforated pipes, drain tiles, or other similar mechanisms intended to distribute runoff below the surface of the ground, it would probably be considered a "Class V Injection Well" under the federal Underground Injection Control (UIC) Program, which is regulated in California by U.S. EPA Region 9.  A UIC permit may be required for such a facility (for details see http://www.epa.gov/region9/water/groundwater/uic-classv.html).

# Feasibility Screening Considerations

- Infiltration trenches shall pass infeasibility screening criteria to be considered for use

- Infiltration trenches, particularly deeper designs, may not provide significant attenuation of stormwater pollutants if underlying soils have high permeability; potential risk of groundwater contamination.

- The potential for groundwater mounding should be evaluated if depth to seasonally high groundwater (unmounded) is less than 15 feet.

# Opportunity Criteria

- Soils are adequate for infiltration or can be amended to provide an adequate infiltration rate.

- Drainage area area is ≤ 5 acres and has low to moderate sediment production.

- 2-3 percent of drainage area available for infiltration (generally requires less surface area than infiltration basins and bioretention areas without underdrain).

- Space available for pretreatment (biotreatment or treatment control BMP as described below).

- Potential for groundwater contamination can be mitigated through isolation of pollutant sources, pretreatment of inflow, and/or demonstration of adequate treatment capacity of underlying soils.

- Infiltration is into native soil, or depth of engineered fill is ≤ 5 feet from the bottom of the facility to native material and infiltration into shallow fill is approved by a geotechnical professional.

- Tributary area land uses include open areas adjacent to parking lots, driveways, and buildings, and roadway medians and shoulders.

# OC-Specific Design Criteria and Considerations

|  | Must comply with local, state, and federal UIC regulations if applicable; a permit may be required. |
| --- | --- |
|  | Placement of BMPs should observe geotechnical recommendations with respect to geological hazards (e.g. landslides, liquefaction zones, erosion, etc.) and set-backs (e.g., foundations, utilities, roadways, etc.) |
|  | For facilities with tributary area less than 1 acre and less than 3 foot depth, minimum separation to mounded seasonally high groundwater of 5 feet shall be observed. |
|  | For facilities with tributary area greater than 1 acre or deeper than 3 feet, minimum separation to mounded seasonally high groundwater of 10 feet shall be observed. |
|  | Minimum pretreatment should be provided upstream of the infiltration trench, and water bypassing pretreatment should not be directed to the infiltration trench. |
|  | Infiltration trenches should not be used for drainage areas with high sediment production potential unless preceded by full treatment control with a BMP effective for sediment removal. |
|  | Ponded water should not persist within 1 foot of the surface of the facility for longer than 72 hours following the end of a storm event (observation well is needed to allow observation of drain time). |
|  | Energy dissipators should be provided at inlet and outlet to prevent erosion. |
|  | An overflow device must be provided if basin is on-line. |
|  | A minimum freeboard of one foot should be provided above the overflow device (for an on-line basin) or the outlet (for an off-line basin). |
|  | Longitudinal trench slope should not exceed 3%. |
|  | Side slopes above trench fill should not be steeper than 3:1. |

Simple Sizing Method for Infiltration Trenches

If the Simple Design Capture Volume Sizing Method is used to size an infiltration trench, the user calculates the DCV and then designs the geometry required to draw down the DCV in 48 hours.  The sizing steps are as follows:

Step 1: Determine Infiltration Basin DCV

Calculate the DCV using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1.

Step 2: Determine the 48-hour Effective Depth

The depth of water that can be drawn down in 48 hours can be calculated using the following equation:

d48 = KDESIGN × SACF × 48 hours

- Where:

d48 = trench effective 48-hour depth, ft

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

SACF = Surface Area Correction Factor = ranges from 1.0 (sides insignificant or not accounted) to 2.0 (sides plus bottom are 2 times the surface area of the bottom at mid depth) to account for the ratio of infiltration through the sides of the trench to the bottom footprint of the trench; should be based on anticipated trench geometry and wetted surface area at mid-depth.

This is the maximum effective depth of the trench below the overflow device to achieve drawdown in 48 hours.

Step 3: Determine the Trench Ponding Depth and Trench Depth

The depth of water stored in the ponding depth (i.e. above the trench fill) and within the trench itself should be equal or less than d48. Determine the ponding depth and the trench fill depth such that:

d48 ≥ (nT × dT + dP)

- Where:

d48 = trench effective 48-hour depth, ft (from Step 2)

nT = porosity of trench fill; 0.35 may be assumed where other information is not available

dT = depth of trench fill, ft

dP = ponding depth, ft (should not exceed 1 ft)

Step 4: Calculate the Required Infiltrating Area

The required footprint area can be calculated using the following equation:

- A = DCV/ ((nT × dT) + dP)

Where:

- A = required trench footprint area, sq-ft

- DCV = design capture volume, cu-ft (see Step 1)

nT = porosity of trench fill; 0.35 may be assumed where other information is not available

dT = depth of trench fill, ft

- dP = ponding depth, ft

# Capture Efficiency Method for Infiltration Trenches

If BMP geometry has already been defined and deviates from the 48 hour drawdown time, the designer can use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (Appendix III.3.2) to determine the fraction of the DCV that must be provided to manage 80 percent of average annual runoff volume. This method accounts for drawdown time different than 48 hours.

Step 1: Determine the drawdown time associated with the selected trench geometry

DD = ((nT × dT) + dP) / (KDESIGN × SACF) × 12

Where:

DD = time to completely drain infiltration basin ponding depth, hours

nT = porosity of trench fill; 0.35 may be assumed where other information is not available

dT = depth of trench fill, ft

- dP = ponding depth, ft

SACF = Surface Area Correction Factor = ranges from 1.0 (sides insignificant or not accounted) to 2.0 (sides plus bottom are 2 times the surface area of the bottom at mid depth) to account for the ratio of infiltration through the sides of the trench to the bottom footprint of the trench; should be based on anticipated trench geometry and wetted surface area at mid-depth.

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

Step 2: Determine the Required Adjusted DCV for this Drawdown Time

Use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (Appendix III.3.2) to calculate the required fraction of the DCV the basin must hold to achieve 80 percent capture of average annual stormwater runoff volume based on the trench drawdown time calculated above.

Step 3: Determine the Trench Infiltrating Area Needed

The required footprint area can be calculated using the following equation:

- A = DCV / ( (nT × dT) + dP)

Where:

- A = required trench footprint area, sq-ft

- DCV = design capture volume, cu-ft (see Step 1)

nT = porosity of trench fill; 0.35 may be assumed where other information is not available

dT = depth of trench fill, ft

- dP = ponding depth, ft

If the area required is greater than the selected trench area, adjust surface area or adjust ponding and/or trench depth and recalculate required area until the required area is achieved.

# Configuration for Use in a Treatment Train

- Infiltration trenches may be preceeded in a treatment train by HSCs in the drainage area, which would reduce the required volume of the trench.

- Infiltration trenches must be preceeded by some form of pretreatment which may be biotreatment or a treatment control BMP; if an approved biotreatment BMP is used as pretreatment, the overflow from the infiltration trench may be considered “biotreated” for the purposes of meeting the LID requirments

- The overflow or bypass from an infiltration trench can be routed to a downstream biotreatment BMP and/or a treatment control BMP if additional control is required to achieve LID or treatment control requirements

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-10.pdf

- SMC LID Manual (pp 141): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 6: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandrainage areaintenance.pdf

- City of Portland Stormwater Management Manual (Soakage Trenches, page 2-82) http://www.portlandonline.com/bes/index.cfm?c=47954&a=202883

- San Diego County LID Handbook Appendix 4 (Factsheet 1):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

Also known as:

- Rain gardens

- Infiltration planter

INF-3: Bioretention with no Underdrain

Bioretention

Source: Geosyntec Consultants

Bioretention stormwater treatment facilities are landscaped shallow depressions that capture and filter stormwater runoff. These facilities function as a soil and plant-based filtration device that removes pollutants through a variety of physical, biological, and chemical treatment processes. The facilities normally consist of a ponding area, mulch layer, planting soils, and plants. As stormwater passes down through the planting soil, pollutants are filtered, adsorbed, and biodegraded by the soil and plants. For areas with low permeability native soils or steep slopes, bioretention areas can be designed with an underdrain system that routes the treated runoff to the storm drain system rather than depending entirely on infiltration.

# Feasibility Screening Considerations

- Bioretention with no underdrains shall pass infiltration infeasibility screening criteria to be considered for use.

# Opportunity Criteria

- Land use may include commercial, residential, mixed use, institutional, and subdivisions.  Bioretention may also be applied in parking lot islands, cul-de-sacs, traffic circles, road shoulders, and road medians.

- Drainage area is ≤ 5 acres, preferrably ≤ 1 acre.

- Area available for infiltration.

- Soils are adequate for infiltration or can be amended to improve infiltration capacity. Site slope is less than 15 percent.

# OC-Specific Design Criteria and Considerations

|  | Placement of BMPs should observe geotechnical recommendations with respect to geological hazards (e.g. landslides, liquefaction zones, erosion, etc.) and set-backs (e.g., foundations, utilities, roadways, etc.) |
| --- | --- |
|  | Depth to mounded seasonally high groundwater shall not be less than 5 feet. |
|  | If sheet flow is conveyed to the treatment area over stabilized grassed areas, the site must be graded in such a way that minimizes erosive conditions; sheet flow velocities should not exceed 1 foot per second. |
|  | Ponding depth should not exceed 18 inches; fencing may be required if ponding depth exceeds 6 inches to mitigate the risk of drowning. |
|  | Planting/storage media shall be based on the recommendations contained in MISC-1: Planting/Storage Media |
|  | The minimum amended soil depth is 1.5 feet (3 feet is preferred). |
|  | The maximum drawdown time of the planting soil is 48 hours. |
|  | Infiltration pathways may need to be restricted due to the close proximity of roads, foundations, or other infrastructure. A geomembrane liner, or other equivalent water proofing, may be placed along the vertical walls to reduce lateral flows. This liner should have a minimum thickness of 30 mils. |
|  | Plant materials should be tolerant of summer drought, ponding fluctuations, and saturated soil conditions for 48 hours; native plant species and/or hardy cultivars that are not invasive and do not require chemical fertilizers or pesticides should be used to the maximum extent feasible. |
|  | The bioretention area should be covered with 2-4 inches (average 3 inches) of mulch at startup and an additional placement of 1-2 inches of mulch should be added annually. |
|  | An optional gravel drainage layer may be installed below planting media to augment storage volume. |
|  | An overflow device is required at the top of the ponding depth. |
|  | Dispersed flow or energy dissipation (i.e. splash rocks) for piped inlets should be provided at basin inlet to prevent erosion. |

Simple Sizing Method for Bioretention with no Underdrain

If the Simple Design Capture Volume Sizing Method described in Appendix III.3.1 is used to size a bioretention area with underdrains, the user calculates the DCV and designs the system with geometry required to draw down the DCV in 48 hours.  The sizing steps are as follows:

Step 1: Determine the Bioretention Design Capture Volume

Calculate the DCV using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1.

Step 2: Determine the 48-hour Ponding Depth

The depth of effective storage depth that can be drawn down in 48 hours can be calculated using the following equation:

d48 = KDESIGN × 4

- Where:

d48 = bioretention 48-hour effective depth, ft

KDESIGN = bioretention design infiltration rate, in/hr (See Appendix VII)

This is the maximum effective depth of the basin below the overflow device to achieve drawdown in 48 hours. Effective depth includes ponding water and media/aggregate pore space.

Step 3: Design System Geometry to Provide d48

Design system geometry such that

d48 ≥ dEFFECTIVE = (dP + nMdM + nGdG)

- Where:

d48 = depth of water that can drain in 48 hours

dEFFECTIVE = total effective depth of water stored in bioretention area, ft

dP = bioretention ponding depth, ft (should be less than or equal to 1.5 ft)

nM = bioretention media porosity

dM = bioretention media depth, ft

nG  = bioretention gravel layer porosity; 0.35 may be assumed where other information is not available

dG = bioretention gravel layer depth, ft

Step 4: Calculate the Required Infiltrating Area

The required infiltrating area (i.e. measured at the media surface) can be calculated using the following equation:

- A = DCV / dEFFECTIVE

Where:

- A = required infiltrating area, sq-ft (measured as the media surface area)

- DCV = design capture volume, cu-ft (see Step 1)

dEFFECTIVE = total effective depth of water stored in bioretention area, ft (from Step 3)

This does not include the side slopes, access roads, etc. which would increase bioretention footprint.

# Capture Efficiency Method for Bioretention with no Underdrain

If BMP geometry has already been defined and deviates from the 48 hour drawdown time, the designer can use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to determine the fraction of the DCV that must be provided to manage 80 percent of average annual runoff volume. This method accounts for drawdown time different than 48 hours.

Step 1: Determine the drawdown time associated with the selected basin geometry

DD = (dEFFECTIVE / KDESIGN) × 12 in/ft

Where:

DD = time to completely drain infiltration basin ponding depth, hours

dEFFECTIVE  ≤ (dP + nMdM + nGdG)

dP = bioretention ponding depth, ft (should be less than or equal to 1.5 ft)

nM = bioretention media porosity

dM = bioretention media depth, ft

nG  = bioretention gravel layer porosity; 0.35 may be assumed where other information is not available

dG = bioretention gravel layer depth, ft

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

Step 2: Determine the Required Adjusted DCV for this Drawdown Time

Use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to calculate the fraction of the DCV the basin must hold to achieve 80 percent capture of average annual stormwater runoff volume based on the basin drawdown time calculated above.

Step 4: Check that the Bioretention Effective Depth Drains in no Greater than 96 Hours

DD = (dEFFECTIVE / KDESIGN) × 12

Where:

DD = time to completely drain bioretention facility, hours

dEFFECTIVE = total effective depth of water stored in bioretention area, ft (from Step 3)

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

If DDALL  is greater than 96 hours, adjust bioretention media depth and/or gravel layer depth until DD is less than 96 hours.  This duration is based on preventing extended periods of saturation from causing plant mortality.

Step 5: Determine the Basin Infiltrating Area Needed

The required infiltrating area (i.e. the surface area of the top of the media layer) can be calculated using the following equation:

- A = DCV/ dEFFECTIVE

Where:

- A = required infiltrating area, sq-ft (measured at the media surface)

- DCV = design capture volume, adjusted for drawdown time, cu-ft (see Step 1)

dEFFECTIVE = total effective depth of water stored in bioretention area, ft (from Step 3)

This does not include the side slopes, access roads, etc. which would increase bioretention footprint. If the area required is greater than the selected basin area, adjust surface area or adjust ponding depth and recalculate required area until the required area is achieved.

# Configuration for Use in a Treatment Train

- Bioretention areas may be preceeded in a treatment train by HSCs in the drainage area, which would reduce the required volume of the bioretention cell.

- Bioretention areas can be incorporated in a treatment train to provide enhanced water quality treatment and reductions in runoff volume and rate.  For example, runoff can be collected from a roadway in a vegetated swale that then flows to a bioretention area.  Similarly, bioretention could be used to manage overflow from a cistern.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-32.pdf

- SMC LID Manual (pp 68): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 5: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 7):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4. http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- County of Los Angeles Low Impact Development Standards Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

Also known as:

- Rain gardens

- Infiltration planter

INF-4: Bioinfiltration Fact Sheet

Bioretention

Source: Geosyntec Consultants

Bioinfiltration facilities are designed for partial infiltration of runoff and partial biotreatment.  These facilities are similar to bioretention devices with underdrains but they include a raised underdrain above a gravel sump designed to facilitate infiltration.  These facilities can be used in areas where there are no hazards associated with infiltration, but infiltration of the full DCV may not be feasible due to low infiltration rates or high depths of fill.  These facilities may not result in retention of the full DCV but they can be used to achieve the maximum feasible infiltration and ET.

# Feasibility Screening Considerations

- Bioinfiltration shall pass infeasibility screening criteria for infiltration BMPs (TGD Section 2.4.2) to be considered for use.

- Infiltration rates are allowed to be less than 0.3 inches per hour.

# Opportunity Criteria

- Land use may include commercial, residential, mixed use, institutional, and subdivisions.  Bioretention may also be applied in parking lot islands, cul-de-sacs, traffic circles, road shoulders, and road medians.

- Drainage area is ≤ 5 acres, preferrably ≤ 1 acre.

- Area is available for infiltration.

- Site slope is less than 15 percent.

# OC-Specific Design Criteria and Considerations

|  | Placement of BMPs should observe geotechnical recommendations with respect to geological hazards (e.g. landslides, liquefaction zones, erosion, etc.) and set-backs (e.g., foundations, utilities, roadways, etc.) |
| --- | --- |
|  | Depth to mounded seasonally high groundwater shall not be less than 5 feet. |
|  | If sheet flow is conveyed to the treatment area over stabilized grassed areas, the site must be graded in such a way that minimizes erosive conditions; sheet flow velocities should not exceed 1 foot per second. |
|  | Ponding depth should not exceed 18 inches; fencing may be required if ponding depth exceeds 6 inches to mitigate the risk of drowning. |
|  | Planting/storage media shall be based on the recommendations contained in MISC-1: Planting/Storage Media |
|  | The minimum amended soil depth is 1.5 feet (3 feet is preferred). |
|  | The depth of gravel below the underdrain elevation must be designed so that the effective depth that would infiltrate in 48 hours is stored in the gravel layer. |
|  | Underdrain should be placed at the top of the gravel drainage layer to facilitate infiltration. |
|  | Infiltration pathways may need to be restricted due to the close proximity of roads, foundations, or other infrastructure. A geomembrane liner, or other equivalent water proofing, may be placed along the vertical walls to reduce lateral flows. This liner should have a minimum thickness of 30 mils. |
|  | Plant materials should be tolerant of summer drought, ponding fluctuations, and saturated soil conditions for 48 hours; native plant species and/or hardy cultivars that are not invasive and do not require chemical fertilizers or pesticides should be used to the maximum extent feasible |
|  | The bioinfiltration area should be covered with 2-4 inches (average 3 inches) of mulch at startup and an additional placement of 1-2 inches of mulch should be added annually. |
|  | An overflow device is required at the top of the ponding depth. |
|  | Dispersed flow or energy dissipation (i.e. splash rocks) for piped inlets should be provided at basin inlet to prevent erosion. |
|  | Planting/storage media shall be based on the recommendations contained in MISC-1: Planting/Storage Media |
|  | Ponding area side slopes shall be 3H:1V. |

Simple Sizing Method for Bioinfiltration

If the Simple Design Capture Volume Sizing Method described in Appendix III.3.1 is used to size a bioinfiltration facility, the user selects the basin geometry and then determines the volume retained.  The sizing steps are as follows:

Step 1: Select Bioinfiltration Geometry

- Determine the desired ponding depth (not to exceed 1.5 ft), gravel depth, surface area, and media saturated hydraulic conductivity.  A target media hydraulic conductivity of 5 inches per hour is recommended.

Step 2: Verify that the Ponding Depth will Draw Down within 48 Hours

The ponding area drawdown time can be calculated using the following equation:

DDP = (dP / KMEDIA) × 12

Where:

DDP = time to drain ponded water, hours

dEFFECTIVE = total effective depth of water stored in bioretention area, ft (from Step 3)

KMEDIA = media design infiltration rate, in/hr (equivalent to the media hydraulic conductivity with a factor of safety of 2; KMEDIA of 2.5 in/hr should be used as a default unless other information is available to support an alternative value.)

If the drawdown time exceeds 48 hours, adjust ponding depth and/or media filter until 48 hour drawdown time is achieved.

Step 3: Verify That Gravel Depth is Designed for 48 Hour Drawdown

In order to demonstrate that bioinfiltration systems have been designed to achieve the maximum feasible retention (See Appendix XI), the gravel depth below the underdrains must be designed with a thickness such that it draws down in 48 hours.

DDG = ((dG × nG) / KDESIGN) × 12

Where:

DDG = time to drain gravel layer, hours

nG  = bioretention gravel layer porosity; 0.35 may be assumed where other information is not available

dG = bioretention gravel layer depth, ft

KDESIGN = bioretention design infiltration rate, in/hr (See Appendix VII)

If DDG is less than 48 hours, adjust dG until DDG is at least 48 hours or greater.

Step 4: Determine the BMP Area Needed

The required infiltrating area (i.e. the surface area of the top of the media layer) can be calculated using the following equation:

- A = DCV/ dEFFECTIVE

Where:

- A = required infiltrating area, sq-ft (measured at the media surface)

- DCV = design capture volume, cu-ft (see Step 1)

dEFFECTIVE = total effective depth of water stored in bioretention area, ft

dEFFECTIVE  = (dP + nMdM + nGdG)

dP = bioretention ponding depth, ft (should be less than or equal to 1.5 ft)

nM = bioretention media porosity

dM = bioretention media depth, ft

nG  = bioretention gravel layer porosity; 0.35 may be assumed where other information is not available

dG = bioretention gravel layer depth, ft

This does not include the side slopes, access roads, etc. which would increase bioretention footprint. If the area required is greater than the selected basin area, adjust surface area or adjust ponding depth and recalculate required area until the required area is achieved.

# Capture Efficiency Method for Bioinfiltration

Option 1: Accounting for Retention plus Biotreatment in Capture Efficiency Calculation

To size bioinfiltration facilities using the Capture Efficiency Method, the system should be divided into its retention and biotreatment components and analyzed as a treatment train per instructions in Appendix III.5 Sizing Approaches for Treatment Trains and Hybrid Systems.

- Retention Storage: Water stored in gravel below underdrains.

- Biotreatment Storage: Water stored in surface ponding and media pore space.

The retention component should be analyzed as the first component of the treatment train, and will yield a capture efficiency that is used as an input to the biotreatment sizing approach.

The retention component should be sized such that the depth of gravel drains in 48 hours at the design infiltration rate.

Option 2: Sizing of Biotreatment Only; Presumptive Approach for Retention

Alternatively, bioinfiltration BMPs can be sized accounting for only the capture efficiency of the biotreatment component (See BIO-1: Bioretention with Underdrains for sizing methods). The retention component should be sized such that the depth of gravel drains in 48 hours or greater at the design infiltration rate.  This provides presumption that water is infiltrated without quantifying the volume that is infiltrated. It is inherently a conservative sizing method.

# Configuration for Use in a Treatment Train

- Bioinfiltration areas are inherently a treatment train BMP because they include both retention and biotreatment components.

- Bioinfiltration areas may be preceded in a treatment train by HSCs in the drainage area, which would reduce the required volume of the bioretention cell.

- Bioinfiltration areas can be incorporated in a treatment train to provide enhanced water quality treatment and reductions in runoff volume and rate.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-32.pdf

- SMC LID Manual (pp 68): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 5: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 7):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- County of Los Angeles Low Impact Development Standards Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

Also known as:

- Soakaway Pits

- Infiltration Sumps

- Rock Sumps

- Underground Injection Controls

INF-5: Drywell

Drywell

Source: K&A Enterprises

Drywells are similar to infiltration trenches in their design and function, but generally have a greater depth to footprint area ratio and can be installed at relatively large depths.  A drywell is a subsurface storage facility designed to temporarily store and infiltrate runoff, primarily from rooftops or other impervious areas with low pollutant loading. A drywell may be either a small excavated pit filled with aggregate or a prefabricated storage chamber or pipe segment. Drywells can be used to reduce the volume of runoff from roofs and other relatively clean surfaces. While roofs are generally not a significant source of stormwater pollutants, they can be a major contributor of runoff volumes. Therefore, drywells can indirectly enhance water quality by reducing the water quality design volume that must be treated by other, downstream stormwater management facilities.  Note: A drywell is considered a "Class V Injection Wells" under the federal Underground Injection Control (UIC) Program regulated in California by U.S. EPA Region 9.  A UIC permit may be required (for details see http://www.epa.gov/region9/water/groundwater/uic-classv.html).

# Feasibility Screening Considerations

- Drywells shall pass infiltration infeasibility screening criteria (TGD Section 2.4.2) to be considered for use.

- Dry wells provide a more direct pathway for stormwater to groundwater, therefore pose a greater risk to groundwater quality than surface infiltration systems.

# Opportunity Criteria

- Drywells may be used to infiltrate roof runoff, either directly or from the overflow from a cistern.

- Soils are adequate for infiltration or can be amended to provide an adequate infiltration rate.

- Space available for pretreatment (biotreatment or treatment control BMP as described below).

- The drywell must be located in native soil; over-excavated by at least one foot in depth and replaced uniformly without compaction.

- Potential for groundwater contamination can be mitigated through isolation of pollutant sources, pretreatment of inflow, and/or demonstration of adequate treatment capacity of underlying soils.

- Infiltration is into native soil, or depth of engineered fill is ≤ 5 feet from the bottom of the facility to native material and infiltration into fill is approved by a geotechnical professional.

# OC-Specific Design Criteria and Considerations

|  | Must comply with local, state, and federal UIC regulations; a permit may be required. |
| --- | --- |
|  | Minimum set-backs from foundations and slopes should be observed |
|  | Infiltration should not cause geotechnical concerns related to slope stability, liquefaction, or erosion. |
|  | Minimum separation to mounded seasonally high groundwater of 10 feet shall be observed. |
|  | Drywells should not receive untreated stormwater runoff, except rooftop runoff. Pretreatment of runoff from other surfaces is necessary to prevent premature failure that results from clogging with fine sediment, and to prevent potential groundwater contamination due to nutrients, salts, and hydrocarbons. |
|  | Design infiltration rate should be determined with an infiltration test at each drywell location. |
|  | Drywell should be encased by 1 foot of coarse (3/4” to 2 ½”), round river rock on sides and bottom of facility. |
|  | Maximum facility depth is 25 feet with the approval of a geotechnical professional; preferred depth less than 10 feet does not require geotechnical approval. |
|  | If inlet is an underground pipe, a fine mesh screen should be installed to prevent coarse solids from entering drywell. |
|  | An overflow route must be installed for flows that overtop facility. |

Sizing Criteria for Drywells

Drywell sizing is highly site-specific.  Sizing calculations shall demonstrate via the methods described in Appendix III or via project-specific methods that the system captures and fully discharges the DCV within 48 hours following the end of precipitation, or captures and infiltrates 80 percent of average annual runoff volume.

# Configuration for Use in a Treatment Train

- Drywells may be preceded in a treatment train by HSCs in the drainage area, which would reduce the required volume of the drywell.

- Drywells treating any areas other than roof tops must be preceded by a robust biotreatment or conventional treatment capable of addressing all potentially generated pollutants.

- Drywells may be used in conjunction with other infiltration BMPs to increase the infiltration capacity of the entire treatment train system.

Additional References for Design Guidance

- Stormwater Management in Western Washington (Volume III: Hydrologic Analysis and Flow Control Design BMPs) http://www.ecy.wa.gov/pubs/0510031.pdf

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- City of Portland Stormwater Management Manual (Drywell, page 2-87) http://www.portlandonline.com/bes/index.cfm?c=47954&a=202883

- San Diego County LID Handbook Appendix 4 (Factsheet 25):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- City of Santa Barbara Storm Water BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

### INF-6: Permeable Pavement (concrete, asphalt, and pavers)

Permeable Pavement

Source: Geosyntec Consultants

Also known as:

- Pervious pavement

- Porous concrete

- Pavers

- Permeable asphalt

Permeable pavements contain small voids that allow water to pass through to a gravel base. They come in a variety of forms; they may be a modular paving system (concrete pavers, grass-pave, or gravel-pave) or poured in place pavement (porous concrete, permeable asphalt). All permeable pavements treat stormwater and remove sediments and metals to some degree within the pavement pore space and gravel base. While conventional pavement result in increased rates and volumes of surface runoff, properly constructed and maintained porous pavements, allow stormwater to percolate through the pavement and enter the soil below. This facilitates groundwater recharge while providing the structural and functional features needed for the roadway, parking lot, or sidewalk. The paving surface, subgrade, and installation requirements of permeable pavements are more complex than those for conventional asphalt or concrete surfaces. For porous pavements to function properly over an expected life span of 15 to 20 years, they must be properly sited and carefully designed and installed, as well as periodically maintained. Failure to protect paved areas from construction-related sediment loads can result in their premature clogging and failure.

# Feasibility Screening Considerations

- Permeable pavement shall pass infiltration infeasibility screening to be considered for use.

- Permeable pavements pose a potential risk of groundwater contamination; they may not provide significant attenuation of stormwater pollutants if underlying soils have high permeability.

# Opportunity Criteria

- Permeable pavement areas can be applied to individual lot driveways, walkways, parking lots, low-traffic roads, high-traffic (with low speeds) roads/lots, golf cart paths, within road right-of-ways, and in parks and along open space edges. Impervious surfaces draining to the BMP are limited to surfaces immediately adjacent to the permeable pavement, rooftop runoff, and other nearby surfaces that do not contain significant sediment loads.

- Soils are adequate for infiltration or can be amended to provide an adequate infiltration rate.

- Infiltration is into native soil, or depth of engineered fill is ≤ 5 feet from the bottom of the facility to native material and infiltration into fill is approved by a geotechnical professional.

# OC-Specific Design Criteria and Considerations

|  | Placement of BMPs should observe geotechnical recommendations with respect to geological hazards (e.g. landslides, liquefaction zones, erosion, etc.) and set-backs (e.g., foundations, utilities, roadways, etc) |
| --- | --- |
|  | Minimum separation to mounded seasonally high groundwater of 5 feet shall be observed. |
|  | A biotreatment BMP should be provided for all runoff from off-site sources that are not directly adjacent to the permeable pavement, with the exception of rooftops. |
|  | Permeable pavement should not be used for drainage areas with high sediment production potential (e.g., landscape areas) unless preceded by full treatment control with a BMP effective for sediment removal |
|  | All aggregate used to construct permeable pavement shall be thoroughly washed before being delivered to the construction site. |
|  | The top or wearing layer course (permeable pavement course) should consist of asphalt or concrete with greater than normal percentage of voids, or paving stones. |
|  | A layer of washed fine aggregate (e.g., No. 8) just under the permeable pavement course may be installed to provide a level surface for installing the permeable pavement and also acts as a filter to trap particles and help prevent the reservoir layer from clogging. This layer can also act as interstitial media between pavers. |
|  | Below this layer, the bedding and filter course course should be 1.5 to 3 inches deep and may be underlain by choking stone to prevent the smaller sized aggregate from migrating into the large aggregate base layer. |
|  | The bedding, filter, and choke stone layers, as applicable, are referred to collectively as the bedding and filter course. |
|  | The aggregate reservoir layer should be designed to function as a support layer as well as a reservoir layer the reservoir layer should be washed, open-graded No. 57 aggregate without any fine sands. |
|  | The type of pedestrian traffic should be considered when determining which type of permeable pavement to use in particular locations (e.g., pavers may not be a good option for locations where people wearing high heels will be walking). |
|  | An overflow device is required in the form of perimeter control or overflow pipes. This should generally be set at an elevation to prevent ponding of water into the bedding and filter course. |

Figure XIV.1: Schematic Diagram of Permeable Pavement without Underdrains

Simple Sizing Method for Permeable Pavement

Permeable pavement that manages only direct rainfall and runoff from adjacent impermeable surfaces less than 50 percent the size of the permeable pavement are are not required to conduct sizing calculations. These areas are assumed to be self-retaining for the purpose of drainage planning.For permeable pavement with larger tributary area ratios, sizing calculations must be performed.

If the Simple Design Capture Volume Sizing Method described in Appendix III.3.1 is used to size permeable pavement, the user calculates the DCV, designs the geometry required to draw down the DCV in 48 hours, then determines the area that is needed for the BMP. The area of the porous pavement itself as well as the area of the tributary areas should be considered in calculating the DCV. The sizing steps are as follows:

Step 1: Determine Permeable Pavement DCV

Calculate the DCV using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1.

Step 2: Determine the 48-hour Effective Depth

The depth of water that can be drawn down in 48 hours can be calculated using the following equation:

d48 = KDESIGN × 48 hours × 1 ft/12 inches

- Where:

d48 = pavement effective 48-hour drawdown depth, ft

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

This is the maximum effective depth of water storage in the aggregate reservoir to achieve drawdown in 48 hours.

Step 3: Determine the Aggregate Reservoir Depth

The depth of water stored in the gravel reservoir should be equal or less than d48. Determine the reservoir depth such that:

d48 ≥ (nR × dR)

- Where:

d48 = trench effective 48-hour depth, ft (from Step 2)

nR = porosity of aggregate reservoir fill; 0.35 may be assumed where other information is not available

dR = depth of trench fill, ft

Step 4: Calculate the Required Infiltrating Area

The required infiltrating area can be calculated using the following equation:

- A = DCV / (nR × dR)

Where:

- A = required footprint area, sq-ft

- DCV = design capture volume, cu-ft (see Step 1)

nR = porosity of trench fill; 0.35 may be assumed where other information is not available

dR = depth of trench fill, ft

This area is equal to the required pavement area.

The ratio total tributary area (including the porous pavement) to the area of the porous pavement should not exceed 4:1.

# Capture Efficiency Method for Permeable Pavement

If BMP geometry has already been defined and deviates from the 48 hour drawdown time, the designer can use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to determine the fraction of the DCV that must be provided to manage 80 percent of average annual runoff volume. This method accounts for drawdown time different than 48 hours.

Option 1: Pavement Geometry is Predefined

Step 1: Determine the Drawdown Time Associated with the Selected Pavement Geometry

DD = ((nR × dR) / KDESIGN) × 12 in/ft

Where:

DD = time to completely drain pavement, hours

nR = porosity of reservoir fill; 0.35 may be assumed where other information is not available

dR = depth of reservoir, ft

KDESIGN = basin design infiltration rate, in/hr (See Appendix VII)

Step 2: Determine the Required Adjusted DCV for this Drawdown Time

Use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to calculate the draw-down adjusted DCV that the basin must hold to achieve 80 percent capture of average annual stormwater runoff volume based on the pavement drawdown time calculated above.

Step 3: Determine the Pavement Infiltrating Area Needed

The required infiltrating area can be calculated using the following equation:

- A = DCV/ (nR × dR)

Where:

- A = required footprint area, sq-ft

- DCV = design capture volume, cu-ft (see Step 1)

nR = porosity of reservoir fill; 0.35 may be assumed where other information is not available

dR = depth of reservoir, ft

If the area required is greater than the selected pavement area, adjust reservoir depth and recalculate required area until the required area is achieved.

# Configuration for Use in a Treatment Train

- Permeable pavement may be preceded in a treatment train by HSCs in the drainage area, which would reduce the runoff volume to be infiltrated by the permeable pavement

- Permeable pavement areas can be designed to be self-retaining to lessen the pollutant and volume load on downstream BMPs.

# Additional References for Design Guidance

- SMC LID Manual (pp 84): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 5: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- City of Portland Stormwater Management Manual (Pervious Pavement, page 2-40) http://www.portlandonline.com/bes/index.cfm?c=47954&a=202883

- San Diego County LID Handbook Appendix 4 (Factsheets 8, 9 & 10): http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- City of Santa Barbara Storm Water BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- County of Los Angeles Low Impact Development Standards Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

Also known as:

- Infiltration vault

- Recharge vault

INF-7: Underground Infiltration

Underground Infiltration

Source: http://www.contech-cpi.com

Underground infiltration is a vault or chamber with an open bottom that used to store runoff and percolate into the subsurface. A number of vendors offer proprietary infiltration products that allow for similar or enhanced rates of infiltration and subsurface storage while offering durable prefrabricated structures. There are many varieties of proprietary infiltration BMPs that can be used for roads and parking lots, parks and open spaces, single and multi-family residential, or mixed-use and commercial uses.

Feasibility Screening Considerations

- Infiltration bains shall pass infeasible screening criteria to be considered for use.

- Underground infiltration galleries pose a potential risk of groundwater contamination; pretreatment should be used.

Opportunity Criteria

- Soils are adequate for infiltration or can be amended to provide an adequate infiltration rate.

- Appropriate for sites with limited surface space.

- Can be placed beneath roads, parking lots, parks, and athletic fields.

- Potential for groundwater contamination can be mitigated through isolation of pollutant sources, pretreatment of inflow, and/or demonstration of adequate treatment capacity of underlying soils.

- Infiltration is into native soil, or depth of engineered fill is ≤ 5 feet from the bottom of the facility to native material and infiltration into fill is approved by a geotechnical professional.

- Tributary area land uses include mixed-use and commercial, sngle-family and multi-family, roads and parking lots, and parks and open spaces.  High pollutant land uses should not be tributary to infiltration BMPs.

OC-Specific Design Criteria and Considerations

|  | Placement of BMPs should observe geotechnical recommendations with respect to geological hazards (e.g. landslides, liquefaction zones, erosion, etc.) and set-backs (e.g., foundations, utilities, roadways, etc.) |
| --- | --- |
|  | Minimum separation to mounded seasonally high groundwater of 10 feet shall be observed. |
|  | Minimum pretreatment should be provided upstream of the infiltration facility, and water bypassing pretreatment should not be directed to the facility. |
|  | Underground infiltration should not be used for drainage areas with high sediment production potential unless preceded by full treatment control with a BMP effective for sediment removal. |
|  | Design infiltration rate should be determined as described in Appendix VII. |
|  | Inspection ports or similar design features shall be provided to verify continued system performance and identify need for major maintenance. |
|  | For infiltration facilities beneath roads and parking areas, structural requirements should meet H-20 load requirements. |

Computing Underground Infiltration Device Size

Underground infiltration devices vary by design and by proprietary designs. The sizing method selected for use must be based on the BMP type it most strongly resembles.

- For underground infiltration devices with open pore volume (e.g., vaults, crates, pipe sections, etc), sizing will be most similar to infiltration basins.

- For underground infiltration devices with pore space (e.g., aggregate reservoirs), sizing will be most similar to permeable pavement.

Additional References for Design Guidance

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 5: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

## Harvest and Use BMP Fact Sheets (HU)

Underground detention tank Source: www.webtecgeos.com

Above-Ground Cisterns

Source: Sunset Publishing Corporation

HU-1: Above-Ground Cisterns

Cisterns are large rain barrels.  While rain barrels are less than 100 gallons, cisterns range from 100 to more than 10,000 gallons in capacity.  Cisterns collect and temporarily store runoff from rooftops for later use as irrigation and/or other non-potable uses. The following components are generally required for installing and utilizing a cistern: (1) pipes that divert rooftop runoff to the cistern, (2) an overflow for when the cistern is full, (3) a pump, and (4) a distribution system to supply the intended end uses.

Feasibility screening consideration, opportunity criteria, design criteria, etc. for this BMP are listed below under HU-2: Underground Detention.

### HU-2: Underground Detention

Underground detention facilities are subsurface tanks, vaults, or oversized pipes that store stormwater runoff. Similar to cisterns, underground detention facilities can store water for later use as irrigation and/or other non-potable uses.

# Feasibility Screening Considerations

- The primary feasibility considerations for harvest and use systems for stormwater management is the presence of consistent and reliable demand that is sufficient to drain the systems relatively quickly between storms. Appendix X provides guidance for calculating harvested water demand.

- Use of harvested water should not conflict with applicable plumbing and health codes at the time of project application.

# Opportunity Criteria

- Cisterns may collect rooftop runoff, and if located underground, may collect ground-level runoff.

- Cisterns may be installed in any type of land use provided space is available and adequate water demand exists.

- Stored water may supply non-potable water use demands such as irrigation and toilet flushing.

- Cisterns and underground detention facilities may also be used for peak flow control if active storage volume and hydraulic controls are provided above the retained storage or systems are operated with advanced controllers.

# OC-Specific Design Criteria and Considerations for Above-Ground Cisterns

|  | - Cistern systems should include prescreening in the form of screens on gutters and downspouts to remove vegetative debris and sediment from the runoff prior to entering the cistern. |
| --- | --- |
|  | - Above-ground cisterns should be secured in place and comply with applicable building codes. |
|  | - Above-ground cisterns should not be located on uneven or sloped surfaces; if installed on a sloped surface, the base where the cistern will be installed should be leveled and designed for the weight of the filled cistern prior to installation. |
|  | - Child-resistant covers and mosquito screens should be placed on all water entry holes. |
|  | - A first flush diverter may be installed so that initial runoff bypasses the cistern. |
|  | - Above-ground cisterns should be installed in a location with easy access for maintenance or replacement. |
|  | - Plumbing systems should be installed in accordance with the current California Building and Plumbing Codes (CBC – part of California Code of Regulations, Title 24). |
|  | When a potable water supply line is connected to a cistern system to provide dry-season make-up water, cross-contamination should be prevented by providing a backflow prevention system on the potable water supply line and/or an air gap. |
|  | In cases where there is non-potable indoor use demand, proper pretreatment measures should be installed such as pre-filtration, cartridge filtration, and/or disinfection. |

# OC-Specific Design Criteria and Considerations for Underground Cisterns/Detention Systems

|  | Access entry covers (36” diameter minimum) should be locking and within 50 feet of all areas of the detention tank. |
| --- | --- |
|  | In cases where the detention facility provides sediment containment, the facility should be laid flat and there should be at least ½ foot of dead storage within the tank or vault. |
|  | Outlet structures should be designed using the 100-year storm as overflow and should be easily accessible for maintenance activities. |
|  | For detention facilities beneath roads and parking areas, structural requirements should meet H-20 load requirements. |
|  | In cases where shallow groundwater may cause flotation, buoyant forces should be counteracted with backfill, anchors, or other measures. |
|  | Underground detention facilities should be installed on consolidated and stable native soil; if the facility is constructed in fill slopes, a geotechnical analysis should be performed to ensure stability. |
|  | Plumbing systems should be installed in accordance with the current California Building and Plumbing Codes (CBC – part of California Code of Regulations, Title 24). |
|  | When a potable water supply line is connected to a cistern system to provide dry-season make-up water, cross-contamination should be prevented by providing a backflow prevention system on the potable water supply line and/or an air gap. |
|  | In cases where there is non-potable indoor reuse demand, proper pretreatment measures should be installed such as pre-filtration, cartridge filtration, and/or disinfection. |

Types of Harvested Water Demands

Harvested rainwater can be used for irrigation and other non-potable uses (if local, State, and Federal ordinances allow). The use of captured stormwater allows a reduced demand on the potable water supply.

Irrigation Use

- Subsurface (or drip) irrigation should not require disinfection pretreatment prior to use; other irrigation types, such as spray irrigation, may require additional pretreatment prior to use

- Selecting native and/or drought tolerant plants for landscaped area will reduce irrigation demand, thereby reducing the needed size of the storage facility and the amount of tributary area that can be successfully managed with a harvest and use system.

Indoor Use

- Indoor uses generally require filtration and disinfection and should only be considered if permitted by local, State, or Federal codes and ordinances.

- Domestic uses (single-family uses) may include toilet flushing.

- Offices, commercial developments, and industrial facility indoor uses may use cisterns for toilet and urinal flushing.   Demands for these specific  land uses are include in Appendix X.

- Pretreatment requirements per local, State, or Federal codes and ordinances should be applied

Other Non-Potable Uses

- Other non-potable uses may include vehicle/equipment washing, evaporative cooling, industrial processes, and dilution water for recycled water systems (if local, State, and Federal ordinances allow)

- Pretreatment requirements per local, State, or Federal codes and ordinances should be applied

Harvested Water Demand Calculations and Feasibility Thresholds

- Appendix X provides guidance for estimating harvesting water demand and determining whether demand is potentially sufficient to provide a significant benefit for stormwater management.

Simple Sizing Method for Cisterns

If the Simple Design Capture Volume Sizing Method described in Appendix III.3.1 is used to size harvest and use systems, the user calculates the DCV and determines whether demand is sufficient to drain the tank in 48 hours following the end of rainfall.  The sizing steps are as follows:

Step 1: Determine Cistern DCV

Calculate the DCV using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1. This is the required cistern size.

Step 2: Determine the 48-hour Required Demand

Calculate the daily demand needed to draw down the DCV in 48 hours using the following equation:

Demand48 = (DCV/2)*7.48

- Where:

Demand48 = daily demand required (gal/day)

DCV = design capture volume, cu-ft

Use the guidance in Appendix X determine the non-potable uses needed to generate the required demand.

# Designing Cisterns to Achieve the Maximum Feasible Retention Volume

It is rare that cisterns can be sized to capture the full DCV and use this volume in 48 hours. However, if the demand exceeds minimum harvested water demand thresholds, cisterns should be sized to achieve at least 40 percent capture of average annual runoff volume.

Step 1: Determine if the Project Meets the Minimum Harvested Water Demand Thresholds

Determine the Project’s design capture storm depth, then use the TUTIA thresholds table (Appendix X) for indoor uses, or the Irrigated Area thresholds table (Appendix X) for outdoor uses, to determine whether the project meets the minimum harvested water demand thresholds. If the project does not meet the minimum harvested water demand thresholds, harvest and use does not meet the minimum incremental benefit required to such that its use must be evaluated. .

If the project meets or exceeds the minimum harvested water demand thresholds, continue to Step 2 or Step 3 (equally-allowable pathways).

Step 2: Iteratively Determine the Cistern Volume for 80 percent capture of average annual stormwater runoff volume

Cisterns can be sized using the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2). This approach requires an iterative sizing process in which the user selects the initial cistern size and the project harvested water demand, then calculates the time required for the cistern to drain. Based on the drain time, the cistern size is increased or decreased and the calculations are done again until the initially assumed size and the required size are within 10 percent.

- Calculate wet season harvested water demand using guidance contained in Appendix X.

- Select cistern size in terms of the design rainfall depth.

- Calculate the cistern volume using hydrologic method described in Appendix III.1.1.

- Compute the drawdown time of the cistern as:

Drawdown Time (hr)  = [Volume (cu-ft) × 7.48 gal/cu-ft× 24hr/day]/[Demand (gpd)]

- Based on design rainfall depth and drawdown time using guidance provided in Appendix III to calculate long term average capture efficiency.

- If capture is between 75 and 85 percent, further iterations are not required.

- If capture is less than 80 percent capture of average annual stormwater runoff volume, return to Step (b) and increase design rainfall depth.

- If capture is greater than 80 percent, return to Step (b) and increase design rainfall depth.

Step 3: Determine Cistern Volume and Drawdown to Achieve Maximum Practicable Capture Efficiency

The applicant is not required to provide a cistern greater than the DCV to demonstrate that BMPs have been designed to achieve the maximum feasible retention. The following steps should be used to compute the maximum feasible fraction of stormwater than can be retained with harvest and use BMPs:

- Calculate wet season harvested water demand using guiance contained in Appendix X, accounting for all applicable demands.

- Calculate the DCV using hydrologic method described in Appendix III.1.1 and size the cistern for this volume.

- Compute the drawdown time of the cistern as:

Drawdown Time (hr)  = [Volume (cu-ft) × 7.48 gal/cu-ft× 24hr/day]/[Demand (gpd)]

- Based on 1.0 × design capture storm depth and the drawdown time computed in Step I, calculate the long term average capture efficiency using the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2).

- If capture efficiency is less than 40 percent, harvest and use is not required to be considered for use on the project.

- If capture efficiency is greater than 40 percent, provide a cistern sized for the DCV and provide volume or flowate to treat the remaining volume up to 80 percent total average annual capture using biotreatment BMP.

# Configuration for Use in a Treatment Train

- Cisterns can be combined into a treatment train to provide enhanced water quality treatment and reductions in the runoff volume and rate.  For example, if a green roof is placed upgradient of a cistern, the rate and volume of water flowing to the cistern can be reduced and the water quality enhanced.

- Cisterns can be incorporated into the landscape design of a site and can be aesthetically pleasing as well as functional for irrigation purposes.

- Treatment of the captured rainwater (i.e. disinfection) may be required depending on the end use of the water.

- Cisterns can be designed to overflow to biotreatment BMPs.

# Additional References for Design Guidance

- Santa Barbara BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- County of Los Angeles Low Impact Development Standards Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

- SMC LID Manual (pp 114): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 26):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

## Biotreatment BMP Fact Sheets (BIO)

Conceptual criteria for biotreatment BMP selection, design, and maintenance are contained in Appendix XII.  These criteria are generally applicable to the design of biotreatment BMPs in Orange County and BMP-specific guidance is provided in the following fact sheets.

Bioretention

Source: Geosyntec Consultants

Also known as:

- Rain gardens with underdrains

- Vegetated media filter

- Downspout planter boxes

Note: Biotreatment BMPs shall be designed to provide the maximum feasible infiltration and ET based on criteria contained in Appendix XI.2.

### BIO-1: Bioretention with Underdrains

Bioretention stormwater treatment facilities are landscaped shallow depressions that capture and filter stormwater runoff. These facilities function as a soil and plant-based filtration device that removes pollutants through a variety of physical, biological, and chemical treatment processes. The facilities normally consist of a ponding area, mulch layer, planting soils, and plants. As stormwater passes down through the planting soil, pollutants are filtered, adsorbed, biodegraded, and sequestered by the soil and plants. Bioretention with an underdrain are utilized for areas with low permeability native soils or steep slopes where the underdrain system that routes the treated runoff to the storm drain system rather than depending entirely on infiltration. Bioretention must be designed without an underdrain in areas of high soil permeability.

# Feasibility Screening Considerations

- If there are no hazards associated with infiltration (such as groundwater concerns, contaminant plumes or geotechnical concerns), bioinfiltration facilities, which achieve partial infiltration, should be used to maximize infiltration.

- Bioretention with underdrain facilities should be lined if contaminant plumes or geotechnical concerns exist.  If high groundwater is the reason for infiltration infeasibility, bioretention facilities with underdrains do not need to be lined.

# Opportunity Criteria

- Land use may include commercial, residential, mixed use, institutional, and subdivisions.  Bioretention may also be applied in parking lot islands, cul-de-sacs, traffic circles, road shoulders, road medians, and next to buildings in planter boxes.

- Drainage area is ≤ 5 acres.

- Area is available for infiltration.

- Site must have adequate relief between land surface and the stormwater conveyance system to permit vertical percolation through the soil media and collection and conveyance in underdrain to stormwater conveyance system.

# OC-Specific Design Criteria and Considerations

|  | - Ponding depth should not exceed 18 inches; fencing may be required if ponding depth is greater than 6 inches to mitigate drowning. |
| --- | --- |
|  | - The minimum soil depth is 2 feet (3 feet is preferred). |
|  | - The maximum drawdown time of the bioretention ponding area is 48 hours. The maximum drawdown time of the planting media and gravel drainage layer is 96 hours, if applicable. |
|  | - Infiltration pathways may need to be restricted due to the close proximity of roads, foundations, or other infrastructure. A geomembrane liner, or other equivalent water proofing, may be placed along the vertical walls to reduce lateral flows. This liner should have a minimum thickness of 30 mils. |
|  | - If infiltration in bioretention location is hazardous due to groundwater or geotechnical concerns, a geomembrane liner must be installed at the base of the bioretention facility. This liner should have a minimum thickness of 30 mils. |
|  | - The planting media placed in the cell shall be designed per the recommendations contained in MISC-1: Planting/Storage Media |
|  | - Plant materials should be tolerant of summer drought, ponding fluctuations, and saturated soil conditions for 48 hours; native place species and/or hardy cultivars that are not invasive and do not require chemical inputs should be used to the maximum extent feasible |
|  | - The bioretention area should be covered with 2-4 inches (average 3 inches) or mulch at the start and an additional placement of 1-2 inches of mulch should be added annually. |
|  | - Underdrain should be sized with a 6 inch minimum diameter and have a 0.5% minimum slope. Underdrain should be slotted polyvinyl chloride (PVC) pipe; underdrain pipe should be more than 5 feet from tree locations (if space allows). |
|  | - A gravel blanket or bedding is required for the underdrain pipe(s). At least 0.5 feet of washed aggregate must be placed below, to the top, and to the sides of the underdrain pipe(s). |
|  | - An overflow device is required at the top of the bioretention area ponding depth. |
|  | - Dispersed flow or energy dissipation (i.e. splash rocks) for piped inlets should be provided at basin inlet to prevent erosion. |
|  | - Ponding area side slopes shall be no steeper than 3:1 (H:V) unless designed as a planter box BMP with appropriate consideration for trip and fall hazards. |

Simple Sizing Method for Bioretention with Underdrain

If the Simple Design Capture Volume Sizing Method described in Appendix III.3.1 is used to size a bioretention with underdrain facility, the user selects the basin depth and then determines the appropriate surface area to capture the DCV.  The sizing steps are as follows:

Step 1: Determine DCV

Calculate the DCV using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1.

Step 2: Verify that the Ponding Depth will Draw Down within 48 Hours

The ponding area drawdown time can be calculated using the following equation:

DDP = (dP / KMEDIA) × 12 in/ft

Where:

DDP = time to drain ponded water, hours

dP = depth of ponding above bioretention area, ft (not to exceed 1.5 ft)

KMEDIA = media design infiltration rate, in/hr (equivalent to the media hydraulic conductivity with a factor of safety of 2; KMEDIA of 2.5 in/hr should be used unless other information is available)

If the drawdown time exceeds 48 hours, adjust ponding depth and/or media infiltration rate until 48 hour drawdown time is achieved.

Step 3: Determine the Depth of Water Filtered During Design Capture Storm

The depth of water filtered during the design capture storm can be estimated as the amount routed through the media during the storm, or the ponding depth, whichever is smaller.

dFILTERED = Minimum [ ((KMEDIA × TROUTING)/12), dP]

Where:

dFILTERED = depth of water that may be considered to be filtered during the design storm event, ft

KMEDIA = media design infiltration rate, in/hr (equivalent to the media hydraulic conductivity with a factor of safety of 2; KMEDIA of 2.5 in/hr should be used unless other information is available)

TROUTING = storm duration that may be assumed for routing calculations; this should be assumed to be no greater than 3 hours. If the designer desires to account for further routing effects, the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) should be used.

dP = depth of ponding above bioretention area, ft (not to exceed 1.5 ft)

Step 4: Determine the Facility Surface Area

A = DCV/ (dP + dFILTERED)

- Where:

A = required area of bioretention facility, sq-ft

DCV = design capture volume, cu-ft

dFILTERED = depth of water that may be considered to be filtered during the design storm event, ft

dP = depth of ponding above bioretention area, ft (not to exceed 1.5 ft)

# Capture Efficiency Method for Bioretention with Underdrains

If the bioretention geometry has already been defined and the user wishes to account more explicitly for routing, the user can determine the required footprint area using the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to determine the fraction of the DCV that must be provided to manage 80 percent of average annual runoff volume. This method accounts for drawdown time different than 48 hours.

Step 1: Determine the drawdown time associated with the selected basin geometry

DD = (dp / KDESIGN) × 12 in/ft

Where:

DD = time to completely drain infiltration basin ponding depth, hours

dP = bioretention ponding depth, ft (should be less than or equal to 1.5 ft)

KDESIGN = design media infiltration rate, in/hr (assume 2.5 inches per hour unless otherwise proposed)

If drawdown is less than 3 hours, the drawdown time should be rounded to 3 hours or the Capture Efficiency Method for Flow-based BMPs (See Appendix III.3.3) shall be used.

Step 2: Determine the Required Adjusted DCV for this Drawdown Time

Use the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs (See Appendix III.3.2) to calculate the fraction of the DCV the basin must hold to achieve 80 percent capture of average annual stormwater runoff volume  based on the basin drawdown time calculated above.

Step 3: Determine the Basin Infiltrating Area Needed

The required infiltrating area (i.e. the surface area of the top of the media layer) can be calculated using the following equation:

- A = Design Volume / dp

Where:

- A = required infiltrating area, sq-ft (measured at the media surface)

- Design Volume = fraction of DCV, adjusted for drawdown, cu-ft (see Step 2)

dp = ponding depth of water stored in bioretention area, ft (from Step 1)

This does not include the side slopes, access roads, etc. which would increase bioretention footprint. If the area required is greater than the selected basin area, adjust surface area or adjust ponding depth and recalculate required area until the required area is achieved.

# Configuration for Use in a Treatment Train

- Bioretention areas may be preceeded in a treatment train by HSCs in the drainage area, which would reduce the required design volume of the bioretention cell.  For example, bioretention could be used to manage overflow from a cistern.

- Bioretention areas can be used to provide pretreatment for underground infiltration systems.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-32.pdf

- SMC LID Manual (pp 68): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 5: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 7):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- County of Los Angeles Low Impact Development Standards Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

Also known as:

- Bioswale

- Biofiltration swale

- Grass swale

BIO-2: Vegetated Swale

Vegetated Swale 
Source: Geosyntec Consultants

Vegetated swale filters (vegetated swales) are open, shallow channels with low-lying vegetation covering the side slopes and bottom that collect and slowly convey runoff flow to downstream discharge points. Vegetated swales provide pollutant removal through settling and filtration in the vegetation (usually grasses) lining the channels. In addition, they provide the opportunity for volume reduction through infiltration and ET, and reduce the flow velocity in addition to conveying storm water runoff. Where soil conditions allow, volume reduction in vegetated swales can be enhanced by adding a gravel drainage layer underneath the swale allowing additional flows to be retained and infiltrated. Where slopes are shallow and soil conditions limit or prohibit infiltration, an underdrain system or low flow channel for dry weather flows may be required to minimize ponding and convey treated and/or dry weather flows to an acceptable discharge point.  An effective vegetated swale achieves uniform sheet flow through a densely vegetated area for a period of several minutes. The vegetation in the swale can vary depending on its location within the project area and is generally the choice of the designer, subject to the design criteria outlined in this section.

# Feasibility Screening Considerations

- Swales may cause incidental infiltration; however, infiltration is not a mandatory mechanism for pollutant removal for swales and it may create hazards in some circumstances.  Therefore, conditions should be evaluated to determine whether circumstances require an impermeable liner to avoid infiltration into the subsurface.

# Opportunity Criteria

- Open areas are needed for vegetated swales, including, but not limited to, road shoulders, road medians, parks and athletic fields and can be constructed in residential or commercial areas.

- Site slope is less than 10 percent.

- Drainage area is ≤ 5 acres.

- Vegetated swales must not interfere with flood control functions of existing conveyance and detention structures.

# OC-Specific Design Criteria and Considerations

|  | Swales should have a minimum bottom width of 2 feet and a maximum bottom width of 10 feet. Swale dividers should be used if the bottom width must exceed 10 feet to promote even distribution of flow across the swale. Local juridictions may require larger minimum widths based on maintenance requirements. |
| --- | --- |
|  | The channel side slope should not exceed 2:1 (H:V) for a total swale depth of 1 foot or less. For deeper swales or mowed grass swales, the maximum channel side slope should be 3:1. Where space is constrained, swales may have vertical concrete or block walls provided that slope stability, maintenance access and public safety considerations are met. |
|  | The minimum swale length for biotreatment applications is 100 feet. The minimum residence time for flows in the swale is 10 minutes. |
|  | If slope is less than 1.5%, underdrains should be provided for the length of the swale |
|  | A gravel blanket or bedding is required around the underdrain pipe(s). At least 0.5 feet of washed aggregate must be placed below, to the top, and to the sides of the underdrain pipe(s). |
|  | If an underdrain is included, an amended soil layer of 1 foot minimum thickness must be provided above the underdrain meeting the specifications of MISC-1: Planting/Storage Media. |
|  | The maximum bed slope in flow direction should not exceed 6% (unles check dams are provided). |
|  | The maximum flow velocity should not exceed 1.0 ft/sec for water quality treatment swales. |
|  | For infrequently mowed swales, a maximum flow depth of 4 inches should be implemented. For frequently mowed turf swales, the maximum flow depth is 2 inches. |
|  | The vegetation height should be maintained between 4 to 6 inches. |
|  | Gradual meandering bends in the swale are desirable for aesthetic purposes and to promote slower flow and particulate settling. |
|  | Blockages in the swale that result in uneven flow distribution and points of concentrated flow should be avoided. Blockages that should be avoided include trees, bushes, light pole piers, and utility vaults or pads. |

Sizing Method for Vegetated Swales

The Design Capture Method for Flow-based BMPs should be used to determine the design flowrate for a vegetated swale. The user then selects the design flow depth and longitudinal slope and uses the sizing steps below to determine the length and width of the swale. The sizing steps are as follows:

Step 1: Determine Design Flowrate (Q)

Calculate the Design Flowrate (Q) using the Capture Efficiency Method for Flow-based BMPs (See Appendix III.3.3). Inputs include the time of concentration of the catchment (Tc) and the capture efficiency achieved upstream by HSCs or other BMPs.

Step 2: Estimate the Swale Bottom Width

For shallow flow depths, channel side slopes can be ignored and the bottom width can be calculated using a simplified form of Manning’s formula:

b = (Q × nWQ) / (1.49 × y1.67 × s0.5)

Where:

b = estimated swale bottom width, ft

Q = design flowrate, cfs

nWQ = Manning’s roughness coefficient for shallow flow conditions, use 0.2 unless other information is available

y = design flow depth, ft (not to exceed 4 inches or 0.33 ft)

s = longitudinal slope in flow direction, ft/ft (not to exceed 0.06)

If b is between 2 and 10 feet, proceed to step 3.

If b is less than 2 feet, increase b to 2 feet and recalculate design flow depth using the following:

y = ((Q × nWQ) / (1.49 × b × s0.5))0.6

If b is greater than 10 feet, one of the following steps is necessary:

- Increase longitudinal slope to a maximum of 6% or 0.06, and recalculate b

- Increase design flow depth to a maximum of 4 inches or 0.33 ft, and recalculate b

- Install a divider lengthwise along swale bottom at least three-quarters of the swale length, beginning at the inlet. The swale width can be increased to 16 feet if a divider is provided.

Step 3: Determine Design Flow Velocity

Calculate the design flow velocity using the following equation:

VWQ = Q / AWQ

Where:

VWQ = design flow velocity, fps

Q = design flowrate, cfs

AWQ = by + Zy2, cross sectional area of flow at design depth

Z = side slope length per unit height

If the design flow velocity exceeds 1 foot per second, design parameters in Step 2 should be adjusted (slope, bottom width, or design flow depth) until VWQ  is equal or less than 1 fps.

Step 4: Calculate Swale Length

Calculate the swale length needed to achieve a minimum hydraulic residence time of 10 minutes using the following equation:

L = 60 × tHR × VWQ

Where:

L = swale length, ft

tHR = hydraulic residence time, min (minimum 10 minutes)

VWQ = design flow velocity, fps

Step 5: If Needed, Adjust Swale Length to Site Constraints

Note that oftentimes swale length can be accomodated by providing a meandering swale.  However, if swale length is too large for the site, the length can be adjusted as follows:

- Calculate the swale treatment top area (Atop), based on the swale length calculated in Step 4:

ATOP = (bi + bSLOPE) × Li

Where:

ATOP = top area (ft2) at the design treatment depth

bi  =  bottom width (ft), calculated in Step 2

bSLOPE  =  the additional top width (ft) above the side slope for the design water depth (for 3:1 side slopes and a 4-inch water depth, bslope = 2 feet)

Li  = initial length (ft) calculated in Step 4

- Use the swale top area and a reduced swale length (Lf) to increase the bottom width, using the following equation:

LF = ATOP / (bF + bSLOPE)

Where:

LF = reduced swale length (ft)

bF = increased bottom width (ft)

- Recalculate VWQ according to Step 3 using the revised cross-sectional area AWQ based on the increased bottom width (bF).  Revise the design as necessary if the design flow velocity exceeds 1 foot per second.

- Recalculate to ensure that the 10 minute retention time is retained.

# Configuration for Use in a Treatment Train

- Vegetated swales can be incorporated in a treatment train to provide enhanced water quality treatment and reductions in runoff volume and rate. For example, if a vegetated swale is placed upgradient of a dry extended detention (ED) basin, the rate and volume of water flowing to the dry ED basin can be reduced and the water quality enhanced. As another example, dry ED basins may be placed upstream a vegetated swale to reduce the size of the vegetated swale.

- Vegetated swales can be used as pretreatment for infiltration BMPs.

- If designed with an infiltration sump, vegetated “bioinfiltration” swales can provide retention and biotreatment capacity.

# Additional References for Design Guidance

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- Santa Barbara BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- County of San Diego Drainage Design Manual for design criteria, Section 5.5:   http://www.co.san-diego.ca.us/dpw/floodcontrol/floodcontrolpdf/drainage-designmanual05.pdf

- County of Los Angeles Low Impact Development Standards Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

Also known as:

- Buffer strip

- Vegetated buffer

Vegetated filter strip.

Source: http://www.wsdot.wa.gov/Environment/WaterQuality/Research/Reports.htm

BIO-3: Vegetated Filter Strip

Vegetated filter strips are designed to treat sheet flow runoff from adjacent impervious surfaces or intensive landscaped areas such as golf courses. Filter strips decrease runoff velocity, filter out total suspended solids and associated pollutants, and provide some infiltration into underlying soils. While some assimilation of dissolved constituents may occur, filter strips are generally more effective in trapping sediment and particulate-bound metals, nutrients, and pesticides. Filter strips are more effective when the runoff passes through the vegetation and thatch layer in the form of shallow, uniform flow. Biological and chemical processes may help break down pesticides, uptake metals, and utilize nutrients that are trapped in the filter.

# Feasibility Screening Considerations

- Vegetated filter strips may cause incidental infiltration.  Therefore, an evaluation of site conditions should be conducted to evaluate whether the BMP should include an impermeable liner to avoid infiltration into the subsurface.

# Opportunity Criteria

- Filter strips provide an attractive and inexpensive vegetative storm water runoff BMP that can be easily incorporated into the landscape design of a site.

- Open areas are needed for vegetated filter strips, including road and highway shoulders, small parking lots, and residential, commercial, or institutional landscaped areas.

- Must be sited adjacent to impervious surfaces which can sheet flow onto filter strips.

- Shallow, evenly distributed flow across entire width of strip is recommended.

- Steep terrain and/or a large tributary area may cause concentrated, erosive flows. The site slope should not exceed 5%.

- Drainage area is ≤ 2 acres with a maximum length (in the direction of flow towards the filter strip) of 150 feet.

# OC-Specific Design Criteria and Considerations

|  | For biotreatment applications, the minimum length in the flow direction is 15 feet, and the maximum length in the flow direction is 150 feet. If filter strip is used for pretreatment, the minimum filter strip length is 7.5 feet. |
| --- | --- |
|  | The width of the filter strip should extend across the full width of the tributary area, with the upstream boundary of the filter strip located contiguous to the developed area. |
|  | A minimum design residence time of 10 minutes is recommended for biotreatment applications, or 5 minutes for pretreatment uses. |
|  | The bed slope in flow direction should be between 2 - 6%. |
|  | The slope in the direction perpendicular to flow should not exceed 4%. |
|  | The maximum design flow depth should be 1 inch. |
|  | The design flow velocity should not exceed 1 ft/sec. |
|  | Irrigated turf grass or approved equal should be used for vegetation. Grass height should be maintained between 2 – 4 inches. |
|  | The top of the strip should be installed 2 to 5 inches below the adjacent pavement to allow for vegetation and sediment accumulation at the edge of the strip. A beveled transition is acceptable and may be required per roadside design specifications |

Sizing Approach for Vegetated Filter Strip

The Design Capture Method for Flow-based BMPs should be used to determine the design flowrate for a vegetated filter strip. The user then selects the design flow depth and longitudinal slope and uses the sizing steps below to determine the length and width of the swale. The sizing steps are as follows:

Step 1: Determine Design Flowrate (Q)

Calculate the Design Flowrate (Q) using the Capture Efficiency Method for Flow-based BMPs (See Appendix III.3.3). Inputs include the time of concentration of the catchment (Tc) and the capture efficiency achieved upstream by HSCs or other BMPs.

Step 2: Calculate the Minimum Filter Strip Width

WMIN = Q / qA,MIN

Where:

WMIN = minimum width of filter strip (and tributary area), ft

Q =	design flow, cfs

qA,MIN = minimum linear unit application rate, 0.005 cfs/ft

Step 3: Calculate the Design Flow Depth

dF = 12 × ((Q × nWQ) / (1.49 × WTRIB × s0.5))0.6

Where:

dF = design flow depth, in

Q =	design flow, cfs

nWQ = Manning’s roughness coefficient for shallow flow conditions, use 0.2 unless other information is available

W = width of strip (and tributary area), ft (should be equal or greater than WMIN)

s = longitudinal slope in flow direction, ft/ft (not to exceed 0.06)

Step 4: Calculate the Filter Strip Design Velocity

Calculate the filter strip design velocity using the following equation:

VWQ = Q / (dF × W)

Where:

VWQ = filter strip design flow velocity, fps

dF = design flow depth, in

Q =	design flow, cfs

W = width of strip (and tributary area), ft

- The design flow velocity should not exceed 1 foot per second.  If the velocity exceeds 1 fps, adjust the strip longitudinal slope to decrease the velocity.

Step 5: Calculate Filter Strip Length

Calculate the filter strip length required to achieve the required minimum residence time using the following equation:

L = 60 × tHR × VWQ

Where:

L = filter strip length, ft (must be 15 ft to 150 ft for biotreatment)

tHR = hydraulic residence time, min (minimum 10 minutes for biotreatment)

VWQ = design flow velocity, fps

# Configuration for Use in a Treatment Train

- Filter strips are often used as pretreatment devices for other larger capacity BMPs such as bioretention areas and assist by filtering sediment and associated pollutants prior to entering the larger capacity BMP, preventing clogging and reducing the maintenance requirements for larger capacity BMPs.

# Additional References for Design Guidance

- Santa Barbara BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 4: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- SMC LID Manual (pp 135): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

### BIO-4: Wet Detention Basin

Wet Detention Basin

Source: Geosyntec Consultants

Also known as:

- Wet Ponds

- Retention Ponds

Wet detention basins are constructed, naturalistic ponds with a permanent or seasonal pool of water (also called a “wet pool” or “dead storage”). Aquascape facilities, such as artificial lakes, are a special form of wet pool facility that can incorporate innovative design elements to allow them to function as a stormwater treatment facility in addition to an aesthetic water feature. Wet ponds require base flows to exceed or match losses through evaporation and/or infiltration, and they must be designed with the outlet positioned and/or operated in such a way as to maintain a permanent pool. Wet ponds can be designed to provide extended detention of incoming flows using the volume above the permanent pool surface.

# Feasibility Screening Considerations

- Feasibility screening is not applicable to wet ponds; however the potential risk of groundwater contamination should be considered in selection and design.

# Opportunity Criteria

- Can provide aesthetic/recreational value for a project.

- Requires relatively large open space area at outlet of drainage area.

- Generally most applicable for drainage areas larger than 10 acres; however may be applied to smaller drainage areas.

- Applicable in drainage areas with source of base flow to maintain water level.

# OC-Specific Design Criteria and Considerations

|  | Minimum set-backs from foundations and slopes should be observed. |
| --- | --- |
|  | Retention of permanent pool volume should not cause geotechnical concerns related to slope stability. Proposed basins in areas with slopes greater than 15 percent or within 200 feet from the top of a hazardous slope or landslide area require geotechnical investigation. |
|  | Design should include a sediment forebay to remove coarse solids. |
|  | Flow path length to width ratio is 2:1 (minimum) and 3:1 or greater (preferred). |
|  | Maximum side slope (H:V) should be 4:1 interior and 3:1 exterior, unless protected from public access by fencing and approved for stability by a geotechnical professional. |
|  | Wetland vegetation must not occupy more than 25% of surface area. |
|  | A buffer zone with a minimum width of 25 feet should be provided around the top perimeter of the wet detention basin. |
|  | Inlets and outlets should be positioned to maximize flowpaths through the facility. All inlets should enter the first cell of the wet detention basin. |
|  | The inlet to wet detention basin should be submerged to dissipate the energy of incoming flow. Energy dissipation should also be used at the outlet of the basin. |
|  | Minimum freeboard should be 1 foot (2 feet preferred) above the maximum water surface elevation for on-line basins and 1 foot maximum for off-line basins. |
|  | Maximum basin residence time for dry weather flows is 7 days. |

Computing Sizing Criteria for Wet Detention Basins

- This document does not provide specific sizing guidance for wet detention basins. Wet basins should be designed by a team of specialists that understand wetland ecology and biology and are familiar with methods to avoid stagnation, odors, and vector issues associated with maintaining a permanent pool.  The BMP designer(s) must demonstrate that the facility is sized to capture and treat the volume of runoff not being addressed by upstream BMPs such that 80 percent of average annual stormwater runoff volume from the site is retained or biotreated.

- The retention volume within a wet detention basin is the equal to the permanent pool volume.  The drawdown time criteria, or the rate at which the retention volume becomes available, does not apply to wet detention basins. All runoff in excess of the retention volume that flows through the basin is considered biotreated.

- The permanent pool volume should be at least 50 percent of the volume of active (extended detention) storage.

# Configuration for Use in a Treatment Train

- Wet detention basins would generally be designed to serve as the final BMP before discharging runoff off-site.

- Wet detention basins may be preceeded in a treatment train by HSCs and LID BMPs in the drainage area, which would reduce the pollutant load and volume of runoff entering the basin, thereby reducing the sizing requirments of the wet detention basin.

- Wet detention basins can be designed to precede other LID or treatment control BMPs, providing equalization and pretreatment.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-20.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- LA County LID Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

- Portland Stormwater Management Manual: http://www.portlandonline.com/bes/index.cfm?c=47953&

- Western Washington Stormwater Management Manual, Volume V, Chapter 10:  http://www.ecy.wa.gov/pubs/0510033.pdf

### BIO-5: Constructed Wetland

Constructed Wetland

Source: Geosyntec Consultants

Also known as:

- Stormwater Wetlands

- Wetland Basins

- Treatment Wetland

A constructed wetland is a system consisting of a sediment forebay and one or more permanent micro-pools with aquatic vegetation covering a significant portion of the basin. Constructed treatment wetlands typically include components such as an inlet with energy dissipation, a sediment forebay for settling out coarse solids and to facilitate maintenance, shallow sections (1 to 2 feet deep) planted with emergent vegetation, deeper areas or micro pools (3 to 5 feet deep), and a water quality outlet structure. The interactions between the incoming stormwater runoff, aquatic vegetation, wetland soils, and the associated physical, chemical, and biological unit processes are a fundamental part of constructed wetlands.

# Feasibility Screening Considerations

- Feasibility screening is not applicable to constructed wetlands; however the potential risk of groundwater contamination should be considered in selection and design.

# Opportunity Criteria

- Potential regional treatment for a relatively large watershed drainage area.

- Applicable for use with projects involving roads, highways, commercial residences, parks, open spaces, or golf courses.

- Requires large footprint area.  Applicable for drainage areas treating areas larger than 10 acres and less than 10 square miles.

- Applicable in drainage areas with source of base flow to maintain water level.

- Wetlands present potential safety concerns and habitat for mosquito and midge breeding.

# OC-Specific Design Criteria and Considerations

|  | Minimum set-backs from foundations and slopes should be observed. |
| --- | --- |
|  | Infiltration should not cause geotechnical concerns related to slope stability or erosion. Proposed basins in areas with slopes greater than 7 percent or within 200 feet from the top of a hazardous slope or landslide area require geotechical investigation and report completed by licensed civil engineer. |
|  | A natural shape and range of intermixed depths is recommended for constructed wetland geometry. |
|  | Design includes sediment forebay to remove coarse solids. |
|  | Maximum residence time equals 7 days (dry weather). |
|  | Flow path length to width ratio is 3:1 (minimum) and 4:1 or greater (preferred). |
|  | Minimum side slope ratio (H:V) should be 4:1 for interior side slopes, 2:1 for exterior sideslopes, and 3:1 for landscaped slopes. |
|  | A buffer zone with a minimum width of 25 feet should be provided around the top perimeter of the constructed treatment wetlands. |
|  | A source of water should be provided if water balance indicates losses will exceed inputs. |
|  | Inlets and outlets should be positioned to maximize flowpaths through the facility. All inlets should enter the first cell of the wet detention basin. |
|  | Minimum freeboard should be 1 foot above the maximum water surface elevation. |

Computing Sizing Criteria for Constructed Wetlands

- This document does not provide specific sizing guidance for constructed wetlands. Wetlands should be designed by a team of wetland specialists that understand wetland ecology and biology and are familiar with methods to avoid stagnation, odors, and vector issues associated with maintaining a permanent pool.  The BMP designer(s) must demonstrate that the facility is sized to capture and treat the volume of runoff not being addressed by upstream BMPs such that 80 percent of the total average annual runoff from the site is retained or treated.

- The retention volume within a constructed wetland is the equal to the permanent pool volume. The drawdown time criteria, or the rate at which the retention volume becomes available, does not apply to constructed wetlands.  All runoff in excess of the retention volume that flows through the wetland is considered biotreated.

# Configuration for Use in a Treatment Train

- Constructed wetland basins would generally be designed to serve as the final BMP before discharging runoff off-site.

- Constructed wetland basins may be preceded in a treatment train by HSCs and LID BMPs in the drainage area, which would reduce the pollutant load and volume of runoff entering the basin, thereby reducing the sizing requirments of the wet detention basin.

# Additional References for Design Guidance

Western Washington Stormwater Management Manual, Volume V, Chapter 10:  http://www.ecy.wa.gov/pubs/0510033.pdf

CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-21.pdf

Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 7: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

LA County LID Manual, Chapter 5: http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

SMC LID Manual: http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

Dry Extended Detention Basin, Source: Geosyntec Consultants

Also known as:

- Dry Ponds

- Detention Ponds

BIO-6: Dry Extended Detention Basin

Dry extended detention basins (DEDBs) are basins whose outlets have been designed to detain the stormwater quality design volume, SQDV, for 36 to 48 hours to allow particulates and associated pollutants to settle out.  DEDBs do not have a permanent pool; they are designed to drain completely between storm events. They can also be used to provide hydromodification and/or flood control by modifying the outlet control structure and providing additional detention storage. The slopes, bottom, and forebay of DEDBs are typically vegetated. Considerable stormwater volume reduction can occur in DEDBs when they are located in permeable soils and are not lined with an impermeable barrier.

For dry extended detention basins to be considered as biotreatment BMPs, they must meet all applicable guidelines described in this Fact Sheet and in Appendix XII.

If dry extended detention basins do not meet these guidelines, they shall be considered treatment control BMPs.

# Level 1 Screening Considerations

- Infiltration feasibility is not generally applicable to DEDBs; however some incidental infiltration will occur.

- The potential risk of groundwater contamination and geotechnical hazards should be considered in determining whether a liner is needed.

# Opportunity Criteria

- Most applicable for larger drainage areas where significant area is available at the downstream end of the drainage area.

- Can be integrated into open areas or play fields.

- Not ideal in areas where high seasonal groundwater would limit depth or require lining.

- Can be integrated into flood control facilities where essential functions of flood control facilities are not compromised.

# Criteria for Categorization of DEDBs as Biotreatment BMP

- In order to to be categorized as Biotreatment BMPs, DEDBs should be designed to meet the following minimum criteria. DEDBs not meeting these criteria but meeting the OC-Specific design criteria listed next are categorized as treatment control BMPs.

|  | Maximum treatment depth should be 6 feet |
| --- | --- |
|  | Robust, diverse, and extensive vegetation should be designed and maintained to an average height not less than > 12 inches. Soils should be amended per soil amendment criteria contained in MISC-2: Amended Soils if vegetation cannot be readily established. |
|  | Hardscape within basin should be limited to essential access roads. |
|  | Design should include a vegetated sediment forebay that encompasses between 20 and 30 percent of the basin volume. |
|  | The basin should be designed to draw down over 48 to 72 hours. The basin should be designed such that drawdown time for the bottom 50 percent of the treatment volume is not less than 2/3 of the entire drawdown time. |
|  | The L:W ratio of the basin should meet or exceed 2:1. |
|  | A micropool should be provided upstream of the outlet structure and/or media filtration should be integrated with the outlet structure. |

OC-Specific Design Criteria and Considerations

|  | Minimum set-backs from foundations and slopes should be observed |
| --- | --- |
|  | Infiltration should not cause geotechnical concerns related to slope stability or erosion. Proposed basins in areas with slopes greater than 15 percent or within 200 feet from the top of a hazardous slope or landslide area require geotechnical investigation. |
|  | Depth from bottom of facility to seasonal high groundwater table should be ≥ 2 feet. |
|  | DEDBs are preferrably off-line, designed to bypass peak flows. |
|  | Minimum freeboard equals 1 foot for offline facilities and 2 feet for online facilities. |
|  | Maximum side slope (H:V) preferably equals 4:1 interior and 3:1 exterior; steeper slopes permitted with fencing and geotechnical analysis. |
|  | Longitudinal slope preferably 0%-2%. |
|  | Low flow channel with gravel infiltration trench preferably provided where infiltration is allowable; designed to eliminate maximum estimated dry weather flowrate. |

Computing Sizing Criteria for Dry Extended Detention Basins

- DEDBs should be sized for the DCV, calculated per the Simple Design Capture Volume Sizing Method.

- Routing calculations should demonstrate that the outlet structure is designed to acheve the target drawdown time and pattern: The basin should be designed to draw down over 48 to 72 hours. The basin should be designed such that drawdown time for the bottom 50 percent of the treatment volume is not less than 2/3 of the entire drawdown time.

# Configuration for Use in a Treatment Train

- Dry extended detention basins may be preceeded in a treatment train by HSCs and LID BMPs in the drainage area, which would reduce the remaining biotreatment/treatment control requirements and allow the basin to be smaller in volume.

- Dry extended detention basins can be located upstream of LID or treatment control BMPs to provide peak flow equalization.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-22.pdf

- SMC LID Manual (pp 145): http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 2: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- City of Portland Stormwater Management Manual (Pond, page 2-68) http://www.portlandonline.com/bes/index.cfm?c=47954&a=202883

- San Diego County LID Handbook Appendix 4 (Factsheet 3):  http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

Also known as:

- Catch basin planter box

- Bioretention vault

- Tree box filter

BIO-7: Proprietary Biotreatment

Proprietary biotreatment

Source: http://www.americastusa.com

/index.php/filterra/

Proprietary biotreatment devices are devices that are manufactured to mimic natural systems such as bioretention areas by incorporating plants, soil, and microbes engineered to provide treatment at higher flow rates or volumes and with smaller footprints than their natural counterparts. Incoming flows are typically filtered through a planting media (mulch, compost, soil, plants, microbes, etc.) and either infiltrated or collected by an underdrain and delivered to the storm water conveyance system. Tree box filters are an increasingly common type of proprietary biotreatment device that are installed at curb level and filled with a bioretention type soil. For low to moderate flows they operate similarly to bioretention systems and are bypassed during high flows. Tree box filters are highly adaptable solutions that can be used in all types of development and in all types of soils but are especially applicable to dense urban parking lots, street, and roadways.

Feasibility Screening Considerations

- Proprietary biotreatment devices that are unlined may cause incidental infiltration.  Therefore, an evaluation of site conditions should be conducted to evaluate whether the BMP should include an impermeable liner to avoid infiltration into the subsurface.

Opportunity Criteria

- Drainage areas of 0.25 to 1.0 acres.

- Land use may include commercial, residential, mixed use, institutional, and subdivisions.  Proprietary biotreatment facilities may also be applied in parking lot islands, traffic circles, road shoulders, and road medians.

- Must not adversely affect the level of flood protection provided by the drainage system.

OC-Specific Design Criteria and Considerations

|  | Frequent maintenance and the use of screens and grates to keep trash out may decrease the likelihood of clogging and prevent obstruction and bypass of incoming flows. |
| --- | --- |
|  | Consult proprietors for specific criteria concerning the design and performance. |
|  | Proprietary biotreatment may include specific media to address pollutants of concern. However, for proprietary device to be considered a biotreatment device the media must be capable of supporting rigorous growth of vegetation. |
|  | Proprietary systems must be acceptable to the reviewing agency. Reviewing agencies shall have the discretion to request performance information. Reviewing agencies shall have the discretion to deny the use of a proprietary BMP on the grounds of performance, maintenance considerations, or other relevant factors. |
|  | In right of way areas, plant selection should not impair traffic lines of site. Local jurisdictions may also limit plant selection in keeping with landscaping themes. |

Computing Sizing Criteria for Proprietary Biotreatment Device

- Proprietary biotreatment devices can be volume based or flow-based BMPs.

- Volume-based proprietary devices should be sized using the Simple Design Capture Volume Sizing Method described in Appendix III.3.1 or the Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs described in Appendix III.3.2.

- The required design flowrate for flow-based proprietary devices should be computed using the Capture Efficiency Method for Flow-based BMPs described in Appendix III.3.3).

Additional References for Design Guidance

- Los Angeles Unified School District (LAUSD) Stormwater Technical Manual, Chapter 4: http://www.laschools.org/employee/design/fs-studies-and-reports/download/white_paper_report_material/Storm_Water_Technical_Manual_2009-opt-red.pdf?version_id=76975850

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 9: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- Santa Barbara BMP Guidance Manual, Chapter 6: http://www.santabarbaraca.gov/NR/rdonlyres/91D1FA75-C185-491E-A882-49EE17789DF8/0/Manual_071008_Final.pdf

## Treatment Control BMP Fact Sheets (TRT)

Also known as:

- Bed Media Filter

Media Filter

Source: CABMPHB, TC-40

TRT-1: Sand Filters

Sand filters operate by filtering stormwater through a constructed media bed (generally sand) with an underdrain system. Runoff enters the filter and spreads over the surface. As flows increase, water backs up on the surface of the filter where it is held until it can percolate through the sand. The treatment pathway is vertical (downward through the media) to an engineered underdrain system that is connected to the downstream storm drainage system. As stormwater passes through the sand, pollutants are trapped on the surface of the filter, in the small pore spaces between sand grains, or are adsorbed to the sand surface.

# Feasibility

- Site conditions should be assess to determine if systems should be lined to prevent incidental infiltration.

# Opportunity Criteria

- Intended for use when retention and biotreatment options are infeasible.

- Locate away from trees producing leaf litter or areas contributing significant sediment that could cause clogging.

- Pretreatment is necessary to eliminate significant sediment load or other large particles that could reduce the infiltration capacity of the filter.  Refer to Appendix XIV.7 for information on pretreatment devices. Pretreatment can also be performed in a sedimentation chamber, which precedes the filter bed.

- Drainage area topography and downstream drainage configuration must have adequate relief to allow for percolation through the sand and collection and conveyance through the underdrain stormwater conveyance system; four feet is recommended between inlet and outlet of filter.

- Not applicable in areas of permanent or seasonal high groundwater (less than five feet below ground surface)

- Open bed sand filters should not be placed in areas subject to seed sources and where hydrologic conditions promote prolific germination of plants in the media.  Undesired plant growth will substantially increase maintenance costs and threaten to damage the filter or impair its performance.

# OC-Specific Design Criteria and Considerations

|  | Where incidental infiltration would potentially cause geotechnical concerns, systems should be lined with an impermeable membrane or layer. |
| --- | --- |
|  | Minimum set-backs from foundations and slopes should be observed if the facility is not lined. |
|  | Filter bed depth (i.e., media thickness) is at least 24 inches, but 36 inches preferred. |
|  | Max ponding depth above filter should not exceed 6 feet. |
|  | Saturated hydraulic conductivity of media should be selected to address pollutants of concern and factors of safety in design should be set to account for deterioration of performance between maintenance. |
|  | Side slopes should not exceed and 2:1 H:V unless stabilization approved by licensed geotechnical engineer. |
|  | Minimum pretreatment should be provided upstream of the filter, and water bypassing pretreatment should not be directed to the filter. |
|  | Filters should be designed and maintained such that ponded water should not persist for longer than 72 hours following a storm event. |

Computing Sizing Criteria for Media Filter

- Media filters with significant surface storage should be sized as volume-based BMPs.

- Alternatively, media filters may be sized as flow-based BMPs when storage is not significant.

# Calculating Sand Filter Drawdown Rate for Volume-based Sizing Calculations

Volume-based sizing of sand filters should be conducted identically to bioretention with underdrains.

Maximum ponding depth should be increased to 6 feet in this sizing calculation.

# Calculating Sand Filter Design Flowrate Rate if Sized as Flow-based BMP

The required design flowrate should be calculated based on the Capture Efficiency Method for Flow-based BMPs (See Appendix III.3.3).

The flow-based treatment capacity of a sand filter may be estimated as:

Qcapacity= Ksat × Ifull × A / [24 hr/day]

Where,

Ksat = design saturated hydraulic conductivity, feet/day (set to account for long-term deterioration of performance)

Ifull = gradient across filter bed when storage is full = (depth of water at overflow + depth of media bed)/(depth of media bed)

A = surface area of media bed, sq-ft

# Configuration for Use in a Treatment Train

- Sand filters may be preceded in a treatment train by HSCs and LID BMPs in the drainage area, which would reduce the required size of the filter.

- Sand filters should be preceded by some form of pretreatment which will remove the largest particles before entering and potentially clogging the sand filter.

- Sand filters can be used to provide pretreatment for infiltration basins or other LID infiltration BMPs.

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/TC-40.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 8: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- LA County LID Manual:  http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

- San Diego County LID Handbook Appendix 4 (Factsheet 6): http://www.sdcounty.ca.gov/dplu/docs/LID-Appendices.pdf

- SMC LID Manual: http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- LA County LID Manual:  http://dpw.lacounty.gov/wmd/LA_County_LID_Manual.pdf

- Portland Stormwater Management Manual:  http://www.portlandonline.com/bes/index.cfm?c=47953&

- Western Washington Stormwater Management Manual:  http://www.ecy.wa.gov/pubs/0510033.pdf

### TRT-2: Cartridge Media Filter

Cartridge Media Filter

Source: Contech Stormwater Solution, Inc.

Also known as:

- Manufactured Media Filters

Cartridge media filters (CMFs) are manufactured devices that consist of a series of modular filters packed with engineered media that can be contained in a catch basin, manhole, or vault that provide treatment through filtration and sedimentation. The manhole or vault may be divided into multiple chambers where the first chamber acts as a pre-settling basin for removal of coarse sediment while another chamber acts as the filter bay and houses the filter cartridges.  A variety of media types are available from various manufacturers which can target pollutants of concern.

# Feasibility Screening Considerations

- Not applicable

# Opportunity Criteria

- Intended for use when retention and biotreatment options are infeasible.

- Recommended for drainage area with limited available surface area or where surface BMPs would restrict uses.

- For drainage areas with significant areas of non-stabilized soil, permanent soil stablization must be achieved before before cartridge media filters are installed and put on line to minimize risk of clogging.

- Depending on the number of cartridges, maintenance events can have long durations.  Care should be exercised in siting these facilities so that maintenance events will not significantly disrupt businesses or traffic.

# OC-Specific Design Criteria and Considerations

|  | Cartridge media filter BMP vendors should be consulted regarding design and specifications. |
| --- | --- |
|  | Filter media should be selected to target pollutants of concern. A combination of media may be appropriate to remove a variety of pollutants. |
|  | If CMF are integrated with a vault for equalization, the system should be designed to completely drain the vault within 96 hours of storm event or otherwise protect against standing water and mosquito breeding concerns. |

Computing Sizing Criteria for Cartridge Media Filters

The required design flowrate should be calculated based on the Capture Efficiency Method for Flow-based BMPs (See Appendix III.3.3).

# Additional References for Design Guidance

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 9: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

- SMC LID Manual: http://www.lowimpactdevelopment.org/guest75/pub/All_Projects/SoCal_LID_Manual/SoCalLID_Manual_FINAL_040910.pdf

- Western Washington Stormwater Management Manual, Volume V, Chapter 12: http://www.ecy.wa.gov/pubs/0510033.pdf

## Pretreatment/Gross Solids Removal BMP Fact Sheets (PRE)

Hydrodynamic Separation Device

Source: Contech Stormwater Solution, Inc.

Also known as:

- Vortex Separators

- Swirl Concentrators

- Gross solids removal devices (GSRDs)

PRE-1: Hydrodynamic Separation Device

Hydrodynamic separation devices are inline pretreatment units designed to remove trash, debris, and coarse sediment using screening, gravity settling, and centrifugal forces generated by forcing the influent into a circular motion. Several companies manufacture units with a variety of design components including separate chambers, baffles, sorbent media, screens, and flow control orifices.  Therefore, additional constituents may be targeted depending on the design; however, the short residence time and potential for captured materials to be released during high flows limits the acceptable use of this BMP type as a standalone treatment control BMP.

# Opportunity Criteria

- Hydrodynamic separation devices are effective for the removal of coarse sediment, trash, and debris, and are useful as pretreatment in combination with other BMP types that target smaller particle sizes.  They are most effective in urban areas where coarse sediment, trash, and debris are pollutants of concern.

- Hydrodynamic devices represent a wide range of device types that have different unit processes and design elements (e.g., storage versus flow-through designs, inclusion of media filtration, etc.) that vary significantly within the category. These design features likely have significant effects on BMP performance; therefore, generalized performance data for hydrodynamic devices is not practical.

# OC-Specific Design Criteria and Considerations

|  | Proprietary hydrodynamic device BMP vendors are constantly updating and expanding their product lines so refer to the latest design guidance from each of the vendors. General guidelines on the performance, operations and maintenance of proprietary devices are provided by the vendors. |
| --- | --- |
|  | Operations and maintenance requirements include: clearing trash, debris, and sediment around insert grate and inside chamber, and repairing screens and media if damaged or severely clogged. |

Computing Sizing Criteria for Hydrodynamic Devices

- Hydrodynamic separation devices should be adequately sized to pretreat the entire design volume or design flow rate of the downstream BMP.

- The required design flowrate should be calculated based on the Capture Efficiency Method for Flow-based BMPs (See Appendix III) to achieve 80 percent capture of the average annual stormwater runoff volume.

# Proprietary Hydrodynamic Device Manufacturer Websites

- Table XIV.1 is a list of manufacturers that provide hydrodynamic separation devices.  The inclusion of these manufacturers does not represent an endorse of their products.  Other devices and manufacturers may be acceptable for pretreatment.

| Table XIV.1: Proprietary Hydrodynamic Device Manufacturer Websites |  |  |
| --- | --- | --- |
| Device | Manufacturer | Website |
| Rinker In-Line Stormceptor® | Rinker Materials™ | www.rinkerstormceptor.com |
| FloGard® Dual-Vortex Hydrodynamic Separator | KriStar Enterprises Inc. | www.kristar.com |
| Contech® CDSa™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Contech® Vortechs™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Contech® Vorsentry™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Contech® Vorsentry™ HS | Contech® Construction Products Inc. | www.contech-cpi.com |
| BaySaver BaySeparator | Baysaver Technologies Inc. | www.baysaver.com |

# Additional References for Design Guidance

- CASQA BMP Handbook for New and Redevelopment: http://www.cabmphandbooks.com/Documents/Development/MP-51.pdf

- Los Angeles County Stormwater BMP Design and Maintenance Manual, Chapter 9: http://dpw.lacounty.gov/DES/design_manuals/StormwaterBMPDesignandMaintenance.pdf

Also known as:

- Drop Inlet Filters

- Catch Basin Filters

PRE-2: Catch Basin Insert Fact Sheet

Catch Basin Insert (DrainPac™)

Source: United Storm Water, Inc.

Catch basin inserts are manufactured filters or fabric placed in a drop inlet to remove sediment and debris and may include sorbent media (oil absorbent pouches) to remove floating oils and grease. Catch basin inserts are selected specifically based upon the orientation of the inlet and the expected sediment and debris loading.

# Opportunity Criteria

- Catch basin inserts come in such a wide range of configurations that it is practically impossible to generalize the expected performance. Inserts should mainly be used for catching coarse sediments and floatable trash and are effective as pretreatment in combination with other types of structures that are recognized as water quality treatment BMPs. Trash and large objects can greatly reduce the effectiveness of catch basin inserts with respect to sediment and hydrocarbon capture.

- Catch basin inserts are applicable for drainage area that include parking lots, vehicle maintenance areas, and roadways with catch basins that discharge directly to a receiving water.

# OC-Specific Design Criteria and Considerations

|  | Frequent maintenance and the use of screens and grates to keep trash out may decrease the likelihood of clogging and prevent obstruction and bypass of incoming flows. |
| --- | --- |
|  | Consult proprietors for specific criteria concerning the design of catch basin inserts. |
|  | Catch basin inserts can be installed with specific media for pollutants of concern. |

Proprietary Manufacturer / Supplier Websites

- Table XIV.2 is a list of manufacturers that provide catch basin inserts. The inclusion of these manufacturers does not represent an endorse of their products. Other devices and manufacturers may be acceptable for pretreatment.

| Table XIV.2: Proprietary Catch Basin Insert Manufacturer Websites |  |  |
| --- | --- | --- |
| Device | Manufacturer | Website |
| AbTech Industries Ultra-Urban Filter™ | AbTech Industries | www.abtechindustries.com |
| Aquashield Aqua-Guardian™ Catch Basin Insert | Aquashield™ Inc. | www.aquashieldinc.com |
| Bowhead StreamGuard™ | Bowhead Environmental & Safety, Inc. | http://www.shopbowhead.com/ |
| Contech® Triton Catch Basin Filter™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Contech® Triton Curb Inlet Filter™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Contech® Triton Basin StormFilter™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Contech® Curb Inlet StormFilter™ | Contech® Construction Products Inc. | www.contech-cpi.com |
| Curb Inlet Basket | SunTree Technologies Inc. | www.suntreetech.com |
| Curb Inlet Grates | EcoSense International™ | http://www.ecosenseint.com/ |
| DrainPacTM | United Storm Water, Inc. | http://www.unitedstormwater.com |
| Grate Inlet Skimmer Box | SunTree Technologies Inc. | www.suntreetech.com |
| KriStar FloGard+PLUS® | KriStar Enterprises Inc. | www.kristar.com |
| KriStar FloGard® | KriStar Enterprises Inc. | www.kristar.com |
| KriStar FloGard LoPro Matrix Filter® | KriStar Enterprises Inc. | www.kristar.com |
| Nyloplast Storm-PURE Catch Basin Insert | Nyloplast Engineered Surface Drainage Products | www.nyloplast-us.com |
| StormBasin® | FabCo® Industries Inc. | www.fabco-industries.com |
| Stormdrain Solutions Interceptor | FabCo® Industries Inc. | www.fabco-industries.com |
| Stormdrain Solutions Inceptor® | Stormdrain Solutions | www.stormdrains.com |
| StormPod® | FabCo® Industries Inc. | www.fabco-industries.com |
| Stormwater Filtration Systems | EcoSense International™ | http://www.ecosenseint.com/ |
| Ultra-CurbGuard® | UltraTech International Inc. | www.spillcontainment.com |
| Ultra-DrainGuard® | UltraTech International Inc. | www.spillcontainment.com |
| Ultra-GrateGuard® | UltraTech International Inc. | www.spillcontainment.com |
| Ultra-GutterGuard® | UltraTech International Inc. | www.spillcontainment.com |
| Ultra-InletGuard® | UltraTech International Inc. | www.spillcontainment.com |

# WORKSHEETS

This section provides hyperlinks to each of the worksheets embedded in text of the TGD Appendices.

- Worksheet A: Hydrologic Source Control Calculation Form

- Worksheet B: Simple Design Capture Volume Sizing Method

- Worksheet C: Capture Efficiency Method for Volume-Based, Constant Drawdown BMPs

- Worksheet D: Capture Efficiency Method for Flow-Based BMPs

- Worksheet E: Determining Capture Efficiency of Volume Based, Constant Drawdown BMP based on Design Volume

- Worksheet F: Determining Capture Efficiency of a Flow-based BMP based on Treatment Capacity

- Worksheet G: Alternative Compliance Volume Worksheet

- Worksheet H: Factor of Safety and Design Infiltration Rate and Worksheet

- Worksheet I: Summary of Groundwater-related Feasibility Criteria

- Worksheet J: Summary of Harvested Water Demand and Feasibility

# EXHIBITS

## Rainfall Zones Map

Figure XVI.1: Orange County Rainfall Zones Map

## Infiltration Feasibility Constraints Maps

Figure XVI.2: Infiltration Feasibility Constraints Maps

## North Orange County Hydromodification Susceptibility Maps

Figure XVI.3: North Orange County Hydromodification Susceptibility Maps

# SUPPORTING INFORMATION RELATIVE TO SANITARY SEWER INFLOW AND INFILTRATION

Placeholder for appendix to be developed

The remaining design capture volume refers the remaining volume required for the BMP system to collectively store the entire design capture volume, or the remaining volume required for the system to collectively retain plus biotreat 80 percent of average annual runoff volume.

If remaining volume = 0 after any step, then subsequent steps are not necessary.

This option does not require Regional Board Executive Officer approval.  This option is implemented after a project-specific finding of infeasibility of retaining or biotreating the entire DCV on the project site.

In North Orange County (Order R8-2009-0030), predevelopment is defined as the existing conditions immediately prior to Project WQMP submittal.

The North County Permit (Order R8-2009-0030), as adopted, provides the option of reducing Tc to less than the existing condition Tc (within 5 percent) as part of the primary and preferred option for mitigating HCOCs.  However, a longer Tc is generally associated with natural conditions than urban conditions, and a longer Tc nearly universally results in lower concern for hydromodification impacts.  In addition, it is not physically possible for a project to implement BMPs consistent with LID provisions of the permit without substantially increasing the Tc of the site.  The use of retention BMPs results in water not discharged under design conditions, while the use of biotreatment BMPs general results in water not immediately discharged.  Therefore, it would not generally be possible to mitigate HCOCs using the primary option for compliance described above while complying with LID requirements.  This TGD therefore interprets this provision such that increases in Tc would be acceptable and reduction in Tc of more than 5 percent would not be acceptable.  This interpretation is consistent with the overall goal of the permit to protect receiving waters from stormwater impacts to the MEP.

The pre-filter volume is defined as the physical storage provided in the BMP, not count volume that is routed during the storm event. The physical volume of the BMP must be at least 75 percent of the DCV.

The remaining design capture volume refers the remaining volume required for the BMP system to collectively store the entire design capture volume, or the remaining volume required for the system to collectively retain plus biotreat 80 percent of average annual runoff volume.

If remaining volume = 0 after any step, then subsequent steps are not necessary.

The Design Capture Storm Depth is calculated as the 85th percentile, 24 hour precipitation depth, determined from historic precipitation records, excluding days with less than or equal to 0.1 inches of precipitation.

Free WinTR-55 software can be downloaded at: http://www.wsi.nrcs.usda.gov/products/w2q/h&h/tools_models/wintr55.html

Free HEC-HMS software can be downloaded at: http://www.hec.usace.army.mil/software/hec-hms/download.html  Loss parameters shall be set to the SCS Curve Number method, transform parameters must be set to the SCS Unit Hydrograph method, and reach routing parameters must be set to the Muskingum-Cunge method.

A detailed description of this procedure along with a complete example using the associated equations can be found in the United States Bureau of Mines and Reclamation (USBR) document 7300-89.

Where a rectangular test hole is used, an equivalent radius should be determined based on the actual area of the rectangular test hole (i.e., r = (A/π)0.5).

Carleton, G.B., 2010, Simulation of groundwater mounding beneath hypothetical stormwater infiltration basins: U.S. Geological Survey Scientific Investigations Report 2010–5102, 64 p. http://pubs.usgs.gov/sir/2010/5102/

See Table VIII.2 for definition of “Large” and “Small” projects.

This analysis was prepared from data originally developed for another Geosyntec project; therefore different input data sources have been used than were used for other analyses described in this TGD.  The input data used for this analysis is believed to be representative of Orange County and differences are very likely within the range of model sensitivity/uncertainty.

In Water Quality Order No. 2000-07, the State Water Board determined that a Producer (i.e., reclaimed water purveyor) cannot shift responsibility for discharged salt to the User (i.e., project proponent).

The use of the term “bioretention systems” in this appendix refers to bioretention with underdrains,  rain gardens with underdrains, planter boxes with underdrains, curb-extension planter boxes with underdrains,  proprietary bioretention systems, and other similar BMPs.

The North County Permit describes MEP as follows: “MEP is not defined in the Clean Water Act; it refers to management practices, control techniques, and system, design and engineering methods for the control of pollutants taking into account considerations of synergistic, additive, and competing factors, including, but not limited to, gravity of the problem, technical feasibility, fiscal feasibility, public health risks, societal concerns, and social benefits.”