City of Calexico

Water Quality Construction

Beat Management Practice

# Manual

- City of Calexico

Attachment   A

City of Calexico

BMP Manual

BMP SELECTION AND IMPLEMENTION

General Protocol

To select BMP (Best Management Practices) that are appropriate for a given project, the following steps should be followed:

Step I   – Identify Activities, Pollutants and Issue of Concern

Step II  – Evaluate Ste Conditions and Select BMPs

Step III – Implement, Monitor and Maintain BMPs

Step I - Identify Activities, Pollutants and Issue of Concern

The first step in the BMP selection is to identify the project activities, the potential pollutants of concern and the local issues of concern. Project activities may include saw cutting, trenching excavation stockpiling of soil, grading and grubbing, access road maintenance, paving, or other activities with the potential to impact the stormwater and non-stormwater discharges. Pollutants of concern may include sediments, petroleum products such as fuel, oil, and grease from vehicles and/or equipment operation: paving materials such as concrete and asphalt components; other materials used or stored on site, such as pesticides, herbicides, fertilizers, detergents, paint adhesives, and solvents; and project waste such as litter, debris, hazardous waste, and liquid waste.

The local issues of concern may include:

- Proximity to sensitive receiving waters (environmentally sensitive areas or Clean Water Act Section 303(d) listed water bodies, examples Santa Monica Bay, San Diego Bay).

- Local regulatory requirements influencing BMP selection, or timing of BMP implementation.

Step II – Evaluate Site Conditions and Selected BMPs

To assist in BMP selection, this Water Quality Construction BMP Manual presents BMPs that are anticipated to be most applicable to utility construction projects. Utility projects are unique in that they are typically very short-term and fast moving, have minimal exposure of soil or transportable materials at any one time to stormwater. The selector should consider a project-specific requirement of factors such as BMP effectiveness, cost, availability, feasibility, and suitability to the site. For example, important site conditions to consider including the amount of soil disturbance,

City of Calexico

BMP Manual

anticipated weather conditions, soil type and erodibility, flow path length, and slope of exposed soil. Selected BMPs can and should be modified to suit the slope of the project and site conditions. Table I presents guidelines for BMP selection and implementation at a construction site. Table II presents a BMP selection worksheet for utility activities. These implementation guidelines and selection worksheet can be used to select BMPs for a specific project. Finally, a selector may discover a better BMP for their situation not listed in Tables I or II. Environmental service encourages creative and practical pollution prevention techniques. These new techniques can be shared with others to support the water quality goals of the region.

Step III – Implement, Monitor, and Maintain the BMP System

It is important that selected BMPs be implemented in a sequence that maximizes protection of water quality, be monitored regularly for effectiveness and be maintained as necessary throughout the project. Most BMPs will only be implemented when necessary, and/or when a storm event is forecasted or occurs. Table I presents a suggested schedule for BMP implementations and sequencing. Steps in this schedule should be reviewed for each project as applicable. All BMPs should be maintained during a project in accordance with the procedures outlined in the

BMP Detail Sections I-IV.

BMP Installation Contractors

This Water Quality Construction BMP Manual indentifies some utility activities and operations that may require outside contractors to install the applicable BMPs. However, the utility crews will implement most BMPs. Most types of BMP materials are readily available from local sources.

City of Calexico

BMP Manual

Table I
BMP Selection and Sequence Guide

| Step No. | Description | What To Do | BMP Options |
| --- | --- | --- | --- |
| 1 | Before Construction | Evaluate, mark and protect important tress and associate rooting zones, unique areas (e.g. wetlands), and other areas to be preserved, especially in perimeter areas. | IV-1, other user-defined BMPs |
| ### 2 | Site Access Areas (construction enhances, roadway equipment parking areas) | Stabilize site entrances and access roads if applicable prior to earthwork. | I-7 other user-defined BMPs |
| 3 | Storm Drain Intel Protection | Install inlet protection at down-gradient inlets that project runoff/tracking might impact. | I-6 other user-defined BMPs |
| 4 | Perimeter Sediment Control | Install perimeter sediment controls (silt fence, fiber rolls, etc.) as applicable prior to land distributing activities. Install additional runoff control measures during construction as needed. | I-2 thru I-5 other user-defined BMPs |
| 5 | Materials and Waste Storage Areas | Prepare staging areas, material storage and disposal areas as applicable. Grade to reduce run-on and runoff, install perimeter controls, obtain cleanup materials, plastic covers for stockpiles, etc. prior to storing materials on site. | II-1 thru II-8, I-8, other user-defined BMPs |
| 6 | Earthwork (trenching, excavating, grading, surface roughening, grubbing) | Begin excavating, trenching, or grading after installing applicable sediment and runoff control measures. Install additional control measures as work progress as needed. | I-9 other user-defined BMPs |
| 7 | Surface Stabilization (temporary and permanent seeding, mulching) | Apply temporary or permanent soil stabilization measures as applicable on all disturbed areas where work is delayed or completed. | IV-1 thru IV-8 other user-defined BMPs |
| 8 | Construction and Paving (install utilities, building, paving) | Implement applicable control practices as work takes place. | III-1 thru III-10 other user-defined BMPs |
| 9 | Final Stabilization and Landscape | Stabilization open areas as applicable. Remove temporary control measures and install final stabilization controls appropriately (topsoil, trees and shrubs, permanent seeding, mulching, sod, riprap) | III-7, IV-3,IV-4, other user-defined BMPs |

City of Calexico

BMP Manual

BMP DETAILS

This Section provides details for the selection and implementation of BMPs for the most common utility construction activities. Once the BMP objectives are defined, it is necessary to identify the category or categories of BMPs that are best suited to meet each objective. A category is a grouping of BMPs related in how they prevent pollution. The four categories are:

Section I – Sediment Control

Section II – Waste Management and Material Controls

Section III – Non-Storm Water Discharge Controls

Section IV – Erosion Control and Soil Stabilization

City of Calexico

BMP Manual

SECTION I – SEDIMENT CONTROLS

Sediment particles (soil/dust) from utility activities can be transported to a different location by wind or water flow. Once these particles have become detached, they are considered a pollutant. Sediment Control includes any method that traps the soil particles after they have been detached and moved by wind or water. Sediment Control are usually passive systems that rely on filtering or settling the particles out of the water or wind that is transporting them. The sediment that has accumulated by the BMPs can be disposed of as excess soil on the construction site. Sediment Controls presented in this Manual include the following:

BMP I-1	Scheduling

BMP I-2	Silt Fencing

BMP I-3	Fiber Rolls

BMP I-4	Gravel Bags

BMP I-5	Sand Bags

BMP I-6	Storm Drain Inlet Protection

BMP I-7	Tracking Control

BMP I-8	Stockpile Management

BMP I-1	Scheduling

When:

Scheduling must be considered for applicable projects year-round.

How:

Use the following measures as applicable:

- Consider scheduling major soil distributing activities or activities near environmentally sensitive areas (e.g., adjacent to water bodies) during the non-rainy season.

- Monitor the weather forecast for seasonable and non-seasonable rain events. Weather information is available from the following sources:

- San Diego: www.wrh.noaa.gov/sandiego/index.shtml or (619)289-1212

- Los Angeles: www.nwsla.noaa.gov or (805)988-6610

- Accu Weather: www.accuweather.com

- Always be prepared to deploy erosion and sediment control and soil stabilization BMPs. Off site sediment discharge can occur during the non-rainy season because of non-seasonable rainfall , wind non-storm water discharge, and vehicle tracking and must be prevented.

City of Calexico

BMP Manual

During The Rainy Season (October 1-May 1), Desert Regions differ (August 1- May 30)

- Sequence work to minimize soil-disturbing activities during forecast rain events.

- Limit disturbed soil areas to the amount of acreage that can be protected prior to a forecasted rain event.

- Stabilize disturbed soil areas as soon as practical, and at a minimum, prior to a forecasted rain event.

- Protect environmentally sensitive areas, such as drainage channels, streams and natural watercourses.

- When rainfall is forecasted, adjust the construction schedule to implement soil stabilization and sediment control on all disturbed areas prior to the onset of rain.

Maintenance and Inspection

- Review applicable scheduling and sequencing of construction activities throughout the project in order to minimize the amount of time that soil is exposed and the total area of exposed soil.

- Inspect erosion and sediment controls prior and after each storm event, and routinely throughout the rainy season (to be consistent with all the other BMPs).

BMP I-2 	Silt Fencing

When:

Silt fences are a temporary linear sediment barriers made of permeable fabric designed to intercept and slow the flow of sediment-laden sheet flow runoff. Silt fencing allows sediment to settle from runoff before water leaves the construction site.

Silt Fencing is placed:

- Below the toe of exposed and erodible slopes.

- Down-slope of exposed soil areas.

- Around temporary stockpiles.

- Along streams and channels.

- Along the perimeter of a project.

City of Calexico

BMP Manual

How:

- Construct silt fencing with a setback of at least 3 feet from the toe of a slope in areas suitable for temporary ponding deposition of sediment. Where 3 feet setback is not practicable, construct fencing as far from the toe of the slope as practicable.

- Generally, silt fencing shall be used in conjunction with the soil stabilization source control up slope to provide effective control, particularly for slopes adjacent to water bodies or Environmentally Sensitive Areas.

- Construct the length of each reach (length of fencing) so that the Change in base elevation along the reach does not exceed 1/3 the height of the barrier; each reach should not exceed 500 feet in length. The last 6 feet of the reach should be turned upslope.

- The maximum length of the slope draining to the silt fencing should be 200 feet or less.

- Excavate a trench to place the bottom of the silt fencing into, so that it is not wider or deeper than necessary.

- Key-in, or bury the bottom of the silt fencing in the trench and tamp into place. If it is not feasible to trench along the slope contour, use sand bags or backfill to key in the bottom of the fabric.

- Install the fencing post at least 12 inches below grade on the down slope side of the trench.

- Silt fencing should not be considered for installation below slopes steeper than 1to1 (vertical: horizontal) or that contains a high number of rocks and/or loose dirt clods.

Maintenance and Inspection

- Repair or replace split, torn, slumping, undercut or weathered fabric.

- Inspect silt fencing prior and after each storm event, and routinely throughout the rainy season.

- Remove accumulated sediment when it reaches one third (1/3) of the barrier height. Removed sediments shall be incorporated in the project at appropriate locations or dispose of it at an approved site.

City of Calexico

BMP Manual

- Silt fencing that is damaged and becomes unsuitable for the intended purpose shall be removed and disposed of and replaced with new silt fencing barriers.

- Remove silt fencing when it is no longer needed. Fill and compact post-holes and anchorage trenches, remove sediment accumulation, and grade fencing alignment to blend with adjacent ground.

BMP I-3	Fiber Rolls

When:

A fiber roll consists of straw, flax or other similar materials that are rolled and bound into a tight roll that is generally placed on the face of a slope at regular intervals to intercept runoff, reduce flow velocity, release the runoff as sheet flow and provide the removal of sediment.

- May be used along the ton, face and the grade breaks of exposed and erodible slopes to shorten the length and spread runoff as sheet flow.

- Fiber rolls may be used as check dams.

- Fiber rolls can also be used where flows are moderately concentrated, such as ditches, swales, and storm drain inlets (Strom Drain Inlet Protection to divert and/or detain flows).

- Fiber rolls are appropriate for perimeter site control or along streams, channels, storm drain inlets or around stockpiles to intercept sediments laden stormwater and non-stormwater runoff.

How:

Installation:

- Locate fiber rolls on level contours spaced 8 to 20 feet apart along the face of the slope.

- It is best to stake fiber rolls into a 2 to 4 inch deep trench.

- Drive stakes into fiber rolls at a minimum of 4-foot intervals.

- If mote, then one fiber roll is placed in a row, fiber rolls should be butted together and not overlapped.

City of Calexico

BMP Manual

Removal:

- If used on slopes, fiber rolls are typically left in place.

- If used as Storm Drain Inlet Protection, stockpile control, or other temporary control measures, the fiber rolls should be removed at the completion of the construction project.

- If fiber rolls are removed, collect and dispose of fiber rolls and sediment accumulations as appropriate. Fill and compact holes, trenches, depressions or any other ground disturbance to blend with adjacent ground.

Maintenance and Inspection

- Repair or replace split, torn, unraveling, or slumping fiber rolls.

- Inspect fiber rolls if rain is forecasted, perform maintenance as needed.

- Inspect fiber rolls prior and after each storm event, and routinely throughout the rainy season.

BMP I-4	Gravel Bag Berms

When

A gravel bag berm consists of a single row of gravel bags that are installed end-to-end to form a barrier across a slope to intercept runoff, reduce its flow velocity, release the runoff as sheet flow and provide some sediment removal. Gravel bags can also be used where flows are moderately concentrated, such as ditches, swales and storm drain inlets (Storm Drain Inlet Protection to Divert and/or Detain Flows). Gravel bag berms are appropriate for perimeter site control or along streams, channels, storm drain inlets, or around stockpiles to intercept sediment laden stormwater and non-stormwater runoff. Use gravel bags berms:

- Where it is desirable to filter sediment in runoff. Note that gravel bags berms are generally more permeable than sand bags. Sand bag barriers should be used in cases where it is desirable to block and pond flows (e.g. for containment of non-stormwater flows).

- Along the face and at the grade breaks of exposed and erodible slopes to shorten the slope length and spread runoff as sheet flow.

- On a project-by-project basis to maximize effectiveness.

City of Calexico

BMP Manual

- Gravel bags may be implemented with other BMPs to maximize sediment containment.

How

- When used as a linear control for sediment removal:

- Install along a level contour.

- Turn ends of gravel bag rows up the slope to prevent flow around the ends.

- Generally, gravel bag barriers are used in conjunction with temporary soil stabilization controls up the slope to provide effective control.

- When used for concentrated floes:

- Stack the gravel bags to required height. When the height requires 3 rows or more, use a pyramid approach.

- Upper rows of gravel bags shall overlap joints in lower rows.

Maintenance and Inspection

- Construct gravel bag barriers with a setback of at least 3 feet from the toe of the slope. Where a 3-foot setback is not practical, construct as far from the toe of the slope as practical.

- Inspect gravel bag berms prior to and after each storm event, and routinely throughout the rainy season.

- Reshape or replace gravel bags as needed.

- Repair washouts and/or other damages as needed.

- Inspect gravel bag berms for sediment accumulations and remove sediments when accumulation reaches one-third 1/3 of the berms height. Removed sediment shall be incorporated in the project at appropriate locations or disposed at an SCG/SDG&E- approved disposal site.

- Remove gravel bag berms when they are no longer needed. Remove sediment accumulation, clean, re-grade, and stabilize the area. Removed sediment shall be incorporated in the project at an appropriate location or disposed of at an SCG/SDG&E-approved disposal site.

City of Calexico

BMP Manual

BMP I-5	Sand Bag Barrier

When

A sand bag barrier is a temporary linear sediment barrier consisting of stacked sand bags, design to intercept and slow sediment-laden stormwater or non-stormwater runoff.  Sand bag barriers allow sediment to settle from runoff before water leaves the construction site.

- Sand bag can be used where flows runoff are moderately concentrated, such as ditches, swales, and storm drain inlets to divert and/or detain flows. See BMP on Storm Drain Inlet Protection.

- To Divert or direct flow away from disturbed slopes or create a temporary sediment basin.

- During construction activities in streambeds when the contributing drainage area is one 1 to five acres.

- To capture and detain non-stormwater flows until proper cleaning operations occur.

- When site conditions or construction sequencing require adjustment or relocation of the barrier to meet changing field conditions and needs during construction.

- To temporarily close or continue broken, damaged or incomplete curbs.

Sand bag barriers are used;

- Where it is desirable to block and pond flow (e.g., for containment of non-stormwater flows). Use caution when using sand bag barriers in traffic areas where potential flooding is not desirable.

- Along the perimeter of a site, vehicle and equipment fueling and maintenance areas, chemical storage areas, or stockpiles.

- Below the toe or down slope of the exposed and erodible slopes.

- Parallel to streams, channels, and roadways.

- Across channels t serve as a barrier for utility trenches or provide a temporary channel crossing for construction equipment, or to reduce stream impacts.

City of Calexico

BMP Manual

How

- When used as a linear control for sediment removal:

- Install along a level contour.

- Turn ends of sand bag rows up slope to prevent flow around the ends.

- Generally, sand bag barriers shall be used in conjunction with temporary soil stabilization controls up the slope to provide effective control.

- When used for concentrated flows:

- Stack sand bags to required height. When the required height is three rows or more, use a pyramid approach. Upper rows of sand bags shall overlap joints in lower rows.

- Construct sand bag barriers with a setback of at least three 3 feet from the toe of the slope. Where a three 3 foot setback is not practical, construct as far from the slope as practical.

Maintenance and Inspection

- Inspect sand bag barriers prior and after each storm event, and routinely throughout the rainy season.

- Repair washouts or other damages as needed, or as directed by the project’s Environmental Representative.

- Inspect sand bag barriers for sediment accumulations and remove sediment when accumulation reaches one-third 1/3 the barriers height.

- Remove sand bags when no longer needed. Remove sediment accumulation, and clean, re-grade, and stabilize the area. Incorporate removed sediment at appropriate project locations or dispose of at an SCG/SDG&E-approved site.

BMP 1-6	Storm Drain Inlet Protection

When

A device used at storm drain inlets to protect against the discharge of sediment-laden stormwater and non-stormwater runoff from construction activities. The device develops a pond behind it giving the sediment time to settle out before being discharged to the storm drain. Do not construct such that runoff will result in:

City of Calexico

BMP Manual

- Ponding into road traffic or onto erodible surfaces or slopes.

- Overflowing onto the sidewalk.

This BMP is required on all construction projects where sediment laden surface runoff may enter a storm drain inlet and watercourse.

How

- Identify downstream storm drain inlets that have the potential to runoff form construction activities.

- Where a storm drain inlet is on or at the bottom of a slope, a series of small check dams (i.e., gravel bags) constructed at intervals along the slope may be required to slow the runoff.

- Select appropriate protection and construct inlet protection based on the configuration of inlets at the site.

Maintenance and Inspection

- Inspect inlet protection devices prior to and after storm events and routinely throughout the rainy season.

- Remove inlet protection devices at the end of the construction period, or when the inlet can no longer be impacted by the project.

- During inspections:

- Inspect bags, silt fence, or filter fabric for holes, gashes and snags.

- Check gravel bags for proper arrangement and displacement.

- Remove the sediment behind the barrier when it reaches one-third 1/3 the height of the barrier. Remove sediment should be incorporated in the project or disposed of at an approved Utility disposal site.

City of Calexico

BMP Manual

BMP 1-7	Tracking Controls

When

Tracking controls reduce offsite tracking of sediment and other pollutants by providing a stabilized entrance at defined construction site entrances and exits and/or providing methods to clean-up sediment or other materials to prevent them from entering a storm drain by sweeping or vacuuming.

- Stabilized entrances should be implemented on a project-by-project basis in addition to other BMPs.

- Sweeping or vacuuming should be implemented when sediment is tracked out onto public and/or private paved streets, typically at points of the site exit from the project.

- Used stabilized entrances and/or sweeping at construction sites;

- Where dirt or mud is tracked onto public or private streets.

- Adjacent to water bodies.

- Where poor soils are encountered, such as soil containing clay.

- Where dust is a problem during dry weather conditions.

How

Stabilized Construction Entrances

- Limit the points of entrances/ exits to the construction site by designating combination or single type entrances and exits. Require all employees, subcontractors and others to use them as well. Limit speed of vehicles to control dust.

- Grade each construction entrance/exit to prevent runoff from leaving the construction site.

- Route runoff from stabilized entrances/exits through a sediment-trapping device before discharge.

- Design stabilized entrances/exits to support heaviest vehicles and equipment that will travel on it.

City of Calexico

BMP Manual

- Select construction access stabilization (aggregate, asphaltic concrete, concrete) based on longevity, required performance and site conditions.

- Use of constructed or constructed/manufactured steel plates with ribs for entrance/exit access are allowed.

- If aggregate is selected, place crushed aggregate over geotextile fabric at least twelve 12 inches in depth, or place aggregate to a depth recommended by a geotechnical engineer. A crushed aggregate greater that three 3 inches but no smaller the six 6 inches shall be used.

Street Sweeping and Vacuuming

- Inspect potential sediment tracking locations routinely.

- Visible sediment tracking should be swept or vacuumed as needed. Manual sweeping is appropriate for small projects.

- Manual sweeping is appropriate for small projects. For large projects, it is preferred to use sweeping methods other than manual that collect removed sediment and materials.

- If not mixed with debris or trash, incorporate the removed sediments back into the project or dispose of it at an approved disposal site.

Maintenance and Inspection

Stabilized Construction Entrance

- Routinely inspect for damage and assess effectiveness. Repair if access is clogged with sediment.

- Where tracking has occurred on roadways sweeping should be conducted the same day. Preferably water should not be used to wash down sediment off the streets. If water is used, it should be captured preventing sediment-laden water from running off the site.

- Keep all temporary roadway ditches clear.

Street Sweeping and Vacuuming

- Inspect inlet and outlet access points routinely and sweep tracked sediment as needed.

City of Calexico

BMP Manual

- Be careful not to sweep up any unknown substances or any object that may be potentially hazardous.

- After sweeping is finished, properly dispose of swept waste.

BMP I-8	Stockpile Management

When

Use this BMP when projects require stockpiled soil and/or paving materials. The stockpile management practices used differs based on forecasted weather of terrain.

- Protection of stockpiles must be implemented whenever there is a potential for transport of materials by a water source (forecast precipitation or any non-stormwater runoff).

How

- One or  more of the following options may be used to manage stockpiles and prevent stockpile erosion and sediment discharges for stormwater and non-stormwater runoff/run-on:

- Stockpile may be returned to the excavation if precipitation is forecasted.

- Protect stockpiles from stormwater run-on using a temporary perimeter sediment barrier such as berms, silt fencing, fiber rolls, covers, sand/gravel bags, or straw bale barriers, as appropriate.

- Stockpiles may be hauled off or temporarily stored in a protected location off site.

- Keep stockpile organized and surrounding areas clean.

- Protect storm drain inlets, watercourses, and water bodies from stockpiles, as appropriate.

- Implement dust control practices as appropriate on all stockpile materials.

- Stockpiles should be covered, stabilized, and/or protected with a perimeter sediment barrier prior to the onset of precipitation.

City of Calexico

BMP Manual

Section II- WASTE MANAGEMENT AND MATERIALS CONTROLS

Federal, state and local laws, regulations, ordinances and permits prohibit the discharge of contaminated stormwater into storm drains and surface waters. Transport of sediments and other pollutants, such as litter, paint, solvents, fuel, lubricants and demolition waste, can be carried away from a construction site in stormwater. Therefore, BMPs are to be used for those construction activities that could cause pollution to ensure that all pollutants are properly mitigated and are not discharged into the storm drains and surface waters.

Waste Management and Materials Controls are source control BMPs that reduce or prevent contact between waste and/or materials and stormwater. Waste Management and Materials Controls presented in this Manual include the following:

BMP II-1	Material Delivery and Storage

BMP II-2	Material Use

BMP II-3	Spill Control

BMP II-4	Solid Waste Management

BMP II-5	Hazardous Materials/Waste Management

BMP II-6	Contaminated Soil Management

BMP II-7	Sanitary/Septic Waste Management

BMP II-8	Liquid Waste Management

BMP II-1	Material Delivery and Storage

When

Use this BMP if it is necessary to store materials at a construction site. This Bmp does not apply to material and supplies stored on trucks that are driven on site and offsite daily.

How

- Only store the minimum amount of material that is needed for the job.

- Locate storage areas away from the storm drain inlets, drainage systems, and watercourse to prevent stormwater runoff from reaching the materials.

- If practical, store materials in enclosed storage containers such as cargo containers.

- Store materials on impervious surfaces or use plastic groundcovers to prevent any spill or leakage from contaminating the ground.

City of Calexico

BMP Manual

- For known hazardous materials, keep materials covered using plastic or other waterproof materials.

- If necessary provide secondary containment systems around materials storage areas to prevent contamination runoff/run-on from leave strorage areas.

- Keep adequate supply of spill kit materials nearby.

- Ensure that qualified personnel are available when hazardous materials are delivered to ensure proper delivery and storage in designated areas.

- When storage areas are no longer needed, return them to their original condition.

- Bagged materials such as cold patch, concrete mix, and other materials with the potential to pollute runoff, should be placed on pallets and under cover.

Maintenance and Inspection

Repair or replace covers, containment structures, or perimeter controls as needed to ensure proper functioning. Perform routine inspections of designated delivery and storage areas.

BMP II-2	Material Use

When

Apply this BMP when the following materials are used or prepared on site:

- Pesticides and Herbicides

- Fertilizer and soil amendments

- Detergents

- Petroleum products such as fuel, oil and grease.

- Asphalt and other concrete components.

- Hazardous chemicals such as acids, lime, glues, adhesives, paints, solvents, and curing compounds.

City of Calexico

BMP Manual

- Mastic, pipe wrap, primers, and paint.

- Welding materials.

- Other materials that may be detrimental if released to the environment.

How

- Reduce or eliminate use of hazardous materials onsite when practical. Contact your Environmental Representative for additional information.

- Empty latex paint and paint cans, used brushes, paint rags, absorbent materials, and drop cloths. When these items are thoroughly dry and are no longer hazardous, they may be disposed of with other construction debris.

- Do not remove the original product labels; it contains important safety and disposal information. Use the entire product before disposing of the containers.

- When possible mix paint indoors, otherwise use secondary containment structures. Do not clean paintbrushes or rinse paint containers in a street, gutter, storm drain, sanitary sewer or watercourse.

- Dispose of any paint thinners, residue and sludge, that cannot be recycled, as hazardous waste. For water-based paint, clean brushes to the extent practical, and rise into a concrete washout area or temporary sediment trap. For oil based paints, clean brushes to the extent practical, filter and reuse thinners and/or solvents.

- If possible, recycle residual paints, solvents, non-treated lumber, and other materials.

- Do not over-apply fertilizers, pesticides, and soil amendments. Prepare only the amount needed. Strictly follow the recommended usage instructions.

- Keep an ample supply of spill clean up material near use areas. Inspect employees spill clean up procedures.

- Avoid exposing applied materials to rainfall unless sufficient time has been allowed for them to dry and/or cure.

City of Calexico

BMP Manual

- Hazardous materials use shall also be managed in accordance with the BMP on “Hazardous Materials/Waste Management”.

Maintenance and Inspection

- Spot-check employees and contractors regularly throughout the job’s duration to ensure appropriate practices are being used.

BMP II-3	Spill Control

When

The Best Management Practice (BMP) applies to all construction sites at all times. Spill control procedures are implemented anytime chemicals and/or hazardous substances are stored. Substances may include, but are not limited to: fuels, lubricants, solvents, fertilizers, pesticides, herbicides, soil binders, coolants, paints and sewage.

To the extent that work can be accomplished safely, spills of materials or chemicals shall be contained and cleaned up immediately.

How

Stop the spillage of material if it can be done safely. Clean the containment area and properly dispose of contaminated materials. For all spills notify the project foreman and/or the Environmental Representative. Use the following spill prevention and controls when applicable:

- To the extent that it does not compromise the clean up activities, spills shall be covered and protected from stormwater run-on during rainfall.

- Spills shall not be buried or diluted with wash water.

- Used clean up materials, contaminated materials, and recovered spill materials shall be stored and dispose of in accordance with Federal, State, and Local regulations (Refer to BMP on “Hazardous Materials/Waste Management”).

- Use absorbent materials on spills rather than using water to hose down the spill.

- When water is used for cleaning and/or decontaminating a spill, the water shall not be permitted to enter the storm drain inlets or watercourses, and shall be collected and disposed of properly. Coordinate disposal of these wastes with the Environmental Representative.

City of Calexico

BMP Manual

- Keep spill cleanup kits in areas where any materials are used and/or stored.

Maintenance and Inspection

- Perform routine inspections to verify that spill control cleanup materials are near the storage, unloading, and use areas.

BMP II-4	Solid Waste Management

When

These BMPs should be used on all construction projects that generate solid waste. Solid wastes may include, but are not limited to concrete, cement, asphalt rubble, masonry brick/block, vegetation debris, steel and scrap metal, pipe and electrical cuttings, non-hazardous equipment parts, Styrofoam, general trash, and other materials used to transport and package construction materials.

How

- Practices good housekeeping and keep site clean.

- Use “dry” methods for site cleanup such as sweeping, vacuuming and hand pickup.

- Designate a waste storage area on site. If a designated waste storage area is not feasible, remove waste from the site regularly.

- Prohibit littering by employees, contractors and visitors.

- Trash receptacles should be available on site and/or on construction vehicles.

- Protect waste from being washed away by rainfall, stormwater run-on, or other waters (irrigation, water line breaks, etc.).

- For materials with potential for spillage or leaks, stockpile on impervious surfaces or use plastic groundcover to prevent pillage or leaks from infiltrating the ground.

- Do not hose out or clean out dumpsters and/or containers at the construction site.

City of Calexico

BMP Manual

- Prevent solid waste and trash from entering and clogging storm drain inlets.

- As practical, incorporate any removed clean sediment and soil back onto the project.

- Reference BMP on Stockpile Management.

Maintenance and Inspection

- Collect site trash regularly, especially before rainy or windy conditions.

- Perform routine inspections of site, including storage areas, dumpsters, stockpiles and other areas where trash and debris are collected.

- Close trashcan lids and dumpster covers before rainy or windy conditions.

BMP II-5	Hazardous Materials/Waste Management

When

Use this BMP when projects involve the storage and use of hazardous materials and the generation of waste byproducts, from the following:

- Petroleum products such as oils, fuels, and greases, cold mix and tars.

- Glues, adhesives and solvents.

- Herbicides, pesticides and fertilizers.

- Paints, stains, and curing compound.

- Other hazardous and toxic substances.

How

Hazardous materials and waste shall be managed in accordance with the following procedures:

- Minimize the amount of hazardous materials stored at the construction site and the production and generation of hazardous waste at the construction site.

City of Calexico

BMP Manual

- Cover or containerize and protect from vandalism any hazardous materials and/or waste.

- Clearly mark all hazardous materials and waste. Place hazardous waste containers in secondary containment systems if stored at the construction site.

- Stockpile cold mix should be placed on and covered with plastic.

- Do not mix waste materials, because this complicates or inhibits disposal and recycling options and may result in dangerous chemical reaction.

- Stormwater that collects within secondary containment structures must be inspected prior to being discarded to ensure no pollutants are present. Contaminated stromwater must be managed per Utility Environmental Practices (EPs).

- Spills cannot be discharged from a secondary containment system. See BMP on Spill Control.

- Hazardous waste must be segregated from other solid waste and disposed of properly.

- In addition to following this BMP, employees or contractors are responsible for compliance with Federal, State and Local Laws regarding storage, handling, transportation and disposal of hazardous waste.

Maintenance and Inspection

- Routinely inspect the covers on hazardous material storage areas for tears or flaws and repair as necessary.

- All secondary containment systems must be able to hold the volume of the largest container in the storage area, plus sufficient additional capacity for storm events.

- Perform routine inspections to ensure that no hazardous materials or waste are improperly left exposed to stormwater.

City of Calexico

BMP Manual

BMP II-6	Contaminated Soil Management

When

This contaminated Soil Management BMP should be used whenever soil contamination is suspected or contaminated soil is encountered. Construction crews should be extra vigilant on projects located in highly urbanized or industrial areas where soil contamination may have occurred because of a spill, illicit discharge and leaks from underground storage containers.

Contaminated soil may also be encountered during digging and trenching activities on highways and/or roadways.

How

Contaminated soil waste should be managed in accordance with the following procedures:

- Identify contaminated soil; look for the following:

- Soil that is discolored, black, grey, white or;

- Soil that has an unusual odor, such as petroleum, acid, alkaline, sewage, solvent or any other chemical odor.

- If any potentially contaminated soil is detected, discontinue the activity and contact the projects’ Environmental Representative.

- Contaminated soil must be managed properly per Utility Environmental Practices (EPs).

Maintenance and Inspection

- Perform routine inspections of digging and trenching operations looking for contaminated soil.

- All contaminated soil must be managed as a hazardous substance, if applicable, in accordance with Federal, State and Local Laws.

BMP II-7	Sanitary/Septic Waste Management

When

Use this BMP on all construction sites that use temporary or portable sanitary/septic waste systems.

City of Calexico

BMP Manual

How

- Incorporate into regular safety meetings, the education of employees, contractors and suppliers on:

- Potential dangers to humans and the environment from sanitary/septic waste.

- Approved sanitary/septic waste storage and disposal procedures.

- Temporary sanitary facilities should be located away from drainage facilities, watercourses, and from traffic circulation sites. When subjected to high winds or risk of high winds, temporary sanitary facilities must be secured to prevent overturning.

- Sanitary wastewater should not be buried or discharged, except to a permitted sanitary sewer discharge facility. A permit may be required from the local authority.

- Use only reputable, licensed sanitary/septic waste haulers.

- Temporary sanitary facility holding tanks must be emptied prior to transporting.

Maintenance and Inspection

- Onsite sanitary/septic waste and disposal facilities should be routinely inspected.

- Ensure that sanitary/septic facilities are maintained in good working order, routinely serviced by a licensed service provider.

BMP II-8	Liquid Waste Management

When

- This BMP is applicable to construction projects that generate any of the following non-hazardous byproducts, residuals, or waste, such as; drilling slurries and drilling fluids, grease-free and oil-free wastewater and/or rinse water, dredging spoils, other non-stormwater liquid discharges not permitted by separate permits.

- Separate SMPs should also be referenced from the following onsite liquid waste:

- Dewatering operations.

- Liquid hazardous waste.

- Concrete slurry residue.

City of Calexico

BMP Manual

How

- Vehicle and equipment cleaning using water is discharged on site.

- Drilling residue and drilling fluids should be disposed of at an approved disposal site. Coordinate the disposal of these wastes with your Environmental Representative.

- Waste generated as part of an operational procedure, such as water-laden dredged material and drilling mud should be contained and not allowed to flow into drainage channels or receiving waters.

- Contain non-hazardous liquid waste in a controlled area, such as a lined holding pit, lined sediment basin, roll-off bin or portable tank.

- Containing devices must be of sufficient quantity or volume to completely contain the liquid waste generated and any additional volume based on anticipated rainfall.

- Do not locate containment areas of devices where accidental release of the contained liquids can threaten health and/or safety, or discharge to watercourses, storm drain system, or to receiving water.

- Capture all liquid waste running off a surface that has the potential to affect the storm drainage system. Examples are; wash and rinse water form cleaning walls or pavement.

- If liquid waste is sediment laden, use a sediment trap or capture in a containment device and allow sediment to settle.

- Disposal of liquid waste is subject to specific laws and regulations, or to requirements of other permits secured for the construction project.

Maintenance and Inspection

- Remove deposited solids from containment areas or systems as needed, and at the completion of the project.

- Inspect containment areas and systems routinely for damage and repair as needed.

City of Calexico

BMP Manual

Section III- NON-STORMWATER DISCHARGE CONTROLS

Non-Stromwater Discharge Controls include general site and operation BMP measures that minimize pollution of water. Non-Stormwater Discharge Controls presented in this Manual include the following:

BMP III-1	Dewatering Operations

BMP III-2	Paving Operations

BMP III-3	Vehicle and Equipment Washing

BMP III-4	Vehicle and Equipment Fueling

BMP III-5	Concrete/Coring/Saw Cutting and Drilling Waste Management

BMP III-6	Dewatering Utility Substructures and Vaults

BMP III-7	Vegetation Management including Mechanical and Chemical Weed Control

BMP III-8	Over-Watering Protection

BMP III-9	Removal of Underground Utility Location Mark-Out Paint

BMP III-1	Dewatering Operations

When

- This bmp is applicable to trench or excavation dewatering.

- Discharges of non-stormwater from a trench or excavation that contain sediment or other pollutants to the sanitary sewer, storm drain systems, creek beds (even if dry), or receiving water is prohibited. Water from dewatering activities is generally allowed to be discharged if the water does not contain any type of sediment or other pollutants. Verify with your local jurisdiction.

- Generally, non-contaminated discharge of non-stormwater to land (such as infiltration) is allowed. Some areas may require a permit or other regulatory approval. Verify with your local jurisdiction.

- This BMP is not applicable to utility vault or substructure dewatering. For these applications, refer to the BMP on Dewatering Utility Substructures and Vaults.

- This BMP is not applicable if the water is known, or suspected to be contaminated. Under these conditions, contact your Environmental Representative.

City of Calexico

BMP Manual

How

Water generated by dewatering activities may be managed in accordance with the following procedures:

- Use water where possible for construction activities such as compaction and dust control. If used for these applications, ensure that the water will infiltrate and not runoff from the land to the storm drain system, to creek beds (even if dry) or to receiving waters.

- If allowed, infiltrate to an appropriate landscaped, vegetated or soil area. Note: infiltration may be prohibited in accordance with local requirements. See “When” above.

- If water is to be discharged to land for infiltration:

- The water may contain sediments, but must not be contaminated with other pollutants.

- The water must not runoff from the land to the storm drain system, to creek beds (even if dry) or other surface waters.

- Permission may be needed from the property owner on which the infiltration will occur.

- Water from dewatering, that contains only sediment, may be discharged if the sediment is allowed to settle out or the sediment is filtered out first. Alternatively, a vacuum truck may be used to remove the water and haul it to an authorized discharge location.

- If a permit is required, provide temporary onsite storage (baker tanks, etc.) of water removed from trenches, excavations, etc., until a permit may be obtained allowing the discharge.

- If a permit is obtained for discharge to a stormwater or sanitary sewer system, conduct all dewatering discharge activities in accordance with the permit requirements.

Maintenance and Inspection

- Inspect pumps, hoses, and all equipment before use. Monitor dewatering operations to ensure it does not cause offsite discharge or erosion.

- Inspect routinely, when applicable activities are underway.

City of Calexico

BMP Manual

BMP III-2	Paving Operation

When

- Use this BMP for projects that involve pavement surfacing, resurfacing, removal or patching applications of; cold mix asphalt, chip seal, seal coat, tack coat, slurry seal, fog seal or concrete cement.

- For pavement grinding, wet saw cutting, drilling or coring, refer to BMP Concrete/Coring/Saw Cutting and Drilling Waste Management.

How

- Protect storm Drain inlets near work and down gradient of the area to be paved.

- If onsite mixing is planned then area must be designed for conducting the mixing. This area should be paved or made impervious (e.g. plastic or wood sheeting) and be located away from storm drain inlets or watercourses.

- Minimize overspray of tackifying emulsions or placement of other paving materials beyond the limits of the area to be paved.

- Use dry methods to clean equipment and conduct cleaning in accordance with the BMP on Vehicle and Equipment Washing.

- Materials use and stockpiles need to be managed in accordance with the BMPs on Materials Use and Stockpile Management.

- Collect and remove all broken asphalt and concrete, recycle when feasible and dispose of materials in accordance with Local, State and/or Federal requirements.

- Do not apply asphalt, concrete paving, seal coat, tack coat, slurry seal or fog seal if rain is expected during the application or curing period.

- Avoid if possible, transferring, loading or unloading paving materials near storm drain inlets or watercourses. If not possible, use BMP on Storm Drain Inlet Protection.

City of Calexico

BMP Manual

Maintenance and Inspection

- Inspect and maintain equipment and machinery routinely to minimize leaks and drips.

- Inspect inlet protection measures routinely.

BMP III-3	Vehicle and Equipment Washing

When

Use these procedures on all construction sites where vehicles and equipment cleaning is performed. Note that onsite vehicle and equipment washing is not typically performed on utility type construction projects and requires specific approval of a Utility Environmental Representative.

How

- Use “dry” type cleaning methods such as wiping down, rather than water washing vehicles or equipment.

- Whenever possible washing should not be conducted at the construction site.

- If onsite vehicle washing is authorized by the Environmental Representative, use the following methods:

- Vehicle and equipment washing must be located away from storm drain inlets, drainage systems or watercourses.

- Place sand bags or other type of berm around the storm drain inlets and drainage systems to prevent wash water from entering a storm drain inlet, drainage systems or watercourse.

- Never discharge wash water to the storm drain system.

- Use as little water as possible. High pressure sprayers may use less water than a hose.

- Use a positive shutoff valve to minimize water usage.

Maintenance and Inspection

Monitor employees and contractors through the duration of the construction project to ensure appropriate practices and being implemented.

City of Calexico

BMP Manual

BMP III-4	Vehicle and Equipment Fueling

When

- Use this bmp for projects where onsite fueling of vehicles and equipment, including handheld equipment is planned.

- Vehicle and equipment fueling, except for handheld equipment, is typically not done on the construction site. Onsite fueling of vehicles and equipment may be planned if it is impractical to send vehicles and/or equipment offsite for fueling.

- Handheld equipment is treated separately from other equipment. Handheld equipment includes, those smaller, manually operated pieces of equipment such as trenchers, mowers, chainsaws, concrete saws, generators, and other equipment that need fueling during regular daily operation.

How

Fueling Vehicles and Handheld Equipment

- If practical, fuel vehicles and equipment offsite.

- Mobile fueling equipment is the preferred equipment use for onsite fueling.

- Fuel storage and fueling areas should be located away from storm drain inlets, drainage systems and watercourses.

- All fueling will be conducted with the fueling operator in attendance at all times regardless if the fuel nozzles are equipped with automatic shutoffs features.

- Fuel tanks should not be “top off”.

- All fueling operators should have readily available a spill containment and cleanup equipment and materials.

- Cleanup spills immediately and properly dispose of contaminated materials.

- Properly store and dispose of rags and absorbent materials used in the cleanup of any spilled fuel.

- Mobile fueling trucks and operators must have all the necessary permits, licenses and training.

City of Calexico

BMP Manual

Maintenance and Inspection

- Checks to ensure adequate supply of spill cleanup materials are available.

- Perform routine inspections of designated fueling areas.

- Report al spills immediately to the project Supervisor or the Environmental Representative.

BMP III-5	Concrete/Coring/Saw Cutting and drilling Waste Management

When

Projects where concrete and asphalt are used or where slurry or pavement/concrete waste is generated by construction activities, including:

- Saw Cutting

- Coring/Drilling

- Grinding, Repaving or Patching

- Encasing Conduit in Concrete

- Tower Footings

For managing any concrete curing compounds, use the BMP on Hazardous Materials/Hazardous Waste Management. For managing paving operation, use BMP Paving Operations.

How

- Install storm drain protection at any down-gradient inlets that may be impacted by the activity. See the BMP on Storm Drain Inlet Protection.

- Minimize the amount of water used during the coring/drilling or saw cutting. During wet coring or saw cutting, use a shovel or wet vacuum to left the slurry from the pavement. Additionally, if the wet vacuum is not adequate to capture wastewater from the activity, sand bag barriers or other containment methods should be used.

- If concrete residue remains after drying, the area should be swept up and residue removed to avoid contact with stromwater or entering a storm drain inlet or watercourse.

- The following options should be used for concrete truck chute and/or pump and hose washout:

City of Calexico

BMP Manual

- If available, arrange to use an existing concrete washout station. Upon entering the site, concrete truck operators should be instructed about practices being used on site.

- Concrete Washouts: Washout Stations can be a plastic lined, temporary pit or bermed area designed with sufficient volume to completely contain all liquid and waste concrete materials plus enough capacity for rainwater. The designated area must be located away from storm drain inlets, or watercourses.

- Washout in Trench: Manually rinsing the concrete truck chute into the trench itself.

- Bucket Washout: Manually rinsing the chute into a whellbarrow, plastic bucket or pail and then empty the bucket into the concrete truck barrel or on top of the placed concrete.

Maintenance and Inspection

- Responsible personnel should ensure that all concrete truck operators are instructed about the project practices when the trucks arrive onsite.

- Clean out designated washout areas as needed or at a minimum when the washout area is at 75 percent full to maintain sufficient capacity throughout the project duration.

- Any designated onsite washout areas must be cleaned out and all debris removed upon project completion. Dispose of concrete waste according to the BMP on Solid Waste Management.

- Inspect routinely, when applicable activities that are underway to ensure that concrete washout areas do not overflow.

BMP III-6	Dewatering Utility Substructures and Vaults

When

This BMP is applicable to utility substructures (vault) dewatering activities. This BMP does not apply to trench, excavation or other general dewatering activity associated with general construction.

How

The discharge of water from dewatering of vaults and substructures to the storm drain is allowed under an existing NPDES permit (General Permit CAG990002, Order No. 2001-1-DWQ). General requirements for discharge under this permit are listed below.

City of Calexico

BMP Manual

- All dewatering discharges conducted by a utility crew, including contractor, shall follow the latest versions of SCG/SDG&E Environmental Practices (EP) on Vault and Substructure Dewatering.

- Discharges to land require prior approval from the landowner.

- If the water to be discharged conforms to the practices within the EP, the discharge is allowed.

- During discharge, do not allow pollutants (e.g. sediments) to come in contact with the discharge. For example, if there is pre-existing soil in the path of the discharge (e.g. gutters) it must be swept up or avoided before discharging the substructure water.

Maintenance and Inspection

- Implement applicable provisions of the Environmental Practice.

- Inspect pumps, hoses and equipment before use and routinely when applicable activities are underway.

- Observe dewatering activities to ensure they do not cause erosion or discharge of potential pollutants.

BMP III-7	Vegetation Management Including Mechanical and Chemical Weed Control

When

Use this BMP whenever vegetation control is used. Vegetation control may consist of manual or mechanical removal of vegetation and/or chemical treatment.

How

General Vegetation Management Procedures

- Do not allow vegetation debris to enter storm drain inlets and watercourses.

- Identify drain inlets and watercourses, both upstream and downstream of the worksite(s).

- Preplan the work to protect stormwater drainage systems and watercourses from discharge of potential pollutants, maintain equipment in good operating condition.

City of Calexico

BMP Manual

- Set up the work area to minimize the tracking of material by vehicle and equipment in or out of the worksite.

Practice Good Housekeeping at the Worksite(s)

- Litter and debris should be collected and disposed of properly.

- Containers of liquids should be secured with lids until utilized.

- Transport collected non-hazardous materials for proper disposal. If the material is of hazardous waste, follow the BMP on Hazardous Materials & Hazardous Waste Management. Contact your Environmental Representative.

- If a leak or spill occurs, protect drainage systems and watercourses from spilled materials; follow the BMP on Storm Drain Inlet Protection.

Mechanical Weed Control Procedures

Mechanical is the physical removal of weeds or unwanted vegetation growing around electric utility poles and electric distribution or transmission structures for fire control.

- Do nor stack or leave removed weeds and/or vegetation or any other debris on or near drain inlets or in the stormwater drainage system or watercourses.

- Do not fuel equipment next to drain inlets or place fuel or oilcans near or in watercourses, the storm drainage system or next to storm drain inlets.

- Because of fire control requirements, do not leave cut vegetation around structures.

Chemical Weed Control Procedures

This method of weed and vegetation control uses herbicides to eliminate and prevent weed growth. The purposed is to control vegetation growth year-round as needed for effective fire control.

To achieve effective vegetation control through chemical means and protect the environment, application personnel should:

- Use the correct herbicides for the application.

City of Calexico

BMP Manual

- Consider the seasonal timing of the application as applicable.

- Do not use chemical vegetation control prior to a forecasted rain event.

- Only use those herbicides approved by SDG&E/SCG.

- Application of herbicides must conform to the SDG&E/SCG herbicide application protocol in addition to any Contractor owned protocols and label instructions. Contact your Environmental Representative for additional information.

- Apply pesticides only as specified on the “Pesticide Use Recommendation” on the label. The pesticide label is considered the Law and use of an herbicide inconsistent with the label is considered a violation. Follow safety and application methods as specified in the Annual Pesticide Safety Training.

- Follow the Herbicide/Pesticide application protocol when near stormwater drainage systems or watercourses.

- Calibrate the spray rig as needed, to ensure accurate application of herbicides.

- Record the use of all herbicides.

- Avoid using overhead irrigation for as long as recommended by the chemical manufactures applying pesticides or post-emergents.

- Avoid applying post-emergents prior to a predicted rain event.

Maintenance and Inspection

- Ensure that spraying equipment is maintained to prevent malfunctions.

- Inspect to confirm that mechanical and chemical weed control procedures have not created an erosion problem.

City of Calexico

BMP Manual

BMP III-7	Over –Water Protection

When

This BMP applies to projects where:

- Construction, maintenance or repair activities will be conducted above surface waters. These activities include, but are not limited to, chipping, grinding, scraping, welding/burning, painting, wrapping and coating of pipes and conduit.

- Surface waters (dry or running) include creeks, streams, rivers, lakes and wetlands, bays, estuaries and oceans.

- Prior to conducting over water activities, confirm the need for permits with appropriate local and state agencies.

How

- Containment systems must be properly designed and installed prior to the beginning of any operation that may impact a water body to prevent discharge of pollutants to surface waters.

- The work area should be kept clean of all trash and potential pollutants.

- Containment berms should be placed around the area of work as necessary to contain the discharge of potential contaminants such as oil and hydraulic fluid.

- Special attention should be given to existing and forecasted winds and weather conditions to prevent the discharge of pollutants onto surfaces waters.

- Shrouds should be used to prevent paint overspray, welding slag and other pollutants from entering the surface waters and/or being dispersed into the air. Shrouding may not be effective during periods of high wind.

- Shrouds should be large enough to adequately enclose or segregate the working area from entering surface waters. This may include plywood barriers, visqueen and scaffolding to help prevent fugitive materials from entering the surface water.

- Support structures such as scaffolding shall be used in conjunction with shrouding to withstand potential strong wing stress.

City of Calexico

BMP Manual

- Contaminated shrouding material and equipment shall be thoroughly cleaned or disposed of properly.

Maintenance and Inspection

- Inspect the containment systems and shrouds routinely during work activities to ensure their integrity.

BMP III-9	Removal of Underground Utility Location/Mark-Out Paint

When

Use this BMP when utility project involve mark-out by painting surfaces where underground utilities are located and where the paint is required to be removed by the local jurisdiction or other authority.

How

- Use nontoxic, light degradable mark-out paint when possible.

- Hydro Pressure wash.

- Dry abrasive blast/grinding.

- Wet abrasive blast/grinding.

- Wet/Dry Vacuum

- Dry sweep.

- Install storm drain inlet protection at adjacent down gradient inlets during wet hydro pressure washing and wet abrasive blasting/grinding.

- Minimize the amount of water used during hydro wash.

- Use shovel or wet vacuum to lift the paint slurry from the pavement or surface.

- If wet vacuuming is not adequate to capture all wastewater from these activities, use additional containment (sand bags, berms or other containment devices) method near the work area to prevent the discharge to a storm drain inlet or watercourse.

City of Calexico

BMP Manual

- If paint residue remains after drying, the area should be swept up and residue removed to avoid contact with stormwater.

- If paint residue remains after sweeping, the area can be water washed, as long as the water containing the paint residue is not allowed to enter the storm drain inlets or watercourses.

- All waste should be disposed of using the BMPs for Liquid Waste Disposal.

Maintenance and Inspection

- Inspect all containment systems to ensure proper placement prior to starting utility paint removal operation.

- Inspect and adjust equipment frequently and maximize efficiency of the paint removal operation.

Section IV- EROSION CONTROL AND SOIL STABILIZATION

Erosion is the detachment of soil by water or wind. Erosion is a natural process that can be accelerated by construction activities such as grading and trenching. For example when a site is cleared and grubbed, protective vegetation is removed and the disturbed soil is directly exposed to the wind and water. Erosion Controls protect the soil surface and prevent the soil particles from being detached by rainfall or wind. Preservation of Existing Vegetation is an example of an Erosion Control BMP.

Soil Stabilization is a form of erosion control. It protects the exposed soil surface from rain and wind thereby preventing erosion. Hydroseeding is an example of a Soil Stabilization BMP. Erosion Control and Soil Stabilization BMPs in this Manual include:

BMP IV-1	Preservation of Existing Vegetation

BMP IV-2	Temporary Soil Stabilization (General)

BMP IV-3	Hydraulic Mulch

BMP IV-4	Hydroseeding

BMP IV-5	Soil Binder

BMP IV-6	Straw Mulch

BMP IV-7	Geotextiles, Plastic Covers and Erosion Control Blankets/Mats

BMP IV-8	Dust (Wind Erosion) Control

City of Calexico

BMP Manual

BMP IV-1	Preservation of Existing Vegetation

When

This BMP is applicable to projects when:

- There are areas onsite where no construction activity is planned or will occur at a later date.

- Identify areas to be preserved in the immediate vicinity of the construction site and mark as appropriate before clearing and grubbing or other soil disturbance activities begin.

- Areas with vegetation that can be preserved to protect against soil erosion, such as on steep slopes, watercourses and building site in wooded areas.

- Aras designated as Environmentally Sensitive Areas (ESAs), or where Federal, State or Local government regulations require preservation, such as wetlands, vernal pools. Marshes, etc. these areas are typically flagged by a qualified biologist.

How

Use the following measures as applicable:

- Preserve existing vegetation whenever possible.

- If necessary, contact the project Environmental Representative for any clarification regarding areas to be preserved.

- Whenever possible minimize disturbed areas by locating temporary roadways to avoid stand of trees and shrubs and follow existing contours to reduce cutting and filling.

- Construction materials, equipment storage and parking areas should be located outside the drip line of any tree to be retained.

- Consider the impact of grade changes to existing vegetation and the root zone.

- Remove any markings, barriers or fencing after the project has been completed.

City of Calexico

BMP Manual

Maintenance and Inspection

- Maintain the clearly marked limits of disturbance during construction as appropriate to preserve vegetation.

- Inspect barriers regularly during construction.

BMP IV-2	Temporary Soil Stabilization (General)

When

This BMP is applicable to major projects when steep slopes are disturbed:

- For surface protection methods to prepare or protect the soil surface from the combined.

- On slopes where the soil has been exposed because of construction activities, one or more Soil Stabilization BMPs may be required to be implemented.

How

- Use one or more of the temporary soil stabilization practices below when applicable as described:

- Hydraulic Mulch.

- Hydro Seeding.

- Soil Binders.

- Straw Mulch.

- Geotextiles, Plastic Covers and Erosion Control Blankets/Mats.

- Implement prior to the onset of precipitation.

- Implement BMPs such as fiber rolls or gravel bags berms to break up the slope length  as follows:

- On steep slopes, BMPs should be placed on slopes 100 feet or greater at intervals no greater than 50 feet.

- On very steep slopes, BMPs should be placed on slopes 50 feet or greater at intervals no greater than 25 feet.

- Permanent erosion control shall be applied to areas deemed substantially complete during the project’s defined seeding window.

City of Calexico

BMP Manual

- Refer to individuals Soil Stabilization BMPs for specific instruction for use.

Maintenance and Inspection

- Refer to individual temporary soil stabilization BMPs for maintenance and inspection requirements.

BMP IV-3	Hydraulic Mulch

When

- Hydraulic mulch is typically applied to disturbed areas requiring temporary protection until permanent vegetation is established or disturbed areas that must be re-disturbed following an extended period of inactivity.

- Avoid use in areas where the mulch would be incompatible with immediate earthwork activities and would have to be removed.

How

- Prior to application, roughen embankment and fill areas by rolling with a crimping or punching type roller or by track walking. Track walking shall only be used where other methods are impractical.

- Avoid mulch overspray onto the traveled way, sidewalks, lined drainage channels or existing vegetation.

- Hydraulic Mulches:

Apply as a liquid slurry using a hydraulic application machine (i.e., Hydroseeder) at rates of mulch and stabilizing emulsion recommended by the manufacturer. Wood fiber hydraulic mulched are generally short-lived (only last a part of a growing season) and must be applied 24 hours before rainfall to dry and become effective.

- Hydraulic Matrices:

Apply a combination of wood fiber and/or paper fiber mixed with acrylic polymers as binder. Apply as a liquid slurry using a hydraulic application machine (i.e., Hydroseeder) at rates recommended by the manufacturer. Hydraulic matrices must be applied 24 hours before rainfall to dry and become effective.

City of Calexico

BMP Manual

- Bonded Fiber Matrix (BFM):

Apply BFM using a hydraulic application machine (mulch and tackifier are premixed in a single bag) in accordance with the manufacturer’s instructions. Do not apply immediately before or after a rainfall.

Maintenance and Inspection

- Maintain an unbroken, temporary mulched groundcover throughout the period of construction when the soils are not being reworked. Inspect before expected rainstorms and repair any damaged groundcover and re-mulch exposed areas of bare soil.

- After any rainfall event, maintain all slopes to prevent erosion.

BMP IV-4	Hydroseeding

When

Hydroseeding typically consists of applying a mixture of fiber, seed, fertilizer and stabilizing emulsion with hydro-mulch equipment, which temporary protects disturbed soil areas from erosion. It is applied:

- Disturbed Soil Aras (DSAs) requiring temporary protection until permanent vegetation is established, or

- DSAs that must be re-disturbed following an extended period of inactivity.

How

- Avoid use of hydroseeding in areas where the Best Management Practice (BMP) would be incompatible with future earthwork activities and would have to be removed such as:

- Steep slopes are difficult to protect with temporary seeding.

- Temporary seeding may not be appropriate in dry periods without supplemental irrigation.

- Temporary vegetation may have to be removed before permanent vegetation is applied.

- Temporary vegetation is not appropriate for short-term inactivity.

City of Calexico

BMP Manual

- Hydroseeding can be accomplished using a multiple-step (with straw mulch) or a one-step process (mixed with hydraulic mulch, hydraulic matrix or bonded fiber matrix). When the one-step process is used to apply the mixture of fiber, seed, etc., the seed rate shall be increased to compensate for all seed not having direct contact with the soil.

- Prior to application, roughen slope, fill area or area to be seeded with the furrows trending along the contours.

- Apply straw mulch as necessary to keep seeds in place and to moderate soil moisture and temperatures until the seeds germinate and grow.

- Follow-up applications shall be made as needed to cover weak spots and to maintain adequate soil protection.

- Avoid over-spray onto the travel way, sidewalks, drainage channels and existing vegetation.

- All seeded areas shall be inspected for failures and reseeded, fertilized and mulched within the planting season, using no less than half the original application rates. Any temporary revegetation efforts that do not provide adequate cover must be revegetated.

- After any rainfall event, maintain all slopes to prevent erosion.

BMP IV-5	Soil Binders

When

Soil binders are typically applied to distributed areas requiring short-term temporary protection. Because soil binders can often be incorporated into the work, they may be a good choice for areas where grading activities will soon resume.

How

- Selection of soil binders should be approved by the project’s Environmental Representative after an evaluation of site-specific factors. Binders have the following limitations:

- Soil binders generally experience spot failures during heavy rainfall and may need reapplication after a storm and do not hold up to pedestrian or vehicular traffic.

City of Calexico

BMP Manual

- Soil binders may not penetrate soil surfaces made up primarily of silt and clay, particularly when compacted.

- Some soil binders may not perform well with low relative humidity. Under rainy conditions, some agents may become slippery or leach out of the soil.

- May not cure in low temperatures occurring within 24 hours of application.

- Follow manufacture’s recommendations for application procedures and cleaning of equipment after use. Any onsite cleaning must use appropriate BMPs for pollution prevention plans.

- Prior to application, roughen embankment and fill areas. Track walking shall only be used where rolling is impractical.

- Soil binders should not be applied during or immediately before rainfall, as they require a minimum curing time of 24 hours before they are fully effective.

- Avoid overspray onto travel ways, sidewalks, lined drainage channels, sound walls and existing vegetation.

- Do not apply soil binders to frozen soil, areas with standing water, under freezing conditions or when the temperature is below 4’ C (40’F) during the curing period. More than one treatment is often necessary, although the second treatment may be diluted or have a lower application rate:

- For liquid agents:

- Crown or slope ground to avoid ponding.

- Uniformly pre-wet ground according to manufactures’ recommendations.

- Apply solution under pressure. Overlap solution 150 to 300 mm (6 to 12 inches).

- Allow treated areas to cure for the time recommended by the manufacturer; typically, at least 24 hours.

- Apply second treatment before first treatment becomes ineffective, using a 50 percent application rate.

- In low humidity, reactivate chemicals by rewetting according to manufactures recommendations.

City of Calexico

BMP Manual

Maintenance and Inspection

- Reapplying the selected soil binder may be needed for proper maintenance. Traffic areas should be inspected routinely.

- After any rainfall event, maintain all slopes to prevent erosion.

BMP IV-6	Straw Mulch

When

Straw mulch is used when:

- Temporary soil stabilization surface cover is needed on disturbed areas until soils can be prepared for re-vegetation and permanent vegetation is established.

- In combination with temporary and/or permanent seeding strategies to enhance plant establishment.

- Note, there is a potential for interdiction of weed-seed and unwanted plant materials with straw.

How

- A tackifier is the preferred method for anchoring straw mulch to soil on slopes. Tackifiers glue the straw fibers together onto the soil surface, and the tackifier shall be selected based on longevity and ability to hold the fibers in place. Soil binders (tackifier) will generally experience spot failures during heavy rainfall events.

- A tackifier is typically applied at a rate of 125 pounds per acre. In windy conditions, the rate is typically 150 pounds per acre.

- Crimping, punch type, roller-type rollers or track walking may also be used to incorporate straw mulch into the soil on slopes. Track walking shall only be used where other methods are impractical.

- Avoid placing straw onto the travel way, sidewalks, lined drainage channels, sound walls and existing vegetation.

- Straw mulch with tackifier shall not be applied during or immediately before rainfall.

City of Calexico

BMP Manual

- Apply loose straw at a minimum rate of 4,000 pounds per acre, either by machine using a straw blower or by hand distribution.

- The straw mulch must be evenly distributed on the soil suface.

- Anchor the mulch in place by using a tackifier or by “punching” it into the soil mechanically. “Punching” of straw does not work in sandy soils.

- Methods for holding the straw mulch in place, depends on the slope steepness, accessibility, soil conditions and longevity. If selected method is incorporation of straw mulch into the soil, then do as follows:

- On small areas, a spade or shovel can be used.

- On slopes with soils, which are stable enough and of sufficient gradient to safely support construction equipment without contributing to compaction and instability problems, straw can be “punched” into the ground using a knife type blade roller or a straight bladed coulter, known commercially as a “crimper”.

- On small areas and/or steep slopes, straw can also be held in place using plastic netting or jutes. The netting shall be held in place using 11 gauge wire staples, geotextile pins or wooden stakes(as described BMP on “Geotextiles, Plastic Cover Erosion Control Blankets/Mats”).

- Remove straw as necessary prior to permanent seeding or soil stabilization.

Maintenance and Inspections

- The key consideration in maintenance and inspection is that the straw needs to last long enough to achieve erosion control obkectives.

- Reapplication of straw mulch and tackifier may be required to maintain effective soil stabilization over disturbed areas and slopes.

- After any rainfall event, maintain all slopes to prevent erosion.

City of Calexico

BMP Manual

BMP IV-7	Geotextiles, Plastic Covers and Erosion Control Blankets/Mats

When

- The following methods are used when disturbed soils may be particularly difficult to stabilizes or access, including the following situations:

- Steep slopes, generally steeper than 1:3 (V:H).

- Slopes where the erosion hazard is high.

- Slopes and disturbed soils where must be anchored.

- Disturbed areas where plants are slow to develop adequate protective cover.

- Channels with high flows.

- Channels intended to be vegetated.

- Slopes adjacent to water bodies of Environmentally Sensitive Areas (ESAs).

- Blankets and mats are generally not suitable for excessive rocky sites or areas where the final vegetation will be mowed (because staples and netting that can be caught in the mower equipment).

- Plastic results in 100 percent runoff, therefore, their use is limited to:

- Covering stockpiles.

- Covering small graded areas for short periods, such as through an imminent storm event, until alternative measures can be installed.

How

- Proper site preparation is essential to ensure complete contact of the blanket or matting with soil.

- Grade and shape the area of installation.

- Remove all rocks, clods, vegetation or other obstruction so that the installed blankets or mats will have complete, direct contact with the soil.

- Prepare seedbed by loosening the topsoil.

City of Calexico

BMP Manual

- Seed the area before the blanket installation for erosion control and revegetation. Seeding after mat installation is often specified for turf reinforcement application. When seeding prior to the blanket installation, all check slots and other areas disturbed during installation must be reseeded. Where soil filling is specified, seed the matting and the entire disturbed area after installation and prior to filling the mat with soil.

- U-shaped wire staples, metal geotextile stake pins or triangular wooden stakes can be used to anchor mats and blankets to ground surface.

- Wire staples and metal stakes should be driven flush t the soil surface.

- Al anchors should be 6 to 18 inches long and have a sufficient ground penetration to resist pullout. Longer anchors may be required for looser soils.

- Installation on slopes- Consult the manufacture’s recommendation for installation. In general, these will be as follows:

- Begin at the top of the slope and anchor the blanket in a 6 inch deep by 6 inch wide trench.

- Backfill trench and tamp earth firmly.

- Unroll blanket down-slope in the direction of water flow.

- Overlap the edges of adjacent parallel rolls 2 to 3 inches and staple every 3 feet.

- When blankets must be spliced, place blankets end over end (shingle style) with a 6 inch overlap. Staple through the overlapped areas, approximately 12 inches apart.

- Lay blankets loosely and maintain direct contact with the soil. Do not stretch.

- Staple blankets sufficiently to anchors and maintain contact with the soil. Staples should be placed down the center and staggered with the staples placed along the edges.

- Blankets and mats must be removed and disposed of prior to application of permanent soil stabilization measures.

Maintenance and Inspections

- Areas treated with temporary soil stabilization should be inspected routinely, before and after significant forecasted storm events. Any failures should be repaired immediately.

City of Calexico

BMP Manual

- Areas treated with temporary soil stabilization should be maintained to provide adequate erosion control. Temporary soil stabilization needs to be reapplied or replaced on exposed soils when greater than 10 percent of the previously treated areas that become exposed or exhibit visible erosion.

- If washout or breakage occurs, reinstall the materials after repairing the damaged t the slope or channel.

BMP IV-8	Dust (Wind Erosion) Control

When

This practice is implemented on exposed soils and materials subject to wind erosion.

How

Use the following measures as applicable:

- Water applied for dust control should be applied evenly and in a manner that does not generate runoff.

- Appropriate methods of applying dust control (covers or water and the means to apply it) should be available for projects with potential to create dust.

- Dust control must be implemented in accordance with Local air quality requirements.

- Dust control methods should be approved by the projects Environmental Representative.

- Obtain prior approval for the use of any chemical dust suppressants from the projects Environmental Representative.

- Non-potable water should be conveyed in tanks or drainpipes that will not be used to convey potable water and there shall be no connection between potable and non-potable water supplies.

- Non-potable tanks, pipes and other conveyances shall be marked “NON-POTABLE WATER-DO NOT DRINK”.

City of Calexico

BMP Manual

- If reclaimed wastewater is to be used for dust control, the sources and discharge must meet California Department of Health Services water reclamation criteria and the Regional Water Quality Control Board (RWQCB) requirements. Approval for the use of reclaimed wastewater must be obtained from the project’s Environmental Representative.

Maintenance and Inspection

- Check areas protected to ensure coverage.

- Reapply water or maintain covers, as necessary to maintain their effectiveness.

City of Calexico

BMP Manual

APPENDIX		DEFINITIONS AND ACRONYMS

BMP			Best Management Practices

BASE			Construction and Operations Center (The Gas Company)

C&O Center		Construction and Operations Center (SDG&E)

Cal-Trans		California Department of Transportation

Discharger	Any person who discharges waste that could affect the quality of California waters

DSA	Disturbed Soil Area

EP	Environmental Practices

FCD	Formal Communication Documents

Non-Rainy Season	May 1 to October 1, except for Southern California Desert Areas where the non-rainy season ends August 1

Rainy Season	October 1 to May 1, except for Southern California Desert Areas where the rainy season starts August 1

RWQCB	Regional Water Quality Control Board- nine Water Boards located throughout California that are responsible for enforcing water quality standards within their boundaries

Runoff	Rainfall or snow melt that is not absorbed by soil, evaporates or transpired by plants, but finds its way into streams as surface flow

ROW	Right of Ways

SCG	Southern California Gas Company

SDG&E	San Diego Gas and Electric Company

SWRCB	State Water Resource Control Board- The State Board responsible for protecting and preserving water quality and water rights in California

City of Calexico

BMP Manual

SWPPP	Storm Water Pollution Prevention Plan

Watershed	The total land areas that contribute water to rivers, steams, lakes or other bodies of water. Synonymous with drainage areas and/or drainage basins