## Summary
Reporting Required Pursuant to Order WR-2023-0042
February 2024 Reporting Period Summary (please review summary notes provided below)
Date | Souce: Upper Springs (gallons) | Source: Lower Springs (gallons) | Sources Total (gallons) | SMBMI Delivery (gallons) | BTB Hygiene Delivery (gallons) | BTB Tankers Delivery (gallons) | Strawberry Creek Discharge (gallons) | Other Delivery (gallons) | Other Diversion (gallons) | Total Deliveries and Discharges (gallons) | Variance (gallons) | Summary Notes
2024-02-01 | 114943 | 36273 | 151216 | 153833 | 0 | 0 | 0 | 0 | 0 | 153833 | -2617 | 1,2,3,4,5,6
2024-02-02 | 114463 | 36103 | 150566 | 141117 | 12060 | 0 | 0 | 0 | 0 | 153177 | -2611 | 1,2,3,4,5,6
2024-02-03 | 114276 | 36024 | 150300 | 153424 | 0 | 0 | 0 | 0 | 0 | 153424 | -3124 | 1,2,3,4,5,6
2024-02-04 | 114416 | 35879 | 150295 | 142580 | 10545 | 0 | 0 | 0 | 0 | 153125 | -2830 | 1,2,3,4,5,6
2024-02-05 | 124544 | 36215 | 160759 | 162676 | 0 | 0 | 0 | 0 | 0 | 162676 | -1917 | 1,2,3,4,5,6
2024-02-06 | 154979 | 38317 | 193296 | 182925 | 9300 | 0 | 0 | 0 | 0 | 192225 | 1071 | 1,2,3,4,5,6
2024-02-07 | 171532 | 45725 | 217257 | 223435 | 0 | 0 | 0 | 0 | 0 | 223435 | -6178 | 1,2,3,4,5,6
2024-02-08 | 170019 | 49857 | 219876 | 219033 | 9000 | 0 | 0 | 0 | 0 | 228033 | -8157 | 1,2,3,4,5,6
2024-02-09 | 161599 | 53379 | 214978 | 227384 | 0 | 0 | 0 | 0 | 0 | 227384 | -12406 | 1,2,3,4,5,6
2024-02-10 | 155078 | 54990 | 210068 | 211129 | 10290 | 0 | 0 | 0 | 0 | 221419 | -11351 | 1,2,3,4,5,6
2024-02-11 | 150759 | 56422 | 207181 | 218535 | 0 | 0 | 0 | 0 | 0 | 218535 | -11354 | 1,2,3,4,5,6
2024-02-12 | 147840 | 55705 | 203545 | 204933 | 8355 | 0 | 0 | 0 | 0 | 213288 | -9743 | 1,2,3,4,5,6
2024-02-13 | 146585 | 57549 | 204134 | 171226 | 0 | 0 | 0 | 0 | 0 | 171226 | 32908 | 1,2,3,4,5,6
2024-02-14 | 146161 | 57401 | 203562 | 204732 | 9165 | 0 | 0 | 0 | 0 | 213897 | -10335 | 1,2,3,4,5,6
2024-02-15 | 147200 | 57036 | 204236 | 216709 | 0 | 0 | 0 | 0 | 0 | 216709 | -12473 | 1,2,3,4,5,6
2024-02-16 | 148227 | 56944 | 205171 | 206991 | 10170 | 0 | 0 | 0 | 0 | 217161 | -11990 | 1,2,3,4,5,6
2024-02-17 | 149000 | 56984 | 205984 | 219022 | 0 | 0 | 0 | 0 | 0 | 219022 | -13038 | 1,2,3,4,5,6
2024-02-18 | 149507 | 57570 | 207077 | 207827 | 8370 | 0 | 0 | 0 | 0 | 216197 | -9120 | 1,2,3,4,5,6
2024-02-19 | 148680 | 56911 | 205591 | 217826 | 0 | 0 | 0 | 0 | 0 | 217826 | -12235 | 1,2,3,4,5,6
2024-02-20 | 150765 | 56726 | 207491 | 209701 | 9420 | 0 | 0 | 0 | 0 | 219121 | -11630 | 1,2,3,4,5,6
2024-02-21 | 178727 | 56781 | 235508 | 250209 | 0 | 0 | 0 | 0 | 0 | 250209 | -14701 | 1,2,3,4,5,6
2024-02-22 | 204332 | 58464 | 262796 | 268234 | 9780 | 0 | 0 | 0 | 0 | 278014 | -15218 | 1,2,3,4,5,6
2024-02-23 | 208362 | 57985 | 266347 | 284090 | 0 | 0 | 0 | 0 | 0 | 284090 | -17743 | 1,2,3,4,5,6
2024-02-24 | 200657 | 58920 | 259577 | 244346 | 9315 | 0 | 0 | 0 | 0 | 253661 | 5916 | 1,2,3,4,5,6
2024-02-25 | 192672 | 59032 | 251704 | 268837 | 0 | 0 | 0 | 0 | 0 | 268837 | -17133 | 1,2,3,4,5,6
2024-02-26 | 185566 | 59001 | 244567 | 250907 | 8940 | 0 | 0 | 0 | 0 | 259847 | -15280 | 1,2,3,4,5,6
2024-02-27 | 180305 | 59418 | 239723 | 112798 | 0 | 0 | 0 | 0 | 0 | 112798 | 126925 | 1,2,3,4,5,6
2024-02-28 | 176661 | 58878 | 235539 | 16290 | 31575 | 0 | 0 | 0 | 0 | 47865 | 187674 | 1,2,3,4,5,6
2024-02-29 | 174475 | 58042 | 232517 | 113079 | 36705 | 0 | 0 | 0 | 0 | 149784 | 82733 | 1,2,3,4,5,6
TOTALS | 4582330 | 1518531 | 6100861 | 5703828 | 192990 | 0 | 0 | 0 | 0 | 5896818 | 204043
Source Total (acre-feet) |  |  | 18.7229
Source Total (gallons per minute) |  |  | 146.0934
Calculated SMBMI Delivery (gallons) |  |  | 5907871
BTB Total Receipts (gallons) |  |  | 192990
Source Total (gallons) |  |  | 6100861
Summary Notes (also provided on their respective worksheet)
1: Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
2: Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
3: Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. The previously uncapped piping (from the historic complex above) terminated inside the 7/7A/7B/7C enclosure. The uncapped piping was not connected to the pipeline at the portal and had always discharged to the enclosure drain and outlet piping. BTB had maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided. BTB capped this piping on 1/17/24.
4: SMBMI Deliveries - BTB conducted maintenance of the pipeline facilities to install an orifice plate with a 1.375" opening downstream of the SMBMI flow meter on 12/22/2023. This orifice plate decreased turbulence in the pipeline and increased the accuracy of the SMBMI flow meter readings. This orifice plate was replaced by one with a smaller 1.125" opening that further increased the accuracy of the SMBMI flow meter readings on 12/27/2023. BTB installed a CLA-VAL pressure sustaining valve in place of the orifice plate on 1/12/24. On 2/13/2024, pipeline flow was temporarily turned off for pipeline maintenance. From 2/27/2024 to 2/29/2024, BTB conducted routine preventative maintenance on four pipeline CLA-VALs. This involved continuous CLA-VAL adjustments and normal flow was restored after 2/29/2024. Further pipeline maintenance is scheduled for March and April of 2024.
5: BTB Hygiene - This represents the volume to maintain hygienic conditions at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek. On 2/28/2024 and 2/29/2024, new code was tested and updated to SCADA system. Operations back to normal after this test and update.
6: Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge, there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Upper Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Upper Springs Facilities
Year: | 2024
Month: | 2024-02-02
Date | Tunnel 2 (gallons) | Tunnel 3 (gallons) | Borehole 1 (gallons) | Borehole 1A (gallons) | Borehole 7 (gallons) | Borehole 7A (gallons) | Borehole 7B (gallons) | Borehole 7C (gallons) | Borehole 8 (gallons) | Total (gallons) | Notes
2024-02-01 | 50047 | 23407 | 0 | 0 | 0 | 0 | 0 | 0 | 41489 | 114943 | 1,2,3
2024-02-02 | 49828 | 23125 | 0 | 0 | 0 | 0 | 0 | 0 | 41510 | 114463 | 1,2,3
2024-02-03 | 49822 | 22990 | 0 | 0 | 0 | 0 | 0 | 0 | 41464 | 114276 | 1,2,3
2024-02-04 | 49915 | 23034 | 0 | 0 | 0 | 0 | 0 | 0 | 41467 | 114416 | 1,2,3
2024-02-05 | 52769 | 30109 | 0 | 0 | 0 | 0 | 0 | 0 | 41666 | 124544 | 1,2,3
2024-02-06 | 62753 | 48998 | 0 | 0 | 0 | 0 | 0 | 0 | 43228 | 154979 | 1,2,3
2024-02-07 | 70873 | 55126 | 0 | 0 | 0 | 0 | 0 | 0 | 45533 | 171532 | 1,2,3
2024-02-08 | 73319 | 50834 | 0 | 0 | 0 | 0 | 0 | 0 | 45866 | 170019 | 1,2,3
2024-02-09 | 70124 | 45899 | 0 | 0 | 0 | 0 | 0 | 0 | 45576 | 161599 | 1,2,3
2024-02-10 | 67355 | 42448 | 0 | 0 | 0 | 0 | 0 | 0 | 45275 | 155078 | 1,2,3
2024-02-11 | 65445 | 40229 | 0 | 0 | 0 | 0 | 0 | 0 | 45085 | 150759 | 1,2,3
2024-02-12 | 63918 | 39020 | 0 | 0 | 0 | 0 | 0 | 0 | 44902 | 147840 | 1,2,3
2024-02-13 | 63030 | 38675 | 0 | 0 | 0 | 0 | 0 | 0 | 44880 | 146585 | 1,2,3
2024-02-14 | 62663 | 38781 | 0 | 0 | 0 | 0 | 0 | 0 | 44717 | 146161 | 1,2,3
2024-02-15 | 63669 | 39133 | 0 | 0 | 0 | 0 | 0 | 0 | 44398 | 147200 | 1,2,3
2024-02-16 | 64780 | 38901 | 0 | 0 | 0 | 0 | 0 | 0 | 44546 | 148227 | 1,2,3
2024-02-17 | 65509 | 38878 | 0 | 0 | 0 | 0 | 0 | 0 | 44613 | 149000 | 1,2,3
2024-02-18 | 66173 | 38690 | 0 | 0 | 0 | 0 | 0 | 0 | 44644 | 149507 | 1,2,3
2024-02-19 | 65952 | 38122 | 0 | 0 | 0 | 0 | 0 | 0 | 44606 | 148680 | 1,2,3
2024-02-20 | 66725 | 39318 | 0 | 0 | 0 | 0 | 0 | 0 | 44722 | 150765 | 1,2,3
2024-02-21 | 76093 | 56450 | 0 | 0 | 0 | 0 | 0 | 0 | 46184 | 178727 | 1,2,3
2024-02-22 | 84192 | 72423 | 0 | 0 | 0 | 0 | 0 | 0 | 47717 | 204332 | 1,2,3
2024-02-23 | 85877 | 74584 | 0 | 0 | 0 | 0 | 0 | 0 | 47901 | 208362 | 1,2,3
2024-02-24 | 83490 | 69554 | 0 | 0 | 0 | 0 | 0 | 0 | 47613 | 200657 | 1,2,3
2024-02-25 | 81429 | 63891 | 0 | 0 | 0 | 0 | 0 | 0 | 47352 | 192672 | 1,2,3
2024-02-26 | 79022 | 59534 | 0 | 0 | 0 | 0 | 0 | 0 | 47010 | 185566 | 1,2,3
2024-02-27 | 77438 | 56147 | 0 | 0 | 0 | 0 | 0 | 0 | 46720 | 180305 | 1,2,3
2024-02-28 | 77667 | 52480 | 0 | 0 | 0 | 0 | 0 | 0 | 46514 | 176661 | 1,2,3
2024-02-29 | 77722 | 50511 | 0 | 0 | 0 | 0 | 0 | 0 | 46242 | 174475 | 1,2,3
Notes
1: Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
2: Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
3: Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. The previously uncapped piping (from the historic complex above) terminated inside the 7/7A/7B/7C enclosure. The uncapped piping was not connected to the pipeline at the portal and had always discharged to the enclosure drain and outlet piping. BTB had maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided. BTB capped this piping on 1/17/24.

## Lower Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Lower Springs Facilities
Year: | 2024
Month: | 2024-02-02
Date | Borehole 10 (gallons) | Borehole 11 (gallons) | Borehole 12 (gallons) | Daily Total (gallons) | Notes
2024-02-01 | 27550 | 0 | 8723 | 36273
2024-02-02 | 27476 | 0 | 8627 | 36103
2024-02-03 | 27449 | 0 | 8575 | 36024
2024-02-04 | 27404 | 0 | 8475 | 35879
2024-02-05 | 27567 | 0 | 8648 | 36215
2024-02-06 | 28489 | 0 | 9828 | 38317
2024-02-07 | 29720 | 0 | 16005 | 45725
2024-02-08 | 30642 | 0 | 19215 | 49857
2024-02-09 | 31399 | 0 | 21980 | 53379
2024-02-10 | 31931 | 0 | 23059 | 54990
2024-02-11 | 32327 | 0 | 24095 | 56422
2024-02-12 | 32577 | 0 | 23128 | 55705
2024-02-13 | 32719 | 0 | 24830 | 57549
2024-02-14 | 32733 | 0 | 24668 | 57401
2024-02-15 | 32721 | 0 | 24315 | 57036
2024-02-16 | 32749 | 0 | 24195 | 56944
2024-02-17 | 32702 | 0 | 24282 | 56984
2024-02-18 | 32675 | 0 | 24895 | 57570
2024-02-19 | 32631 | 0 | 24280 | 56911
2024-02-20 | 32639 | 0 | 24087 | 56726
2024-02-21 | 32808 | 0 | 23973 | 56781
2024-02-22 | 33002 | 0 | 25462 | 58464
2024-02-23 | 33192 | 0 | 24793 | 57985
2024-02-24 | 33282 | 0 | 25638 | 58920
2024-02-25 | 33382 | 0 | 25650 | 59032
2024-02-26 | 33426 | 0 | 25575 | 59001
2024-02-27 | 33439 | 0 | 25979 | 59418
2024-02-28 | 33390 | 0 | 25488 | 58878
2024-02-29 | 33317 | 0 | 24725 | 58042
Notes

## SMBMI
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to San Manuel Band of Mission Indians (SMBMI)
Year: | 2024
Month: | 2024-02-02
Date | Deliveries (gallons) | Notes
2024-02-01 | 153833 | 4
2024-02-02 | 141117 | 4
2024-02-03 | 153424 | 4
2024-02-04 | 142580 | 4
2024-02-05 | 162676 | 4
2024-02-06 | 182925 | 4
2024-02-07 | 223435 | 4
2024-02-08 | 219033 | 4
2024-02-09 | 227384 | 4
2024-02-10 | 211129 | 4
2024-02-11 | 218535 | 4
2024-02-12 | 204933 | 4
2024-02-13 | 171226 | 4
2024-02-14 | 204732 | 4
2024-02-15 | 216709 | 4
2024-02-16 | 206991 | 4
2024-02-17 | 219022 | 4
2024-02-18 | 207827 | 4
2024-02-19 | 217826 | 4
2024-02-20 | 209701 | 4
2024-02-21 | 250209 | 4
2024-02-22 | 268234 | 4
2024-02-23 | 284090 | 4
2024-02-24 | 244346 | 4
2024-02-25 | 268837 | 4
2024-02-26 | 250907 | 4
2024-02-27 | 112798 | 4
2024-02-28 | 16290 | 4
2024-02-29 | 113079 | 4
Notes
4: SMBMI Deliveries - BTB conducted maintenance of the pipeline facilities to install an orifice plate with a 1.375" opening downstream of the SMBMI flow meter on 12/22/2023. This orifice plate decreased turbulence in the pipeline and increased the accuracy of the SMBMI flow meter readings. This orifice plate was replaced by one with a smaller 1.125" opening that further increased the accuracy of the SMBMI flow meter readings on 12/27/2023. BTB installed a CLA-VAL pressure sustaining valve in place of the orifice plate on 1/12/24. On 2/13/2024, pipeline flow was temporarily turned off for pipeline maintenance. From 2/27/2024 to 2/29/2024, BTB conducted routine preventative maintenance on four pipeline CLA-VALs. This involved continuous CLA-VAL adjustments and normal flow was restored after 2/29/2024. Further pipeline maintenance is scheduled for March and April of 2024.

## BTB Hygiene
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank to Maintain Hygienic Conditions
Year: | 2024
Month: | 2024-02-02
Date | Deliveries (gallons) | Notes
2024-02-01 | 0 | 5
2024-02-02 | 12060 | 5
2024-02-03 | 0 | 5
2024-02-04 | 10545 | 5
2024-02-05 | 0 | 5
2024-02-06 | 9300 | 5
2024-02-07 | 0 | 5
2024-02-08 | 9000 | 5
2024-02-09 | 0 | 5
2024-02-10 | 10290 | 5
2024-02-11 | 0 | 5
2024-02-12 | 8355 | 5
2024-02-13 | 0 | 5
2024-02-14 | 9165 | 5
2024-02-15 | 0 | 5
2024-02-16 | 10170 | 5
2024-02-17 | 0 | 5
2024-02-18 | 8370 | 5
2024-02-19 | 0 | 5
2024-02-20 | 9420 | 5
2024-02-21 | 0 | 5
2024-02-22 | 9780 | 5
2024-02-23 | 0 | 5
2024-02-24 | 9315 | 5
2024-02-25 | 0 | 5
2024-02-26 | 8940 | 5
2024-02-27 | 0 | 5
2024-02-28 | 31575 | 5
2024-02-29 | 36705 | 5
Notes
5: BTB Hygiene - This represents the volume to maintain hygienic conditions at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek. On 2/28/2024 and 2/29/2024, new code was tested and updated to SCADA system. Operations back to normal after this test and update.

## BTB Tank Trucks
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank Trucks
Year: | 2024
Month: | 2024-02-02
Date | Deliveries (gallons) | Notes
2024-02-01 | 0
2024-02-02 | 0
2024-02-03 | 0
2024-02-04 | 0
2024-02-05 | 0
2024-02-06 | 0
2024-02-07 | 0
2024-02-08 | 0
2024-02-09 | 0
2024-02-10 | 0
2024-02-11 | 0
2024-02-12 | 0
2024-02-13 | 0
2024-02-14 | 0
2024-02-15 | 0
2024-02-16 | 0
2024-02-17 | 0
2024-02-18 | 0
2024-02-19 | 0
2024-02-20 | 0
2024-02-21 | 0
2024-02-22 | 0
2024-02-23 | 0
2024-02-24 | 0
2024-02-25 | 0
2024-02-26 | 0
2024-02-27 | 0
2024-02-28 | 0
2024-02-29 | 0
Notes

## Strawberry Creek
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharge to Strawberry Creek near Boreholes 10/11/12
Year: | 2024
Month: | 2024-02-02
Date | Discharge (gallons) | Notes
2024-02-01 | 0 | 6
2024-02-02 | 0 | 6
2024-02-03 | 0 | 6
2024-02-04 | 0 | 6
2024-02-05 | 0 | 6
2024-02-06 | 0 | 6
2024-02-07 | 0 | 6
2024-02-08 | 0 | 6
2024-02-09 | 0 | 6
2024-02-10 | 0 | 6
2024-02-11 | 0 | 6
2024-02-12 | 0 | 6
2024-02-13 | 0 | 6
2024-02-14 | 0 | 6
2024-02-15 | 0 | 6
2024-02-16 | 0 | 6
2024-02-17 | 0 | 6
2024-02-18 | 0 | 6
2024-02-19 | 0 | 6
2024-02-20 | 0 | 6
2024-02-21 | 0 | 6
2024-02-22 | 0 | 6
2024-02-23 | 0 | 6
2024-02-24 | 0 | 6
2024-02-25 | 0 | 6
2024-02-26 | 0 | 6
2024-02-27 | 0 | 6
2024-02-28 | 0 | 6
2024-02-29 | 0 | 6
Notes
6: Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Other Deliveries
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries at Other Locations
Year: | 2024
Month: | 2024-02-02
Date | Site Name: N/A (gallons) | Notes
2024-02-01 | N/A
2024-02-02 | N/A
2024-02-03 | N/A
2024-02-04 | N/A
2024-02-05 | N/A
2024-02-06 | N/A
2024-02-07 | N/A
2024-02-08 | N/A
2024-02-09 | N/A
2024-02-10 | N/A
2024-02-11 | N/A
2024-02-12 | N/A
2024-02-13 | N/A
2024-02-14 | N/A
2024-02-15 | N/A
2024-02-16 | N/A
2024-02-17 | N/A
2024-02-18 | N/A
2024-02-19 | N/A
2024-02-20 | N/A
2024-02-21 | N/A
2024-02-22 | N/A
2024-02-23 | N/A
2024-02-24 | N/A
2024-02-25 | N/A
2024-02-26 | N/A
2024-02-27 | N/A
2024-02-28 | N/A
2024-02-29 | N/A
Notes

## Other Discharges
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharges at Other Locations
Year: | 2024
Month: | 2024-02-02
Date | Site Name: N/A (gallons) | Notes
2024-02-01 | N/A
2024-02-02 | N/A
2024-02-03 | N/A
2024-02-04 | N/A
2024-02-05 | N/A
2024-02-06 | N/A
2024-02-07 | N/A
2024-02-08 | N/A
2024-02-09 | N/A
2024-02-10 | N/A
2024-02-11 | N/A
2024-02-12 | N/A
2024-02-13 | N/A
2024-02-14 | N/A
2024-02-15 | N/A
2024-02-16 | N/A
2024-02-17 | N/A
2024-02-18 | N/A
2024-02-19 | N/A
2024-02-20 | N/A
2024-02-21 | N/A
2024-02-22 | N/A
2024-02-23 | N/A
2024-02-24 | N/A
2024-02-25 | N/A
2024-02-26 | N/A
2024-02-27 | N/A
2024-02-28 | N/A
2024-02-29 | N/A
Notes