## Summary
Reporting Required Pursuant to Order WR-2023-0042
January 2024 Reporting Period Summary (please review summary notes provided below)
Date | Souce: Upper Springs (gallons) | Source: Lower Springs (gallons) | Sources Total (gallons) | SMBMI Delivery (gallons) | BTB Hygiene Delivery (gallons) | BTB Tankers Delivery (gallons) | Strawberry Creek Discharge (gallons) | Other Delivery (gallons) | Other Diversion (gallons) | Total Deliveries and Discharges (gallons) | Variance (gallons) | Summary Notes
2024-01-01 | 118959 | 37735 | 156694 | 150252 | 12015 | 0 | 0 | 0 | 0 | 162267 | -5573 | 1,2,3,4,5,6
2024-01-02 | 118973 | 37612 | 156585 | 161114 | 0 | 0 | 0 | 0 | 0 | 161114 | -4529 | 1,2,3,4,5,6
2024-01-03 | 118506 | 37498 | 156004 | 149215 | 10755 | 0 | 0 | 0 | 0 | 159970 | -3966 | 1,2,3,4,5,6
2024-01-04 | 119681 | 37308 | 156989 | 160958 | 0 | 0 | 0 | 0 | 0 | 160958 | -3969 | 1,2,3,4,5,6
2024-01-05 | 118678 | 37111 | 155789 | 160338 | 0 | 0 | 0 | 0 | 0 | 160338 | -4549 | 1,2,3,4,5,6
2024-01-06 | 118600 | 37113 | 155713 | 160082 | 0 | 0 | 0 | 0 | 0 | 160082 | -4369 | 1,2,3,4,5,6
2024-01-07 | 118312 | 37032 | 155344 | 149046 | 10860 | 0 | 0 | 0 | 0 | 159906 | -4562 | 1,2,3,4,5,6
2024-01-08 | 115897 | 36888 | 152785 | 161145 | 0 | 0 | 0 | 0 | 0 | 161145 | -8360 | 1,2,3,4,5,6
2024-01-09 | 117682 | 36855 | 154537 | 150174 | 9930 | 0 | 0 | 0 | 0 | 160104 | -5567 | 1,2,3,4,5,6
2024-01-10 | 117421 | 36739 | 154160 | 153954 | 0 | 0 | 0 | 0 | 0 | 153954 | 206 | 1,2,3,4,5,6
2024-01-11 | 117525 | 36662 | 154187 | 145720 | 9900 | 0 | 0 | 0 | 0 | 155620 | -1433 | 1,2,3,4,5,6
2024-01-12 | 117086 | 36639 | 153725 | 155070 | 0 | 0 | 0 | 0 | 0 | 155070 | -1345 | 1,2,3,4,5,6
2024-01-13 | 117045 | 36598 | 153643 | 145393 | 8805 | 0 | 0 | 0 | 0 | 154198 | -555 | 1,2,3,4,5,6
2024-01-14 | 116917 | 36500 | 153417 | 156259 | 0 | 0 | 0 | 0 | 0 | 156259 | -2842 | 1,2,3,4,5,6
2024-01-15 | 116753 | 36390 | 153143 | 144994 | 10110 | 0 | 0 | 0 | 0 | 155104 | -1961 | 1,2,3,4,5,6
2024-01-16 | 116391 | 36325 | 152716 | 156061 | 0 | 0 | 0 | 0 | 0 | 156061 | -3345 | 1,2,3,4,5,6
2024-01-17 | 116272 | 36277 | 152549 | 144684 | 8985 | 0 | 0 | 0 | 0 | 153669 | -1120 | 1,2,3,4,5,6
2024-01-18 | 115875 | 36119 | 151994 | 154235 | 0 | 0 | 0 | 0 | 0 | 154235 | -2241 | 1,2,3,4,5,6
2024-01-19 | 115771 | 36040 | 151811 | 140982 | 10425 | 0 | 0 | 0 | 0 | 151407 | 404 | 1,2,3,4,5,6
2024-01-20 | 115411 | 35978 | 151389 | 150305 | 0 | 0 | 0 | 0 | 0 | 150305 | 1084 | 1,2,3,4,5,6
2024-01-21 | 114884 | 35863 | 150747 | 142121 | 9300 | 0 | 0 | 0 | 0 | 151421 | -674 | 1,2,3,4,5,6
2024-01-22 | 114860 | 35682 | 150542 | 151524 | 0 | 0 | 0 | 0 | 0 | 151524 | -982 | 1,2,3,4,5,6
2024-01-23 | 115027 | 35637 | 150664 | 142092 | 10800 | 0 | 0 | 0 | 0 | 152892 | -2228 | 1,2,3,4,5,6
2024-01-24 | 114754 | 35560 | 150314 | 154465 | 45 | 0 | 0 | 0 | 0 | 154510 | -4196 | 1,2,3,4,5,6
2024-01-25 | 115171 | 35632 | 150803 | 143281 | 10095 | 0 | 0 | 0 | 0 | 153376 | -2573 | 1,2,3,4,5,6
2024-01-26 | 115969 | 35629 | 151598 | 154472 | 0 | 0 | 0 | 0 | 0 | 154472 | -2874 | 1,2,3,4,5,6
2024-01-27 | 116170 | 35810 | 151980 | 142949 | 9660 | 0 | 0 | 0 | 0 | 152609 | -629 | 1,2,3,4,5,6
2024-01-28 | 115996 | 35925 | 151921 | 153008 | 0 | 0 | 0 | 0 | 0 | 153008 | -1087 | 1,2,3,4,5,6
2024-01-29 | 114896 | 36036 | 150932 | 142282 | 10770 | 0 | 0 | 0 | 0 | 153052 | -2120 | 1,2,3,4,5,6
2024-01-30 | 114555 | 36185 | 150740 | 154250 | 0 | 0 | 0 | 0 | 0 | 154250 | -3510 | 1,2,3,4,5,6
2024-01-31 | 115805 | 36128 | 151933 | 143948 | 9375 | 0 | 0 | 0 | 0 | 153323 | -1390 | 1,2,3,4,5,6
TOTALS | 3615842 | 1129506 | 4745348 | 4674373 | 151830 | 0 | 0 | 0 | 0 | 4826203 | -80855
The high bias from partial pipe flow metering conditions at the SMBMI flow meter was corrected last month. A temporary orifice plate was installed downstream of SMBMI meter on 12/22/2023 to alleviate partial pipe conditions. That orifice plate was replaced by a second temporary orifice plate (with a smaller opening) on 12/27/23 that further improved conditions. BTB installed a CLA-VAL pressure sustaining valve in place of the orifice plate on 1/12/24.
Source Total (acre-feet) |  |  | 14.5629
Source Total (gallons per minute) |  |  | 106.3026
Calculated SMBMI Delivery (gallons) |  |  | 4593518
BTB Total Receipts (gallons) |  |  | 151830
Source Total (gallons) |  |  | 4745348
Summary Notes (also provided on their respective worksheet)
1: Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
2: Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
3: Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. The previously uncapped piping (from the historic complex above) terminated inside the 7/7A/7B/7C enclosure. The uncapped piping was not connected to the pipeline at the portal and had always discharged to the enclosure drain and outlet piping. BTB had maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided. BTB capped this piping on 1/17/24.
4: SMBMI Deliveries - BTB conducted maintenance of the pipeline facilities to install an orifice plate with a 1.375" opening downstream of the SMBMI flow meter on 12/22/2023. This orifice plate decreased turbulence in the pipeline and increased the accuracy of the SMBMI flow meter readings. This orifice plate was replaced by one with a smaller 1.125" opening that further increased the accuracy of the SMBMI flow meter readings on 12/27/2023. BTB installed a CLA-VAL pressure sustaining valve in place of the orifice plate on 1/12/24.
5: BTB Hygiene - This represents the volume to maintain hygienic conditions at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek.
6: Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge, there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Upper Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Upper Springs Facilities
Year: | 2024
Month: | 2024-01-01
Date | Tunnel 2 (gallons) | Tunnel 3 (gallons) | Borehole 1 (gallons) | Borehole 1A (gallons) | Borehole 7 (gallons) | Borehole 7A (gallons) | Borehole 7B (gallons) | Borehole 7C (gallons) | Borehole 8 (gallons) | Total (gallons) | Notes
2024-01-01 | 52299 | 24682 | 0 | 0 | 0 | 0 | 0 | 0 | 41978 | 118959 | 1,2,3
2024-01-02 | 52464 | 24555 | 0 | 0 | 0 | 0 | 0 | 0 | 41954 | 118973 | 1,2,3
2024-01-03 | 51776 | 24769 | 0 | 0 | 0 | 0 | 0 | 0 | 41961 | 118506 | 1,2,3
2024-01-04 | 53322 | 24420 | 0 | 0 | 0 | 0 | 0 | 0 | 41939 | 119681 | 1,2,3
2024-01-05 | 52211 | 24562 | 0 | 0 | 0 | 0 | 0 | 0 | 41905 | 118678 | 1,2,3
2024-01-06 | 52184 | 24505 | 0 | 0 | 0 | 0 | 0 | 0 | 41911 | 118600 | 1,2,3
2024-01-07 | 52144 | 24291 | 0 | 0 | 0 | 0 | 0 | 0 | 41877 | 118312 | 1,2,3
2024-01-08 | 49960 | 24055 | 0 | 0 | 0 | 0 | 0 | 0 | 41882 | 115897 | 1,2,3
2024-01-09 | 51729 | 24119 | 0 | 0 | 0 | 0 | 0 | 0 | 41834 | 117682 | 1,2,3
2024-01-10 | 51391 | 24180 | 0 | 0 | 0 | 0 | 0 | 0 | 41850 | 117421 | 1,2,3
2024-01-11 | 51751 | 23971 | 0 | 0 | 0 | 0 | 0 | 0 | 41803 | 117525 | 1,2,3
2024-01-12 | 51530 | 23760 | 0 | 0 | 0 | 0 | 0 | 0 | 41796 | 117086 | 1,2,3
2024-01-13 | 51382 | 23887 | 0 | 0 | 0 | 0 | 0 | 0 | 41776 | 117045 | 1,2,3
2024-01-14 | 51174 | 23982 | 0 | 0 | 0 | 0 | 0 | 0 | 41761 | 116917 | 1,2,3
2024-01-15 | 51133 | 23871 | 0 | 0 | 0 | 0 | 0 | 0 | 41749 | 116753 | 1,2,3
2024-01-16 | 50997 | 23656 | 0 | 0 | 0 | 0 | 0 | 0 | 41738 | 116391 | 1,2,3
2024-01-17 | 50779 | 23837 | 0 | 0 | 0 | 0 | 0 | 0 | 41656 | 116272 | 1,2,3
2024-01-18 | 50644 | 23577 | 0 | 0 | 0 | 0 | 0 | 0 | 41654 | 115875 | 1,2,3
2024-01-19 | 50601 | 23559 | 0 | 0 | 0 | 0 | 0 | 0 | 41611 | 115771 | 1,2,3
2024-01-20 | 50093 | 23727 | 0 | 0 | 0 | 0 | 0 | 0 | 41591 | 115411 | 1,2,3
2024-01-21 | 49714 | 23590 | 0 | 0 | 0 | 0 | 0 | 0 | 41580 | 114884 | 1,2,3
2024-01-22 | 49740 | 23528 | 0 | 0 | 0 | 0 | 0 | 0 | 41592 | 114860 | 1,2,3
2024-01-23 | 50057 | 23398 | 0 | 0 | 0 | 0 | 0 | 0 | 41572 | 115027 | 1,2,3
2024-01-24 | 49866 | 23337 | 0 | 0 | 0 | 0 | 0 | 0 | 41551 | 114754 | 1,2,3
2024-01-25 | 50069 | 23533 | 0 | 0 | 0 | 0 | 0 | 0 | 41569 | 115171 | 1,2,3
2024-01-26 | 50917 | 23487 | 0 | 0 | 0 | 0 | 0 | 0 | 41565 | 115969 | 1,2,3
2024-01-27 | 51096 | 23515 | 0 | 0 | 0 | 0 | 0 | 0 | 41559 | 116170 | 1,2,3
2024-01-28 | 51032 | 23423 | 0 | 0 | 0 | 0 | 0 | 0 | 41541 | 115996 | 1,2,3
2024-01-29 | 50572 | 22801 | 0 | 0 | 0 | 0 | 0 | 0 | 41523 | 114896 | 1,2,3
2024-01-30 | 50261 | 22771 | 0 | 0 | 0 | 0 | 0 | 0 | 41523 | 114555 | 1,2,3
2024-01-31 | 51078 | 23208 | 0 | 0 | 0 | 0 | 0 | 0 | 41519 | 115805 | 1,2,3
Notes
1: Tunnel 2 - The Tunnel 2 reported volume includes water discharged at the “drinker” pipe at the Tunnel 2 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.88 gallons per minute.
2: Tunnel 3 - The Tunnel 3 reported volume includes water discharged at the “drinker” pipe at the Tunnel 3 vault, which was installed at the request of the United States Forest Service for the benefit of wildlife, flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report, the estimated drinker discharge on November 8, 2023 was 0.21 gallons per minute.
3: Boreholes 7 / 7A / 7B / 7C - The valves for Boreholes 7/7A/7B/7C are closed. The previously uncapped piping (from the historic complex above) terminated inside the 7/7A/7B/7C enclosure. The uncapped piping was not connected to the pipeline at the portal and had always discharged to the enclosure drain and outlet piping. BTB had maintained this discharge at the request of the United States Forest Service for the benefit flora and fauna in Strawberry Canyon. According to the Division of Water Rights November 8, 2023 Site Observation Report on November 8, 2023, no flow estimate could be provided. BTB capped this piping on 1/17/24.

## Lower Springs
Reporting Required Pursuant to Order WR-2023-0042
Daily Diversions at Lower Springs Facilities
Year: | 2024
Month: | 2024-01-01
Date | Borehole 10 (gallons) | Borehole 11 (gallons) | Borehole 12 (gallons) | Daily Total (gallons) | Notes
2024-01-01 | 28150 | 0 | 9585 | 37735
2024-01-02 | 28107 | 0 | 9505 | 37612
2024-01-03 | 28044 | 0 | 9454 | 37498
2024-01-04 | 27984 | 0 | 9324 | 37308
2024-01-05 | 27914 | 0 | 9197 | 37111
2024-01-06 | 27867 | 0 | 9246 | 37113
2024-01-07 | 27840 | 0 | 9192 | 37032
2024-01-08 | 27804 | 0 | 9084 | 36888
2024-01-09 | 27772 | 0 | 9083 | 36855
2024-01-10 | 27740 | 0 | 8999 | 36739
2024-01-11 | 27702 | 0 | 8960 | 36662
2024-01-12 | 27684 | 0 | 8955 | 36639
2024-01-13 | 27661 | 0 | 8937 | 36598
2024-01-14 | 27634 | 0 | 8866 | 36500
2024-01-15 | 27588 | 0 | 8802 | 36390
2024-01-16 | 27557 | 0 | 8768 | 36325
2024-01-17 | 27513 | 0 | 8764 | 36277
2024-01-18 | 27504 | 0 | 8615 | 36119
2024-01-19 | 27434 | 0 | 8606 | 36040
2024-01-20 | 27404 | 0 | 8574 | 35978
2024-01-21 | 27385 | 0 | 8478 | 35863
2024-01-22 | 27366 | 1 | 8315 | 35682
2024-01-23 | 27299 | 0 | 8338 | 35637
2024-01-24 | 27297 | 0 | 8263 | 35560
2024-01-25 | 27312 | 0 | 8320 | 35632
2024-01-26 | 27331 | 0 | 8298 | 35629
2024-01-27 | 27379 | 0 | 8431 | 35810
2024-01-28 | 27424 | 0 | 8501 | 35925
2024-01-29 | 27452 | 0 | 8584 | 36036
2024-01-30 | 27494 | 0 | 8691 | 36185
2024-01-31 | 27515 | 0 | 8613 | 36128

## SMBMI
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to San Manuel Band of Mission Indians (SMBMI)
Year: | 2024
Month: | 2024-01-01
Date | Deliveries (gallons) | Notes
2024-01-01 | 150252 | 4
2024-01-02 | 161114 | 4
2024-01-03 | 149215 | 4
2024-01-04 | 160958 | 4
2024-01-05 | 160338 | 4
2024-01-06 | 160082 | 4
2024-01-07 | 149046 | 4
2024-01-08 | 161145 | 4
2024-01-09 | 150174 | 4
2024-01-10 | 153954 | 4
2024-01-11 | 145720 | 4
2024-01-12 | 155070 | 4
2024-01-13 | 145393 | 4
2024-01-14 | 156259 | 4
2024-01-15 | 144994 | 4
2024-01-16 | 156061 | 4
2024-01-17 | 144684 | 4
2024-01-18 | 154235 | 4
2024-01-19 | 140982 | 4
2024-01-20 | 150305 | 4
2024-01-21 | 142121 | 4
2024-01-22 | 151524 | 4
2024-01-23 | 142092 | 4
2024-01-24 | 154465 | 4
2024-01-25 | 143281 | 4
2024-01-26 | 154472 | 4
2024-01-27 | 142949 | 4
2024-01-28 | 153008 | 4
2024-01-29 | 142282 | 4
2024-01-30 | 154250 | 4
2024-01-31 | 143948 | 4
Notes
4: SMBMI Deliveries - BTB conducted maintenance of the pipeline facilities to install an orifice plate with a 1.375" opening downstream of the SMBMI flow meter on 12/22/2023. This orifice plate decreased turbulence in the pipeline and increased the accuracy of the SMBMI flow meter readings. This orifice plate was replaced by one with a smaller 1.125" opening that further increased the accuracy of the SMBMI flow meter readings on 12/27/2023. BTB installed a CLA-VAL pressure sustaining valve in place of the orifice plate on 1/12/24.

## BTB Hygiene
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank to Maintain Hygienic Conditions
Year: | 2024
Month: | 2024-01-01
Date | Deliveries (gallons) | Notes
2024-01-01 | 12015 | 5
2024-01-02 | 0 | 5
2024-01-03 | 10755 | 5
2024-01-04 | 0 | 5
2024-01-05 | 0 | 5
2024-01-06 | 0 | 5
2024-01-07 | 10860 | 5
2024-01-08 | 0 | 5
2024-01-09 | 9930 | 5
2024-01-10 | 0 | 5
2024-01-11 | 9900 | 5
2024-01-12 | 0 | 5
2024-01-13 | 8805 | 5
2024-01-14 | 0 | 5
2024-01-15 | 10110 | 5
2024-01-16 | 0 | 5
2024-01-17 | 8985 | 5
2024-01-18 | 0 | 5
2024-01-19 | 10425 | 5
2024-01-20 | 0 | 5
2024-01-21 | 9300 | 5
2024-01-22 | 0 | 5
2024-01-23 | 10800 | 5
2024-01-24 | 45 | 5
2024-01-25 | 10095 | 5
2024-01-26 | 0 | 5
2024-01-27 | 9660 | 5
2024-01-28 | 0 | 5
2024-01-29 | 10770 | 5
2024-01-30 | 0 | 5
2024-01-31 | 9375 | 5
Notes
5: BTB Hygiene - This represents the volume to maintain hygienic conditions (prevention of stagnant volume) at the BTB tank trailer loading station and throughout the pipeline from the Strawberry Canyon sources. Hygiene volume is discharged at an existing discharge line from the BTB tank trailer loading station towards Indian Creek and percolates into ground surface. This volume is within the total of 10/11/12 not affected by Order WR-2023-0042 and is reported for clarity.

## BTB Tank Trucks
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries to BTB Water Tank Trucks
Year: | 2024
Month: | 2024-01-01
Date | Deliveries (gallons) | Notes
2024-01-01 | 0
2024-01-02 | 0
2024-01-03 | 0
2024-01-04 | 0
2024-01-05 | 0
2024-01-06 | 0
2024-01-07 | 0
2024-01-08 | 0
2024-01-09 | 0
2024-01-10 | 0
2024-01-11 | 0
2024-01-12 | 0
2024-01-13 | 0
2024-01-14 | 0
2024-01-15 | 0
2024-01-16 | 0
2024-01-17 | 0
2024-01-18 | 0
2024-01-19 | 0
2024-01-20 | 0
2024-01-21 | 0
2024-01-22 | 0
2024-01-23 | 0
2024-01-24 | 0
2024-01-25 | 0
2024-01-26 | 0
2024-01-27 | 0
2024-01-28 | 0
2024-01-29 | 0
2024-01-30 | 0
2024-01-31 | 0

## Strawberry Creek
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharge to Strawberry Creek near Boreholes 10/11/12
Year: | 2024
Month: | 2024-01-01
Date | Discharge (gallons) | Notes
2024-01-01 | 0 | 6
2024-01-02 | 0 | 6
2024-01-03 | 0 | 6
2024-01-04 | 0 | 6
2024-01-05 | 0 | 6
2024-01-06 | 0 | 6
2024-01-07 | 0 | 6
2024-01-08 | 0 | 6
2024-01-09 | 0 | 6
2024-01-10 | 0 | 6
2024-01-11 | 0 | 6
2024-01-12 | 0 | 6
2024-01-13 | 0 | 6
2024-01-14 | 0 | 6
2024-01-15 | 0 | 6
2024-01-16 | 0 | 6
2024-01-17 | 0 | 6
2024-01-18 | 0 | 6
2024-01-19 | 0 | 6
2024-01-20 | 0 | 6
2024-01-21 | 0 | 6
2024-01-22 | 0 | 6
2024-01-23 | 0 | 6
2024-01-24 | 0 | 6
2024-01-25 | 0 | 6
2024-01-26 | 0 | 6
2024-01-27 | 0 | 6
2024-01-28 | 0 | 6
2024-01-29 | 0 | 6
2024-01-30 | 0 | 6
2024-01-31 | 0 | 6
Notes
6: Strawberry Creek Station / Transect 6 Discharge - BTB closed the Strawberry Creek Station and removed the Transect 6 discharge facilities on October 17, 2023, and notified the USFS of the same on November 6, 2023. To our knowledge there are no other discharges or deliveries from the Strawberry Canyon pipeline other than those described in this report.

## Other Deliveries
Reporting Required Pursuant to Order WR-2023-0042
Daily Deliveries at Other Locations
Year: | 2024
Month: | 2024-01-01
Date | Location 1 (gallons) | Location 2 (gallons) | Location 3 (gallons) | Location 4 (gallons) | Location 5 (gallons) | Location 6 (gallons) | Location 7 (gallons) | Location 8 (gallons) | Location 9 (gallons) | Location 10 (gallons) | Notes
2024-01-01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-13 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-14 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-15 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-16 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-17 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-18 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-19 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-20 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-21 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-22 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-23 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-24 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-25 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-26 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-27 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-28 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-29 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2024-01-31 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Other Discharges
Reporting Required Pursuant to Order WR-2023-0042
Daily Discharges at Other Locations
Year: | 2024
Month: | 2024-01-01
Date | Site Name: N/A (gallons) | Notes
2024-01-01 | N/A
2024-01-02 | N/A
2024-01-03 | N/A
2024-01-04 | N/A
2024-01-05 | N/A
2024-01-06 | N/A
2024-01-07 | N/A
2024-01-08 | N/A
2024-01-09 | N/A
2024-01-10 | N/A
2024-01-11 | N/A
2024-01-12 | N/A
2024-01-13 | N/A
2024-01-14 | N/A
2024-01-15 | N/A
2024-01-16 | N/A
2024-01-17 | N/A
2024-01-18 | N/A
2024-01-19 | N/A
2024-01-20 | N/A
2024-01-21 | N/A
2024-01-22 | N/A
2024-01-23 | N/A
2024-01-24 | N/A
2024-01-25 | N/A
2024-01-26 | N/A
2024-01-27 | N/A
2024-01-28 | N/A
2024-01-29 | N/A
2024-01-30 | N/A
2024-01-31 | N/A