## TOC
SWRCB. (2026). Lead and Manganese Detection Limits for Purposes of Reporting (DLRs) - 2026 Cost Update. State Water Resources Control Board.
Table of Contents
Lead
Manganese
Additional Information
List of Questions
How much ($) does your lab currently charge to run a sample of tha analyte using EPA Method 200.8?
Using EPA Method 200.8, how many samples of the analyte could your lab run per month using a new DLR of X μg/L?
Using EPA Method 200.8, how much ($) would your lab charge to run a sample of the analyte using a new DLR of X μg/L?
Using EPA Method 200.8, from sample receipt, what is your lab's standard turn-around time to run a sample of the analyte?
Using EPA Method 200.8, if you offer an expedited sample turn-around time, what is the fastest sample processing time offered for the analyte?
Using EPA Method 200.8, how much ($) does your lab currently charge for your fastest turn-around time to run a sample of the analyte?
Is there any additional information you would like to share with the DDW's regulatory team?

## Manganese
Analytical Method | How much ($) does your lab currently charge to run a Manganese sample using EPA Method 200.8? | Using EPA Method 200.8, how many samples of Manganese could your lab run per month using a new DLR of 10 μg/L? | Using EPA Method 200.8, how much ($) would your lab charge to run a Manganese sample using a new DLR of 10 μg/L? | Using EPA Method 200.8, how many samples of Manganese could your lab run per month using a new DLR of 1 μg/L? | Using EPA Method 200.8, how much ($) would your lab charge to run a Manganese sample using a new DLR of 1 μg/L? | Using EPA Method 200.8, from sample receipt, what is your lab's standard turn-around time to run a sample of Manganese? | Using EPA Method 200.8, if you offer an expedited sample turn-around time, what is the fastest sample processing time offered for Manganese? | Using EPA Method 200.8, how much ($) does your lab currently charge for your fastest turn-around time to run a sample of Manganese?
EPA Method 200.8 | 21 | 30 | 25 | 30 | 35 | 10-15 days | N/A | 35
| 25 | 500 | 30 | 500 | 30 | 10 days | 48 hours | 50
| 25 | 2200 | 25 | 2200 | 25 | 5 business days | Same-Day | Depends on the turnaround being requested, but maximum charge for same-day turnaround is $75.00
| 25 | 4000 | 25 | 4000 | 25 | 10 days | 3-5 days, depending on digestion needs | 50
| 28 | 200 | 28 | 200 | 28 | 10 to 15 business days | 5 days | 42
| 30 | 500 | 30 | 500 | 35 |  | 24 hours | 90
| 30 | 1600 | 30 | 0 | 30 | 5 days | 24 hours for preserved samples, 48 hours for unpreserved samples | 60
| 30 | same amount, no change unless it generates new business | $30 run as a suite with other metals | current MDL study review, not possible | if possible, $30 | 5 days | 1 day | If <5 days, double or triple cost of $30
| 34 | 700 | 34 | 400 | 34 | 10-14 days | 1 day | 102
| 35 | >100 | 35 |  | >$100 | 10 business days | 2 days without digestion, 3 days w/ digestion | 70
| 35 | 200 to 400 depending on workload | 40 | 200 to 400 depending on workload | 40 | 15 business days | one to two days | 200% surcharge
| 35 | 3000 | 35 | 3000 | 35 | 5 days | 24 hours | 70
| 40 | 80 | 40 | 80 | 40 | 30 calendar days | 15 calendar days | 40
| 45 | 200-500 | $45.00, no change required. Current method development meets this DLR. | Dependent on capabilities. Current MDL is 2 ug/L. A full study would be required to see if our instrumentation can see that low. | 65 | 7 business days | 24 hours | 100% surcharge, so an additional $45.00 for a total of $90.00 for 24 hour.
| 47 | capacity | 47 | capacity | 47 | 5 days | 1 day | 141
| 50 | 50 | 50 | 50 | 60 | 2 weeks | 48 hours | 50
| 57 | 100 | 57 | 100 | 57 | 10 business days | 3 Business Days | 114
| 70 | 300 | 70 | 300 | 70 | 14 days | 2 days | 70
| 77 | 150 | 77 | 50 | 250 | 10 days | 5 days | 231
| 140 | 80 | 140 | 80 | 140 | 4 days | 2 days | 280
| $59 (1 analyte) or $69 (2 analytes) or $205 (Full metal list) | ~400, probably more | $59 (1 analyte) or $69 (2 analytes) or $205 (Full metal list) | ~400 | $59 (1 analyte) or $69 (2 analytes) or $205 (Full metal list) | 10 days | 3 days | $100 (1 analyte) or $117 (2 analytes) or $349 (Full metal list)
| List price for single metal is: $32.00 Liquid & $61.00 for solids digest included (there are discounts available for <5 metals in an order) | 2400 | $32.00 Liquid & $61.00 for solids digest included | 2400 | $32.00 Liquid & $61.00 for solids digest included | 10 business days | 3 Days Liquid, 5 Days Solid | 100% surcharge: $64.00 Liquid and $122.00 Solid Digest Included
| N/A | 500 + | N/A | 500 + | N/A | 14 days | 48 hours | N/A
| N/A | Fewer than 200.7 because we'd have to split the Fe/Mn between the two instruments...maybe 40 | We do not charge for our inhouse work, however it would be a large reduction in efficiency to run by 200.8 since we can't run iron by 200.7 | Fewer than 200.7 because we'd have to split the Fe/Mn between the two instruments...maybe 40 | N/A | 5 days | 2 days | N/A
| N/A | over 1000 | N/A | over 1000 | N/A | 5 days | 48 hours, as we would need to verify pH and adjust as per the method | N/A

## Lead
Analytical Method | How much ($) does your lab currently charge to run a Lead sample using EPA Method 200.8? | Using EPA Method 200.8, how many samples of Lead could your lab run per month using a new DLR of 1 μg/L? | Using EPA Method 200.8, how much ($) would your lab charge to run a Lead sample using a new DLR of 1 μg/L? | Using EPA Method 200.8, how many samples of Lead could your lab run per month using a new DLR of 0.5 μg/L? | Using EPA Method 200.8, how much ($) would your lab charge to run a Lead sample using a new DLR of 0.5 μg/L? | Using EPA Method 200.8, from sample receipt, what is your lab's standard turn-around time to run a sample of Lead? | Using EPA Method 200.8, if you offer an expedited sample turn-around time, what is the fastest sample processing time offered for Lead? | Using EPA Method 200.8, how much ($) does your lab currently charge for your fastest turn-around time to run a sample of Lead?
EPA Method 200.8 | 21 | 30 | 25 | MDL might not allow | 35 | 10-15 days | N/A | 35
| 25 | 500 | 30 | 500 | 30 | 10 days | 2 days | 50
| 25 | 2200 | 25 | 2200 | 25 | 5 business days | same-day | 75
| 25 | 4000 | 25 | 4000 | 25 | 10 days | 3-5 days, depending on digestion needs | 50
| 28 | 200 | 28 | 200 | 28 | 10 to 15 business days | 5 business days | 42
| 30 | 500 | 30 | 500 | 35 | 10 days | 24 hours | 90
| 30 | 1600 | 30 | 1600 | 30 | 5 days | 24 hours for preserved samples, 48 hours for unpreserved samples | 60
| 30 | same volume | 30 | same volume | Our RL is at 0.5ug/L, same volume | 5 days | 1 day | If <5 days, double or triple cost of $30
| 34 | 400 | 34 | 400 | 34 | 10-14 days | 1 | 102
| 35 | >100 | 35 | >100 | 35 | 10 business days | 2 days | 70
| 35 | 200 to 400 depending on workload | 40 | Unknow at this time, further evaluation is necessary | Unknow at this time, further evaluation is necessary | 15 business days | 1-2 days | 200% surcharge
| 35 | 3000 | 35 | 3000 | 35 | 5 days | 24 hours | 70
| 40 | 80 | 40 | 80 | 40 | 30 calendar days | 15 days | 40
| 45 | 200-500 | $45.00. No change required as current method development meets this DLR. | 200-500 | $45.00-65.00. Current MDL meets this DLR, so minimal development may be required. | 7 business days | 24 hours | 100% surcharge so an additional $45.00 for a total of $90.00 for 24 hour TAT
| 47 | capacity | 47 | cannot meet a DLR of 0.5 ug/L | cannot meet a DLR of 0.5 ug/L | 5 days | 1 day | 141
| 50 | 75 | 50 | 50 | 60 | 2 weeks | 48 hours | 75
| 57 | 100 | 57 | 100 | 57 | 10 business days | 3 business days | 114
| 70 | 300 | 70 | 300 | 70 | 14 days | 2 days | 70
| 77 | 50 | 250 | 0 | N/A | 10 days | 3 days | 231
| 140 | 80 | 140 | 80 | 140 | 4 days | 2 days | 280
| $32.00 Liquid, $61.00 Solid with Digest Included (with volume discount for >5 metals) | 2400 | The same $32.00 Liquid, $61.00 Solid with Digest Included | 2400 | The same $32.00 Liquid, $61.00 Solid with Digest Included | 10 business days | 3 Days Liquid, 5 Days Solid | 100% Surcharge so $64.00 Liquid, $122.00 Solid
| $59 (1 analyte) or $69 (2 analytes) or $205 (Full metal list) | ~400, probably more | $59 (1 analyte) or $69 (2 analytes) or $205 (Full metal list) | ~400 | $59 (1 analyte) or $69 (2 analytes) or $205 (Full metal list) | 10 days | 3 days | $100 (1 analyte) or $117 (2 analytes) or $349 (Full metal list)
| N/A | 500 + | N/A | 500 + | N/A | 14 days | 48 hours | N/A
| N/A | over 1000 | N/A | over 1000 | N/A | 5 days | 48 hours as we have to verify proper pH as per the method | N/A
|  | 100 | N/A | 100 | N/A | 5 days | 2 days | N/A

## Additional Information
Is there any additional information you would like to share?
Our current MDLs support the lowered RLs already, so we do not incur additional costs.
Please keep in mind that not all laboratories have instrumentation capable of seeing as low as you are proposing. Our ICPMS is only 2 years old and has much improved technology, but even so we would need to perform MDL studies to prove that we can adjust our MDLs/RLs appropriately. These instruments can cost over $150,000 each, which is a significant investment for a laboratory.
We are a public agency and do not analyze commercial samples for revenue. The cost entered are based on cost analysis per samples for us.
We cannot disclose our pricing but we have a very high capacity for metals, and have no issue meeting DLRs with our current instrumentation.
Cost of analyis is the same since we have one process for both DLRs.
Running Mn by 200.8 would significantly disrupt the efficiency of the lab. We can hit the 10 ppb by 200.7 without disrupting operations. We'd have to run each Fe/Mn sample twice (once for each method) if 200.8, or 1ppb would be required for Mn.
For lead and manganese, these limits are at or below the practical quantitation range supported by EPA Method 200.8 under routine operating conditions, making results increasingly sensitive to matrix effects, interference correction, instrument configuration, and normal method variability.
We established a low calibration curve point of 0.5 µg/L on the ICP-MS, with the MRL verification sample demonstrating acceptable recovery (mean of 105%). Additionally, MDL studies meet requirements, with detection limits at least three times lower than the MRL. Based on these results, reporting at the updated DLR can be implemented without changes to the analytical method, aside from updating the reporting limits.
We cannot meet a DLR of 0.5ug/L for Pb by EPA 200.8.
We can handle quicker TATs in select circumstances it would depend on the project.