## Sheet1
information about specific drinking water supplies, see public water systems' annual Consumer Confidence Reports.
Table 1. Drinking water sources and systems reporting a detection of 1,4-dioxane greater than 1 µg/L (2012-2015).
County (ID Number) | No. of Sources with Detections | No. of Systems | Peak Concentration (µg/L)
Los Angeles (19) | 111 | 36 | 29.3
Monterey (27) | 1 | 1 | 3
Orange (30) | 23 | 13 | 9.7
TOTAL | 135 | 50 | -
For this table, we've used monitoring results reported to the DDW and extracted from the water quality monitoring database. "Sources" are those with two or more reported detections, and include active, standby, pending, inactive, and destroyed or abandoned sources; raw and treated drinking water wells and surface water sources; distribution systems; blending reservoirs; and other sampled entities. We've not included data from some sources such as agricultural wells and monitoring wells. Where raw and treated samples or other results that indicate more than one sampling point for the same source (such as a well and its distribution system or blending reservoir), they are counted as coming from a single source. All reported detections, however, are included here (Excel); non-detects are not included in the spreadsheet. The water quality monitoring database is available here. |  |  |  | DWP
Detections included in the accompanying spreadsheet should not be considered to reflect 1,4-dioxane in drinking water served to customers, since water from the listed sources may be blended, treated, or not used to provide drinking water. For more information about specific drinking water supplies, see public water systems' annual Consumer Confidence Reports.
NOTE: These data should be considered draft, since they will change with subsequent updates.
References