# LATE REVISIONS

## AGENDA ITEM 10

25 April 2025 Board Meeting

LATE REVISIONS – 11 April 2025

### Item 10. Aerojet Rocketdyne, Inc. (Discharger), Groundwater Extraction and Treatment Systems (Facility), Sacramento County

Consideration of Amending Order R5-2025-XXXX for NPDES Permit Amendment (NPDES Permit No. CA0083861)

The proposed amending Order for the Discharger’s Facility has late revisions to correct the errors in Board Action Item 12.

#### LATE REVISION #1:

Revise Board Action Item 12 as shown below:

12. **Attachment F – Fact Sheet, Section IV. RATIONALE FOR EFFLUENT LIMITATIONS AND DISCHARGE SPECIFICATIONS.** Modify Table F-9. Summary of Water Quality-Based Effluent Limitations to remove acetaldehyde, as shown below.

**Table F-9. Summary of Water Quality-Based Effluent Limitations**

| Parameter | Units | Average Monthly Effluent Limitations | Maximum Daily Effluent Limitations | Instantaneous min/max |  |
| --- | --- | --- | --- | --- | --- |
| Perchlorate – Discharge 002 | µg/L | 6 | -- | -- |  |
| NDMA – Discharge 002 | µg/L | 0.003 | 0010 | -- |  |
| 1,2-DCA | µg/L | 0.38 | 0.5 | -- |  |
| pH | standard units | -- | -- | 6.5/8.5 |  |
| Chlorine Residual | mg/L | 0.01 | 0.02 | -- |  |
| Acute Toxicity | % survival | -- | -- | -- |  |
| Chronic Toxicity | TUc | Narrative | -- | -- |  |