CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2004-XXXX

NPDES PERMIT NO. CA0029904

WASTE DISCHARGE REQUIREMENTS FOR:

CROCKETT COGENERATION, LP

CROCKETT, CONTRA COSTA COUNTY

Effective:  July 1, 2004

table of Contents

Findings	1

Facility Description	1

Treatment Process Description	1

Treatment Plant Storm Water Discharges	3

Regional Monitoring Program	3

Applicable Plans, Policies and Regulations	4

Beneficial Uses	4

Bases for Effluent Limitations	4

General Basis	4

Applicable Water Quality Objectives/Criteria	4

Basin Plan Receiving Water Salinity Policy	5

CTR Receiving Water Salinity Policy	5

Receiving Water Salinity Classification	5

Receiving Water Hardness	6

Thermal Plan	6

Technology-Based Effluent Limitations	6

Water Quality-Based Effluent Limitations	6

Receiving Water Ambient Background Data Used in Calculating WQBELs	7

Constituents Identified in the 303(d) List	8

Dilution and Assimilative Capacity	8

Total Maximum Daily Loads and Waste Load Allocations	10

Interim Limitations and Compliance Schedules	10

Antibacksliding and Antidegradation	12

Specific Basis	12

Reasonable Potential Analysis	12

Reasonable Potential Methodology	12

RPA Determinations.	13

RPA Results for Impairing Pollutants	14

RPA Considerations for Specific Pollutants	14

Development of Specific Effluent Limitations	17

Whole Effluent Acute Toxicity	21

Optional Studies	23

Other Discharge Characteristics and Permit Conditions	23

Removal of Best Management Practices (BMP) Program	23

NPDES Permit and CEQA	23

Notification	24

Public Hearing	24

A. DISCHARGE PROHIBITIONS	24

B. EFFLUENT LIMITATIONS	24

Conventional Pollutants	24

Toxic Pollutants	25

Whole Effluent Acute Toxicity	25

Toxic Substances	25

C. RECEIVING WATER LIMITATIONS	26

D. PROVISIONS	28

Permit Compliance and Rescission of Previous Waste Discharge Requirements	28

Special Studies	28

Effluent Characterization for Selected Constituents	28

Ambient Background Receiving Water Study	28

Whole Effluent Acute Toxicity Requirements	28

Compliance Schedule Requirements	29

Optional Studies	29

Mass Offset	29

Copper and Nickel Translator Study and Schedule	29

Facilities Status Reports and Permit Administration	29

Self-Monitoring Program	31

Standard Provisions and Reporting Requirements	31

Change in Control or Ownership	31

Permit Reopener	31

NPDES Permit	32

Order Expiration and Reapplication	32

Attachments	32

LIST OF TABLES

Table 1.	Effluent Discharge Description	2

Table 2.	Summary of Reasonable Potential Analysis Results	13

Table 3.	Effluent Limitations for Conventional Constituents	24

Table 4.	Toxic Substances	25

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2004-XXXX

NPDES PERMIT NO. CA0029904

REISSUING WASTE DISCHARGE REQUIREMENTS FOR:

CROCKETT COGENERATION, LP

CROCKETT, CONTRA COSTA COUNTY

# Findings

The California Regional Water Quality Control Board, San Francisco Bay Region, (the Board) finds that:

- Discharger and Permit Application. Crockett Cogeneration, a California Limited Partnership, and Pacific Crockett Energy, Inc., its General Partner (both hereinafter referred collectively as the Discharger), has applied to the Board for reissuance of waste discharge requirements and a permit to discharge treated wastewater to waters of the State and the United States under the National Pollutant Discharge Elimination System (NPDES).

## Facility Description

- Facility Location and Capacity.   Since May 1995, the Discharger has operated a natural gas-fired electric cogeneration plant, located at 550 Loring Avenue, Crockett. It generates electricity for Pacific Gas and Electric Company with a design net electrical output of 240 Megawatts. It also provides 425 psig steam at a maximum rate of 400,000 lbs/hr to a neighboring sugar refinery, owned by California and Hawaiian Sugar Company (C&H).  Attachment A of this Order shows the location of the facility.

The Discharger directs its industrial effluent to a deep water outfall pipe owned and operated by C&H.  The combined effluent from the Discharger and C&H are discharged to Carquinez Straits, a portion of an enclosed bay and a water of United States and the State.  The Discharger’s average daily discharge rate from 2000 to 2002 is 243,000 gallons per day (gpd).  The permitted flow allowed by this permit is a monthly average of 500,400 gpd.

## Treatment Process Description

- Treatment Process.  The description of waste discharged from the site is based on information contained in the Report of Waste Discharge, recent self-monitoring reports, and other relevant information provided by the Discharger.  Attachment B shows a water process flow diagram.

  - Waste 001 is comprised of three process waste streams which are treated and discharged through a deep water outfall.  Waste 001A consists of an average of 24,480 gallons per day (gpd) of blowdown from a gas turbine evaporative cooler.  Waste 001B averages approximately 152,640 gpd of demineralizer regenerant, and Waste 001C consists of an average of 28,800 gpd of boiler blowdown water at a temperature of approximately 150°F.  These streams are mixed in a 150,000 gallon neutralization tank prior to discharge.  Water supply from East Bay Municipal Utility District (EBMUD) is added to the boiler blowdown sump to lower the temperature of Waste 001.  As necessary, sulfuric acid and caustic soda are added to the neutralization tank to control the pH of the mixed streams.  

The final treated effluent, Waste 001, is discharged into Carquinez Straits via C&H’s deep water outfall pipe.  C&H uses the outfall primarily for discharging non-contact cooling water.  The outfall is equipped with a diffuser at latitude 38 degrees 03 minutes 22 seconds North, and longitude 122 degrees 13 minutes 05 seconds West.  The outfall is 200 feet from shore at approximately 47 feet below mean low water.

  - Waste 002 consists of uncontaminated storm water runoff from a total of 2 acres of uncurbed areas throughout the site, 90,000 gallons (annually) of air-cooled condenser wash down water,  15,000 gallons (twice a month) walkways/stairways wash down water, and incidental limited quantity of water condensed from the exterior surface of three roof-type air conditioners.  The wash down waters and the condensed water, which are not expected to include any oil or grease, heavy metals or toxic materials, are collected at catch basins throughout the site.  Waste 002 is discharged to an outfall at a location of latitude 38°03’22” and longitude 122°12’50”.  As part of the Discharger’s Storm Water Pollution Prevention Plan, a manually operated valve is installed in manhole #3 to prevent the discharge of accidental spills or storm water which is accidentally contaminated.

- Effluent Description..  A summary of the effluent measurements for Waste 001 required in the prior permit are presented in the following table.  The table contains the statistics of conventional pollutant measurements obtained from January 2000 through December 2002, and of metals measurements obtained from June 2000 through July 2003.

- Effluent Discharge Description (Waste 001)

| Parameter | Median | Daily Minimum | Daily Maximum | Number of Measurements |
| --- | --- | --- | --- | --- |
| Oil & Grease (mg/L) | 1.0 |  | 1.5 | 36 |
| pH (s.u.) | 7.00 | 6.58 | 7.33 | 36 |
| Temperature (degrees Farrenheit) | 77.7 |  | 85.0 | 36 |
| TSS (mg/L) | 5 |  | 9 | 36 |
| Fathead Minnow (% Survival) [1] | 100 | 95 |  | 13 |
| Stickleback (% Survival) [1] | 100 | 90 |  | 14 |
| Chromium (µg/L) | <5 |  | 4.1 | 21 |
| Cyanide (µg/L) | <10 |  | 14 | 16 |
| Lead (µg/L) | <5 |  | 2 | 18 |
| Mercury (µg/L) | 0.00467 |  | 0.0107 | 15 |
| Nickel (µg/L) | 1.7 |  |  | 18 |
| Silver (µg/L) | <5 |  | 0.248[2] | 18 |
| Zinc (µg/L) | 20 |  | 120 | 30 |

[1] Pertains to the survival rate of fish at the end of a 4-day acute toxicity test.

[2] This constituent was only detected in one sample, with an estimated value that is detected, but not quantified.

- Drinking Water Conservation Plan.  Presently drinking water from EBMUD is mixed with Waste 001 to reduce its temperature to compliance levels.  To reduce the use of drinking water, and to provide a long-term solution for complying with the temperature limitation in this Order, the Discharger plans by June 2004, to use a fan for cooling rather than drinking water.  On average, the plan is expected to save 21,600 gpd of drinking water.  This plan is consistent with the State Board’s policy to use fresh inland waters for cooling only when other alternatives are environmentally undesirable or economically unsound (Water Quality Control Policy on the Use and Disposal of Inland Waters Used for Powerplant Cooling).

- This discharge was previously governed by Waste Discharge Requirements Order No. 98-100 adopted by the Board on September 16, 1998.

- The U.S. Environmental Protection Agency (U.S. EPA) and the Board have classified this discharge as a minor discharge.

## Treatment Plant Storm Water Discharges

- Regulations. Federal Regulations for storm water discharges were promulgated by the U.S. EPA on November 19, 1990. The regulations [40 CFR Parts 122, 123, and 124] require specific categories of industrial activity (industrial storm water) to obtain a NPDES permit and to implement Best Available Technology Economically Achievable (BAT) and Best Conventional Pollutant Control Technology (BCT) to control pollutants in industrial storm water discharges.

- Exemption from Coverage under Statewide Storm Water General Permit.  Provision 10 of this Order requires the Discharger to implement best management practices to reduce or prevent pollutants associated with industrial activity in storm water discharges.  Specifically, the Discharger must comply with the  storm water provisions of the Standard Provisions and Reporting Requirements for NPDES Surface Water Discharge Permits, August 1993 (the Standard Provisions), which is attached.  Because this satisfies the requirements of 40 CFR Parts 122, 123, and 124, it exempts the Discharger from the State Water Resources Control Board’s (the State Board’s) statewide NPDES permit for storm water discharges associated with industrial activities (NPDES General Permit CAS000001- the General Permit), which was adopted on November 19, 1991, amended on September 17, 1992, and reissued on April 17, 1997.

## Regional Monitoring Program

- On April 15, 1992, the Board adopted Resolution No. 92-043 directing the Executive Officer to implement a Regional Monitoring Program for the San Francisco Bay. Subsequent to a public hearing and various meetings, Board staff requested major permit holders in this region, under authority of section 13267 of California Water Code, to report on the water quality of the San Francisco Bay Estuary. These permit holders responded to that request by participating in a collaborative effort, through the San Francisco Estuary Institute (formerly the Aquatic Habitat Institute). This effort is known as the San Francisco Bay Regional Monitoring Program for Trace Substances (the RMP).  It includes collection of data on pollutants and toxicity in water, sediment and biota of the estuary.  The Discharger, as a small discharger, has agreed to participate in the RMP, to demonstrate its support of TMDL projects from which it may receive waste load allocations, and to support the gathering of data which may be used in developing effluent limitations during the next permit reissuance.

## Applicable Plans, Policies and Regulations

- Water quality objectives (WQOs), water quality criteria (WQC), effluent limitations, and calculations contained in this Order are based on the statutes, documents, and guidance detailed in the attached Fact Sheet, which is incorporated as part of this Order  by reference.

## Beneficial Uses

- This Order is written to protect all beneficial uses of the receiving water.  Beneficial uses for Carquinez Strait receiving water, as identified in the Board’s June 21, 1995 Water Quality Control Plan San Francisco Bay Basin (Region 2) (the Basin Plan) (Table 2-7), and based on known uses of the receiving waters in the vicinity of the discharge, are:

- Commercial and Sport Fishing

- Estuarine Habitat

- Industrial Service Supply

- Fish Migration

- Navigation

- Preservation of Rare and Endangered Species

- Water Contact Recreation

- Noncontact Water Recreation

- Fish Spawning

## Bases for Effluent Limitations

### General Basis

#### Applicable Water Quality Objectives/Criteria

- The WQOs and WQC applicable to the receiving waters for this discharge are from the Basin Plan, the U.S. EPA’s May 18, 2000 Water Quality Standards; Establishment of Numeric Criteria for Priority Toxic Pollutants for the State of California (the California Toxics Rule, or the CTR), and the U.S. EPA’s National Toxics Rule (the NTR).

  - The Basin Plan specifies numeric WQOs for 10 priority toxic pollutants, as well as narrative WQOs for toxicity and bioaccumulation in order to protect beneficial uses. The pollutants for which the Basin Plan specifies numeric objectives are arsenic, cadmium, chromium (VI), copper in freshwater, lead, mercury, nickel, silver, zinc, and cyanide (see also c., below). The narrative toxicity objective states in part “[a]ll waters shall be maintained free of toxic substances in concentrations that are lethal to or that produce other detrimental responses in aquatic organisms.” The bioaccumulation objective states in part “[c]ontrollable water quality factors shall not cause a detrimental increase in concentrations of toxic substances found in bottom sediments or aquatic life. Effects on aquatic organisms, wildlife, and human health will be considered.” Effluent limitations and provisions contained in this Order are designed to implement these objectives, based on available information.

  - The CTR specifies numeric aquatic life criteria for 23 priority toxic pollutants and numeric human health criteria for 57 priority toxic pollutants. These criteria apply to inland surface waters and enclosed bays and estuaries such as here, except that where the Basin Plan’s Tables 3-3 and 3-4 specify numeric objectives for certain of these priority toxic pollutants, the Basin Plan’s numeric objectives apply over the CTR (except in the South Bay south of the Dumbarton Bridge).

  - The NTR established numeric aquatic life criteria for selenium, numeric aquatic life and human health criteria for cyanide, and numeric human health criteria for 34 toxic organic pollutants for waters of San Francisco Bay upstream to, and including, Suisun Bay and the Delta. This includes the receiving water for this Discharger.

- Where numeric objectives have not been established or updated in the Basin Plan, 40 CFR Part 122.44(d) specifies that water quality-based effluent limitations (WQBELs) may be set based on U.S. EPA criteria, supplemented where necessary by other relevant information, to attain and maintain narrative WQOs to fully protect designated beneficial uses. The Fact Sheet for this Permit discusses the specific bases and rationales for effluent limitations.

#### Basin Plan Receiving Water Salinity Policy

- The Basin Plan states that the salinity characteristics (i.e., freshwater vs. saltwater) of the receiving water shall be considered in determining the applicable WQOs. Freshwater objectives apply to discharges to waters both lying outside the zone of tidal influence and having salinities lower than 5 parts per thousand (ppt) at least 75 percent of the time. Saltwater objectives shall apply to discharges to waters with salinities greater than 5 ppt at least 75 percent of the time. For discharges to waters with salinities in between the two categories or tidally influenced freshwaters that support estuarine beneficial uses, the objectives shall be the lower of the salt or freshwater objectives, based on ambient hardness, for each substance.

#### CTR Receiving Water Salinity Policy

- The CTR states that the salinity characteristics (i.e., freshwater vs. saltwater) of the receiving water shall be considered in determining the applicable WQC. Freshwater criteria shall apply to discharges to waters with salinities equal to or less than one ppt at least 95 percent of the time. Saltwater criteria shall apply to discharges to waters with salinities equal to or greater than 10 ppt at least 95 percent of the time in a normal water year. For discharges to water with salinities in between these two categories, or tidally influenced freshwaters that support estuarine beneficial uses, the criteria shall be the lower of the salt or freshwater criteria, (the latter calculated based on ambient hardness), for each substance.

#### Receiving Water Salinity Classification

- The receiving water for the subject discharge is Carquinez Strait and is classified as saltwater by the Basin Plan, and esturine by the CTR.  The classifications are based on salinity measurements at the RMP sampling station nearest to the discharge location, Davis Point (23 measurements from March 1993 through August 2001).  The reasonable potential analysis (RPA) and effluent limitations in this Order are based on the salt water objectives in the Basin Plan where available; if not, then they are based on the more stringent of either the salt or freesh water criteria in the CTR.

#### Receiving Water Hardness

- Some WQOs/WQC are hardness dependent.  In determining the WQOs/WQC for this Order, the Board used a hardness of 48 mg/L.  This is the lowest of the 12 measurements taken from April 1995 through August 2001, at the RMP Davis Point sampling station.  Due to the few number of measurements, the lowest value was selected because it is more protective of the environment.

#### Thermal Plan

- The State Board adopted the Water Quality Control Plan for Control of Temperature in the Coastal and Interstate Waters and Enclosed Bays and Estuaries of California (hereinafter the Thermal Plan) on September 18, 1975.  This Order contains temperature limitations for Waste 001 and the receiving water in accordance with the Thermal Plan requirements for a new discharger that discharges an elevated temperature waste to an estuary.  Since the Discharger’s facility was constructed after the Thermal Plan was adopted, it is classifed as a new discharge.  Since none of the three waste streams constituting Waste 001 is discharged for the purpose of transporting waste heat, Waste 001 is classified as elevated temperature waste, rather than thermal waste.  For these classifications, Section 5.B(1) of the Thermal Plan requires:

  - The maximum temperature of the discharge shall not exceed the natural receiving water termperature by more than 20 degrees Farenheit.

  - Elevated temperature waste discharges either individually or combined with other discharges shall not create a zone, defined by water temperature of more than 1°F above natural receiving water temperature, which exceeds 25 percent of the cross-sectional area of Carquinez Straits at any point.

  - No discharge shall cause a surface water temperature rise greater than 4°F above the natural temperature of the receiving waters at any time or place.

#### Technology-Based Effluent Limitations

- Permit effluent limitations for conventional pollutants are technology-based.  Effluent limitation guidelines requiring the application of the best practicable control technology currently available (BPT) and best available technology economically achievable (BAT) have been promulgated by the U.S. EPA on November 19, 1982 and amended on July 8, 1983 for the Steam Electric Power Generating Point Source Category (40 CFR 423).  The limitations are considered to be those attainable by BAT and Best Professional Judgement (BPJ) for Low Volume Waste Sources, in the judgement of the Board.  The  limitations in the prior Order for TSS, and Oil and Grease are more stringent than those specified in 40 CFR 423, but these limits are retained in this Order.  This is because the Board staff, based on BPJ, determines the Discharger has the technology to feasibly comply with them, since it complied with them since 1995.  The pH limitations in the prior Order is consistent with 40 CFR 423, and is retained in this Order.

#### Water Quality-Based Effluent Limitations

- Toxic substances are regulated by water quality based effluent limitations (WQBELs) derived from the Basin Plan, Tables 3-3 and 3-4, the U.S. EPA’s May 18, 2000 Water Quality Standards; Establishment of Numeric Criteria for Priority Toxic Pollutants for the State of California (the California Toxics Rule, or CTR), the U.S. EPA’s National Toxics Rule (NTR), and/or best professional judgment (BPJ) as defined in Section IV of the attached Fact Sheet. Further details about the effluent limitations contained in this Order are given below and in the attached Fact Sheet.

a.  Maximum Daily Effluent Limitations (MDELs) are used in this permit to protect against acute water quality effects. It is impracticable to use weekly average limitations to guard against acute effects. Although weekly averages are effective for monitoring the performance of biological wastewater treatment plants, the MDELs are necessary for preventing fish kills or mortality to aquatic organisms.

b.  NPDES regulations, the Policy for Implementation of Toxics Standards for Inland Surface Waters, Enclosed Bays, and Estuaries of California (the State Implementation Plan, or SIP), and U.S. EPA’s Technical Support Document (TSD) provide the basis to establish MDELs:

(1) NPDES regulations at 40 CFR Part 122.45(d) state:

“For continuous discharges all permit effluent limitations, standards, and prohibitions, including those necessary to achieve water quality standards, shall unless impracticable be stated as:

(a) Maximum daily and average monthly discharge limitations for all discharges other than publicly owned treatment works (POTWs); and

- Average weekly and average monthly discharge limitations for POTWs.” (Emphasis added.)

(2) The SIP (page 8, Section 1.4) requires WQBELs be expressed as maximum daily effluent limitations (MDELs) and average monthly effluent limitations (AMELs).

(3) The TSD (page 96) states a maximum daily limitation is appropriate for two reasons:

(a) The basis for the 7-day average for POTWs derives from the secondary treatment requirements. This basis is not related to the need for assuring achievement of water quality standards.

(b) The 7-day average, which could comprise up to seven or more daily samples, could average out peak toxic concentrations and therefore the discharge’s potential for causing acute toxic effects would be missed. A maximum daily limitation would be toxicologically protective of potential acute toxicity impacts.

#### Receiving Water Ambient Background Data Used in Calculating WQBELs

- Ambient background values are used in the RPA and in the calculation of effluent limitations. For the RPA, ambient background concentrations are the observed maximum water column concentrations. The SIP states that for calculating WQBELs, ambient background concentrations are either the observed maximum ambient water column concentrations, or, for criteria/objectives intended to protect human health from carcinogenic effects, the arithmetic mean of observed ambient water concentrations. The ambient background data are derived from three sources:

  - Regional Monitoring Program (RMP) - Under the RMP, the Yerba Buena station has been sampled since 1993 for most of the inorganic (CTR constituent numbers 1-15) and some of the organic (CTR constituent numbers 16 – 126) toxic pollutants.

  - BACWA San Francisco Bay Ambient Water Monitoring Interim Report -  Not all the constituents listed in the CTR were analyzed by the RMP during this time.  On May 16, 2003, a group of several San Francisco Bay Region dischargers (known as the Bay Area Clean Water Agencies, or BACWA) also submitted a collaborative receiving water study, entitled the San Francisco Bay Ambient Water Monitoring Interim Report.  This report addresses monitoring results from sampling events in the years 2002 and 2003 for the remaining priority pollutants not monitored by the RMP.  The RPA was conducted and the WQBELs were calculated using RMP data from the years 1993 through 2001 for inorganics and organics at the Yerba Buena station, and additional data from the BACWA San Francisco Bay Ambient Water Monitoring Interim Report for the Yerba Buena RMP station.

  - August 6, 2001 Letter – In addition to the RMP and BACWA Interim Report, effluent and ambient background monitoring was required by the Board’s August 6, 2001, letter titled Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy (hereinafter referred to as the Board’s August 6, 2001 Letter) – available online, (see Standard Language And Other References Available Online below). The additional data the Discharger collected in response to this letter, was submitted to the Board in an interim report on May 13, 2003.  The data supplements any missing RMP and BACWA Interim Report data.

#### Constituents Identified in the 303(d) List

- On June 6, 2003, the U.S. EPA approved a revised list of impaired water bodies prepared by the State (the 303(d) list).  The State had prepared the 303(d) list pursuant to provisions of Section 303(d) of the federal Clean Water Act requiring identification of specific water bodies where it is expected that water quality standards will not be met after implementation of technology-based effluent limitations on point sources. The pollutants impairing the Carquinez Strait include chlordane, DDT, diazinon, dieldrin, dioxin and furan compounds, mercury, nickel, total PCBs, PCBs (dioxin like), and selenium.  Carquinez Strait is also impaired by exotic species.

#### Dilution and Assimilative Capacity

- In response to the State Board’s Order No. 2001-06, Board staff have evaluated the assimilative capacity of the receiving water for 303(d)-listed pollutants for which the subject discharge has reasonable potential to cause or contribute to an excursion above a water quality standard. The evaluation included a review of RMP data, effluent data, and WQOs. From this evaluation, it is determined that the assimilative capacity is highly variable due to the complex hydrology of the receiving water. Therefore, there is uncertainty associated with the representative nature of the appropriate ambient background data to conclusively quantify the assimilative capacity of the receiving water. Pursuant to Section 1.4.2.1 of the SIP, “dilution credit may be limited or denied on a pollutant-by-pollutant basis…”

  - For certain bioaccumulative pollutants, based on BPJ, dilution credit is not included in calculating the final WQBELs. The Board placed selenium, mercury, and PCBs on the CWA Section 303(d) list. The U.S. EPA added dioxins and furans compounds, chlordane, nickel, dieldrin, and 4,4’-DDT on the CWA Section 303(d) list. Dilution credit is not included for the following pollutants: mercury, dieldrin, 4,4’-DDE, and dioxins and furans. The following factors suggest that there is no more assimilative capacity in the Bay for these pollutants.

    - San Francisco Bay fish tissue data shows that these pollutants, except for selenium, exceed screening levels. The fish tissue data are contained in "Contaminant Concentrations in Fish from San Francisco Bay 1997" May 1997. Denial of dilution credits for these pollutants is further justified by fish advisories to the San Francisco Bay. The Office of Environmental Health and Hazard Assessment (OEHHA) performed a preliminary review of the data from the 1994 San Francisco Bay pilot study, “Contaminated Levels in Fish Tissue from San Francisco Bay.” The results of the study showed elevated levels of chemical contaminants in the fish tissues. Based on these results, OEHHA issued an interim consumption advisory covering certain fish species from the bay in December 1994. This interim consumption advice was issued and is still in effect due to health concerns based on exposure to sport fish from the bay contaminated with mercury, PCBs, dioxins, and pesticides (e.g., DDT).

  - Furthermore, Section 2.1.1 of the SIP states that for bioaccumulative compounds on the 303(d) list, the Board should consider whether mass-loadings should be limited to current levels. The Board finds that mass loading limitations are warranted for certain bioaccumulative compounds on the 303(d) list for the receiving waters of this discharge. This is to ensure that this discharge does not contribute further to impairment of the narrative objective for bioaccumulation.

  - For non-bioaccumulative constituents, a conservative allowance of 10:1 dilution for discharges to the receiving waters is necessary for protection of beneficial uses.  This is based on SIP provision in Section 1.4.2.1, which allows the Board to further limit dilution credits.  The derivation of the dilution credit is outlined below.

    - A far-field background station is appropriate because the receiving waterbody is a very complex estuarine system with highly variable and seasonal upstream freshwater inflows and diurnal tidal saltwater inputs.

    - Due to the complex hydrology of the San Francisco Bay, a mixing zone cannot be accurately established.

    - The SIP allows limiting a mixing zone and dilution credit for persistent pollutants (e.g., copper, nickel, and lead).

The main justification for using a 10:1 dilution credit is uncertainty in accurately determining ambient background and uncertainty in accurately determining the mixing zone in a complex estuarine system with multiple wastewater discharges.  The detailed rationale is described in the Fact Sheet.

#### Total Maximum Daily Loads and Waste Load Allocations

- The Board plans to adopt Total Maximum Daily Loads (TMDLs) for pollutants on the 303(d) list in Carquinez Strait within the next ten years, with the exception of dioxin and furan compounds. The Board defers development of the TMDLs for dioxin and furan compounds to the U.S. EPA. Future review of the 303(d) list for Carquinez Strait may result in revision of the schedules and/or provide schedules for other pollutants.

- The TMDLs will establish waste load allocations (WLAs) for point sources and load allocations (LAs) for non-point sources, and will result in achieving the water quality standards for the waterbodies. Final WQBELs for 303(d)-listed pollutants in this discharge will be based on WLAs contained in the respective TMDLs.

- The Board’s strategy to collect water quality data and to develop TMDLs is summarized below:

  - Data collection – The Board has given the dischargers the option to collectively assist in developing and implementing analytical techniques capable of detecting 303(d)-listed pollutants to at least their respective levels of concern or WQOs/WQC. This collective effort may include development of sample concentration techniques for approval by the U.S. EPA. The Board will require dischargers to characterize the pollutant loads from their facilities into the water-quality limited waterbodies. The results will be used in the development of TMDLs, and may be used to update or revise the 303(d) list and/or change the WQOs/WQC for the impaired waterbodies including the Carquinez Strait.

  - Funding mechanism – The Board has received, and anticipates continuing to receive, resources from federal and state agencies for TMDL development. To ensure timely development of TMDLs, the Board intends to supplement these resources by allocating development costs among dischargers through the RMP or other appropriate funding mechanisms.

- Pursuant to Section 2.1.1 of the SIP, “the compliance schedule provisions for the development and adoption of a TMDL only apply when: (a) the Discharger requests and demonstrates that it is infeasible for the Discharger to achieve immediate compliance with a CTR criterion; and (b) the Discharger has made appropriate commitments to support and expedite the development of the TMDL.  In determining appropriate commitments, the RWQCB should consider the Discharger’s contribution to current loadings and the Discharger’s ability to participate in TMDL development.”

#### Interim Limitations and Compliance Schedules

- Until final WQBELs or WLAs are adopted for 303(d)-listed pollutants, state and federal anti-backsliding and antidegradation policies and the SIP, require that the Board include interim effluent limitations for them. The interim effluent limitations will be the lower of the following:

  - current performance; or

  - the previous permit’s limitations, unless anti-backsliding conditions are met.

- The SIP and the Basin Plan authorize compliance schedules in a permit if an existing discharger cannot comply immediately with a new and more stringent effluent limitation. Compliance schedules for limitations derived from CTR or the NTR WQCs are based on Section 2.2 of the SIP, and compliance schedules for limitations derived from Basin Plan WQOs are based on the Basin Plan. Both the SIP and the Basin Plan require the Discharger to demonstrate the infeasibility of achieving immediate compliance with the new limitation to qualify for a compliance schedule. The SIP and Basin Plan require the following documentation to be submitted to the Board to support a finding of infeasibility:

- Descriptions of diligent efforts the Discharger has made to quantify pollutant levels in the discharge, sources of the pollutant in the waste stream, and the results of those efforts;

- Descriptions of source control and/or pollution minimization efforts currently under way or completed;

- A proposed schedule for additional or future source control measures, pollutant minimization or waste treatment; and

- A demonstration that the proposed schedule is as short as practicable.

- On February 3, 2004, the Discharger submitted a feasibility study (hereinafter referred to as the Discharger Feasibility Study) asserting it is infeasible to immediately comply with the final WQBELs calculated according to SIP Section 1.4 for copper,  nickel, selenium, cyanide, 4,4’-DDE, dieldrin, and dioxin TEQ.  Board staff conducted comparative and/or statistical analysis of recent effluent performance data for these pollutants, as further detailed in the attached Fact Sheet.  Based on these analyses for copper, nickel, selenium, cyanide, 4,4’-DDE, dieldrin, and dioxin TEQ, the Board concurs that it is infeasible to achieve immediate compliance.

- For limitations based on CTR or NTR criteria (copper, selenium, cyanide, 4,4’-DDE, and dieldrin) this Order establishes a 5-year compliance schedule as allowed by the CTR and SIP.  The Basin Plan provides for a 10-year compliance schedule (mercury and nickel) to implement measures to comply with new standards as of the effective date of those standards. This provision has been construed as authorizing compliance schedules for new interpretations of existing standards (such as the numeric WQOs specified in the Basin Plan) resulting in more stringent limitations than those in the previous permit. Due to the adoption of the SIP, the Board has newly interpreted these objectives. As a result of applying the SIP methodologies, the effluent limitations for some pollutants are more stringent than those in the prior permit, and compliance schedules may be appropriate for the new limitations for those pollutants. The Board may take appropriate enforcement actions if interim limitations and requirements are not met.

This Order establishes compliance schedules that extend beyond one year for copper, nickel,  cyanide, 4,4’-DDE, dieldrin, and dioxin TEQ.  Pursuant to the SIP and 40 CFR 122.47, the Board shall establish interim numeric limitations and interim requirements to control the pollutant.  This Order establishes interim limitations for these pollutants based on the previous permit limitations or existing plant performance. This Order also establishes interim requirements in a provision for development of source analysis and source control studies to reduce polllutant loadings.

Since the compliance schedule for CTR criteria and Basin Plan WQOs exceed the length of the permit (4 years and 11 months), the actual final WQBELs for these pollutants will likely be based on either the Site Specific Objective (SSO) or TMDLs/WLAs as described in other findings specific to each of the pollutants.

#### Antibacksliding and Antidegradation

- Antidegradation and Anti-backsliding.  The limitations in this Order are in compliance with the Clean Water Act Section 402(o) prohibition against establishment of less stringent WQBELs for the following reasons:

      - For impairing pollutants, the revised final limitations will be in accordance with TMDLs and WLAs once they are established;

      - For non-impairing pollutants, the final limitations are/will be consistent with current State WQOs/WQC;

      - Antibacksliding does not apply to the interim limitations established under previous Orders.

### Specific Basis

#### Reasonable Potential Analysis

- Title 40 CFR Part 122.44(d) (1) (i) requires permits to include WQBELs for all pollutants which have the reasonable potential to cause or contribute to an exceedence of an applicable water quality standard (that have Reasonable Potential).  Using the methods prescribed in Section 1.3 of the SIP, Board staff analyzed the effluent data to determine if Waste 001 has a reasonable potential to cause or contribute to an excursion above a State water quality standard (“Reasonable Potential Analysis” or “RPA”).  For all parameters that have Reasonable Potential, numeric WQBELs are required.  The RPA compares the effluent data with numeric and narrative WQOs in the Basin Plan and numeric WQC from the U.S. EPA Gold Book, the NTR, and the CTR.

#### Reasonable Potential Methodology

- a.	The RPA was based on monthly effluent monitoring data from June 2000 through July 2003 for metals, and March 2002 through July 2003 for certain organic constituents.

The RPA identifies the observed maximum effluent concentration (MEC) in the effluent for each pollutant, based on effluent concentration data.  If a pollutant is not detected in any of the effluent samples and all of the reported detection limits are below the WQO, the MEC is defined as the lowest detection limit.

There are three triggers in determining Reasonable Potential:

  - The first trigger is activated if the MEC is greater than the lowest applicable WQO (MEC WQO), which has been adjusted, if appropriate, for pH, hardness, and translator data. If the MEC is greater than the adjusted WQO, then that pollutant has reasonable potential, and a WQBEL is required.

  - The second trigger is activated if the observed maximum ambient background concentration (B) is greater than the adjusted WQO (B>WQO).

  - The third trigger is activated if a review of other information determines that a WQBEL is required to protect beneficial uses, even though both MEC and B are less than the WQO/WQC.  A limitation may be required under certain circumstances to protect beneficial uses.

b.	Table 2, below, depicts the results of the RPA. The RPA findings, numeric final WQBELs where required, feasibility determinations, and interim limitations and compliance schedules – as appropriate - are set out in more detail below.

#### RPA Determinations.

- The MECs, WQOs/WQC, bases for the WQOs/WQC, background concentrations used and Reasonable Potential conclusions from the RPA are listed in the following table for all constituents analyzed.  The RPA results for some of the constituents in the CTR were not determined because of the lack of an objective/criteria or effluent data.  (Further details on the RPA can be found in the Fact Sheet.)  Based on the RPA methodology in the SIP, the following 9 constituents have been found to have reasonable potential to cause or contribute to an excursion above WQOs/WQC: copper, lead, nickel, selenium, zinc, cyanide, 4,4’-DDE, dieldrin, and dioxin TEQ.

- Summary of Reasonable Potential Analysis Results

| Constituent1 | WQO/WQC (µg/L) | Basis2 | MEC (µg/L) | Maximum Ambient Background Conc. (µg/L) | Reasonable Potential |
| --- | --- | --- | --- | --- | --- |
| 1) Antimony | 4300 | CTR (#1) | 1 | 1.8 | No |
| 2) Arsenic | 36 | BP | 11 | 2.46 | No |
| 3) Beryllium | No Criteria | No Criteria | No Criteria | 0.215 | Undetermined4 |
| 4) Cadmium | 9.3 | BP | 0.1 | 0.1268 | No |
| 5a) Chromium (III) | 113.5 | CTR(#5a) | 0.9 |  | No |
| 5b) Chromium (VI) | 50 | BP | 43 | 4.4 | No |
| 6) Copper | 3.74 | CTR (#6) | 26 | 2.45 | Yes |
| 7) Lead | 5.6 | BP | 29 | 0.8 | Yes |
| 8) Mercury* | 0.025 | BP | 0.022 | 0.0086 | No |
| 9) Nickel* | 7.1 | BP | 67 | 3.7 | Yes |
| 10) Selenium* | 5.0 | NTR | 8 | 0.39 | Yes |
| 11) Silver | 2.3 | BP | 0.248 | 0.0516 | No |
| 12) Thallium | 6.3 | CTR (#12) | 0.1 | 0.21 | No |
| 13) Zinc | 58 | BP | 120 | 4.4 | Yes |
| 14) Cyanide | 1 | NTR | 50 | <0.4 | Yes |
| 15) Asbestos | No Criteria | NA | No Criteria | NA | Undetermined4 |
| 16) Dioxin TEQ* | 1.4x10-8 | BP | <63.7x10-8 | 7.1x10-8 | Yes3 |
| 109) 4,4’-DDE* | 0.00059 | CTR (#109) | <0.001 | 0.000693 | Yes3 |
| 111) Dieldrin* | 0.00014 | CTR (#111) | <0.002 | 0.000264 | Yes3 |
| CTR #s 17-126 except 109 and 111 | Various or NA | CTR | Non-detect, less than WQO, or no WQO | Less than WQO or Not Available | No or Undetermined4 |

Footnotes for Table 2:

- * Indicates constituents on 303(d) list, dioxin applies to the toxicity equivalent of 2,3,7,8-TCDD, using 1998 toxicity equivalence factors for dioxins and furans.

- BP 	= Basin Plan;

CTR	= California Toxics Rule

NTR	= National Toxics Rule

- Dioxin TEQ, 4,4’-DDE and Dieldrin: RPA = Yes, based on B>WQO or WQC.

- Undetermined due to lack of objective/criteria, and/or lack of effluent data (See Fact Sheet Table B for full RPA results).

#### RPA Results for Impairing Pollutants

- While TMDLs and WLAs are being developed, interim concentration limitations are established in this permit for 303(d)-listed pollutants that have reasonable potential to cause or contribute to an excursion above the water quality standard.  In addition, mass limitations are required for bioaccumulative 303(d)–listed pollutants (i.e., mercury) that can be reliably detected. Constituents on the 303(d) list for which the RPA determined a need for effluent limitations are selenium, 4,4’-DDE (chemically linked to DDT), dieldrin, and dioxin TEQ.  Final determination of Reasonable Potential for other constituents identified on the 303(d) list could not be performed due to lack of available effluent data, or lack of an established WQO or WQC.

#### RPA Considerations for Specific Pollutants

- Dioxin TEQ.

      - The CTR establishes a numeric human health WQC of 0.014 picograms per liter (pg/L) for 2,3,7,8-tetrachlorinated dibenzo-p-dioxin (2,3,7,8-TCDD) based on consumption of aquatic organisms.

      - The preamble of the CTR states that California NPDES permits should use toxicity equivalents (TEQs) where dioxin-like compounds have Reasonable Potential with respect to narrative criteria. In U.S. EPA’s National Recommended Water Quality Criteria, December 2002, U.S. EPA published the 1998 World Health Organization Toxicity Equivalence Factor (TEF) scheme.  Additionally, the CTR preamble states U.S. EPA’s intent to adopt revised WQC guidance subsequent to its health reassessment for dioxin-like compounds.

      - The SIP applies to all toxic pollutants, including dioxins and furans. The SIP requires a limitation for 2,3,7,8-TCDD, if a limitation is necessary, and requires small dischargers to monitor its effluent for the presence of the 17 congeners (dioxin and furan compounds) once during dry weather and once during wet weather during one year.

      - The Basin Plan contains a narrative WQO for bio-accumulative substances:

“Many pollutants can accumulate on particulates, in sediments, or bio-accumulate in fish and other aquatic organisms. Controllable water quality factors shall not cause a detrimental increase in concentrations of toxic substances found in bottom sediments or aquatic life. Effects on aquatic organisms, wildlife, and human health will be considered.”

This narrative WQO applies to dioxin and furan compounds, based in part on the scientific community’ consensus that these compounds associate with particulates, accumulate in sediments, and bioaccumulate in the fatty tissue of fish and other organisms.

      - The U.S. EPA’s 303(d) listing determined that the narrative objective for bio-accumulative pollutants was not met because of the levels of dioxins and furans in the fish tissue.

      - The Discharger has monitored for dioxins and furans. Self-monitoring data indicate dioxins and furans were sampled once in the year 2002 and once in 2003.  The presence of dioxin and furan compounds were not detected in either effluent sample.  However, the method detection limits for both samples were above the WQC for 2,3,7,8 TCDD TEQ, and so it could not be determined whether the effluent concentration triggers RP.  As shown in Table 2, ambient receiving water quality data provided in the May 16, 2003 BACWA report show 2,3,7,8 TCDD TEQ levels that exceed the WQC; therefore, there is Reasonable Potential for 2,3,7,8 TCDD TEQ.

      - Compliance 

For now, compliance will be determined using standard one-liter samples and an analysis method that is at a minimum capable of achieving one-half the U.S. EPA method 1613 MLs.  Compliance using higher sample volumes with lower method detection limits will not be required until after this method is validated by the Board’s Executive Officer, or U.S. EPA.

- 4,4’-DDE and Dieldrin.

- Board staff could not determine MECs for 4,4’-DDE and dieldrin because the effluent data consisted of all non-detect values, with all detection limits higher than the WQC (Section 1.3 of the SIP).  Board staff conducted the RPA by comparing the WQC with RMP ambient background concentration data gathered using research-based sample collection, concentration, and analytical methods. This analysis concluded that the background concentrations are greater than the WQC, and therefore, 4,4’-DDE and dieldrin have Reasonable Potential, and numeric WQBELs are required.

- The current 303(d) list includes the Bay as impaired for dieldrin and DDT; 4,4’-DDE is chemically linked to the presence of DDT. The Board intends to develop a TMDL that will lead towards overall reduction of dieldrin and 4,4’-DDE.  The WQBELs specified in this Order may be changed to reflect the WLAs from this TMDL. Studies are ongoing to investigate the feasibility and reliability of different methods of increasing sample volumes to lower the detection limits for pesticides.  If analytical methodologies improve and the detection levels decrease to a point that show discharge concentrations above the limitations in this Order, the Board will re-evaluate the Discharger’s feasibility to comply with the limitations and determine the need for a compliance schedule and interim performance-based limitations at that time.  Since dieldrin and 4,4’-DDE are both bioaccumulative and on the 303(d) list due to fish tissue concentrations, there is no assimilative capacity, and no dilution credit was allowed in the final limitation calculations.

- Cyanide. 

The analytical method (EPA Method 335.2) used by the Discharger to measure total cyanide has elsewhere demonstrated problems with interference.  The EPA is currently evaluating the known interferents, and investigating ways to improve EPA Cyanide Methods.  A body of existing evidence indicates that cyanide measurements in effluent may be an artifact of the analytical method and/or a by-product of chlorination.  These questions are also being explored in a national research study sponsored by the Water Environment Research Foundation (WERF).  The Discharger may investigate the interference issues and alternative analytical methods, to evaluate the accuracy of the prior measurements used to conduct the RPA and to develop interim and final effluent limits.  If the Discharger can demonstrate the prior measurements are not accurate by using a better analytical method, the Board may change or remove the interim limit and final WQBELs to reflect the new measurements, pursuant to Provision 16.

- Other Organics.

The Discharger has performed sampling and analysis for the organic constituents listed in the CTR.  This data set was used to perform the RPA. The full RPA is presented as an attachment in the Fact Sheet.  Effluent and background measurements were available for all organic priority pollutants.  However, for 19 organic pollutants, Reasonable Potential cannot be determined because the effluent detection limits are higher than the lowest WQC.  For one organic pollutant (benzidine), Reasonable Potential cannot be determined because the background detection limit is higher than the lowest WQC.  As part of the priority pollutant monitoring requirement described in the next finding, the Discharger will monitor for these and other consituents in the effluent once more within one year prior to expiration of this permit.  When additional data become available, further RPA will be conducted to determine whether to add numeric effluent limitations in the Order.

- Effluent Reasonable Potential Monitoring.

This Order does not include effluent limitations for constituents that do not show a Reasonable Potential, but one more set of measurements to be collected within one year prior to expiration of this permit for all priority pollutants is required using the methods described in the Board’s August 6, 2001 Letter.  The measurements should be submitted with the Discharger’s next application for permit renewal, at least 180 days prior to the expiration of this permit.  The new data may be used to assess whether the effluent quality has changed, and to reevaluate the Reasonable Potential determinations in this Order.

- Permit Reopener.

This Order includes a reopener provision to allow numeric effluent limitations to be added or deleted for any constituent that exhibits or does not exhibit, respectively, Reasonable Potential. The Board will make this determination based on monitoring results.

### Development of Specific Effluent Limitations

- Copper

  - RPA Results. This Order establishes effluent limitations for copper because the 26.0 µg/L MEC exceeds the governing WQC of 3.7 µg/L.  The governing WQC is based on the CTR’s WQC of 3.1 µg/L for chronic saltwater protection as modified by using the CTR’s default copper translator of 0.83.

  - WQBELs. The copper WQBELs calculated according to SIP procedures are 13 µg/L average monthly and 25 µg/L maximum daily.

  - Immediate Compliance Infeasible.  The Discharger Feasibility Study requests an interim limit with a compliance schedule, because it determined it cannot immediately comply with the WQBELs.  The Board staff’s statistical analysis of effluent data from June 2000 through July 2003 (see Attachment 4 of the attached Fact Sheet) concurs there is a high likelihood the Discharger will not be able to immediately comply with the WQBELs.  Because the measures proposed in the Discharger Feasibility Study statisfy the requirements in Section 2.1 of the SIP, the Board will provide the Discharger with an interim limit and compliance schedule.

  - Interim Limit.  Numeric interim limits for the pollutant must be based on current treatment facility performance or on a prior permit limit, whichever is more stringent.  Because the previous permit does not include a prior limit for copper, the interim limit is set to an Interim Performance-Based Limitation (IPBL).  Consistent with past practices, the Board staff specifies the IPBL as the 99.87th percentile value of the Discharger’s recent effluent data.  Therefore, the interim limit for copper is set at 252 µg/L.

  - Compliance Schedule Requirements.  In the Final Feasibility Study, the Discharger has proposed additional pollution prevention and source control measures to reduce copper concentration levels in the discharge.  Additionally the Discharger may implement a sampling plan, as specified in Provision 13 of this Order to develop information that may be used to establish WQBELs based on dissolved criteria for copper.

  - Term of Interim Limit.  The copper IPBL shall remain in effect until June 30, 2009.   However, during the next permit reissuance, or based on additional data or SSOs, the Board may re-evaluate the copper IPBL and compliance deadline.

- Lead

  - RPA Results. This Order establishes effluent limitations for lead because the 29.0 µg/L MEC exceeds the governing WQC of 5.6 µg/L, demonstrating Reasonable Potential by Trigger 1, in Finding 37 of this Order.  The governing WQC is based on the Basin Plan’s WQO of 5.6 µg/L as a 4-day average for the chronic protection of saltwater aquatic life.

  - WQBELs.  The lead WQBELs calculated according to SIP procedures are 40. µg/L average monthly and 80. µg/L maximum daily.

  - Immediate Compliance Feasible.  The Discharger has not requested a compliance schedule for lead.  Board staff conducted a statistical analysis of the Discharger’s self-monitoring effluent data from June 2000 through July 2003 (see Attachment 4 of the attached Fact Sheet), and based upon this analysis, the Board determines it is feasible for the Discharger to achieve immediate compliance.  Therefore, the WQBELs will be in effect in this Order.

- Nickel

  - RPA Results. This Order establishes effluent limitations for nickel because the 67 µg/L MEC exceeds the governing WQC of 7.1 µg/L.  The governing WQO is based on the Basin Plan’s WQO of 7.1 µg/L as a 24-hour average for the chronic protection of saltwater aquatic life.

  - WQBELs. The WQBELs calculated according to SIP procedures are 31 µg/L average monthly and 62 µg/L maximum daily.

  - Immediate Compliance Infeasible.  The Discharger Feasibility Study requests an interim limit with a compliance schedule, because it determined it cannot immediately comply with the WQBELs.  The Board staff’s statistical analysis of effluent data from June 2000 through July 2003 (See Attachment 4 of the attached Fact Sheet) concurs there is a high likelihood the Discharger will not be able to immediately comply with the WQBELs.  Because the measures proposed in the Discharger Feasibility Study statisfy the requirements in Section 2.1 of the SIP, the Board will provide the Discharger with an interim limit and compliance schedule.

  - Interim Limit.  Because the previous permit does not include a prior limit for nickel, the interim limit is set to an Interim Performance-Based Limitation (IPBL).  Consistent with past practices, the Board staff specifies the IPBL as the 99.87th percentile value of the Discharger’s recent effluent data.  Therefore, the interim limit for nickel is set at 367 µg/L.

  - Compliance Schedule Requirements.  In the Final Feasibility Study, the Discharger has proposed additional pollution prevention and source control measures to reduce copper concentration levels in the discharge.  Additionally the Discharger may implement a sampling plan, as specified in Provision 13 of this Order to develop information that may be used to establish WQBELs based on dissolved criteria for nickel.

  - Term of IPBL.   The nickel IPBL shall remain in effect until March 31, 2010.  However, during the next permit reissuance, or based on additional data or SSOs, the Board may re-evaluate the nickel IPBL and compliance deadline.

- Selenium

  - RPA Results. This Order establishes effluent limitations for selenium because the 8 µg/L MEC exceeds the governing WQC of 5 µg/L.  The governing WQC is based on NTR’s criterion salt water Criterion Chronic Concentration (CCC).

  - WQBELS.  The WQBELs calculated according to SIP procedures are 4.1 µg/L average monthly and 8.2 µg/L maximum daily.

  - Immediate Compliance Infeasible.  The Discharger Feasibility Study requests an interim limit with a compliance schedule, because it determined it cannot immediately comply with the WQBELs.  The Board staff’s statistical analysis of effluent data from June 2000 through July 2003 (See Attachment 4 of the attached Fact Sheet) concurs there is a high likelihood the Discharger will not be able to immediately comply with the WQBELs.  Because the measures proposed in the Discharger Feasibility Study statisfy the requirements in Section 2.1 of the SIP, the Board will provide the Discharger with an interim limit and compliance schedule.

  - Interim Limit..  Because the previous permit does not include a prior limit for selenium, the interim limit is set to an IPBL.  Consistent with past practices, the Board staff specifies the IPBL as the 99.87th percentile value of the Discharger’s recent effluent data. Therefore, the interim limit for selenium is set at 50.5 µg/L.

  - Compliance Schedule Requirements.  In the Final Feasibility Study, the Discharger has proposed additional pollution prevention and source control measures to reduce selenium concentration levels in the discharge.

  - Term of Interim Effluent Limitation.  The selenium IPBL shall remain in effect until June 30, 2009.  However, during the next permit reissuance, or based on additional data or TMDLs, the Board may re-evaluate the selenium IPBL and compliance deadline.

- Zinc

  - RPA Results. This Order establishes effluent limitations for zinc because the 120 µg/L MEC exceeds the governing WQC of 58 µg/L, demonstrating Reasonable Potential.  The governing WQO is based on the Basin Plan’s WQO of 58 µg/L as an instantaneous maximum for the acute protection of saltwater aquatic life.

  - WQBELs. The WQBELs calculated according to SIP procedures are 390 µg/L average monthly and 990 µg/L maximum daily.  These WQBELs exceed the average monthly limit of 330 µg/L and daily maximum limit of 840 µg/L contained in the previous permit.  To comply with antibacksliding requirements, this Order retains the more stringent zinc limits from the previous permit.

  - Immediate Compliance Feasible.  The Discharger has not requested a compliance schedule for zinc.  Board staff conducted a statistical analysis of the Discharger’s self-monitoring effluent data from June 2000 through July 2003 (see Attachment 4 of the attached Fact Sheet), and based upon this analysis, the Board determines it is feasible for the Discharger to achieve immediate compliance.  Therefore, final WQBELs will be effective in this Order.

- Cyanide

  - RPA Results. This Order establishes effluent limitations for cyanide because the 50 µg/L MEC exceeds the governing WQC of 1 µg/L.  The governing WQC is based on the NTR’s salt water Criterion Chronic Concentration (CCC) of 1 µg/L.

  - WQBELs. The WQBELs calculated according to SIP procedures are 3.2 µg/L average monthly and 6.4 µg/L maximum daily.

  - Immediate Compliance Infeasible.  The Discharger Feasibility Study requests an interim limit with a compliance schedule, because it determined it cannot immediately comply with the WQBELs.  The Board staff’s statistical analysis of effluent data from June 2000 through July 2003 (See Attachment 4 of the attached Fact Sheet) concurs there is a high likelihood the Discharger will not be able to immediately comply with the WQBELs.  Because the measures proposed in the Discharger Feasibility Study statisfy the requirements in Section 2.1 of the SIP, the Board will provide the Discharger with an interim limit and compliance schedule.

  - Interim Limits.  Because the previous permit does not include a prior limit for cyanide, the interim limit is set to an IPBL.  Consistent with past practices, the Board staff specifies the IPBL as the 99.87th percentile value of the Discharger’s recent effluent data.  Therefore, the interim limit for cyanide is set at 265 µg/L.

  - Compliance Schedule Requirements.  In the Final Feasibility Study, the Discharger has proposed additional pollution prevention and source control measures to reduce cyanide concentration levels in the discharge.

  - Term of Interim Effluent Limitation.  The cyanide IPBL shall remain in effect until June 30, 2009.   However, during the next permit reissuance, or based on additional data or SSOs, the Board may re-evaluate the copper IPBL and compliance deadline.

- 4,4’-DDE and Dieldrin

  - RPA Results. This Order establishes limitations for 4,4’-DDE and dieldrin because the ambient background concentrations (0.00092 µg/L and 0.00038 µg/L, respectively) exceed the governing WQC of 0.00059 µg/L and 0.00014 µg/L, respectively.  The governing WQC are based on the CTR’s WQC of 0.00059 µg/L and 0.00014 µg/L, respectively, for the protection of human health. The criteria are well below the MLs of 0.05 µg/L and 0.01 µg/L identified in Appendix 4 of the SIP.

  - WQBELs. The 4,4’-DDE and dieldrin WQBELs calculated according to SIP procedures are 0.00059 µg/L average monthly and 0.00118 µg/L maximum daily for 4,4’-DDE, and 0.00014 µg/L average monthly and 0.00028 µg/L maximum daily for dieldrin.

  - Immediate Compliance Infeasible.   The Discharger Feasibility Study requests  interim limits with compliance schedules, because it determined it cannot immediately comply with the WQBELs.  Because all 4,4’-DDE and dieldrin effluent measurements are non-detects and the detection limits are above the WQBELs, the Board cannot determine whether it is feasibile for the Discharger to immediately comply with the WQBELs.  Therefore, the Board agrees with the conclusion of infeasibility.  Because the measures proposed in the Discharger Feasibility Study statisfy the requirements in Section 2.1 of the SIP, the Board will provide the Discharger with an interim limit and compliance schedule.

  - Interim Limits.  Because the previous permit does not include a limitation for 4,4’-DDE or for dieldrin, the interim limit must be set to the IPBL.  Because the monitoring data consisted of all non-detect values, the Board cannot determine an IPBL with a meaningful statistical analysis, but must base it at levels which the Discharger can demonstrate compliance.  In accordance with compliance determination rules specified in Section 2.4.5 of the SIP, the interim limitations are therefore set at the MLs listed in Appendix 4 of the SIP as follows: 4,4’-DDE is 0.05 µg/L, and dieldrin is 0.01 µg/L.

  - Compliance Schedule Requirements.  In the Final Feasibility Study, the Discharger has proposed additional pollution prevention and source control measures to reduce copper concentration levels in the discharge.

  - Term of Interim Effluent Limitation. The cyanide IPBL shall remain in effect until June 30, 2009.   However, during the next permit reissuance, or based on additional data or TMDLs, the Board may re-evaluate the copper IPBL and compliance deadline.

- Dioxins and Furans (Dioxin TEQ)

  - RPA Results. This Order establishes limitations for 2,3,7,8 TCDD TEQ because 2,3,7,8 TCDD TEQ levels in the receiving water exceed the Basin Plan’s narrative bioaccumulative objective translated from the WQC of 0.014 pg/L for 2,3,7,8 TCDD TEQ.

  - WQBELs. The dioxin and furans WQBELs calculated using SIP procedures are 0.014 pg/L  average monthly and 0.028 pg/L maximum daily.

  - Immediate Compliance Infeasible.  The Discharger Feasibility Study requests  interim limits with compliance schedules, because it determined it cannot immediately comply with the WQBELs.  Because all dioxin and furan effluent measurements are non-detects and the detection limits are above the WQBELs, the Board cannot determine whether it is feasibile for the Discharger to immediately comply with the WQBELs.  Therefore, the Board agrees with the conclusion of infeasibility.

  - Interim Limit.  At this time an interim limit cannot be determined for dioxin TEQ since neither a previous permit limit exists, nor is there enough information to determine  an interim limit based on current treatment facility performance.  Because the monitoring data consists of all non-detect values, the Board cannot determine an IPBL with a meaningful statistical analysis.  Nor can the IPBEL be based at levels which the Discharger can demonstrate compliance, since the SIP does not provide ML’s for Dioxin TEQ.  If a ML is agreed upon by the Board and the Discharger, and in consultation with the State Water Resource Control Board’s Quality Assuarance Program, as specified in Section 2.4.3 of the SIP, or if additional data enables Board staff to establish performance-based limits, this Order shall be reopened to include interim limits for dioxin TEQ.

### Whole Effluent Acute Toxicity

- This Order includes effluent limitations for whole-effluent acute toxicity.  They are based on the Basin Plan’s narrative objective for toxicity, requiring that all waters shall be maintained free of toxic substances in concentrations that are lethal to or produce other detrimental response on aquatic organisms.  The three-sample median and single value limitations specified in this Order are consistent with the previous Order and are based on the Basin Plan (Table 4-4, pg. 4–70).  Compliance evaluation is based on 96-hour static bioassays, using the latest EPA protocols specified in 40 CFR 136.

- The previous Order specified acute toxicity testing requirements and limitations, which required testing of two species, stickleback and fathead minnow.  During the period 1998 through 2003, the Discharger has not violated its single sample survival limitation of at least 70 percent, nor its three-sample median survival limitation of at least 90 percent.  The previous Order included a limit, with quarterly testing required.  Because the discharge has demonstrated a low risk for acute toxicity, the testing frequency in this Order is reduced to once a year, as allowed by the Basin Plan.  Since the stickleback test cannot be performed using the latest EPA protocols (4th and 5th Edition methods), this Order requires the use of the rainbow trout instead of the stickleback.  As provided in the Basin Plan and as allowed in this Order, the Executive Officer may consider allowing compliance monitoring with only one fish species, either fathead minnow or rainbow trout, if the Discharger runs concurrent tests, which may be conducted as static renewal tests, to determine the most sensitive species.

- Some dischargers have identified several practical and technical issues that need to be resolved before implementing the 5th Edition.  The primary unresolved issue is the use of younger, possibly more sensitive fish, which may necessitate a reevaluation of permit limits.  SWRCB staff recommended to the Boards that new or renewed permit holders be allowed a time period in which laboratories can become proficient in conducting the new tests.  Because this Order reduces the frequency of bioassays from quarterly to annual, the Discharger should have adequate time before the first bioassay after this NPDES permit is reissued, to implement the new test method.

Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy

- SIP- Required Priority Pollutant Monitoring.  The SIP states that each Board shall require major and minor POTWs and industrial dischargers in its region to conduct effluent monitoring for the priority pollutants and 2,3,7,8-TCDD congeners whether or not an effluent limitation is required.

- On August 6, 2001, the Board sent a letter (hereinafter referred to as the Board’s August 6, 2001 Letter) to all permitted dischargers pursuant to Section 13267 of the California Water Code requiring submittal of effluent and receiving water data on priority pollutants and other toxic pollutants.  This formal request for technical information addresses the insufficient effluent and ambient background data.

- Pursuant to the Board’s August 6, 2001 Letter from Board Staff, the Discharger submitted workplans and sampling results for characterizing the levels of selected constituents in the effluent and ambient receiving water.  The Discharger submitted the sampling results to the Board on May 13, 2003, as an interim report.

- Monitoring Requirements (Self-Monitoring Program).  The Self-Monitoring Program (SMP) includes monitoring at the outfall for conventional, non-conventional, and toxic pollutants, and acute toxicity.  This Order requires monitoring once every two months for lead and zinc to demonstrate compliance with final effluent limitations.  This Order also requires monitoring once every two months for copper, nickel, selenium, and cyanide to demonstrate compliance with interim effluent limitations.  Furthermore, this Order requires monitoring once every five years for dieldrin, and 4,4’-DDE, to determine compliance with interim effluent limitations, and once every five years for dioxins and furans.  The required monitoring frequency for these organic pollutants is lower than for the metals, since unlike for the metals, their effluent concentration measurements have never exceeded the WQC’s.  As discussed in the Whole Effluent Acute Toxicity finding above, this Order decreases the testing frequency for acute toxicity from quarterly to annual, since the Discharger has never had a violation, and there is a low potential for the discharge to exhibit toxicity based on its flow and complexity.  This Order retains the prior permit’s testing frequency for TSS, and Oil and Grease to monthly.  This Order retains the prior permit’s testing frequency for pH and temperature to daily.  In lieu of near field discharge specific ambient monitoring, it is acceptable for the Discharger to participate in collaborative receiving water monitoring with other dischargers under the RMP.

### Optional Studies

- Optional Mass Offset. This Order contains requirements to prevent further degradation of the impaired waterbody.  Such requirements include the adoption of interim mass limitations that are based on treatment plant performance, provisions for aggressive source control, feasibility studies for additional wastewater reclamation uses, and treatment plant optimization.  After implementing these efforts, the Discharger may find that further net reductions of the total mass loadings of the 303(d)-listed pollutants to the receiving water can only be achieved through a mass offset program.  This Order includes an optional provision for a mass offset program.

- Copper and Nickel Translator Studies.  The Basin Plan does not establish saltwater WQOs for copper.  Therefore, the CTR WQC for copper, 3.1 g/L dissolved, is the applicable standard. Since NPDES permit limitations must be expressed as a total recoverable metal value, a translator is required to convert the dissolved objective into a total recoverable objective.  Per Appendix 3 of the SIP, the default translator used in this permit is 0.83, which converts the 3.1 g/L dissolved criterion to 3.7 g/L total criterion. A provision for an optional copper translator study is included in this permit to encourage the Discharger to develop a local translator value for copper in place of the default translator value of 0.83 established in the SIP.  Based on a similar rationale, a provision for an optional nickel translator study is included in this permit to encourage the Discharger to develop a local translator value for nickel.

### Other Discharge Characteristics and Permit Conditions

#### Removal of Best Management Practices (BMP) Program

- This Order does not require the Discharger to maintain a BMP program, as required in the prior Order.  Based on 40 CFR 125 Subpart K, the Board may consider on a case-by-case basis whether a BMP program is required.  In accordance with considerations listed in 40 CFR 125.103, A BMP program is not required because the Discharger has no history of spills or leaks, and the Storm Water Pollution Prevention Plan (Provision 10 of this Order) contains similar best management practices which sufficiently minimize the threat of spills to the Carquinez Strait.  If the Discharger experiences problems with handling and storing any toxic materials, the Board may reinstate the requirement for a BMP program during the term of this Order, or during the next reissuance.

#### NPDES Permit and CEQA

- This Order serves as an NPDES Permit, adoption of which is exempt from the provisions of Chapter 3 (commencing with Section 21100) of Division 13 of the Public Resources Code (California Environmental Quality Act - CEQA) pursuant to Section 13389 of the California Water Code.

#### Notification

- The Discharger and interested agencies and persons have been notified of the Board's intent to reissue requirements for the existing discharge and have been provided an opportunity to submit their written views and recommendations. Board staff prepared a Response to Comments, which are hereby incorporated by reference as part of this Order.

#### Public Hearing

- The Board, in a public meeting, heard and considered all comments pertaining to the discharge.

IT IS HEREBY ORDERED, pursuant to the provisions of Division 7 of the California Water Code, regulations, and plans and policies adopted thereunder, and to the provisions of the Clean Water Act and regulations and guidelines adopted thereunder, that Crockett Cogeneration, LLP (the Discharger) shall comply with the following:

# A. DISCHARGE PROHIBITIONS

- Discharge of treated wastewater at a location or in a manner different from that described in this Order is prohibited.

- Discharge of Waste 001 at any point where it does not receive an initial dilution of at least 10:1 is prohibited.

- The discharge of polychlorinated biphenyl compounds such as those commonly used for transformer fluid is prohibited.

- The average monthly discharge of Waste 001 shall not exceed a flow limitation of 500,400 gallons per day.

# B. EFFLUENT LIMITATIONS

Compliance with the following Waste 001 effluent limitations shall be determined by samples collected at Station E-001, as defined in Part B of the Self-Monitoring Program.

## Conventional Pollutants

- Waste 001 shall not exceed the following limitations:

- Effluent Limitations for Conventional Constituents

| Constituent | Units | Monthly Average | Daily Maximum |
| --- | --- | --- | --- |
| i. Total Suspended Solids (TSS) | mg/L | 30 | 45 |
| ii. Oil & Grease | mg/L | 10 | 20 |

- pH: The pH of Waste 001 shall not exceed 9.0 nor be less than 6.0

If the Discharger monitors pH continuously, the Discharger shall be in compliance with the pH limitation provided that both of the following conditions are satisfied: (i) The total time during which the pH values are outside the required range of pH values shall not exceed 7 hours and 26 minutes in any calendar month; and (ii) No individual excursion from the range of pH values shall exceed 60 minutes.

- The maximum temperature of Waste 001 shall not exceed the natural receiving water temperature by more than 20 degrees Fahrenheit.

## Toxic Pollutants

### Whole Effluent Acute Toxicity

- Whole Effluent Acute Toxicity:  Representative samples of Waste 001 shall meet the following limits for acute toxicity.  Compliance with these limits shall be achieved in accordance with Provision D.4 of this Order:

  - The survival of bioassay test organisms in 96-hour bioassays of undiluted effluent shall be be:
(1) A three-sample median value of not less than 90 percent survival; and
(2) A single value of not less than 70 percent survival.

  - These acute toxicity limits are further defined as follows:
(1) 3-sample median limit:  Any bioassay test showing survival of 90 percent or greater is not a violation of this limit.  A bioassay test showing survival of less than 90 percent represents a violation of this effluent limit, if one of the past two or fewer bioassay tests also show less than 90 percent survival.
(2)  1-sample limit:  A bioassay test showing survival of less than 70 percent represents a violation of this effluent limit.

### Toxic Substances

- Waste 001 shall not exceed the following limitations:

- Toxic Substances

| Constituent |  |  | Units |  | Maximum Daily |  | Average Monthly |  | Interim Daily Maximum |  | Interim Monthly Average |  | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CTR No. | Name |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Copper | µg/l |  |  |  |  |  | 252 |  |  |  | (1)(2) |  |
| 7 | Lead | µg/l |  | 40 |  | 80 |  |  |  |  |  | (1) |  |
| 9 | Nickel | µg/l |  |  |  |  |  | 367 |  |  |  | (1)(3) |  |
| 10 | Selenium | µg/l |  |  |  |  |  | 51 |  |  |  | (1)(4) |  |
| 13 | Zinc | µg/l |  | 840 |  | 330 |  |  |  |  |  | (1) |  |
| 14 | Cyanide | µg/l |  |  |  |  |  | 265 |  |  |  | (1)(5) |  |
| 109 | 4,4’-DDE | µg/l |  |  |  |  |  | 0.05 |  |  |  | (1)(6) |  |
| 111 | Dieldrin | µg/l |  |  |  |  |  | 0.01 |  |  |  | (1)(6) |  |

Footnotes to Table 4:

(1.)	a.	All analyses shall be performed using current U.S. EPA methods, or equivalent methods approved in writing by the Executive Officer. The Board will find the Discharger in violation of the limitation if the discharge concentration exceeds the effluent limitation and the reported ML for the analysis for that constituent as specified in the Self-Monitoring Program.

b.	Limitations apply to the average concentration of all samples collected during the averaging period (Daily = 24-hour period; Monthly = calendar month).

- (2.)	Copper:  The interim limitation for copper shall remain in effect until June 30, 2009, or until the Board amends the limitation based on SSOs for copper.  However, during the next permit revision, the Board may re-evaluate the interim limitation and compliance schedule.

- Nickel:  The interim limitation for nickel shall remain in effect until March 31, 2010, or until the Board amends the limitation based on SSOs for nickel. However, during the next permit reissuance, the Board may reevaluate the interim nickel limitation and compliance schedule.

- Selenium:  The interim limitation for selenium shall remain in effect until June 30, 2009 or until the Board amends the limitation based on the WLA in the TMDL.  However, during the next permit revision, or based on additional data, the Board may re-evaluate the interim limitations and compliance schedules

- (5.)	Cyanide:  Compliance may be demonstrated by measurement of weak acid dissociable cyanide.  The interim limitation shall remain in effect until June 30, 2009, or until the Board amends the limitation based on SSOs for cyanide.  However, during the next permit revision, the Board may re-evaluate the interim limitation and compliance schedule.

- (6.)	Dieldrin, and 4,4’-DDE: The interim limitation for dieldrin and 4,4’-DDE shall remain in effect until June 30, 2009, or until the Board amends the limitation based on the WLA in the TMDLs.  However, during the next permit revision, or based on additional data, the Board may re-evaluate the interim limitations and compliance schedules.

# C. RECEIVING WATER LIMITATIONS

1.	The discharge of waste shall not cause the following conditions to exist in waters of the State at any place:

a.	Floating, suspended, or deposited macroscopic particulate matter or foam;

b.	Bottom deposits or aquatic growths to the extent that such deposits or growths cause nuisance or adversely affect beneficial uses;

c.	Alteration of temperature, turbidity, or apparent color beyond present natural background levels;

d.	Visible, floating, suspended, or deposited oil or other products of petroleum origin; and

e.	Toxic or other deleterious substances to be present in concentrations or quantities which will cause deleterious effects on wildlife, waterfowl, or other aquatic biota, or which render any of these unfit for human consumption, either at levels created in the receiving waters or as a result of biological concentration.

2.	The discharge of waste shall not cause the following limitations to be exceeded in waters of the State at any one place within 1 foot of the water surface:

a.	Dissolved Oxygen:	7.0 mg/L, minimum

The median dissolved oxygen concentration for any three consecutive months shall not be less than 80% of the dissolved oxygen content at saturation. When natural factors cause concentrations less than that specified above, then the discharge shall not cause further reduction in ambient dissolved oxygen concentrations.

b.	Dissolved Sulfide:		0.1 mg/L, maximum

c.	pH:						Variation from normal ambient pH by more than 0.5 pH units.

d.	Un-ionized Ammonia:	0.025 mg/L as N, annual median; and 0.16 mg/L as N, maximum.

e.	Nutrients:	Waters shall not contain biostimulatory substances in concentrations that promote aquatic growths to the extent that such growths cause nuisance or adversely affect beneficial uses.

- Elevated temperature waste discharges either individually or combined with other discharges shall not create a zone, defined by water temperature of more than 1°F above natural receiving water temperature, which exceeds 25 percent of the cross-sectional area of Carquinez Straits at any point.

- No discharge shall cause a surface water temperature rise greater than 4°F above the natural temperature of the receiving waters at any time or place.

- The discharge shall not cause a violation of any particular water quality standard for receiving waters adopted by the Board or the State Board as required by the Clean Water Act and regulations adopted thereunder. If more stringent applicable water quality standards are promulgated or approved pursuant to Section 303 of the Clean Water Act, or amendments thereto, the Board will revise and modify this Order in accordance with such more stringent standards.

# D. PROVISIONS

## Permit Compliance and Rescission of Previous Waste Discharge Requirements

- The Discharger shall comply with all sections of this Order beginning on the effective date of this permit.  Requirements prescribed by this Order supersede the requirements prescribed by Order No. 98-100. Order No. 98-100 is hereby rescinded upon the effective date of this Order.

## Special Studies

### Effluent Characterization for Selected Constituents

- Within one year prior to the expiration date of this permit, the Discharger shall measure once and evaluate the constituents listed in Enclosure A of the Board’s August 6, 2001 Letter, for Waste 001.  Compliance with this requirement shall be achieved in accordance with the specifications stated in the Board’s August 6, 2001 Letter under Effluent Monitoring for minor Dischargers.  A final report that presents all the data shall be submitted to the Board no later that 180 days prior to the permit expiration date (the same schedule is also specified in Board’s August 6, 2001 Letter).  This final report shall be submitted with the application for permit reissuance.

### Ambient Background Receiving Water Study

- The Discharger shall participate in collecting background ambient receiving water data with other Dischargers by formally joining the RMP by no later than May 1, 2005.  This information is required to perform RPAs and to calculate effluent limitations, and to demonstrate the Discharger’s support for the TMDL programs which will provide it future waste load allocations for some WQBELs it currently cannot feasibly comply with.  The data on the conventional water quality parameters (pH, salinity, and hardness) shall also be sufficient to characterize these parameters in the ambient receiving water at a point after the discharge has mixed with the receiving waters.

## Whole Effluent Acute Toxicity Requirements

- Compliance with acute toxicity requirements of this Order shall be achieved in accordance with the following:

  - Compliance with the acute toxicity effluent limitations of this Order shall be evaluated by measuring survival of test organisms exposed to 96-hour continuous flow-through bioassays, or static renewal bioassays.

  - Test organisms shall be fathead minnows and rainbow trout unless specified otherwise in writing by the Executive Officer.

  - All bioassays shall be performed according to the most up-to-date protocols in 40 CFR Part 136, currently in “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water to Freshwater and Marine Organisms,”5th Edition, with exceptions if granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP).

## Compliance Schedule Requirements

- For copper, nickel, selenium, cyanide, 4,4’-DDE, Dieldrin, and DioxinTEQ, the Discharger shall implement the appropriate compliance schedule studies proposed in their Discharger Feasibility Study (February 3, 2004), and report their findings in their Annual Reports, as required in Section F.5 of the Self-Monitoring Program, Part A.

## Optional Studies

### Mass Offset

- The Discharger may submit to the Board for approval a mass offset plan to reduce 303(d)-listed pollutants to the same watershed or drainage basin. The Board may modify this Order to allow an approved mass offset program.

### Copper and Nickel Translator Study and Schedule

- In order to develop information that may be used to establish water-quality-based effluent limitations based on dissolved criteria for copper and nickel, the Discharger may conduct a translator study.  If the Discharger chooses to proceed with the study, which may be conducted in cooperation with other Dischargers, the work shall be performed in accordance with the following tasks:

  - Copper and Nickel Translator Study Plan. If submitted, the study plan shall be acceptable to the Executive Officer and shall outline data collection for establishment of copper and nickel translators, as discussed in the findings.

  - After Executive Officer approval, the study plan may be implemented. If submitted, the study plan shall provide for development of translators in accordance with the State Board’s SIP, U.S. EPA guidelines, California Department of Fish and Game approval, and any relevant portions of the Basin Plan, as amended.

  - Copper and Nickel Translator Final Report: If the Discharger conducts a translator study, it will use field sampling data approximate to the discharge point and in the vicinity of the discharge point, or as otherwise provided for in the approved workplan, and will submit a final report, acceptable to the Executive Officer, documenting the results of the copper and nickel translator study.

## Facilities Status Reports and Permit Administration

- Operations and Maintenance Manual, Review and Status Reports

  - The Discharger shall maintain an Operations and Maintenance Manual (O & M Manual) as described in the findings of this Order for the Discharger's wastewater facilities. The O & M Manual shall be maintained in useable condition, and available for reference and use by all applicable personnel.

  - The Discharger shall regularly review, and revise or update as necessary, the O & M Manual(s) in order for the document(s) to remain useful and relevant to current equipment and operation practices. Reviews shall be conducted annually, and revisions or updates shall be completed as necessary. For any significant changes in treatment facility equipment or operation practices, applicable revisions shall be completed within 90 days of completion of such changes.

  - Annually, the Discharger shall submit to the Board a report describing the current status of its O & M Manual review and updating. This report shall include an estimated time schedule for completion of any revisions determined necessary, a description of any completed revisions, or a statement that no revisions are needed and the last year it updated its O&M Manual. This report shall be submitted in accordance with the Annual Status Report Provision below.

- Contingency Plan, Review and Status Reports

  - The Discharger shall maintain a Contingency Plan as required by Board Resolution 74-10 (available online - see Standard Language And Other References Available Online, below), and as prudent in accordance with current municipal facility emergency planning. The discharge of pollutants in violation of this Order where the Discharger has failed to develop and/or adequately implement a contingency plan will be the basis for considering such discharge a willful and negligent violation of this Order pursuant to Section 13387 of the California Water Code.

  - The Discharger shall regularly review, and update as necessary, the Contingency Plan in order for the plan to remain useful and relevant to current equipment and operation practices. Reviews shall be conducted annually, and updates shall be completed as necessary.

  - Annually, the Discharger shall submit to the Board a report describing the current status of its Contingency Plan review and update. This report shall include a description or copy of any completed revisions, or a statement that no changes are needed and the last year it updated its plan. This report shall be submitted in accordance with the Annual Status Report Provision below.

- Storm Water Pollution Prevention Plan (SWPPP).

  - The Dischargers shall maintain a Storm Water Pollution Prevention Plan (SWPPP), which complies with the requirements contained in the attached Standard Provisions.

  - The Discharger shall regularly review, and update as necessary, the SWPPP, in order for the plan to remain useful and relevant

  - Annually, the Discharger shall submit to the Board a report describing the current status of its SWPPP review and update. This report shall include a description or copy of any completed revisions, or a statement that no changes are needed and the last year it updated its SWPPP.  This report shall be submitted in accordance with the Annual Status Report Provision below.

- Annual Status Reports

The annual reports identified in Provisions 8c, 9c, and 10c above, shall be submitted to the Board by June 30 of each year. Modification of report submittal dates may be authorized, in writing, by the Executive Officer.

## Self-Monitoring Program

- The Discharger shall comply with the Self-Monitoring Program (SMP) for this Order as adopted by the Board. The SMPs may be amended by the Executive Officer pursuant to U.S. EPA regulation 40 CFR122.62, 122.63, and 124.5.

## Standard Provisions and Reporting Requirements

- The Discharger shall comply with all applicable items of the attached Standard Provisions and Reporting Requirements for NPDES Surface Water Discharge Permits, August 1993 (the Standard Provisions), or any amendments thereafter. Where provisions or reporting requirements specified in this Order are different from equivalent or related provisions or reporting requirements given in the Standard Provisions, the specifications of this Order shall apply.

## Change in Control or Ownership

- In the event of any change in control or ownership of land or waste discharge facilities presently owned or controlled by the Discharger, the Discharger shall notify the succeeding owner or operator of the existence of this Order by letter, a copy of which shall be immediately forwarded to the Board.

- To assume responsibility for and operations under this Order, the succeeding owner or operator must apply in writing to the Executive Officer requesting transfer of the Order (see Standard Provisions & Reporting Requirements, August 1993, Section E.4.). Failure to submit the request shall be considered a discharge without requirements, a violation of the California Water Code.

## Permit Reopener

- The Board may modify or reopen this Order and Permit prior to its expiration date in any of the following circumstances:

  - If present or future investigations demonstrate that the discharge(s) governed by this Order and Permit will, or cease to have, a Reasonable Potential to cause or contribute to adverse impacts on water quality and/or beneficial uses of the receiving waters;

  - New or revised WQOs come into effect for the San Francisco Bay estuary and contiguous water bodies (whether statewide, regional, or site-specific).  In such cases, effluent limitations in this permit will be modified as necessary to reflect updated WQOs.  Adoption of effluent limitations contained in this Order and Permit is not intended to restrict in any way future modifications based on legally adopted WQOs or as otherwise permitted under Federal regulations governing NPDES permit modifications;

  - If translator or other water quality studies provide a basis for determining that a permit condition(s) should be modified;

  - An administrative or judicial decision on a separate NPDES permit or WDR that address requirements similar to this discharge; and

  - As authorized by law.  

The Discharger may request permit modification based on b, c, d, and e, above.  The Discharger shall include in any such request an antidegradation and antibacksliding analysis.

## NPDES Permit

- This Order shall serve as a National Pollutant Discharge Elimination System (NPDES) permit pursuant to Section 402 of the Clean Water Act or amendments thereto, and shall become effective on July 1, 2004, provided the U.S. EPA Regional Administrator has no objection. If the Regional Administrator objects to its issuance, the permit shall not become effective until such objection is withdrawn.

## Order Expiration and Reapplication

- This Order expires May 30, 2009.

- In accordance with Title 23, Chapter 3, Subchapter 9 of the California Administrative Code, the Discharger must file a report of waste discharge no later than 180 days before the expiration date of this Order as application for reissue of this permit and waste discharge requirements.  The application shall be accompanied by a summary of all available water quality data including conventional pollutant data from no less than the most recent three years, and of toxic pollutant data no less than from the most recent five years, in the discharge and receiving water.  (See Provisions D.2 and D.3)

I, Bruce H. Wolfe, Executive Officer, do hereby certify that the foregoing is a full, true, and correct copy of an order adopted by the California Regional Water Quality Control Board, San Francisco Bay Region, on April 21, 2004.

____________________________

Bruce H. Wolfe,

Executive Officer

## Attachments

A.	Discharge Facility Location Map

B.	Discharge Facility Treatment Process Diagram

C.	Self-Monitoring Program (SMP), Part B

- The following documents are part of this Permit, but are not physically attached due their large volume. They are available on the internet at www.swrcb.ca.gov/rwqcb2/Download.htm:

- SMP, Part A (August 1993)

- Standard Provisions and Reporting Requirements (August 1993)

- Resolution 74-10

- August 6, 2001 Letter

- Fact Sheet

Attachment A.

Discharge Facility Location Map

Attachment B.

Discharge Facility Treatment Process Diagram

Attachment C.

Self-Monitoring Program, Part B

Attachment D.

Documents Available On-line:

          - Self-Monitoring Program, Part A

          - Standard Provisions and Reporting Requirements

          - Resolution No. 74-10

          - Staff Report

          - August 6, 2001 Letter

Attachment E.

Fact Sheet

The 1998 World Health Organization scheme includes TEFs for dioxin-like PCBs. Since dioxin-like PCBs are already included within “Total PCBs”, for which the CTR has established a specific standard, dioxin-like PCBs are not included in this Order’s version of the TEF scheme.