CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

# TENTATIVE ORDER

AMENDMENT OF WASTE DISCHARGE REQUIREMENTS

ORDER NO. 01-040

KELLER CANYON LANDFILL COMPANY

CLASS II SOLID WASTE DISPOSAL SITE

PITTSBURG, CONTRA COSTA COUNTY

The California Regional Water Quality Control Board, San Francisco Bay Region, hereafter called the Board, finds:

- Keller Canyon Landfill Company, hereafter called the Discharger, owns and operates a 2,628-acre site containing a Class II solid waste management unit, with a permitted waste disposal area of 244 acres.  The landfill is located immediately south of the City of Pittsburg, in Contra Costa County.

- The discharger has requested that Waste Discharge Requirements contained in Order No. 01-04 be amended to allow for an alternative design for the liner in the proposed 3.6-acre Phase 3A2 unit.  This proposed design meets the Title 27 requirements for an engineered alternative.

- This amendment is exempt from the provisions of the California Environmental Quality Act (CEQA) pursuant to Section 15308, Title 14 of the California Code of Regulations.

- The Board, in a public hearing, heard and considered all comments pertaining to this amendment of waste discharge requirements.

IT IS HEREBY ORDERED THAT:

Specification B.13. of Waste Discharge Requirements contained in Order No. 01-040 is amended to read as follows:

The minimum criteria for the landfill liner shall include, but not be limited to:  a one foot thick granular underdrain, overlain by two feet of low permeability clay (with a hydraulic conductivity not more than 1 X 10 –7 cm/sec), overlain by an 80-“mil” thick HDPE liner, overlain by a cushion geotextile, overlain by a one-foot thick dendritic LCRS designed and operated to prevent the development of hydraulic head on the liner, overlain by a filter geotextile, and lastly overlain by a one-foot thick operations layer.  However, upon approval by the Executive Officer, the one-foot thick granular blanket underdrain may be deleted in those areas where such an underdrain is not necessary as an engineered alternative, pursuant to Title 27, Section 20080(b), to the prescribed 5-foot separation between wastes and groundwater required by Title 27, Section 20240(c).  Also, upon approval by the Executive Officer, a synthetic drainage layer may be substituted as an engineered alternative to the one-thick dendritic LCRS.

I, Bruce H. Wolfe, Executive Officer, do hereby certify that the foregoing is a full, complete, and correct copy of an Order adopted by the California Regional Water Quality Control Board, San Francisco Bay Region, on

_________________________________

Bruce H. Wolfe

Executive Officer

Attachment:  Minimum criteria for liner construction