STATE OF CALIFORNIA

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

STAFF SUMMARY REPORT (Linda Rao)

MEETING DATE: JULY 16, 2003

ITEM:			10

SUBJECT:	City of Palo Alto, Regional Water Pollution Control Plant, Santa Clara County- Hearing to Receive Testimony on Reissuance of NPDES Permit

CHRONOLOGY:		May and June 2003 – NPDES Permit Reissuance Status Report to the Board

June 1998 – Permits Reissued

June 1993 – Permits Reissued

DISCUSSION:

The Discharger owns and operates the Palo Alto Regional Water Quality Control Plant, which provides tertiary treatment of wastewater from domestic, commercial and industrial sources from the cities of Los Altos, Los Altos Hills, Palo Alto, and Mountain View, the service area of the East Palo Alto Sanitary District, and the unincorporated area of the Stanford University Campus. The Discharger’s service area has a present population of about 220,000. Board staff released the Tentative Order for public comment in early July with the comment period ending in early August. Board staff plans to bring the Tentative Order for the Board’s consideration at the August Board meeting.

#### Process and Schedule

Staff began negotiating the three South Bay permits through the WMI stakeholder process more than a year ago through participation in over 25 meetings, two administrative drafts of NPDES permits for WMI review and additional meetings regarding discharger specific issues and complex technical topics.

Significant differences between the 1998 Permit and the 2003 Permit (Tentative Order) are listed in Table A. Major issues that have been resolved include the following:

Mercury Mass Limits:

The new proposal to address interim mass limits include a mercury interim mass limit effective only during the dry weather, aggressive pollution prevention efforts, and implementation of a watershed-based mercury study.

Copper and Nickel Limits:

At present, Dischargers have agreed to the inclusion of effluent limits in the permits under the condition that with new information, the Board will reevaluate the need for effluent limits for copper and nickel.

RECOMMEN

DATION:  		Consider Testimony for August Adoption

File Nos. 2189.8011 (LR)

Appendices:  Tentative Order

Table A.:

Major Differences Between the 1998 Permit and the 2003 Permit (Tentative Order).

Table A:  Major Differences Between the 1998 Permit and the 2003 Permit (Tentative Order).

|  | ## 1998 Permit | 2003 Permit (Tentative Order) |
| --- | --- | --- |
| # Discharge Classification | Salt Water | Estuarine |
| Applicable Regulations and Policies | 1995 Basin Plan, WQ Order 90-5 Federal Regulations | 1995 Basin Plan WQ Order 90-5 SIP, Federal Regulations |
| Effluent Limitations (concentration) | Six (6) Pollutants: Copper, Cyanide, Mercury, Nickel, Selenium, Tributyltin | Ten (10) Pollutants Copper, Mercury, Nickel, Cyanide, Dibromochlormethane, 4-4’-DDE, Dieldrin, Hepatachlor Epoxide, Benzo(b)Fluoranthene, Indeno(1,2,3-cd)Pyrene |
| Effluent Goals (concentration) | Sixteen (16) Pollutants: Aldrin, DDT, Deildrin, Endrin, Heptachlor, PCBs, etc. | Zero (0) Pollutants |
| Effluent Limitations Mass | Thirteen (13) Pollutants: Arsenic, Cadmium, Copper, Lead, Nickel, Selenium, Silver, Zinc, etc. | One (1) Pollutant: Mercury |
| Effluent Limitations (Mercury mass limit) | 0.916 kg/month | 0.041 kg/month |
| Site –Specific Translators | None were used | Site-Specific translators were used for Copper, Nickel |
| Bacteria Limitations | Total Choliform | Enteroccus |