CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2 2003-

NPDES PERMIT NO. CA0037621

WASTE DISCHARGE REQUIREMENTS FOR:

CITY OF SUNNYVALE

SUNNYVALE WATER POLLUTION CONTROL PLANT

SANTA CLARA COUNTY

TABLE OF CONTENTS

Findings	1

Facility Description	1

Collection System Description	2

Effluent Discharge Description	2

Water Conservation/Reclamation Programs	2

Storm water Discharge Description	3

South Bay Dischargers	4

Watershed Management Initiative	4

Copper – Nickel Action Plans	4

Regional Monitoring Program	6

Basin Plan Discharge Prohibitions and Exceptions	7

Applicable Plans, Policies and Regulations	8

Basin Plan	8

Beneficial Uses:	8

California Toxic Rule	9

State Implementation Policy	9

Basis for Effluent Limitations	9

General Basis	9

Specific Basis	15

Development of Effluent Limitations	20

Whole Effluent Acute Toxicity	26

Whole Effluent Chronic Toxicity	26

Bacteria Limitations	27

Ammonia Limitations	27

Pretreatment Program	28

Pollutant Prevention and Pollutant Minimization	28

Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy	28

Clean Bay Strategy/Water Quality Attainment Strategy	29

Other Discharge Characteristics and Permit Conditions	30

A.   DISCHARGE PROHIBITIONS	30

B.   EFFLUENT LIMITATIONS	31

Conventional Pollutants	31

Toxic Pollutants	31

C.   RECEIVING WATER LIMITATIONS	35

D.  BIOSOLIDS/SLUDGE REQUIREMENTS	36

E.  PROVISIONS	36

1.	Permit Compliance and Rescission of Previous Waste Discharger Requirements	36

2.	Avian Botulism Control Program	36

3.	Chlorodibromomethane and Dichlorobromomethane Compliance Schedule	36

4.	Cyanide Compliance Schedule and Cyanide SSO Study	36

5.	Mercury Special Study	37

6.	Pretreatment Program	37

7.	Effluent Characterization for Selected Constituents	38

8.	Pollutant Prevention and Minimization Program (PMP)	39

Toxicity Requirements	40

9.	Acute Toxicity	40

10.	Copper – Nickel Water Quality Attainment Strategy Action Plans	41

11.	Santa Clara Basin Watershed Management Initiative	42

12.	Receiving Water User Survey	43

13.	Dioxin Special Study	43

14.	Optional Mass Offset	43

15.	Operations & Maintenance Manual and Reliability Report Updates	43

16.	Contingency Plan Update	44

17.	Annual Status Reports	44

18.	303(d)-listed Pollutants Site-Specific Objective and TMDL Status Review	44

19.	Self-Monitoring Program	44

20.	Standard Provisions and Reporting Requirements	44

21.	Change in Control or Ownership	44

22.	Permit Reopener	45

23.	NPDES Permit	45

24.	Order Expiration and Reapplication	45

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

TENTATIVE ORDER

NPDES PERMIT NO. CA0037621

REISSUING WASTE DISCHARGE REQUIREMENTS FOR:

CITY OF SUNNYVALE

SUNNYVALE WATER POLLUTION CONTROL PLANT

SUNNYVALE, SANTA CLARA COUNTY

# Findings

The California Regional Water Quality Control Board, San Francisco Bay Region, hereinafter called the Board, finds that:

- Discharger and Permit Application: The Sunnyvale Water Pollution Control Plant, hereinafter called the Discharger, submitted a Report of Waste Discharge for reissuance of waste discharge requirements and of a permit to discharge wastewater to waters of the State and the United States under the National Pollutant Discharge Elimination System (NPDES).

- The Discharge was previously regulated by Waste Discharge Requirements in Order No. 98-053, adopted by the Board on June 17, 1998.  Order No. 98-053 was amended by Order No. 00-109 adopted by the Board on October 18, 2000.  This discharge is into the Moffett Channel, tributary of Guadalupe Slough and South San Francisco Bay.

## Facility Description

- Location:  The Discharger owns and operates the Sunnyvale Water Pollution Control Plant (the Plant), located at 1444 Borregas Avenue, Sunnyvale, California.  A location map is included as Attachment A of this Order.

- Service Area and Population:  The plant provides secondary treatment of wastewater from domestic, commercial, and industrial sources within the City of Sunnyvale, Rancho Rinconada and Moffett Field.  The Discharger’s current service area has a population of approximately 127,000.

- Wastewater Treatment Process:  The wastewater treatment process consists of influent grinding, preaeration/grit removal, primary sedimentation, secondary biological treatment (oxidation ponds), fixed-film reactor nitrification, dissolved air flotation with coagulation, dual media filtration, chlorination, and dechlorination. A treatment process schematic diagram is included as Attachment B of this Order.

- Sludge Treatment Process: Biosolids are generated from four anaerobic digesters, which treat a mixture of primary and secondary solids.  The latter consist of algae “float” removed from the oxidation pond effluent in the air floatation tanks (AFTs).  Digested sludge is conditioned with a polymer and dewatered on gravity drainage tiles to approximately 15%-20% solids, and then solar dried to approximately 50%-70% solids. Biosolids are then reused in accordance with 40 CFR Part 503 regulations.

## Collection System Description

- Description:  The Discharger’s collection system includes approximately 327 miles of sanitary sewer mains and one lift station.  The Discharger has an ongoing program for maintenance and capital improvements for these facilities in order to ensure adequate capacity and reliability of the collection system.  For example, the Discharger is currently designing the replacement of a 4200-foot section of the Borregas main truck line.  The Discharger recently completed an update of the Wastewater Management Sub-Element of the City’s General Plan.

- Inflow and Infiltration:  Wastewater flows resulting from inflow and infiltration (I&I) are estimated to be normally about 5% of the total annual average plant influent flow.  For this reason, the Discharger has no specific program for I&I reduction, but nonetheless achieves I&I control through the normal collection system maintenance and capital improvement activities.  Higher I&I flows can occur under extreme weather conditions that result in regional flooding, such as the flooding that occurred in the vicinity of the Sunnyvale East Flood Control Channel during the 1997/1998 El Nino event.  The Santa Clara Valley Water District has included a number of structural improvements to reduce potential flooding of the East Flood Control Channel in its “Clean Safe Creeks and Natural Flood Protection 15 Year Plan”.

- High Flow Conditions:  The Plant has sufficient capacity for influent pumping, primary treatment, and flow equalization (in the oxidation ponds) to meet any expected maximum flow condition.  The three main influent pumps have a total capacity of 45 mgd, with the auxiliary influent pump station providing additional capacity of 25 mgd.  (The combined pumping capacity exceeds the capacity of the influent sewer).  An emergency gravity flow bypass line exists to route influent flows around the influent pumps/primary plant to the oxidation ponds, but this line has not been utilized since construction of the auxiliary influent pump station in 1984.  The highest recorded daily flow over the past 15 years occurred in February 1998, when daily flow of 39 mgd was measured at the plant influent.  Normal treatment was maintained throughout that month, for which the rainfall total was among the highest on record.

## Effluent Discharge Description

- Discharge Location:  Treated wastewater effluent from the Plant is discharged through Outfall E-001 into Moffett Channel (37 25’ 13” Latitude - 122 1’ 0” Longitude), tributary to Guadalupe Slough and South San Francisco Bay.

- Discharge Volume and Plant Capacity:  The Plant has an average dry weather flow design capacity of 29.5 million gallons per day (MGD), and a peak flow capacity of approximately 40 MGD.  The latter reflects the capacity of the tertiary plant; peak flow capacities of the primary and secondary plants are greater. From 1999-2001, the average dry weather effluent flow (ADWF) was approximately 12.7 million gallons per day (MGD).  This value represents the net plant effluent, excluding recycled water flows.  Recycled water flows over the same period averaged approximately 0.36 MGD or 3 percent of the total flow.

- Discharge Classification:  The U.S. Environmental Protection Agency (USEPA) and the Board have classified this discharge as a major discharge.

## Water Conservation/Reclamation Programs

- Water Reclamation Program.  In 1992, the Discharger initiated design of facilities for the production and distribution of recycled water, and of an administrative program to permit recycled water customers.  The Plant produces disinfected tertiary recycled water for distribution throughout the northern portion of Sunnyvale, where it is used mainly for irrigation purposes.  Production and distribution of recycled water are regulated under separate Water Reclamation Requirements (Order 94-069) dated June 24, 1994, with revised monitoring requirements dated December 28, 1999.  The Plant produces recycled water intermittently, to meet user demand and to fill a 2 million gallon storage tank, which then serves as the source of supply.  Disinfected tertiary recycled water is also available for construction at remote locations through a truck fill facility located at the Plant.  During the highest-use months of 2001, the Program delivered an average of 820,000 gallons per day to over 70 sites. New sites continue to be added within the area served by the distribution system, including several new “campus” sites in the Moffett Park and Lockheed-Martin Plant 1 areas.  The Discharger is also discussing possible joint projects for system expansion with the Santa Clara Valley Water District.  Disinfected secondary recycled water (Plant No. 3 water) is further used at the Plant for landscape irrigation.  The Discharger updated its Master Plan for reclamation in 2000 as required by the previous Order.  The Water Reclamation Requirements (Order 94-069) require submittal of annual reports on reclamation activities, including updating the current and planned future reclamation activities.

During periods of recycled water production, the AFT polymer dose, chlorine dose and chlorine contact time are adjusted to meet Title 22 requirements. The portion of effluent that is diverted to the recycled water pump station is partially dechlorinated by adding sodium bisulfite, while the remaining effluent is fully dechlorinated via the Plant’s normal dechlorination system prior to discharges to the Moffett Channel.  Potable water can be added to the recycled water system through an air gap, as a backup supply during periods of low demand, maintenance, or when Title 22 requirements cannot be met.

- Water Conservation Program: The Discharger’s Water Conservation Program consists of multiple strategies that encourage and require water saving devices to be installed in residential, commercial, industrial and institutional facilities.  The Discharger has estimated the reduction in the amount of water used indoors in these facilities from three of its programs (residential and commercial ultra-low flush toilets, washing machine rebate program and residential surveys) to be approximately 1.02 MGD.  The total reduction in water use resulting from all of the Water Conservation Programs will be assessed after implementation, but is expected to be greater than this amount.

## Storm water Discharge Description

- Regulations: Federal regulations for storm water discharges were promulgated by USEPA on November 19, 1990.  The regulations [40 Code of Federal regulations (CFR) Parts 122, 123, and 124] requires specific categories of industrial activities including Publicly Owned Treatment Works (POTWs) that discharge storm water associated with industrial activity (industrial storm water) to obtain an NPDES permit and to implement Best Available Technology Economically Available (BAT) and Best Conventional Pollutant Control Technology (BCT) to control pollutants in industrial storm water discharges.

- Exemption from Coverage under Statewide Stormwater General Permit: The State Board developed a statewide NPDES permit for storm water discharges associated with industrial activities (NPDES General Permit CAS000001) that was adopted November 19, 1991, amended September 17, 1992, and reissued April 17, 1997. Coverage under the General Permit, however, is not required because all storm water flows are directed to the wastewater treatment plant headworks and are treated along with the wastewater discharged to the plant.  Because all storm water from the facility is treated at the facility, this permit regulates the discharge of storm water from the Plant.

## South Bay Dischargers

- NPDES permits have been issued to each of the three publicly owned treatment works (POTWs) discharging into the South San Francisco Bay, south of the Dumbarton Bridge (South Bay or Lower South Bay), namely the San Jose/Santa Clara Water Pollution Control Plant (CA 0037842), the Palo Alto Regional Water Quality Control Plant (CA 0037834), and the Sunnyvale Water Pollution Control Plant (CA 0037621).  The current NPDES Permits (the “1998 Permits”) for the three South Bay POTWs were adopted by the Board in June 1998.  The phrase “South Bay Dischargers” refers collectively to these three dischargers.

## Watershed Management Initiative

- This Order was developed in cooperation with the Santa Clara Basin Watershed Management Initiative (WMI).  The WMI, in which the Discharger is an active participant, is a stakeholder driven process that commenced in June 1996 as a pilot effort by the Regional Water Quality Control Board.  The WMI seeks to integrate regulatory and watershed programs in the South San Francisco Bay region. This Order was developed through the Regulatory Work Group to coordinate permit reissuance process of the three South Bay POTWs. The Discharger is committed to encouraging stakeholder input with regard to permit requirements and programs.  The Discharger has participated in the Bay Monitoring and Modeling Subgroup of the WMI to develop site-specific objectives (SSOs) for copper and nickel in the South San Francisco Bay. On May 15, 2002, the Board adopted Resolution R2-2002-0061 and on October 17, 2002, the State Board adopted Resolution 2002-0151, which established SSOs for copper and nickel for South San Francisco Bay.

- The Discharger shall participate with the Board staff, other dischargers, representatives of the public and concerned citizens in reviewing and comment upon technical and other proposals developed by the WMI and making technical information in its possession available as appropriate groups to develop its watershed management reports.  The Discharger shall report to the Executive Officer annually describing its efforts in cooperating with the WMI.

## Copper – Nickel Action Plans

- TMDL for Copper and Nickel:  Section 304(l) of the federal Clean Water Act (as amended in 1987) required States to develop lists of water bodies impaired by toxic pollutant discharges, identify point sources and pollutants causing toxic impacts, and develop individual control strategies (ICSs) for each point source identified. Section 303(d) of the Clean Water Act requires States every 2 years to list waterbodies that do not meet or are not expected to meet water quality objectives (WQOs) after existing controls are implemented.  On March 9, 1998, the Board submitted the Section 303(d) List of Impaired Water Bodies and Priorities for Total Maximum Daily Loads (TMDLs) for the San Francisco Bay Region to the State Water Resources Control Board.  The list included a high priority ranking for copper and nickel in the South Bay.  Municipal sources were listed as a source for these two pollutants and TMDLs for these pollutants were scheduled to begin in 1998.  On November 28, 2001, the RWQCB approved transmitting recommended revisions to the 1998 303(d) list to the SWRCB for inclusion in the state-wide 303(d) list, including delisting of copper and nickel.  The SWRCB adopted the revised California 303(d) list on February 4, 2003 with copper and nickel delisted and placed on the new Monitoring List.  USEPA approved the 2002 303(d) list on June 6, 2003.

- In the Impairment Assessment Report for Copper and Nickel in Lower South San Francisco Bay (June 2000), the South Bay Dischargers presented data and findings indicating that impairment of the South Bay due to copper or nickel was unlikely.  The report recommended that copper and nickel be removed from the 303(d) list of impaired water bodies.  The report also recommended the establishment of chronic SSOs for copper and nickel.  In the report, the South Bay Dischargers provided several options for developing SSOs from the watershed-specific toxicity data developed by the South Bay Dischargers.  Depending on the option selected, fully protective chronic criteria could range from 5.5 to 11.6 µg/l for dissolved copper and from 11.9 to 24.4 µg/l for dissolved nickel.

- Copper Action Plan.  As part of the adoption of SSOs, a Copper Action Plan was developed by the South Bay Dischargers and WMI stakeholders as a Water Quality Attainment Strategy to comply with the State Anti-Degradation Policy.  This plan includes receiving water monitoring to determine if ambient copper levels are increasing in the South Bay and triggers pollution prevention actions to control copper.  A requirement to comply with the plan was previously incorporated into the Discharger’s current NPDES permit (Order No. 98-052) through Order No. 00-109.  This Order also requires the Discharger to comply with the Copper Action Plan, which is incorporated into this Order by reference.

- The Copper Action Plan requires dissolved copper to be monitored in the South San Francisco Bay during the dry season. If the mean dissolved copper concentrations measured at stations specified in this Order increases from its current level of 3.2 µg/l to 4.0 µg/l or higher, Phase 1 actions would be triggered to further control copper discharges. If the mean dissolved copper concentration increases to 4.4 µg/l, Phase 2 actions would be triggered. Such incremental increases in mean dissolved copper concentrations shall be used solely for triggering the aforementioned actions.  Where triggers are exceeded, the Discharger is required to submit the appropriate Phase 1 or Phase 2 implementation plan with a schedule to implement additional measures to limit the Discharger’s relative cause or contribution to the exceedance.

- The Copper Action Plan contains specific actions to be completed by various entities as appropriate.  Those actions applicable to the Dischargers include the tasks described below (the parenthetical references reference the numbered actions in the Copper Actions Plan).  (Attachment E contains other tasks and associated responsible parties):

Baseline Actions:  City of Palo Alto to continue and track corrosion control of copper pipes (CB-9); Track the three South Bay Discharger’s pretreatment programs and loadings (CB-13); Track and encourage South Bay Discharger water recycling programs (CB-14); and Continue to promote industrial water efficiency efforts (CB-19).  In addition, the Dischargers will work with other entities to accomplish other Baseline actions: Industrial runoff reduction (CB-3); Track and encourage investigations of uncertainties in the South San Francisco Bay impairment decision (CB-17); Track and encourage investigations on factors influencing copper fate and transport (CB-18); and Copper Conceptual Model update (CB-20).

Phase 1 Actions include:  Identify copper source increases (CI-3); Prepare and implement a Phase I plan for improved corrosion controls (CI-4); Expand water recycling (CI-7); Evaluate industrial water efficiency efforts and develop additional actions (CI-10); Develop Phase II plan for South Bay Discharger treatment optimization (CI-11); and Develop plan to re-evaluate actions (CI-12).  In addition, the South Bay Dischargers will work with other entities to accomplish other Phase I actions:  Evaluate and investigate uncertainties in South San Francisco Bay impairment decision (CI-8); and Evaluate and investigate copper fate (CI-9).

Phase 2 Actions include:  Reconsider managing storm water in the South Bay Discharger wastewater treatment plants (CII-1); Implement additional corrosion control measures (CII-3); Implement wastewater treatment plant process optimization (CII-6); and Expand water recycling programs (CII-7).

- The Nickel Action Plan:  As part of the adoption of SSOs, a Nickel Action Plan was also developed by the South Bay Dischargers and WMI stakeholders to comply with the State Anti-Degradation Policy.  This plan includes receiving water monitoring to determine if ambient nickel levels are increasing in the South Bay and triggers pollution prevention actions to control nickel.  A requirement to comply with the plan was previously incorporated into the Discharger’s current NPDES permit (Order No. 98-053) through Order No. 00-109. This Order also requires the Discharger to comply with the Nickel Action Plan, which is incorporated into this Order by reference.

- The Nickel Action Plan requires that dissolved nickel be monitored in the South San Francisco Bay during the dry season. If the mean dissolved nickel concentrations measured at stations specified in this Order increases from its current level of 3.8 µg/l to 6.0 µg/l or higher, Phase 1 actions would be triggered to further control nickel discharges. If the mean dissolved nickel concentration increases to 8.0 µg/l, Phase 2 actions would be triggered. Such incremental increases in mean dissolved nickel concentrations shall be used solely for triggering the aforementioned actions. Where triggers are exceeded, the Discharger is required to submit the appropriate Phase 1 or Phase 2 implementation plan with a schedule to implement additional measures to limit the Discharger’s relative cause or contribution to the exceedance.

- The Nickel Action Plan contains specific actions to be completed by various entities as appropriate.  Those actions applicable to the Dischargers include the following tasks:

Baseline Actions:  Track the three South Bay Discharger’s pretreatment programs and loadings (NB-13); Track and encourage South Bay Discharger water recycling programs (NB-4); Continue to promote industrial water efficiency efforts (NB-6); and Track and encourage a watershed model linked to a process oriented Bay model (NB-7).

Phase 1 Actions include:  Expand water recycling (I-7); Evaluate industrial water efficiency efforts and develop additional actions (I-10); Develop Phase II plan for South Bay Discharger treatment optimization (I-11); and Develop Phase I Plan (NI-3).

Phase 2 Action includes: Implement actions developed during Phase I.

- Some Phase 1 and Phase 2 actions in the Copper Action Plan and Nickel Action Plan may require the assistance of the Board to coordinate and assist in the efforts of the South Bay Dischargers and other entities to limit or reduce copper and nickel levels in the South San Francisco Bay. It is the intent of the Board that Board staff will, to the extent practicable, coordinate and assist Phase 1 and Phase 2 actions as identified in the Copper Action Plan and Nickel Action Plan.

- Because the WQAS, of which the Copper and Nickel Action Plans are a part, is an adaptive management plan, modifications to the WQAS may be considered provided that the Discharger continues reasonable treatment, source control, and pollution prevention measures to control discharges.  If the Discharger can demonstrate that increases in either copper or nickel concentrations are due to factors beyond the control of the Discharger, the Board will consider and determine reasonable control actions required under Phase 1 or Phase 2 of the Actions Plans.

## Regional Monitoring Program

- On April 15, 1992, the Board adopted Resolution No. 92-043 directing the Executive Officer to implement the Regional Monitoring Program (RMP) for the San Francisco Bay. Subsequent to a public hearing and various meetings, Board staff requested major permit holders in this region, under authority of Section 13267 of California Water Code, to report on the water quality of the estuary.  These permit holders, including the Discharger, responded to this request by participating in a collaborative effort, through the San Francisco Estuary Institute.  This effort has come to be known as the San Francisco Bay Regional Monitoring Program for Trace Substances.  This Order specifies that the Discharger shall continue to participate in the RMP, which involves collection of data on pollutants and toxicity in water, sediment and biota of the estuary.

## Basin Plan Discharge Prohibitions and Exceptions

- The 1995 Basin Plan prohibits discharges south of the Dumbarton Bridge receiving less than 10:1 minimum initial dilution, discharges to dead-end sloughs, and discharge of any conservative toxic and deleterious substances above the levels that can be achieved by a program acceptable to the Board. Exceptions to the three Basin Plan prohibitions may be considered where the Discharger can show:  (1) a net environmental benefit as a result of the discharge, (2) that the project is part of a reclamation project, or (3) an inordinate burden would be placed on the Discharger relative to beneficial uses and an equivalent level of protection can be achieved by alternate means such as an alternative discharge site, a higher level of treatment, and/or improved treatment reliability.

- The 1986 Basin Plan (at page III-5) suggests that criteria provided in Tables III-2B and III-2C be used as guidance for San Francisco Bay south of the Dumbarton Bridge. The Basin Plan indicates that the South Bay has a unique hydrogeologic environment, and that site-specific WQOs are necessary for this water segment.  The NPDES permit amendments issued to the Discharger on December 21, 1988 (Order No. 88-176) contained requirements for studies to assess impacts from metals on the water body, to investigate controls on metals levels discharged in effluent, and to develop WQOs based on cost/impact.  Based on those studies, the Discharger was allowed to propose WQOs based on toxicity testing.  In connection with the issuance of amendments to the Discharger’s NPDES permit on December 21, 1988, the Board granted a conditional exception to the discharge prohibitions based on net environmental benefit.  The conditions to the granted exceptions related to unresolved concerns regarding the potential impacts of heavy metals on the South Bay.

- State Board Order WQ 90-5.  Subsequent to a permit appeal filed by Citizens for a Better Environment, the USFWS, and 11 other organizations, the State Board determined (through Order WQ 90-5) that a finding of equivalent level of protection for the Discharger’s discharge could be made under several conditions:  (1) incorporating water quality-based concentration limitations and revised mass loading limitations for metals into the Discharger’s permit, and (2) developing an avian botulism control program. WQ 90-5 also found that WQOs were needed for the South Bay, and directed the Board to adopt objectives by March 1991, and to amend the permit to include water quality-based metals limitations for metals found to have Reasonable Potential pursuant to 40 CFR 122.44(d) by April 1991. In addition, the Board was required to modify the mass loading limitations for metals in the permit. On April 17, 1991, Order No. 91-067 was adopted by the Board and included revised concentration and mass loading limitations for metals.  Order No. 91-067 amended Finding 13 in the December 21, 1988 permit so as to state that:  “The requirements in this order support a finding of equivalent protection.”  The Board continued the grant of the exception in the NPDES permits issued to the Discharger on July 21, 1993 and June 17, 1998.

- Avian Botulism Control Program. The Discharger has conducted an avian botulism control program by monitoring Moffett Channel, Guadalupe Slough and South San Francisco Bay for the presence of avian botulism since 1982.  Outbreaks of avian botulism as well as other diseases have been controlled by the prompt removal of sick and dead vertebrates.  The Discharger also supports the collection of bird and other wildlife data, in conjunction with the avian botulism program, to better understand the potential beneficial and detrimental impacts of the discharge on the associated habitat.  This Order carries forward the requirement for the Discharger to continue its avian botulism control program.

- Concentration and Mass Limitations for Metals.  As shown in Findings 60-64, the Board has conducted a reasonable potential analysis (RPA) for metals based on the criteria contained in the California Toxics Rule (CTR), the Basin Plan, and the Basin Plan Amendment (for copper and nickel), and the requirements in the State Implementation Policy (SIP).  Based on the RPA, copper, mercury, and nickel show reasonable potential and water quality-based effluent limitations (WQBELs) are included in this Order for these constituents.  The previous permit established mass-based limitations for metal constituents based on the requirements of State Board Order WQ 90-5, regardless of whether they exhibited reasonable potential. This permit does not automatically carry over the mass-based limitations for metals.  Instead, discharges of metals are addressed through the provisions of the SIP as discussed in Finding 39.  Effluent limitations for copper and nickel, consistent with SSOs developed as a part of the WQAS for the South San Francisco Bay, have been incorporated into this Order. The Board will reevaluate the need for copper and nickel effluent limitations during the next permit reissuance.

- Based on Findings 30-34 and consideration of existing information, the Board has retained the exception to the Basin Plan prohibitions based on a finding of an equivalent level of environmental protection consistent with the requirements specified in State Board Order WQ 90-5.

## Applicable Plans, Policies and Regulations

### Basin Plan

- The Board adopted a revised Water Quality Control Plan for the San Francisco Bay Basin on June 21, 1995 (Basin Plan).  This updated and consolidated plan represents the Board’s master water quality control planning document.  The revised Basin Plan was approved by the State Water Resources Control Board (SWRCB) and the Office of Administrative Law on July 20 and November 13, respectively, of 1995.  A summary of regulatory provisions is contained in Title 23 of the California Code of Regulations at Section 3912.  The Basin Plan identifies beneficial uses for Waters of the State in the Region, including surface waters and groundwaters.  The Basin Plan also identifies WQOs, discharge prohibitions, and effluent limitations intended to protect beneficial uses.  This Order implements the plans, policies and provisions of the Board’s Basin Plan.

### Beneficial Uses:

- Beneficial uses of San Francisco Bay, South Bay (south of the Dumbarton Bridge) receiving waters, as identified in the Basin Plan, are:

-Industrial Service Supply

-Navigation

-Water Contact Recreation

-Non-contact Water Recreation

-Commercial and Sport Fishing

-Wildlife Habitat

-Preservation of Rare and Endangered Species

-Fish Migration

-Fish Spawning (potential use)

-Estuarine Habitat

-Shellfish Harvesting

Contiguous water bodies of the South Bay in the vicinity of the discharge include freshwater, brackish, and saltwater sloughs such as Guadalupe Slough and Moffett Channel. Beneficial uses specific to these areas have not been assessed to determine which uses exist or potentially could exist. Board policy is to use the tributary rule to interpret which beneficial uses are currently or potentially supported where beneficial uses have not been specifically designated.

### California Toxic Rule

- On May 18, 2000, the USEPA published the Water Quality Standards; Establishment of Numeric Criteria for Priority Toxic Pollutants for the State of California (Federal Register, Volume 65, Number 97, 18 May 2000).  These standards are generally referred to as the CTR.  The CTR specified water quality criteria (WQC) for numerous pollutants, of which some are applicable to South San Francisco Bay.

### State Implementation Policy

- The SWRCB adopted the Policy for Implementation of Toxics Standards for Inland Surface Waters, Enclosed Bays, and Estuaries of California (also known as the SIP) on March 2, 2000 and the Office of Administrative Law (OAL) approved the SIP on April 28, 2000.  The SIP applies to discharges of toxic pollutants in the inland surface waters, enclosed bays and estuaries of California subject to regulation under the State’s Porter-Cologne Water Quality Control Act (Division 7 of the Water Code) and the federal Clean Water Act.  The SIP establishes implementation provisions for priority pollutant criteria promulgated by the USEPA through the National Toxics Rule (NTR) and CTR, and for priority pollutant objectives established by the Regional Water Quality Control Boards (RWQCBs) in their water quality control plans (basin plans).  The SIP also establishes monitoring requirements for 2,3,7,8-TCDD equivalents, chronic toxicity control provisions, and Pollutant Minimization Programs.

- In addition to the documents listed above, other USEPA guidance documents upon which Best Professional Judgment (BPJ) was developed may include in part:

- Technical Support Document for Water Quality-Based Toxics Control March 1991,

- USEPA Region 9 Guidance For NPDES Permit Issuance February 1994,

- Policy and Technical Guidance on Interpretation and Implementation of Aquatic Life Metals Criteria October 1, 1993,

- Whole Effluent Toxicity (WET) Control Policy July 1994,

- National Policy Regarding Whole Effluent Toxicity Enforcement, August 14, 1995,

- Clarifications Regarding Flexibility in 40 CFR Part 136 Whole Effluent Toxicity (WET) Test Methods, April 10, 1996,

- Interim Guidance for Performance - Based Reductions of NPDES Permit Monitoring Frequencies, April 19, 1996,

- USEPA Regions 9 & 10 Guidance for Implementing Whole Effluent Toxicity Programs Final May 31, 1996,

- Draft Whole Effluent Toxicity (WET) Implementation Strategy February 19, 1997

## Basis for Effluent Limitations

### General Basis

- Federal Water Pollution Control Act.  Effluent limitations and toxic effluent standards are established pursuant to sections 301 through 305, and 307 of the Federal Water Pollution Control Act and amendments thereto are applicable to the discharges herein.

- WQOs/SSOs/WQC and Effluent Limitations: WQOs/SSOs/WQC and effluent limitations in this permit are based on the SIP; the plans, policies and WQOs and criteria of the Basin Plan; California Toxics Rule (Federal Register Volume 65, 97); Quality Criteria for Water  (USEPA 440/5-86-001, 1986 and subsequent amendments, “USEPA Gold Book”); applicable Federal Regulations (40 CFR Parts 122 and 131); the National Toxics Rule (57 FR 60848, 22 December 1992 and 40 CFR Part 131.36(b), “NTR”); NTR Amendment (Federal Register Volume 60, Number 86, 4 May 1995, pages 22229-22237); USEPA December 27, 2002 “Revision of National Recommended Water Quality Criteria” compilation (Federal Register Vol. 67, No. 249, pp. 79091-79095); and BPJ as defined in the Basin Plan.  Where numeric effluent limitations have not been promulgated, 40 CFR 122.44(d) specifies that WQBELs may be set based on USEPA criteria and supplemented where necessary by other relevant information to attain and maintain narrative WQOs/WQC to fully protect designated beneficial uses.  Discussion of the specific bases and rationale for effluent limitations are given in the associated Fact Sheet for this permit, which is incorporated as part of this Order.

- Applicable Water Quality Objectives/Criteria:  The WQOs and WQC applicable to the receiving waters for this discharge are from the Basin Plan, the CTR, and the NTR:

- The Basin Plan specifies numeric WQOs for priority toxic pollutants, as well as narrative WQOs for toxicity and bioaccumulation in order to protect beneficial uses in waters within the region.  However, the numeric WQOs for priority pollutants in the Basin Plan do not apply to the South Bay below Dumbarton Bridge.  As discussed in Findings 44-46, the Board adopted a Basin Plan Amendment that includes SSOs for copper and nickel that apply to the South Bay.  The narrative toxicity objective states in part “[a]ll waters shall be maintained free of toxic substances in concentrations that are lethal to or that produce other detrimental responses in aquatic organisms.”  The bioaccumulation objective states in part “[c]ontrollable water quality factors shall not cause a detrimental increase in concentrations of toxic substances found in bottom sediments or aquatic life.  Effects on aquatic organisms, wildlife, and human health will be considered.”  Effluent limitations and provisions contained in this Order are designed to implement these objectives, based on current available information.

- The CTR specifies numeric aquatic life criteria for 23 priority toxic pollutants and numeric human health criteria for 57 priority toxic pollutants.  These criteria apply to inland surface waters and enclosed bays and estuaries such as here, except where the Basin Plan includes specific numeric objectives for certain of these priority toxic pollutants (i.e., only for copper and nickel in South Bay south of the Dumbarton Bridge).

- The NTR established numeric aquatic life criteria for selenium, numeric aquatic life and human health criteria for cyanide, and numeric human health criteria for 34 toxic organic pollutants for waters of San Francisco Bay upstream to and including Suisun Bay and the Sacramento-San Joaquin Delta.

- A Basin Plan Amendment adopted on May 22, 2002 (Resolution R2-2002-0061) and approved by the State Board on October 17, 2002 (State Board Resolution 2002-0151) contained SSOs and translators for copper and nickel in South San Francisco Bay. After review, USEPA approved the SSOs on January 21, 2003.  The SSOs were derived through USEPA-approved methods and are fully protective of the most sensitive aquatic life beneficial uses in South San Francisco Bay.  The Amendment includes SSOs in South San Francisco Bay of 6.9 µg/L for a 4-day average and 10.8 µg/L for a 1-hour average for dissolved copper and 11.9 µg/L for a 4-day average and 62.4 µg/L for a 1-hour average for dissolved nickel.

- The SSOs are currently being achieved and must be maintained.  The SSOs are supported by the WQAS to not only ensure the ongoing attainment of SSOs but to prevent existing ambient levels of copper and nickel from increasing and degrading water quality.  Implementation of the WQAS and the associated Copper-Nickel Action Plans are required by Provision E.10.

- Translators.  The Board also adopted translators specific to South San Francisco Bay for copper and nickel.  The translators for copper and nickel are 0.53 and 0.44, respectively. The translator development rationale and approach are discussed in the Staff Report to the May 22, 2002 SSO Basin Plan Amendments.

- CTR Receiving Water Salinity Policy:  The CTR states that the salinity characteristics (i.e., freshwater vs. saltwater) of the receiving water shall be considered in determining the applicable water quality criteria.  Freshwater criteria shall apply to discharges to waters with salinities equal to or less than one ppt at least 95 percent of the time.  Saltwater criteria shall apply to discharges to waters with salinities equal to or greater than 10 ppt at least 95 percent of the time in a normal water year.  For discharges to water with salinities in between these two categories, or tidally influenced freshwaters that support estuarine beneficial uses, the criteria shall be the lower of the salt or freshwater criteria, based on ambient hardness, for each substance.

- Receiving Water Salinity:  The receiving waters for the subject discharge are the waters of the Moffett Channel and South San Francisco Bay.  The SFEI RMP monitoring station in Sunnyvale Slough (C-1-3), located near the Sunnyvale outfall, but outside the area of mixing, has been selected to determine the salinity of the receiving water.  From 1994 through 2000, the salinity at this monitoring station ranged from 1.4 to 17.1 ppt. In addition, while the South San Francisco Bay is generally marine in character the Moffett Channel and Guadaloupe Slough are clearly tidally influenced receiving waters and the delineation between fresh and saltwater conditions varies continuously based on tidal conditions.  C-1-3 has specifically been identified by the RMP as an estuarine site and was specifically located to be representative of the transition zone between marine and fresh water conditions. The receiving waters are, therefore, are estuarine in character under the CTR salinity policy. The applicable WQC are, therefore, the lower of the marine and fresh WQC.

- Receiving Water Hardness: Hardness data collected through the RMP were used to determine hardness dependant WQOs/WQC.  The minimum observed hardness at the Sunnyvale RMP station during 1994-2000 was 103 mg/L.  The data from the RMP Sunnyvale Station represents the best available information for hardness of the receiving water after it has mixed with the discharge.

- Technology-Based Effluent Limitations:  Effluent limitations for conventional pollutants are technology based-limitations in this permit are the same as in the prior permit for the following constituents:  Carbonaceous Biochemical Oxygen Demand (CBOD), Total Suspended Solids (TSS), CBOD and TSS removal efficiency, settleable matter, oil and grease, turbidity, and chlorine residual.  Technology-based effluent limitations are included to ensure that adequate treatment is achieved by a wastewater treatment facility.

- Water Quality-Based Effluent Limitations: Toxic substances are regulated by WQBELs derived from the Basin Plan SSOs for copper and nickel, the NTR, USEPA recommended criteria, CTR criteria, the SIP, and/or BPJ.  WQBELs in this Order are revised and updated from the limitations in the previous Order and their presence in this Order is based on evaluation of the Discharger’s data as described below under Reasonable Potential Analysis (RPA).  Numeric WQBELs are required for all constituents that have reasonable potential to cause or contribute to an excursion above an SSO/WQC.  Reasonable potential is determined and final WQBELs are developed using the methodology outlined in the SIP.  If the Board determines that the final limitations will be infeasible to meet, then interim limitations are established, with a compliance schedule to achieve the final limitations.  Further details about the effluent limitations are given in the associated Fact Sheet.

WQBELs are expressed as monthly average and daily maximum limits.  The following is a justification for applying a daily maximum effluent limitation in lieu of a weekly average effluent limitation.

- Maximum Daily Effluent Limitations (MDELs) are used in this permit to protect against acute water quality effects. It is impracticable to use weekly average limitations to guard against acute effects. Although weekly averages are effective for monitoring the performance of biological wastewater treatment plants, the MDELs are necessary for preventing fish kills or mortality to aquatic organisms.

- NPDES regulations, the SIP, and USEPA’s Technical Support Document (TSD) provide the basis to establish MDELs:

NPDES regulations at 40 Code of Federal Regulations section 122.45(d) state:

“	For continuous discharges all permit effluent limitations, standards, and prohibitions, including those necessary to achieve water quality standards, shall unless impracticable be stated as:

(1) Maximum daily and average monthly discharge limitations for all discharges other than publicly owned treatment works; and

(2) Average weekly and average monthly discharge limitations for POTWs.” (Emphasis added.)

- The SIP (page 8, Section 1.4) requires WQBELs be expressed as MDELs and average monthly effluent limitations (AMELs).

- The TSD (page 96) states a maximum daily maximum limitation is appropriate for two reasons:

  - The basis for the 7-day average for POTWs derives from the secondary treatment requirements. This basis is not related to the need for assuring achievement of water quality standards.

  - The 7-day average, which could comprise up to seven or more daily samples, could average out peak toxic concentrations and therefore the discharge’s potential for causing acute toxic effects would be missed. A maximum daily limitation would be toxicologically protective of potential acute toxicity impacts.

- Receiving Water Ambient Background Data Used in Reasonable Potential Analysis: The near field receiving waters for the discharges are estuarine and subject to the complex tidal conditions of South San Francisco Bay.  Therefore, the most representative location of ambient background data in South San Francisco Bay for this facility is the Dumbarton Bridge RMP station. Reasonable potential was determined using RMP data from 1993 through 2000 from the Dumbarton Bridge RMP station.  However, not all the constituents listed in the CTR were analyzed by the RMP during this time.  By a letter dated August 6, 2001, the Board’s Executive Officer addressed this data gap by requiring the Discharger to conduct additional monitoring pursuant to section 13267 of the California Water Code.

- Constituents identified in the 303(d) List:  On June 6, 2003, the USEPA approved a revised list of impaired waterbodies prepared by the State.  The list (hereinafter referred to as the 2002 303(d) list) was prepared in accordance with Section 303(d) of the federal Clean Water Act to identify specific water bodies where water quality standards are not expected to be met after implementation of technology-based effluent limitations on point sources.  South San Francisco Bay is listed as an impaired waterbody. The pollutants impairing South San Francisco Bay include chlordane, DDT, diazinon, dieldrin, dioxin compounds, exotic species, furan compounds, mercury, PCBs, dioxin-like PCBs, and selenium.  Copper and nickel, which were previously identified as impairing South San Francisco Bay, were not included as impairing pollutants in the 2002 303(d) list and have been placed on the new Monitoring List.

#### Dilution and Assimilative Capacity

- The Discharger’s effluent is discharged to a shallow water slough, Guadalupe Slough.  The Discharger conducted a tracer study and modeling in 1989 to evaluate the actual dilution received by the discharge in Guadalupe Slough and out into South San Francisco Bay.  Due to the tidal nature of the Slough, and limited upstream freshwater flows, the discharge is classified by the Board as a shallow water discharge and effluent limitations in this permit are calculated assuming no dilution (D=0).  Pursuant to Section 1.4.2.1 of the SIP, “dilution credit may be limited or denied on a pollutant-by-pollutant basis . . .”  The Basis Plan states “shallow water dischargers may apply to the Regional Board for exceptions to the assigned dilution ratio of D=0 based upon demonstration of compliance with water quality objectives in the receiving waters.”  “Exceptions will only be considered on a pollutant by pollutant basis…” Exceptions will be granted only if needed to meet effluent limitations and only after very rigorous scrutiny of source control and receiving water data.”  The Board will review the results of the tracer study and modeling and any additional information/data on dilution during the next permit reissuance.

#### Total Maximum Daily Loads (TMDLs) and Waste Load Allocations (WLAs)

- Based on the 2002 303(d) list of pollutants impairing South San Francisco Bay, the Board plans to adopt TMDLs for these pollutants no later than 2010, with the exception of dioxin and furan compounds.  The Board defers development of the TMDL for dioxins and furans to the USEPA.  Future review of the 303(d) list for South San Francisco Bay may result in revision of the schedule and/or provide schedules for other pollutants.

- The TMDLs will include WLAs and load allocations (LAs) for point sources and non-point sources, respectively, and are intended to result in the attainment of water quality standards in the water body.  The final effluent limitations for the 303(d)-listed pollutants will be based on WLAs that are derived from the TMDLs. The permit will be re-opened, as necessary, to adopt the final WQBELs as enforceable limitations.

- Compliance Schedules: Pursuant to Section 2.1.1 of the SIP, “the compliance schedule provisions for the development and adoption of a TMDL only apply when: (a) the Discharger requests and demonstrates that it is infeasible for the Discharger to achieve immediate compliance with a CTR criterion; and (b) the Discharger has made appropriate commitments to support and expedite the development of the TMDL.  In determining appropriate commitments, the RWQCB should consider the Discharger’s contribution to current loadings and the Discharger’s ability to participate in TMDL development.” The Board adopted Resolution No. 01-103, on September 19, 2001, which authorizes the Executive Officer of the Board to enter into a Memorandum of Understanding with now the (Clean Estuary Partnership or CEP), and previously the Bay Area Clean Water Agencies (BACWA), a member of CEP, and other parties to accelerate the development of water quality attainment strategies including TMDLs for the San Francisco Bay-Delta and its tributaries.  The Discharger has made commitments to participate in TMDL development as a member of BACWA.

- The following summarizes the Board’s strategy to collect water quality data to develop TMDLs:

  - Data Collection: The Board will require Dischargers to characterize the pollutant loads from their facilities into the water quality limited water bodies.  The result will be used in the development of TMDLs, but may also be used to update/revise the 303(d) list and/or change the WQOs for the impaired water bodies including South San Francisco Bay.

  - Funding Mechanism:  The Board has received and anticipated continuation to receive, resources from federal and state agencies for the development of TMDLs.  To ensure timely development of TMDLs, the Board intends to supplement these resources by allocating development costs among Dischargers through the RMP or other appropriate funding mechanisms.

- Until final WQBELs or WLAs are adopted, and this Order amended accordingly, state and federal antibacksliding and antidegradation policies, and the SIP, require that the Board include interim effluent limitations. The interim effluent limitations will be the lower of the following:

- current performance; or

- previous order’s limitations, unless anti-backsliding requirements are met.

This permit establishes interim concentration limitations based on the minimum levels (MLs) for 4,4’-DDE, dieldrin, benzo(b)fluoranthene, indeno( 1,2,3-cd)pyrene, and heptachlor epoxide.  For mercury, this permit retains the existing permit concentration limitations and establishes an interim, dry weather, performance-based mass limitation. These limitations will minimize the discharge of this 303(d)-listed bioaccumulative pollutant. For cyanide, an interim performance-based limitation has been established that is higher than the previous Order limitation.  The rationale for this determination is provided in Finding 97.  For chlorodibromomethane and dichlorobromomethane, interim performance-based concentration limitations have also been established.

- Compliance schedules are established based on Section 2.2 of the SIP for limitations derived from CTR WQC or based on the Basin Plan for limitations derived from the Basin Plan WQOs.  If an existing Discharger cannot immediately comply with a new and more stringent effluent limitation, the SIP and the Basin Plan authorize a compliance schedule in the permit.  To qualify for a compliance schedule, both the SIP and the Basin Plan require that the Discharger demonstrate that it is infeasible to achieve immediate compliance with the new limitation.  The SIP and Basin Plan require that the following information be submitted to the Board to support a finding of infeasibility:

- documentation that diligent efforts have been made to quantify pollutant levels in the discharge and sources of the pollutant in the waste stream, including the results of those efforts;

- documentation of source control and/or pollution minimization efforts currently under way or completed;

- a proposed schedule for additional or future source control measures, pollutant minimization or waste treatment; and

- a demonstration that the proposed schedule is as short as practicable.

#### Antidegradation and Antibacksliding

- The limitations in this Order are in compliance with the Clean Water Act Section 402(o) prohibition against establishment of less stringent WQBELs for the following reasons:

    - For impairing pollutants, the revised final limitations will be in accordance with TMDLs and WLAs once they are established;

    - For non-impairing pollutants, the final limitations are/will be consistent with current State WQOs/WQC.

    - Antibacksliding does not apply to the interim limitations established under previous Orders;

    - If antibacksliding policies apply to interim limitations under 402(o)(2)(c), a less stringent limitation is necessary because of events over which the Discharger has no control and for which there is no reasonable available remedy, and/or new information is available that was not available during previous permit issuance.

The interim limitations in this permit are in compliance with antidegradation requirements and meet the requirements of the SIP because the interim limitations hold the Discharger to performance levels that will not cause or contribute to water quality impairment or further degradation.  Pollutant-specific discussions regarding the applicability of the anti-degradation and anti-backsliding policies are provided in findings below.

### Specific Basis

- As specified in 40 CFR 122.44(d) (1) (i), permits are required to include WQBELs for all pollutants “which the Director determines are or may be discharged at a level which will cause, have the reasonable potential to cause, or contribute to an excursion above any State water quality standard.”  Using the method prescribed in Section 1.3 of the SIP, Board staff has analyzed the effluent data to determine if the discharge from Outfall E-001 has a reasonable potential to cause or contribute to an excursion above a State water quality standard (“Reasonable Potential Analysis” or “RPA”).  For all parameters that have reasonable potential, numeric WQBELs are required.  The RPA compares the effluent data with SSOs and narrative WQOs in the Basin Plan and numeric WQC from the USEPA Gold Book, the NTR, and the CTR.

- RPA Methodology.  The method for determining RPA involves identifying the observed maximum pollutant concentration in the effluent (MEC) for each constituent, based on effluent concentration data.  The RPA for all constituents is based on zero dilution, according to Section 1.3 of the SIP.  There are three triggers in determining reasonable potential.

- The first trigger is activated when the MEC is greater than the lowest applicable WQO/WQC, which has been adjusted for pH, hardness (assumed in this permit analysis at 103 mg/L), and translator data, if appropriate.  An MEC that is greater than the (adjusted) WQO/WQC means that there is reasonable potential for that constituent to cause or contribute to an excursion above the WQO/WQC and a WQBEL is required. (Is the MEC>WQO/WQC?)

- The second trigger is activated if the observed maximum ambient background concentration (B) is greater than the adjusted WQO/WQC, and the MEC is less than the adjusted WQO/WQC.  If B is greater than the adjusted WQO/WQC, then a WQBEL is required. (Is B>WQO/WQC?)

- The third trigger is activated after a review of other information determines that a WQBEL is required even though both MEC and B are less than the WQO/WQC.  A limitation is only required under certain circumstances to protect beneficial uses.

.

- Summary of RPA Data and Results.  The RPA was based on effluent monitoring data of the past 3 years.  Based on the RPA methodology described above and in the SIP, the following constituents have been found to have reasonable potential to cause or contribute to an excursion above WQOs/WQC:  copper, mercury, nickel, cyanide, chlorodibromomethane, dichlorobromomethane, benzo(b)fluoranthene, indeno(1,2,3-cd)pyrene, endrin, 4,4’-DDE, dieldrin, heptachlor epoxide, tributyltin, and dioxin TEQ.

- RPA Determinations. The MECs, SSOs/WQC, bases for the SSOs/WQC, background concentrations used and reasonable potential conclusions from the RPA are listed in the following table for all constituents analyzed.  The RPA results for some of the constituents in the CTR were not able to be determined because of the lack of background data, an objective, or effluent data. (Further details on the RPA can be found in the Fact Sheet.)

| Constituent1 | SSO/ WQC (µg/L) | Basis2 | MEC Outfall 001 (µg/L) | Maximum Ambient Background Conc. (µg/L) | Reasonable Potential |
| --- | --- | --- | --- | --- | --- |
| Arsenic | 36 | CTR, sw | 3.1 | 4.59 | No |
| Cadmium | 2.52 | CTR, fw, H=103 | < 0.2 | 0.1707 | No |
| Chromium(VI) | 200 | CTR, fw, T=0.08 | 7.0 | 14.74 | No |
| Copper | 13.02 | SSO T=0.533 | 6.2 | 7.19 | Yes5 |
| Lead | 52 | CTR, fw, T=0.05,H=103 | 1.8 | 3.78 | No |
| Mercury* | 0.051 | CTR | 0.009 | 0.0682 | Yes4 |
| Nickel | 27.05 | SSO T=0.443 | 4.6 | 13.03 | Yes5 |
| Selenium* | 5.0 | NTR | 2.7 | 0.63 | No |
| Silver | 2.24 | CTR, sw | 1 | 0.1193 | No |
| Zinc | 123 | CTR, fw, T=0.53,H=103 | 110 | 14.85 | No |
| Cyanide | 1 | NTR | 29 | Not Available (NA) | Yes |
| Chlorodibromomethane | 34 | CTR (#33) | 40 | NA | Yes |
| Dichlorobromomethane | 46 | CTR (#37) | 46 | NA | Yes |
| Endrin | 0.00014 | CTR (#115) | 0.02 | 0.00012 | Yes |
| Dieldrin* | 0.00014 | CTR (#111) | < 0.01 | 0.000292 | Yes4 |
| 4,4-DDE* | 0.00059 | CTR (#109) | < 0.01 | 0.000678 | Yes4 |
| Dioxin TEQ* | 1.4x10-8 | CTR (#16) | < 1.6 x 10-6 | NA | Yes6 |
| Benzo(b)Fluoranthene | 0.049 | CTR (#62) | < 0.1 | 0.0572 | Yes4 |
| Indeno(1,2,3-cd)Pyrene | 0.049 | CTR (#92) | < 0.06 | 0.078 | Yes4 |
| Heptachlor Epoxide | 0.00011 | CTR (#118) | < 0.01 | 0.000174 | Yes4 |
| Tributyltin | 0.01 | Basin Plan | 0.19 | NA | Yes |
| CTR #s 1, 3, 5a, 12, 17-126 except, 33, 37, 62, 92, 109, 111, 115, and 118 | Various or NA | CTR | Non-detect, less than WQC, or no WQC | Less than WQC or NA | No or Undetermined7 |

.

- * = Constituents on 303(d) list, applies WHO 1998 to Toxicity Equivalent Factors (TEQ) of 2,3,7,8-TCDD

- RPA based on the following: Hardness is 103 in mg/L as CaCO3; BP = Basin Plan; CTR = California Toxics Rule; NTR=National Toxics Rule; SSO=Site-Specific Objective; fw = freshwater; sw = saltwater; T = translator to convert dissolved to total copper and nickel.

- SSOs and translators are based on the Basin Plan Amendment, Resolution R2-2002-0061 (dated May 15, 2002), as discussed in Findings 44-46.

- Mercury, benzo(b)fluoranthene, indeno (1,2,3-cd)pyrene, 4, 4’-DDE, dieldrin, and heptachlor epoxide: RPA = Yes, based on B > WQO.

- Reasonable potential for copper and nickel has been determined based on the third trigger, see Finding 68.

- As discussed in Finding 73, trigger 3 was used to determine RP, however, there was not enough data to calculate an interim limitation.  The Discharger will continue to monitor for this pollutant.

- Undetermined due to lack of background data, lack of objectives/criteria, or lack of effluent data (See Fact Sheet Table for full RPA results).

- RPA Results for Impairing Pollutants. While TMDLs and WLAs are being developed, effluent concentration limitations are established in this permit for 303(d)-listed pollutants that have reasonable potential to cause or contribute to an excursion above the water quality standard.  In addition, the SIP requires that mass limitations be considered for bioaccumulative 303(d)–listed pollutants that can be reliably detected. Constituents on the 2002 303(d) list for which the RPA determined a need for effluent limitations are mercury, 4,4’-DDE, dieldrin, and dioxin.

Interim Limitations with Compliance Schedules

- The Discharger has demonstrated and Board confirmed infeasibility to meet the WQBELs calculated according to Section 1.4 of the SIP for cyanide, chlorodibromomethane, dichlorobromomethane, endrin, 4,4’-DDE, dieldrin, heptachlor epoxide, benzo(b)fluoranthene, and indeno(1,2,3-cd)pyrene.  The basis for the compliance schedules for these pollutants is further described in the Fact Sheet.

#### Specific Pollutants

- Copper and Nickel.  The SIP (Section 1.3, Step 7) allows the Board to consider additional available information to determine if a WQBEL is required, notwithstanding Steps 1 through 6, to protect beneficial uses.  The Board has considered the following additional information in determining that WQBELs are necessary for copper and nickel:

Concern over copper and nickel in the Lower South San Francisco Bay watershed led to an impairment assessment, which indicated that impairment to beneficial uses of San Francisco Bay south of the Dumbarton Bridge due to ambient copper and nickel concentrations is unlikely.  This conclusion, however, is not without uncertainty with respect to copper’s toxicity to phytoplankton, copper and nickel cycling in Lower South San Francisco Bay, sediment toxicity and loading estimates.  Given the results of the impairment study, the Board recently approved a Basin Plan Amendment (Board Resolution No. R2-2002-0061) adopting SSOs for copper and nickel, specific translators to compute effluent limits during permit reissuance for the three municipal wastewater treatment plants discharging into Lower South San Francisco Bay, and the WQAS.  Given the uncertainties associated with the impairment study and the need to meet anti-degradation policies, the WQAS was developed to ensure that ambient levels of copper and nickel do not increase due to POTW discharges in the San Francisco Bay south of the Dumbarton Bridge.

Effluent limits are included in this permit due to remaining uncertainties identified in the Copper and Nickel Impairment Assessment.  New data will be available as part of the implementation of the Copper and Nickel Action Plans and the impairment assessment for copper and nickel in North San Francisco Bay. It is the intent of the Board to review the need for copper and nickel limits for the next permit cycle.

To ensure that ambient levels of copper and nickel do not increase as a result of POTW discharge, the Discharger will continue to maintain plant performance and ongoing pollution prevention measures for copper and nickel.

Based on the foregoing, as permitted by the SIP, Section 1.3, Step 7, numeric WQBELs are included for copper and nickel, in this permit cycle, to protect beneficial uses.

- Chromium, Lead, and Zinc.  For all metals except copper and nickel, which have translators adopted in the May 22, 2002 Basin Plan Amendment, Board staff initially assessed reasonable potential using the conversion factors (Cfs)/translators included in the CTR.  These Cfs/translators are generally considered very conservative because they are intended to be applied to a wide range of waterbody conditions.  After this initial assessment, reasonable potential was suggested for chromium VI, lead, and zinc.  Board staff, with input from the WMI, then evaluated whether site-specific translators could be developed based on RMP data from the Dumbarton Bridge RMP Station. Board staff have determined that the RMP data are representative of seasonal and spatial variability in waterbody conditions, were collected and evaluated according to rigorous quality assurance and control requirements, and meet USEPA’s recommended guidelines for translator development.  Based on these conclusions, Board staff followed the procedures in Section 1.4.1 of the SIP to establish chromium VI, lead, and zinc translators.  Acute translators are based on the 90th percentile of the dissolve to total concentration ratios, while chronic translators are based on the median ratio.  The acute and chronic translators for chromium VI are 0.08 and 0.03, respectively.  The acute and chronic translators for lead are 0.14 and 0.05, respectively. The acute and chronic translators for zinc are 0.53 and 0.2, respectively.  Additional information on translator development is presented in the Fact Sheet for this Order.

- Dioxin TEQ.  The CTR establishes a numeric human health WQC of 0.014 picograms per liter (pg/l) for 2,3,7,8-tetrachlorinated dibenzo-p-dioxin (2,3,7,8-TCDD) based on consumption of aquatic organisms.  The preamble of the CTR states that California NPDES permits should use toxicity equivalents (TEQs) where dioxin-like compounds have reasonable potential with respect to narrative criteria.  In USEPA’s National Recommended Water Quality Criteria, December 2002, USEPA published the 1998 World Health Organization Toxicity Equivalence Factor (TEF) scheme.  Additionally, the CTR preamble states USEPA’s intent to adopt revised WQC guidance subsequent to their health reassessment for dioxin-like compounds.  The SIP applies to all toxic pollutants, including dioxins and furans.  The SIP requires a limitation for 2,3,7,8-TCDD, if a limitation is necessary, and requires monitoring for a minimum of 3 years by all major NPDES dischargers for the other sixteen dioxin and furan compounds.

- The Basin Plan contains a narrative WQO for bio-accumulative substances:

“Many pollutants can accumulate on particulates, in sediments, or bio-accumulate in fish and other aquatic organisms. Controllable water quality factors shall not cause a detrimental increase in concentrations of toxic substances found in bottom sediments or aquatic life. Effects on aquatic organisms, wildlife, and human health will be considered.

This narrative WQO applies to dioxin and furan compounds, based in part on the scientific community’s consensus that these compounds associate with particulates, accumulate in sediments, and bio-accumulate in the fatty tissue of fish and other organisms.

- The USEPA’s 303(d) listing determined that the narrative objective for bio-accumulative pollutants was not met because of the levels of dioxins and furans in fish tissue.

- Dioxin TEQ monitoring show no detected values in the effluent, but the levels of detection are above the CTR criterion.  As discussed in Finding 78, the South Bay dischargers undertook a low level monitoring program to characterize organics, including dioxins, in their effluent.  The results of this study have not been used in developing this Order because of questions about data quality and reliability.  The data, however, suggest elevated levels of dioxin in the Bay.  On May 15, 2003, a group of several San Francisco Bay Region dischargers (known as the Bay Area Clean Water Agencies, or BACWA) submitted a collaborative receiving water study, entitled the San Francisco Bay Ambient Water Monitoring Interim Report.  This report addresses monitoring results from sampling events in 2002 and 2003 for the remaining priority pollutants not monitored by the RMP.  While these “interim” data have not been used to evaluate RP using trigger 2, they also show elevated dioxin levels at the Dumbarton Bridge RMP station.  Based on these data and the inclusion of dioxins and furans on the 303(d) list for San Francisco Bay, the Board has determined that there is reasonable potential for dioxin using trigger 3 in the SIP.

- 4,4’-DDE, Benzo(b)fluoranthene, Indeno(1,2,3-cd)pyrene, Dieldrin, and Heptachlor Epoxide.  These pollutants have not been detected in the effluent, although all of the detection limits are higher than the lowest WQC (Section 1.3 of the SIP).  Board staff compared the WQC with RMP ambient background concentration data for each constituent.  Since the background concentrations are above the WQC, the RPA indicates that 4,4'-DDE, benzo(b)fluoranthene, indeno(1,2,3-cd)pyrene, dieldrin, and heptachlor epoxide have reasonable potential, and numeric WQBELs are required.

- The 2002 303(d) list includes the South San Francisco Bay as impaired for dieldrin and DDT.  4,4’-DDE is chemically linked to the presence of DDT based on fish tissue data. The Board intends to develop TMDLs that will lead towards overall reduction of dieldrin and 4,4’-DDE (and thus 4,4’-DDE).  The WQBELs specified in this Order may be changed to reflect the WLAs from these TMDLs.

- Other organics. The Discharger has performed sampling and analysis for the organic constituents listed in the CTR.  This data set was used to perform the RPA. The full RPA is presented as an attachment in the Fact Sheet.  In some cases, reasonable potential cannot be determined because detection limits are higher that the lowest WQC, and/or ambient background concentrations are not available. The Discharger will continue to monitor for these constituents in the effluent and the receiving water using analytical methods that provide the best feasible detection limits. When additional data become available, further RPA will be conducted to determine whether to add numeric effluent limitations to the Order or to continue monitoring.

- Provision E.12 in Order No. 98-052 required the Discharger and the other South Bay Dischargers to jointly conduct low-level monitoring with ultra-clean procedures.  On March 28, 2001, the South Bay/Fairfield Trace Organic Contaminants in Effluent Study was submitted to the Board to fulfill this requirement.  The purpose of this study was to provide measurements for pollutants present in POTW effluents at extremely low concentrations, and to evaluate the reliability of the methods by which these low concentrations can be measured.  Board staff has reviewed the study results and data and find the results to be generally of an "experimental nature."  Specifically, there was significant variability in the results from split samples analyzed by different laboratories.  In addition, the specific method detection limits were not determined and there are other QA/QC questions related to the study.  The Board, therefore, has not used the results/data from the study in the RPA.

- Continued Effluent Monitoring. This Order does not include effluent limitations for constituents that do not show reasonable potential, but continued monitoring for these pollutants is required as described in the August 6, 2001 letter, which is further described in a later finding.  If concentrations of these constituents increase significantly, the Discharger will be required to investigate the source of the increases and establish remedial measures, if the increases result in reasonable potential to cause or contribute to an excursion above the applicable WQC.

- Permit Reopener. The Order includes a reopener provision to allow numeric effluent limitations to be added or deleted in the future for any constituent that exhibits or does not exhibit, respectively, reasonable potential. The Board will make this determination based on monitoring results.

### Development of Effluent Limitations

#### Copper

- Copper Water Quality Objectives.  The SSOs for dissolved copper in the Basin Plan Amendment adopted on May 15, 2002 are 6.9 µg/L for a 4-day average and 10.8 µg/L for a 1-hour average.  Included in the Basin Plan Amendment are translator values to convert the dissolved criteria to total criteria.  Using the site-specific translator (0.53), translated criteria of 13.02 µg/L for a 4-day average and 20.38 µg/L for a 1-hour average were used to calculate effluent limitations.

- Copper Effluent Limitations. Consistent with Board Resolution R2-2002-0061, the Board has determined that WQBELs are required for copper to ensure that copper concentrations in the effluent are maintained at current levels and the SSOs are not exceeded in the South Bay.  The calculated final WQBELs for copper are: AMEL of 10 μg/L and MDEL of 20 μg/L.  Self-monitoring data from April 1999 through March 2002 indicates that effluent copper concentrations ranged from 1.2 g/L to 6.2 g/L, which are below the WQBELs.  Therefore, no interim limitations are required.  The Board will reevaluate the need for copper effluent limitations during the next permit reissuance.

- Anti-backsliding/Anti-degradation.  The previous copper effluent limitation (in Order 98-053) was a daily average limitation of 8.6 μg/L based on plant performance.  This copper effluent limitation was an interim limit.  Anti-backsliding provisions, therefore, do not apply.  Anti-degradation is addressed through the development and implementation of the SSOs and the WQAS.

#### Mercury

- Mercury Water Quality Criteria.  The CTR specifies a long-term average criterion for protection of human health of 0.051 μg/L.

- Mercury TMDL. The 1998 303(d) list includes the receiving waters as impaired by mercury, due to high mercury concentrations in the tissue of fish from the Bay.  Methyl mercury is a persistent bioaccumulative pollutant.  The Board intends to establish a TMDL that will lead towards overall reduction of mercury mass loadings into the San Francisco Bay watershed.  The final mercury limitation will be based on the Discharger’s WLA in the TMDL, and the permit will be revised, as necessary, to include the final WQBEL as an enforceable limitation.

- Mercury Control Strategy.  Board staff is developing a TMDL to control mercury levels in San Francisco Bay. The Board, together with other stakeholders, will cooperatively develop water quality attainment strategies as part of TMDL development.  The currently preferred strategy is applying interim limitations to point source discharges while focusing mass reduction efforts on other more significant and controllable sources. While the TMDL is being developed, the Discharger will cooperate in maintaining ambient receiving water conditions by complying with the current concentration limitation and a performance-based mass limitations and conducting studies to characterize “first flush” stormwater runoff and, as appropriate, identify and implement additional mercury source controls.

- Concentration-Based Mercury Effluent Limitations.  Based on background data, there is reasonable potential for exceedances of the WQC for mercury.  WQBELs, therefore, are required.  Pending completion of a TMDL, this Order establishes an interim effluent limitation of 12 ng/L as a monthly average and 2.1 μg/L as a daily maximum, which are the existing permit limitations.  Since mercury is monitored monthly, these limitations are more stringent than the statistically calculated performance-based limitation of 23 ng/L that the Board determined from pooled ultra-clean mercury data for POTWs throughout the Region using advanced secondary treatment (Staff Report:  Statistical Analysis of Pooled Data from Region-wide Ultra-clean Sampling, 2000). These limitations are also more stringent than the final WQBELs (AMEL of 0.051 μg/L and MDEL of 0.093 μg/L) calculated according to the SIP methodology.

- Mass-based Mercury Effluent Limitations.  In addition to the concentration-based interim mercury effluent limitation, this Order establishes an interim mercury mass-based effluent limitation of 0.041 kg/month.  This limitation is calculated based on the concentration-based effluent limitation (12 ng/L) and the dry weather design capacity of the treatment plant (29.5 mgd).  This interim mass limitation only applies during the dry weather season (May through October). The final mass-based effluent limitation will be based on the WLA derived from the mercury TMDL.

- Additional Mercury Studies and Controls.  In other Orders, the Board has established interim mercury mass-based effluent limitations based on actual treatment plant performance to maintain current loadings until a TMDL is established.  The Board has determined that the mass-based limitation calculated as described in Finding 88 is appropriate for this Discharger for the following reasons:  (1) recent monitoring data show very low levels of mercury in the discharge, well below the applicable WQC, (2) the interim concentration limitations, which are more stringent than the WQBELs calculated according to the SIP methodology, will ensure that mercury levels remain low in the discharge, (3) the Discharger will continue to identify and, to the extent feasible, address mercury sources under its pollution prevention program, and (4) the interim mass limitation based on the design flow will preclude any significant increases in mass loadings from the plant. Overall, the Discharger already has minimized mercury influent loadings to the treatment plant and provided for a high level of mercury removal in the treatment process.  The Board anticipates that is unlikely that the TMDL will require additional reductions in mercury loadings beyond current treatment levels.  Further, to complement the dry weather interim limitation, the South Bay dischargers have proposed to complete scientific studies designed to further the Board’s understanding of mercury fate and transport in the South Bay and identify specific sources and potential advanced control opportunities.  As part of this effort, a provision is included in this Order requiring the Discharger to complete a study of “first flush” stormwater runoff and identify and evaluate options for diverting contaminated stormwater to the Plant to reduce mercury mass loadings.  This study, along with the work of the other South Bay dischargers, is expected to yield valuable data to support completion of the TMDL and yield further reductions in mercury loadings.

- Anti-backsliding/Anti-degradation.  The previous mercury effluent concentration limitations (in Order 98-053) were 12 ng/L as a monthly average and 2.1 μg/L as a daily maximum limitation.  These concentration limitations are retained in this permit. The mercury mass limitation of 0.041 kg/month included in this Order is lower than the previous mercury mass limitation of 2.1 kg/month.  Anti-backsliding and anti-degradation provisions, therefore, do not apply.

#### Nickel

- Nickel Water Quality Objectives.  The SSOs for dissolved nickel in the Basin Plan Amendment adopted on May 15, 2002 are 11.9 µg/L for a 4-day average and 62.4 µg/L for a 1-hour average.  Included in the Basin Plan Amendment are translator values to convert the dissolved criteria to total criteria.  Using the site-specific translator (0.44), translated criteria of 27.05 µg/L for a 4-day average and 141.82 µg/L for a 1-hour average were used to calculate effluent limitations.

- Nickel Effluent Limitations.  Consistent with Board Resolution R2-2002-0061, the Board has determined that WQBELs are required for nickel to ensure that nickel concentrations in the effluent are maintained at current levels and the SSOs are not exceeded in the South Bay.  The calculated final WQBELs for nickel are: AMEL of 24 μg/L and MDEL of 40 μg/L.  Self-monitoring data from April 1999 through March 2002 indicate that effluent nickel concentrations ranged from <2.0 g/L to 4.6 g/L. Therefore, no interim limitations are required.  The Board will reevaluate the need for nickel effluent limitations during the next permit reissuance.

- Anti-backsliding/Anti-degradation.  The previous nickel effluent limitation (in Order 98-052) was a 4-day average limitation of 8.3 μg/L.  The final limitations described in Finding 92 were developed based on the applicable SIP procedures and the revised SSOs for nickel that are considered protective of South San Francisco Bay.  In addition, in the 2002 303(d) list, nickel is no longer identified as impairing South San Francisco Bay.  Under Clean Water Act Sections 402(o)(1) and 303(d)(4), there is an allowable exception to anti-backsliding for a pollutant as long as the relaxation of limits complies with anti-degradation requirements.  Therefore, incorporation of the new, higher limits is allowable under anti-backsliding provisions. Anti-degradation is addressed through the development and implementation of the SSOs and the WQAS

#### Cyanide

- Cyanide Water Quality Criterion.  The NTR specifies that the salt water Criterion Chronic Concentration (CCC) of 1 μg/L for cyanide is applicable to the Lower South San Francisco Bay.  This CCC value is below the presently achievable reporting limit of approximately 3 to 5 μg/L.

- Cyanide Final Effluent Limitation.  Based on the RPA, there is reasonable potential for exceedances of the WQC for cyanide.  Interim effluent limitations are necessary for cyanide since the Discharger has demonstrated and the Board verified that it is infeasible to immediately comply with the final WQBELs (AMEL of 0.5 μg/L and MDEL of 1.0 μg/L), included in the Fact Sheet as a point of reference, and that an interim limitation is necessary.

- Cyanide Interim Effluent Limitation The interim limitation was calculated using a “pooled data” approach, which was based on the performance of Bay Area POTWs with similar treatment processes (advanced secondary treatment).  Due to the large number of samples with results below detection limits, the interim limitation was computed using the “log-Probit method” for estimating interim performance-based limitations, and provides unbiased estimates of distribution parameters and percentiles.  The interim limitation was computed using the 99.87th percentile (or three standard deviations above the mean) of the pooled effluent data, resulting in a value of 32 μg/L, expressed as a daily maximum limitation.

- Antibacksliding/Antidegradation.  This interim limitation is higher than the existing interim permit limitation of 7.7 µg/L.  Antibacksliding does not apply to interim limitations as the final WQBELs based on the WQC have not changed from the existing permit to this one.  Antidegradation is satisfied because Lower South San Francisco Bay is in attainment for cyanide, the new limit will not result in significantly lower water quality, and the proposed action does not involve significant or substantial increases in pollutant loadings.  Furthermore, there is also evidence to suggest that, to some degree, cyanide measured in effluents may be an artifact of the analytical method used or the result of analytical interferences.  In addition, it is not known whether the form(s) of cyanide that are measured in POTW effluents exhibit toxicity in the environment.

- WERF has initiated a $500,000 study to reassess cyanide criteria for the protection of aquatic life and wildlife. It will critique data to assure it meets current best scientific standards and new USEPA guidelines, recommend testing strategies, and develop a data set to meet guidelines for ambient water quality development.  It is expected that results from that study will provide information useful to devising alternative cyanide compliance strategies for shallow water dischargers in San Francisco Bay.

- This Order contains two requirements to satisfy while the interim limitation is in effect. The first requirement, a compliance schedule, requires the Discharger to track and participate in relevant WERF studies, as described in the previous finding. Results from these studies should enable the Board to determine compliance with final WQBELS during the next permit reissuance.  The second requirement, an SSO Study, requires the Discharger to actively participate in the development of an SSO for cyanide for San Francisco Bay.

- Cyanide SSO.  A regional discharger-funded study is underway for development of a cyanide SSO.  The cyanide study plan was submitted on October 29, 2001.  The final report was submitted to the Board on June 26, 2003.  The WQBELs will be recalculated, as appropriate, based on the cyanide SSO, if adopted.

- Cyanide Analytical Methods.  Historically, the Dischargers in the San Francisco Bay Area used Standard Methods Part 4500-CN C and Part 4500-CN I for total and weak acid dissociable cyanide measurements, respectively, in the effluent samples.  From these sampling results, it appears there may be unknown constituents in the effluent that interfere with the measured results.  Recently, another Discharger in San Francisco Bay Area, Central Contra Costa Sanitary District (CCCSD), switched to USEPA Method OI 1677, which is a continuous-flow, amperometric method.  This method in some instances is less influenced by all the interferences common to Standard Methods Part 4500-CN C and 4500-CN I.  Using this method, CCCSD discovered that sulfide, sulfite, and certain other reducing substances could cause false positive cyanide results. This permit authorizes the discharger the option of using Method OI 1677 for cyanide compliance monitoring.

Chlorodibromomethane and Dichlorobromomethane

- Chlorodibromomethane and Dichlorobromomethane Water Quality Criteria.  In the CTR, the lowest criteria for chlorodibromomethane and dichlorobromomethane are the human health values of 34 and 46 μg/L, respectively.

- Chlorodibromomethane and Dichlorobromomethane Effluent Limitations.  Based on the RPA, there is reasonable potential for exceedances of the WQC for chlorodibromomethane and dichlorobromomethane.  Interim effluent limitations are required for chlorodibromomethane since the Discharger has demonstrated and the Board verified that the calculated final WQBELs (AMEL of 34 μg/L and MDEL of 96 μg/L) included in the Fact Sheet as a point of reference, will be infeasible to meet.  This permit establishes a performance-based interim limitation of 58 µg/L derived from the arithmetic mean plus three standard deviations of the April 1999-March 2002 effluent data set.

Interim effluent limitations are required for dichlorobromomethane since the Discharger has demonstrated and the Board verified that the calculated final WQBELs (AMEL of 46 μg/L and MDEL of 122 μg/L) included in the Fact Sheet as a point of reference, will be infeasible to meet.  This permit establishes a performance-based interim limitation of 68 µg/L derived from the arithmetic mean plus three standard deviations of the April 1999-March 2002 effluent data set.

- Chlorodibromomethane and Dichlorobromomethane Source Control.  This Order requires the Discharger to develop a program to maximize practicable control over the generation of trihalomethanes in the disinfection process.

#### 4,4’-DDE, Dieldrin, and Heptachlor Epoxide

- Water Quality Criteria.  In the CTR, the lowest criteria for 4,4’-DDE, dieldrin, and heptachlor epoxide are the human health values of 0.00059 μg/L, 0.00014 μg/L, and 0.00011 μg/L, respectively. These criteria are well below the MLs of 0.05 μg/L, 0.01 μg/L, and 0.01 μg/L, respectively, identified in Appendix 4 of the SIP.

- 4,4’-DDE, Dieldrin, and Heptachlor Epoxide Effluent Limitations.  Based on the RPA, there is reasonable potential for exceedances of the WQC for 4,4’-DDE, dieldrin, and heptachlor epoxide. The Board intends to establish a TMDL that will lead towards overall reduction of 4,4’-DDE and dieldrin mass loadings into South San Francisco Bay. If the Discharger is found to be contributing to 4,4’-DDE and dieldrin impairment in South San Francisco Bay, effluent limitations will be revised based on the Discharger’s WLA in the TMDL.  Compliance with the final WQBELs included in the Fact Sheet as a point of reference cannot be determined at this time as the MLs are higher than the final calculated WQBELs.  Therefore, interim limitations are established at the respective MLs.  The interim limitations are as follows; DDE is 0.05 μg/L, Dieldrin is 0.01 μg/L, and heptachlor epoxide is 0.01 μg/L.  During the most recent sampling in September 2001 and March 2002, 4,4’-DDE, dieldrin, and heptachlor epoxide all were reported as below the SIP MLs.

#### Endrin

- Endrin Water Quality Criteria.  In the CTR, the criterion for aldrin is the human health value of 0.0023 μg/L. This criterion is well below the Minimum Levels (ML) of 0.01 μg/L identified in Appendix 4 of the SIP

- Endrin Effluent Limitation.  The Discharger has demonstrated and the Board verified that it is infeasible to immediately comply with the final WQBELs (AMEL of 0.002 μg/L and MDEL of 0.004 μg/L) included in the Fact Sheet as a point of reference.  There are insufficient detected levels of endrin in the discharge (one of 11 samples) for the Board to perform a statistical evaluation of feasibility to comply with final WQBELs.  Therefore, the Board determined infeasibility based on comparison of the MEC to the WQC.  The limited data also preclude any meaningful statistical evaluation of current treatment performance for this parameter and the previous permit does not include an endrin effluent limitation.  Because of the lack of data, this Order does not establish an interim limitation for endrin and requires the Discharger to continue monitoring for this pollutant.  When additional data become available, an interim limitation will be determined, as appropriate.  In addition, the additional data will be considered to verify reasonable potential for endrin.  Endrin is a historic pesticide for which all uses in the U.S. were voluntarily discontinued in 1984.

#### PAHs

- Water Quality Criteria.  The CTR contains numeric WQC for a number of individual PAHs of 0.049 μg/L, including benzo(b)fluoranthene and indeno(1,2,3-cd)pyrene.

- PAH Effluent Limitations. There is reasonable potential for benzo(b)fluoranthene and indeno(1,2,3-cd)pyrene, because the background concentration for each parameter exceeded the WQC.  Compliance with the final WQBELs included in the Fact Sheet as a point of reference cannot be determined at this time as the MLs are higher than the final calculated WQBELs.  Therefore, interim limitations are established at the respective MLs.  The interim limitations are as follows: benzo(b)fluoranthene is 10.0 μg/L and indeno(1,2,3-cd) pyrene is 0.05 μg/L.  Self-monitoring data from 1999-2002 indicate that PAHs have never been detected in the effluent.

- Impairing Status for PAHs.  Reasonable potential and the need for effluent limitations for PAHs are supported by recent evidence that suggests high molecular PAHs are bioaccumulative and the impairing status is under further review.  The Board staff report entitled Proposed Revisions to Section 303(d) List and Priorities for Development of Total Maximum Daily Loads, dated November 14, 2001, states:

“PAHs are known carcinogens that accumulate in shellfish tissue, but do not accumulate in fish tissue.  The weight of evidence from the Regional Monitoring Program (RMP) indicates that although water quality criteria are almost never exceeded at RMP stations (between 0 and 1% of RMP water samples individual PAHs exceeded the EPA and CRT criterion) there is evidence that PAHS may be accumulating at higher levels over time (Hoenicke, Hardin, et al., in prep.; Thompson et al., 1999).”

The Board staff Report Proposed Revisions to Section 303(d) List and Priorities for Development of Total Maximum Daily Loads also states:

“PAH water quality objectives from the California Toxics Rule (CTR) are human health-based and are therefore incomplete with respect to potential impacts to aquatic life described above.  PAHs are elevated in sediments of about half the toxic hotspot sites identified in the Bay Protection Program exhibiting a correlative (not causative) but potentially synergistic effect on aquatic life along with other chemicals, as evidenced by sediment toxicity tests and degraded benthic communities (BPTCP, 1998).  Occasional exceedances of the human health criteria in ambient samples, evidence of increasing shellfish concentrations, and preponderance of PAHs at toxic sites warrant increased assessment activities for PAHs by dischargers and cities around the region.”

PAHs are included on the State’s 2002 Monitoring List for South San Francisco Bay to provide additional data to allow future evaluation of impairment status.

Tributyltin

- Water Quality Criteria.  The USEPA has established saltwater criteria for tributyltin of 0.01 µg/L for chronic protection and 0.37 µg/L for acute protection.

- Tributyltin Effluent Limitations.  This Order contains tributyltin WQBELs because, based on the RPA, there is reasonable potential for exceedances of the WQC.  The final effluent limitations calculated as required by Section 1.4 of the SIP are: AMEL of 0.01 µg/L and MDEL of 0.03 µg/L.  Effluent data from 1999-2002 was considered to determine feasibility.  The limited number of detected concentrations (six of 36 samples) preclude any statistical evaluation of current treatment performance for this parameter.  The July and August 2000 samples exceeded the final limitations.  All recent data, however, have been below the final limitations.  The Board has determined that the Discharger can comply with the final limitations and interim limitations are not necessary.

- Antidegration/Antibacksliding.  The new WQBELs are less stringent than the previous permit (AMEL of 0.005 µg/L and MDEL of 0.04 µg/L).  Under Clean Water sections 402(o)(1) and 303(d)(4), there is an exception to antibacksliding for a discharge of a pollutant where the water body is in attainment for that pollutant as long as the relaxation complies with antidegradation requirements.  Antidegradation is satisfied because Lower South San Francisco Bay is in attainment for tributyltin, the new limits will not result in significantly lower water quality, and the proposed action does not involve significant or substantial increases in pollutant loadings. The previous Order acknowledged that the previous limitation should only apply for the duration of that Order pending additional WQC development.

Dioxin TEQ

- Dioxin Water Quality Criteria.  The CTR establishes a numeric human health WQO of 0.014 picograms per liter (pg/L) for 2,3,7,8-tetrachlorinated dibenzo-p-dioxin (2,3,7,8-TCDD) based on consumption of aquatic organisms.  Findings above discusse the use of TEQ’s for other dioxin-like compounds, the RPA procedures, and SIP requirements.  Staff used TEQs to translate the narrative WQOs to numeric WQOs for the other 16 congeners.

- Dioxin Effluent Limitations.  The final limitations for dioxin TEQ will be based on the waste load allocated to the Discharger in the TMDL.  The detection limits historically used by the Discharger are insufficient to determine the concentrations of the dioxin congeners in the discharge.  The SIP does not specify an ML for dioxin analysis.  An interim limitation for dioxin TEQ, therefore, cannot be calculated.  Due to the need to establish a performance-based interim limit, this permit requires additional dioxin monitoring and a study to evaluate and implement analytical methods with lower detection limits

### Whole Effluent Acute Toxicity

- This Order includes effluent limitations for whole effluent acute toxicity.  Compliance evaluation is based on 96-hour flow through or static bioassays.  USEPA promulgated updated test methods for acute and chronic toxicity bioassays in December 2002 in 40 CFR Part 136. Dischargers have identified several practical and technical issues that need to be resolved before implementing the new procedures, referred to as the 5th Edition.  The primary unresolved issue is the use of younger, possibly more sensitive fish, which may necessitate a reevaluation of permit limitations.  SWRCB staff recommended to the Boards that new or renewed permit holders be allowed a time period in which laboratories can become proficient in conducting the new tests.  A provision is included in this Order granting the Discharger up to 1 year to implement the new test method.  In the interim, the Discharger may continue using the current test protocols.  The previous Order included acute toxicity testing requirements and limitations.  The limitations remain unchanged in this Order.  During 1999-2001, the eleven sample median survival was 100 percent.  The 90th percentile survival was between 96-100 percent.

### Whole Effluent Chronic Toxicity

- Program History.  The Basin Plan contains a narrative toxicity objective stating that "All waters shall be maintained free of toxic substances in concentrations that are lethal to or produce other detrimental responses to aquatic organisms" and that "there shall be no chronic toxicity in ambient waters" (BP, page 3-4). In 1986, the Board initiated the Effluent Toxicity Characterization Program (ETCP), with the goal of developing and implementing toxicity limitations for each discharger based on actual characteristics of both receiving waters and waste streams.  Dischargers were required to monitor their effluent using critical life stage toxicity tests to generate information on toxicity test species sensitivity and effluent variability to allow development of appropriate chronic toxicity effluent limitations.  In 1988 and 1991, selected dischargers conducted two rounds of effluent characterization.  A third round was completed in 1995, and the Board is evaluating the need for an additional round.  Board guidelines for conducting toxicity tests and analyzing results were published in 1988 and last updated in 1991.  The Discharger participated in the ETCP.

- The Board adopted Order No. 92-104 in August 1992 amending the permits of eight Dischargers to include numeric chronic toxicity limitations.  However, due to the court decision, which invalidated the California Enclosed Bays and Estuaries Plan and Inland Surface, Waters Plan, on which Order No. 92-104 was based, the SWRCB stated, by letter dated November 8, 1993, that the Board will have to reconsider the order.  This letter also committed to providing the Regional Boards with guidance on issuing permits in the absence of the State Plans (Guidance for NPDES Permit Issuance, February 1994)

- Regional Board Program Update. The Board intends to reconsider Order No. 92-104 as directed by the SWRCB, and to update, as appropriate, the Board’s Whole Effluent Toxicity (chronic and acute) program guidance and requirements.  This will be done based on analysis of discharger routine monitoring and ETCP results, and in accordance with current USEPA and SWRCB guidance. In the interim, decisions regarding the need for and scope of chronic toxicity requirements for individual dischargers will continue to be made based on BPJ as indicated in the Basin Plan.

- Discharge Monitoring.  The Discharger participated in the second round of ETCP screening and variability testing in 1991-1993. During the course of this ETCP monitoring, the Discharger did not detect a pattern of acute and/or chronic toxicity.  In 2002, the Discharger repeated these acute and chronic screening and variability experiments, and again did not detect any patterns in toxicity.

- Permit Requirements.  In accordance with USEPA and SWRCB Task Force guidance, and based on BPJ, this permit includes requirements for chronic toxicity monitoring based on the Basin Plan narrative toxicity objective. This permit includes the Basin Plan narrative toxicity objective as the applicable effluent limitation, implemented via monitoring with numeric values as “triggers” to initiate accelerated monitoring and to initiate a chronic toxicity reduction evaluation (TRE) as necessary. The permit requirements for chronic toxicity are also consistent with the CTR and SIP requirements.

- Permit Reopener.  The Board will consider amending this permit to include numeric toxicity limitations if the Discharger fails to aggressively implement all reasonable control measures included in its approved TRE workplan, following detection of consistent significant non-artifactual toxicity.

### Bacteria Limitations

- On April 15, 2003, the Discharger submitted to the Board a technical memorandum requesting enterococcus effluent limitations.  The memorandum provides a rationale for why the information provided by the Cities of San Jose/Santa Clara and City of Palo Alto in their studies of alternate limitations of bacteriological quality also supports limitations for the Discharger.  The Board has reviewed the memorandum and supports the request for enterococcus effluent limitation.  The Board is requiring a confirmation study in Provision E.12 to confirm that the limitations are consistent with the appropriate water contact level for the receiving waters.

## Ammonia Limitations

- Provision E.9 of the previous Order required the Discharge to complete a study on the effects of ammonia in the discharge on the receiving water and the appropriate effluent limitations.  In part, this study was required because of reduced ammonia removal at the plant during winter months and occasional occurrence of low dissolved oxygen levels in the receiving water.  On June 29, 2001, the Discharger submitted to the Board - City of Sunnyvale Receiving Water Ammonia Investigations Final Report.  This report indicates that unionized ammonia levels in the discharge do not cause toxicity in the receiving water and total ammonia in the effluent likely does not contribute to the seasonally depressed dissolved oxygen levels.  Based on these findings, the Board has retained the existing permit limitations for ammonia, i.e., numeric limitations that only apply during June through September.

## Pretreatment Program

- The Discharger has implemented and is maintaining a USEPA approved pretreatment program in accordance with Federal Pretreatment Regulations (40 CFR 403) and the requirements specified in Attachment G “Pretreatment Requirements.” Order 01-059 amended the Discharger’s permit (as well as 14 other dischargers’ permits in the Region) to reflect the Board’s most recent pretreatment program requirements.  The requirements of this Order supercede Order 01-059, as allowed by Provision 10 of Order 01-059.

## Pollutant Prevention and Pollutant Minimization

- The Discharger has established a Pollution Prevention Program under the requirements specified by the Board.

- The Discharger’s Pretreatment and Pollution Prevention Programs have resulted in a significant reduction of toxic pollutants discharged to the treatment plant and to the receiving waters.

- Section 2.4.5 of the SIP specifies under what situations and for which priority pollutant(s) (i.e., reportable priority pollutants) the Discharger shall be required to conduct a Pollutant Minimization Program in accordance with Section 2.4.5.1.

- There may be some redundancy required between the Pollution Prevention Program and the Pollutant Minimization Program.

- Where the two programs’ requirements overlap, the Discharger is allowed to continue/modify/expand its existing Pollution Prevention Program to satisfy the Pollutant Minimization Program requirements.

- For constituents identified under Effluent Limitations, Sections B and C, the Discharger will conduct appropriate source control or pollutant minimization measures that are consistent with its approved Pretreatment and Pollution Prevention Programs.  For constituents with compliance schedules under this permit (mercury, cyanide, chlorodibromomethane, dichlorobromomethane, benzo(b)fluoranthene, indeno(1,2,3-cd)pyrene, endrin, 4,4’-DDE, dieldrin, and heptachlor epoxide), the applicable source control/pollutant minimization requirements of Section 2.1 of the SIP will also apply.

- The Board staff intends to require an objective third party to establish model programs, and to review program proposals and reports for adequacy.  This is to encourage use of pollution prevention and does not abrogate the Board’s responsibility for regulation and review of the Discharger’s Pollution Prevention Program.  Board staff will work with the Discharger and other interested parties to identify the appropriate third party for this effort.

## Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy

- Insufficient Effluent and Ambient Background Data.  The Board’s review of the effluent and ambient background monitoring data found that there were insufficient data to determine reasonable potential and calculate numeric WQBELs, where appropriate, for some of the pollutants listed in the SIP.

- SIP- Required Dioxin study.  The SIP states that each Board shall require major and minor POTWs and industrial dischargers in its region to conduct effluent monitoring for the 2,3,7,8-TCDD congeners whether or not an effluent limitation is required for 2,3,7,8-TCDD.  The monitoring is intended to assess the presence and amounts of the congeners being discharged to inland surface waters, enclosed bays, and estuaries.  The State Board will use these monitoring data to establish strategies for a future multi-media approach to control these chemicals.

- On August 6, 2001, the Board sent a letter to all the permitted dischargers pursuant to Section 13267 of the California Water Code requiring the submittal of effluent and receiving water data on priority pollutants.  This formal request for technical information addresses the insufficient effluent and ambient background data, and the dioxin study.  The letter (described above) is referenced throughout the permit as the “August 6, 2001 Letter”.

- Pursuant to the August 6, 2001 Letter from Board Staff, the Discharger is required to submit workplans and sampling results for characterizing the levels of selected constituents in the effluent and ambient receiving water.

- Monitoring Requirements (Self-Monitoring Program).  The SMP includes monitoring at the outfall for conventional, non-conventional, and toxic pollutants, and acute and chronic toxicity.  To ensure plant reliability, the Discharger is required to monitor its effluent on a daily basis.  This will be accomplished through daily turbidity monitoring.  Turbidity is a good performance indicator for a tertiary treatment plant.  Turbidity is typically monitored with an on-line probe.  Because the Discharger currently monitors turbidity on a daily basis, there is no incremental cost increase.  Because of this requirement, the Board has reduced the monitoring frequencies for CBOD and TSS from three times a week to weekly and the settleable matter frequency from weekly to quarterly since these parameters are not being used to assess day-to-day performance.  In addition, the Discharger has consistently been well below the effluent limitations for these parameters.  The monitoring frequency for bacteria has been increased to five times per week.  This will provide data for assessment of compliance with the new bacteria limitations, while the Discharger reduces chlorine usage at the plant. This Order requires monthly monitoring for copper, nickel, and tributyltin to demonstrate compliance with final effluent limitations.  For mercury, cyanide, chlorodibromomethane, and dichlorobromomethane, the Discharger will also perform monthly monitoring to demonstrate compliance with interim limitations.  Monthly monitoring for endrin is also required to provide sufficient data to determine an interim limitation for this pollutant. Additionally, this Order requires twice yearly monitoring for benzo(b)fluoranthene, indeno(1,2,3-cd)pyrene, dieldrin, 4,4’-DDE, and heptachlor epoxide to demonstrate compliance with final effluent limitations.  These pollutants were not detected in the effluent during 1999-2002.  For dioxins and furans, due to the need to calculate a performance-base interim limit, this Order also requires twice yearly monitoring using methods with low detection limits.  In lieu of near field discharge specific ambient monitoring, it is generally acceptable that the Discharger participate in collaborative receiving water monitoring with other dischargers under the provisions of the August 6, 2001 letter and the RMP.

- Optional Mass Offset. This Order contains requirements to prevent further degradation of the impaired waterbody.  Such requirements include the adoption of interim mass limitations that are based on treatment plant performance, provisions for aggressive source control, feasibility studies for wastewater reclamation, and treatment plant optimization.  After implementing these efforts, the Discharger may find that further net reductions of the total mass loadings of the 303(d)-listed pollutants to the receiving water can only be achieved through a mass offset program.  This Order includes an optional provision for a mass offset program.

## Clean Bay Strategy/Water Quality Attainment Strategy

- In establishing the SSOs for South San Francisco Bay, the Board determined that copper and nickel are not causing impairment.  At the same time, the May 22, 2002 Regional Board Basin Plan Amendment and October 17, 2002 State Board Resolutions approving the Basin Plan Amendment, also required implementation of the WQAS by Dischargers, including the City of Sunnyvale.  This Order requires the Discharger to comply with the requirements of the WQAS and the associated Copper and Nickel Action Plans.

## Other Discharge Characteristics and Permit Conditions

- NPDES Permit.  This Order serves as an NPDES Permit, adoption of which is exempt from the provisions of Chapter 3 (commencing with Section 21100) of Division 13 of the Public Resources Code [California Environmental Quality Act (CEQA)] pursuant to Section 13389 of the California Water Code.

- Notification.  The Discharger and interested agencies and persons have been notified of the Board's intent to reissue requirements for the existing discharges and have been provided an opportunity to submit their written views and recommendations.  Board staff prepared a Fact Sheet and Response to Comments, which are hereby incorporated by reference as part of this Order.

- Public Hearing. The Board, in a public meeting, heard and considered all comments pertaining to the discharge.

IT IS HEREBY ORDERED, pursuant to the provisions of Division 7 of the California Water Code, regulations, and plans and policies adopted thereunder, and to the provisions of the Clean Water Act and regulations and guidelines adopted thereunder, that the Discharger shall comply with the following:

# A.   DISCHARGE PROHIBITIONS

1.	Discharge of treated wastewater at a location or in a manner different from that described in this Order is prohibited.

2.	Discharge of process wastewater at any point where it does not receive an initial dilution of at least 10:1 is prohibited.

3.  Discharge of waste to dead-end sloughs or confined waterways is prohibited.

4.  Discharge of waste to waters of San Francisco Bay south of the Dumbarton Bridge or tributaries is prohibited.

5.	The bypass or overflow of untreated or partially treated process wastewater to waters of the State, either at the treatment plant or from the collection system is prohibited.  Bypass is only allowed under the conditions stated in 40CFR Part 122.41(m)(4) and in Standard Provisions A.13.  Bypassing of individual treatment processes during periods of high wet weather flow in the form of blending, is allowable provided that the combined discharge of fully treated and partially treated wastewater complies with the effluent and receiving water limitations in this Order.

6.  Discharges of water, materials, or wastes other than storm water, which are not otherwise authorized by this NPDES permit, to a storm drain system or waters of the State are prohibited.

- The average dry weather flow (ADWF) discharged shall not exceed 29.5 mgd. The average dry weather flow shall be determined over three consecutive dry weather months each year.

- By complying with the metals limitations in B.6 and the requirements in Provisions E.2 and E.10, the Discharger is granted an exception to discharge Prohibitions 2 through 4.

# B.   EFFLUENT LIMITATIONS

## Conventional Pollutants

- The discharge at Outfall E-001 containing constituents in excess of any of the following limitations, is prohibited:

|  | Constituent | Unit | Monthly Average | Daily Maximum | Instantaneous Maximum |
| --- | --- | --- | --- | --- | --- |
| a. | CBOD | mg/L | 10 | 20 | - |
| b. | Ammonia-N | mg/L | 21 | 51 | - |
| c. | Suspended Solids | mg/L | 20 | 30 | - |
| d. | Oil and Grease | mg/L | 5 | 10 | - |
| e. | Settleable Matter | mg/L-hr | 0.1 | 0.2 |  |
| f. | Turbidity | NTU | - | - | 10 |
| g. | Chlorine Residual | mg/L | - | - | 0.02 |

1These limitations shall only apply during June through September.

2Requirement as defined as below the limit of detection in standard test methods defined in the latest USEPA approved edition of Standard Methods for the Examination of Water and Wastewater. The Discharger may elect to use a continuous on-line monitoring system(s) for measuring flows, chlorine and sodium bisulfite dosage (including a safety factor) and concentration to prove that chlorine residual exceedances are false positives. If convincing evidence is provided, Board staff will conclude that these false positive chlorine residual exceedances are not violations of this permit limitation.

- The discharge shall not have pH of less than 6.5 nor greater than 8.5.  If the Discharger monitors pH continuously, the Discharger shall be in compliance with the pH limitation provided that both of the following conditions are satisfied: (i) The total time during which the pH values are outside the required range of pH values shall not exceed 7 hours and 26 minutes in any calendar month; and (ii) No individual excursion from the range of pH values shall exceed 60 minutes.

- The arithmetic mean of the carbonaceous biochemical oxygen demand (CBOD5 20oC) and total suspended solids (TSS) values, for effluent samples collected in each calendar month shall not exceed 15 percent of the arithmetic mean of the respective values for influent samples collected at approximately the same times during the same period, i.e., at least 85 percent removal.

## Toxic Pollutants

- Whole Effluent Acute Toxicity

Representative samples of the discharge at Outfall E-001 shall meet the following limitations for acute toxicity.  Bioassays shall be conducted in compliance with Provision E.9.

a.	The survival of bioassay test organisms in 96-hour bioassays of undiluted effluent shall be:

(1)	 An eleven (11)-sample median value of not less than 90 percent survival; and

(2)	 An eleven (11)-sample 90th percentile value of not less than 70 percent survival.

b.	These acute toxicity limitations are further defined as follows:

(1)	11-sample median limitation:

Any bioassay test showing survival of 90 percent or greater is not a violation of this limitation.  A bioassay test showing survival of less than 90 percent represents a violation of this effluent limitation, if five or more of the past ten or fewer bioassay tests also show less than 90 percent survival.

(2)	90th percentile limitation:

Any bioassay test showing survival of 70 percent or greater is not a violation of this limitation.  A bioassay test showing survival of less than 70 percent represents a violation of this effluent limitation, if one or more of the past ten or fewer bioassay tests also show less than 70 percent survival.

c.	Bioassays shall be performed using the most up-to-date USEPA protocol and the most sensitive species as specified in writing by the Executive Officer based on the most recent screening test results.  Bioassays shall be conducted in compliance with “Methods for Measuring The Acute Toxicity of Effluents and Receiving Water To Freshwater and Marine Organisms”, currently 5th Edition, with exceptions granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP) upon the Discharger’s request with justification.

- Chronic Toxicity

a.	Representative samples of the effluent shall meet the following requirements for chronic toxicity.  Compliance with the Basin Plan narrative chronic toxicity objective shall be demonstrated according to the following tiered requirements based on results from representative samples of the treated final effluent meeting test acceptability criteria:

      - Routine monitoring;

      - Accelerated monitoring after exceeding a three sample median value of 1 chronic toxicity (TUc) or a single sample maximum of 2 TUc or greater.  Accelerated monitoring shall consist of monitoring at frequency intervals of one half the interval given for routine monitoring in the SMP of this Order;

      - Return to routine monitoring if accelerated monitoring does not exceed either “trigger” in “2”, above;

      - Initiate approved toxicity identification evaluation/toxicity reduction evaluation (TIE/TRE) work plan if accelerated monitoring confirms consistent toxicity above either “trigger” in “2”, above;

Return to routine monitoring after appropriate elements of TRE work plan are implemented and either the toxicity drops below “trigger” level in “2”, above or, based on the results of the TRE, the Executive Officer authorizes a return to routine monitoring

b. 	Test Species and Methods: The Discharger shall conduct routine monitoring with the most up-to-date USEPA approved protocol and most sensitive species determined during the most recent chronic toxicity screening performed by the Discharger and approved by the Executive Officer. Bioassays shall be conducted in compliance with the “Short-Term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Water to Freshwater Organisms,” currently 4th edition (EPA 821-R-02-01), with exceptions granted the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP) upon the Discharger’s request with justification.

- Toxic Substances:  The discharge at Outfall E-001 shall not exceed the following limitations:

| Constituent | Daily Maximum | Monthly Average | Interim Daily Maximum | Interim Monthly Average | Units | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| Copper | 20 | 10 |  |  | g/L | (1)(6) |
| Mercury |  |  | 2.1 | 0.012 | g/L | (1)(2)(6) |
| Nickel | 40 | 24 |  |  | g/L | (1)(6) |
| Cyanide |  |  | 32 |  | g/L | (1)(3)(6) |
| Chlorodibromomethane |  |  | 58 |  | g/L | (1)(4)(6) |
| Dichlorobromomethane |  |  | 68 |  | g/L | (1)(4)(6) |
| Tributyltin | 0.03 | 0.01 |  |  | g/L | (1)(6) |
| 4,4’-DDE |  |  | 0.05 |  | g/L | (1)(5)(6) |
| Dieldrin |  |  | 0.01 |  | g/L | (1)(5)(6) |
| Heptachlor Epoxide |  |  | 0.01 |  | g/L | (1)(5)(6) |
| Benzo(b)Fluoranthene |  |  | 10 |  | g/L | (1)(5)(6)(7) |
| Indeno(1,2,3-cd)Pyrene |  |  | 0.05 |  | g/L | (1)(5)(6) |

Footnotes:

(1)	(a)	All analyses shall be performed using current USEPA methods, or equivalent methods approved in writing by the Executive Officer.

(b)	Limitations apply to the average concentration of all samples collected during the averaging period (Daily = 24-hour period; Monthly = calendar month).

(2)	Mercury:  The Discharger shall comply with this interim limitation until October 31, 2008 or until a final TMDL is adopted for mercury, and, as appropriate, the permit is reopened to include final effluent limitations based on the wasteload allocation in the TMDL.  Effluent mercury monitoring shall be performed by using ultraclean sampling and analysis techniques to the maximum extent practicable, with a minimum level of 0.002 g/l, or lower.

(3)	Cyanide: The Discharger shall comply with this interim limitation until October 31, 2008, or until the Board amends the limitation based on additional data and/or a site-specific objective.

(4)	Chlorodibromomethane and Dichlorobromomethane:  These interim limitations shall apply until October 31, 2008.

(5)	The Discharger shall comply with these interim limitations until October 31, 2008, or until the Board amends the limitations based on additional data, site-specific objectives, or the waste load allocation in respective TMDLs.

(6)	A daily maximum or monthly average value for a given constituent shall be considered non-compliant with the effluent limitations only if it exceeds the effluent limitation and the reported ML for that constituent.  The table below indicates the highest minimum level that the Discharger's laboratory must achieve for compliance determination purposes.

| Constituent | Minimum Level | Units |
| --- | --- | --- |
| Copper | 0.5 | g/L |
| Mercury | 0.002 | g/L |
| Nickel | 1 | g/L |
| Cyanide | 5 | g/L |
| Chlorodibromomethane | 0.5 | g/L |
| Dichlorobromomethane | 0.5 | g/L |
| 4,4’-DDE | 0.05 | g/L |
| Dieldrin | 0.01 | g/L |
| Heptachlor Epoxide | 0.01 | g/L |
| Benzo(b)Fluoranthene | 10 | g/L |
| Indeno(1,2,3-cd)Pyrene | 0.05 | g/L |
| Tributyltin | [1] | g/L |

[1] The Discharger should continue using the same analytical procedures to achieve the method detection limit of 0.002 µg/L.  Board staff is working with the discharger (through BACWA) to determine a minimum level compliance determination.

(7)	Benzo(b)fluoranthene is listed as 3,4 Benzofluoranthene in the CTR and SIP.

- Dry Weather Interim Mass Emission Limitation for Mercury

During dry weather months (May through October), the total mercury mass load shall not exceed the mercury mass emission limitation of 0.041 kilograms per month (kg/month), as computed below.

Monthly Total Mass Load, kgmonth= Q ∗C ∗0.1151

where

Q	=	monthly average WWTP dry weather effluent flow (May-Oct), MGD, as reported

C	=	effluent concentration, μg/L, corresponding to each month’s flow.

If more than one concentration measurement is obtained in a calendar month, the average of these measurements is used as the monthly concentration value for that month. If test results are less than the method detection limit used, the concentration value shall be assumed to be equal to the method detection limit.

0.1151 =    unit conversion factor to obtain kg/month

- Bacteria Limitations

The treated wastewater, at some point in the treatment process prior to discharge, shall meet the following limitations of bacteriological quality:

a.	30-day geometric mean of less than 35 enterococcus colonies per 100mL; and

  - No single effluent sample exceeding 276 colonies per 100mL, as verified by a follow-up sample taken within 24 hours.

# C.   RECEIVING WATER LIMITATIONS

1.	The discharges shall not cause the following conditions to exist in waters of the State at any place:

a.	Floating, suspended, or deposited macroscopic particulate matter or foam;

b.	Bottom deposits or aquatic growths to the extent that such deposits or growths cause nuisance or adversely affect beneficial uses;

c.	Alteration of temperature, turbidity, or apparent color beyond present natural background levels;

d.	Visible, floating, suspended, or deposited oil or other products of petroleum origin; and

e.	Toxic or other deleterious substances to be present in concentrations or quantities which will cause deleterious effects on wildlife, waterfowl, or other aquatic biota, or which render any of these unfit for human consumption, either at levels created in the receiving waters or as a result of biological concentration.

2.	The discharge of waste shall not cause nuisance, or adversely affect the beneficial uses of the receiving water.

3.	The discharges shall not cause the following limitations to be exceeded in waters of the State at any one place within 1 foot of the water surface:

a.	Dissolved Oxygen:			5.0 mg/L, minimum

The median dissolved oxygen concentration for any three consecutive months shall not be less than 80% of the dissolved oxygen content at saturation. When natural factors cause concentrations less than that specified above, then the discharges shall not cause further reduction in ambient dissolved oxygen concentrations.

b.	Dissolved Sulfide:			0.1 mg/L, maximum

c.	pH:		The pH shall not be depressed below 6.5 nor raised above 8.5, nor caused to vary from normal ambient pH by more than 0.5 pH units.

d.	Un-ionized Ammonia:		0.025 mg/L as N, annual median; and

0.4 mg/L as N, maximum.

e.	Nutrients:					Waters shall not contain biostimulatory substances in concentrations that promote aquatic growths to the extent that such growths cause nuisance or adversely affect beneficial uses.

4.	The discharges shall not cause a violation of any particular water quality standard for receiving waters adopted by the Board or the State Board as required by the Clean Water Act and regulations adopted thereunder. If more stringent applicable water quality standards are promulgated or approved pursuant to Section 303 of the Clean Water Act, or amendments thereto, the Board will revise and modify this Order in accordance with such more stringent standards.

# D.  BIOSOLIDS/SLUDGE REQUIREMENTS

- For biosolids management, the Discharger shall comply with all requirements of 40 CFR Part 503.

- The Discharger of biosolids shall not allow waste material to be deposited in the waters of the State.

- The Discharger shall submit an annual report to the USEPA and the Board containing reuse information and other information requirements as specified by 40 CFR Part 503.

# E.  PROVISIONS

### Permit Compliance and Rescission of Previous Waste Discharger Requirements

The Discharger shall comply with all sections of this Order beginning November 1, 2003. Requirements prescribed by this Order supersede the requirements prescribed by Order Nos. 98-053, 00-109, and No. 01-059.  Order Nos. 98-053 and 00-109 are hereby rescinded upon the effective date of this permit.

### Avian Botulism Control Program

The Discharger shall continue to monitor Moffett Channel, Guadaloupe Slough, and South San Francisco Bay for the presence of avian botulism, and control outbreaks through the prompt collection of sick and dead vertebrates.  The Discharger shall continue to submit annual reports to the Board, the California Department of Fish and Game, and the US Fish and Wildlife Service.  Annual reports shall be due on February 1.

### Chlorodibromomethane and Dichlorobromomethane Compliance Schedule

Under this Permit, the Discharger will be operating under enterococcus bacteriological effluent limitations. This will allow the Discharger to reduce chlorine dosages and potentially the generation of disinfection byproducts.

The Discharger shall comply with the following tasks and deadlines:

| Task | Deadline |
| --- | --- |
| a. The Discharger shall submit a work plan that will include tasks intended to define the correlation between chlorine dosages and formation of chlorodibromomethane and bromodichloromethane, such as conducting monitoring throughout the treatment process and analyzing chlorine dosage histories. | Within 90 days after permit adoption |
| b. Upon approval by the Executive Officer, the Discharger shall implement the work plan within 90 days. Annual reports shall be submitted documenting the progress of the studies by February 28 of each year or by the date specified in the approved proposal. The Discharger will submit to the Board a final report detailing all monitoring activities, potential cost-effective control measures, and recommended actions to comply with the final effluent limitations by the date specified in the approved proposal. | Annual Reports |
| c. Full compliance with final limitations provided in the Fact Sheet as a point of reference | November 1, 2008 |

### Cyanide Compliance Schedule and Cyanide SSO Study

The Discharger shall comply with the following tasks and deadlines:

| Task | Deadline |
| --- | --- |
| a. Compliance Schedule. The Discharger shall track and participate in relevant WERF studies, as described in findings above. Results from these studies shall enable the Board to determine compliance with final WQBELS during the next permit reissuance | Annual progress reports |
| b. SSO Study. The Discharger shall actively participate in the development of SSOs for cyanide for San Francisco Bay. | Annual progress reports |
| c. Full compliance with final limitations provided in the Fact Sheet as a point of reference | November 1, 2008 |

### Mercury Special Study

The Discharger shall comply with the following tasks and deadlines:

| Task | Deadline |
| --- | --- |
| a. Workplan. The Discharger shall submit a workplan, acceptable to the Executive Officer, that includes, but is not limited to, the following: a strategy to determine an appropriate site for “first flush” characterization and assessment, and for identification and evaluation of options for directing mercury contaminated storm water to the WWTP; and a schedule to implement the minimum 2-year study. | Within 120 days after permit adoption |
| b. Final Report. The Discharger shall submit a final report, acceptable to the Executive Officer, that includes the following: analyzes data to determine mercury loadings associated with “first flush” storm water, and identifies and evaluates, the feasibility, costs, and benefits of directing mercury contaminated storm water to the Plant | December 15, 2007 |
| c. Progress Reports | Annually |

### Pretreatment Program

- The Discharger shall implement all pretreatment requirements contained in 40 CFR 403, as amended.  The Discharger shall be subject to enforcement actions, penalties, and fines as provided in the Clean Water Act (33 USC 1351 et seq.), as amended.  The Discharger shall implement and enforce its Approved Pretreatment Program or modified Pretreatment Program as directed by the Board’s Executive Officer or the USEPA.  The USEPA and/or the State may initiate enforcement action against an industrial user for noncompliance with applicable standards and requirements as provided in the Clean Water Act.

- The Discharger shall enforce the requirements promulgated under Sections 307(b), 307(c), 307(d) and 402(b) of the Clean Water Act.  The Discharger shall cause industrial users subject to Federal Categorical Standards to achieve compliance no later than the date specified in those requirements or, in the case of a new industrial user, upon commencement of the discharge.

- The Discharger shall perform the pretreatment functions as required in 40 CFR Part 403 and amendments or modifications thereto including, but not limited to:

- Implement the necessary legal authorities to fully implement the pretreatment regulations as provided in 40 CFR 403.8(f)(1);

- Implement the programmatic functions as provided in 40 CFR 403.8(f)(2);

- Publish an annual list of industrial users in significant noncompliance as provided per 40 CFR 403.8(f)(2)(vii);

- Provide for the requisite funding and personnel to implement the pretreatment program as provided in 40 CFR 403.8(f)(3); and

- Enforce the national pretreatment standards for prohibited discharges and categorical standards as provided in 40 CFR 403.5 and 403.6, respectively.

- The Discharger shall submit annually a report to the USEPA Region 9, the State Board and the Board describing its pretreatment program activities over the previous twelve months.  In the event that the Discharger is not in compliance with any conditions or requirements of the Pretreatment Program, the Discharger shall also include the reasons for noncompliance and a plan and schedule for achieving compliance.  The report shall contain, but is not limited to, the information specified in Attachment H, Appendix A. entitled, “Requirements for Pretreatment Annual Reports,” which is made a part of this Order.  The annual report is due on the last day of February each year.

- The Discharger shall submit semiannual pretreatment reports to the USEPA Region 9, the State Board and the Board describing the status of its significant industrial users (SIUs).  The report shall contain, but is not limited to, the information specified in Appendix B entitled, “Requirements for Semiannual Pretreatment Reports,” which is made part of this Order.  The semiannual reports are due July 31st (for the period January through June) and January 31st (for the period July through December) of each year.  The Executive Officer may exempt a Discharger from the semiannual reporting requirements on a case-by-case basis subject to State Board and USEPA’s comment and approval.

- The Discharger may combine the annual pretreatment report with the semiannual pretreatment report (for the July through December reporting period).  The combined report shall contain all of the information requested in Appendices A and B and will be due on January 31st of each year.

- The Discharger shall conduct the monitoring of its treatment plant’s influent, effluent, and sludge as described in Appendix C entitled, “Requirements for Influent, Effluent and Sludge Monitoring,” which is made part of this Order.  The results of the sampling and analysis, along with a discussion of any trends, shall be submitted in the semiannual reports.  A tabulation of the data shall be included in the annual pretreatment report.  The Executive Officer may require more or less frequent monitoring on a case-by-case basis.

- The Discharger may implement a non-substantial modification to the pretreatment program if the Executive Officer does not disapprove it within 45 days of being notified of the change

### Effluent Characterization for Selected Constituents

The Discharger shall monitor and evaluate the discharge from Outfall E-001 for the constituents listed in Enclosure A of the Board’s August 6, 2001 Letter.  Compliance with this requirement shall be achieved in accordance with the specifications stated in the Board’s August 6, 2001 Letter under Effluent Monitoring for major Dischargers.  A final report that presents all the data shall be submitted to the Board no later than 180 days prior to the permit expiration date:

### Pollutant Prevention and Minimization Program (PMP)

a.   The Discharger shall continue to conduct and improve its existing Pollution Prevention Program in order to reduce pollutant loadings for constituents such as mercury, heptachlor epoxide, benzo(b)fluoranthene, indeno(1,2,3-cd)pyrene, 4,4’-DDE, and dieldrin, to the treatment plant and therefore to the receiving waters.

b.   The Discharger shall submit an annual report, acceptable to the Executive Officer, no later than February 28th of each year. Annual reports shall cover January through December of the preceding year.  Annual reports shall include at least the following information:

- A brief description of its treatment plant, treatment plant processes and service area.

- A discussion of the current pollutants of concern.  Periodically, the Discharger shall analyze its own situation to determine which pollutants are currently a problem and/or which pollutants may be potential future problems.  This discussion shall include the reasons why the pollutants were chosen.

- Identification of sources for the pollutants of concern.  This discussion shall include how the Discharger intends to estimate and identify sources of the pollutants. The Discharger shall also identify sources or potential sources not directly within the ability or authority of the Discharger to control such as pollutants in the potable water supply and air deposition.

- Identification of tasks to reduce the sources of the pollutants of concern.  This discussion shall identify and prioritize tasks to address the Discharger’s pollutants of concern. The Discharger may implement tasks themselves or participate in group, regional, or national tasks that will address its pollutants of concern.  The Discharger is strongly encouraged to participate in group, regional, or national tasks that will address its pollutants of concern whenever it is efficient and appropriate to do so.  A time line shall be included for the implementation of each task.

- Outreach to employees.  The Discharger shall inform employees about the pollutants of concerns, potential sources, and how they might be able to help reduce the discharge of pollutants of concern into the treatment plant.  The Discharger may provide a forum for employees to provide input to the Program.

- Continuation of a public outreach program.  The Discharger shall continue its public outreach program to communicate pollution prevention to its service area.  Outreach may include participation in existing community events such as county fairs, initiating new community events such as displays and contests during Pollution Prevention Week, conducting school outreach program, conducting plant tours, and providing public information in newspaper articles or advertisements, radio, television stories or spots, newsletters, utility bill inserts, and web site.  Information shall be specific to the target audiences.  The Discharger shall coordinate with other agencies as appropriate.

- Discussion of criteria used to measure the Program’s and tasks’ effectiveness.  The Discharger shall establish criteria to evaluate the effectiveness of its Pollution Prevention Program.  This shall also include a discussion of the specific criteria used to measure the effectiveness of each of the tasks in item b. (iv), b. (v), and b. (vi).

- Documentation of efforts and progress.  This discussion shall detail all of the Discharger’s activities in the Pollution Prevention Program during the reporting year.

- Evaluation of Program’s and tasks’ effectiveness.  The Discharger shall utilize the criteria established in b. (vii) to evaluate the Program’s and tasks’ effectiveness.

- Identification of specific tasks and time schedules for future efforts.  Based on the evaluation, the Discharger shall detail how it intends to continue or change its tasks in order to more effectively reduce the amount of pollutants to the treatment plant, and subsequently in its effluent.

c.	According to Section 2.4.5 of the SIP, when there is evidence that a priority pollutant is present in the effluent above an effluent limitation and either:

- A sample result is reported as detected, but not quantified (less than the Minimum Level) and the effluent limitation is less than the reported Minimum Level; or

- A sample result is reported as not detected (less than the Method Detection Limit) and the effluent limitation is less than the Method Detection Limit,

the Discharger shall expand its existing Pollution Prevention Program to include the reportable priority pollutant.  A priority pollutant becomes a reportable priority pollutant when (1) there is evidence that it is present in the effluent above an effluent limitation and either (c)(i) or (c) (ii) is triggered or (2) if the concentration of the priority pollutant in the monitoring sample is greater than the effluent limitation and greater than or equal to the reported Minimum Level.

d.   If triggered by the reasons in Provision E.8.c. and notified by the Executive Officer, the Discharger’s Pollution Prevention Program shall, within 6 months, also include:

(i)	An annual review and semi-annual monitoring of potential sources of the reportable priority pollutant(s), which may include fish tissue monitoring and other bio-uptake sampling, or alternative measures approved by the Executive Officer when it is demonstrated that source monitoring is unlikely to produce useful analytical data;

(ii)	Quarterly monitoring for the reportable priority pollutant(s) in the influent to the wastewater treatment system, or alternative measures approved by the Executive Officer when it is demonstrated that influent monitoring is unlikely to produce useful analytical data;

(iii)	Submittal of a control strategy designed to proceed toward the goal of maintaining concentrations of the reportable priority pollutant(s) in the effluent at or below the effluent limitation;

(iv)	Development of appropriate cost-effective control measures for the reportable priority pollutant(s), consistent with the control strategy; and

(v)	An annual status report that shall be sent to the RWQCB including:

1.	All Pollution Prevention monitoring results for the previous year;

- A list of potential sources of the reportable priority pollutant(s);

- A summary of all actions undertaken pursuant to the control strategy; and

- A description of actions to be taken in the following year.

e.   To the extent where the requirements of the Pollution Prevention Program and the Pollutant Minimization Program overlap, the Discharger is allowed to continue/modify/expand its existing Pollution Prevention Program to satisfy the Pollutant Minimization Program requirements.

f.	These Pollution Prevention/Pollutant Minimization Program requirements are not intended to fulfill the requirements in The Clean Water Enforcement and Pollution Prevention Act of 1999 (Senate Bill 709).

## Toxicity Requirements

### Acute Toxicity

Compliance with acute toxicity requirements of this Order shall be achieved in accordance with the following:

    - From permit adoption date and up to October 31, 2004:

- Compliance with the acute toxicity effluent limitations of this Order shall be evaluated by measuring survival of test organisms exposed to 96-hour flow-through or static renewal bioassays.

- Test organisms shall be as specified otherwise in writing by the Executive Officer based on the most recent screening test results.

- All bioassays may be performed according to the “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water to Freshwater and Marine Organisms,” 3rd, 4th, or 5th Edition.  Upon the Discharger’s request with justification, exceptions may be granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP).

b.   No later than November 1, 2004:

- Compliance with the acute toxicity effluent limitations of this Order shall be evaluated by measuring survival of test organisms exposed to 96-hour flow through bioassays or static renewal bioassays.  If the Discharger will use static renewal tests, they must submit a technical report by April 30, 2004, identifying the reasons why flow-through bioassay is not feasible using the approved USEPA protocol in 40 CFR 136 (currently 5th edition).

- Test organisms shall be rainbow trout unless specified otherwise in writing by the Executive Officer.

- All bioassays shall be performed according to the most up-to-date protocols in 40 CFR, Part 136, currently in “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water to Freshwater and Marine Organisms,”5th Edition.  Upon the Discharger’s request with justification, exceptions may be granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP).

### Copper – Nickel Water Quality Attainment Strategy Action Plans

Baseline Actions to control copper and nickel (Appendix E), as described in the Copper and Nickel Action Plans herein incorporated in their entirety in this Order, shall be implemented immediately. The Discharger shall submit annual reports to the Bay Monitoring and Modeling Subgroup (or the equivalent group) of the Santa Clara Basin Watershed Management Initiative and the Executive Officer, either included in, or at the same time as, the annual pretreatment report, on the status of these actions. The reports shall be acceptable to the Executive Officer, who will consider comments from the interested parties.

Ten stations described in the Copper Action Plan shall be monitored monthly during the dry season (May through October) for dissolved copper and nickel. The results of this monitoring shall be reported in the monthly Self Monitoring Reports and in the annual Self Monitoring Report to the Board and to the Bay Monitoring and Modeling Subgroup of the Santa Clara Basin Watershed Management Initiative. The Discharger may reference the monthly or annual Self-Monitoring Report of another Lower South Bay Discharger to comply with this Provision.

Phase I Triggers:

If the results of the required monitoring for Stations SB03, SB04, SB05, SB07, SB08, and SB09 show that mean dissolved copper concentrations have risen to 4.0 µg/l, the Dischargers shall implement Phase 1 actions as described in the Copper Action Plan and this Order (Findings 21-23, Attachment E).  Within 90 days after the determination of Phase I trigger exceedances, the Discharger shall submit, for Executive Officer concurrence, its proposed Phase I plans with implementation schedules to implement additional measures to limit its relative cause or contribution to the exceedances.  This submittal shall, at a minimum, include evaluation of the Phase I actions and development of a Phase II plan.

If the results of the required monitoring for Stations SB03, SB06, SB07, SB08, SB09, and SB10 show that mean dissolved nickel concentrations have risen to 6.0 µg/l, the Dischargers shall implement Phase 1 actions described in the Nickel Action Plan and this Order (Findings 24-26, Appendix E).  Within 90 days after the determination of Phase I trigger exceedances, the Discharger shall submit, for Executive Officer concurrence, its proposed Phase I plans with implementation schedules to implement additional measures to limit its relative cause or contribution to the exceedances.  This submittal shall, at a minimum, include evaluation of the Phase I actions and development of a Phase II plan.

Phase II Triggers:

If the results of the monitoring required for Stations SB03, SB04, SB05, SB07, SB08, and SB09 show that mean dissolved copper concentrations have risen to 4.4 μg/L, the Dischargers shall implement Phase II actions described in the Copper Action Plan and this Order (Findings 21-23, Appendix E).  Within 90 days after the determination of Phase II trigger exceedances, the Discharger shall submit, for Executive Officer concurrence, its proposed Phase II plans with implementation schedules to implement additional measures to limit its relative cause or contribution to the exceedance.

If the results of the monitoring required for Stations SB03, SB06, SB07, SB08, SB09, and SB10 show that mean dissolved nickel concentrations have risen to 8.0 μg/L, the Discharger shall implement Phase II actions described in the Nickel Action Plan and this Order (Findings 24-26, Appendix E).  Within 90 days after the determination of Phase II trigger exceedances, the Discharger shall submit, for Executive Officer concurrence, its proposed Phase II plans with implementation schedules to implement additional measures to limit its relative cause or contribution to the exceedance.

If the required submittals are not received within 90 days of the determination of a Phase I or Phase II trigger exceedance or required actions are not being implemented in accordance with the Discharger’s implementation schedule following the Executive Officer’s concurrence, the Board may consider enforcement action to enforce the terms of the Discharger’s permit.

Because the WQAS is an adaptive management plan, modifications to the WQAS may be considered provided that the Discharger continues reasonable treatment, source control, and pollution prevention measures to control discharges.  Therefore, to respond to changed conditions and to incorporate more effective approaches to pollutant control, requests for changes may be initiated by the Executive Officer or by the Discharger. Minor changes may be made with the Executive Officer's approval and will be brought to the Board as information items and the Discharger and interested parties will be notified accordingly.  If proposed changes imply a major revision of the WQAS, the Executive Officer shall bring such changes before the Board as permit amendments and notify the Discharger and interested parties accordingly.

### Santa Clara Basin Watershed Management Initiative

The Discharger shall continue to participate in the Santa Clara Basin Watershed Management Initiative (WMI).

### Receiving Water User Survey

The Discharger is required to conduct a confirmation study to demonstrate that the receiving water downstream is consistent with the USEPA water contact scenario of “lightly used area.”  The Discharger shall submit the confirmation study, acceptable to the Executive Officer, no later than December 31, 2004.

If the Discharger does not satisfy this provision, total coliform limitations, as listed below will be imposed immediately.

a     The moving median value for the Most Probable Number (MPN) of total coliform bacteria in any five (5) consecutive samples shall not exceed 23 MPN/100 mL; and

b.	Any single sample shall not exceed 240 MPN/100 mL.

### Dioxin Special Study

Discharger shall investigate lowering the detection limit for dioxin TEQ congeners.  The special study shall also include monitoring which would allow the Board to calculate an interim limit for dioxin TEQ.

Task		Due Date

Submit study Work Plan acceptable to the Executive Officer	March 1, 2004

Implement Approved Work Plan	20 days after study plan approval

Submit Final Report	May 1, 2008

### Optional Mass Offset

The Discharger may submit to the Board for approval a mass offset plan to reduce 303(d) listed pollutants to the same watershed or drainage basin. The Board may modify this Order to allow an approved mass offset program.

### Operations & Maintenance Manual and Reliability Report Updates

- The Discharger shall maintain an Operations and Maintenance Manual (O & M Manual) for the Discharger's wastewater facilities.  The O & M Manual shall be maintained in useable condition, and available for reference and use by all applicable personnel.

- The Discharger shall regularly review, and revise or update as necessary, the O & M Manual(s) in order for the document(s) to remain useful and relevant to current equipment and operation practices. Reviews shall be conducted annually, and revisions or updates shall be completed as necessary. For any significant changes in treatment facility equipment or operation practices, applicable revisions shall be completed within 90 days of completion of such changes.

- Annually, the Discharger shall submit to the Board a report describing the current status of its O & M Manual review and updating. This report shall include an estimated time schedule for completion of any revisions determined necessary, a description of any completed revisions, or a statement that no revisions are needed. This report shall be submitted in accordance with Provision E.17 below.

- As part of reviewing requests for exceptions to the Basin Plan discharge prohibitions the Board is required to evaluate the reliability of the Discharger’s system in preventing inadequately treated wastewater from being discharged to the receiving waters.  The Discharger shall review and revise or update as necessary the plant Reliability Report. Each year the Discharger shall submit to the Board a report describing the current status of its plant Reliability Report review and update.

### Contingency Plan Update

a.	The Discharger shall maintain a Contingency Plan as required by Board Resolution 74-10 (attached), and as prudent in accordance with current industrial facility emergency planning. The discharge of pollutants in violation of this Order where the Discharger has failed to develop and/or adequately implement a contingency plan will be the basis for considering such discharge a willful and negligent violation of this Order pursuant to Section 13387 of the California Water Code.

b.	The Discharger shall regularly review, and update as necessary, the Contingency Plan in order for the plan to remain useful and relevant to current equipment and operation practices.  Reviews shall be conducted annually, and updates shall be completed as necessary.

c.	Each year the Discharger shall submit to the Board a report describing the current status of its Contingency Plan review and update.  This report shall include a description or copy of any completed revisions, or a statement that no changes are needed.  This report shall be submitted in accordance with Provision E.17 below.

### Annual Status Reports

The reports identified in Provisions E.15 and E.16 above shall be submitted to the Board annually, by February 28th of each year.  Modification of report submittal dates may be authorized, in writing, by the Executive Officer.

### 303(d)-listed Pollutants Site-Specific Objective and TMDL Status Review

The Discharger shall participate in the development of a TMDL and/or SSOs for mercury, selenium, 4,4’-DDE, dieldrin, dioxin, and PCBs.  By January 31 of each year, the Discharger shall submit an update to the Board to document efforts made in participation in the development of TMDLs and/or site-specific objectives.  Active participation by the Discharger in the Clean Estuary Partnership (CEP) will be considered to fulfill the requirements of this provision.  The Discharger, along with other CEP partners, may elect to annually report TMDL progress collectively through the partnership.  Board staff shall review the status of TMDL development. This Order may be reopened in the future to reflect any changes required by TMDL development.

### Self-Monitoring Program

The Discharger shall comply with the Self-Monitoring Program (SMP) for this Order as adopted by the Board. The SMP may be amended by the Executive Officer pursuant to USEPA regulations 40 CFR 122.63.

### Standard Provisions and Reporting Requirements

The Discharger shall comply with all applicable items of the Standard Provisions and Reporting Requirements for NPDES Surface Water Discharge Permits, August 1993 (attached), or any amendments thereafter.  Where provisions or reporting requirements specified in this Order are different from equivalent or related provisions or reporting requirements given in 'Standard Provisions', the specifications of this Order shall apply.

### Change in Control or Ownership

a.	In the event of any change in control or ownership of land or waste discharge facilities presently owned or controlled by the Discharger, the Discharger shall notify the succeeding owner or operator of the existence of this Order by letter, a copy of which shall be immediately forwarded to the Board.

b.	To assume responsibility of and operations under this Order, the succeeding owner or operator must apply in writing to the Executive Officer requesting transfer of the Order (see Standard Provisions & Reporting Requirements, August 1993, Section E.4.).  Failure to submit the request shall be considered a discharge without requirements, a violation of the California Water Code.

### Permit Reopener

The Board may modify or reopen this Order and Permit prior to its expiration date in any of the following circumstances:

      - If present or future investigations demonstrate that the discharge(s) governed by this Order and Permit will or have a reasonable potential to cause or contribute to adverse impacts on water quality and/or beneficial uses of the receiving waters;

      - New or revised WQOs come into effect for the San Francisco Bay estuary and contiguous water bodies (whether statewide, regional, or site-specific).  In such cases, effluent limitations in this permit will be modified as necessary to reflect updated WQOs.  Adoption of effluent limitations contained in this Order and Permit is not intended to restrict in any way future modifications based on legally adopted WQOs or as otherwise permitted under Federal regulations governing NPDES permit modifications;

      - If translator or other water quality studies provide a basis for determining that a permit condition(s) should be modified.  The Discharger may request permit modification on this basis.  The Discharger shall include in any such request an antidegradation and antibacksliding analysis.

### NPDES Permit

This Order shall serve as a National Pollutant Discharge Elimination System (NPDES) permit pursuant to Section 402 of the Clean Water Act or amendments thereto, and shall become effective on November 1, 2003, provided the USEPA Regional Administrator has no objection.  If the Regional Administrator objects to its issuance, the permit shall not become effective until such objection is withdrawn.

### Order Expiration and Reapplication

a.	This Order expires on September 30, 2008.

b.	In accordance with Title 23, Chapter 3, Subchapter 9 of the California Administrative Code, the Discharger must file a report of waste discharge no later than 180 days before the expiration date of this Order as application for reissue of this permit and waste discharge requirements.

I, Loretta K. Barsamian, Executive Officer, do hereby certify that the foregoing is a full, true, and correct copy of an order adopted by the California Regional Water Quality Control Board, San Francisco Bay Region, on [fill in date], 2003.

_________________________

LORETTA K. BARSAMIAN

Executive Officer

Attachments:

A.	Discharge Facility Location Map

B.	Discharge Facility Treatment Process Diagram

C. South Bay RMP and Monitoring Stations Diagram

D.	Self-Monitoring Program, Part B

E. Nickel and Copper: Tables of Baseline Control Actions, Phase I, and Phase II

F. Fact Sheet

G. Self-Monitoring Program, Part A (August 1993)*

Standard Provisions and Reporting Requirements*

Board Resolution No. 74-10*

H. Pretreatment Program

I. Cyanide Performance Data Analysis

* Note: Self-Monitoring Program Part A (August 1993), Standard Provisions and Reporting Requirements (August 1993), and Resolution No. 74-10 are not attached but are available for review or download on the Board's website at www.swrcb.ca.gov/rwqcb2."

Attachment  A - Discharge Facility Location Map

Attachment  B - Discharge Facility Treatment Process Diagram

Attachment  C – South Bay RMP Stations Diagram

## Appendix D.	Self-Monitoring Program, Part B

Attachment  E – Nickel- Copper: Tables of Baseline Control Actions, Phase I, and Phase II

Attachment F:   Fact Sheet

Attachment G. Documents available on line

The following documents are available on line at (http://www.swrcb.ca.gov/~rwqcb2)

Part A

Standard Provisions and Reporting Requirements

Board Resolution 74-10

H . Pretreatment Requirements

Pretreatment Program Provisions

1.	The Discharger shall implement all pretreatment requirements contained in 40 CFR 403, as amended.  The Discharger shall be subject to enforcement actions, penalties, and fines as provided in the Clean Water Act (33 USC 1351 et seq.), as amended.  The Discharger shall implement and enforce its Approved Pretreatment Program or modified Pretreatment Program as directed by the Board’s Executive Officer or the EPA.  The EPA and/or the State may initiate enforcement action against an industrial user for noncompliance with applicable standards and requirements as provided in the Clean Water Act.

2.	The Discharger shall enforce the requirements promulgated under Sections 307(b), 307(c), 307(d) and 402(b) of the Clean Water Act.  The Discharger shall cause industrial users subject to Federal Categorical Standards to achieve compliance no later than the date specified in those requirements or, in the case of a new industrial user, upon commencement of the discharge.

3.	The Discharger shall perform the pretreatment functions as required in 40 CFR Part 403 and amendments or modifications thereto including, but not limited to:

i)	Implement the necessary legal authorities to fully implement the pretreatment regulations as provided in 40 CFR 403.8(f)(1);

ii)	Implement the programmatic functions as provided in 40 CFR 403.8(f)(2);

iii)	Publish an annual list of industrial users in significant noncompliance as provided per 40 CFR 403.8(f)(2)(vii);

iv)	Provide for the requisite funding and personnel to implement the pretreatment program as provided in 40 CFR 403.8(f)(3); and

v)	Enforce the national pretreatment standards for prohibited discharges and categorical standards as provided in 40 CFR 403.5 and 403.6, respectively.

4.	The Discharger shall submit annually a report to the EPA Region 9, the State Board and the Regional Board describing its pretreatment program activities over the previous twelve months.  In the event that the Discharger is not in compliance with any conditions or requirements of the Pretreatment Program, the Discharger shall also include the reasons for noncompliance and a plan and schedule for achieving compliance.  The report shall contain, but is not limited to, the information specified in Appendix A entitled, “Requirements for Pretreatment Annual Reports,” which is made a part of this Order.  The annual report is due on the last day of February each year.

5.	The Discharger shall submit semiannual pretreatment reports to the EPA Region 9, the State Board and the Board describing the status of its significant industrial users (SIUs).  The report shall contain, but not is limited to, the information specified in Appendix B entitled, “Requirements for Semiannual Pretreatment Reports,” which is made part of this Order.  The semiannual reports are due July 31st (for the period January through June) and January 31st (for the period July through December) of each year.  The Executive Officer may exempt a Discharger from the semiannual reporting requirements on a case by case basis subject to State Board and EPA’s comment and approval.

6.	The Discharger may combine the annual pretreatment report with the semiannual pretreatment report (for the July through December reporting period).  The combined report shall contain all of the information requested in Appendices A and B and will be due on January 31st of each year.

7.	The Discharger shall conduct the monitoring of its treatment plant’s influent, effluent, and sludge as described in Appendix C entitled, “Requirements for Influent, Effluent and Sludge Monitoring,” which is made part of this Order.  The results of the sampling and analysis, along with a discussion of any trends, shall be submitted in the semiannual reports.  A tabulation of the data shall be included in the annual pretreatment report.  The Executive Officer may require more or less frequent monitoring on a case by case basis.

APPENDIX A  (Pretreatment)

REQUIREMENTS FOR PRETREATMENT ANNUAL REPORTS

The Pretreatment Annual Report is due each year on the last day of February.  [If the annual report is combined with the semiannual report (for the July through December period) the submittal deadline is January 31st of each year.]  The purpose of the Annual Report is 1) to describe the status of the Publicly Owned Treatment Works (POTW) pretreatment program and 2) to report on the effectiveness of the program, as determined by comparing the results of the preceding year’s program implementation.  The report shall contain at a minimum, but is not limited to, the following information:

1)	Cover Sheet

The cover sheet must contain the name(s) and National Pollutant Discharge Elimination Discharge System (NPDES) permit number(s) of those POTWs that are part of the Pretreatment Program.  Additionally, the cover sheet must include:  the name, address and telephone number of a pretreatment contact person; the period covered in the report; a statement of truthfulness; and the dated signature of a principal executive officer, ranking elected official, or other duly authorized employee who is responsible for overall operation of the POTW (40 CFR 403.12(j)).

2)	Introduction

The Introduction shall include any pertinent background information related to the Discharger, the POTW and/or the industrial user base of the area.  Also, this section shall include an update on the status of any Pretreatment Compliance Inspection (PCI) tasks, Pretreatment Performance Evaluation tasks, Pretreatment Compliance Audit (PCA) tasks, Cleanup and Abatement Order (CAO) tasks, or other pretreatment-related enforcement actions required by the Regional Board or the EPA.  A more specific discussion shall be included in the section entitled, “Program Changes.”

3)	Definitions

This section shall contain a list of key terms and their definitions that the Discharger uses to describe or characterize elements of its pretreatment program.

4)	Discussion of Upset, Interference and Pass Through

This section shall include a discussion of Upset, Interference or Pass Through incidents, if any, at the POTW(s) that the Discharger knows of or suspects were caused by industrial discharges.  Each incident shall be described, at a minimum, consisting of the following information:

a)	a description of what occurred;

b)	a description of what was done to identify the source;

c)	the name and address of the IU responsible

d)	the reason(s) why the incident occurred;

e)	a description of the corrective actions taken; and

f)	an examination of the local and federal discharge limits and requirements for the purposes of determining whether any additional limits or changes to existing requirements may be necessary to prevent other Upset, Interference or Pass Through incidents.

5)	Influent, Effluent and Sludge Monitoring Results

This section shall provide a summary of the analytical results from the “Influent, Effluent and Sludge Monitoring” as specified in Appendix C.  The results should be reported in a summary matrix that lists monthly influent and effluent metal results for the reporting year.

A graphical representation of the influent and effluent metal monitoring data for the past five years shall also be provided with a discussion of any trends.

6)	Inspection and Sampling Program

This section shall contain at a minimum, but is not limited to, the following information:

a)	Inspections:  the number of inspections performed for each type of IU; the criteria for determining the frequency of inspections; the inspection format procedures;

b)	Sampling Events:  the number of sampling events performed for each type of IU; the criteria for determining the frequency of sampling; the chain of custody procedures.

7)	Enforcement Procedures

This section shall provide information as to when the approved Enforcement Response Plan (ERP) had been formally adopted or last revised.  In addition, the date the finalized ERP was submitted to the Regional Board shall also be given.

8)	Federal Categories

This section shall contain a list of all of the federal categories that apply to the Discharger.  The specific category shall be listed including the subpart and 40 CFR section that applies.  The maximum and average limits for the each category shall be provided.  This list shall indicate the number of Categorical Industrial Users (CIUs) per category and the CIUs that are being regulated pursuant to the category.  The information and data used to determine the limits for those CIUs for which a combined waste stream formula is applied shall also be provided.

9)	Local Standards

This section shall include a table presenting the local limits.

10)	Updated List of Regulated SIUs

This section shall contain a complete and updated list of the Discharger’s Significant Industrial Users (SIUs), including their names, addresses, and a brief description of the individual SIU’s type of business.  The list shall include all deletions and additions keyed to the list as submitted in the previous annual report.  All deletions shall be briefly explained.

11)	Compliance Activities

a)	Inspection and Sampling Summary:  This section shall contain a summary of all the inspections and sampling activities conducted by the Discharger over the past year to gather information and data regarding the SIUs. The summary shall include:

(1)	the number of inspections and sampling events conducted for each SIU;

(2)	the quarters in which these activities were conducted; and

(3)	the compliance status of each SIU, delineated by quarter, and characterized  using all applicable descriptions as given below:

(a)	in consistent compliance;

(b)	in inconsistent compliance;

(c)	in significant noncompliance;

(d)	on a compliance schedule to achieve compliance, (include the date final compliance is required);

(e)	not in compliance and not on a compliance schedule;

(f)	compliance status unknown, and why not.

b)	Enforcement Summary:  This section shall contain a summary of the compliance and enforcement activities during the past year.  The summary shall include the names of all the SIUs affected by the following actions:

(1)	Warning letters or notices of violations regarding SIUs’ apparent noncompliance with or violation of any federal pretreatment categorical standards and/or requirements, or local limits and/or requirements.  For each notice, indicate whether it was for an infraction of a federal or local standard/limit or requirement.

(2)	Administrative Orders regarding the SIUs’ apparent noncompliance with or violation of any federal pretreatment categorical standards and/or requirements, or local limits and/or requirements.  For each notice, indicate whether it was for an infraction of a federal or local standard/limit or requirement.

(3)	Civil actions regarding the SIUs’ apparent noncompliance with or violation of any federal pretreatment categorical standards and/or requirements, or local limits and/or requirements.  For each notice, indicate whether it was for an infraction of a federal or local standard/limit or requirement.

(4)	Criminal actions regarding the SIUs’ apparent noncompliance with or violation of any federal pretreatment categorical standards and/or requirements, or local limits and/or requirements.  For each notice, indicate whether it was for an infraction of a federal or local standard/limit or requirement.

(5)	Assessment of monetary penalties.  Identify the amount of penalty in each case and reason for assessing the penalty.

(6)	Order to restrict/suspend discharge to the POTW.

(7)	Order to disconnect the discharge from entering the POTW.

12)	Baseline Monitoring Report Update

This section shall provide a list of CIUs that have been added to the pretreatment program since the last annual report.  This list of new CIUs shall summarize the status of the respective Baseline Monitoring Reports (BMR).  The BMR must contain all of the information specified in 40 CFR 403.12(b).  For each of the new CIUs, the summary shall indicate when the BMR was due; when the CIU was notified by the POTW of this requirement; when the CIU submitted the report; and/or when the report is due.

13)	Pretreatment Program Changes

This section shall contain a description of any significant changes in the Pretreatment Program during the past year including, but not limited to:  legal authority, local limits, monitoring/ inspection program and frequency, enforcement protocol, program’s administrative structure, staffing level, resource requirements and funding mechanism.    If the manager of the pretreatment program changes, a revised organizational chart shall be included.  If any element(s) of the program is in the process of being modified, this intention shall also be indicated.

14)	Pretreatment Program Budget

This section shall present the budget spent on the Pretreatment Program.  The budget, either by the calendar or fiscal year, shall show the amounts spent on personnel, equipment, chemical analyses and any other appropriate categories.  A brief discussion of the source(s) of funding shall be provided.

15)	Public Participation Summary

This section shall include a copy of the public notice as required in 40 CFR 403.8(f)(2)(vii).  If a notice was not published, the reason shall be stated.

16)	Sludge Storage and Disposal Practice

This section shall have a description of how the treated sludge is stored and ultimately disposed.  The sludge storage area, if one is used, shall be described in detail.  Its location, a description of the containment features and the sludge handling procedures shall be included.

17)	PCS Data Entry Form

The annual report shall include the PCS Data Entry Form.  This form shall summarize the enforcement actions taken against SIUs in the past year.  This form shall include the following information:  the POTW name, NPDES Permit number, period covered by the report, the number of SIUs in significant noncompliance (SNC) that are on a pretreatment compliance schedule, the number of notices of violation and administrative orders issued against SIUs, the number of civil and criminal judicial actions against SIUs, the number of SIUs that have been published as a result of being in SNC, and the number of SIUs from which penalties have been collected.

18)	Other Subjects

Other information related to the Pretreatment Program that does not fit into one of the above categories should be included in this section.

Signed copies of the reports shall be submitted to the Regional Administrator at USEPA, the State Water Resources Control Board and the Regional Board at the following addresses:

Regional Administrator

United States Environmental Protection Agency

Region 9, Mail Code: WTR-7

Clean Water Act Compliance Office

Water Division

75 Hawthorne Street

San Francisco, CA  94105

Pretreatment Program Manager

Regulatory Unit

State Water Resources Control Board

Division of Water Quality

1001 I Street

Sacramento, CA  95814

Pretreatment Coordinator

NPDES Permits Division

SF Bay Regional Water Quality Control Board

1515 Clay Street, Suite 1400

Oakland, CA  94612

APPENDIX B: (Pretreatment)

REQUIREMENTS FOR SEMIANNUAL PRETREATMENT REPORTS

The semiannual pretreatment reports are due on July 31st (for pretreatment program activities conducted from January through June) and January 31st (for pretreatment activities conducted from July through December) of each year, unless an exception has been granted by the Board’s Executive Officer.  The semiannual reports shall contain, at a minimum, but is not limited to, the following information:

1)	Influent, Effluent and Sludge Monitoring

The influent, effluent and sludge monitoring results shall be included in the report.  The analytical laboratory report shall also be included, with the QA/QC data validation provided upon request.  A description of the sampling procedures and a discussion of the results shall be given.  (Please see Appendix C for specific detailed requirements.)  The contributing source(s) of the parameters that exceed NPDES limits shall be investigated and discussed.  In addition, a brief discussion of the contributing source(s) of all organic compounds identified shall be provided.

The Discharger has the option to submit all monitoring results via an electronic reporting format approved by the Executive Officer.  The procedures for submitting the data will be similar to the electronic submittal of the NPDES self-monitoring reports as outlined in the December 17, 1999 Regional Board letter, Official Implementation of Electronic Reporting System (ERS).  The Discharger shall contact the Regional Board’s ERS Project Manager for specific details in submitting the monitoring data.

If the monitoring results are submitted electronically, the analytical laboratory reports (along with the QA/QC data validation) should be kept at the discharger’s facility.

2)	Industrial User Compliance Status

This section shall contain a list of all Significant Industrial Users (SIUs) that were not in consistent compliance with all pretreatment standards/limits or requirements for the reporting period.  The compliance status for the previous reporting period shall also be included.  Once the SIU has determined to be out of compliance, the SIU shall be included in the report until consistent compliance has been achieved.  A brief description detailing the actions that the SIU undertook to come back into compliance shall be provided.

For each SIU on the list, the following information shall be provided:

a.	Indicate if the SIU is subject to Federal categorical standards; if so, specify the category including the subpart that applies.

b.	For SIUs subject to Federal Categorical Standards, indicate if the violation is of a categorical or local standard.

c.	Indicate the compliance status of the SIU for the two quarters of the reporting period.

d.	For violations/noncompliance occurring in the reporting period, provide (1) the date(s) of violation(s); (2) the parameters and corresponding concentrations exceeding the limits and the discharge limits for these parameters and (3) a brief summary of the noncompliant event(s) and the steps that are being taken to achieve compliance.

3)	POTW’s Compliance with Pretreatment Program Requirements

This section shall contain a discussion of the Discharger’s compliance status with the Pretreatment Program Requirements as indicated in the latest Pretreatment Compliance Audit (PCA) Report, Pretreatment Compliance Inspection (PCI) Report or Pretreatment Performance Evaluation (PPE) Report.  It shall contain a summary of the following information:

a.	Date of latest PCA, PCI or PPE and report.

b.	Date of the Discharger’s response.

c.	List of unresolved issues.

d.	Plan and schedule for resolving the remaining issues.

The reports shall be signed by a principal executive officer, ranking elected official, or other duly authorized employee who is responsible for the overall operation of the Publicly Owned Treatment Works (POTW) (40 CFR 403.12(j)).  Signed copies of the reports shall be submitted to the Regional Administrator at USEPA, the State Water Resources Control Board and the Regional Board at the following addresses:

Regional Administrator

United States Environmental Protection Agency

Region 9, Mail Code: WTR-7

Clean Water Act Compliance Office

Water Division

75 Hawthorne Street

San Francisco, CA  94105

Pretreatment Program Manager

Regulatory Unit

State Water Resources Control Board

Division of Water Quality

1001 I Street

Sacramento, CA  95814

Pretreatment Coordinator

NPDES Permits Division

SF Bay Regional Water Quality Control Board

1515 Clay Street, Suite 1400

Oakland, CA  94612

APPENDIX C  (Pretreatment)

REQUIREMENTS FOR INFLUENT, EFFLUENT AND SLUDGE MONITORING

The Discharger shall conduct sampling of its treatment plant’s influent, effluent and sludge at the frequency as shown in Table 2 on Page 8 of the Self-Monitoring Program (SMP).

The monitoring and reporting requirements of the POTW’s Pretreatment Program are in addition to those specified in Table 1 of the SMP.  Any subsequent modifications of the requirements specified in Table 1 shall be adhered to and shall not affect the requirements described in this Appendix unless written notice from the Regional Board is received.   When sampling periods coincide, one set of test results, reported separately, may be used for those parameters that are required to be monitored by both Table 1 and the Pretreatment Program.  The Pretreatment Program monitoring reports shall be sent to the Pretreatment Program Coordinator.

1.	Influent and Effluent Monitoring

The Discharger shall monitor for the parameters using the required test methods listed in Table 2 (page 8 of the SMP).  Any test method substitutions must have received prior written Regional Board approval.  Influent and Effluent sampling locations shall be the same as those sites specified in the Self-Monitoring Program.

The influent and effluent sampled should be taken during the same 24-hour period.  All samples must be representative of daily operations.  A grab sample shall be used for volatile organic compounds, cyanide and phenol.  In addition, any samples for oil and grease, polychlorinated biphenyls, dioxins/furans, and polynuclear aromatic hydrocarbons shall be grab samples.  For all other pollutants, 24-hour composite samples must be obtained through flow-proportioned composite sampling.  Sampling and analysis shall be performed in accordance with the techniques prescribed in 40 CFR Part 136 and amendments thereto.  For effluent monitoring, the reporting limits for the individual parameters shall be at or below the minimum levels (MLs) as stated in the Policy for Implementation of Toxics Standards for Inland Surface Waters, Enclosed Bays, and Estuaries of California (2000) [also known as the State Implementation Policy (SIP)]; any revisions to the MLs shall be adhered to.  If a parameter does not have a stated minimum level, then the Discharger shall conduct the analysis using the lowest commercially available and reasonably achievable detection levels.

The following standardized report format should be used for submittal of the influent and effluent monitoring report.  A similar structured format may be used but will be subject to Regional Board approval.  The monitoring reports shall be submitted with the Semiannual Reports.

A.	Sampling Procedures – This section shall include a brief discussion of the sample locations, collection times, how the sample was collected (i.e., direct collection using vials or bottles, or other types of collection using devices such as automatic samplers, buckets, or beakers), types of containers used, storage procedures and holding times.  Include description of prechlorination and chlorination/dechlorination practices during the sampling periods.

B.	Method of Sampling Dechlorination – A brief description of the sample dechlorination method prior to analysis shall be provided.

C.	Sample Compositing – The manner in which samples are composited shall be described.  If the compositing procedure is different from the test method specifications, a reason for the variation shall be provided.

D.	Data Validation – All quality assurance/quality control (QA/QC) methods to be used shall be discussed and summarized.  These methods include, but are not limited to, spike samples, split samples, blanks and standards.  Ways in which the QA/QC data will be used to qualify the analytical test results shall be identified.  A certification statement shall be submitted with this discussion stating that the laboratory QA/QC validation data has been reviewed and has met the laboratory acceptance criteria.  The QA/QC validation data shall be submitted to the Regional Board upon request.

E.	A tabulation of the test results shall be provided.

F.	Discussion of Results – The report shall include a complete discussion of the test results.  If any pollutants are detected in sufficient concentration to upset, interfere or pass through plant operations, the type of pollutant(s) and potential source(s) shall be noted, along with a plan of action to control, eliminate, and/or monitor the pollutant(s).  Any apparent generation and/or destruction of pollutants attributable to chlorination/dechlorination sampling and analysis practices shall be noted.

2.	Sludge Monitoring

Sludge should be sampled in the same 24-hour period during which the influent and effluent are sampled except as noted in (C) below.  The same parameters required for influent and effluent analysis shall be included in the sludge analysis.  The sludge analyzed shall be a composite sample of the sludge for final disposal consisting of:

A.	Sludge lagoons – 20 grab samples collected at representative equidistant intervals (grid pattern) and composited as a single grab, or

B.	Dried stockpile – 20 grab samples collected at various representative locations and depths and composited as a single grab, or

C.	Dewatered sludge- daily composite of 4 representative grab samples each day for 5 days taken at equal intervals during the daily operating shift taken from a) the dewatering units or b) from each truckload, and shall be combined into a single 5-day composite.

The U.S. EPA manual, POTW Sludge Sampling and Analysis Guidance Document, August 1989, containing detailed sampling protocols specific to sludge is recommended as a guidance for sampling procedures.  The U.S. EPA manual Analytical Methods of the National Sewage Sludge Survey, September 1990, containing detailed analytical protocols specific to sludge, is recommended as a guidance for analytical methods.

In determining if the sludge is a hazardous waste, the Dischargers shall adhere to Article 2, “Criteria for Identifying the Characteristics of Hazardous Waste,” and Article 3, “Characteristics of Hazardous Waste,” of Title 22, California Code of Regulations, Sections 66261.10 to 66261.24 and all amendments thereto.

Sludge monitoring reports shall be submitted with the appropriate Semiannual Report.  The following standardized report format should be used for submittal of the report.  A similarly structured form may be used but will be subject to Regional Board approval.

A.	Sampling procedures – Include sample locations, collection procedures, types of containers used, storage/refrigeration methods, compositing techniques and holding times.  Enclose a map of sample locations if sludge lagoons or stockpiled sludge is sampled.

B.	Data Validation – All quality assurance/quality control (QA/QC) methods to be used shall be discussed and summarized.  These methods include, but are not limited to, spike samples, split samples, blanks and standards.  Ways in which the QA/QC data will be used to qualify the analytical test results shall be identified.  A certification statement shall be submitted with this discussion stating that the laboratory QA/QC validation data has been reviewed and has met the laboratory acceptance criteria.  The QA/QC validation data shall be submitted to the Regional Board upon request.

C.	Test Results – Tabulate the test results and include the percent solids.

D.	Discussion of Results – The report shall include a complete discussion of test results.  If the detected pollutant(s) is reasonably deemed to have an adverse effect on sludge disposal, a plan of action to control, eliminate, and/or monitor the pollutant(s) and the known or potential source(s) shall be included.  Any apparent generation and/or destruction of pollutants attributable to chlorination/ dechlorination sampling and analysis practices shall be noted.

The Discharger shall also provide any influent, effluent or sludge monitoring data for nonpriority pollutants that the permittee believes may be causing or contributing to Interference, Pass Through or adversely impacting sludge quality.

Attachment  I – Cyanide Performance Data Analysis

The 1998 WHO scheme includes TEFs for dioxin-like PCBs. Since dioxin-like PCBs are already included within “Total PCBs”, for which the CTR has established a specific standard, dioxin-like PCBs are not included in this Order’s version of the TEF scheme.

A TUc equals 100 divided by the no observable effect level (NOEL). The NOEL is determined from IC, EC, or NOEC values. Monitoring and TRE requirements may be modified by the Executive Officer in response to the degree of toxicity detected in the effluent or in ambient waters related to the discharge.  Failure to conduct the required toxicity tests or a TRE within a designated period shall result in the establishment of numerical effluent limitations for chronic toxicity.