CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2003-0063

# AMENDMENT OF WASTE DISCHARGE REQUIREMENTS

ORDER NO. 01-040

KELLER CANYON LANDFILL COMPANY

CLASS II SOLID WASTE DISPOSAL SITE

PITTSBURG, CONTRA COSTA COUNTY

The California Regional Water Quality Control Board, San Francisco Bay Region, hereinafter called the Board, finds:

- Keller Canyon Landfill Company, hereafter called the discharger, owns and operates a 2,628-acre site containing a Class II solid waste management unit, with a permitted waste disposal area of 244 acres.  The landfill is located immediately south of the City of Pittsburg, in Contra Costa County.

- The discharger has requested that Waste Discharge Requirements contained in Order No. 01-040 be amended to allow for an alternative design for the liner in the proposed 3.8-acre Phase 3A unit.  This proposed design meets the Title 27 requirements for an engineered alternative.

- This amendment is exempt from the provisions of the California Environmental Quality Act (CEQA) pursuant to Section 15308, Title 14 of the California Code of Regulation.

- The Board, in a public hearing, heard and considered all comments pertaining to this amendment of waste discharge requirements.

IT IS HEREBY ORDERED THAT:

Specification B.13. of Waste Discharge Requirements contained in Order No. 01-040 is amended to include a new second paragraph as follows:

An alternative design is acceptable in the Phase 3A buttress face area.  The design includes the following components (from top to bottom):  a 12-inch thick operations layer, a leachate collection and removal system consisting of a tri-planar geocomposite drainage layer (textile on both sides), an 80-mil thick double-sided textured HDPE geomembrane liner, and a 24-inch thick low permeability clay layer (with a hydraulic conductivity not more than 1 X 10-7 cm/sec).

I, Loretta K. Barsamian, Executive Officer, do hereby certify that the foregoing is a full, complete, and correct copy of an Order adopted by the California Regional Water Quality Control board, San Francisco Bay Region, on July 16, 2003.

_________________________________

Loretta K. Barsamian

Executive Officer

# Mailing list

File No. 2119.1177

KELLER CANYON

PITTSBURG

Norm Christensen

Keller Canyon Landfill

901 Bailey Road

Pittsburg, CA  94565

Alicia Enriquez

Health Services Department

Environmental Health Division

2120 Diamond Blvd., Ste. 200

Concord, CA  94520

Deidra Dingman

Contra Costa County Community Dev. Dept.

651 Pine St., N. Wing, 4th Floor

Martinez, CA  94555

Barbara Berry

Dept. Toxic Substances Control

Hazardous Waste Mgt. Program

700 Heinz Ave., Suite 200

Berkeley, CA  94710

Sheryl Freeman

State Water Resources Control Board

P.O. Box 100

Sacramento, CA  95812-0100

Joe Mello

Ch. 15 Program Mgr.

State Water Resources Control Board

P.O. Box 944212

Sacramento, CA  94244-2120

Georgianne Turner

California Integrated Waste Management Board

P.O. Box 4025

Sacramento, CA  95812-4025

Laura Wright

Waste Reduction Coordinator

City of Pittsburg

P.O. Box 1518

Pittsburg, CA  94565-0518

Don Stockenberg

Solid Waste Local Enforcement Agency

City of  Pittsburg

P.O. Box 1518

Pittsburg, CA  94565-0518

Karen Susag

Communities for a Better Environment

500 Howard St., Suite 500

San Francisco, CA  94105

Janet Schneider

Contra Costa County

Solid Waste Authority

1280 Civic Dr., Suite 314

Walnut Creek, CA  94596