STATE OF CALIFORNIA

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

STAFF SUMMARY REPORT (Farhad Azimzadeh)

MEETING DATE:  July 16, 2003

ITEM:		6

SUBJECT:	Raytheon Company, 350 Ellis Street, Mountain View, Santa Clara County - Hearing to Consider Mandatory Minimum Penalty for Discharge of Partially Treated Wastewater to Waters of the State

CHRONOLOGY:	July 1999 – VOC General NPDES Permit reissued

December 1999 – Raytheon Company authorized to discharge under general permit

DISCUSSION:	Raytheon Company (Raytheon) operates a groundwater extraction and treatment system at its solvent cleanup site in Mountain View.  During March through June 2002, Raytheon reported two effluent limit violations for trichloroethylene (TCE) at concentrations of 9.5 and 14.0 micrograms per liter (ug/l). These violations exceed the TCE effluent limit of 5.0 ug/l by 90% and 180%, respectively, and require a mandatory minimum penalty (MMP) of $6,000.

We issued an MMP Complaint to Raytheon in May (Appendix A).  Raytheon waived its right to a hearing and submitted a $6,000 supplemental environmental project (SEP) proposal.  The SEP proposal (Appendix B) would expand Santa Clara Valley Water District’s Coyote Creek Outdoor Classroom Program that teaches watershed protection topics to students.  The $6,000 funding would allow the District to teach an additional 300 middle school students by purchasing the necessary field and classroom equipment ($2,250) and hiring five teachers for 10 three-hour sessions ($3,750) during the 2003-2004 school year.  We conclude that the proposed SEP is acceptable.

RECOMMEN-

DATION:	No action required

File No.  2189.8107 & 1210.48 (FA)

Appendices:

A - MMP Complaint and signed waiver

B - SEP proposal

## Appendix A - MMP Complaint and signed waiver

Appendix B - SEP proposal