STATE OF CALIFORNIA

REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

STAFF SUMMARY REPORT

STAFF: Keyvan Moghbel

MEETING DATE:  July 16, 2003

ITEM:			7

SUBJECT:	City of Burlingame, Wastewater Treatment Plant, Burlingame, San Mateo- Hearing to Consider Mandatory Minimum Penalty for Discharge of Partially Treated Wastewater to Waters of the State

CHRONOLOGY:	Mandatory Minimum Penalty, June 2001

DISCUSSION:	There were a total of seven violations of  City of Burlingame’s (the Discharger) NPDES permit during the period between November 1, 2001 and August 31, 2002.  These violations are: three total suspended solid daily maximum limit violations, two settleable matter instantaneous  maximum limit violations, one settleable matter monthly average limit violation, and one copper monthly average limit violation.   Five of the seven violations are subject to mandatory penalties under Section 13385 (h) or (i) of the California Water Code for a total mandatory minimum penalty of $15,000.  The Discharger is allowed to propose a supplemental environmental project (SEP) of $15,000.

The Discharger has signed the waiver to a Board hearing and has proposed two SEPs.  The Board staff  is reviewing the proposed SEPs.

RECOMMEN-

DATION	No action required

File No.:	2179.7005

Appendix:	A.	Complaint No. R2-2002-0024

- signed waiver

- Proposed SEP