## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
City of San Mateo WWTP
Chad Davisson (650) 522-7385
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-10 | 11.03 | 10.05 | 0.14 | 48 |  | 0 | 0.14 | 34 |  | 6.2 |  | 4.2 | 7.27 | 7.27 | 7.27 | 22.9 | 22.9 | 22.9 | 236 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
City of San Mateo WWTP
Chad Davisson (650) 522-7385
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-10 | 11.03 | 10.05 | 5.8371 | 2001.2832 | 0 | 0 | 5.8371 | 1417.5756 | 0 | 258.4991 | 0 | 159.5538 | 9839.6424 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
City of San Mateo, WWTP
Chad Davisson (650) 522-7385
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-10 | 10.32 | 12.3 | 20.53 | 29 | 20 | 0 | 0.53 | 28 |  | 2.3 | 2.4 | 2.5 | 6.98 | 6.98 | 6.98 | 22.6 | 22.6 | 22.6 | 3.9 | 18.61 | 38.66% | 3.9 | 62.9%
2012-07-19 | 10.23 | 14.6 | 41.38 | 42 | 41 | 0 | 0.38 | 37 |  | 3.3 | 3.1 | 2 | 6.98 | 6.98 | 6.98 | 23.5 | 23.5 | 23.5 | 4.8 | 5.76 | 11.97% | 2.9 | 46.77%
2012-08-03 | 10.28 | 16.5 | 38.9 | 38 | 37 | 0 | 1.9 | 19 |  | 3.5 | 3.2 | 2.7 | 7 | 7 | 7 | 23.4 | 23.4 | 23.4 | 2.7 | 8.24 | 17.12% | 2.7 | 43.55%
2012-08-14 | 10.53 | 13.4 | 31.66 | 33 | 31 | 0 | 0.66 | 31 |  | 1.8 | 1.6 | 1.7 | 6.9 | 6.9 | 6.9 | 24 | 24 | 24 | 4 | 14.48 | 30.08% | 4.4 | 70.97%
2012-09-04 | 9.927 | 14.2 | 34.1 | 34 | 33 | 0.87 | 0.23 | 32 |  | 3.1 | 3.6 | 2.1 | 6.9 | 6.9 | 6.9 | 23.3 | 23.3 | 23.3 | 4 | 13.04 | 27.09% | 3.1 | 50%
2012-09-11 | 9.77 | 13.8 | 38.08 | 36 | 36 | 0.88 | 1.2 | 34 |  | 3.3 | 3.2 | 3.2 | 6.9 | 6.9 | 6.9 | 22.8 | 22.8 | 22.8 | 2.8 | 10.06 | 20.9% | 2.9 | 46.77% | Quarterly report due by 30 Oct.
2012-10-02 | 9.25 | 15.85 | 34.6 | 31 | 31 | 1.6 | 2 | 30 |  | 3 | 3.2 | 2.5 | 6.88 | 6.88 | 6.88 | 23.7 | 23.7 | 23.7 | 3.5 | 13.54 | 28.13% | 3.2 | 51.61%
2012-10-11 | 9.4844 | 18.3738 | 39.5 | 36 | 36 | 1.9 | 1.6 | 34 |  | 3.8 | 3.7 | 3.8 | 6.98 | 6.98 | 6.98 | 22.9 | 22.9 | 22.9 | 4.7 | 8.64 | 17.95% | 2.4 | 38.71%
2012-11-08 | 9.55 | 13.2 | 38.7 | 36 | 34 | 2.6 | 2.1 | 35 |  | 3.7 | 3.4 | 3.3 | 6.9 | 6.9 | 6.9 | 21.5 | 21.5 | 21.5 | 4.9 | 7.44 | 15.45% | 2.5 | 40.32%
2012-11-15 | 9.74 | 13 | 33.8 | 32 | 28 | 2.8 | 3 | 30 |  | 3.8 | 3.6 | 3.1 | 6.9 | 6.9 | 6.9 | 20.8 | 20.8 | 20.8 | 5.4 | 10.34 | 21.48% | 2.4 | 38.71%
2012-12-06 | 17.28 | 18.8 | 25.7 | 18 | 18 | 6.1 | 1.6 | 16 |  | 2 | 1.9 | 1.7 | 6.7 | 6.7 | 6.7 | 19.8 | 19.8 | 19.8 | 5.4 | 22.44 | 46.61% | 4.2 | 67.74%
2012-12-11 | 14 | 14.2 | 31.5 | 26 | 27 | 2.9 | 1.6 | 24 |  | 2.6 | 2.6 | 3 | 6.9 | 6.9 | 6.9 | 19.9 | 19.9 | 19.9 | 8.8 | 17.64 | 36.64% | 3.6 | 58.06% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-01-15 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-02-01 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-02-15 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-03-01 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-03-15 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100% | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-04-15 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-05-01 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-05-15 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-06-01 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100%
2013-06-15 |  |  | 0 | [10 empty] | 0 | 0 |  | 0 | 0 |  | 48.14 | 100% | 6.2 | 100% | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
City of San Mateo WWTP
Chad Davisson (650) 522-7385
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01 | 10.32 | 12.3 | 800.8671 | 1131.2784 | 780.192 | 0 | 20.6751 | 1092.2688 | 0 | 89.7221 | 93.623 | 116.235 | 152.1374 | 855.1668 | 42.61% | 168.777 | 65.29%
2012-07-15 | 10.23 | 14.6 | 1600.1398 | 1624.1148 | 1585.4454 | 0 | 14.6944 | 1430.7678 | 0 | 127.609 | 119.8751 | 110.376 | 185.6131 | 368.3111 | 18.35% | 130.8901 | 50.63%
2012-08-03 | 10.28 | 16.5 | 1511.5918 | 1476.6192 | 1437.7608 | 0 | 73.831 | 738.3096 | 0 | 136.0044 | 124.3469 | 168.399 | 104.9177 | 456.6701 | 22.75% | 122.4947 | 47.39%
2012-08-14 | 10.53 | 13.4 | 1260.1756 | 1313.5122 | 1233.9054 | 0 | 26.2702 | 1233.9054 | 0 | 71.6461 | 63.6854 | 86.1084 | 159.2136 | 667.3378 | 33.25% | 186.853 | 72.28%
2012-09-04 | 9.927 | 14.2 | 1279.5704 | 1275.818 | 1238.294 | 32.6459 | 8.6305 | 1200.7699 | 0 | 116.3246 | 135.0866 | 112.7196 | 150.0962 | 690.0258 | 34.38% | 142.1745 | 55%
2012-09-11 | 9.77 | 13.8 | 1406.3172 | 1329.5016 | 1329.5016 | 32.4989 | 44.3167 | 1255.6404 | 0 | 121.871 | 118.1779 | 166.9248 | 103.4057 | 600.803 | 29.93% | 136.6281 | 52.85% | Quarterly report due by 30 Oct.
2012-10-01 | 9.25 | 15.85 | 1209.789 | 1083.915 | 1083.915 | 55.944 | 69.93 | 1048.95 | 0 | 104.895 | 111.888 | 149.7825 | 122.3775 | 797.3313 | 39.73% | 153.6041 | 59.42%
2012-10-15 | 9.4844 | 18.3738 | 1416.1128 | 1290.6344 | 1290.6344 | 68.1168 | 57.3615 | 1218.9325 | 0 | 136.2336 | 132.6485 | 263.9213 | 168.4995 | 591.0075 | 29.45% | 122.2654 | 47.3%
2012-11-08 | 9.55 | 13.2 | 1397.0313 | 1299.564 | 1227.366 | 93.8574 | 75.8079 | 1263.465 | 0 | 133.5663 | 122.7366 | 164.6568 | 176.8851 | 537.891 | 26.8% | 124.9328 | 48.33%
2012-11-15 | 9.74 | 13 | 1244.4214 | 1178.1504 | 1030.8816 | 103.0882 | 110.4516 | 1104.516 | 0 | 139.9054 | 132.5419 | 152.334 | 198.8129 | 615.4301 | 30.66% | 118.5937 | 45.88%
2012-12-06 | 17.28 | 18.8 | 1678.6829 | 1175.7312 | 1175.7312 | 398.4422 | 104.5094 | 1045.0944 | 0 | 130.6368 | 124.105 | 120.8088 | 352.7194 | 328.4374 | 16.36% | 127.8623 | 49.46%
2012-12-11 | 14 | 14.2 | 1666.98 | 1375.92 | 1428.84 | 153.468 | 84.672 | 1270.08 | 0 | 137.592 | 137.592 | 161.028 | 465.696 | 393.0603 | 19.58% | 120.9071 | 46.77% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Formulas:
Date = '[1]Eff Conc.'!A12

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
City of San Mateo WWTP
Chad Davisson (650) 522-7385
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-10 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.1 | 0.04 | 0.1 | 0.15 | 0.2 | 0.15 | 0.2 |  |  | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
City of San Mateo WWTP
Chad Davisson (650) 522-7385
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-01 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.004 | 0.06 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.07 | 0.1 | 0.06 | 0.1
2012-07-19 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.0075 | 0.1 | 0.075 | 0.1 | 0.012 | 0.1
2012-08-03 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.07 | 0.1 | 0.035 | 0.05 | 0.06 | 0.1
2012-08-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.15 | 0.2 | 0.035 | 0.05 | 0.03 | 0.05
2012-09-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.04 | 0.1 | 0.03 | 0.05
2012-09-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.15 | 0.2 |  |  | Quarterly report due by 30 Oct.
2012-10-02 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1
2012-10-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1
2012-11-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1
2012-11-15 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1
2012-12-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.06 | 0.1
2012-12-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.035 | 0.05 | 0.3 | 1 |  |  | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Formulas:
Date = '[1]Eff Conc.'!A12