## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
South San Francisco-San Bruno Water Quality Control Plant
Contact Person: Abby Partin (650) 829-3854
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-10 | 8.6 | 12.8 | 0.15 | 58 |  | 0.13 | 0.02 | 31 |  | 7.6 |  | 5 | NA | NA | NA | NA | NA | NA | 474 | Quarterly report due by 30 Oct.
Dry 2012 | 2012-07-26 | 8.89 | 13.6 |  | 50 |  | 0.027 | 0.044 | 30 |  | 7.3 |  | 4.8 | NA | NA | NA | NA | NA | NA | 312
Dry 2012 | 2012-08-16 | 8.6 | 13.1 |  | 46 |  | 0 | 0.0074 | 32 |  | 6.5 |  | 4.7 | NA | NA | NA | NA | NA | NA | 278
Dry 2012 | 2012-08-28 | 8.54 | 14 |  | 54 |  | 0.15 | 0.012 | 31 |  | 7.5 |  | 5.3 | NA | NA | NA | NA | NA | NA | 236
Dry 2012 | 2012-09-12 | 9.13 | 14.8 |  | 47 |  | 0 | 0 | 31 |  | 7.5 |  | 6.8 | NA | NA | NA | NA | NA | NA | 210
Dry 2012 | 2012-09-25 | 8.46 | 20.5 |  | 53 |  | 0.035 | 0.036 | 35 |  | 8.1 |  | 5.6 | NA | NA | NA | NA | NA | NA | 368
Dry 2012 | 2012-10-03 | 8.44 | 14 |  | 58 |  | 0.053 | 0.009 | 30 |  | 7.3 |  | 4.7 | NA | NA | NA | NA | NA | NA | 359
Dry 2012 | 2012-10-23 | 9.31 | 14 |  | 50 |  | 0.036 | 0.0055 | 30 |  | 6.9 |  | 3.4 | NA | NA | NA | NA | NA | NA | 137
Wet 2012/13 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/14 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
South San Francisco-San Bruno Water Quality Control Plant
Contact Person: Abby Partin (650) 829-3854
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-10 | 8.6 | 12.8 | 4.8762 | 1885.464 | 0 | 4.226 | 0.65016 | 1007.748 | 0 | 247.0608 | 0 | 241.92 | 15408.792 | Quarterly report due by 30 Oct.
Dry 2012 | 2012-07-26 | 8.89 | 13.6 | 0 | 1680.21 | 0 | 0.90731 | 1.4786 | 1008.126 | 0 | 245.3107 | 0 | 246.7584 | 10484.5104
Dry 2012 | 2012-08-16 | 8.6 | 13.1 | 0 | 1495.368 | 0 | 0 | 0.24056 | 1040.256 | 0 | 211.302 | 0 | 232.7346 | 9037.224
Dry 2012 | 2012-08-28 | 8.54 | 14 | 0 | 1743.1848 | 0 | 4.8422 | 0.38737 | 1000.7172 | 0 | 242.109 | 0 | 280.476 | 7618.3632
Dry 2012 | 2012-09-12 | 9.13 | 14.8 | 0 | 1622.0358 | 0 | 0 | 0 | 1069.8534 | 0 | 258.8355 | 0 | 380.4192 | 7247.394
Dry 2012 | 2012-09-25 | 8.46 | 20.5 | 0 | 1694.8764 | 0 | 1.1193 | 1.1512 | 1119.258 | 0 | 259.0283 | 0 | 433.944 | 11768.1984
Dry 2012 | 2012-10-03 | 8.44 | 14 | 0 | 1850.3856 | 0 | 1.6909 | 0.28713 | 957.096 | 0 | 232.8934 | 0 | 248.724 | 11453.2488
Dry 2012 | 2012-10-23 | 9.31 | 14 | 0 | 1759.59 | 0 | 1.2669 | 0.19355 | 1055.754 | 0 | 242.8234 | 0 | 179.928 | 4821.2766
Wet 2012/13 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
South San Francisco-San Bruno Water Quality Control Plant
Contact Person: Abby Partin (650) 829-3854
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-10 | 8.6 | 12.8 | 33.29 | 33 | 32 | 0.42 | 0.87 | 32 |  | 4.5 | 4.7 | 3.8 | 7.2 | 7.4 | 7.3 | 22.1 | 22.9 | 22.5 | 7 | 23.86 | 41.03% | 3.1 | 40.79%
2012-07-26 | 8.89 | 13.6 | 27.5641 | 27 | 27 | 0.56 | 0.0041 | 26 |  | 5.2 | 4.9 | 3.5 | 7.3 | 7.4 | 7.3 | 24.2 | 24.8 | 24.5 | 8 | 30.5859 | 52.6% | 2.4 | 31.58%
2012-08-16 | 8.6 | 13.1 | 39.74 | 38 | 38 | 0.54 | 1.2 | 36 |  | 4.9 | 4.7 | 3.6 | 7.3 | 7.5 | 7.4 | 23.6 | 24.2 | 23.9 | 8 | 18.41 | 31.66% | 2.7 | 35.53%
2012-08-28 | 8.54 | 14 | 33.11 | 31 | 30 | 0.91 | 2.2 | 27 |  | 4.4 | 4.9 | 2.7 | 7.2 | 7.4 | 7.2 | 23 | 24.3 | 23.6 | 4 | 24.04 | 41.34% | 3.2 | 42.11%
2012-09-12 | 9.13 | 14.8 | 34.2 | 30 | 30 | 2 | 2.2 | 27 |  | 4.7 | 4.5 | 5 | 7.2 | 7.4 | 7.3 | 23.2 | 23.4 | 23.3 | 10 | 23.95 | 41.19% | 2.9 | 38.16%
2012-09-25 | 8.46 | 20.5 | 33.2 | 28 | 28 | 0.8 | 4.4 | 31 |  | 4.9 | 4.8 | 3.2 | 7.1 | 7.3 | 7.2 | 22.7 | 23.4 | 23 | 8 | 24.95 | 42.91% | 2.7 | 35.53% | Quarterly report due by 30 Oct.
2012-10-03 | 8.44 | 14 | 35.8 | 34 | 32 | 1.5 | 2.3 | 26 |  | 4 | 3.3 | 3.2 | 7.2 | 7.5 | 7.3 | 23.9 | 25.2 | 24.6 | 9 | 20.35 | 35% | 3.6 | 47.37%
2012-10-23 | 9.31 | 14 | 40.9 | 36 | 35 | 2.6 | 3.3 | 34 |  | 4 | 3.4 | 2.4 | 7.1 | 7.3 | 7.2 | 21.8 | 23.1 | 22.4 | 5 | 16.25 | 27.94% | 3.6 | 47.37%
2012-11-07 | 8.7 | 14 | 28.99 | 28 | 27 | 1.8 | 0.19 | 23 |  | 4.1 | 3.7 | 3.8 | 7.1 | 7.4 | 7.3 | 23.2 | 23.3 | 23.2 | 6 | 28.16 | 48.43% | 3.5 | 46.05%
2012-11-27 | 7.89 | 20 | 43.9 | 36 | 36 | 5.9 | 2 | 33 |  | 3.6 | 3.8 | 1.6 | 7.3 | 7.3 | 7.3 | 21.2 | 22 | 21.6 | 9 | 14.25 | 24.51% | 4 | 52.63%
2012-12-05 | 14.02 | 43.6 | 24.981 | 25 | 24 | 0.95 | 0.031 | 22 |  | 0.85 | 1.3 | 0.7 | 7.1 | 7.3 | 7.2 | 20.3 | 21.3 | 20.8 | 7 | 32.169 | 55.32% | 6.75 | 88.82%
2012-12-18 | 9.9 | 14.9 | 43.6 | 38 | 37 | 4.9 | 1.7 | 36 |  | 4.2 | 3.8 | 2.5 | 7.1 | 7.2 | 7.2 | 19 | 20.1 | 19.6 | 12 | 13.55 | 23.3% | 3.4 | 44.74% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
South San Francisco-San Bruno Water Quality Control Plant
Contact Person: Abby Partin (650) 829-3854
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-10 | 8.6 | 12.8 | 1082.1913 | 1072.764 | 1040.256 | 13.6534 | 28.282 | 1040.256 | 0 | 146.286 | 152.7876 | 183.8592 | 227.556 | 775.6409 | 41.03% | 100.7748 | 40.79%
2012-07-26 | 8.89 | 13.6 | 926.2695 | 907.3134 | 907.3134 | 18.8184 | 0.13778 | 873.7092 | 0 | 174.7418 | 164.6606 | 179.928 | 268.8336 | 964.0707 | 51% | 72.319 | 29.27%
2012-08-16 | 8.6 | 13.1 | 1291.8679 | 1235.304 | 1235.304 | 17.5543 | 39.0096 | 1170.288 | 0 | 159.2892 | 152.7876 | 178.2648 | 260.064 | 598.4723 | 31.66% | 87.7716 | 35.53%
2012-08-28 | 8.54 | 14 | 1068.8305 | 1000.7172 | 968.436 | 29.3759 | 71.0186 | 871.5924 | 0 | 142.0373 | 158.1779 | 142.884 | 129.1248 | 789.2285 | 41.75% | 105.0235 | 42.51%
2012-09-12 | 9.13 | 14.8 | 1180.2899 | 1035.342 | 1035.342 | 69.0228 | 75.9251 | 931.8078 | 0 | 162.2036 | 155.3013 | 279.72 | 345.114 | 710.0503 | 37.56% | 84.8572 | 34.35%
2012-09-25 | 8.46 | 20.5 | 1061.6962 | 895.4064 | 895.4064 | 25.583 | 140.7067 | 991.3428 | 0 | 156.6961 | 153.4982 | 247.968 | 255.8304 | 828.644 | 43.84% | 90.3647 | 36.58% | Quarterly report due by 30 Oct.
2012-10-03 | 8.44 | 14 | 1142.1346 | 1084.7088 | 1020.9024 | 47.8548 | 73.3774 | 829.4832 | 0 | 127.6128 | 105.2806 | 169.344 | 287.1288 | 684.3992 | 36.21% | 119.448 | 48.35%
2012-10-23 | 9.31 | 14 | 1439.3446 | 1266.9048 | 1231.713 | 91.4987 | 116.1329 | 1196.5212 | 0 | 140.7672 | 119.6521 | 127.008 | 175.959 | 415.8038 | 22% | 106.2936 | 43.02%
2012-11-07 | 8.7 | 14 | 953.3651 | 920.808 | 887.922 | 59.1948 | 6.2483 | 756.378 | 0 | 134.8326 | 121.6782 | 201.096 | 197.316 | 904.0891 | 47.83% | 112.2282 | 45.43%
2012-11-27 | 7.89 | 20 | 1309.2824 | 1073.6712 | 1073.6712 | 175.9628 | 59.6484 | 984.1986 | 0 | 107.3671 | 113.332 | 120.96 | 268.4178 | 581.0578 | 30.74% | 139.6937 | 56.54%
2012-12-05 | 14.02 | 43.6 | 1323.8831 | 1324.89 | 1271.8944 | 50.3458 | 1.6429 | 1165.9032 | 0 | 45.0463 | 68.8943 | 115.3656 | 370.9692 | 513.4615 | 27.16% | 202.0145 | 81.77%
2012-12-18 | 9.9 | 14.9 | 1631.5992 | 1422.036 | 1384.614 | 183.3678 | 63.6174 | 1347.192 | 0 | 157.1724 | 142.2036 | 140.805 | 449.064 | 221.319 | 11.71% | 89.8884 | 36.38% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
South San Francisco-San Bruno Water Quality Control Plant
Contact Person: Abby Partin (650) 829-3854
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-10 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 0.4 | 0.1 | 0.18 | 0.1 | NA | NA | Quarterly report due by 30 Oct.
Dry 2012 | 2012-07-26 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 0.4 | 0.1 | 0.18 | 0.1 | NA | NA
Dry 2012 | 2012-08-16 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 0.4 | 0.1 | 0.18 | 0.1 | NA | NA
Dry 2012 | 2012-08-28 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 1 | 0.1 | 0.18 | 0.1 | NA | NA
Dry 2012 | 2012-09-12 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 1 | 0.1 | 0.45 | 0.1 | NA | NA
Dry 2012 | 2012-09-25 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 1 | 0.1 | 0.18 | 0.1 | NA | NA
Dry 2012 | 2012-10-03 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 1 | 0.1 | 0.18 | 0.1 | NA | NA
Dry 2012 | 2012-10-23 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 | 0.4 | 0.1 | 0.18 | 0.1 | NA | NA
Wet 2012/13 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/14 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
South San Francisco-San Bruno Water Quality Control Plant
Contact Person: Abby Partin (650) 829-3854
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-10 | 0.1 | 1 | 0.1 | 1 | 0.03 | 0.2 | 0.03 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.18 | 0.1 | NA | NA
2012-07-26 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.09 | 0.1 | NA | NA
2012-08-16 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.04 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.18 | 0.1 | NA | NA
2012-08-28 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.1 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.09 | 0.1 | NA | NA
2012-09-12 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.1 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.18 | 0.1 | NA | NA
2012-09-25 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.2 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.18 | 0.1 | NA | NA | Quarterly report due by 30 Oct.
2012-10-03 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.1 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.18 | 0.1 | NA | NA
2012-10-23 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.2 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.09 | 0.1 | NA | NA
2012-11-07 | 0.1 | 1 | 0.1 | 1 | 0.015 | 0.2 | 0.05 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.18 | 0.1 | NA | NA
2012-11-27 | 0.1 | 1 | 0.1 | 1 | 0.06 | 0.2 | 0.1 | 0.01 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.2 | 0.04 | 0.09 | 0.1 | NA | NA
2012-12-05 | 0.1 | 1 | 0.1 | 1 | 0.015 | 0.2 | 0.004 | 0.2 | 0.06 | 0.2 |  |  | 0.1 | 0.1 | 0.2 | 0.04 | 0.018 | 0.1 | NA | NA
2012-12-18 | 0.1 | 1 | 0.1 | 1 | 0.06 | 0.2 | 0.1 | 0.2 | 0.06 | 0.2 |  |  | 0.4 | 0.1 | 0.4 | 0.04 | 0.09 | 0.1 | NA | NA | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers