## Read Me
Worksheet Notes:
1. Two of the worksheets (Inf Loads and Eff Loads) contain formulas and have been locked to prevent changes to the formulas.
2. Conditional formatting has been applied to highlight cells when a text value has been entered in blue to the "Conc." and "QAQC MLs" worksheets.
3. Conditional formatting has been applied to highlight cells in orange when a value is missing and a date has been entered in the worksheet "Inf Conc.".
4. Agency name and contact information entered in the worksheet "Inf Conc." will automatically populate the other worksheets.
5. Dates entered in the worksheet "Inf Conc." will automatically populate the date field in the worksheets "Inf Loads" and "Inf QAQA MLs". The default date is 1/0/1900.

## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
EBDA USD
Mike Connor 510-654-8210
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 24.6 | 27.7 | 0.053 | 47 |  | 0 | 0.053 | 30.5 |  | 5.9 |  | 3.1 | [6 empty] | 260 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
EBDA-Hayward
Mike Connor 510-654-8210
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 11.3 | 13.4 | 0 | 57 |  | 0 | 0 | 34.4 |  | 7.5 |  | 1.6 | [6 empty] | 270 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
EBDA- Oro Loma
Mike Connor 510-654-8210
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 12.05 | 13.4 | 0.98 | 39 |  | 0.67 | 0.31 | 19.3 |  | 4.7 |  | 4.1 | [6 empty] | 356 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
EBDA- San Leandro
Mike Connor 510-654-8210
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 5.18 | 5.81 | 0 | 50 |  | 0 | 0 | 24.9 |  | 6.4 |  | 4.8 | [6 empty] | 352 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
EBDA USD
Mike Connor 510-654-8210
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-12 | 24.6 | 27.7 | 4.9284 | 4370.436 | 0 | 0 | 4.9284 | 2836.134 | 0 | 548.6292 | 0 | 324.5886 | 24176.88 | Quarterly report due by 30 Oct.
Wet 2012/3 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
EBDA USD
Mike Connor 510-654-8210
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
|  |  | 0 | [16 empty] | 47.053 | 100% | 5.9 | 100%
2012-07-12 | 49.4 | 60 | 33.2 | 32 | 29.4 | 2.2 | 1.6 | 26.9 | 0.22 | 2.5 | 2.08 | 2.1 | 7.2 | 7.2 | 7.2 | 24.5 | 24.5 | 24.5 | 10 | 11.253 | 23.92% | 3.4 | 57.63%
2012-08-02 | 58.4 | 58 | 35.1 | 32 | 31.5 | 2.2 | 1.4 | 28 |  | 2.5 | 2.17 | 1.7 | 7.2 | 7.2 | 7.2 | 24.7 | 24.7 | 24.7 | 10 | 11.453 | 24.34% | 3.4 | 57.63%
2012-08-16 | 58.5 |  | 34.1 | 32 | 30.1 | 2.3 | 1.7 | 26.9 | 0.217 | 2 | 1.79 | 1.8 | 7.1 | 7.1 | 7.1 | 24.9 | 24.9 | 24.9 | 11 | 11.053 | 23.49% | 3.9 | 66.1%
2012-09-06 | 58.7 | 65.3 | 34.7 | 32 | 30.8 | 2.1 | 1.8 | 27.4 |  | 2.2 | 1.96 | 1.8 | 7.2 | 7.2 | 7.2 | 24.2 | 24.2 | 24.2 | 12 | 11.153 | 23.7% | 3.7 | 62.71%
2012-09-20 | 56.2 | 64 | 37.1 | 32 | 33.6 | 2 | 1.5 | 30.8 | 0.197 | 2.7 | 2.52 | 1.9 | 7.2 | 7.2 | 7.2 | 23.2 | 23.2 | 23.2 | 11 | 11.553 | 24.55% | 3.2 | 54.24% | Quarterly report due by 30 Oct.
2012-10-04 | 44 | 63 | 35.3 | 34 | 32.9 | 1.1 | 1.3 | 30.4 |  | 2.3 | 2.09 | 1.7 | 7.1 | 7.1 | 7.1 | 24.4 | 24.4 | 24.4 | 11
2012-10-18 | 65 | 93 | 33.8 | 32 | 30.8 | 1.7 | 1.3 | 29.6 | 0.183 | 2.2 | 1.93 | 1.4 | 7.1 | 7.1 | 7.1 | 23.7 | 23.7 | 23.7 | 10
2012-11-08 | 67 | 92 | 33 | 33 | 29.4 | 2 | 1.6 | 28.6 |  | 2.7 | 2.1 | 1.8 | 7 | 7 | 7 | 22.4 | 22.4 | 22.4 | 12
2012-11-21 | 78 | 95 | 33.2 | 29 | 28.7 | 2.9 | 1.6 | 27.7 | 0.215 | 2.5 | 2.26 | 1.8 | 7 | 7 | 7 | 21.8 | 21.8 | 21.8 | 11
2012-12-06 | 88 | 136 | 30.1 | 27 | 25.9 | 2.5 | 1.7 | 24.8 |  | 2.4 | 2.06 | 2.2 | 7 | 7 | 7 | 19.3 | 19.3 | 19.3 | 10
2012-12-20 | 47 | 77 | 35.2 | 32 | 30.1 | 3.2 | 1.9 | 27.3 | 0.22 | 2.5 | 1.89 | 1.7 | 7 | 7 | 7 | 19.5 | 19.5 | 19.5 | 14 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 11/30/12 | 118 | 180 | 35.7 | 32 | 30.8 | 3.1 | 1.8 | 28.1 |  | 2.4 | 2.22 | 0.45 | 7.1 | 7.1 | 7.1 | 21.4 | 21.4 | 21.4 | 8
Wet 12/26/12 | 83 | 124 | 28.2 | 24 | 23.1 | 3.1 | 2 | 21.3 |  | 2.2 | 2 | 1.5 | 7 | 7 | 7 | 19.4 | 19.4 | 19.4 | 8.4
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
EBDA USD
Mike Connor 510-654-8210
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01 | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 548.6292 | 100%
2012-07-15 | 49.4 | 60 | 6199.5024 | 5975.424 | 5489.9208 | 410.8104 | 298.7712 | 5023.0908 | 41.081 | 466.83 | 388.4026 | 476.28 | 1867.32 |  | -52.79% |  | 14.91%
2012-08-01 | 58.4 | 58 | 7748.3952 | 7064.064 | 6953.688 | 485.6544 | 309.0528 | 6181.056 | 0 | 551.88 | 479.0318 | 372.708 | 2207.52 |  | -79.61% |  | -0.5925%
2012-08-15 | 58.5 |  | 7540.533 | 7076.16 | 6656.013 | 508.599 | 375.921 | 5948.397 | 47.9852 | 442.26 | 395.8227 | #VALUE! | 2432.43 |  | -81.94% |  | 19.39%
2012-09-01 | 58.7 | 65.3 | 7699.4442 | 7100.352 | 6834.0888 | 465.9606 | 399.3948 | 6079.6764 | 0 | 488.1492 | 434.8966 | 444.3012 | 2662.632 |  | -82.06% |  | 11.02%
2012-09-15 | 56.2 | 64 | 7881.3756 | 6797.952 | 7137.8496 | 424.872 | 318.654 | 6543.0288 | 41.8499 | 573.5772 | 535.3387 | 459.648 | 2336.796 |  | -72.36% |  | -4.547% | Quarterly report due by 30 Oct.
2012-10-04 | 44 | 63 | 5871.096 | 5654.88 | 5471.928 | 182.952 | 216.216 | 5056.128 | 0 | 382.536 | 347.6088 | 404.838 | 1829.52
2012-10-18 | 65 | 93 | 8304.66 | 7862.4 | 7567.56 | 417.69 | 319.41 | 7272.72 | 44.9631 | 540.54 | 474.201 | 492.156 | 2457
2012-11-08 | 67 | 92 | 8357.58 | 8357.58 | 7445.844 | 506.52 | 405.216 | 7243.236 | 0 | 683.802 | 531.846 | 625.968 | 3039.12
2012-11-21 | 78 | 95 | 9788.688 | 8550.36 | 8461.908 | 855.036 | 471.744 | 8167.068 | 63.3906 | 737.1 | 666.3384 | 646.38 | 3243.24
2012-12-06 | 88 | 136 | 10012.464 | 8981.28 | 8615.376 | 831.6 | 565.488 | 8249.472 | 0 | 798.336 | 685.2384 | 1130.976 | 3326.4
2012-12-20 | 47 | 77 | 6253.632 | 5685.12 | 5347.566 | 568.512 | 337.554 | 4850.118 | 39.0852 | 444.15 | 335.7774 | 494.802 | 2487.24 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 11/30/12 | 118 | 180 | 15923.628 | 14273.28 | 13738.032 | 1382.724 | 802.872 | 12533.724 |  | 1070.496 | 990.2088 | 306.18 | 3568.32
Wet 12/26/12 | 83 | 124 | 8847.468 | 7529.76 | 7247.394 | 972.594 | 627.48 | 6682.662 |  | 690.228 | 627.48 | 703.08 | 2635.416
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
EBDA
Mike Connor 510=654-8210
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-11 | 1 |  | 0.02 | 0.4 | 0.0071 | 0.4 | 0.6 |  | 1 |  | 0.25 |  | 20 |  | Quarterly report due by 30 Oct.
Wet 2012/3 | 0 | [14 empty] | Quarterly report due by 30 Apr.
Dry 2013 | 0 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | [14 empty] | Quarterly report due by 30 Oct.
Dry 2014 | 0 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
EBDA USD
Mike Connor 510-654-8210
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-01
2012-07-12 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.6 |  | 5 |  | 0.25 |  | 0.25 |  | 0.25 |  | NA
2012-08-02 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.6 |  | 1 |  | 0.25 |  | 0.25 |  | 0.1 |  | NA
2012-08-16 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.6 |  | 1 |  | 0.25 |  | 0.25 |  | 0.25 |  | NA
2012-09-06 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.3 |  | 1 |  | 0.25 |  | 0.25 |  | 0.25 |  | NA
2012-09-20 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.6 |  | 1 |  | 0.25 |  | 0.25 |  | 0.25 |  | NA |  | Quarterly report due by 30 Oct.
2012-10-04 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.3 |  |  |  | 0.25 |  | 0.25 |  | 0.25 |  | 2
2012-10-18 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.6 |  | 0.01 | 0.01 | 0.25 |  | 0.25 |  | 0.25 |  | 2
2012-11-08 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.3 |  |  |  | 0.25 |  | 0.25 |  | 0.25 |  | 2
2012-11-21 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.3 |  | 0.01 | 0.01 | 0.25 |  | 0.25 |  | 0.25 |  | 2
2012-12-06 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.3 |  |  |  | 0.25 |  | 0.25 |  | 0.25 |  | 2
2012-12-20 | 1 |  | 1 |  | 0.01 | 0.4 | 0.0036 | 0.4 | 0.6 |  | 0.01 | 0.01 | 0.25 |  | 0.25 |  | 0.25 |  | 2 |  | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers