## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
San Francisco Southeast Water Pollution Control Plant
Contact Person: Laura Pagano (415) 554-3109
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-16 | 59.4 | 74 | 4.75 | 48.89 |  | 4.68 | 0.07 | 38.3 |  | 6.37 |  | 11.35 | [6 empty] | 249 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
San Francisco Southeast Water Pollution Control Plant
Contact Person: Laura Pagano (415) 554-3109
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-16 | 59.4 | 74 | 1066.527 | 10977.3695 | 0 | 1050.8098 | 15.7172 | 8599.5756 | 0 | 1430.2688 | 0 | 3174.822 | 55908.468 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
San Francisco Southeast Water Pollution Control Plant
Contact Person: Laura Pagano (415) 554-3109
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-09 | 55.1 | 72 | 39.646 | 38.05 | 37.83 | 1.78 | 0.036 | 38.42 |  | < 0.1 | < 0.1 | 0.71 | 6.29 | 6.29 | 6.29 | 23 | 23 | 23 | 15 | 13.774 | 25.68% | - | -
2012-07-16 | 53.1 | 74 | 40.16 | 39.2 | 38 | 1.77 | 0.39 | 37.97 | 0.42 | 0.29 (DNQ) | < 0.1 | 0.96 | 6.1 | 6.1 | 6.1 | 22.9 | 22.9 | 22.9 | 13 | 12.28 | 22.89% | - | -
2012-08-06 | 53.6 | 75 | 42.216 | 44.91 | 40.94 | 1.24 | 0.036 | 38.64 |  | 2.17 | < 0.1 | 4.05 | 6.2 | 6.2 | 6.2 | 23.6 | 23.6 | 23.6 | 26 | 7.454 | 13.9% | 4.2 | 65.93%
2012-08-13 | 53.9 | 67 | 38.14 | 40.52 | 37.44 | 0.63 | 0.07 | 40.1 | 0.32 | 1.06 | < 0.1 | 2.03 | 6.1 | 6.1 | 6.1 | 23.5 | 23.5 | 23.5 | 13.5 | 12.42 | 23.15% | 5.31 | 83.36%
2012-09-10 | 55.1 | 93 | 48.89 | 44.4 | 46.2 | 2.049 | 0.641 | 40.77 | 0.43 | < 0.1 | < 0.1 | 1.01 | 6.8 | 6.8 | 6.8 | 23.6 | 23.6 | 23.6 | 16 | 6.55 | 12.21% | - | -
2012-09-30 | 48.7 | 67 | 41.17 | 34.6 | 37.4 | 2.75 | 1.02 | 37.6 |  | 1.08 | 0.955 | 1 | 6.25 | 6.25 | 6.25 | 24 | 24 | 24 | 12 | 15.27 | 28.47% | 5.29 | 83.05% | Quarterly report due by 30 Oct.
2012-10-01 | 46.6 | 71 | 44.15 | 42.1 | 39.6 | 3.1 | 1.45 | 9.86 |  | 1.15 | 0.992 | 0.946 | 6.2 | 6.2 | 6.2 | 24 | 24 | 24 | 9.5 | 6.99 | 13.03% | 5.22 | 81.95%
2012-10-08 | 49.8 | 71 | 43.816 | 40.6 | 39.23 | 2.281 | 2.305 | 40.43 | 0.41 | 0.18 (DNQ) | < 0.1 | 1.25 | 6.75 | 6.75 | 6.75 | 24.2 | 24.2 | 24.2 | 13 | 8.454 | 15.76% | - | -
2012-11-05 | 55 | 77 | 34.09 | 34.58 | 31.61 | 1.21 | 1.27 | 34.05 |  | 0.43 (DNQ) | < 0.1 | 2.01 | 6.24 | 6.24 | 6.24 | 22.9 | 22.9 | 22.9 | 23.8 | 16.58 | 30.91% | - | -
2012-11-06 | 52.6 | 79 | 37.64 | 36.09 | 34.5 | 1.42 | 1.72 | 34.9 | 0.67 | 0.87 | 0.13 (DNQ) | 1.79 | 6.4 | 6.4 | 6.4 | 22.8 | 22.8 | 22.8 | 24.3 | 14.41 | 26.86% | 5.5 | 86.34%
2012-12-09 | 62 | 62 | 33.342 | 30.72 | 30.35 | 1.592 | 1.4 | 30.46 | 0.82 | < 0.1 | < 0.1 | 0.588 | 6.73 | 6.73 | 6.73 | 22 | 22 | 22 | 10.3 | 19.928 | 37.15% | - | -
2012-12-10 | 58.3 | 58.3 | 34.417 | 29.79 | 31.58 | 1.598 | 1.239 | 30.58 | 0.61 | < 0.1 | 0.15 (DNQ) | 0.946 | 6.17 | 6.17 | 6.17 | 21 | 21 | 21 | 13 | 21.013 | 39.17% | - | - | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
San Francisco Southeast Water Pollution Control Plant
Contact Person: Laura Pagano (415) 554-3109
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01 | 55.1 | 72 | 8257.3896 | 7924.9779 | 7879.1567 | 370.7348 | 7.498 | 8002.0408 | 0 | - | - | 193.2336 | 3124.17 | 3740.6857 | 31.06% | - | -
2012-07-15 | 53.1 | 74 | 8060.8349 | 7868.1456 | 7627.284 | 355.2709 | 78.28 | 7621.2625 | 84.3016 | - | - | 268.5312 | 2609.334 | 3742.2 | 31.07% | - | -
2012-08-01 | 53.6 | 75 | 8553.2993 | 9099.1253 | 8294.7715 | 251.2339 | 7.2939 | 7828.7731 | 0 | 439.6594 | - | 1148.175 | 5267.808 | 2686.2434 | 22.3% | 990.6095 | 69.26%
2012-08-15 | 53.9 | 67 | 7770.7199 | 8255.6258 | 7628.1005 | 128.3575 | 14.2619 | 8170.0542 | 65.1974 | 215.9665 | - | 514.1178 | 2750.517 | 3645.6512 | 30.27% | 1214.3023 | 84.9%
2012-09-01 | 55.1 | 93 | 10182.7114 | 9247.5432 | 9622.4436 | 426.7616 | 133.5062 | 8491.4941 | 89.5595 | - | - | 355.0554 | 3332.448 | 2236.0855 | 18.57% | - | -
2012-09-15 | 48.7 | 67 | 7578.8206 | 6369.3756 | 6884.8164 | 506.2365 | 187.7677 | 6921.6336 | 0 | 198.8129 | 175.8021 | 253.26 | 2209.032 | 4980.5167 | 41.35% | 1231.456 | 86.1% | Quarterly report due by 30 Oct.
2012-10-01 | 46.6 | 71 | 7776.9342 | 7415.8308 | 6975.4608 | 546.0588 | 255.4146 | 1736.8193 | 0 | 202.5702 | 174.7388 | 253.8875 | 1673.406 | 3826.5923 | 31.77% | 1227.6986 | 85.84%
2012-10-08 | 49.8 | 71 | 8248.0991 | 7642.7064 | 7384.8121 | 429.3846 | 433.9024 | 7610.7049 | 77.18 | - | - | 335.475 | 2447.172 | 3537.9031 | 29.38% | - | -
2012-11-05 | 55 | 77 | 7087.311 | 7189.182 | 6571.719 | 251.559 | 264.033 | 7078.995 | 0 | - | - | 585.0306 | 4948.02 | 4339.1225 | 36.03% | - | -
2012-11-06 | 52.6 | 79 | 7483.8859 | 7175.7025 | 6859.566 | 282.3358 | 341.9842 | 6939.0972 | 133.2148 | 172.9804 | - | 534.5298 | 4831.5204 | 4243.874 | 35.24% | 1257.2885 | 87.91%
2012-12-09 | 62 | 62 | 7814.0311 | 7199.5392 | 7112.826 | 373.1011 | 328.104 | 7138.6056 | 192.1752 | - | - | 137.8037 | 2413.908 | 4143.1522 | 34.4% | - | -
2012-12-10 | 58.3 | 58.3 | 7584.612 | 6564.9415 | 6959.4109 | 352.1577 | 273.0434 | 6739.0369 | 134.4281 | - | - | 208.4738 | 2864.862 | 4853.754 | 40.3% | - | - | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
San Francisco Southeast Water Pollution Control Plant
Contact Person: Laura Pagano (415) 554-3109
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-16 | 0.2 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.1 | 0.5 | 0.1 | 0.5 | 7 |  | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
San Francisco Southeast Water Pollution Control Plant
Contact Person: Laura Pagano (415) 554-3109
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-01 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-07-15 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-08-01 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-08-15 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-09-01 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-09-15 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7 |  | Quarterly report due by 30 Oct.
2012-10-01 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-10-08 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-11-05 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-11-06 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-12-09 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-12-10 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.025 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7 |  | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers