## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
Delta Diablo Sanitation District
Darrell Cain (925) 756-1915
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-19 | 12.9 | 17.6 | 0.057 | 46 |  | 0.039 | 0.018 | 32 |  | 7.5 |  | 3.4 | [6 empty] | 316 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-05 | 13.9 | 19.8 |  | 44 |  | 0.07 | 0.09 | 32 |  | 5.4 |  | 3.1 | [6 empty] | 292 | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** DDSD does not routinely collect influent pH and Temp data
*** DRP sample collected as a grab, during peak flow, coinciding with composite sample collection (collected previous day to composite sample).
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Delta Diablo Sanitation District
Darrell Cain (925) 756-1915
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-19 | 12.9 | 17.6 | 2.7794 | 2243.052 | 0 | 1.9017 | 0.87772 | 1560.384 | 0 | 365.715 | 0 | 226.1952 | 15408.792 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-05 | 13.9 | 19.8 |  | 2311.848 |  | 3.6779 | 4.7288 | 1681.344 |  | 283.7268 |  | 232.0164 | 15342.264 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: DRP sample is collected as a grab, calculated load using "max flow" value. .

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Delta Diablo Sanitation District
Darrell Cain (925) 756-1915
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** DRP sample collected as a grab, during peak flow, coinciding with composite (collected day prior to grab sample)
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-19 | 7.7 | 12.5 | 49.1 | 39 | 38 | 0.1 | 11 | 37 |  | 1.8 | 1.8 | 0.9 | 6.9 | 6.9 | 6.9 |  |  | 25 | 9.2 | -4.043 | -8.778% | 5.7 | 76%
2012-07-25 | 5.2 | 10 | 64 | 32 | 32 | 16 | 16 | 32 |  | 1.5 | 1.5 | 0.82 | 7 | 7 | 7 |  |  | 25 | 12.9 |  | -38.96% |  | 80%
2012-08-07 | 5 | 11 | 64.39 | 34 | 33 | 31 | 0.39 | 34 |  | 1.1 | 1.7 | 0.76 | 7 | 7 | 7 |  |  | 25.7 | 10.5 |  | -41.98% |  | 85.33%
2012-08-21 | 5.3 | 12.2 | 66.36 | 25 | 26 | 40 | 0.36 | 25 |  | 1.8 | 1.3 | 1.2 | 7.1 | 7.1 | 7.1 |  |  | 25.7 | 16.9 |  | -41.91% |  | 76%
2012-09-05 | 4.9 | 8.8 | 75.59 | 24 | 27 | 48 | 0.59 | 25 |  | 1.6 | 1.3 | 0.8 | 7.1 | 7.1 | 7.1 |  |  | 25.5 | 12.2 |  | -57.61% |  | 78.67%
2012-09-25 | 5.8 | 8.8 | 68.45 | 21 | 22 | 46 | 0.45 | 22 |  | 0.95 | 0.98 | 0.52 | 7.1 | 7.1 | 7.1 |  |  | 25.5 | 19.2 |  | -46.45% |  | 87.33% | Quarterly report due by 30 Oct.
2012-10-04 | 5.8 | 9.9 | 72.35 | 26 | 26 | 46 | 0.35 | 27 |  | 1 | 0.84 | 0.5 | 7.2 | 7.2 | 7.2 |  |  | 23.5 | 12 |  | -57.09% |  | 86.67%
2012-10-16 | 7.4 | 18.2 | 59.38 | 23 | 10 | 49 | 0.38 | 23 |  | 1 | 0.81 | 0.58 | 7.1 | 7.1 | 7.1 |  |  | 23.5 | 13.2 |  | -57.15% |  | 86.67%
2012-11-06 | 5.9 | 13.1 | 68.35 | 26 | 27 | 41 | 0.35 | 27 |  | 1.5 | 1.2 | 0.79 | 7.4 | 7.4 | 7.4 |  |  | 22.2 | 14.5 |  | -46.23% |  | 80%
2012-11-28 | 7.1 | 13.6 | 94.52 | 29 | 28 | 66 | 0.52 | 28 |  | 1.8 | 1.7 | 0.95 | 7.2 | 7.2 | 7.2 |  |  | 22.2 | 23.5 |  | -107.4% |  | 76%
2012-12-11 | 8.5 | 14.5 | 54.27 | 29 | 29 | 25 | 0.27 | 28 |  | 1.5 | 1.2 | 1.2 | 7.2 | 7.2 | 7.2 |  |  | 22 | 12.3 |  | -17.83% |  | 80%
2012-12-18 | 7.1 | 12.4 | 55.27 | 29 | 28 | 27 | 0.27 | 28 |  | 1.6 | 1.2 | 0.92 | 7.2 | 7.2 | 7.2 |  |  | 22 | 17.3 |  | -22.17% |  | 78.67% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
2012-12-05 | 10.2 | 14.1 | 62.065 | 25 | 25 | 37 | 0.065 | 25 |  | 1 | 0.71 | 0.39 | 7.1 | 7.1 | 7.1 |  |  | 22 | 12.9 |  |  |  |  | 0.31 in of rain on 12/4/12
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Delta Diablo Sanitation District
Darrell Cain (925) 756-1915
* DRP load calculation depends on sample type: DRP sample is collected as a grab, calculated load using "max flow" value.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-19 | 7.7 | 12.5 | 1429.1046 | 1135.134 | 1106.028 | 2.9106 | 320.166 | 1076.922 | 0 | 52.3908 | 52.3908 | 42.525 | 267.7752 | 787.6208 | 35.07% | 313.3242 | 85.67%
2012-07-25 | 5.2 | 10 | 1257.984 | 628.992 | 628.992 | 314.496 | 314.496 | 628.992 | 0 | 29.484 | 29.484 | 30.996 | 253.5624 |  | 43.99% |  | 91.94%
2012-08-07 | 5 | 11 | 1216.971 | 642.6 | 623.7 | 585.9 | 7.371 | 642.6 | 0 | 20.79 | 32.13 | 31.6008 | 198.45 |  | 44.97% |  | 94.32%
2012-08-21 | 5.3 | 12.2 | 1329.4562 | 500.85 | 520.884 | 801.36 | 7.2122 | 500.85 | 0 | 36.0612 | 26.0442 | 55.3392 | 338.5746 |  | 41.7% |  | 90.14%
2012-09-05 | 4.9 | 8.8 | 1400.078 | 444.528 | 500.094 | 889.056 | 10.928 | 463.05 | 0 | 29.6352 | 24.0786 | 26.6112 | 225.9684 |  | 40.13% |  | 91.9%
2012-09-25 | 5.8 | 8.8 | 1500.6978 | 460.404 | 482.328 | 1008.504 | 9.8658 | 482.328 | 0 | 20.8278 | 21.4855 | 17.2973 | 420.9408 |  | 34.15% |  | 94.3% | Quarterly report due by 30 Oct.
2012-10-04 | 5.8 | 9.9 | 1586.2014 | 570.024 | 570.024 | 1008.504 | 7.6734 | 591.948 | 0 | 21.924 | 18.4162 | 18.711 | 263.088 | 659.63 | 29.37% | 343.791 | 94.01%
2012-10-16 | 7.4 | 18.2 | 1660.9774 | 643.356 | 279.72 | 1370.628 | 10.6294 | 643.356 | 0 | 27.972 | 22.6573 | 39.9017 | 369.2304 |  | 9.85% |  | 92.35%
2012-11-06 | 5.9 | 13.1 | 1524.3417 | 579.852 | 602.154 | 914.382 | 7.8057 | 602.154 | 0 | 33.453 | 26.7624 | 39.1192 | 323.379 |  | 33.12% |  | 90.85%
2012-11-28 | 7.1 | 13.6 | 2536.7278 | 778.302 | 751.464 | 1771.308 | 13.9558 | 751.464 | 0 | 48.3084 | 45.6246 | 48.8376 | 630.693 |  | -14.15% |  | 86.79%
2012-12-11 | 8.5 | 14.5 | 1743.6951 | 931.77 | 931.77 | 803.25 | 8.6751 | 899.64 | 0 | 48.195 | 38.556 | 65.772 | 395.199 |  | 22.36% |  | 86.82%
2012-12-18 | 7.1 | 12.4 | 1483.3363 | 778.302 | 751.464 | 724.626 | 7.2463 | 751.464 | 0 | 42.9408 | 32.2056 | 43.1222 | 464.2974 |  | 32.76% |  | 88.26% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
2012-12-05 | 10.2 | 14.1 | 2392.9781 | 963.9 | 963.9 | 1426.572 | 2.5061 | 963.9 |  | 38.556 | 27.3748 | 20.7862 | 497.3724
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Delta Diablo Sanitation District
Darrell Cain (925) 756-1915
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-19 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 | 0.075 | 0.1 | 0.006 | 0.01 | 2.5 | 3 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-05 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 | 0.006 | 0.01 | 2.5 | 3 | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Delta Diablo Sanitation District
Darrell Cain (925) 756-1915
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-18 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 3
2012-07-24 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 3
2012-08-07 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 3
2012-08-21 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 3
2012-09-05 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 3
2012-09-25 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 3 | Quarterly report due by 30 Oct.
2012-10-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2.5 | 3
2012-10-16 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2.5 | 3
2012-11-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2.5 | 3
2012-11-28 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2.5 | 3
2012-12-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2.5 | 3
2012-12-18 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.06 | 0.1 |  |  | 0.007 | 0.01 | 0.015 | 0.1 | 0.006 | 0.01 | 2.5 | 3 | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers