## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
City of Benicia WWTP
Jennifer Harrington 707-746-4294
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 2.38 | 3.84 | 0 | 49 |  |  |  | 40 |  | 5.1 | 4.8 | 4.8 | 7.1 | 7.3 | 7.2 | 24 | 26.8 | 25.4 | 322 | Quarterly report due by 30 Oct.
Dry 2012 | 2012-10-11 | 2.4 | 3.93 |  | 45 |  | 0.076 |  | 32 |  | 5 |  | 3.4 | 7.1 | 7.2 | 7.2 | 21 | 21.5 | 21.2 | 304
Wet 2012/3 | 2012-11-30 | 4.86 | 8.41 |  | 43 |  | 0.67 |  | 31 |  | 4.8 |  | 2.7 | 7 | 7.3 | 7.2 | 19 | 19.3 | 19.2 | 424 | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids
Note on H7: Jennifer Harrington: analytes missed, resampled 10/11/12
Note on H8: Jennifer Harrington: J-flagged RL=0.1 MDL=0.020 mg/L NO3+NO2 are combined result
Note on H9: Jennifer Harrington: J-flagged RL=0.1 MDL=0.020 mg/L NO3+NO2 are combined result

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
City of Benicia WWTP
Jennifer Harrington 707-746-4294
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-12 | 2.38 | 3.84 | 0 | 440.8236 | 0 |  |  | 359.856 | 0 | 45.8816 | 43.1827 | 69.673 | 2896.8408 | Quarterly report due by 30 Oct.
Dry 2012 | 2012-10-11 | 2.59 | 4.47 |  | 440.559 |  | 0.74406 |  | 313.2864 |  | 48.951 |  | 57.4484 | 2976.2208
Wet 2012/3 | 2012-11-30 | 4.86 | 8.41 |  | 789.9444 |  | 12.3084 | 0 | 569.4948 |  | 88.1798 |  | 85.8325 | 7789.2192 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
City of Benicia WWTP
Jennifer Harrington 707-746-4294
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-12 | 2 | 3.3 | 23.28 | 19 | 18 | 4.8 | 0.48 | 20 |  | 3.3 | 2.9 | 2.9 | 6.7 | 6.8 | 6.8 | 24.5 | 25.2 | 24.8 | 7 | 24.72 | 50.45% | 1.8 | 35.29%
2012-07-24 |  |  | 0 | [16 empty] | 49 | 100% | 5.1 | 100%
2012-08-09 | 2 | 6.3 | 28.8 | 24 | 23 | 1.4 | 4.4 | 29 |  | 3.7 | 2.8 | 2.6 | 6.8 | 6.8 | 6.8 | 25.3 | 25.5 | 25.4 | 4 | 19.2 | 39.18% | 1.4 | 27.45%
2012-08-23 |  |  | 0 | [16 empty] | 49 | 100% | 5.1 | 100%
2012-09-09 | 2.1 | 3.8 | 28.37 | 25 | 24 | 0.17 | 4.2 | 28 |  | 4.7 | 4.4 | 4.2 | 6.8 | 6.9 | 6.9 | 24.7 | 25 | 24.8 | 5 | 19.63 | 40.06% | 0.4 | 7.843%
2012-09-26 |  |  | 0 | [16 empty] | 49 | 100% | 5.1 | 100% | Quarterly report due by 30 Oct.
2012-10-04 | 2.1 | 3.7 | 33.92 | 32 | 33 | 0.02 | 0.9 | 33 |  | 4.2 | 4.2 | 3.1 | 7 | 7 | 7 | 24.3 | 24.4 | 24.4 | 7 | 10.75 | 24.62% | 0.6 | 12.5%
2012-10-15 |  |  | 0
2012-11-05 | 2.1 | 4 | 21.52 | 19 | 18 | 0.02 | 3.5 | 24 |  | 2.7 | 2.6 | 2.3 | 6.9 | 6.9 | 6.9 | 23.1 | 23.7 | 23.4 | 6 | 21.15 | 48.43% | 2.1 | 43.75%
2012-11-15 |  |  | 0
2012-12-13 | 2.5 | 4.4 | 20.9 | 15 | 15 | 0.1 | 5.8 | 14 |  | 2.5 | 2.4 | 2.2 | 6.8 | 6.8 | 6.8 | 19.5 | 19.7 | 19.6 | 4 | 22.77 | 52.14% | 2.3 | 47.92%
2012-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
2012-11-30 | 4.3 | 11.5 | 24.5 | 23 | 22 | J0.091 | 2.5 | 27 |  | 3 | 2.5 | 2.3 | 6.8 | 6.9 | 6.9 | 19.7 | 19.9 | 19.8 | 7 | 18.17 | 41.61% | 1.8 | 37.5%
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0
Note on G16: Jennifer Harrington: ND MDL=0.020 mg/L
Note on G18: Jennifer Harrington: ND MDL=0.020 mg/L
Note on G20: Jennifer Harrington: ND MDL=0.10 mg/L
Note on G62: Jennifer Harrington: RL=0.1 MDL=0.020 mg/L

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
City of Benicia WWTP
Jennifer Harrington 707-746-4294
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-12 | 2 | 3.3 | 175.9968 | 143.64 | 136.08 | 36.288 | 3.6288 | 151.2 | 0 | 24.948 | 21.924 | 36.1746 | 52.92 | 257.2668 | 58.36% | 20.9336 | 45.63%
2012-07-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-08-09 | 2 | 6.3 | 217.728 | 181.44 | 173.88 | 10.584 | 33.264 | 219.24 | 0 | 27.972 | 21.168 | 61.9164 | 30.24 | 215.5356 | 48.89% | 17.9096 | 39.03%
2012-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-09-09 | 2.1 | 3.8 | 225.2011 | 198.45 | 190.512 | 1.3495 | 33.3396 | 222.264 | 0 | 37.3086 | 34.9272 | 60.3288 | 39.69 | 207.6845 | 47.11% | 8.573 | 18.69%
2012-09-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2012-10-04 | 2.1 | 3.7 | 269.257 | 254.016 | 261.954 | 0.15876 | 7.1442 | 261.954 | 0 | 33.3396 | 33.3396 | 43.3566 | 55.566 | 540.9339 | 67.43% | 54.8402 | 62.19%
2012-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-11-05 | 2.1 | 4 | 170.8258 | 150.822 | 142.884 | 0.15876 | 27.783 | 190.512 | 0 | 21.4326 | 20.6388 | 34.776 | 47.628 | 623.4891 | 77.72% | 66.7472 | 75.69%
2012-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-12-13 | 2.5 | 4.4 | 197.505 | 141.75 | 141.75 | 0.945 | 54.81 | 132.3 | 0 | 23.625 | 22.68 | 36.5904 | 37.8 | 604.7478 | 75.38% | 64.5548 | 73.21%
2012-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 4.3 | 11.5 | #VALUE! | 373.842 | 357.588 | #VALUE! | 40.635 | 438.858 |  | 48.762 | 40.635 | 99.981 | 113.778 | #VALUE! | #VALUE! | 39.4178 | 44.7%
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
City of Benicia WWTP
Jennifer Harrington 707-746-4294
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-12 | 0.07 | 0.1 |  |  |  |  | 0.1 | 0.1 | 0.075 | 0.1 | 0.075 | 0.1 | 2.5 | 2.5 | Quarterly report due by 30 Oct.
Dry 2012 | 2012-10-11 | 0.07 | 0.1 | 0.02 | 0.1 |  |  | 0.1 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 2.5 | 2.5
Wet 2012/3 | 2012-11-30 | 0.07 | 0.1 | 0.02 | 0.1 |  |  | 0.1 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 2.5 | 2.5 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | [14 empty] | Quarterly report due by 30 Oct.
Dry 2014 | 0 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
City of Benicia WWTP
Jennifer Harrington 707-746-4294
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2.5 | 2.5
2012-07-24
2012-08-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.15 | 0.2 | 0.15 | 0.2 | 0.15 | 0.2 | 2.5 | 2.5
2012-08-23
2012-09-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2.5 | 2.5
2012-09-26 | [20 empty] | Quarterly report due by 30 Oct.
2012-10-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1 | 2.5 | 2.5
2012-10-15
2012-11-05 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 2.5 | 2.5
2012-11-30 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 2.5 | 2.5
2012-12-13 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.02 | 0.3 | 0.1 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1 | 2.5 | 2.5
2012-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers