## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
City of Sunnyvale
Alo Kauravlla, 408-730-7704
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-09-06 | 13.4 | 19 | 0.689 | 43 |  | 0.51 | 0.179 | 34 |  | 5.8 |  | 3.7 | 7.43 | 7.43 | 7.43 |  |  |  | 323 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-16 | 14.7 | 23.7 |  | 41 |  | 0.24 | 0.031 | 29.3 |  | 5.2 |  | 3.7 | 7.43 | 7.43 | 7.43 |  |  |  | 170 | Quarterly report due by 30 Jan.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
City of Sunnyvale
Alo Kauravlla, 408-730-7704
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Used Avg Flow
Dry 2012 | 2012-09-06 | 13.4 | 19 | 34.8992 | 2178.036 | 0 | 25.8325 | 9.0667 | 1722.168 | 0 | 293.7816 | 0 | 187.4124 | 16360.596 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-16 | 14.7 | 23.7 |  | 2278.206 |  | 13.3358 | 1.7225 | 1628.0838 |  | 288.9432 |  | 205.5942 | 9446.22 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
City of Sunnyvale
Alo Kauravlla, 408-730-7704
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Comp*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-12 | 7.64 | 11.2 | 20.117 | 3.3 | 2.6 | 17.5 | 0.017 | 0.27 |  | 5.48 | 5.38 | 5.3 | 7.11 | 7.11 | 7.11 | 22.5 | 22.5 | 22.5 | 8.34 | 22.872 | 52.35% | 0.32 | 5.517%
2012-07-24 | 5.81 | 7.4 | 24.71 | 3 | 2.2 | 22.5 | 0.01 | 0.182 |  | 9.22 | 9.03 | 11 | 7.01 | 7.01 | 7.01 | 22.5 | 22.5 | 22.5 | 5.16 | 18.179 | 41.61% | -3.42 | -58.97%
2012-08-09 | 6.82 | 7.7 | 25.334 | 3.1 | 2.3 | 23 | 0.034 | 0.452 |  | 8.5 | 8 | 7.3 | 7.17 | 7.17 | 7.17 | 22 | 22 | 22 | 5.58 | 17.555 | 40.18% | -2.7 | -46.55%
2012-08-27 | 6.26 | 9.7 | 25.039 | 2.5 | 2.2 | 22.8 | 0.039 | 0.248 |  | 7.7 | 7.5 | 6.6 | 7.04 | 7.04 | 7.04 | 20.5 | 20.5 | 20.5 | 13.4 | 18.35 | 42% | -1.9 | -32.76%
2012-09-06 | 10.3 | 11 | 24.577 | 3.2 | 2.3 | 22 | 0.277 | 1.19 |  | 8.4 | 8.2 | 7.4 | 6.87 | 6.87 | 6.87 | 20 | 20 | 20 | 13.2 | 18.212 | 41.69% | -2.6 | -44.83%
2012-09-16 | 9.41 | 9.9 | 25.428 | 3.3 | 2.6 | 22.5 | 0.328 | 1.63 |  | 8.4 | 8.3 | 7.9 | 6.98 | 6.98 | 6.98 | 21 | 21 | 21 | 6.58 | 17.561 | 40.2% | -2.6 | -44.83% | Quarterly report due by 30 Oct.
2012-10-18 | 9.21 | 9.71 | 30.95 | 9.2 | 8.2 | 21.6 | 1.15 | 7 |  | 7.4 | 7.7 | 7.2 | 7.04 | 7.04 | 7.04 | 19.5 | 19.5 | 19.5 | 7.67 | 9.321 | 22.58% | -2.2 | -42.31%
2012-10-25 | 15.99 | 19.3 | 52.2 | 21 | 39 | 11.5 | 1.7 | 19.6 |  | 7.1 | 6.8 | 6.8 | 7.32 | 7.32 | 7.32 | 15.5 | 15.5 | 15.5 | 6.92 | 7.071 | 17.13% | -1.9 | -36.54%
2012-11-08 | 12.59 | 18 | 32.35 | 19 | 18 | 12.3 | 2.05 | 18.4 |  | 6 | 6.1 | 6.6 | 7.26 | 7.26 | 7.26 | 16 | 16 | 16 | 9.59 | 7.921 | 19.19% | -0.8 | -15.38%
2012-11-20 | 11.19 | 11.98 | 31.82 | 15 | 14 | 15.8 | 2.02 | 13.3 |  | 5.7 | 5.7 | 5.3 | 7.14 | 7.14 | 7.14 | 14.5 | 14.5 | 14.5 | 10.7 | 8.451 | 20.48% | -0.5 | -9.615%
2012-12-06 | 6.27 | 15.92 | 29.53 | 6.8 | 6.9 | 21.1 | 1.53 | 6.51 |  | 4.8 | 4.7 | 4.8 | 6.89 | 6.89 | 6.89 | 14.5 | 14.5 | 14.5 | 9.59 | 11.841 | 28.69% | 0.4 | 7.692%
2012-12-16 | 19.02 | 20.07 | 29.24 | 21 | 20 | 7.56 | 1.68 | 18 |  | 4.7 | 4.4 | 4.2 | 7.43 | 7.43 | 7.43 | 8.5 | 8.5 | 8.5 | 10.4 | 11.031 | 26.73% | 0.5 | 9.615% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
City of Sunnyvale
Alo Kauravlla, 408-730-7704
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-12 | 7.64 | 11.2 | 580.9629 | 95.3014 | 75.0859 | 505.386 | 0.49095 | 7.7974 | 0 | 158.258 | 155.3701 | 224.3808 | 240.8525 | 1611.7569 | 72.83% | 135.5236 | 46.13%
2012-07-24 | 5.81 | 7.4 | 542.6761 | 65.8854 | 48.316 | 494.1405 | 0.21962 | 3.997 | 0 | 202.4878 | 198.3151 | 307.692 | 113.3229 | 1652.6897 | 74.68% | 91.2938 | 31.08%
2012-08-09 | 6.82 | 7.7 | 653.1004 | 79.9168 | 59.2931 | 592.9308 | 0.87651 | 11.6524 | 0 | 219.1266 | 206.2368 | 212.4738 | 143.8502 | 1539.2112 | 69.56% | 74.655 | 25.41%
2012-08-27 | 6.26 | 9.7 | 592.4928 | 59.157 | 52.0582 | 539.5118 | 0.92285 | 5.8684 | 0 | 182.2036 | 177.471 | 241.9956 | 317.0815 | 1613.3435 | 72.91% | 111.578 | 37.98%
2012-09-06 | 10.3 | 11 | 956.8809 | 124.5888 | 89.5482 | 856.548 | 10.7847 | 46.3315 | 0 | 327.0456 | 319.2588 | 307.692 | 513.9288 | 1221.0137 | 55.18% | -33.264 | -11.32%
2012-09-16 | 9.41 | 9.9 | 904.4689 | 117.3803 | 92.4815 | 800.3205 | 11.6669 | 57.9788 | 0 | 298.7863 | 295.2293 | 295.6338 | 234.0493 | 1283.5675 | 58% | -5.0047 | -1.704% | Quarterly report due by 30 Oct.
2012-10-18 | 9.21 | 9.71 | 1077.4871 | 320.287 | 285.4732 | 751.9781 | 40.0359 | 243.6966 | 0 | 257.6221 | 268.0663 | 264.2674 | 267.0218 | 1180.9635 | 51.5% | 31.3211 | 10.84%
2012-10-25 | 15.99 | 19.3 | 3155.0828 | 1269.2862 | 2357.2458 | 695.0853 | 102.7517 | 1184.6671 | 0 | 429.1396 | 411.007 | 496.0872 | 418.26 | 226.1411 | 9.861% | -140.1964 | -48.52%
2012-11-08 | 12.59 | 18 | 1539.543 | 904.2138 | 856.6236 | 585.3595 | 97.5599 | 875.6597 | 0 | 285.5412 | 290.3002 | 449.064 | 456.39 | 706.1312 | 30.79% | 3.402 | 1.177%
2012-11-20 | 11.19 | 11.98 | 1345.9287 | 634.473 | 592.1748 | 668.3116 | 85.4424 | 562.5661 | 0 | 241.0997 | 241.0997 | 240.0073 | 452.5907 | 905.0375 | 39.47% | 47.8435 | 16.56%
2012-12-06 | 6.27 | 15.92 | 699.8787 | 161.1641 | 163.5341 | 500.0827 | 36.2619 | 154.2909 | 0 | 113.7629 | 111.3928 | 288.8525 | 227.2888 | 1595.7557 | 69.58% | 175.1803 | 60.63%
2012-12-16 | 19.02 | 20.07 | 2102.2273 | 1509.8076 | 1437.912 | 543.5307 | 120.7846 | 1294.1208 | 0 | 337.9093 | 316.3406 | 318.6313 | 747.7142 | 119.1414 | 5.195% | -48.9661 | -16.95% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
City of Sunnyvale
Alo Kauravlla, 408-730-7704
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-09-06 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-16 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2 | Quarterly report due by 30 Jan.
Dry 2013 | 0 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | [14 empty] | Quarterly report due by 30 Oct.
Dry 2014 | 0 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
City of Sunnyvale
Alo Kauravlla, 408-730-7704
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.01 | 0.1 | 0.01 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-07-24 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.01 | 0.1 | 0.01 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-08-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-08-27 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-09-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-09-16 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2 | Quarterly report due by 30 Oct.
2012-10-18 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-10-25 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-11-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-11-20 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-12-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2
2012-12-16 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 0.5 | 0.001 | 0.005 | 0.1 | 1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 2 | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers