## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
Sewerage Agency of Southern Marin
Liz Falejczyk (415) 388-2402 extention 4821 lfalejczyk@cityofmillvalley.org
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 |  |  | Together | [5 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-08-09 | 2 | 3.6 | 1.48 | 41 |  | 0.74 | 0.74 | 26 |  | 3 |  | 4 | [6 empty] | 279 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Sewerage Agency of Southern Marin
Liz Falejczyk (415) 388-2402 extention 4821 lfalejczyk@cityofmillvalley.org
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak |  |  |  | Together | [5 empty] | Use Avg. Flow
Dry 2012 | 2012-08-09 | 2 | 3.6 |  | 309.96 |  | 5.5944 | 5.5944 | 196.56 |  | 22.68 |  | 54.432 | 2109.24 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Sewerage Agency of Southern Marin
Liz Falejczyk (415) 388-2402 extention 4821 lfalejczyk@cityofmillvalley.org
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 |  |  | Nitrate | Nitrite |  |  |  |  | Grab*** | Min | Max | Ave | Min | Max |  |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-19 | 1.979 | 3.6 | 18.12 | 4.9 | 3.7 | 14 | 0.42 | 2.6 |  | 5.3 | 4.4 | 4.1 | 6.5 | 6.7 |  |  |  | 18.99 | 18 | 23.16 | 54.52% | -2.3 | -76.67%
2012-08-09 | 1.868 | 3.6 | 19.43 | 5 | 4 | 15 | 0.43 | 2.4 |  | 4.8 | 5.4 | 5.1 | 6.47 | 6.8 |  |  |  | 20.24 | 20 |  | 51.91% |  | -60%
2012-09-24 | 2.086 | 3.8 | 19.75 | 6.2 | 5.2 | 14 | 0.55 | 3.5 |  | 5.4 | 5.3 | 4.9 | 6.2 | 6.5 |  |  |  | 19.94 | 20 |  | 51.15% |  | -80% | Quarterly report due by 30 Oct.
2012-10-02 | 1.897 | 3.9 | 20.67 | 5.9 | 5.2 | 15 | 0.47 | 3.6 |  | 5.5 | 5 | 5.4 | 6.2 | 6.3 |  |  |  | 20.9 | 23
2012-11-13 | 2.039 | 4.1 | 28.33 | 9.2 | 7.8 | 20 | 0.53 | 6.4 |  | 5 | 4.3 | 4.3 | 6.95 | 7.01 |  |  |  | 17.79 | 18
2012-12-13 | 2.834 | 5.2 | 21.05 | 5.5 | 3.6 | 17 | 0.45 | 3.5 |  | 3.4 | 3.2 | 2.8 | 7.01 | 7.14 |  |  |  | 16.48 | 23 |  |  |  |  | Quarterly report due by 30 Jan. | analized past hold time (lab error)
2013-01-01 |  |  | 0
2013-02-01 |  |  | 0
2013-03-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-05-01 |  |  | 0
2013-06-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Sewerage Agency of Southern Marin
Liz Falejczyk (415) 388-2402 extention 4821 lfalejczyk@cityofmillvalley.org
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01 | 1.979 | 3.6 | 135.5488 | 36.655 | 27.6783 | 104.7287 | 3.1419 | 19.4496 | 0 | 39.6473 | 32.9147 | 55.7928 | 134.6512 | 176.6232 | 55% | -16.9673 | -74.81%
2012-07-15 | 1.868 | 3.6 | 137.196 | 35.3052 | 28.2442 | 105.9156 | 3.0362 | 16.9465 | 0 | 33.893 | 38.1296 | 69.4008 | 141.2208 |  | 55.08% |  | -49.44%
2012-08-01 | 2.086 | 3.8 | 155.7303 | 48.8875 | 41.0024 | 110.3911 | 4.3368 | 27.5978 | 0 | 42.5794 | 41.7909 | 70.3836 | 157.7016 |  | 49.05% |  | -87.74% | Quarterly report due by 30 Oct.
2012-10-01 | 1.897 | 3.9 | 148.2175 | 42.3069 | 37.2874 | 107.5599 | 3.3702 | 25.8144 | 0 | 39.4386 | 35.8533 | 79.6068 | 164.9252
2012-11-15 | 2.039 | 4.1 | 218.3512 | 70.9083 | 60.1179 | 154.1484 | 4.0849 | 49.3275 | 0 | 38.5371 | 33.1419 | 66.6414 | 138.7336
2012-12-01 | 2.834 | 5.2 | 225.4985 | 58.9189 | 38.5651 | 182.1128 | 4.8206 | 37.4938 | 0 | 36.4226 | 34.2801 | 55.0368 | 246.388 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Sewerage Agency of Southern Marin
Liz Falejczyk (415) 388-2402 extention 4821 lfalejczyk@cityofmillvalley.org
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-08-09 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.1 | 0.04 | 0.2 | 0.15 |  |  | 3 | 2 | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Sewerage Agency of Southern Marin
Liz Falejczyk (415) 388-2402 extention 4821 lfalejczyk@cityofmillvalley.org
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-19 | 0.1 | 0.07 | 0.1 | 0.07 | 0.2 | 0.1 | 0.2 | 0.01 | 0.1 | 0.04 |  |  | 0.2 | 0.15 | 0.2 | 0.15 | 0.2 | 0.15 | 3 | 2
2012-08-09 | 0.1 | 0.07 | 0.1 | 0.07 | 0.2 | 0.1 | 0.2 | 0.01 | 0.1 | 0.04 |  |  | 0.2 | 0.15 | 0.2 | 0.15 | 0.2 | 0.15 | 3 | 2
2012-09-24 | 0.1 | 0.07 | 0.1 | 0.07 | 0.2 | 0.1 | 0.2 | 0.01 | 0.1 | 0.04 |  |  | 0.2 | 0.15 | 0.2 | 0.15 | 0.2 | 0.15 | 3 | 2 | Quarterly report due by 30 Oct.
2012-10-01 | 0.1 | 0.07 | 0.1 | 0.07 | 0.2 | 0.1 | 0.03 | 0.002 | 0.1 | 0.04 |  |  | 0.1 | 0.075 | 0.1 | 0.075 | 0.2 | 0.15 | 3 | 2
2012-11-15 | 0.1 | 0.07 | 0.1 | 0.07 | 1 | 0.5 | 0.06 | 0.004 | 0.1 | 0.04 |  |  | 0.1 | 0.075 | 0.1 | 0.075 | 0.1 | 0.06 | 3 | 2
2012-12-01 | 0.1 | 0.07 | 0.1 | 0.07 | 0.2 | 0.1 | 0.03 | 0.002 | 0.1 | 0.04 |  |  | 0.1 | 0.015 | 0.05 | 0.035 | 0.1 | 0.06 | 3 | 2 | Quarterly report due by 30 Jan.
2013-01-01
2013-02-15
2013-03-01 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-05-15
2013-06-01 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers