## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
Dublin San Ramon Services District
Raj Gumber, tel. (925) 875-2324
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Composite*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 10.36 | 12.27 | 0.101 | 49 |  | 0.08 | 0.021 | 33 |  | 5.1 |  | 3.5 | [6 empty] | 168 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not routinely collect influent pH and Temp data
*** Collected DRP sample as a composite accordance with Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Dublin San Ramon Services District
Raj Gumber, tel. (925) 875-2324
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Average Daily Flow
Dry 2012 | 2012-07-12 | 10.36 | 12.27 | 3.9552 | 1918.8792 | 0 | 3.1329 | 0.82238 | 1292.3064 | 0 | 199.7201 | 0 | 137.0628 | 6579.0144 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculated using Average Daily flow because Ortho Phosphate for Influent was a composite sample.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Dublin San Ramon Services District
Raj Gumber, tel. (925) 875-2324
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea not required for monitoring per agreement with Water Board staff
*** Collected DRP sample as a grab in accordance Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-12 | 8.01 | 12.3 | 0.94 | 30 |  | 0.34 | 0.6 | 29 |  | 0.66 |  | 0.74 | 7.01 | 7.38 |  | 24.8 | 26.9 | 25.8 | 23 | 18.161 | 36.99% | 4.44 | 87.06%
2012-07-15 |  |  | 0 | [17 empty] | 100% |  | 100%
2012-08-01 |  |  | 0 | [17 empty] | 100% |  | 100%
2012-08-15 |  |  | 0 | [17 empty] | 100% |  | 100%
2012-09-01 |  |  | 0 | [17 empty] | 100% |  | 100%
2012-09-15 |  |  | 0 | [17 empty] | 100% |  | 100% | Quarterly report due by 30 Oct.
2012-10-01 |  |  | 0
2012-10-15 |  |  | 0
2012-11-01 |  |  | 0
2012-11-15 |  |  | 0
2012-12-01 |  |  | 0
2012-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Dublin San Ramon Services District
Raj Gumber, tel. (925) 875-2324
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01 | 8.01 | 12.3 | 28.4611 | 908.334 | 0 | 10.2945 | 18.1667 | 878.0562 | 0 | 19.9833 | 0 | 34.4056 | 696.3894 | 986.0393 | 51.28% | 179.7367 | 89.99%
2012-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% |  | 100%
2012-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% |  | 100%
2012-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% |  | 100%
2012-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% |  | 100%
2012-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% |  | 100% | Quarterly report due by 30 Oct.
2012-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Dublin San Ramon Services District
Raj Gumber, tel. (925) 875-2324
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-12 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 10 | 10 | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Dublin San Ramon Services District
Raj Gumber, tel. (925) 875-2324
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-12 | 0.07 | 0.1 |  |  | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.007 | 0.01 |  |  | 0.03 | 0.05 | 2 | 2
2012-07-15
2012-08-01
2012-08-15
2012-09-01
2012-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2012-10-01
2012-10-15
2012-11-01
2012-11-15
2012-12-01
2012-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers