## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years)
Mt. View Sanitary District
Contact: Lilia Corona, District Chemist (925) 228-5635 ext. 16
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 + NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [7 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-12 | 1.611 | 2.64 | #REF! | 45 |  | DNQ0.054 | 32 |  | 6.1 |  | 3.5 | NA | NA | NA | NA | NA | NA | 204 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-03 | 4.378 | 8.55 |  | 22 |  | 1.6 | 12 |  | 2.6 |  | 2 | NA | NA | NA | NA | NA | NA | 243 | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | #REF! | [15 empty] | Quarterly report due by 31 Jul.
Wet 2013/4 | [19 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [19 empty] | Quarterly report due by 31 July - End of 13267 requirement for major dischargers
NA: Not Available
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Mt. View Sanitary District
Contact: Lilia Corona, District Chemist (925) 228-5635 ext. 16
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3+NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [8 empty] | Use Ave Daily Flow
Dry 2012 | 2012-07-12 | 1.611 | 2.64 | #REF! | 274.0311 | 0 | 0.32884 | 194.8666 | 0 | 37.1464 | 0 | 21.3135 | 1242.2743 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-03 | 4.378 | 8.55 |  | 364.0745 |  | 26.4781 | 198.5861 |  | 43.027 |  | 33.0977 | 4021.3681 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 31 Jul.
Wet 2013/4 |  | 0 | 0 | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow. DRP is a composite sample

## Eff Conc.
Effluent Concentrations (mg/l)
(major discharger , flow <5 MGD: 1/month)
Mt. View Sanitary District
Contact: Lilia Corona, District Chemist (925) 228-5635 ext. 16
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate until data is entered.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [7 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-12 | 1.611 | 2.64 | 23.306 | 0.21 | 0.29 | 23 | 0.016 | 0.12 | 3.6 | 3.5 | 3.1 | 6.65 | 7.23 | NA | NA | 24 | NA | DNQ2.0 | 21.774 | 48.39% | 2.5 | 40.98%
2012-08-09 | 1.181 | 2.05 | 24.32 | 1 | 0.32 | 24 | DNQ0.013 | 0.34 | 4 | 3.8 | 3.8 | 6.62 | 7.41 | NA | NA | 24 | NA | 4 | 20 | 44.44% | 2.1 | 34.43%
2012-09-13 | 1.253 | 2.21 | 23.53 | 0.76 | 0.53 | 23 | DNQ0.0090 | DNQ0.088 | 4 | 3.8 | 3.7 | 6.63 | 7.26 | NA | NA | 23 | NA | DNQ2.0 | 21.24 | 47.2% | 2.1 | 34.43% | Quarterly report due by 30 Oct.
2012-10-04 | 1.232 | 2.24 | 20.48 | 0.43 | 0.48 | 20 | DNQ0.014 | DNQ0.099 | 3.9 | 4 | 3 | 7.11 | 7.61 | NA | NA | 23 | NA | <1.0 | 24.57 | 54.6% | 2.2 | 36.07%
2012-11-08 | 1.247 | 2.08 | 23.323 | 0.48 | 0.29 | 23 | 0.033 | <0.40 | 4.5 | 3.9 | 3.8 | 7.18 | 7.63 | NA | NA | 20 | NA | DNQ3.0 | 21.487 | 47.75% | 1.6 | 26.23%
2012-12-06 | 1.644 | 2.89 | 24.18 | 0.66 | 0.18 | 24 | DNQ0.012 | 0.11 | 2 | 1.8 | 0.73 | 7.12 | 7.42 | NA | NA | 19 | NA | 12 | 20.34 | 45.2% | 4.1 | 67.21% | Quarterly report due by 31 Jan.
2013-01-01 |  |  | 0
2013-02-01 |  |  | 0
2013-03-01 |  |  | 0 | [19 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-05-01 |  |  | 0
2013-06-01 |  |  | 0 | [19 empty] | Quarterly report due by 31 Jul.
2013-07-01 |  |  | 0
2013-08-01 |  |  | 0
2013-09-01 |  |  | 0 | [19 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-11-01 |  |  | 0
2013-12-01 |  |  | 0 | [19 empty] | Quarterly report due by 31 Jan.
2014-01-01 |  |  | 0
2014-02-01 |  |  | 0
2014-03-01 |  |  | 0 | [19 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-05-01 |  |  | 0
2014-06-01 |  |  | 0 | [19 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
NA: Not Available
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
2012-12-03 | 4.378 | 8.55 | 15.95 | 4.3 | 3.8 | 12 | 0.15 | 2.9 | 1.6 | 1.4 | 1.5 | 7.12 | 7.78 | NA | NA | 19 | NA | 6 | 5.55 | 30.3% | 1 | 38.46%
Wet 2012/13 |  |  | 0
Wet 2013/14 |  |  | 0
Wet 2013/14 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Mt. View Sanitary District
Contact: Lilia Corona, District Chemist (925) 228-5635 ext. 16
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [8 empty] | Use Ave Daily Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | (Inf N (TKN + NO3 + NO2) - Eff N)/(Inf N) | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-12 | 1.611 | 2.64 | 141.9238 | 1.2788 | 1.766 | 140.0603 | 0.097433 | 0.73075 | 21.9225 | 21.3135 | 18.8777 | 0 | 132.9234 | 48.45% | 15.2239 | 40.98%
2012-08-09 | 1.181 | 2.05 | 108.5689 | 4.4642 | 1.4285 | 107.1403 | 0 | 1.5178 | 17.8567 | 16.9639 | 16.9639 | 17.8567 | 162.7554 | 59.32% | 19.2897 | 51.93%
2012-09-13 | 1.253 | 2.21 | 111.4461 | 3.5996 | 2.5103 | 108.9358 | 0 | 0 | 18.9454 | 17.9981 | 17.5245 | 0 | 161.8245 | 58.98% | 18.2011 | 49% | Quarterly report due by 30 Oct.
2012-10-01 | 1.232 | 2.24 | 95.3745 | 2.0025 | 2.2353 | 93.1392 | 0 | 0 | 18.1621 | 18.6278 | 13.9709 | 0 | 179.2182 | 65.32% | 18.9843 | 51.11%
2012-11-01 | 1.247 | 2.08 | 109.9367 | 2.2626 | 1.367 | 108.4142 | 0.15555 | 0 | 21.2115 | 18.3833 | 17.9119 | 0 | 163.5276 | 59.6% | 15.935 | 42.9%
2012-12-01 | 1.644 | 2.89 | 150.2623 | 4.1015 | 1.1186 | 149.1437 | 0 | 0.68358 | 12.4286 | 11.1858 | 4.5365 | 74.5718 | 121.1148 | 44.14% | 24.7178 | 66.54% | Quarterly report due by 31 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 31 Jul.
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 31 July - End of 13267 requirement for major dischargers, <5mgd
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 4.378 | 8.55 | 263.954 | 71.16 | 62.8856 | 198.5861 | 2.4823 | 47.9916 | 26.4781 | 23.1684 | 48.4785 | 99.293 | 118.3242 | 30.3% | 16.5488 | 38.46%
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Mt. View Sanitary District
Contact: Lilia Corona, District Chemist (925) 228-5635 ext. 16
Season | Date | TKN |  | NO3+NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-12 | 0.07 | 0.1 | 0.02 | 0.1 | 0.04 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 4 | 6 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-12-03 | 0.07 | 0.1 | 0.02 | 0.1 | 0.04 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 2 | 3 | Quarterly report due by 30 Apr.
Dry 2013 | [13 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [13 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [13 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major discharger , flow <5 MGD: 1/month)
Mt. View Sanitary District
Contact: Lilia Corona, District Chemist (925) 228-5635 ext. 16
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.05 | 0.075 | 0.1 | 0.06 | 0.1 | 2 | 3
2012-08-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 | 0.15 | 0.2 | 0.15 | 0.2 | 0.15 | 0.2 | 2 | 3
2012-09-13 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.035 | 0.05 | 0.035 | 0.05 | 0.15 | 0.2 | 2 | 3 | Quarterly report due by 31 Oct.
2012-10-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 3
2012-11-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1 | 1.8 | 5
2012-12-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.015 | 0.1 | 0.015 | 0.1 | 0.06 | 0.1 | 2 | 3 | Quarterly report due by 30 Jan.
2013-01-01
2013-02-01
2013-03-01 | [18 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-05-01
2013-06-01 | [18 empty] | Quarterly report due by 31 Jul.
2013-07-01
2013-08-01
2013-09-01 | [18 empty] | Quarterly report due by 31 Oct.
2013-10-01
2013-11-01
2013-12-01 | [18 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-02-01
2014-03-01 | [18 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-05-01
2014-06-01 | [18 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Two additional samples during peak flow each wet season for major dischargers
2012-12-03 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 | 0.015 | 0.1 | 0.015 | 0.1 | 0.06 | 0.1 | 2 | 3