## Inf Conc.
Phillip F. Meads Water Treatment Plant Inffluent Concentrations
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TP(S)
C&H Sugar Company Influent Concentrations (mg/l)
Period | Sample Date | Flow (MGD) |  |  | TKN | Nitrate-Nitrite as N | Total NH3 | TP | Total Orthophosphate as P | pH | Temp (oC) | TSS
|  | Total Daily | Ave Daily (composite samples) | Instantaneous (grab samples) | [5 empty] | Instantaneous (grab sample) | Instantaneous (grab sample)
Dry (July - Sept 2012) | 2012-09-06 | 0.576 | 0.024 | 1.31 | 2.1 | <0.1 | 0.35 | 0.38 | 7 | 10.54 | 35.1 | 289 | Quarterly report due by 30 Oct.
Wet (Nov 2012 - April 2013) | 2012-11-09 | 0.503 | 0.020958 | 1.396 | 13 | <0.1 | 0.77 | 3.6 | 0.67 | 10.48 | 35 | 32 | Quarterly report due by 30 Apr.
Dry (July - Sept 2013) |  |  | 0 | [9 empty] | Quarterly and Interim report due by 30 July
Wet (Nov 2013 - April 2014) |  |  | 0 | [9 empty] | Quarterly report due by 30 Oct.
Dry (May - June 2014) |  |  | 0 | [9 empty] | Quarterly and Final report due by 30 July - End of 13267 requirement
CSD Influent Concentrations (mg/l)
Period | Sample Date | Flow (MGD) |  |  | TKN | Nitrate-Nitrite as N | Total NH3 | TP | Total Orthophosphate as P | pH | Temp (oC) | TSS
|  | Total Daily | Ave Daily (composite samples) | Instantaneous (grab samples) | [5 empty] | Instantaneous (grab sample) | Instantaneous (grab sample)
Dry (July - Sept 2012) | 2012-09-06 | 0.2208 | 0.0092 | 0.303 | 66 | J0.040 | 47 | 7.7 | 0.35 | 7.13 | 23.6 | 15 | Quarterly report due by 30 Oct.
Wet (Nov 2012 - April 2013) | 2012-11-09 | 0.272 | 0.011333 | 0.763 | 34 | 0.32 | 20 | 3.4 | 2.4 | 7.18 | 20 | 272 | Quarterly report due by 30 Apr.
Dry (July - Sept 2013) |  |  | 0 | [9 empty] | Quarterly and Interim report due by 30 July
Wet (Nov 2013 - April 2014) |  |  | 0 | [9 empty] | Quarterly report due by 30 Oct.
Dry (May - June 2014) |  |  | 0 | [9 empty] | Quarterly and Final report due by 30 July - End of 13267 requirement
Note: all results reported as milligrams per liter (mg/L) unless noted otherwise.

## Inf Loads
C&H Sugar Company Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Season (Sample Date) | Total Daily Flow (MGD) | TKN | Nitrate-Nitrite as N | Total NH3 | TP | Total Orthophosphate as P | TSS
Dry 2012 (9/6/12) | 0.576 | 4.5723 | <0.2177 | 0.76205 | 0.82737 | 15.241 | 629.2339 | Quarterly report due by 30 Oct.
Wet 2012/3 (11/9/12) | 0.503 | 24.7174 | <0.1901 | 1.464 | 6.8448 | 1.2739 | 60.8429 | Quarterly report due by 30 Apr.
Dry 2013 | [7 empty] | Quarterly report due by 30 July
Wet 2013/4 | [7 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [7 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
CSD Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Season (Sample Date) | Total Daily Flow (MGD) | TKN | Nitrate-Nitrite as N | Total NH3 | TP | Total Orthophosphate as P | TSS
Dry 2012 (9/6/12) | 0.221 | 55.1351 | J0.0334 | 39.2629 | 6.4324 | 0.29238 | 5.9563 | Quarterly report due by 30 Oct.
Wet 2012/3 (11/9/12) | 0.272 | 34.9574 | 0.32901 | 20.5632 | 3.4957 | 2.4676 | 7.3822 | Quarterly report due by 30 Apr.
Dry 2013 | [7 empty] | Quarterly report due by 30 July
Wet 2013/4 | [7 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [7 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff Conc.
Phillip F. Meads Water Treatment Plant M-002 Effluent Concentrations (mg/l)
Date | Flow (MGD) |  |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | TP | TP (Soluble) | Orthophosphate as P (total) | Orthophosphate as P (dissolved) | pH | Temp (oC) | TSS
| Total Daily | Ave Daily (composite samples) | Instantaneous (grab samples) | SKN+NO3+NO2 | [9 empty] | Instantaneous (grab sample) | Instantaneous (grab sample)
2012-07-17 | 1.055 | 0.043958 | 1.46 | 18.907 | 3.7 | 2.9 | 16 | 0.007 | 0.31 | 3.3 | 3.3 | 2.8 | 3.1 | 7.55 | 28.5 | 14
2012-08-08 | 0.948 | 0.0395 | 1.39 | 1.25 | 1.7 | 1.1 | 0.15 | J0.0040 | 29 | 2.8 | 2.6 | 2.7 | 2.6 | 7.65 | 30 | 16
2012-09-05 | 0.97896 | 0.04079 | 1.33 | 4.06 | 2.3 | 0.96 | 3.1 | J0.0020 | 0.34 | 2.4 | 2 | 2 | 1.9 | 7.46 | 27 | 9 | Quarterly report due by 30 Oct.
2012-10-11 | 0.874 | 0.036417 | 0.96 | 3.34 | 4.5 | 2.7 | 0.64 | J0.014 | 1.8 | 2.3 | 1.9 | 2.2 | 2.3 | 7.04 | 29.4 | 59
2012-11-08 | 0.878 | 0.036583 | 1.23 | 0.93 | 1.7 | 0.93 | J0.058 | <0.03 | 0.37 | 0.11 | J0.092 | J0.05 | J0.044 | 7.46 | 28.5 | 8
2012-12-09 | 0.545 | 0.022708 | 0.86 | 1 | 0.79 | 1 | J0.041 | J0.003 | 0.24 | 0.12 | 0.05 | 0.053 | 0.032 | 7.24 | 23.9 | <3 | Quarterly report due by 30 Jan.
2013-01-01 |  | 0
2013-02-01 |  | 0
2013-03-01 |  | 0 | [14 empty] | Quarterly report due by 30 April
2013-04-01 |  | 0
2013-05-01 |  | 0
2013-06-01 |  | 0 | [14 empty] | Quarterly and Annual report due by 30 July
2013-07-01 |  | 0
2013-08-01 |  | 0
2013-09-01 |  | 0 | [14 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  | 0
2013-11-01 |  | 0
2013-12-01 |  | 0 | [14 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  | 0
2014-02-01 |  | 0
2014-03-01 |  | 0 | [14 empty] | Quarterly report due by 30 April
2014-04-01 |  | 0
2014-05-01 |  | 0
2014-06-01 |  | 0 | [14 empty] | Quarterly report due by 30 July
2014-07-30 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Season (Sample Date) | Flow (MGD) |  |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | TP | TP (Soluble) | Orthophosphate as P (total) | Orthophosphate as P (dissolved) | pH | Temp (oC) | TSS
| Total Daily | Ave Daily (composite samples) | Instantaneous (grab samples) | SKN+NO3+NO2 | [9 empty] | Instantaneous (grab sample) | Instantaneous (grab sample)
Wet 2012/3 (11/14/12) | 1.221 | 0.050875 | 1.14 | 0.89 | 1.3 | 0.89 | J0.084 | <0.03 | 0.72 | J0.088 | J0.085 | J0.037 | J0.028 | 7.5 | 25.5 | <3
Wet 2012/3 |  |  |  | 0
Wet 2012/4 |  |  |  | 0
Wet 2012/4 |  |  |  | 0
Note: all results reported as milligrams per liter (mg/L) unless noted otherwise.

## Eff Loads
Phillip F. Meads Water Treatment Plant M-002 Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Date | Total Daily Flow (MGD) | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | TP | TP (Soluble) | Orthophosphate (total) | Orthophosphate (dissolved) | TSS
2012-07-17 | 1.055 | 75.3992 | 14.7552 | 11.5649 | 63.8064 | 0.027915 | 1.2362 | 13.1601 | 13.1601 | 11.1661 | 12.3625 | 55.8306
2012-08-08 | 0.948 | 4.4793 | 6.0918 | 3.9418 | 0.53752 | J0.01433 | 103.9198 | 10.0336 | 9.3169 | 9.6753 | 9.3169 | 57.335
2012-09-05 | 0.97896 | 15.0239 | 8.5111 | 3.5525 | 11.4715 | J0.0074 | 1.2582 | 8.8811 | 7.4009 | 7.4009 | 7.0309 | 33.3042 | Quarterly report due by 30 Oct.
2012-10-11 | 0.874 | 11.0344 | 14.8667 | 8.92 | 2.1144 | J0.0463 | 5.9467 | 7.5986 | 6.2771 | 7.2682 | 7.5986 | 194.9195
2012-11-08 | 0.878 | 3.0865 | 5.642 | 3.0865 | J0.1925 | <0.0996 | 1.228 | 0.36507 | J0.3053 | J0.1659 | J0.1460 | 26.5507
2012-12-01 | 0.545 | 2.0601 | 1.6275 | 2.0601 | J0.0845 | J0.0062 | 0.49442 | 0.24721 | 0.10301 | 0.10919 | 0.065923 | <6.1803 | Quarterly report due by 30 Jan.
2013-01-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Apr.
2013-04-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 July
2013-07-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
2013-10-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Jan.
2014-01-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Apr.
2014-04-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Season (Sample Date) | Total Daily Flow (MGD) | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | TP | TP (Soluble) | Orthophosphate (total) | Orthophosphate (dissolved) | TSS
Wet 2012/3 (11/14/12) | 1.221 | 4.1077 | 6 | 4.1077 | J0.3877 | <0.1385 | 3.3231 | J0.4062 | J0.3923 | J0.1078 | J0.1292 | <13.8461
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0