## Eff Conc.
Effluent Concentrations (mg/l)
Month | Sample Date | Flow (MGD) | TDN (mg/L) | TKN (mg/L) | SKN (mg/L) | Nitrate (NO3) (mg/L) | Nitrite (NO2) (mg/L) | Total Ammonia (mg/L) | Total P (mg/L) | Total P(S) (mg/L) | Diss. Ortho P (mg/L) | Total Ortho P (mg/L) | pH (Standard Units) |  |  | Temperature (deg. Celsius) |  |  | TSS (mg/L)
|  | Ave Daily | F+G+H | [7 empty] | Grab | Grab | Min | Max | Ave | Min | Max | Ave
2012-07-01 | 2012-07-02 | 1.41 | 4.15 | 4.8 | 3.8 | 0.19 | 0.16 | 1.1 | 0.39 | 0.4 | 0.094 | 0.17 | 7.01 | 7.7 | 7.16 | 20.7 | 28.8 | 23.8 | 14
2012-08-01 | 2012-08-16 | 5.54 | 5.77 | 4.7 | 4.9 | 0.87 |  | 1.8 | 0.3 | 0.3 | 0.11 | 0.14 | 7.12 | 7.6 | 7.37 | 19.9 | 23.3 | 21.6 | 9
2012-08-01 | 2012-08-31 | 3.94 |  |  |  | 0.63 | 0.11 | [5 empty] | 7.15 | 8.38 | 7.51 | 20.7 | 23.3 | 21.8
2012-09-01 | 2012-09-12 | 4.07 | 4.7 | 5.8 | 3.5 | 0.72 | 0.5 | 2.5 | 0.32 | 0.078 | 0.019 | 0.095 | 6.9 | 7.94 | 7.2 | 19.2 | 23.9 | 21.2 | 27
2012-10-01 | 2012-10-19 | 3.6 | 2.2 | 2.3 | 2 | 0.63 | 0.51 | 0.74 | 0.18 | 0.093 | 0.056 | 0.096 | 6.7 | 6.83 | 6.76 | 19 | 20.3 | 19.7 | 2 | Quarterly report due by 30 Oct / submitted 10/10/2012
2012-11-01 | 2012-11-15 | 5.31 | 15 | 13 | 13 | 1.2 | 0.14 | 12 | 0.1 | 0.062 | 0.024 | 0.044 | 6.51 | 6.7 | 6.64 | 11.8 | 13 | 12.5 | 8
2012-12-01 | 2012-12-14 | 5.58 | 11 | 9.9 | 9.4 | 1.5 | 0.1 | 8.2 | 0.14 | 0.051 | 0.051 | 0.11 | 6.73 | 6.76 | 6.74 | 9.7 | 11.6 | 10.9 | 10
2013-01-01 |  |  | 0 | [16 empty] | Quarterly report due by 30 Jan / submitted 1/17/2013
2013-02-01 |  |  | 0
2013-03-01 |  |  | 0
2013-04-01 |  |  | 0 | [16 empty] | Quarterly report due by 30 Apr.
2013-05-01 |  |  | 0
2013-06-01 |  |  | 0
2013-07-01 |  |  | 0 | [16 empty] | Interim report due by 31 July
2013-08-01 |  |  | 0
2013-09-01 |  |  | 0
2013-10-01 |  |  | 0 | [16 empty] | Quarterly report due by 30 Oct.
2013-11-01 |  |  | 0
2013-12-01 |  |  | 0
2014-01-01 |  |  | 0 | [16 empty] | Quarterly report due by 30 Jan.
2014-02-01 |  |  | 0
2014-03-01 |  |  | 0
2014-04-01 |  |  | 0 | [16 empty] | Quarterly report due by 30 Apr.
2014-05-01 |  |  | 0
2014-06-01 |  |  | 0 | [16 empty] | Final report due by 31 July - End of 13267 requirement
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season (November thru April)
Wet 2012/13 |  |  | 0
Wet 2012/13 |  |  | 0
Wet 2013/14 |  |  | 0
Wet 2013/14 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Date | Flow (MGD) | TDN | TKN | SKN | Nitrate (NO3) | Nitrite (NO2) | Total Ammonia | TP | TP(S) | Diss. Ortho P | Total Ortho | TSS
Ave Daily
2012-07-01 | 1.41 | 22.1187 | 25.583 | 20.2532 | 1.0127 | 0.85277 | 5.8628 | 2.0786 | 2.1319 | 0.501 | 0.90607 | 74.6172
2012-08-01 | 5.54 | 120.8307 | 98.4236 | 102.6119 |  |  | 37.6942 | 6.2824 | 6.2824 | 2.3035 | 2.9318 | 188.4708
2012-08-01 | 3.94 |  |  |  | 9.3827 | 1.6383
2012-09-01 | 4.07 | 72.3076 | 89.2307 | 53.8461 | 11.0769 | 7.6923 | 38.4615 | 4.9231 | 1.2 | 0.29231 | 1.4615 | 415.3842
2012-10-01 | 3.6 | 29.9376 | 31.2984 | 27.216 | 8.573 | 6.9401 | 10.0699 | 2.4494 | 1.2655 | 0.76205 | 1.3064 | 27.216 | Quarterly report due by 30 Oct.
2012-11-01 | 5.31 | 301.077 | 260.9334 | 260.9334 | 24.0862 | 2.8101 | 240.8616 | 2.0072 | 1.2445 | 0.48172 | 0.88316 | 160.5744
2012-12-01 | 5.58 | 232.0164 | 208.8148 | 198.2686 | 31.6386 | 2.1092 | 172.9577 | 2.9529 | 1.0757 | 1.0757 | 2.3202 | 210.924
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Jan.
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Apr.
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 31 July
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Jan.
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Apr.
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season
Wet 2012/13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2012/13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2013/14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wet 2013/14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0