## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
Treasure Island Water Pollution Control Plant
Contact Person: Michael Mentink (415) 743-4729
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-16 | 0.311 | 0.311 | 7.92 | 30.27 |  | 7.88 | 0.04 | 22.71 |  | 3.63 |  | 5.94 | [6 empty] | 135 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Treasure Island Water Pollution Control Plant
Contact Person: Michael Mentink (415) 743-4729
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-16 | 0.311 | 0.311 | 9.3106 | 35.5848 | 0 | 9.2636 | 0.047023 | 26.6974 | 0 | 4.2674 | 0 | 6.9829 | 158.7033 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Treasure Island Water Pollution Control Plant
Contact Person: Michael Mentink (415) 743-4729
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-16 | 0.29 | 0.29 | 4.53 | 3.3 | 2.49 | 2.01 | 0.03 | 0.39 |  | 2.86 | 0.99 | 3.62 | 7 | 7 | 7 | 18.1 | 18.1 | 18.1 | 12 | 32.85 | 86.02% | 0.77 | 21.21%
2012-08-13 | 0.297 | 0.297 | 10.65 | 3.14 | 2.3 | 8.33 | 0.02 | 0.39 |  | 3.26 | < 0.1 | 3.66 | 6.4 | 6.4 | 6.4 | 17.2 | 17.2 | 17.2 | 12 | 26.7 | 69.91% | 0.37 | 10.19%
2012-09-10 | 0.299 | 0.299 | 12.025 | 4.28 | 3.08 | 8.92 | 0.025 | < 0.15 |  | < 0.1 | 0.43 | 2.86 | 7.1 | 7.1 | 7.1 | 20.4 | 20.4 | 20.4 | 10 | 24.965 | 65.37% | - | - | Quarterly report due by 30 Oct.
2012-10-09 | 0.299 | 0.299 | 10.861 | 3.42 | 1.96 | 8.782 | 0.119 | 0.67 |  | 1.72 | 2.01 | 3.08 | 6.7 | 6.7 | 6.7 | 28 | 28 | 28 | 21 | 25.869 | 67.74% | 1.91 | 52.62%
2012-11-05 | 0.295 | 0.295 | 11.816 | 3.67 | 2.56 | 9.18 | 0.076 | 0.9 |  | 2.8 | 0.57 | 3.11 | 6.7 | 6.7 | 6.7 | 19.6 | 19.6 | 19.6 | 8 | 25.264 | 66.15% | 0.83 | 22.87%
2012-12-10 | 0.437 | 0.437 | 9.105 | 1.99 | 1.82 | 7.223 | 0.062 | 0.18 |  | 1.31 | 1.35 | 2.077 | 7 | 7 | 7 | 16.8 | 16.8 | 16.8 | 9.2 | 28.915 | 75.71% | 2.32 | 63.91% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-02-01 |  |  | 0
2013-03-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-05-01 |  |  | 0
2013-06-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-08-01 |  |  | 0
2013-09-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-11-01 |  |  | 0
2013-12-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-02-01 |  |  | 0
2014-03-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-05-01 |  |  | 0
2014-06-01 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Treasure Island Water Pollution Control Plant
Contact Person: Michael Mentink (415) 743-4729
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-16 | 0.29 | 0.29 | 4.9658 | 3.6175 | 2.7295 | 2.2034 | 0.032886 | 0.42752 | 0 | 3.1351 | 1.0852 | 3.9682 | 13.1544 | 39.0417 | 86.96% | 1.1322 | 26.53%
2012-08-13 | 0.297 | 0.297 | 11.9563 | 3.5252 | 2.5821 | 9.3518 | 0.022453 | 0.43784 | 0 | 3.6599 | - | 4.1089 | 13.4719 | 31.996 | 71.27% | 0.60748 | 14.24%
2012-09-10 | 0.299 | 0.299 | 13.5909 | 4.8373 | 3.4811 | 10.0816 | 0.028255 | - | 0 | - | 0.48599 | 3.2324 | 11.3022 | 29.9482 | 66.71% | - | - | Quarterly report due by 30 Oct.
2012-10-01 | 0.299 | 0.299 | 12.2753 | 3.8654 | 2.2152 | 9.9256 | 0.1345 | 0.75725 | 0 | 1.944 | 2.2717 | 3.4811 | 23.7346 | 30.97 | 68.98% | 2.3234 | 54.45%
2012-11-01 | 0.295 | 0.295 | 13.176 | 4.0924 | 2.8547 | 10.2366 | 0.084748 | 1.0036 | 0 | 3.1223 | 0.63561 | 3.468 | 8.9208 | 30.4816 | 67.89% | 1.1451 | 26.83%
2012-12-01 | 0.437 | 0.437 | 15.0402 | 3.2872 | 3.0064 | 11.9314 | 0.10242 | 0.29733 | 0 | 2.1639 | 2.23 | 3.4309 | 15.1971 | 29.5744 | 65.87% | 2.1034 | 49.29% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Treasure Island Water Pollution Control Plant
Contact Person: Michael Mentink (415) 743-4729
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-16 | 0.2 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  | 0.1 | 0.5 | 0.1 | 0.5 | 7 |  | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Treasure Island Water Pollution Control Plant
Contact Person: Michael Mentink (415) 743-4729
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-16 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-08-13 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-09-10 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7 |  | Quarterly report due by 30 Oct.
2012-10-09 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-11-05 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7
2012-12-10 | 0.5 |  | 0.5 |  | 0.2 | 0.5 | 0.002 | 0.02 | 0.15 |  |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 7 |  | Quarterly report due by 30 Jan.
2013-01-01
2013-02-01
2013-03-01 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-05-01
2013-06-01 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-08-01
2013-09-01 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-11-01
2013-12-01 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-02-01
2014-03-01 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-05-01
2014-06-01 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers