## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
San Francisco International Airport - MLTP
Bill Zolan (650) 821-8359
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-09 | 0.93 | 1.46 | 5.63 | 92.3 |  | 4.64 | 0.99 | 75.1 |  | 10.7 |  | 13.74 | 7.67 | 7.67 | 7.67 |  |  |  | 394 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-11-16 | 1.01 | 1.1 |  | 63.6 |  | 1.42 | 0.28 | 58.4 |  | 3.77 |  | 6.013 | 7.95 | 7.95 | 7.95 |  |  |  | 287 | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
San Francisco International Airport - MLTP
Bill Zolan (650) 821-8359
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-09 | 0.93 | 1.46 | 19.7917 | 324.4714 | 0 | 16.3115 | 3.4802 | 264.0065 | 0 | 37.6148 | 0 | 75.8283 | 1385.0676 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-11-16 | 1.01 | 1.1 |  | 242.8121 |  | 5.4213 | 1.069 | 222.9595 |  | 14.3931 |  | 25.0021 | 1095.7086 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
San Francisco International Airport - MLTP
Bill Zolan (650) 821-8359
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-09 | 0.98 | 1.5 | 59.17 | 57.9 | 52.8 | 4.8 | 1.57 | 36.6 |  | 6.99 | 7.44 | 0.71 | 7.51 | 7.51 | 7.51 | 20.9 | 20.9 | 20.9 | 11.2 | 33.66 | 34.37% | 3.71 | 34.67%
0
2012-08-06 | 1.07 | 1.35 | 53.89 | 51.1 | 50.1 | 3 | 0.79 | 39.5 |  | 3.99 | 3.65 | 4.7 | 7.89 | 7.89 | 7.89 | 21.1 | 21.1 | 21.1 | 12 | 43.04 | 43.95% | 6.71 | 62.71%
0
2012-09-11 | 1.02 | 1.02 | 54.06 | 55 | 51 | 2.9 | 0.16 | 47.2 |  | 1.5 | 0.86 | 1.04 | 7.91 | 7.91 | 7.91 | 22.1 | 22.1 | 22.1 | 8 | 39.87 | 40.71% | 9.2 | 85.98%
|  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2012-10-11 | 0.94 | 1.23 | 57.39 | 52.8 | 52.3 | 3.9 | 1.19 | 29.1 |  | 0.59 | 0.1 | 1.68 | 7.57 | 7.57 | 7.57 | 22.9 | 22.9 | 22.9 | 20 | 40.04 | 40.89% | 10.11 | 94.49%
0
2012-11-06 | 1.1 | 1.67 | 39.9 | 37 | 33 | 4.9 | 2 | 37 |  | 2.1 | 0.9 | 1.04 | 7.49 | 7.49 | 7.49 | 21.8 | 21.8 | 21.8 | 12.8 | 54.03 | 55.17% | 8.6 | 80.37%
0
2012-12-04 | 1.38 | 1.4 | 40.49 | 36 | 34 | 4 | 2.49 | 36.8 |  | 2.3 | 1.6 | 0.668 | 7.93 | 7.93 | 7.93 | 18.3 | 18.3 | 18.3 | 16 | 55.44 | 56.61% | 8.4 | 78.5%
|  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 1.1 | 1.58 | 56.69 | 56 | 53 | 2.8 | 0.89 | 57 |  | 6.7 | 5.8 | 6.59 | 7.98 | 7.98 | 7.98 | 19.1 | 19.1 | 19.1 | 22.5 | 38.24 | 39.05% | 4 | 37.38% | 2012-11-16
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
San Francisco International Airport - MLTP
Bill Zolan (650) 821-8359
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-09 | 0.98 | 1.5 | 219.1893 | 214.4848 | 195.5923 | 17.7811 | 5.8159 | 135.581 | 0 | 25.8938 | 27.5607 | 4.0257 | 41.4893 | 106.1813 | 30.84% | 11.721 | 31.16%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-08-06 | 1.07 | 1.35 | 217.9635 | 206.6791 | 202.6345 | 12.1338 | 3.1952 | 159.7617 | 0 | 16.138 | 14.7628 | 23.9841 | 48.5352 | 122.255 | 35.51% | 21.4768 | 57.1%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-09-11 | 1.02 | 1.02 | 208.4337 | 212.058 | 196.6356 | 11.1812 | 0.6169 | 181.9843 | 0 | 5.7834 | 3.3158 | 4.0098 | 30.8448 | 120.407 | 34.98% | 31.8314 | 84.62%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2012-10-11 | 0.94 | 1.23 | 203.9181 | 187.609 | 185.8324 | 13.8575 | 4.2283 | 103.3981 | 0 | 2.0964 | 0.35532 | 7.811 | 71.064 | 138.5684 | 40.25% | 35.5184 | 94.43%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-11-06 | 1.1 | 1.67 | 165.9042 | 153.846 | 137.214 | 20.3742 | 8.316 | 153.846 | 0 | 8.7318 | 3.7422 | 6.5651 | 53.2224 | 161.7269 | 46.98% | 28.883 | 76.79%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-12-04 | 1.38 | 1.4 | 211.212 | 187.7904 | 177.3576 | 20.8656 | 12.9888 | 191.9635 | 0 | 11.9977 | 8.3462 | 3.5351 | 83.4624 | 122.6183 | 35.62% | 25.6171 | 68.1%
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 1.1 | 1.58 | 235.717 | 232.848 | 220.374 | 11.6424 | 3.7006 | 237.006 |  | 27.8586 | 24.1164 | 39.3581 | 93.555
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
San Francisco International Airport - MLTP
Bill Zolan (650) 821-8359
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-09 | 0.5 | 2 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.2 | 0.5 | Quarterly report due by 30 Oct.
Wet 2012/3 | 2012-11-16 | 0.5 | 2 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.1 | 0.1 | 0.5 | 0.1 | 0.5 | 0.2 | 0.5 | Quarterly report due by 30 Apr.(sic?)
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
San Francisco International Airport - MLTP
Bill Zolan (650) 821-8359
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-09 | 0.5 | 2 | 0.5 | 2 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.1 |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 0.2 | 0.5
2012-08-06 | 0.5 | 2 | 0.5 | 2 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.1 |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 0.2 | 0.5
2012-09-11 | 4.5 | 10 | 4.5 | 10 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.05 |  |  | 0.02 | 0.1 | 0.02 | 0.1 | 0.1 | 0.5 | 0.2 | 0.5
Quarterly report due by 30 Oct.
2012-10-11 | 0.5 | 2 | 0.5 | 2 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.05 |  |  | 0.1 | 0.5 | 0.1 | 0.5 | 0.1 | 0.5 | 0.2 | 0.5
2012-11-06 | 1.8 | 4 | 1.8 | 4 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.05 |  |  | 0.05 | 0.25 | 0.02 | 0.1 | 0.1 | 0.5 | 0.2 | 0.5
2012-12-04 | 1.8 | 4 | 1.8 | 4 | 0.1 | 1 | 0.01 | 0.05 | 0.01 | 0.05 |  |  | 0.05 | 0.25 | 0.02 | 0.1 | 0.1 | 0.5 | 0.2 | 0.5
Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers