## Inf Conc.
Influent Concentrations (mg/L)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
City of Calistoga
Warren Schenstrom Water Systems Superintendent (707) 942-2847
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP (TRP) | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Grab
Dry 2012 | 2012-07-17 | 0.305 | 0.551 | 0.2 | 34 |  | 0.1 | 0.1 | 27 |  | 4.7 |  | 3.5 | 6.4 | 7.8 | 6.9 |  |  | 26.6 | 170 | Quarterly report due by 30 Oct.
Wet 2012/13 | 2012-12-12 | 0.325 | 0.614 | 0.2 | 17 |  | 0.1 | 0.1 | 15 |  | 3.1 |  | 1.9 |  |  | 7.4 |  |  | 22.8 | 88 | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/14 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Lab results are reported as 'ND'. The reporting limit has been entered for spreadsheet calculations.
DRP (dissolved reactive phosphorus / dissolved ortho phosphate) can be TRP (total reactive phosphate / total ortho phosphate) per SWRCB letter 07/03/12.
Continuous monitoring Inf pH meter failure - weekly grab sample result.

## Inf Loads
Influent Loads (kg/d) [mg/L X MGD X 3.78 = kg/d]
City of Calistoga
Warren Schenstrom Water Systems Superintendent (707) 942-2847
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP (TRP) | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-17 | 0.305 | 0.551 | 0.23058 | 39.1986 | 0 | 0.11529 | 0.11529 | 31.1283 | 0 | 5.4186 | 0 | 7.2897 | 195.993 | Quarterly report due by 30 Oct.
Wet 2012/13 | 2012-12-12 | 0.325 | 0.614 | 0.2457 | 20.8845 | 0 | 0.12285 | 0.12285 | 18.4275 | 0 | 3.8083 | 0 | 4.4097 | 108.108 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/14 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
* Parameters not required for influent monitoring per agreement with Water Board staff: SKN, Urea, and TDP
DRP (dissolved reactive phosphorus / dissolved ortho phosphate) can be TRP (total reactive phosphate / total ortho phosphate) per SWRCB letter 07/03/12.

## Eff Conc.
Effluent Concentrations (mg/L)
(major dischargers 2/month, minor dischargers 1/month)
City of Calistoga
Warren Schenstrom Water Systems Superintendent (707) 942-2847
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Grab |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-01 |  |  | 0
2012-07-17 | 0.708 | 0.767 | 19.5 | 0.65 | 0.47 | 19 | 0.03 | 0.14 |  | 4 | 3.2 | 3.8 | 7.1 | 7.7 | 7.3 |  |  | 25.4 | 3 | 14.52 | 42.46% | 0.7 | 14.89%
2012-08-01 |  |  | 0
2012-08-15 |  |  | 0
2012-09-01 |  |  | 0
2012-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2012-10-01 |  |  | 0
2012-10-15 |  |  | 0
2012-11-01 |  |  | 0
2012-11-15 |  |  | 0
2012-12-04 | 1.775 | 1.729 | 10.01 | 0.56 | 0.48 | 9.5 | 0.03 | 0.09 |  | 1.2 | 1.1 | 1.1 | 7.4 | 7.6 | 7.4 |  |  | 16.6 | 3 | 24.11 | 70.5% | 3.5 | 74.47%
2012-12-12 | 1.527 | 1.575 | 15.6 | 9.3 | 9.5 | 4.4 | 1.7 | 8.3 |  | 1.7 | 1.6 | 1.7 | 7.4 | 7.7 | 7.6 |  |  | 14.8 | 3 | 18.8 | 54.97% | 3 | 63.83% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/L)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0
Lab results are reported as 'ND'. The reporting limit has been entered for spreadsheet calculations.
No (EFF-001) discharge to Napa River. Used filter feed pump flow rate for spreadsheet calculations.

## Eff Loads
Effluent Loads (kg/d) [mg/L X MGD X 3.78 = kg/d]
City of Calistoga
Warren Schenstrom Water Systems Superintendent (707) 942- 2847
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01
2012-07-17 | 0.708 | 0.767 | 52.1867 | 1.7396 | 1.2578 | 50.8486 | 0.080287 | 0.37467 | 0 | 10.705 | 8.564 | 11.0172 | 8.0287 | -13.2392 | -33.58% | -5.2863 | -97.56%
2012-08-01
2012-08-15
2012-09-01
2012-09-15 | [17 empty] | Quarterly report due by 30 Oct.
2012-10-01
2012-10-15
2012-11-01
2012-11-15
2012-12-01 | 1.775 | 1.729 | 67.1621 | 3.7573 | 3.2206 | 63.7402 | 0.20128 | 0.60385 | 0 | 8.0514 | 7.3804 | 7.1892 | 20.1285 | -67.5836 | -71.7% | -2.6328 | -48.59%
2012-12-15 | 1.527 | 1.575 | 90.0441 | 53.6802 | 54.8346 | 25.3971 | 9.8125 | 47.9081 | 0 | 9.8125 | 9.2353 | 10.1209 | 17.3162 | -88.7744 | -125.4% | -4.3939 | -81.09% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
No (EFF-001) discharge to Napa River. Used filter feed pump flow rate for spreadsheet calculations.

## Inf QAQC MLs
Influent MDL / ML (mg/L)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
City of Calistoga
Warren Schenstrom Water Systems Superintendent (707) 942-2847
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP (TRP) |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-17 | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.5 |  | 0.2 |  | 6 |  | Quarterly report due by 30 Oct.
Wet 2012/13 | 2012-12-12 | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0.1 |  | 3 |  | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/14 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
DRP (dissolved reactive phosphorus / dissolved ortho phosphate) can be TRP (total reactive phosphate / total ortho phosphate) per SWRCB letter 07/03/12.
| Glossary of Abbreviations | [5 empty] | Units | Analytical Method |  |  |  |  | RL
| TKN | Total Kjedahl Nitrogen |  |  |  |  | mg/L | SM20-4500-NH3 C (TKN) |  |  |  |  | 0.1
| NH3 | Ammonia |  |  |  |  | mg/L | SM20-4500-NH3 C |  |  |  |  | 0.1
| NO3 | Nitrate |  |  |  |  | mg/L | EPA 353.2 |  |  |  |  | 0.1
| NO2 | Nitrite |  |  |  |  | mg/L | EPA 353.2 |  |  |  |  | 0.1
| TP | Total Phosphorous |  |  |  |  | mg/L | SM20-4500-P E |  |  |  |  | 0.5
| DRP | Dissolved Reactive Phosphorous |  |  |  |  | mg/L | SM20-4500-P E |  |  |  |  | 0.2
| TSS | Total Suspended Solids |  |  |  |  | mg/L | SM20-2540 D |  |  |  |  | 6

## Eff QAQC MLs
Effluent MDL / ML (mg/L)
(major dischargers 2/month, minor dischargers 1/month)
City of Calistoga
Warren Schenstrom Water Systems Superintendent (707) 942-2847
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-17 | 0.1 |  | 0.1 |  | 0.2 |  | 0.03 |  | 0.1 |  |  |  | 0.5 |  | 0.5 |  | 0.2 |  | 3
Quarterly report due by 30 Oct.
2012-12-04 | 0.1 |  | 0.1 |  | 0.2 |  | 0.03 |  | 0.1 |  |  |  | 0.01 |  | 0.1 |  | 0.1 |  | 3
2012-12-12 | 0.1 |  | 0.1 |  | 0.2 |  | 0.03 |  | 0.1 |  |  |  | 0.01 |  | 0.1 |  | 0.1 |  | 3 |  | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
| Glossary of Abbreviations | [5 empty] | Units | Analytical Method |  |  |  |  | RL
| TKN | Total Kjedahl Nitrogen |  |  |  |  | mg/L | SM20-4500-NH3 C (TKN) |  |  |  |  | 0.1
| SKN | Soluble Kjedahl Nitrogen |  |  |  |  | mg/L | SM20-4500-NH3 C (Soluble TKN) |  |  |  |  | 0.1
| NH3 | Ammonia |  |  |  |  | mg/L | SM20-4500-NH3 C |  |  |  |  | 0.1
| NO3 | Nitrate |  |  |  |  | mg/L | EPA 353.2 |  |  |  |  | 0.2
| NO2 | Nitrite |  |  |  |  | mg/L | SM20-4500-NO2 B |  |  |  |  | 0.03
| TP | Total Phosphorous |  |  |  |  | mg/L | SM20-4500-P E |  |  |  |  | 0.5
| TDP | Total Dissolved Phosphorous |  |  |  |  | mg/L | SM20-4500-P E (filtrate) |  |  |  |  | 0.5
| DRP | Dissolved Reactive Phosphorous |  |  |  |  | mg/L | SM20-4500-P E (filtrate) |  |  |  |  | 0.2
| TSS | Total Suspended Solids |  |  |  |  | mg/L | SM20-2540 D |  |  |  |  | 3