## Inf Conc.
Influent Concentrations (mg/l)
Central Marin Sanitation Agency
Robert Cole, Environmental Services Manager, 415-459-1455 ext 142
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-11 | 8.2 | 11.4 | 0.85 | 62 |  | 0.85 | 0 | 41 |  | 8.7 |  | 4.3 |  |  | 7.1 |  |  | 23.8 | 396 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Central Marin Sanitation Agency
Robert Cole, Environmental Services Manager, 415-459-1455 ext 142
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-11 | 8.2 | 11.4 | 26.3466 | 1921.752 | 0 | 26.3466 | 0 | 1270.836 | 0 | 269.6652 | 0 | 185.2956 | 12274.416 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
Central Marin Sanitation Agency
| Robert Cole, Environmental Services Manager, 415-459-1455 ext 142 | [18 empty] | f
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-11 | 5.5 | 8.5 | 32.66 | 39 | 30 | 2 | 0.66 | 37 |  | 4.3 | 4.3 | 4 |  |  | 7.4 |  |  | 23.7 | 4.9 | 21.19 | -1.61% | 4.4 | 50.57%
2012-07-26 | 5.4 | 8.1 | 42.51 | 38 | 39 | 2.9 | 0.61 | 36 |  | 4.8 | 4.9 | 4 |  |  | 7.4 |  |  | 23.2 | 5.6 | 21.34 | -1.244% | 3.9 | 43.68%
2012-08-02 | 5.8 | 8.5 | 41.48 | 38 | 37 | 3.6 | 0.88 | 36 |  | 4.2 | 5.2 | 3.6 |  |  | 7.4 |  |  | 23.3 | 4.6 | 20.37 | -3.61% | 4.5 | 40.23%
2012-08-22 | 5.7 | 8.6 | 44.55 | 41 | 41 | 3.3 | 0.25 | 39 |  | 3.2 | 3.1 | 2.8 |  |  | 7.4 |  |  | 23.6 | 7.3 | 18.3 | -8.659% | 5.5 | 64.37%
2012-09-12 | 6 | 9.1 | 45.39 | 40 | 43 | 1.6 | 0.79 | 41 |  | 4.5 | 4.3 | 4 |  |  | 7.5 |  |  | 23.3 | 5 | 20.46 | -3.39% | 4.2 | 50.57%
2012-09-28 | 6.2 | 10.2 | 44.8 | 41 | 41 | 2.7 | 1.1 | 41 |  | 4.4 | 4.3 | 3.8 |  |  | 7.4 |  |  | 22.5 | 4.4 | 18.05 | -9.268% | 4.3 | 50.57% | Quarterly report due by 30 Oct.
2012-10-10 | 6.1 | 9.5 | 44.65 | 43 | 42 | 2.4 | 0.25 | 41 |  | 3.8 | 3.6 | 3.5 |  |  | 7.5 |  |  | 22.9 | 6.6 | 17.2 | -11.34% | 4.9 | 58.62%
2012-10-22 | 9.6 | 16.9 | 45.14 | 43 | 42 | 2.7 | 0.44 | 41 |  | 4.1 | 3.9 | 3.6 |  |  | 7.5 |  |  | 21.9 | 7.2 | 16.71 | -12.54% | 4.6 | 55.17%
2012-11-14 | 5.6 | 8.8 | 40.61 | 37 | 37 | 3.1 | 0.51 | 36 |  | 4.1 | 3.3 | 3 |  |  | 7.4 |  |  | 20.5 | 3.7 | 22.24 | 0.9512% | 4.6 | 62.07%
2012-11-26 | 8.3 | 12.5 | 27.7 | 24 | 24 | 2 | 1.7 | 23 |  | 2.9 | 2.6 | 2.2 |  |  | 6.9 |  |  | 19.8 | 3.8 | 35.15 | 32.44% | 5.8 | 70.11%
2012-12-14 | 9.2 | 11.8 | 18.89 | 10 | 11 | 7 | 0.89 | 10 |  | 2.3 | 2.4 | 2 |  |  | 7 |  |  | 18.1 | 4.8 | 44.96 | 56.37% | 6.4 | 72.41%
2012-12-26 | 32.1 | 40.7 | 7.29 | 6.3 | 5.3 | 1.7 | 0.29 | 4.9 |  | 0.74 | 0.6 | 3.6 |  |  | 7.5 |  |  | 15.5 | 11.8 | 54.56 | 79.78% | 7.96 | 93.1% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Central Marin Sanitation Agency
Robert Cole, Environmental Services Manager, 415-459-1455 ext 142
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total N % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-01 | 5.5 | 8.5 | 679.0014 | 810.81 | 623.7 | 41.58 | 13.7214 | 769.23 | 0 | 89.397 | 89.397 | 128.52 | 101.871 | 1081.9872 | 55.54% | 180.2682 | 66.85%
2012-07-15 | 5.4 | 8.1 | 867.7141 | 775.656 | 796.068 | 59.1948 | 12.4513 | 734.832 | 0 | 97.9776 | 100.0188 | 122.472 | 114.3072 | 1100.7965 | 56.51% | 171.6876 | 62.91%
2012-08-01 | 5.8 | 8.5 | 909.4075 | 833.112 | 811.188 | 78.9264 | 19.2931 | 789.264 | 0 | 92.0808 | 114.0048 | 115.668 | 100.8504 | 1016.7671 | 52.19% | 177.5844 | 57.72%
2012-08-15 | 5.7 | 8.6 | 959.8743 | 883.386 | 883.386 | 71.1018 | 5.3865 | 840.294 | 0 | 68.9472 | 66.7926 | 91.0224 | 157.2858 | 988.2243 | 50.73% | 200.718 | 75.23%
2012-09-01 | 6 | 9.1 | 1029.4452 | 907.2 | 975.24 | 36.288 | 17.9172 | 929.88 | 0 | 102.06 | 97.524 | 137.592 | 113.4 | 986.6934 | 50.65% | 167.6052 | 63.84%
2012-09-15 | 6.2 | 10.2 | 1049.9328 | 960.876 | 960.876 | 63.2772 | 25.7796 | 960.876 | 0 | 103.1184 | 100.7748 | 146.5128 | 103.1184 | 898.1658 | 46.1% | 166.5468 | 62.63% | Quarterly report due by 30 Oct.
2012-10-10 | 6.1 | 9.5 | 1029.5397 | 991.494 | 968.436 | 55.3392 | 5.7645 | 945.378 | 0 | 87.6204 | 83.0088 | 125.685 | 152.1828
2012-10-22 | 9.6 | 16.9 | 1638.0403 | 1560.384 | 1524.096 | 97.9776 | 15.9667 | 1487.808 | 0 | 148.7808 | 141.5232 | 229.9752 | 261.2736
2012-11-14 | 5.6 | 8.8 | 859.6325 | 783.216 | 783.216 | 65.6208 | 10.7957 | 762.048 | 0 | 86.7888 | 69.8544 | 99.792 | 78.3216
2012-11-26 | 8.3 | 12.5 | 869.0598 | 752.976 | 752.976 | 62.748 | 53.3358 | 721.602 | 0 | 90.9846 | 81.5724 | 103.95 | 119.2212
2012-12-14 | 9.2 | 11.8 | 656.9186 | 347.76 | 382.536 | 243.432 | 30.9506 | 347.76 | 0 | 79.9848 | 83.4624 | 89.208 | 166.9248
2012-12-26 | 32.1 | 40.7 | 884.554 | 764.4294 | 643.0914 | 206.2746 | 35.188 | 594.5562 | 0 | 89.7901 | 72.8028 | 553.8456 | 1431.7884 |  |  |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement
Effluent Loads (kg/d)
Two additional samples during peak flow each wet
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
Central Marin Sanitation Agency
Robert Cole, Environmental Services Manager, 415-459-1455 ext 142
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-11 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 0.2 | 2 | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
Central Marin Sanitation Agency
Robert Cole, Environmental Services Manger, 415-459-1455 ext 142
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.15 | 0.2 | 0.1 | 0.2
2012-07-26 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.004 | 0.06 | 0.04 | 0.1 |  |  | 0.07 | 0.1 | 0.07 | 0.1 | 0.06 | 0.1 | 0.1 | 0.2
2012-08-02 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.07 | 0.1 | 0.06 | 0.1 | 0.1 | 0.2
2012-08-22 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.035 | 0.05 | 0.06 | 0.1 | 0.1 | 0.2
2012-09-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.035 | 0.05 | 0.06 | 0.1 | 0.1 | 0.2
2012-09-28 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.15 | 0.2 | 0.1 | 0.2 | Quarterly report due by 30 Oct.
2012-10-10 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.15 | 0.2 | 0.1 | 0.2
2012-10-22 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.004 | 0.06 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1 | 0.1 | 0.2
2012-11-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.035 | 0.05 | 0.06 | 0.1 | 0.1 | 0.2
2012-11-26 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1 | 0.1 | 0.2
2012-12-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.01 | 0.2 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.035 | 0.05 | 0.06 | 0.1 | 0.1 | 0.2
2012-12-26 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.06 | 0.1 | 0.1 | 0.2 | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers