TYPE OF ACTION  Installation  Repair  6 Month  36 Month

|  |
| --- |
| 1. FACILITY INFORMATION |

|  |  |
| --- | --- |
| CERS ID | Test Date |

|  |
| --- |
| Facility Name |

|  |  |  |
| --- | --- | --- |
| Facility Address | City | ZIP Code |

|  |
| --- |
| 2. SERVICE TECHNICIAN INFORMATION |

|  |  |
| --- | --- |
| Company Performing the Test | Phone |

|  |
| --- |
| Mailing Address |
| Service Technician Performing Test |
| Contractor/Tank Tester License Number |

|  |  |
| --- | --- |
| ICC Number | ICC Expiration Date |

|  |
| --- |
| 3. TRAINING AND CERTIFICATIONS |

|  |  |
| --- | --- |
| *Manufacturer and Test Equipment Training Certifications* | *Expiration Date* |
|  |  |
|  |  |
|  |  |
|  |  |

|  |
| --- |
| 4. TEST PROCEDURE INFORMATION |

|  |  |
| --- | --- |
| *Test Procedures Used* | *Components Tested* |
|  |  |
|  |  |
|  |  |
|  |  |

|  |
| --- |
| 5. CERTIFICATION BY SERVICE TECHNICIAN CONDUCTING TEST |

|  |
| --- |
| ***I hereby certify that the secondary containment was tested in accordance with California Code of Regulations, title 23, division 3, chapter 16, section 2637; that required supporting documentation is attached; and all information contained herein is accurate. I understand that test procedures shall be made available upon request by the governing authority.*** |

|  |  |  |
| --- | --- | --- |
| Service Technician Signature | Date | Total # of Pages |

|  |
| --- |
| 6. TANK SECONDARY CONTAINMENT TEST |

|  |
| --- |
| Test Method Developed by  Manufacturer  Industry Standard  Professional Engineer |
| Test Type  Pressure  Vacuum  Hydrostatic |
| Test Equipment Used: |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Tank ID** |  |  |  |  |
| Tank Manufacturer |  |  |  |  |
| Tank Capacity |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

|  |
| --- |
| 7. PIPE SECONDARY CONTAINMENT TEST |

|  |
| --- |
| Test Method Developed by  Manufacturer  Industry Standard  Professional Engineer |
| Test Type  Pressure  Vacuum  Hydrostatic |
| Test Equipment Used: |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Pipe Run ID** |  |  |  |  |
| Pipe Manufacturer |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Pipe Run ID** |  |  |  |  |
| Pipe Manufacturer |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

*Additional copies of this page may be attached.*

|  |
| --- |
| 8. SUMP/UDC TEST |

|  |
| --- |
| Test Method Developed by  Manufacturer  Industry Standard  Professional Engineer |
| Test Type  Pressure  Vacuum  Hydrostatic |
| Test Equipment Used: |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sump/UDC ID** |  |  |  |  |
| Sump Manufacturer |  |  |  |  |
| Sump Depth (inches) |  |  |  |  |
| Sump Bottom to Top of Highest Pipe Penetration (inches) |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sump/UDC ID** |  |  |  |  |
| Sump Manufacturer |  |  |  |  |
| Sump Depth (inches) |  |  |  |  |
| Sump Bottom to Top of Highest Pipe Penetration (inches) |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

*Additional copies of this page may be attached.*

|  |
| --- |
| 8. SUMP/UDC TEST (continued) |

|  |
| --- |
| Test Method Developed by  Manufacturer  Industry Standard  Professional Engineer |
| Test Type  Pressure  Vacuum  Hydrostatic |
| Test Equipment Used: |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sump/UDC ID** |  |  |  |  |
| Sump Manufacturer |  |  |  |  |
| Sump Depth (inches) |  |  |  |  |
| Sump Bottom to Top of Highest Pipe Penetration (inches) |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sump/UDC ID** |  |  |  |  |
| Sump Manufacturer |  |  |  |  |
| Sump Depth (inches) |  |  |  |  |
| Sump Bottom to Top of Highest Pipe Penetration (inches) |  |  |  |  |
| Test Start Time |  |  |  |  |
| Initial Reading |  |  |  |  |
| Test End Time |  |  |  |  |
| Final Reading |  |  |  |  |
| Change in Reading |  |  |  |  |
| Pass/Fail Criteria |  |  |  |  |
| Tightness Test Results | Pass  Fail | Pass  Fail | Pass  Fail | Pass  Fail |

*Additional copies of this page may be attached.*

|  |
| --- |
| 9. COMMENTS |

|  |
| --- |
|  |