Spill Bucket Testing Report Form

This form is intended for use by contractors performing annual testing of UST spill containment structures. The completed form and printouts from tests (if applicable), should be provided to the facility owner/operator for submittal to the local regulatory agency.

- FACILITY INFORMATION

| Facility Name: |  |  |  | Date of Testing: |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility Address: |  |  |  |  |  |  |
| Facility Contact: |  |  | Phone: |  |  |  |
| Date Local Agency Was Notified of Testing : |  |  |  |  |  |  |
| Name of Local Agency Inspector (if present during testing): |  |  |  |  |  |  |

# TESTING CONTRACTOR INFORMATION

| Company Name: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technician Conducting Test: |  |  |  |  |
| Credentials: |  CSLB Contractor  ICC Service Tech.  SWRCB Tank Tester  Other (Specify) __________________ |  |  |  |
| License Number(s): |  |  |  |  |

##### SPILL BUCKET TESTING INFORMATION

| Test Method Used: |  Hydrostatic |  Vacuum |  Other (Specify)____________________________ |  |
| --- | --- | --- | --- | --- |
| Test Equipment Used: |  |  | Equipment Resolution: |  |
| Identify Spill Bucket (By Tank Number, Stored Product, etc.) | 1 | 2 | 3 | 4 |
| Bucket Installation Type: |  Direct Bury  Contained in Sump |  Direct Bury  Contained in Sump |  Direct Bury  Contained in Sump |  Direct Bury  Contained in Sump |
| Bucket Diameter: |  |  |  |  |
| Bucket Depth: |  |  |  |  |
| Wait time between applying vacuum/water and start of test: |  |  |  |  |
| Test Start Time (TI): |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time (TF): |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration (TF – TI): |  |  |  |  |
| Change in Reading (RF - RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Result: |  Pass  Fail |  Pass  Fail |  Pass  Fail |  Pass  Fail |

Comments – (include information on repairs made prior to testing, and recommended follow-up for failed tests)

# CERTIFICATION OF TECHNICIAN RESPONSIBLE FOR CONDUCTING THIS TESTING

# I hereby certify that all the information contained in this report is true, accurate, and in full compliance with legal requirements.

Technician’s Signature:________________________________________________		Date:_________________________

State laws and regulations do not currently require testing to be performed by a qualified contractor. However, local requirements may be more stringent.