## Summary
April 2024 Reporting Period Summary USFS Special Use Permit FCD728503
Date | Upper Springs (gallons) | Lower Springs (gallons) | SourceTotal (gallons) | SMBMI Delivery (gallons) | BTB Hygiene Delivery (gallons) | BTB Tank Truck Delivery (gallons) | Strawberry Creek Discharge (gallons) | Other Delivery (gallons) | Other Discharges (gallons) | Total Deliveries & Discharges (gallons) | Variance (gallons) | Summary Notes
2024-04-01 | 471326 | 56445 | 527771 | 265937 | 0 | 0 | 0 | 0 | 0 | 265937 | 261834 | 1, 2, 3, 4, 5, 7, 8
2024-04-02 | 475662 | 56841 | 532503 | 256994 | 10890 | 0 | 0 | 0 | 0 | 267884 | 264619 | 1, 2, 3, 4, 5, 7, 8
2024-04-03 | 479312 | 58916 | 538228 | 266976 | 0 | 0 | 0 | 0 | 0 | 266976 | 271252 | 1, 2, 3, 4, 5, 7, 8
2024-04-04 | 486018 | 58567 | 544585 | 267396 | 9405 | 0 | 0 | 0 | 0 | 276801 | 267784 | 1, 2, 3, 4, 5, 7, 8
2024-04-05 | 488061 | 57955 | 546016 | 259456 | 0 | 0 | 0 | 0 | 0 | 259456 | 286560 | 1, 2, 3, 4, 5, 7, 8
2024-04-06 | 486360 | 56992 | 543352 | 269761 | 11100 | 0 | 0 | 0 | 0 | 280861 | 262491 | 1, 2, 3, 4, 5, 7, 8
2024-04-07 | 484538 | 57916 | 542454 | 279083 | 0 | 0 | 0 | 0 | 0 | 279083 | 263371 | 1, 2, 3, 4, 5, 7, 8
2024-04-08 | 483459 | 57484 | 540943 | 269633 | 11370 | 0 | 0 | 0 | 0 | 281003 | 259940 | 1, 2, 3, 4, 5, 7, 8
2024-04-09 | 481136 | 57669 | 538805 | 277924 | 0 | 0 | 0 | 0 | 0 | 277924 | 260881 | 1, 2, 3, 4, 5, 7, 8
2024-04-10 | 475608 | 56532 | 532140 | 269171 | 11280 | 0 | 0 | 0 | 0 | 280451 | 251689 | 1, 2, 3, 4, 5, 7, 8
2024-04-11 | 504250 | 41256 | 545506 | 149952 | 0 | 0 | 0 | 0 | 0 | 149952 | 395554 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-12 | 497373 | 42971 | 540344 | 178713 | 10515 | 0 | 0 | 0 | 0 | 189228 | 351116 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-13 | 478533 | 46951 | 525484 | 239318 | 0 | 0 | 0 | 0 | 0 | 239318 | 286166 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-14 | 471081 | 45769 | 516850 | 243300 | 9270 | 0 | 0 | 0 | 0 | 252570 | 264280 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-15 | 475149 | 47030 | 522179 | 245063 | 0 | 0 | 0 | 0 | 0 | 245063 | 277116 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-16 | 473046 | 44414 | 517460 | 213490 | 9705 | 0 | 0 | 0 | 0 | 223195 | 294265 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-17 | 469568 | 36090 | 505658 | 204550 | 0 | 0 | 0 | 0 | 0 | 204550 | 301108 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-18 | 467911 | 35421 | 503332 | 243190 | 10695 | 0 | 0 | 0 | 0 | 253885 | 249447 | 1, 2, 3, 4, 5, 6, 7, 8
2024-04-19 | 457216 | 50119 | 507335 | 314287 | 0 | 0 | 0 | 0 | 0 | 314287 | 193048 | 1, 2, 3, 4, 5, 7, 8
2024-04-20 | 441590 | 50190 | 491780 | 304485 | 9690 | 0 | 0 | 0 | 0 | 314175 | 177605 | 1, 2, 3, 4, 5, 7, 8
2024-04-21 | 431592 | 50556 | 482148 | 314475 | 0 | 0 | 0 | 0 | 0 | 314475 | 167673 | 1, 2, 3, 4, 5, 7, 8
2024-04-22 | 413556 | 50833 | 464389 | 302575 | 9645 | 0 | 0 | 0 | 0 | 312220 | 152169 | 1, 2, 3, 4, 5, 7, 8
2024-04-23 | 404352 | 50828 | 455180 | 311353 | 0 | 0 | 0 | 0 | 0 | 311353 | 143827 | 1, 2, 3, 4, 5, 7, 8
2024-04-24 | 432880 | 51291 | 484171 | 300592 | 9330 | 0 | 0 | 0 | 0 | 309922 | 174249 | 1, 2, 3, 4, 5, 7, 8
2024-04-25 | 463398 | 51012 | 514410 | 309765 | 0 | 0 | 0 | 0 | 0 | 309765 | 204645 | 1, 2, 3, 4, 5, 7, 8
2024-04-26 | 434750 | 51381 | 486131 | 297616 | 9315 | 0 | 0 | 0 | 0 | 306931 | 179200 | 1, 2, 3, 4, 5, 7, 8
2024-04-27 | 400541 | 51327 | 451868 | 307124 | 0 | 0 | 0 | 0 | 0 | 307124 | 144744 | 1, 2, 3, 4, 5, 7, 8
2024-04-28 | 397447 | 50851 | 448298 | 294312 | 9510 | 0 | 0 | 0 | 0 | 303822 | 144476 | 1, 2, 3, 4, 5, 7, 8
2024-04-29 | 399500 | 51239 | 450739 | 304636 | 0 | 0 | 0 | 0 | 0 | 304636 | 146103 | 1, 2, 3, 4, 5, 7, 8
2024-04-30 | 392025 | 50996 | 443021 | 292385 | 9120 | 0 | 0 | 0 | 0 | 301505 | 141516 | 1, 2, 3, 4, 5, 7, 8
TOTALS | 13717238 | 1525842 | 15243080 | 8053512 | 150840 | 0 | 0 | 0 | 0 | 8204352 | 7038728
Source Total (gallons) |  |  | 15243080
Source Total (acre-feet) |  |  | 46.7793
Source Total (gallons per minute) |  |  | 352.8491
SMBMI Deliveries (gallons) |  |  | 8053512
BTB Total Receipts (gallons) |  |  | 150840
CLA-VAL Maintenance Variance (gallons) |  |  | 2419052
BTB Source Development Variance (gallons) |  |  | 4297207
Estimated Actual Variance (gallons) |  |  | 322469
Total Variance Items (gallons) |  |  | 7038728 | BTB attributes the total variance to CLA-VAL maintenance, source development activities and normal discharges from pressure maintenance valves and air evacuation valves. The Borehole 7C flow meter was not responding after shut-in for 148 days and was replaced on 4/24/2024. The volume discharged from 7C (if functional on 04/01-04/23) would further reduce the Estimated Actual Variance. These volumes are discharged at the portal along the pipeline alignment to the environment.
Summary Notes
1: April 2024 - All "water facilities" were utilized to extract and convey percolating groundwater to the noted delivery points (per BTB appropriative rights) for beneficial uses including industrial, municipal, irrigation, recreation and environmental habitat.
2: This is a natural and variable system based on climatic and hydrologic conditions which provides ever changing water availability. BTB operates the site in a sustainable manner based on actual conditions, contractual obligations, and business requirements.
3: Boreholes 7 / 7A / 7B / 7C - BTB closed the valves for Boreholes 7/7A/7B/7C on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
4: Boreholes 1 / 1A - BTB closed the valves for Boreholes 1/1A on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
5: Increased flow rates in April were due to increases in water head pressure all throughout Strawberry Canyon. Please note that water occasionally discharges from air vacs and pressure relief valves along the pipeline to ensure pipeline integrity.
6: CLA-VAL maintenance and adjustments were conducted 4/11/2024 to 4/18/2024. This concludes planned CLA-VAL maintenance for this period. Further adjustments may be needed.
7: Boreholes 7 / 7A / 7B / 7C - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 7/7A/7B/7C and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 7/7A/7B/7C portal. The borehole 7C flow meter was found to be inoperative after being shut-in for 148 days and was scheduled for replacement (NM = not measured). Borehole 7C flow meter was replaced on 4/24/2024. Borehole 7 flow meter was replaced on 4/24/2024 as part of planned maintenance.
8: Boreholes 1 /1A - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 1 / 1A and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 1/ 1A portal.

## Upper Springs
USFS Special Use Permit FCD728503
Daily Extraction - Upper Springs Facilities
Year: | 2024
Month: | 2024-04-04
Date | Tunnel 2 (gallons) Extraction of Percolating Groundwater | Tunnel 3 (gallons) Extraction of Percolating Groundwater | Borehole 1 (gallons) Extraction of Percolating Groundwater | Borehole 1A (gallons) Extraction of Percolating Groundwater | Borehole 7 (gallons) Extraction of Percolating Groundwater | Borehole 7A (gallons) Extraction of Percolating Groundwater | Borehole 7B (gallons) Extraction of Percolating Groundwater | Borehole 7C (gallons) Extraction of Percolating Groundwater | Borehole 8 (gallons) Extraction of Percolating Groundwater | Upper Springs Daily Total (gallons) | Notes
2024-04-01 | 87364 | 113332 | 37088 | 14846 | 65363 | 72565 | 31727 | NM | 49041 | 471326 | 1, 2, 3, 4
2024-04-02 | 88064 | 119077 | 37419 | 14952 | 64291 | 71773 | 31381 | NM | 48705 | 475662 | 1, 2, 3, 4
2024-04-03 | 89807 | 122029 | 37751 | 14960 | 63937 | 71380 | 31205 | NM | 48243 | 479312 | 1, 2, 3, 4
2024-04-04 | 91719 | 126160 | 38083 | 14967 | 63901 | 71604 | 31260 | NM | 48324 | 486018 | 1, 2, 3, 4
2024-04-05 | 92708 | 126352 | 38415 | 14983 | 64115 | 71726 | 31313 | NM | 48449 | 488061 | 1, 2, 3, 4
2024-04-06 | 92909 | 124274 | 38746 | 14979 | 64330 | 71636 | 31178 | NM | 48308 | 486360 | 1, 2, 3, 4
2024-04-07 | 93101 | 122451 | 39078 | 14954 | 64545 | 70990 | 31168 | NM | 48251 | 484538 | 1, 2, 3, 4
2024-04-08 | 92665 | 120958 | 39410 | 14998 | 64490 | 71547 | 31130 | NM | 48261 | 483459 | 1, 2, 3, 4
2024-04-09 | 93036 | 118893 | 39742 | 14964 | 63649 | 71539 | 31005 | NM | 48308 | 481136 | 1, 2, 3, 4
2024-04-10 | 93019 | 113963 | 40074 | 14921 | 63431 | 71002 | 30878 | NM | 48320 | 475608 | 1, 2, 3, 4
2024-04-11 | 92565 | 145555 | 40236 | 14122 | 63375 | 71152 | 30862 | NM | 46383 | 504250 | 1, 2, 3, 4
2024-04-12 | 91965 | 141128 | 39897 | 13129 | 62530 | 71107 | 30793 | NM | 46824 | 497373 | 1, 2, 3, 4
2024-04-13 | 92059 | 121887 | 40199 | 13158 | 61318 | 70996 | 30634 | NM | 48282 | 478533 | 1, 2, 3, 4
2024-04-14 | 91701 | 116588 | 39931 | 13232 | 60107 | 70483 | 30536 | NM | 48503 | 471081 | 1, 2, 3, 4
2024-04-15 | 91896 | 121955 | 39849 | 13224 | 58896 | 70250 | 30510 | NM | 48569 | 475149 | 1, 2, 3, 4
2024-04-16 | 92066 | 120972 | 40242 | 13096 | 57684 | 70235 | 30431 | NM | 48320 | 473046 | 1, 2, 3, 4
2024-04-17 | 92372 | 119051 | 40056 | 13058 | 56473 | 69945 | 30427 | NM | 48186 | 469568 | 1, 2, 3, 4
2024-04-18 | 92727 | 118545 | 40079 | 13066 | 55262 | 69649 | 30032 | NM | 48551 | 467911 | 1, 2, 3, 4
2024-04-19 | 92726 | 118416 | 40085 | 13072 | 54050 | 63313 | 27037 | NM | 48517 | 457216 | 1, 2, 3, 4
2024-04-20 | 92810 | 115496 | 39972 | 13108 | 52839 | 55174 | 23543 | NM | 48648 | 441590 | 1, 2, 3, 4
2024-04-21 | 92836 | 118291 | 39949 | 13158 | 51627 | 47034 | 20049 | NM | 48648 | 431592 | 1, 2, 3, 4
2024-04-22 | 92967 | 113012 | 39981 | 13131 | 50416 | 38895 | 16555 | NM | 48599 | 413556 | 1, 2, 3, 4
2024-04-23 | 93199 | 116484 | 39543 | 13094 | 49205 | 31324 | 13247 | NM | 48256 | 404352 | 1, 2, 3, 4
2024-04-24 | 92993 | 117424 | 40318 | 13106 | 47993 | 38669 | 26433 | 7440 | 48504 | 432880 | 1, 2, 3, 4
2024-04-25 | 92141 | 125158 | 40064 | 13101 | 46782 | 46773 | 35244 | 15660 | 48475 | 463398 | 1, 2, 3, 4
2024-04-26 | 92083 | 121093 | 39930 | 13121 | 45571 | 31514 | 28662 | 14400 | 48376 | 434750 | 1, 2, 3, 4
2024-04-27 | 92387 | 115439 | 40278 | 13119 | 44359 | 14872 | 20620 | 12180 | 47287 | 400541 | 1, 2, 3, 4
2024-04-28 | 91961 | 112760 | 39936 | 13137 | 43148 | 14884 | 20639 | 12840 | 48142 | 397447 | 1, 2, 3, 4
2024-04-29 | 91566 | 116548 | 40087 | 13468 | 42372 | 14878 | 20664 | 11880 | 48037 | 399500 | 1, 2, 3, 4
2024-04-30 | 90723 | 109336 | 40122 | 13198 | 43500 | 14936 | 20720 | 11520 | 47970 | 392025 | 1, 2, 3, 4
Notes
1: Boreholes 7 / 7A / 7B / 7C - BTB closed the valves for Boreholes 7/7A/7B/7C on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
2: Boreholes 1 / 1A - BTB closed the valves for Boreholes 1/1A on 10/31/2023 pursuant to SWRCB Cease & Desist Order WR-2023-0042.
3: Boreholes 7 / 7A / 7B / 7C - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 7/7A/7B/7C and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 7/7A/7B/7C portal. The borehole 7C flow meter was found to be inoperative after being shut-in for 148 days and was scheduled for replacement (NM = not measured). Borehole 7C flow meter was replaced on 4/24/2024. Borehole 7 flow meter was replaced on 4/24/2024 as part of planned maintenance.
4: Boreholes 1 /1A - On 3/27/2024, in order to prepare the Strawberry Canyon system to resume operations for all of BTB’s established beneficial uses, including industrial uses, following the California Superior Court stay of SWRCB WR Order 2023-0042 in late February, 2024, BTB opened the valves for Boreholes 1 / 1A and began to discharge water to the enclosure drain and outlet piping for source development, equipment checks, monitoring, and quality assurance testing. Water discharged at the drain and outlet piping is delivered directly to the Strawberry Canyon environment below the Borehole 1/ 1A portal.

## Lower Springs
USFS Special Use Permit FCD728503
Daily Extraction - Lower Springs Facilities
Year: | 2024
Month: | 2024-04-04
Date | Borehole 10 (gallons) Extraction of Percolating Groundwater | Borehole 11 (gallons) Extraction of Percolating Groundwater | Borehole 12 (gallons) Extraction of Percolating Groundwater | Lower Springs Daily Total (gallons) | Notes
2024-04-01 | 33019 | 0 | 23426 | 56445 | 1
2024-04-02 | 32805 | 0 | 24036 | 56841 | 1
2024-04-03 | 33161 | 0 | 25755 | 58916 | 1
2024-04-04 | 33172 | 0 | 25395 | 58567 | 1
2024-04-05 | 33091 | 0 | 24864 | 57955 | 1
2024-04-06 | 33073 | 0 | 23919 | 56992 | 1
2024-04-07 | 33102 | 0 | 24814 | 57916 | 1
2024-04-08 | 33078 | 0 | 24406 | 57484 | 1
2024-04-09 | 33040 | 0 | 24629 | 57669 | 1
2024-04-10 | 33051 | 0 | 23481 | 56532 | 1
2024-04-11 | 24857 | 0 | 16399 | 41256 | 1
2024-04-12 | 25273 | 0 | 17698 | 42971 | 1
2024-04-13 | 26704 | 0 | 20247 | 46951 | 1
2024-04-14 | 25814 | 0 | 19955 | 45769 | 1
2024-04-15 | 27254 | 0 | 19776 | 47030 | 1
2024-04-16 | 24843 | 0 | 19571 | 44414 | 1
2024-04-17 | 18775 | 0 | 17315 | 36090 | 1
2024-04-18 | 23316 | 0 | 12105 | 35421 | 1
2024-04-19 | 34177 | 0 | 15942 | 50119 | 1
2024-04-20 | 33904 | 0 | 16286 | 50190 | 1
2024-04-21 | 33856 | 0 | 16700 | 50556 | 1
2024-04-22 | 33821 | 0 | 17012 | 50833 | 1
2024-04-23 | 33770 | 0 | 17058 | 50828 | 1
2024-04-24 | 33735 | 0 | 17556 | 51291 | 1
2024-04-25 | 33715 | 0 | 17297 | 51012 | 1
2024-04-26 | 33686 | 0 | 17695 | 51381 | 1
2024-04-27 | 33609 | 0 | 17718 | 51327 | 1
2024-04-28 | 33573 | 0 | 17278 | 50851 | 1
2024-04-29 | 33527 | 0 | 17712 | 51239 | 1
2024-04-30 | 33467 | 0 | 17529 | 50996 | 1
Notes
1: Borehole 11 remained shut-in during this period.

## SMBMI
USFS Special Use Permit FCD728503
Daily Deliveries to San Manuel Band of Mission Indians (SMBMI)
Year: | 2024
Month: | 2024-04-04
Date | Deliveries (gallons) | Notes
2024-04-01 | 265937 | 2
2024-04-02 | 256994 | 2
2024-04-03 | 266976 | 2
2024-04-04 | 267396 | 2
2024-04-05 | 259456 | 2
2024-04-06 | 269761 | 2
2024-04-07 | 279083 | 2
2024-04-08 | 269633 | 2
2024-04-09 | 277924 | 2
2024-04-10 | 269171 | 2
2024-04-11 | 149952 | 1, 2
2024-04-12 | 178713 | 1, 2
2024-04-13 | 239318 | 1, 2
2024-04-14 | 243300 | 1, 2
2024-04-15 | 245063 | 1, 2
2024-04-16 | 213490 | 1, 2
2024-04-17 | 204550 | 1, 2
2024-04-18 | 243190 | 1, 2
2024-04-19 | 314287 | 2
2024-04-20 | 304485 | 2
2024-04-21 | 314475 | 2
2024-04-22 | 302575 | 2
2024-04-23 | 311353 | 2
2024-04-24 | 300592 | 2
2024-04-25 | 309765 | 2
2024-04-26 | 297616 | 2
2024-04-27 | 307124 | 2
2024-04-28 | 294312 | 2
2024-04-29 | 304636 | 2
2024-04-30 | 292385 | 2
Notes
1: CLA-VAL maintenance and adjustments were conducted 4/11/2024 to 4/18/2024. This concludes planned CLA-VAL maintenance for this period. Further adjustments may be needed.
2: BTB provided deliveries to the SMBMI per our contractual obligations. The SMBMI provide requests and confirmations of water. BTB understands the water was beneficially used for municipal, irrigation, and recreation and environmental habitat uses.

## BTB Hygiene
USFS Special Use Permit FCD728503
Daily Deliveries to BTB Water Tank to Maintain Hygienic Conditions
Year: | 2024
Month: | 2024-04-04
Date | Deliveries (gallons) | Notes
2024-04-01 | 0 | 1
2024-04-02 | 10890 | 1
2024-04-03 | 0 | 1
2024-04-04 | 9405 | 1
2024-04-05 | 0 | 1
2024-04-06 | 11100 | 1
2024-04-07 | 0 | 1
2024-04-08 | 11370 | 1
2024-04-09 | 0 | 1
2024-04-10 | 11280 | 1
2024-04-11 | 0 | 1
2024-04-12 | 10515 | 1
2024-04-13 | 0 | 1
2024-04-14 | 9270 | 1
2024-04-15 | 0 | 1
2024-04-16 | 9705 | 1
2024-04-17 | 0 | 1
2024-04-18 | 10695 | 1
2024-04-19 | 0 | 1
2024-04-20 | 9690 | 1
2024-04-21 | 0 | 1
2024-04-22 | 9645 | 1
2024-04-23 | 0 | 1
2024-04-24 | 9330 | 1
2024-04-25 | 0 | 1
2024-04-26 | 9315 | 1
2024-04-27 | 0 | 1
2024-04-28 | 9510 | 1
2024-04-29 | 0 | 1
2024-04-30 | 9120 | 1
Notes
1: This volume is utilized to maintain pipeline hygiene and prevent stagnation. This volume was returned to the environment for environmental benefit.

## BTB Tank Trucks
USFS Special Use Permit FCD728503
Daily Deliveries to BTB Water Tank Trucks
Year: | 2024
Month: | 2024-04-04
Date | Deliveries (gallons)
2024-04-01 | 0
2024-04-02 | 0
2024-04-03 | 0
2024-04-04 | 0
2024-04-05 | 0
2024-04-06 | 0
2024-04-07 | 0
2024-04-08 | 0
2024-04-09 | 0
2024-04-10 | 0
2024-04-11 | 0
2024-04-12 | 0
2024-04-13 | 0
2024-04-14 | 0
2024-04-15 | 0
2024-04-16 | 0
2024-04-17 | 0
2024-04-18 | 0
2024-04-19 | 0
2024-04-20 | 0
2024-04-21 | 0
2024-04-22 | 0
2024-04-23 | 0
2024-04-24 | 0
2024-04-25 | 0
2024-04-26 | 0
2024-04-27 | 0
2024-04-28 | 0
2024-04-29 | 0
2024-04-30 | 0
Notes
No BTB tank trailers were loaded during the reporting period.

## Strawberry Creek
USFS Special Use Permit FCD728503
Daily Discharge to Strawberry Creek near Boreholes 10/11/12
Year: | 2024
Month: | 2024-04-04
Date | Discharge (gallons)
2024-04-01 | 0
2024-04-02 | 0
2024-04-03 | 0
2024-04-04 | 0
2024-04-05 | 0
2024-04-06 | 0
2024-04-07 | 0
2024-04-08 | 0
2024-04-09 | 0
2024-04-10 | 0
2024-04-11 | 0
2024-04-12 | 0
2024-04-13 | 0
2024-04-14 | 0
2024-04-15 | 0
2024-04-16 | 0
2024-04-17 | 0
2024-04-18 | 0
2024-04-19 | 0
2024-04-20 | 0
2024-04-21 | 0
2024-04-22 | 0
2024-04-23 | 0
2024-04-24 | 0
2024-04-25 | 0
2024-04-26 | 0
2024-04-27 | 0
2024-04-28 | 0
2024-04-29 | 0
2024-04-30 | 0
Notes
BTB closed the Strawberry Creek Station on 10/17/2023.

## Other Deliveries
USFS Special Use Permit FCD728503
Daily Deliveries at Other Locations
Year: | 2024
Month: | 2024-04-04
Date | Site Name: N/A (gallons) | Notes
2024-04-01 | N/A
2024-04-02 | N/A
2024-04-03 | N/A
2024-04-04 | N/A
2024-04-05 | N/A
2024-04-06 | N/A
2024-04-07 | N/A
2024-04-08 | N/A
2024-04-09 | N/A
2024-04-10 | N/A
2024-04-11 | N/A
2024-04-12 | N/A
2024-04-13 | N/A
2024-04-14 | N/A
2024-04-15 | N/A
2024-04-16 | N/A
2024-04-17 | N/A
2024-04-18 | N/A
2024-04-19 | N/A
2024-04-20 | N/A
2024-04-21 | N/A
2024-04-22 | N/A
2024-04-23 | N/A
2024-04-24 | N/A
2024-04-25 | N/A
2024-04-26 | N/A
2024-04-27 | N/A
2024-04-28 | N/A
2024-04-29 | N/A
2024-04-30 | N/A
Notes
There were no "Other" Deliveries during the reporting period.

## Other Discharges
USFS Special Use Permit FCD728503
Daily Discharges at Other Locations
Year: | 2024
Month: | 2024-04-04
Date | Site Name: N/A (gallons)
2024-04-01 | N/A
2024-04-02 | N/A
2024-04-03 | N/A
2024-04-04 | N/A
2024-04-05 | N/A
2024-04-06 | N/A
2024-04-07 | N/A
2024-04-08 | N/A
2024-04-09 | N/A
2024-04-10 | N/A
2024-04-11 | N/A
2024-04-12 | N/A
2024-04-13 | N/A
2024-04-14 | N/A
2024-04-15 | N/A
2024-04-16 | N/A
2024-04-17 | N/A
2024-04-18 | N/A
2024-04-19 | N/A
2024-04-20 | N/A
2024-04-21 | N/A
2024-04-22 | N/A
2024-04-23 | N/A
2024-04-24 | N/A
2024-04-25 | N/A
2024-04-26 | N/A
2024-04-27 | N/A
2024-04-28 | N/A
2024-04-29 | N/A
2024-04-30 | N/A
Notes
There were no "Other" discharges during the reporting period.