# License Term r-1

# SPECIAL TERMS

## Term R-1 Measuring Devices – Direct Diversion

Licensee shall install and maintain a device, satisfactory to the Deputy Director for Water Rights, to measure [INSERT OPTION A or B]

*Option A – For direct diversion in cubic feet per second or gallons per minute:*

the instantaneous rate of diversion and cumulative amount of water diverted under this license.

*Option B – For direct diversion in gallons per day:*

the daily amount of water diverted under this license.

A record of such measurements shall be maintained by the licensee, and made available to interested parties upon reasonable request. (*If the measurement records will be needed by the SWRCB, add:* “A copy of the records shall be submitted to the State Water Board with each Report of Licensee”.)

Licensee shall allow [NAME OF PARTY] , all successors in interest, or a designated representative, reasonable access to the measuring device for the purpose of verifying measurement readings.

(0060800)

(0090800)